## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6628-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6628-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6628-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6628-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6628-6_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6628-6_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6628-6_0_6_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_6628-6_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_6628-6_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6628-6_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6628-6_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6628-6_0_6_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_6628-6_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6628-6_0_6_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_6628-6_0_6_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_6628-6_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6628-6_0_6_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_6628-6_0_6_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_6628-6_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6628-6_0_6_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_6628-6_0_6_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_6628-6_0_6_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_6628-6_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6628-6_0_6_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_6628-6_0_6_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_6628-6_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6628-6_0_6_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_6628-6_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6628-6_0_6_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_6628-6_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6628-6_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_6628-6_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_6628-6_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6628-6_0_6_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_6628-6_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6628-6_0_6_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_6628-6_0_6_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_6628-6_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6628-6_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6628-6_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_6628-6_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6628-6_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_6628-6_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_6628-6_0_6_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_6628-6_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6628-6_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_6628-6_0_6_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6628-6_0_6_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6628-6_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_6628-6_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_6628-6_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6628-6_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6628-6_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6628-6_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6628-6_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6628-6_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_6628-6_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6628-6_0_6_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6628-6_0_6_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_6628-6_0_6_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_6628-6_0_6_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_6628-6_0_6_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_6628-6_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6628-6_0_6_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6628-6_0_6_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_6628-6_0_6_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_6628-6_0_6_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_6628-6_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6628-6_0_6_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6628-6_0_6_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_6628-6_0_6_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6628-6_0_6_node_52 | 0.4 | n |  | TRUE
72 | bus_MV_664_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6628-6_0_6_load_0 | 0 | 0.013868 | 0.0034756 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6628-6_0_6_load_1 | 1 | 0.0049349 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6628-6_0_6_load_2 | 2 | 0.0071098 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6628-6_0_6_load_6 | 5 | 0.0013837 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6628-6_0_6_load_75 | 6 | 0.003091 | 0.00077467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6628-6_0_6_load_71 | 11 | 0.011136 | 0.0027908 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6628-6_0_6_load_68 | 13 | 0.015036 | 0.0037684 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6628-6_0_6_load_66 | 14 | 0.014727 | 0.003691 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6628-6_0_6_load_59 | 16 | 0.0078503 | 0.0019675 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6628-6_0_6_load_56 | 17 | 0.011692 | 0.0029302 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6628-6_0_6_load_76 | 19 | 0.0031298 | 0.00078439 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6628-6_0_6_load_47 | 20 | 0.020145 | 0.0050489 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6628-6_0_6_load_72 | 21 | 0.012973 | 0.0032513 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6628-6_0_6_load_55 | 24 | 0.0018355 | 0.00046003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6628-6_0_6_load_36 | 26 | 0.0013424 | 0.00033644 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6628-6_0_6_load_35 | 27 | 0.0010871 | 0.00027245 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6628-6_0_6_load_61 | 28 | 0.034992 | 0.0087699 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6628-6_0_6_load_70 | 31 | 0.048107 | 0.012057 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6628-6_0_6_load_65 | 33 | 0.0075298 | 0.0018871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6628-6_0_6_load_74 | 35 | 0.0014108 | 0.00035357 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6628-6_0_6_load_73 | 36 | 0.0050636 | 0.0012691 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6628-6_0_6_load_49 | 39 | 0.0011892 | 0.00029804 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6628-6_0_6_load_64 | 43 | 0.022445 | 0.0056252 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6628-6_0_6_load_39 | 44 | 0.0010491 | 0.00026294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6628-6_0_6_load_58 | 47 | 0.0005456 | 0.00013674 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6628-6_0_6_load_60 | 49 | 0.0079463 | 0.0019915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6628-6_0_6_load_57 | 50 | 0.030647 | 0.0076809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6628-6_0_6_load_46 | 51 | 0.0047527 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6628-6_0_6_load_34 | 52 | 0.0012301 | 0.0003083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6628-6_0_6_load_62 | 53 | 0.028074 | 0.0070361 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6628-6_0_6_load_48 | 54 | 0.0017717 | 0.00044403 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6628-6_0_6_load_63 | 55 | 0.017889 | 0.0044835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6628-6_0_6_load_53 | 57 | 0.00095053 | 0.00023822 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6628-6_0_6_load_30 | 58 | 0.0011039 | 0.00027665 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6628-6_0_6_load_31 | 59 | 0.00043413 | 0.0001088 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6628-6_0_6_load_32 | 60 | 0.0004375 | 0.00010965 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6628-6_0_6_load_33 | 61 | 0.0007375 | 0.00018484 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6628-6_0_6_load_40 | 62 | 0.048093 | 0.012053 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6628-6_0_6_load_41 | 63 | 0.0069277 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6628-6_0_6_load_42 | 64 | 0.039092 | 0.0097973 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6628-6_0_6_load_43 | 65 | 0.015433 | 0.0038679 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6628-6_0_6_load_44 | 66 | 0.038672 | 0.0096922 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6628-6_0_6_load_67 | 67 | 0.032135 | 0.0080537 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6628-6_0_6_load_69 | 68 | 0.036291 | 0.0090953 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6628-6_0_6_load_50 | 69 | 0.00089036 | 0.00022315 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6628-6_0_6_load_51 | 70 | 0.0010077 | 0.00025255 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6628-6_0_6_load_52 | 71 | 0.0011808 | 0.00029594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6628-6_0_6_line_0 |  | 0 | 1 | 0.022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6628-6_0_6_line_1 |  | 0 | 2 | 0.013334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6628-6_0_6_line_2 |  | 1 | 3 | 0.03278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6628-6_0_6_line_3 |  | 3 | 4 | 0.014673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6628-6_0_6_line_4 |  | 3 | 5 | 0.0078529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6628-6_0_6_line_5 |  | 4 | 6 | 0.024854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6628-6_0_6_line_6 |  | 4 | 7 | 0.034999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6628-6_0_6_line_7 |  | 6 | 19 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6628-6_0_6_line_8 |  | 7 | 28 | 0.0143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6628-6_0_6_line_9 |  | 8 | 9 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6628-6_0_6_line_10 |  | 8 | 10 | 0.03607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6628-6_0_6_line_11 |  | 8 | 11 | 0.0082243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6628-6_0_6_line_12 |  | 9 | 21 | 0.026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6628-6_0_6_line_13 |  | 10 | 18 | 0.024452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6628-6_0_6_line_14 |  | 10 | 19 | 0.029753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6628-6_0_6_line_15 |  | 12 | 13 | 0.026912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6628-6_0_6_line_16 |  | 12 | 14 | 0.014786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6628-6_0_6_line_17 |  | 13 | 29 | 0.0072655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6628-6_0_6_line_18 |  | 14 | 48 | 0.023251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6628-6_0_6_line_19 |  | 15 | 16 | 0.0026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6628-6_0_6_line_20 |  | 15 | 17 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6628-6_0_6_line_21 |  | 16 | 49 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6628-6_0_6_line_22 |  | 17 | 50 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6628-6_0_6_line_23 |  | 18 | 20 | 0.037959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6628-6_0_6_line_24 |  | 20 | 51 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6628-6_0_6_line_25 |  | 21 | 29 | 0.0071858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6628-6_0_6_line_26 |  | 22 | 23 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6628-6_0_6_line_27 |  | 22 | 24 | 0.055448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6628-6_0_6_line_28 |  | 23 | 26 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6628-6_0_6_line_29 |  | 24 | 46 | 0.038419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6628-6_0_6_line_30 |  | 25 | 26 | 0.009107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6628-6_0_6_line_31 |  | 25 | 27 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6628-6_0_6_line_32 |  | 27 | 52 | 0.0035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6628-6_0_6_line_33 |  | 28 | 53 | 0.0013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6628-6_0_6_line_34 |  | 30 | 31 | 0.010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6628-6_0_6_line_35 |  | 30 | 32 | 0.043209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6628-6_0_6_line_36 |  | 30 | 33 | 0.022226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6628-6_0_6_line_37 |  | 32 | 42 | 0.056732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6628-6_0_6_line_38 |  | 32 | 43 | 0.0014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6628-6_0_6_line_39 |  | 33 | 38 | 0.014331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6628-6_0_6_line_40 |  | 34 | 35 | 0.012171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6628-6_0_6_line_41 |  | 34 | 36 | 0.042351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6628-6_0_6_line_42 |  | 35 | 42 | 0.03927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6628-6_0_6_line_43 |  | 36 | 40 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6628-6_0_6_line_44 |  | 37 | 38 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6628-6_0_6_line_45 |  | 37 | 39 | 0.024557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6628-6_0_6_line_46 |  | 39 | 54 | 0.047164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6628-6_0_6_line_47 |  | 40 | 41 | 0.050222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6628-6_0_6_line_48 |  | 41 | 44 | 0.0093968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6628-6_0_6_line_49 |  | 43 | 55 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6628-6_0_6_line_50 |  | 44 | 56 | 0.0026917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6628-6_0_6_line_51 |  | 45 | 46 | 0.005578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6628-6_0_6_line_52 |  | 45 | 47 | 0.0066213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6628-6_0_6_line_53 |  | 46 | 57 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6628-6_0_6_line_54 |  | 47 | 50 | 0.028614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6628-6_0_6_line_55 |  | 48 | 67 | 0.027251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6628-6_0_6_line_56 |  | 48 | 65 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6628-6_0_6_line_57 |  | 53 | 55 | 0.031278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6628-6_0_6_line_58 |  | 54 | 69 | 0.025998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6628-6_0_6_line_59 |  | 56 | 61 | 0.03844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6628-6_0_6_line_60 |  | 57 | 71 | 0.002582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6628-6_0_6_line_61 |  | 58 | 59 | 0.029754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6628-6_0_6_line_62 |  | 59 | 60 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6628-6_0_6_line_63 |  | 60 | 61 | 0.024401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6628-6_0_6_line_64 |  | 62 | 63 | 0.006343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6628-6_0_6_line_65 |  | 62 | 64 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6628-6_0_6_line_66 |  | 63 | 65 | 0.0041893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6628-6_0_6_line_67 |  | 64 | 66 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6628-6_0_6_line_68 |  | 67 | 68 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6628-6_0_6_line_69 |  | 69 | 70 | 0.0046845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6628-6_0_6_line_70 |  | 70 | 71 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6628-6_0_6_trafo_40 | 0.63 MVA 20/0.4 kV | 72 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2498021.2658 | 1116223.7063 | 2498042.0486 | 1116233.1968
1 | 2498021.2658 | 1116223.7063 | 2498009.1366 | 1116218.1675
2 | 2498071.8537 | 1116246.841 | 2498056.8271 | 1116239.9453 | 2498042.0486 | 1116233.1968
3 | 2498071.8537 | 1116246.841 | 2498085.2153 | 1116252.9865
4 | 2498071.8537 | 1116246.841 | 2498070.5158 | 1116249.921 | 2498067.1188 | 1116252.8645
5 | 2498085.2153 | 1116252.9865 | 2498085.7752 | 1116255.512 | 2498085.4802 | 1116259.5418 | 2498084.19 | 1116262.7099 | 2498081.8456 | 1116265.1732 | 2498071.4355 | 1116269.8323
6 | 2498085.2153 | 1116252.9865 | 2498088.7529 | 1116254.8837 | 2498091.646 | 1116256.5694 | 2498097.0585 | 1116260.2139 | 2498102.228 | 1116264.107 | 2498107.3211 | 1116268.046 | 2498113.4739 | 1116273.4681
7 | 2498071.4355 | 1116269.8323 | 2498054.9106 | 1116277.228
8 | 2498113.4739 | 1116273.4681 | 2498123.5247 | 1116283.6407
9 | 2498036.6709 | 1116319.0126 | 2498027.4246 | 1116341.238
10 | 2498036.6709 | 1116319.0126 | 2498031.6949 | 1116314.6937 | 2498035.9634 | 1116303.6148 | 2498028.7788 | 1116303.4024 | 2498031.9161 | 1116293.4655
11 | 2498036.6709 | 1116319.0126 | 2498042.8849 | 1116324.4002
12 | 2498027.4246 | 1116341.238 | 2498025.3384 | 1116346.1874 | 2498022.8109 | 1116351.9892 | 2498017.2385 | 1116365.4267
13 | 2498031.9161 | 1116293.4655 | 2498035.5098 | 1116293.1937 | 2498039.6181 | 1116294.1361 | 2498044.8654 | 1116295.3151 | 2498044.9362 | 1116293.1014 | 2498045.5169 | 1116290.9014 | 2498046.5211 | 1116289.0944 | 2498047.6958 | 1116287.7849 | 2498050.2027 | 1116286.2528
14 | 2498031.9161 | 1116293.4655 | 2498036.0151 | 1116286.0695 | 2498038.4582 | 1116283.5045 | 2498041.9932 | 1116281.5882 | 2498044.4204 | 1116280.8246 | 2498047.9258 | 1116280.3541 | 2498054.9106 | 1116277.228
15 | 2498001.1723 | 1116403.542 | 2498011.6557 | 1116378.7559
16 | 2498001.1723 | 1116403.542 | 2498009.4349 | 1116408.1612 | 2498014.047 | 1116410.8118
17 | 2498014.4859 | 1116372.0644 | 2498011.6557 | 1116378.7559
18 | 2498034.2058 | 1116422.3972 | 2498014.047 | 1116410.8118
19 | 2498073.9053 | 1116514.7089 | 2498072.5865 | 1116516.9709
20 | 2498073.9053 | 1116514.7089 | 2498082.2068 | 1116500.8961
21 | 2498065.0825 | 1116529.8419 | 2498072.5865 | 1116516.9709
22 | 2498089.7039 | 1116488.4217 | 2498082.2068 | 1116500.8961
23 | 2498050.2027 | 1116286.2528 | 2498057.1031 | 1116292.5072 | 2498060.4328 | 1116296.2757 | 2498069.6832 | 1116298.5658 | 2498079.7558 | 1116308.4146
24 | 2498079.7558 | 1116308.4146 | 2498092.0504 | 1116320.4362 | 2498093.4214 | 1116321.4672
25 | 2498014.4859 | 1116372.0644 | 2498017.2385 | 1116365.4267
26 | 2498091.3733 | 1116597.7894 | 2498079.9658 | 1116591.1773 | 2498076.0045 | 1116586.5745
27 | 2498076.0045 | 1116586.5745 | 2498079.5035 | 1116580.7007 | 2498104.396 | 1116538.947
28 | 2498091.3733 | 1116597.7894 | 2498102.5846 | 1116604.1552
29 | 2498124.0694 | 1116505.9475 | 2498104.396 | 1116538.947
30 | 2498110.504 | 1116608.6519 | 2498102.5846 | 1116604.1552
31 | 2498110.504 | 1116608.6519 | 2498123.7276 | 1116616.4049
32 | 2498126.7726 | 1116618.1902 | 2498123.7276 | 1116616.4049
33 | 2498123.5247 | 1116283.6407 | 2498124.4635 | 1116284.5908
34 | 2498171.1942 | 1116354.2697 | 2498163.7064 | 1116361.2668
35 | 2498162.4607 | 1116323.5195 | 2498182.003 | 1116343.6478 | 2498171.1942 | 1116354.2697
36 | 2498171.1942 | 1116354.2697 | 2498174.5871 | 1116363.6297 | 2498181.1076 | 1116368.8899 | 2498183.9139 | 1116366.1923
37 | 2498162.4607 | 1116323.5195 | 2498164.2844 | 1116321.7655 | 2498165.5154 | 1116320.5885 | 2498166.4347 | 1116319.6947 | 2498169.1774 | 1116322.5392 | 2498170.0665 | 1116321.6904 | 2498171.1531 | 1116320.6492 | 2498172.4145 | 1116319.4383 | 2498173.6759 | 1116318.2274 | 2498174.7626 | 1116317.1863 | 2498176.0618 | 1116315.9303 | 2498177.7715 | 1116314.2894 | 2498179.2381 | 1116312.886 | 2498186.6615 | 1116321.7779 | 2498195.2234 | 1116330.4171 | 2498201.9629 | 1116337.2191
38 | 2498162.4607 | 1116323.5195 | 2498161.4438 | 1116322.4702
39 | 2498194.2454 | 1116356.2609 | 2498183.9139 | 1116366.1923
40 | 2498238.1737 | 1116373.7553 | 2498229.6064 | 1116365.111
41 | 2498238.1737 | 1116373.7553 | 2498267.3596 | 1116404.4442
42 | 2498201.9629 | 1116337.2191 | 2498229.6064 | 1116365.111
43 | 2498289.4971 | 1116426.4924 | 2498286.7749 | 1116424.8594 | 2498267.3596 | 1116404.4442
44 | 2498194.2454 | 1116356.2609 | 2498210.8328 | 1116373.3371
45 | 2498210.8328 | 1116373.3371 | 2498193.3164 | 1116390.5482
46 | 2498193.3164 | 1116390.5482 | 2498189.1316 | 1116394.6601 | 2498186.5472 | 1116398.0057 | 2498183.518 | 1116402.4483 | 2498182.7454 | 1116403.7955 | 2498169.0559 | 1116427.6743 | 2498167.7551 | 1116429.9428
47 | 2498271.7631 | 1116465.1705 | 2498276.6956 | 1116459.5729 | 2498280.5698 | 1116454.8715 | 2498277.3275 | 1116451.2348 | 2498278.322 | 1116448.8499 | 2498278.433 | 1116446.2686 | 2498278.1366 | 1116443.7943 | 2498275.4349 | 1116440.1707 | 2498278.3599 | 1116437.3309 | 2498280.7301 | 1116435.0229 | 2498281.9911 | 1116433.7898 | 2498283.2446 | 1116432.568 | 2498285.7593 | 1116430.1242 | 2498289.4971 | 1116426.4924
48 | 2498271.7631 | 1116465.1705 | 2498265.6714 | 1116472.3252
49 | 2498146.3697 | 1116306.916 | 2498161.4438 | 1116322.4702
50 | 2498263.9264 | 1116474.3747 | 2498265.6714 | 1116472.3252
51 | 2498124.0694 | 1116505.9475 | 2498119.25 | 1116503.1158
52 | 2498119.25 | 1116503.1158 | 2498113.5455 | 1116499.7543
53 | 2498124.0694 | 1116505.9475 | 2498126.9152 | 1116501.1633 | 2498135.3215 | 1116486.5036
54 | 2498089.7039 | 1116488.4217 | 2498090.9094 | 1116486.4158 | 2498113.5455 | 1116499.7543
55 | 2498034.2058 | 1116422.3972 | 2498047.2917 | 1116431.4491 | 2498057.1891 | 1116436.9822
56 | 2498034.2058 | 1116422.3972 | 2498038.5099 | 1116422.5915 | 2498042.3838 | 1116420.625 | 2498047.4248 | 1116415.0699 | 2498051.5855 | 1116414.9997
57 | 2498146.3697 | 1116306.916 | 2498138.5958 | 1116298.8945 | 2498124.4635 | 1116284.5908
58 | 2498154.8227 | 1116452.4955 | 2498167.7551 | 1116429.9428
59 | 2498263.9264 | 1116474.3747 | 2498239.7519 | 1116504.2616
60 | 2498135.3215 | 1116486.5036 | 2498136.6059 | 1116484.2637
61 | 2498198.9093 | 1116555.8894 | 2498199.5955 | 1116553.9067 | 2498216.9882 | 1116532.4043
62 | 2498216.9882 | 1116532.4043 | 2498224.4065 | 1116523.2331
63 | 2498239.7519 | 1116504.2616 | 2498224.4065 | 1116523.2331
64 | 2498060.2605 | 1116420.4708 | 2498055.6123 | 1116416.1548 | 2498055.6123 | 1116416.1548
65 | 2498073.0293 | 1116432.327 | 2498060.2605 | 1116420.4708
66 | 2498051.5855 | 1116414.9997 | 2498055.6123 | 1116416.1548
67 | 2498073.0293 | 1116432.327 | 2498084.5201 | 1116442.9966
68 | 2498057.1891 | 1116436.9822 | 2498069.4721 | 1116443.849
69 | 2498152.4924 | 1116456.5593 | 2498154.8227 | 1116452.4955
70 | 2498152.4924 | 1116456.5593 | 2498136.6059 | 1116484.2637

## bus_geodata
| x | y | coords
0 | 2498021.2658 | 1116223.7063
1 | 2498042.0486 | 1116233.1968
2 | 2498009.1366 | 1116218.1675
3 | 2498071.8537 | 1116246.841
4 | 2498085.2153 | 1116252.9865
5 | 2498067.1188 | 1116252.8645
6 | 2498071.4355 | 1116269.8323
7 | 2498113.4739 | 1116273.468
8 | 2498036.6709 | 1116319.0126
9 | 2498027.4246 | 1116341.238
10 | 2498031.9161 | 1116293.4655
11 | 2498042.8849 | 1116324.4002
12 | 2498001.1723 | 1116403.542
13 | 2498011.6557 | 1116378.7559
14 | 2498014.047 | 1116410.8118
15 | 2498073.9053 | 1116514.7089
16 | 2498072.5865 | 1116516.9709
17 | 2498082.2068 | 1116500.8961
18 | 2498050.2027 | 1116286.2528
19 | 2498054.9106 | 1116277.228
20 | 2498079.7558 | 1116308.4146
21 | 2498017.2385 | 1116365.4267
22 | 2498076.0045 | 1116586.5745
23 | 2498091.3733 | 1116597.7894
24 | 2498104.396 | 1116538.947
25 | 2498110.504 | 1116608.6519
26 | 2498102.5846 | 1116604.1552
27 | 2498123.7276 | 1116616.4049
28 | 2498123.5247 | 1116283.6407
29 | 2498014.4859 | 1116372.0644
30 | 2498171.1942 | 1116354.2697
31 | 2498163.7064 | 1116361.2668
32 | 2498162.4607 | 1116323.5195
33 | 2498183.9139 | 1116366.1923
34 | 2498238.1737 | 1116373.7553
35 | 2498229.6064 | 1116365.111
36 | 2498267.3596 | 1116404.4442
37 | 2498210.8328 | 1116373.3371
38 | 2498194.2454 | 1116356.2609
39 | 2498193.3164 | 1116390.5482
40 | 2498289.4971 | 1116426.4924
41 | 2498271.7631 | 1116465.1705
42 | 2498201.9629 | 1116337.2191
43 | 2498161.4438 | 1116322.4702
44 | 2498265.6714 | 1116472.3252
45 | 2498119.25 | 1116503.1158
46 | 2498124.0694 | 1116505.9475
47 | 2498113.5455 | 1116499.7543
48 | 2498034.2058 | 1116422.3972
49 | 2498065.0825 | 1116529.8419
50 | 2498089.7039 | 1116488.4217
51 | 2498093.4214 | 1116321.4672
52 | 2498126.7726 | 1116618.1902
53 | 2498124.4635 | 1116284.5908
54 | 2498167.7551 | 1116429.9428
55 | 2498146.3697 | 1116306.916
56 | 2498263.9264 | 1116474.3747
57 | 2498135.3215 | 1116486.5036
58 | 2498198.9093 | 1116555.8894
59 | 2498216.9882 | 1116532.4043
60 | 2498224.4065 | 1116523.2331
61 | 2498239.7519 | 1116504.2616
62 | 2498060.2605 | 1116420.4708
63 | 2498055.6123 | 1116416.1548
64 | 2498073.0293 | 1116432.327
65 | 2498051.5855 | 1116414.9997
66 | 2498084.5201 | 1116442.9966
67 | 2498057.1891 | 1116436.9822
68 | 2498069.4721 | 1116443.849
69 | 2498154.8227 | 1116452.4955
70 | 2498152.4924 | 1116456.5593
71 | 2498136.6059 | 1116484.2637
72 | 2498034.2058 | 1116422.3972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1