## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6630-20_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6630-20_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6630-20_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6630-20_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6630-20_0_4_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_6630-20_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6630-20_0_4_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_6630-20_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6630-20_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6630-20_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6630-20_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_6630-20_0_4_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_6630-20_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6630-20_0_4_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6630-20_0_4_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6630-20_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6630-20_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_6630-20_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6630-20_0_4_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_6630-20_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6630-20_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_6630-20_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6630-20_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6630-20_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6630-20_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6630-20_0_4_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_6630-20_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6630-20_0_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6630-20_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_6630-20_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6630-20_0_4_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_6630-20_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_6630-20_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6630-20_0_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_6630-20_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_6630-20_0_4_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_6630-20_0_4_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_6630-20_0_4_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_6630-20_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6630-20_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6630-20_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_6630-20_0_4_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_6630-20_0_4_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_6630-20_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_6630-20_0_4_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_6630-20_0_4_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_6630-20_0_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_6630-20_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6630-20_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_6630-20_0_4_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6630-20_0_4_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_6630-20_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_6630-20_0_4_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_6630-20_0_4_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_6630-20_0_4_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_6630-20_0_4_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_6630-20_0_4_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_6630-20_0_4_node_26 | 0.4 | n |  | TRUE
58 | bus_LV_6630-20_0_4_node_27 | 0.4 | n |  | TRUE
59 | bus_LV_6630-20_0_4_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_6630-20_0_4_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_6630-20_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_6630-20_0_4_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_6630-20_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6630-20_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_6630-20_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6630-20_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_6630-20_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_6630-20_0_4_node_89 | 0.4 | n |  | TRUE
69 | bus_LV_6630-20_0_4_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_6630-20_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_6630-20_0_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_6630-20_0_4_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_6630-20_0_4_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_6630-20_0_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_6630-20_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_6630-20_0_4_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_6630-20_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_6630-20_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_6630-20_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_6630-20_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6630-20_0_4_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_6630-20_0_4_node_87 | 0.4 | n |  | TRUE
83 | bus_LV_6630-20_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_6630-20_0_4_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_6630-20_0_4_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_6630-20_0_4_node_100 | 0.4 | n |  | TRUE
87 | bus_LV_6630-20_0_4_node_97 | 0.4 | n |  | TRUE
88 | bus_LV_6630-20_0_4_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_6630-20_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_6630-20_0_4_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_6630-20_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_6630-20_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6630-20_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_6630-20_0_4_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_6630-20_0_4_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_6630-20_0_4_node_56 | 0.4 | n |  | TRUE
97 | bus_LV_6630-20_0_4_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_6630-20_0_4_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_6630-20_0_4_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_6630-20_0_4_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_6630-20_0_4_node_73 | 0.4 | n |  | TRUE
102 | bus_MV_668_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6630-20_0_4_load_0 | 0 | 0.021312 | 0.0053413 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6630-20_0_4_load_74 | 4 | 0.020363 | 0.0051035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6630-20_0_4_load_67 | 6 | 0.026066 | 0.0065328 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6630-20_0_4_load_57 | 10 | 0.012164 | 0.0030487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6630-20_0_4_load_86 | 11 | 0.001546 | 0.00038747 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6630-20_0_4_load_23 | 13 | 0.0002666 | 6.6817e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6630-20_0_4_load_24 | 14 | 0.0092533 | 0.0023191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6630-20_0_4_load_22 | 15 | 0.00080321 | 0.0002013 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6630-20_0_4_load_40 | 16 | 0.00050041 | 0.00012541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6630-20_0_4_load_39 | 17 | 0.00067794 | 0.00016991 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6630-20_0_4_load_104 | 18 | 0.032365 | 0.0081115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6630-20_0_4_load_33 | 22 | 0.0033756 | 0.00084601 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6630-20_0_4_load_63 | 25 | 0.00034964 | 8.7629e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6630-20_0_4_load_34 | 27 | 0.0016387 | 0.00041071 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6630-20_0_4_load_42 | 28 | 0.00037716 | 9.4524e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6630-20_0_4_load_38 | 31 | 0.0070624 | 0.00177 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6630-20_0_4_load_36 | 32 | 0.0078387 | 0.0019646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6630-20_0_4_load_85 | 33 | 0.0066548 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6630-20_0_4_load_79 | 35 | 0.039893 | 0.0099981 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6630-20_0_4_load_105 | 36 | 0.0024517 | 0.00061446 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6630-20_0_4_load_65 | 38 | 0.0011927 | 0.00029892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6630-20_0_4_load_35 | 39 | 0.0019695 | 0.0004936 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6630-20_0_4_load_106 | 41 | 0.051015 | 0.012786 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6630-20_0_4_load_68 | 43 | 0.00071131 | 0.00017827 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6630-20_0_4_load_66 | 44 | 0.00061801 | 0.00015489 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6630-20_0_4_load_83 | 45 | 0.0056397 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6630-20_0_4_load_62 | 46 | 0.0038932 | 0.00097573 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6630-20_0_4_load_41 | 47 | 0.00048221 | 0.00012085 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6630-20_0_4_load_29 | 49 | 0.0047082 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6630-20_0_4_load_30 | 50 | 0.014013 | 0.0035121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6630-20_0_4_load_31 | 51 | 0.0014828 | 0.00037163 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6630-20_0_4_load_80 | 52 | 0.018065 | 0.0045275 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6630-20_0_4_load_107 | 53 | 0.00080454 | 0.00020164 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6630-20_0_4_load_84 | 54 | 0.0038648 | 0.00096862 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6630-20_0_4_load_82 | 55 | 0.00060707 | 0.00015215 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6630-20_0_4_load_25 | 56 | 0.0026908 | 0.00067438 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6630-20_0_4_load_26 | 57 | 0.0012165 | 0.00030489 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6630-20_0_4_load_76 | 60 | 0.0030685 | 0.00076904 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6630-20_0_4_load_77 | 61 | 0.005413 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6630-20_0_4_load_32 | 62 | 0.001662 | 0.00041653 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6630-20_0_4_load_44 | 63 | 0.00074948 | 0.00018784 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6630-20_0_4_load_43 | 64 | 0.00064775 | 0.00016234 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6630-20_0_4_load_54 | 65 | 0.0086999 | 0.0021804 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6630-20_0_4_load_92 | 69 | 0.00040902 | 0.00010251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6630-20_0_4_load_93 | 70 | 0.010745 | 0.002693 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6630-20_0_4_load_108 | 73 | 0.0074771 | 0.0018739 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6630-20_0_4_load_53 | 78 | 0.014111 | 0.0035366 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6630-20_0_4_load_51 | 79 | 0.013689 | 0.0034307 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6630-20_0_4_load_75 | 80 | 0.0013942 | 0.00034943 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6630-20_0_4_load_69 | 81 | 0.00282 | 0.00070675 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6630-20_0_4_load_87 | 82 | 0.035814 | 0.0089759 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6630-20_0_4_load_70 | 83 | 0.017926 | 0.0044926 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6630-20_0_4_load_60 | 84 | 0.0055601 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6630-20_0_4_load_100 | 86 | 0.0046712 | 0.0011707 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6630-20_0_4_load_98 | 88 | 0.0085467 | 0.002142 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6630-20_0_4_load_109 | 90 | 0.013974 | 0.0035023 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6630-20_0_4_load_78 | 91 | 0.028461 | 0.0071331 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6630-20_0_4_load_88 | 92 | 0.0094342 | 0.0023644 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6630-20_0_4_load_103 | 94 | 0.013523 | 0.0033893 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6630-20_0_4_load_99 | 95 | 0.0020826 | 0.00052194 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6630-20_0_4_load_56 | 96 | 0.0036897 | 0.00092472 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6630-20_0_4_load_81 | 97 | 0.0071975 | 0.0018039 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6630-20_0_4_load_102 | 98 | 0.0065401 | 0.0016391 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6630-20_0_4_load_101 | 99 | 0.00095464 | 0.00023925 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6630-20_0_4_load_71 | 100 | 0.0018116 | 0.00045404 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6630-20_0_4_load_73 | 101 | 0.00086186 | 0.000216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6630-20_0_4_line_0 |  | 0 | 1 | 0.040264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6630-20_0_4_line_1 |  | 1 | 2 | 0.36374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6630-20_0_4_line_2 |  | 2 | 9 | 0.057602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6630-20_0_4_line_3 |  | 2 | 11 | 0.047836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6630-20_0_4_line_4 |  | 3 | 4 | 0.043927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6630-20_0_4_line_5 |  | 3 | 5 | 0.025156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6630-20_0_4_line_6 |  | 3 | 6 | 0.024311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6630-20_0_4_line_7 |  | 4 | 37 | 0.05036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6630-20_0_4_line_8 |  | 5 | 16 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6630-20_0_4_line_9 |  | 5 | 17 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6630-20_0_4_line_10 |  | 6 | 38 | 0.075891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6630-20_0_4_line_11 |  | 7 | 8 | 0.013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6630-20_0_4_line_12 |  | 7 | 9 | 0.059531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6630-20_0_4_line_13 |  | 7 | 10 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6630-20_0_4_line_14 |  | 8 | 35 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6630-20_0_4_line_15 |  | 9 | 18 | 0.051203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6630-20_0_4_line_16 |  | 12 | 13 | 0.029443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6630-20_0_4_line_17 |  | 12 | 14 | 0.010095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6630-20_0_4_line_18 |  | 12 | 15 | 0.057531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6630-20_0_4_line_19 |  | 13 | 39 | 0.022891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6630-20_0_4_line_20 |  | 14 | 17 | 0.02289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6630-20_0_4_line_21 |  | 16 | 26 | 0.015432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6630-20_0_4_line_22 |  | 19 | 20 | 0.016848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6630-20_0_4_line_23 |  | 19 | 21 | 0.0088106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6630-20_0_4_line_24 |  | 19 | 22 | 0.0017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6630-20_0_4_line_25 |  | 20 | 45 | 0.04122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6630-20_0_4_line_26 |  | 20 | 30 | 0.004676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6630-20_0_4_line_27 |  | 21 | 33 | 0.055589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6630-20_0_4_line_28 |  | 22 | 34 | 0.020201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6630-20_0_4_line_29 |  | 23 | 24 | 0.004606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6630-20_0_4_line_30 |  | 23 | 25 | 0.11773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6630-20_0_4_line_31 |  | 24 | 36 | 0.092541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6630-20_0_4_line_32 |  | 25 | 46 | 0.053463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6630-20_0_4_line_33 |  | 26 | 27 | 0.021978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6630-20_0_4_line_34 |  | 26 | 28 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6630-20_0_4_line_35 |  | 27 | 34 | 0.020703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6630-20_0_4_line_36 |  | 28 | 47 | 0.041244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6630-20_0_4_line_37 |  | 29 | 30 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6630-20_0_4_line_38 |  | 29 | 31 | 0.034225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6630-20_0_4_line_39 |  | 29 | 32 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6630-20_0_4_line_40 |  | 30 | 48 | 0.003416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6630-20_0_4_line_41 |  | 30 | 46 | 0.062768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6630-20_0_4_line_42 |  | 32 | 49 | 0.047473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6630-20_0_4_line_43 |  | 35 | 52 | 0.0061544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6630-20_0_4_line_44 |  | 36 | 53 | 0.0049321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6630-20_0_4_line_45 |  | 37 | 83 | 0.028903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6630-20_0_4_line_46 |  | 37 | 67 | 0.028214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6630-20_0_4_line_47 |  | 38 | 44 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6630-20_0_4_line_48 |  | 40 | 41 | 0.021981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6630-20_0_4_line_49 |  | 40 | 42 | 0.048144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6630-20_0_4_line_50 |  | 42 | 85 | 0.003915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6630-20_0_4_line_51 |  | 43 | 44 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6630-20_0_4_line_52 |  | 45 | 97 | 2.5065e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6630-20_0_4_line_53 |  | 47 | 64 | 0.040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6630-20_0_4_line_54 |  | 48 | 65 | 0.024171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6630-20_0_4_line_55 |  | 49 | 58 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6630-20_0_4_line_56 |  | 50 | 51 | 0.011489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6630-20_0_4_line_57 |  | 51 | 62 | 0.031431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6630-20_0_4_line_58 |  | 52 | 85 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6630-20_0_4_line_59 |  | 54 | 55 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6630-20_0_4_line_60 |  | 55 | 97 | 0.030178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6630-20_0_4_line_61 |  | 56 | 57 | 0.089361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6630-20_0_4_line_62 |  | 56 | 58 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6630-20_0_4_line_63 |  | 58 | 59 | 0.004153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6630-20_0_4_line_64 |  | 59 | 60 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6630-20_0_4_line_65 |  | 60 | 61 | 0.00074563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6630-20_0_4_line_66 |  | 61 | 96 | 0.019436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6630-20_0_4_line_67 |  | 62 | 63 | 0.037373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6630-20_0_4_line_68 |  | 63 | 64 | 0.0037733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6630-20_0_4_line_69 |  | 66 | 67 | 0.004314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6630-20_0_4_line_70 |  | 66 | 68 | 0.1091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6630-20_0_4_line_71 |  | 67 | 75 | 0.046279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6630-20_0_4_line_72 |  | 68 | 71 | 0.004375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6630-20_0_4_line_73 |  | 68 | 82 | 0.050133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6630-20_0_4_line_74 |  | 69 | 70 | 0.0018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6630-20_0_4_line_75 |  | 70 | 71 | 0.036736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6630-20_0_4_line_76 |  | 72 | 73 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6630-20_0_4_line_77 |  | 72 | 74 | 0.11676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6630-20_0_4_line_78 |  | 74 | 93 | 0.049891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6630-20_0_4_line_79 |  | 75 | 80 | 0.031157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6630-20_0_4_line_80 |  | 75 | 81 | 0.050816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6630-20_0_4_line_81 |  | 76 | 77 | 0.009094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6630-20_0_4_line_82 |  | 76 | 78 | 0.059867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6630-20_0_4_line_83 |  | 76 | 79 | 0.0097146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6630-20_0_4_line_84 |  | 77 | 81 | 0.057253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6630-20_0_4_line_85 |  | 77 | 84 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6630-20_0_4_line_86 |  | 78 | 85 | 0.069142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6630-20_0_4_line_87 |  | 80 | 91 | 0.0066744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6630-20_0_4_line_88 |  | 82 | 92 | 0.001607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6630-20_0_4_line_89 |  | 83 | 100 | 0.029815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6630-20_0_4_line_90 |  | 86 | 87 | 0.050448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6630-20_0_4_line_91 |  | 86 | 88 | 0.015038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6630-20_0_4_line_92 |  | 87 | 94 | 0.0078848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6630-20_0_4_line_93 |  | 87 | 89 | 0.12717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6630-20_0_4_line_94 |  | 88 | 95 | 0.022912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6630-20_0_4_line_95 |  | 89 | 90 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6630-20_0_4_line_96 |  | 92 | 93 | 0.073172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6630-20_0_4_line_97 |  | 93 | 98 | 0.028501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6630-20_0_4_line_98 |  | 95 | 99 | 0.0148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6630-20_0_4_line_99 |  | 98 | 99 | 0.0071818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6630-20_0_4_line_100 |  | 100 | 101 | 0.00070968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6630-20_0_4_trafo_78 | 0.63 MVA 20/0.4 kV | 102 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2494987.0569 | 1120242.7725 | 2495019.4764 | 1120218.8944
1 | 2494987.0569 | 1120242.7725 | 2494976.2601 | 1120250.6984 | 2494972.149 | 1120245.4776 | 2494968.737 | 1120240.5225 | 2494963.3119 | 1120230.7327 | 2494937.4555 | 1120194.4587 | 2494935.0593 | 1120188.8968 | 2494934.1658 | 1120184.1092 | 2494934.0092 | 1120179.5424 | 2494934.6215 | 1120176.1407 | 2494936.333 | 1120172.4975 | 2494939.0152 | 1120169.6491 | 2494959.9814 | 1120154.0972 | 2494976.1425 | 1120143.1206 | 2494993.6368 | 1120132.4878 | 2495043.2725 | 1120105.4534 | 2495051.7906 | 1120101.3808 | 2495058.6244 | 1120098.527 | 2495065.168 | 1120097.1793 | 2495070.6639 | 1120097.7065 | 2495076.1811 | 1120099.4675 | 2495080.9342 | 1120102.1089 | 2495085.7666 | 1120106.2055 | 2495099.5742 | 1120120.564 | 2495103.99 | 1120124.6678 | 2495109.1778 | 1120128.3469 | 2495115.1189 | 1120130.9677 | 2495120.1617 | 1120132.0699 | 2495125.4941 | 1120132.0774 | 2495131.7895 | 1120131.101 | 2495138.5772 | 1120128.704 | 2495149.0768 | 1120123.6409 | 2495159.2474 | 1120118.7392
2 | 2495156.2475 | 1120073.4735 | 2495163.821 | 1120083.4486 | 2495166.3731 | 1120087.329 | 2495168.3569 | 1120091.3639 | 2495169.0853 | 1120094.6533 | 2495168.7665 | 1120097.1827 | 2495166.9595 | 1120100.6718 | 2495164.1653 | 1120103.2997 | 2495166.3658 | 1120106.0411 | 2495158.6802 | 1120113.1789 | 2495156.0274 | 1120114.6147 | 2495159.2474 | 1120118.7392
3 | 2495159.2474 | 1120118.7392 | 2495160.8968 | 1120120.8453 | 2495165.6709 | 1120121.5853 | 2495171.0139 | 1120119.5358 | 2495180.4439 | 1120119.9837 | 2495186.6964 | 1120122.766 | 2495192.0375 | 1120126.3869 | 2495199.9799 | 1120135.2078
4 | 2495498.6788 | 1120026.8395 | 2495466.7954 | 1120012.2812 | 2495459.8456 | 1120006.7581
5 | 2495498.6788 | 1120026.8395 | 2495502.0779 | 1120028.3928 | 2495494.6523 | 1120042.5635 | 2495498.8857 | 1120045.9481
6 | 2495498.6788 | 1120026.8395 | 2495487.4181 | 1120048.3853
7 | 2495420.4195 | 1119975.4261 | 2495459.8456 | 1120006.7581
8 | 2495498.8857 | 1120045.9481 | 2495506.8259 | 1120030.6915
9 | 2495498.8857 | 1120045.9481 | 2495491.341 | 1120060.3413
10 | 2495445.2384 | 1120111.0812 | 2495451.5197 | 1120104.4039 | 2495465.7959 | 1120086.1122 | 2495476.7775 | 1120068.7446 | 2495487.4181 | 1120048.3853
11 | 2495209.2738 | 1120077.7016 | 2495202.8379 | 1120086.1519 | 2495205.0473 | 1120088.5151
12 | 2495156.2475 | 1120073.4735 | 2495169.1635 | 1120084.9236 | 2495173.8929 | 1120080.8612 | 2495179.3326 | 1120083.9356 | 2495185.081 | 1120086.1262 | 2495187.631 | 1120086.3266 | 2495193.0156 | 1120084.4432 | 2495198.9068 | 1120081.9617 | 2495202.8379 | 1120086.1519 | 2495205.0473 | 1120088.5151
13 | 2495205.0473 | 1120088.5151 | 2495212.3683 | 1120081.2614 | 2495219.4123 | 1120075.672
14 | 2495209.2738 | 1120077.7016 | 2495225.5074 | 1120066.0071
15 | 2495156.2475 | 1120073.4735 | 2495120.6038 | 1120036.7145
16 | 2495474.483 | 1120088.6748 | 2495460.773 | 1120106.6788 | 2495456.5537 | 1120112.0288
17 | 2495474.483 | 1120088.6748 | 2495479.7992 | 1120080.0932
18 | 2495474.483 | 1120088.6748 | 2495488.5966 | 1120099.8046 | 2495491.5661 | 1120103.7336 | 2495518.6745 | 1120125.2864
19 | 2495456.5537 | 1120112.0288 | 2495450.1409 | 1120120.16 | 2495441.7362 | 1120129.46
20 | 2495479.7992 | 1120080.0932 | 2495487.5231 | 1120067.6249 | 2495491.341 | 1120060.3413
21 | 2495513.9502 | 1120017.0027 | 2495506.8259 | 1120030.6915
22 | 2495543.3985 | 1119959.4351 | 2495545.9991 | 1119954.0757 | 2495547.5336 | 1119953.1152 | 2495549.3439 | 1119952.9283 | 2495551.6889 | 1119953.7661 | 2495555.5653 | 1119956.5898
23 | 2495535.2683 | 1119956.0623 | 2495539.252 | 1119957.5055 | 2495543.3985 | 1119959.4351
24 | 2495543.3985 | 1119959.4351 | 2495542.5587 | 1119961.0082
25 | 2495555.5653 | 1119956.5898 | 2495568.9748 | 1119966.7092 | 2495588.4689 | 1119981.4177
26 | 2495558.5199 | 1119952.9587 | 2495555.5653 | 1119956.5898
27 | 2495535.2683 | 1119956.0623 | 2495536.7146 | 1119952.6796 | 2495536.6676 | 1119949.9564 | 2495535.5271 | 1119946.9297 | 2495533.6794 | 1119944.9493 | 2495530.0879 | 1119943.8773 | 2495490.7375 | 1119947.2535
28 | 2495533.3961 | 1119979.0092 | 2495539.2948 | 1119967.122 | 2495542.5587 | 1119961.0082
29 | 2495713.9687 | 1120116.9696 | 2495709.7537 | 1120115.0855
30 | 2495713.9687 | 1120116.9696 | 2495712.1467 | 1120103.0588 | 2495709.9874 | 1120092.8562 | 2495705.4335 | 1120079.8265 | 2495700.3571 | 1120070.0634 | 2495695.813 | 1120062.9705 | 2495689.3981 | 1120055.2429 | 2495682.8061 | 1120048.4301 | 2495671.1391 | 1120038.6473 | 2495658.2113 | 1120029.1421 | 2495650.8392 | 1120023.5619
31 | 2495709.7537 | 1120115.0855 | 2495701.0128 | 1120111.1893 | 2495634.557 | 1120061.5123
32 | 2495608.2114 | 1119991.2949 | 2495644.4966 | 1120018.761 | 2495650.8392 | 1120023.5619
33 | 2495513.9502 | 1120017.0027 | 2495523.9636 | 1119997.4385
34 | 2495513.9502 | 1120017.0027 | 2495526.5509 | 1120027.2137 | 2495526.5707 | 1120027.2151
35 | 2495533.3961 | 1119979.0092 | 2495523.9636 | 1119997.4385
36 | 2495560.0072 | 1120050.0951 | 2495531.2871 | 1120027.5432 | 2495526.5707 | 1120027.2151
37 | 2495558.5199 | 1119952.9587 | 2495550.6776 | 1119946.6012 | 2495546.1512 | 1119942.3322
38 | 2495546.1512 | 1119942.3322 | 2495536.9643 | 1119939.4446 | 2495531.9444 | 1119938.7753 | 2495513.3567 | 1119940.7088 | 2495512.5182 | 1119940.7978
39 | 2495546.1512 | 1119942.3322 | 2495552.5355 | 1119936.6628 | 2495554.488 | 1119935.3282 | 2495558.7213 | 1119933.7986 | 2495564.813 | 1119932.1927
40 | 2495558.5199 | 1119952.9587 | 2495560.6812 | 1119950.3086
41 | 2495558.5199 | 1119952.9587 | 2495571.3874 | 1119963.421 | 2495608.2114 | 1119991.2949
42 | 2495611.5263 | 1119923.7578 | 2495595.9069 | 1119926.4963 | 2495565.9424 | 1119931.8949 | 2495564.813 | 1119932.1927
43 | 2495225.5074 | 1120066.0071 | 2495230.5009 | 1120062.4098
44 | 2495630.6066 | 1120058.5593 | 2495634.557 | 1120061.5123
45 | 2495420.4195 | 1119975.4261 | 2495401.0603 | 1119996.8881
46 | 2495434.9056 | 1119951.4159 | 2495430.9205 | 1119960.6017 | 2495426.3004 | 1119968.3199 | 2495420.4195 | 1119975.4261
47 | 2495445.2384 | 1120111.0812 | 2495439.2291 | 1120117.4692 | 2495431.9456 | 1120124.5849
48 | 2495272.1446 | 1120096.5024 | 2495255.6022 | 1120110.977
49 | 2495241.5427 | 1120059.2753 | 2495272.1446 | 1120096.5024
50 | 2495241.5427 | 1120059.2753 | 2495239.0517 | 1120056.2498
51 | 2495422.4582 | 1120133.8538 | 2495431.9456 | 1120124.5849
52 | 2495588.4689 | 1119981.4177 | 2495588.4889 | 1119981.4328
53 | 2495591.6856 | 1120074.9698 | 2495560.0072 | 1120050.0951
54 | 2495560.6812 | 1119950.3086 | 2495580.0815 | 1119964.7253
55 | 2495630.3748 | 1119920.4532 | 2495611.5263 | 1119923.7578
56 | 2495583.354 | 1120017.4772 | 2495592.4571 | 1120024.4866
57 | 2495616.1352 | 1120045.0227 | 2495616.1352 | 1120045.0227 | 2495605.62 | 1120036.6989 | 2495599.0219 | 1120029.5415 | 2495592.4571 | 1120024.4866
58 | 2495239.0517 | 1120056.2498 | 2495230.5009 | 1120062.4098
59 | 2495612.5786 | 1119999.6089 | 2495635.4899 | 1120016.8958
60 | 2495588.4889 | 1119981.4328 | 2495612.5786 | 1119999.6089
61 | 2495641.38 | 1119918.5846 | 2495663.4975 | 1119914.7113 | 2495686.7306 | 1119910.9638 | 2495693.3195 | 1119909.5381 | 2495700.5865 | 1119907.6115 | 2495708.5406 | 1119904.3501 | 2495713.2582 | 1119901.8116 | 2495717.2143 | 1119899.4196 | 2495720.9154 | 1119896.1092 | 2495724.2623 | 1119892.3936 | 2495724.656 | 1119891.9808
62 | 2495630.3748 | 1119920.4532 | 2495632.507 | 1119920.1384 | 2495641.38 | 1119918.5846
63 | 2495630.3748 | 1119920.4532 | 2495631.0167 | 1119924.5558
64 | 2495631.0167 | 1119924.5558 | 2495614.9543 | 1119927.2974
65 | 2495614.2193 | 1119927.4228 | 2495614.9543 | 1119927.2974
66 | 2495595.0605 | 1119930.6929 | 2495614.2193 | 1119927.4228
67 | 2495595.3979 | 1120075.2777 | 2495616.4863 | 1120047.4737 | 2495616.1352 | 1120045.0227
68 | 2495591.6856 | 1120074.9698 | 2495591.8998 | 1120075.138 | 2495595.3979 | 1120075.2777
69 | 2495436.1693 | 1119947.2914 | 2495434.9056 | 1119951.4159
70 | 2495436.1693 | 1119947.2914 | 2495448.9807 | 1119838.9453
71 | 2495389.0184 | 1119945.5056 | 2495394.776 | 1119946.8847 | 2495412.32 | 1119950.1945 | 2495424.5556 | 1119951.3281 | 2495434.9056 | 1119951.4159
72 | 2495451.9501 | 1119835.7253 | 2495448.9807 | 1119838.9453
73 | 2495448.9807 | 1119838.9453 | 2495411.8013 | 1119805.3141
74 | 2495475.4862 | 1119807.5108 | 2495476.8571 | 1119808.722
75 | 2495451.9501 | 1119835.7253 | 2495476.8571 | 1119808.722
76 | 2495483.3567 | 1119675.3803 | 2495488.5477 | 1119682.8064 | 2495483.9783 | 1119687.4667
77 | 2495398.1892 | 1119739.2155 | 2495391.9587 | 1119733.7086 | 2495411.5865 | 1119720.9388 | 2495469.1831 | 1119683.5971 | 2495483.3567 | 1119675.3803
78 | 2495356.3442 | 1119755.1495 | 2495359.8307 | 1119753.2657 | 2495391.9587 | 1119733.7086 | 2495398.1892 | 1119739.2155
79 | 2495389.0184 | 1119945.5056 | 2495383.4932 | 1119952.6502 | 2495368.5874 | 1119969.0004
80 | 2495389.0184 | 1119945.5056 | 2495347.0719 | 1119935.436 | 2495339.5 | 1119934.165
81 | 2495275.5225 | 1119940.0552 | 2495284.6426 | 1119939.975
82 | 2495275.5225 | 1119940.0552 | 2495276.1985 | 1119971.9416 | 2495275.98 | 1119992.2917 | 2495275.2454 | 1119999.3311 | 2495275.1889 | 1119999.8728
83 | 2495275.5225 | 1119940.0552 | 2495265.8084 | 1119940.1457
84 | 2495284.6426 | 1119939.975 | 2495287.3843 | 1119936.9812 | 2495290.9615 | 1119934.551 | 2495295.3896 | 1119933.129 | 2495320.5284 | 1119932.4935 | 2495333.6825 | 1119933.1885 | 2495339.5 | 1119934.165
85 | 2495284.6426 | 1119939.975 | 2495282.7955 | 1119943.8206 | 2495281.1769 | 1119951.9538 | 2495280.7811 | 1119957.2453
86 | 2495239.0517 | 1120056.2498 | 2495251.2926 | 1120046.1202 | 2495255.7188 | 1120041.4739 | 2495261.3575 | 1120035.5503 | 2495266.9901 | 1120026.1579 | 2495270.2217 | 1120019.3754 | 2495272.951 | 1120011.2118 | 2495274.749 | 1120004.0872 | 2495275.1889 | 1119999.8728
87 | 2495364.0907 | 1119973.9327 | 2495368.5874 | 1119969.0004
88 | 2495411.8013 | 1119805.3141 | 2495410.6095 | 1119804.236
89 | 2495401.0603 | 1119996.8881 | 2495381.0906 | 1120019.0268
90 | 2495227.5148 | 1119806.0456 | 2495261.6966 | 1119795.936 | 2495275.7088 | 1119791.1654
91 | 2495289.9447 | 1119786.3185 | 2495289.9447 | 1119786.3185 | 2495275.7088 | 1119791.1654
92 | 2495227.5148 | 1119806.0456 | 2495227.732 | 1119809.6664 | 2495224.4608 | 1119812.3915
93 | 2495102.3401 | 1119829.9528 | 2495125.7306 | 1119826.8229 | 2495166.0172 | 1119819.8756 | 2495205.603 | 1119811.6733 | 2495227.5148 | 1119806.0456
94 | 2495289.9447 | 1119786.3185 | 2495311.0207 | 1119777.331
95 | 2495102.3401 | 1119829.9528 | 2495103.9395 | 1119838.953 | 2495107.1983 | 1119844.088
96 | 2495356.3442 | 1119755.1495 | 2495410.6095 | 1119804.236
97 | 2495356.3442 | 1119755.1495 | 2495342.3978 | 1119762.6511 | 2495330.9753 | 1119768.1229
98 | 2495311.0207 | 1119777.331 | 2495317.6915 | 1119774.4863 | 2495324.4983 | 1119771.2256
99 | 2495330.9753 | 1119768.1229 | 2495324.4983 | 1119771.2256
100 | 2495380.6153 | 1120019.5537 | 2495381.0906 | 1120019.0268

## bus_geodata
| x | y | coords
0 | 2495019.4764 | 1120218.8944
1 | 2494987.0569 | 1120242.7725
2 | 2495159.2474 | 1120118.7392
3 | 2495498.6788 | 1120026.8395
4 | 2495459.8456 | 1120006.7581
5 | 2495498.8857 | 1120045.9481
6 | 2495487.4181 | 1120048.3853
7 | 2495205.0473 | 1120088.5151
8 | 2495209.2738 | 1120077.7016
9 | 2495156.2475 | 1120073.4735
10 | 2495219.4123 | 1120075.672
11 | 2495199.9799 | 1120135.2078
12 | 2495474.483 | 1120088.6748
13 | 2495456.5537 | 1120112.0288
14 | 2495479.7992 | 1120080.0932
15 | 2495518.6745 | 1120125.2864
16 | 2495506.8259 | 1120030.6915
17 | 2495491.341 | 1120060.3413
18 | 2495120.6038 | 1120036.7145
19 | 2495543.3985 | 1119959.4351
20 | 2495555.5653 | 1119956.5898
21 | 2495535.2683 | 1119956.0623
22 | 2495542.5587 | 1119961.0082
23 | 2495713.9687 | 1120116.9696
24 | 2495709.7537 | 1120115.0855
25 | 2495650.8392 | 1120023.5619
26 | 2495513.9502 | 1120017.0027
27 | 2495523.9636 | 1119997.4385
28 | 2495526.5707 | 1120027.2151
29 | 2495546.1512 | 1119942.3322
30 | 2495558.5199 | 1119952.9587
31 | 2495512.5182 | 1119940.7978
32 | 2495564.813 | 1119932.1927
33 | 2495490.7375 | 1119947.2535
34 | 2495533.3961 | 1119979.0092
35 | 2495225.5074 | 1120066.0071
36 | 2495634.557 | 1120061.5123
37 | 2495420.4195 | 1119975.4261
38 | 2495445.2384 | 1120111.0812
39 | 2495441.7362 | 1120129.46
40 | 2495272.1446 | 1120096.5024
41 | 2495255.6022 | 1120110.977
42 | 2495241.5427 | 1120059.2753
43 | 2495422.4582 | 1120133.8538
44 | 2495431.9456 | 1120124.5849
45 | 2495588.4689 | 1119981.4177
46 | 2495608.2114 | 1119991.2949
47 | 2495560.0072 | 1120050.0951
48 | 2495560.6812 | 1119950.3086
49 | 2495611.5263 | 1119923.7578
50 | 2495583.354 | 1120017.4772
51 | 2495592.4571 | 1120024.4866
52 | 2495230.5009 | 1120062.4098
53 | 2495630.6066 | 1120058.5593
54 | 2495635.4899 | 1120016.8958
55 | 2495612.5786 | 1119999.6089
56 | 2495641.38 | 1119918.5846
57 | 2495724.656 | 1119891.9808
58 | 2495630.3748 | 1119920.4532
59 | 2495631.0167 | 1119924.5558
60 | 2495614.9543 | 1119927.2974
61 | 2495614.2193 | 1119927.4228
62 | 2495616.1352 | 1120045.0227
63 | 2495595.3979 | 1120075.2777
64 | 2495591.6856 | 1120074.9698
65 | 2495580.0815 | 1119964.7253
66 | 2495436.1693 | 1119947.2914
67 | 2495434.9056 | 1119951.4159
68 | 2495448.9807 | 1119838.9453
69 | 2495475.4862 | 1119807.5108
70 | 2495476.8571 | 1119808.722
71 | 2495451.9501 | 1119835.7253
72 | 2495483.3567 | 1119675.3803
73 | 2495483.9783 | 1119687.4667
74 | 2495398.1892 | 1119739.2155
75 | 2495389.0184 | 1119945.5056
76 | 2495275.5225 | 1119940.0552
77 | 2495284.6426 | 1119939.975
78 | 2495275.1889 | 1119999.8728
79 | 2495265.8084 | 1119940.1457
80 | 2495368.5874 | 1119969.0004
81 | 2495339.5 | 1119934.165
82 | 2495411.8013 | 1119805.3141
83 | 2495401.0603 | 1119996.8881
84 | 2495280.7811 | 1119957.2453
85 | 2495239.0517 | 1120056.2498
86 | 2495275.7088 | 1119791.1654
87 | 2495227.5148 | 1119806.0456
88 | 2495289.9447 | 1119786.3185
89 | 2495102.3401 | 1119829.9528
90 | 2495107.1983 | 1119844.088
91 | 2495364.0907 | 1119973.9327
92 | 2495410.6095 | 1119804.236
93 | 2495356.3442 | 1119755.1495
94 | 2495224.4608 | 1119812.3915
95 | 2495311.0207 | 1119777.331
96 | 2495595.0605 | 1119930.6929
97 | 2495588.4889 | 1119981.4328
98 | 2495330.9753 | 1119768.1229
99 | 2495324.4983 | 1119771.2256
100 | 2495381.0906 | 1120019.0268
101 | 2495380.6153 | 1120019.5537
102 | 2495389.0184 | 1119945.5056

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1