## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6630-26_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6630-26_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6630-26_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6630-26_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6630-26_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6630-26_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6630-26_0_6_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_6630-26_0_6_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_6630-26_0_6_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_6630-26_0_6_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_6630-26_0_6_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_6630-26_0_6_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_6630-26_0_6_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_6630-26_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6630-26_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6630-26_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6630-26_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6630-26_0_6_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6630-26_0_6_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_6630-26_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6630-26_0_6_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6630-26_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6630-26_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6630-26_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6630-26_0_6_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_6630-26_0_6_node_83 | 0.4 | n |  | TRUE
26 | bus_LV_6630-26_0_6_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6630-26_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6630-26_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6630-26_0_6_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_6630-26_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_6630-26_0_6_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_6630-26_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6630-26_0_6_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_6630-26_0_6_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_6630-26_0_6_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6630-26_0_6_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_6630-26_0_6_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_6630-26_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_6630-26_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6630-26_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6630-26_0_6_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_6630-26_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6630-26_0_6_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_6630-26_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6630-26_0_6_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_6630-26_0_6_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_6630-26_0_6_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_6630-26_0_6_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_6630-26_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_6630-26_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_6630-26_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6630-26_0_6_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_6630-26_0_6_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_6630-26_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6630-26_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_6630-26_0_6_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_6630-26_0_6_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6630-26_0_6_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_6630-26_0_6_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_6630-26_0_6_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_6630-26_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6630-26_0_6_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_6630-26_0_6_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_6630-26_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_6630-26_0_6_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6630-26_0_6_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_6630-26_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_6630-26_0_6_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_6630-26_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6630-26_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_6630-26_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_6630-26_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6630-26_0_6_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6630-26_0_6_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_6630-26_0_6_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_6630-26_0_6_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_6630-26_0_6_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_6630-26_0_6_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_6630-26_0_6_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6630-26_0_6_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_6630-26_0_6_node_67 | 0.4 | n |  | TRUE
82 | bus_MV_668_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6630-26_0_6_load_0 | 0 | 0.00027093 | 6.7902e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6630-26_0_6_load_1 | 1 | 0.00043706 | 0.00010954 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6630-26_0_6_load_3 | 3 | 0.00016414 | 4.1137e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6630-26_0_6_load_5 | 5 | 0.00030146 | 7.5554e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6630-26_0_6_load_54 | 6 | 0.00012103 | 3.0333e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6630-26_0_6_load_38 | 7 | 0.00036725 | 9.2043e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6630-26_0_6_load_53 | 10 | 0.009105 | 0.0022819 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6630-26_0_6_load_52 | 11 | 0.015417 | 0.0038639 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6630-26_0_6_load_39 | 12 | 8.9862e-05 | 2.2521e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6630-26_0_6_load_6 | 13 | 0.0053932 | 0.0013517 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6630-26_0_6_load_7 | 14 | 0.010717 | 0.0026859 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6630-26_0_6_load_9 | 16 | 0.027663 | 0.0069331 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6630-26_0_6_load_78 | 24 | 0.0051254 | 0.0012845 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6630-26_0_6_load_83 | 25 | 0.00090429 | 0.00022664 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6630-26_0_6_load_37 | 29 | 0.0036163 | 0.00090633 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6630-26_0_6_load_44 | 30 | 0.00057348 | 0.00014373 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6630-26_0_6_load_56 | 31 | 0.0025579 | 0.00064108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6630-26_0_6_load_55 | 34 | 0.009163 | 0.0022965 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6630-26_0_6_load_51 | 36 | 0.015299 | 0.0038344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6630-26_0_6_load_74 | 37 | 0.0015047 | 0.00037712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6630-26_0_6_load_63 | 41 | 0.00056881 | 0.00014256 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6630-26_0_6_load_70 | 43 | 0.051072 | 0.0128 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6630-26_0_6_load_69 | 45 | 0.014645 | 0.0036705 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6630-26_0_6_load_79 | 46 | 0.0036752 | 0.0009211 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6630-26_0_6_load_73 | 47 | 0.019179 | 0.0048066 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6630-26_0_6_load_71 | 48 | 0.0013615 | 0.00034122 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6630-26_0_6_load_76 | 52 | 0.03124 | 0.0078295 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6630-26_0_6_load_75 | 53 | 0.089583 | 0.022452 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6630-26_0_6_load_48 | 55 | 0.032715 | 0.0081991 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6630-26_0_6_load_82 | 56 | 0.0018014 | 0.00045149 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6630-26_0_6_load_81 | 59 | 0.0080872 | 0.0020268 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6630-26_0_6_load_80 | 60 | 0.0034561 | 0.00086618 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6630-26_0_6_load_62 | 61 | 0.00099629 | 0.00024969 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6630-26_0_6_load_84 | 62 | 0.02176 | 0.0054537 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6630-26_0_6_load_42 | 63 | 0.02377 | 0.0059572 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6630-26_0_6_load_46 | 64 | 0.002679 | 0.00067141 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6630-26_0_6_load_43 | 66 | 0.0036802 | 0.00092234 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6630-26_0_6_load_49 | 67 | 0.032106 | 0.0080466 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6630-26_0_6_load_68 | 68 | 0.036456 | 0.0091368 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6630-26_0_6_load_65 | 69 | 0.00017548 | 4.3981e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6630-26_0_6_load_59 | 70 | 0.00097095 | 0.00024334 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6630-26_0_6_load_72 | 72 | 0.00053905 | 0.0001351 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6630-26_0_6_load_77 | 73 | 0.025676 | 0.006435 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6630-26_0_6_load_40 | 74 | 0.00029643 | 7.4292e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6630-26_0_6_load_57 | 75 | 0.00013376 | 3.3523e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6630-26_0_6_load_58 | 76 | 0.00095677 | 0.00023979 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6630-26_0_6_load_47 | 77 | 0.0012369 | 0.00031 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6630-26_0_6_load_61 | 78 | 0.00097018 | 0.00024315 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6630-26_0_6_load_64 | 79 | 0.00075595 | 0.00018946 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6630-26_0_6_load_66 | 80 | 0.00022134 | 5.5473e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6630-26_0_6_load_67 | 81 | 0.027444 | 0.0068782 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6630-26_0_6_line_0 |  | 0 | 1 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6630-26_0_6_line_1 |  | 0 | 2 | 0.055975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6630-26_0_6_line_2 |  | 1 | 3 | 0.0012589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6630-26_0_6_line_3 |  | 2 | 4 | 0.036126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6630-26_0_6_line_4 |  | 3 | 5 | 0.00046632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6630-26_0_6_line_5 |  | 4 | 6 | 0.015515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6630-26_0_6_line_6 |  | 5 | 7 | 0.038211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6630-26_0_6_line_7 |  | 6 | 11 | 0.0044291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6630-26_0_6_line_8 |  | 7 | 12 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6630-26_0_6_line_9 |  | 8 | 9 | 0.1326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6630-26_0_6_line_10 |  | 8 | 10 | 0.041506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6630-26_0_6_line_11 |  | 9 | 36 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6630-26_0_6_line_12 |  | 10 | 11 | 0.0055025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6630-26_0_6_line_13 |  | 12 | 74 | 0.036451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6630-26_0_6_line_14 |  | 12 | 75 | 0.21131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6630-26_0_6_line_15 |  | 13 | 14 | 0.020591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6630-26_0_6_line_16 |  | 13 | 15 | 0.0084837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6630-26_0_6_line_17 |  | 14 | 16 | 0.063711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6630-26_0_6_line_18 |  | 15 | 17 | 0.12578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6630-26_0_6_line_19 |  | 15 | 18 | 0.10832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6630-26_0_6_line_20 |  | 16 | 19 | 0.022554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6630-26_0_6_line_21 |  | 17 | 30 | 0.049364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6630-26_0_6_line_22 |  | 18 | 56 | 0.047004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6630-26_0_6_line_23 |  | 18 | 57 | 0.13315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6630-26_0_6_line_24 |  | 18 | 58 | 0.037436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6630-26_0_6_line_25 |  | 18 | 59 | 0.13302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6630-26_0_6_line_26 |  | 19 | 20 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6630-26_0_6_line_27 |  | 20 | 63 | 0.062762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6630-26_0_6_line_28 |  | 21 | 22 | 0.039443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6630-26_0_6_line_29 |  | 21 | 23 | 0.092813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6630-26_0_6_line_30 |  | 21 | 24 | 0.072048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6630-26_0_6_line_31 |  | 22 | 25 | 0.060033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6630-26_0_6_line_32 |  | 23 | 28 | 0.14391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6630-26_0_6_line_33 |  | 23 | 29 | 0.065468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6630-26_0_6_line_34 |  | 24 | 26 | 0.01433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6630-26_0_6_line_35 |  | 25 | 57 | 0.022216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6630-26_0_6_line_36 |  | 26 | 27 | 0.025298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6630-26_0_6_line_37 |  | 27 | 37 | 0.022113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6630-26_0_6_line_38 |  | 28 | 31 | 0.019443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6630-26_0_6_line_39 |  | 28 | 32 | 0.053635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6630-26_0_6_line_40 |  | 28 | 33 | 0.088158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6630-26_0_6_line_41 |  | 28 | 34 | 0.028156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6630-26_0_6_line_42 |  | 30 | 66 | 0.029336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6630-26_0_6_line_43 |  | 32 | 35 | 0.054104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6630-26_0_6_line_44 |  | 33 | 54 | 0.014595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6630-26_0_6_line_45 |  | 35 | 36 | 0.0020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6630-26_0_6_line_46 |  | 35 | 67 | 0.049161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6630-26_0_6_line_47 |  | 37 | 47 | 0.016802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6630-26_0_6_line_48 |  | 38 | 39 | 0.025712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6630-26_0_6_line_49 |  | 38 | 40 | 0.07356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6630-26_0_6_line_50 |  | 39 | 46 | 0.10153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6630-26_0_6_line_51 |  | 40 | 41 | 0.073983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6630-26_0_6_line_52 |  | 41 | 69 | 0.023951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6630-26_0_6_line_53 |  | 42 | 43 | 0.037687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6630-26_0_6_line_54 |  | 42 | 44 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6630-26_0_6_line_55 |  | 42 | 45 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6630-26_0_6_line_56 |  | 43 | 49 | 0.089416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6630-26_0_6_line_57 |  | 44 | 47 | 0.020089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6630-26_0_6_line_58 |  | 44 | 48 | 0.045922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6630-26_0_6_line_59 |  | 45 | 68 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6630-26_0_6_line_60 |  | 48 | 72 | 0.029999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6630-26_0_6_line_61 |  | 49 | 50 | 0.087426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6630-26_0_6_line_62 |  | 50 | 62 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6630-26_0_6_line_63 |  | 51 | 52 | 0.0041273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6630-26_0_6_line_64 |  | 51 | 53 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6630-26_0_6_line_65 |  | 52 | 73 | 0.0059852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6630-26_0_6_line_66 |  | 54 | 55 | 0.038307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6630-26_0_6_line_67 |  | 57 | 61 | 0.061372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6630-26_0_6_line_68 |  | 58 | 60 | 0.071692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6630-26_0_6_line_69 |  | 61 | 71 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6630-26_0_6_line_70 |  | 62 | 73 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6630-26_0_6_line_71 |  | 64 | 65 | 0.010422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6630-26_0_6_line_72 |  | 65 | 77 | 0.024673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6630-26_0_6_line_73 |  | 65 | 66 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6630-26_0_6_line_74 |  | 69 | 72 | 0.0040109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6630-26_0_6_line_75 |  | 70 | 71 | 0.0069866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6630-26_0_6_line_76 |  | 71 | 78 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6630-26_0_6_line_77 |  | 75 | 76 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6630-26_0_6_line_78 |  | 78 | 79 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6630-26_0_6_line_79 |  | 79 | 80 | 0.0092118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6630-26_0_6_line_80 |  | 80 | 81 | 0.017292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6630-26_0_6_trafo_78 | 0.63 MVA 20/0.4 kV | 82 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2495701.872 | 1120574.6836 | 2495705.1616 | 1120577.4145 | 2495707.5421 | 1120579.4303 | 2495715.0188 | 1120584.7826 | 2495720.8592 | 1120590.3392
1 | 2495657.5271 | 1120540.6239 | 2495664.5608 | 1120544.8942 | 2495694.3115 | 1120568.4071 | 2495701.872 | 1120574.6836
2 | 2495721.7713 | 1120591.207 | 2495720.8592 | 1120590.3392
3 | 2495657.5271 | 1120540.6239 | 2495665.025 | 1120518.1469 | 2495668.647 | 1120506.2546
4 | 2495721.7713 | 1120591.207 | 2495722.1091 | 1120591.5285
5 | 2495668.647 | 1120506.2546 | 2495683.8317 | 1120503.0685 | 2495683.8317 | 1120503.0685
6 | 2495722.1091 | 1120591.5285 | 2495734.1291 | 1120602.9646 | 2495741.6711 | 1120608.9717 | 2495750.9847 | 1120616.5038
7 | 2495684.9641 | 1120498.7866 | 2495683.8317 | 1120503.0685
8 | 2495750.9847 | 1120616.5038 | 2495751.484 | 1120616.9076 | 2495755.4686 | 1120621.1083 | 2495758.6437 | 1120625.3562 | 2495760.962 | 1120629.4278
9 | 2495633.7511 | 1120410.0177 | 2495644.8253 | 1120393.5495 | 2495649.3543 | 1120386.8115 | 2495651.7392 | 1120383.2681 | 2495677.8166 | 1120400.9072 | 2495684.0199 | 1120404.8916 | 2495683.2047 | 1120407.285 | 2495683.4139 | 1120409.5717 | 2495684.0718 | 1120411.0279 | 2495684.8371 | 1120412.0043 | 2495686.0416 | 1120412.9396 | 2495688.1534 | 1120413.6926 | 2495690.3664 | 1120413.5988 | 2495690.7879 | 1120421.4743 | 2495688.9912 | 1120430.4888 | 2495681.5977 | 1120460.3687
10 | 2495681.5977 | 1120460.3687 | 2495686.3759 | 1120462.71 | 2495693.5743 | 1120466.2325 | 2495687.917 | 1120487.6215 | 2495686.371 | 1120493.467
11 | 2495633.7511 | 1120410.0177 | 2495625.6631 | 1120421.3755
12 | 2495684.9641 | 1120498.7866 | 2495686.371 | 1120493.467
13 | 2495760.962 | 1120629.4278 | 2495762.4552 | 1120632.0504 | 2495772.1351 | 1120655.9876 | 2495777.3856 | 1120661.4999
14 | 2495760.962 | 1120629.4278 | 2495945.5411 | 1120526.5634
15 | 2495701.3976 | 1120210.2417 | 2495682.7122 | 1120218.8924
16 | 2495709.0963 | 1120206.6774 | 2495701.3976 | 1120210.2417
17 | 2495645.1102 | 1120254.0826 | 2495659.2211 | 1120257.0475 | 2495663.4901 | 1120255.3617 | 2495671.3548 | 1120224.1506 | 2495682.7122 | 1120218.8924
18 | 2495672.1251 | 1120266.0973 | 2495680.0476 | 1120231.5275 | 2495685.239 | 1120230.0815 | 2495694.2382 | 1120230.1708 | 2495710.2572 | 1120231.9179 | 2495716.2878 | 1120232.1474 | 2495722.4729 | 1120232.3853 | 2495723.7459 | 1120215.8195 | 2495724.1577 | 1120211.0649 | 2495725.068 | 1120201.6543 | 2495709.0963 | 1120206.6774
19 | 2495698.9211 | 1120145.147 | 2495704.9586 | 1120143.086 | 2495708.0981 | 1120142.1202 | 2495707.0762 | 1120148.642 | 2495712.8247 | 1120146.3747 | 2495719.8377 | 1120143.6076 | 2495719.4113 | 1120146.1721 | 2495718.5057 | 1120150.4905 | 2495717.9478 | 1120154.3804 | 2495717.6627 | 1120158.877 | 2495717.5494 | 1120162.1477 | 2495717.3968 | 1120166.7199 | 2495718.4352 | 1120170.1042 | 2495719.6653 | 1120173.4184 | 2495720.5345 | 1120175.4936 | 2495717.6059 | 1120179.291 | 2495719.5064 | 1120180.7592 | 2495720.9081 | 1120182.8363 | 2495722.2886 | 1120188.6051 | 2495725.068 | 1120201.6543 | 2495709.0963 | 1120206.6774
20 | 2495623.0379 | 1120249.4448 | 2495645.1102 | 1120254.0826
21 | 2495672.1251 | 1120266.0973 | 2495669.0741 | 1120271.2866 | 2495659.3757 | 1120313.5323
22 | 2495662.984 | 1120114.7364 | 2495698.9211 | 1120145.147
23 | 2495698.9211 | 1120145.147 | 2495704.9586 | 1120143.086 | 2495708.0981 | 1120142.1202 | 2495707.0762 | 1120148.642 | 2495705.1266 | 1120150.5879 | 2495703.4465 | 1120151.6064 | 2495600.2779 | 1120195.6256
24 | 2495698.9211 | 1120145.147 | 2495704.9586 | 1120143.086 | 2495708.0981 | 1120142.1202 | 2495708.718 | 1120138.6962 | 2495710.2906 | 1120136.8123 | 2495710.9625 | 1120133.7099 | 2495709.7537 | 1120115.0855
25 | 2495698.9211 | 1120145.147 | 2495690.313 | 1120154.3124 | 2495686.954 | 1120156.4162 | 2495658.1388 | 1120168.432 | 2495654.5215 | 1120169.4284 | 2495650.7736 | 1120170.0156 | 2495646.6963 | 1120170.2973 | 2495644.0466 | 1120169.6871 | 2495640.6703 | 1120168.5557 | 2495638.6302 | 1120167.4902 | 2495633.6643 | 1120163.6846 | 2495598.15 | 1120177.8622 | 2495582.1359 | 1120164.9868
26 | 2495620.5869 | 1120260.7832 | 2495623.0379 | 1120249.4448
27 | 2495620.5869 | 1120260.7832 | 2495655.8158 | 1120268.5358 | 2495649.9272 | 1120294.5679
28 | 2495524.1987 | 1120226.8482 | 2495518.8545 | 1120228.8307 | 2495511.2431 | 1120230.0074 | 2495501.5641 | 1120231.2087 | 2495492.4827 | 1120232.1662 | 2495485.4697 | 1120233.5883
29 | 2495475.9171 | 1120297.8722 | 2495469.4328 | 1120295.9497 | 2495470.1182 | 1120292.7469 | 2495470.6394 | 1120290.3141 | 2495501.1773 | 1120276.233 | 2495498.9495 | 1120272.7915 | 2495496.4526 | 1120268.5208 | 2495495.3353 | 1120266.8279 | 2495493.825 | 1120263.3852 | 2495491.3606 | 1120258.3134 | 2495490.619 | 1120256.4806 | 2495489.6601 | 1120254.129 | 2495488.7251 | 1120251.8215 | 2495487.9755 | 1120249.9777 | 2495486.0735 | 1120245.2965 | 2495484.3052 | 1120240.7686 | 2495485.0248 | 1120236.4201 | 2495485.4697 | 1120233.5883
30 | 2495485.4697 | 1120233.5883 | 2495480.7182 | 1120234.5933 | 2495476.5217 | 1120236.0112 | 2495456.0355 | 1120244.5707 | 2495446.7786 | 1120247.8662 | 2495435.945 | 1120251.0222 | 2495417.1201 | 1120255.9123
31 | 2495524.1987 | 1120226.8482 | 2495531.8841 | 1120224.1471 | 2495579.7739 | 1120204.1762
32 | 2495475.9171 | 1120297.8722 | 2495478.6289 | 1120294.0451 | 2495489.0444 | 1120297.9565 | 2495499.4379 | 1120301.9349 | 2495500.7307 | 1120298.5994 | 2495504.5273 | 1120299.9457 | 2495510.5331 | 1120302.3101 | 2495528.9085 | 1120309.5862 | 2495537.4433 | 1120313.1744 | 2495554.6211 | 1120321.2606 | 2495592.841 | 1120343.148 | 2495602.136 | 1120348.7577
33 | 2495475.9171 | 1120297.8722 | 2495438.0394 | 1120351.27
34 | 2495403.2501 | 1120259.5152 | 2495417.1201 | 1120255.9123
35 | 2495600.2779 | 1120195.6256 | 2495579.7739 | 1120204.1762
36 | 2495403.2501 | 1120259.5152 | 2495400.6329 | 1120250.5214 | 2495385.2264 | 1120254.7461
37 | 2495385.2264 | 1120254.7461 | 2495372.0754 | 1120236.9688
38 | 2495602.136 | 1120348.7577 | 2495618.7846 | 1120358.8003
39 | 2495579.8616 | 1120392.2589 | 2495589.176 | 1120379.3454 | 2495602.7346 | 1120358.8427 | 2495605.1035 | 1120355.2662 | 2495601.1897 | 1120352.9434 | 2495602.136 | 1120348.7577
40 | 2495544.9018 | 1120383.5237 | 2495573.7543 | 1120341.5876 | 2495576.0954 | 1120338.1895 | 2495591.6234 | 1120347.2605 | 2495592.841 | 1120343.148 | 2495602.136 | 1120348.7577
41 | 2495602.136 | 1120348.7577 | 2495608.3546 | 1120321.2971
42 | 2495659.3757 | 1120313.5323 | 2495658.0217 | 1120319.4301 | 2495660.2443 | 1120327.0411 | 2495657.2632 | 1120341.2015 | 2495658.1278 | 1120341.3913
43 | 2495624.4847 | 1120423.0304 | 2495579.8616 | 1120392.2589
44 | 2495532.807 | 1120375.3052 | 2495544.9018 | 1120383.5237
45 | 2495624.4847 | 1120423.0304 | 2495625.6631 | 1120421.3755
46 | 2495624.4847 | 1120423.0304 | 2495596.5566 | 1120463.4879
47 | 2495362.0829 | 1120223.461 | 2495372.0754 | 1120236.9688
48 | 2495498.6788 | 1120026.8395 | 2495502.0779 | 1120028.3928 | 2495509.81 | 1120013.6498 | 2495513.9502 | 1120017.0027
49 | 2495474.483 | 1120088.6748 | 2495471.0329 | 1120085.9549 | 2495479.0324 | 1120072.8527 | 2495494.6523 | 1120042.5635 | 2495502.0779 | 1120028.3928 | 2495498.6788 | 1120026.8395
50 | 2495513.9502 | 1120017.0027 | 2495526.5509 | 1120027.2137 | 2495531.2871 | 1120027.5432 | 2495591.8998 | 1120075.138 | 2495595.3979 | 1120075.2777
51 | 2495474.483 | 1120088.6748 | 2495460.773 | 1120106.6788 | 2495450.1409 | 1120120.16 | 2495437.4429 | 1120134.2107 | 2495425.9528 | 1120144.2311
52 | 2495425.9528 | 1120144.2311 | 2495413.1848 | 1120155.3659 | 2495407.8233 | 1120159.8817
53 | 2495353.2832 | 1120194.338 | 2495329.2248 | 1120165.3288
54 | 2495346.6872 | 1120211.3741 | 2495343.5601 | 1120208.1484 | 2495355.7185 | 1120197.2755 | 2495353.2832 | 1120194.338
55 | 2495353.2832 | 1120194.338 | 2495378.0764 | 1120173.3569
56 | 2495272.1446 | 1120096.5024 | 2495329.2248 | 1120165.3288
57 | 2495346.6872 | 1120211.3741 | 2495351.8651 | 1120216.7213 | 2495359.4753 | 1120219.9361 | 2495362.0829 | 1120223.461
58 | 2495346.6872 | 1120211.3741 | 2495381.8108 | 1120181.7909
59 | 2495399.7729 | 1120154.9964 | 2495378.0764 | 1120173.3569
60 | 2495381.8108 | 1120181.7909 | 2495404.7556 | 1120162.4655
61 | 2495272.1446 | 1120096.5024 | 2495237.7401 | 1120126.6063 | 2495264.5946 | 1120158.6728
62 | 2495264.5946 | 1120158.6728 | 2495276.7056 | 1120172.3187
63 | 2495290.921 | 1120188.3358 | 2495288.1813 | 1120185.2489
64 | 2495290.921 | 1120188.3358 | 2495301.8043 | 1120200.5913
65 | 2495284.2084 | 1120180.7725 | 2495288.1813 | 1120185.2489
66 | 2495532.807 | 1120375.3052 | 2495510.6316 | 1120406.5408
67 | 2495600.2779 | 1120195.6256 | 2495597.6506 | 1120193.1805 | 2495585.2269 | 1120182.0212 | 2495584.8162 | 1120180.1383 | 2495562.569 | 1120160.4877 | 2495555.2034 | 1120154.5313
68 | 2495709.7537 | 1120115.0855 | 2495701.0128 | 1120111.1893 | 2495651.2562 | 1120073.9953
69 | 2495540.3585 | 1120142.5265 | 2495555.2034 | 1120154.5313
70 | 2495276.7056 | 1120172.3187 | 2495284.2084 | 1120180.7725
71 | 2495672.2437 | 1120344.4896 | 2495682.4216 | 1120346.7301
72 | 2495672.2437 | 1120344.4896 | 2495677.3453 | 1120320.3503
73 | 2495672.2437 | 1120344.4896 | 2495658.1278 | 1120341.3913
74 | 2495404.7556 | 1120162.4655 | 2495407.8233 | 1120159.8817
75 | 2495540.3585 | 1120142.5265 | 2495534.8897 | 1120138.1784
76 | 2495540.3585 | 1120142.5265 | 2495530.6018 | 1120154.8554
77 | 2495945.5411 | 1120526.5634 | 2495956.7657 | 1120516.1638
78 | 2495530.6018 | 1120154.8554 | 2495514.3728 | 1120175.3629 | 2495513.0875 | 1120176.4407
79 | 2495506.0288 | 1120182.3596 | 2495513.0875 | 1120176.4407
80 | 2495506.0288 | 1120182.3596 | 2495501.3354 | 1120186.2952 | 2495492.577 | 1120193.2226

## bus_geodata
| x | y | coords
0 | 2495701.872 | 1120574.6836
1 | 2495720.8592 | 1120590.3392
2 | 2495657.5271 | 1120540.6239
3 | 2495721.7713 | 1120591.207
4 | 2495668.647 | 1120506.2546
5 | 2495722.1091 | 1120591.5285
6 | 2495683.8317 | 1120503.0685
7 | 2495750.9847 | 1120616.5038
8 | 2495681.5977 | 1120460.3687
9 | 2495633.7511 | 1120410.0177
10 | 2495686.371 | 1120493.467
11 | 2495684.9641 | 1120498.7866
12 | 2495760.962 | 1120629.4278
13 | 2495701.3976 | 1120210.2417
14 | 2495682.7122 | 1120218.8924
15 | 2495709.0963 | 1120206.6774
16 | 2495645.1102 | 1120254.0826
17 | 2495672.1251 | 1120266.0973
18 | 2495698.9211 | 1120145.147
19 | 2495623.0379 | 1120249.4448
20 | 2495620.5869 | 1120260.7832
21 | 2495485.4697 | 1120233.5883
22 | 2495524.1987 | 1120226.8482
23 | 2495475.9171 | 1120297.8722
24 | 2495417.1201 | 1120255.9123
25 | 2495579.7739 | 1120204.1762
26 | 2495403.2501 | 1120259.5152
27 | 2495385.2264 | 1120254.7461
28 | 2495602.136 | 1120348.7577
29 | 2495438.0394 | 1120351.27
30 | 2495659.3757 | 1120313.5323
31 | 2495618.7846 | 1120358.8003
32 | 2495579.8616 | 1120392.2589
33 | 2495544.9018 | 1120383.5237
34 | 2495608.3546 | 1120321.2971
35 | 2495624.4847 | 1120423.0304
36 | 2495625.6631 | 1120421.3755
37 | 2495372.0754 | 1120236.9688
38 | 2495498.6788 | 1120026.8395
39 | 2495513.9502 | 1120017.0027
40 | 2495474.483 | 1120088.6748
41 | 2495425.9528 | 1120144.2311
42 | 2495353.2832 | 1120194.338
43 | 2495329.2248 | 1120165.3288
44 | 2495346.6872 | 1120211.3741
45 | 2495378.0764 | 1120173.3569
46 | 2495595.3979 | 1120075.2777
47 | 2495362.0829 | 1120223.461
48 | 2495381.8108 | 1120181.7909
49 | 2495272.1446 | 1120096.5024
50 | 2495264.5946 | 1120158.6728
51 | 2495290.921 | 1120188.3358
52 | 2495288.1813 | 1120185.2489
53 | 2495301.8043 | 1120200.5913
54 | 2495532.807 | 1120375.3052
55 | 2495510.6316 | 1120406.5408
56 | 2495662.984 | 1120114.7364
57 | 2495600.2779 | 1120195.6256
58 | 2495709.7537 | 1120115.0855
59 | 2495582.1359 | 1120164.9868
60 | 2495651.2562 | 1120073.9953
61 | 2495555.2034 | 1120154.5313
62 | 2495276.7056 | 1120172.3187
63 | 2495649.9272 | 1120294.5679
64 | 2495682.4216 | 1120346.7301
65 | 2495672.2437 | 1120344.4896
66 | 2495658.1278 | 1120341.3913
67 | 2495596.5566 | 1120463.4879
68 | 2495399.7729 | 1120154.9964
69 | 2495407.8233 | 1120159.8817
70 | 2495534.8897 | 1120138.1784
71 | 2495540.3585 | 1120142.5265
72 | 2495404.7556 | 1120162.4655
73 | 2495284.2084 | 1120180.7725
74 | 2495777.3856 | 1120661.4999
75 | 2495945.5411 | 1120526.5634
76 | 2495956.7657 | 1120516.1638
77 | 2495677.3453 | 1120320.3503
78 | 2495530.6018 | 1120154.8554
79 | 2495513.0875 | 1120176.4407
80 | 2495506.0288 | 1120182.3596
81 | 2495492.577 | 1120193.2226
82 | 2495403.2501 | 1120259.5152

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1