## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6630-32_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6630-32_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6630-32_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6630-32_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6630-32_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6630-32_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_6630-32_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6630-32_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6630-32_0_5_node_96 | 0.4 | n |  | TRUE
9 | bus_LV_6630-32_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6630-32_0_5_node_94 | 0.4 | n |  | TRUE
11 | bus_LV_6630-32_0_5_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_6630-32_0_5_node_95 | 0.4 | n |  | TRUE
13 | bus_LV_6630-32_0_5_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_6630-32_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6630-32_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6630-32_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6630-32_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6630-32_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6630-32_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6630-32_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6630-32_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6630-32_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6630-32_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6630-32_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6630-32_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_6630-32_0_5_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6630-32_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_6630-32_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6630-32_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6630-32_0_5_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_6630-32_0_5_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_6630-32_0_5_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6630-32_0_5_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_6630-32_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6630-32_0_5_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_6630-32_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6630-32_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6630-32_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6630-32_0_5_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_6630-32_0_5_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_6630-32_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6630-32_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6630-32_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6630-32_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_6630-32_0_5_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_6630-32_0_5_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_6630-32_0_5_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6630-32_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_6630-32_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6630-32_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_6630-32_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6630-32_0_5_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6630-32_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6630-32_0_5_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_6630-32_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_6630-32_0_5_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_6630-32_0_5_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_6630-32_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6630-32_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6630-32_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6630-32_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_6630-32_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_6630-32_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6630-32_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6630-32_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6630-32_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6630-32_0_5_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_6630-32_0_5_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6630-32_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_6630-32_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_6630-32_0_5_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_6630-32_0_5_node_89 | 0.4 | n |  | TRUE
73 | bus_LV_6630-32_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_6630-32_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_6630-32_0_5_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_6630-32_0_5_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6630-32_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_6630-32_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_6630-32_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6630-32_0_5_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6630-32_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6630-32_0_5_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_6630-32_0_5_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6630-32_0_5_node_91 | 0.4 | n |  | TRUE
85 | bus_LV_6630-32_0_5_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_6630-32_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6630-32_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_6630-32_0_5_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_6630-32_0_5_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_6630-32_0_5_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_6630-32_0_5_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_6630-32_0_5_node_103 | 0.4 | n |  | TRUE
93 | bus_LV_6630-32_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_6630-32_0_5_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_6630-32_0_5_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_6630-32_0_5_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_6630-32_0_5_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_6630-32_0_5_node_84 | 0.4 | n |  | TRUE
99 | bus_MV_665_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6630-32_0_5_load_0 | 0 | 0.06476 | 0.01623 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6630-32_0_5_load_1 | 1 | 0.018248 | 0.0045734 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6630-32_0_5_load_3 | 5 | 0.076496 | 0.019172 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6630-32_0_5_load_6 | 7 | 0.0099215 | 0.0024866 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6630-32_0_5_load_96 | 8 | 0.012574 | 0.0031514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6630-32_0_5_load_7 | 9 | 0.0098032 | 0.0024569 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6630-32_0_5_load_92 | 13 | 0.060665 | 0.015204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6630-32_0_5_load_8 | 14 | 0.018382 | 0.0046069 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6630-32_0_5_load_10 | 15 | 0.00068747 | 0.0001723 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6630-32_0_5_load_11 | 16 | 0.00051284 | 0.00012853 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6630-32_0_5_load_12 | 17 | 0.00056007 | 0.00014037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6630-32_0_5_load_13 | 18 | 0.00051542 | 0.00012918 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6630-32_0_5_load_14 | 19 | 0.0010315 | 0.00025851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6630-32_0_5_load_21 | 20 | 0.00056889 | 0.00014258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6630-32_0_5_load_19 | 21 | 0.0017028 | 0.00042677 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6630-32_0_5_load_15 | 24 | 0.0010056 | 0.00025203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6630-32_0_5_load_16 | 25 | 0.0019077 | 0.00047813 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6630-32_0_5_load_22 | 26 | 0.0014725 | 0.00036904 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6630-32_0_5_load_28 | 27 | 0.0016221 | 0.00040655 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6630-32_0_5_load_24 | 28 | 0.0032371 | 0.00081128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6630-32_0_5_load_23 | 29 | 0.0014423 | 0.00036146 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6630-32_0_5_load_26 | 32 | 0.0019341 | 0.00048473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6630-32_0_5_load_39 | 34 | 0.0014954 | 0.00037477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6630-32_0_5_load_25 | 36 | 0.0019105 | 0.00047881 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6630-32_0_5_load_27 | 37 | 0.0014177 | 0.00035531 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6630-32_0_5_load_29 | 38 | 0.0021033 | 0.00052715 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6630-32_0_5_load_46 | 39 | 0.0018954 | 0.00047503 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6630-32_0_5_load_69 | 40 | 0.0033903 | 0.0008497 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6630-32_0_5_load_30 | 41 | 0.0013069 | 0.00032754 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6630-32_0_5_load_31 | 42 | 0.0019238 | 0.00048215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6630-32_0_5_load_32 | 43 | 0.0020341 | 0.0005098 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6630-32_0_5_load_33 | 44 | 0.0018083 | 0.00045321 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6630-32_0_5_load_34 | 45 | 0.0028075 | 0.00070363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6630-32_0_5_load_47 | 46 | 0.0026906 | 0.00067432 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6630-32_0_5_load_48 | 48 | 0.0035774 | 0.00089659 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6630-32_0_5_load_35 | 49 | 0.0025841 | 0.00064764 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6630-32_0_5_load_36 | 50 | 0.00054025 | 0.0001354 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6630-32_0_5_load_38 | 51 | 0.0093612 | 0.0023461 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6630-32_0_5_load_60 | 52 | 0.010923 | 0.0027376 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6630-32_0_5_load_40 | 53 | 0.0083155 | 0.0020841 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6630-32_0_5_load_73 | 54 | 0.00064181 | 0.00016085 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6630-32_0_5_load_41 | 55 | 0.0081889 | 0.0020523 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6630-32_0_5_load_42 | 56 | 0.011719 | 0.0029371 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6630-32_0_5_load_43 | 57 | 0.011238 | 0.0028165 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6630-32_0_5_load_44 | 58 | 0.0083165 | 0.0020843 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6630-32_0_5_load_55 | 60 | 0.0097088 | 0.0024333 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6630-32_0_5_load_53 | 61 | 0.024315 | 0.006094 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6630-32_0_5_load_68 | 62 | 0.002917 | 0.00073108 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6630-32_0_5_load_50 | 64 | 0.0045103 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6630-32_0_5_load_51 | 65 | 0.0035815 | 0.00089761 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6630-32_0_5_load_56 | 66 | 0.00054555 | 0.00013673 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6630-32_0_5_load_74 | 67 | 0.0023958 | 0.00060044 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6630-32_0_5_load_52 | 70 | 0.015182 | 0.0038049 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6630-32_0_5_load_88 | 71 | 0.028933 | 0.0072512 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6630-32_0_5_load_89 | 72 | 0.0041929 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6630-32_0_5_load_58 | 73 | 0.00029639 | 7.4281e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6630-32_0_5_load_59 | 74 | 0.00033306 | 8.3472e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6630-32_0_5_load_66 | 75 | 0.00030018 | 7.5232e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6630-32_0_5_load_80 | 76 | 0.00034636 | 8.6806e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6630-32_0_5_load_67 | 77 | 0.00056959 | 0.00014275 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6630-32_0_5_load_81 | 78 | 0.00033768 | 8.4631e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6630-32_0_5_load_72 | 79 | 0.0083941 | 0.0021038 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6630-32_0_5_load_61 | 80 | 0.0044571 | 0.0011171 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6630-32_0_5_load_63 | 81 | 0.0044269 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6630-32_0_5_load_62 | 82 | 0.0033555 | 0.00084098 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6630-32_0_5_load_64 | 83 | 0.00046188 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6630-32_0_5_load_65 | 85 | 0.0019405 | 0.00048634 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6630-32_0_5_load_78 | 86 | 0.00027459 | 6.8819e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6630-32_0_5_load_100 | 88 | 0.024109 | 0.0060422 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6630-32_0_5_load_82 | 89 | 0.00028073 | 7.0357e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6630-32_0_5_load_83 | 90 | 0.00035382 | 8.8675e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6630-32_0_5_load_70 | 91 | 0.00080219 | 0.00020105 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6630-32_0_5_load_103 | 92 | 0.0014956 | 0.00037483 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6630-32_0_5_load_87 | 93 | 0.00028091 | 7.0403e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6630-32_0_5_load_86 | 94 | 0.00026066 | 6.5328e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6630-32_0_5_load_85 | 96 | 0.00027358 | 6.8564e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6630-32_0_5_load_97 | 97 | 0.0008349 | 0.00020925 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6630-32_0_5_load_84 | 98 | 0.00021804 | 5.4647e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6630-32_0_5_line_0 |  | 0 | 1 | 0.034647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6630-32_0_5_line_1 |  | 0 | 2 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6630-32_0_5_line_2 |  | 2 | 3 | 0.00357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6630-32_0_5_line_3 |  | 2 | 4 | 0.007421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6630-32_0_5_line_4 |  | 3 | 6 | 0.020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6630-32_0_5_line_5 |  | 3 | 7 | 0.011197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6630-32_0_5_line_6 |  | 4 | 8 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6630-32_0_5_line_7 |  | 5 | 6 | 0.0021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6630-32_0_5_line_8 |  | 7 | 9 | 0.0024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6630-32_0_5_line_9 |  | 8 | 10 | 0.024714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6630-32_0_5_line_10 |  | 9 | 14 | 0.0093803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6630-32_0_5_line_11 |  | 10 | 11 | 0.02642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6630-32_0_5_line_12 |  | 11 | 12 | 0.076297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6630-32_0_5_line_13 |  | 11 | 13 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6630-32_0_5_line_14 |  | 12 | 33 | 0.044008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6630-32_0_5_line_15 |  | 12 | 58 | 0.047522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6630-32_0_5_line_16 |  | 15 | 16 | 0.00072645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6630-32_0_5_line_17 |  | 15 | 17 | 0.020461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6630-32_0_5_line_18 |  | 16 | 18 | 3.0859e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6630-32_0_5_line_19 |  | 17 | 19 | 0.0015533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6630-32_0_5_line_20 |  | 18 | 20 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6630-32_0_5_line_21 |  | 19 | 21 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6630-32_0_5_line_22 |  | 20 | 22 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6630-32_0_5_line_23 |  | 21 | 23 | 0.0057326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6630-32_0_5_line_24 |  | 22 | 26 | 0.038202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6630-32_0_5_line_25 |  | 22 | 25 | 0.037852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6630-32_0_5_line_26 |  | 23 | 28 | 0.023125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6630-32_0_5_line_27 |  | 24 | 25 | 0.017972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6630-32_0_5_line_28 |  | 26 | 27 | 0.0024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6630-32_0_5_line_29 |  | 27 | 32 | 0.022071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6630-32_0_5_line_30 |  | 28 | 31 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6630-32_0_5_line_31 |  | 29 | 30 | 0.026676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6630-32_0_5_line_32 |  | 30 | 33 | 0.003967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6630-32_0_5_line_33 |  | 30 | 34 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6630-32_0_5_line_34 |  | 31 | 35 | 0.026557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6630-32_0_5_line_35 |  | 32 | 36 | 0.00019253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6630-32_0_5_line_36 |  | 33 | 53 | 0.0087288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6630-32_0_5_line_37 |  | 34 | 47 | 0.028683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6630-32_0_5_line_38 |  | 35 | 92 | 0.039926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6630-32_0_5_line_39 |  | 36 | 37 | 0.0053468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6630-32_0_5_line_40 |  | 37 | 38 | 0.00042498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6630-32_0_5_line_41 |  | 38 | 39 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6630-32_0_5_line_42 |  | 39 | 40 | 0.013641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6630-32_0_5_line_43 |  | 40 | 62 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6630-32_0_5_line_44 |  | 41 | 42 | 0.0084027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6630-32_0_5_line_45 |  | 41 | 43 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6630-32_0_5_line_46 |  | 42 | 44 | 0.0091048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6630-32_0_5_line_47 |  | 43 | 45 | 0.0025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6630-32_0_5_line_48 |  | 44 | 46 | 0.0039972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6630-32_0_5_line_49 |  | 45 | 47 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6630-32_0_5_line_50 |  | 46 | 48 | 0.025086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6630-32_0_5_line_51 |  | 47 | 49 | 0.029316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6630-32_0_5_line_52 |  | 48 | 63 | 0.040759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6630-32_0_5_line_53 |  | 49 | 50 | 0.0043821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6630-32_0_5_line_54 |  | 50 | 51 | 0.0059493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6630-32_0_5_line_55 |  | 51 | 52 | 0.0028842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6630-32_0_5_line_56 |  | 52 | 54 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6630-32_0_5_line_57 |  | 54 | 79 | 0.0079478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6630-32_0_5_line_58 |  | 55 | 56 | 6.8735e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6630-32_0_5_line_59 |  | 55 | 57 | 0.00052662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6630-32_0_5_line_60 |  | 56 | 58 | 0.0015082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6630-32_0_5_line_61 |  | 57 | 59 | 0.0062865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6630-32_0_5_line_62 |  | 59 | 60 | 0.0099876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6630-32_0_5_line_63 |  | 60 | 61 | 0.007913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6630-32_0_5_line_64 |  | 61 | 70 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6630-32_0_5_line_65 |  | 62 | 91 | 0.0082654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6630-32_0_5_line_66 |  | 63 | 64 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_6630-32_0_5_line_67 |  | 63 | 65 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6630-32_0_5_line_68 |  | 64 | 66 | 0.034398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6630-32_0_5_line_69 |  | 65 | 67 | 0.038602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6630-32_0_5_line_70 |  | 66 | 68 | 0.0287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6630-32_0_5_line_71 |  | 67 | 69 | 0.019655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6630-32_0_5_line_72 |  | 68 | 73 | 0.0024831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6630-32_0_5_line_73 |  | 68 | 74 | 0.035803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6630-32_0_5_line_74 |  | 69 | 91 | 0.0058467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6630-32_0_5_line_75 |  | 71 | 72 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6630-32_0_5_line_76 |  | 72 | 84 | 0.034735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6630-32_0_5_line_77 |  | 73 | 75 | 0.021403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_6630-32_0_5_line_78 |  | 74 | 76 | 0.037165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6630-32_0_5_line_79 |  | 75 | 77 | 0.0036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_6630-32_0_5_line_80 |  | 76 | 78 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6630-32_0_5_line_81 |  | 77 | 89 | 0.026786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_6630-32_0_5_line_82 |  | 79 | 85 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6630-32_0_5_line_83 |  | 80 | 81 | 3.4043e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6630-32_0_5_line_84 |  | 81 | 85 | 0.006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6630-32_0_5_line_85 |  | 82 | 83 | 0.044245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6630-32_0_5_line_86 |  | 82 | 84 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6630-32_0_5_line_87 |  | 83 | 86 | 0.043738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6630-32_0_5_line_88 |  | 86 | 87 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6630-32_0_5_line_89 |  | 86 | 88 | 0.070471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6630-32_0_5_line_90 |  | 87 | 93 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6630-32_0_5_line_91 |  | 87 | 94 | 0.027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6630-32_0_5_line_92 |  | 87 | 95 | 0.099949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6630-32_0_5_line_93 |  | 89 | 90 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6630-32_0_5_line_94 |  | 90 | 98 | 0.0013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6630-32_0_5_line_95 |  | 93 | 96 | 0.0073761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6630-32_0_5_line_96 |  | 95 | 97 | 0.051058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6630-32_0_5_line_97 |  | 96 | 98 | 0.018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6630-32_0_5_trafo_95 | 0.63 MVA 20/0.4 kV | 99 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2497267.373 | 1120190.0779 | 2497273.9354 | 1120181.7234 | 2497277.9257 | 1120177.2305 | 2497279.8794 | 1120175.4963 | 2497281.8563 | 1120175.1291 | 2497284.716 | 1120175.8477 | 2497288.4296 | 1120178.2306 | 2497292.6573 | 1120182.5303
1 | 2497258.5039 | 1120201.7982 | 2497262.3488 | 1120196.474 | 2497267.373 | 1120190.0779
2 | 2497261.342 | 1120203.9736 | 2497258.5039 | 1120201.7982
3 | 2497258.5039 | 1120201.7982 | 2497253.7749 | 1120198.6988 | 2497252.4809 | 1120197.4756
4 | 2497261.342 | 1120203.9736 | 2497276.1658 | 1120215.3401 | 2497278.3095 | 1120216.1597
5 | 2497261.342 | 1120203.9736 | 2497259.2189 | 1120210.2692 | 2497259.0416 | 1120214.8191
6 | 2497252.4809 | 1120197.4756 | 2497239.0444 | 1120211.1743
7 | 2497278.3095 | 1120216.1597 | 2497280.3666 | 1120215.5133
8 | 2497259.0416 | 1120214.8191 | 2497258.9449 | 1120217.3005
9 | 2497221.7385 | 1120228.8178 | 2497239.0444 | 1120211.1743
10 | 2497265.7829 | 1120223.7218 | 2497258.9449 | 1120217.3005 | 2497258.9449 | 1120217.3005
11 | 2497221.7385 | 1120228.8178 | 2497213.3177 | 1120237.3218 | 2497212.3891 | 1120241.2512 | 2497212.3706 | 1120245.154 | 2497213.2604 | 1120248.0185 | 2497215.0022 | 1120251.0686
12 | 2497215.0022 | 1120251.0686 | 2497212.1505 | 1120254.8972 | 2497216.4315 | 1120258.8825 | 2497228.9735 | 1120271.2883 | 2497234.5169 | 1120276.9088 | 2497251.4833 | 1120294.0314 | 2497264.3096 | 1120303.6529
13 | 2497215.0022 | 1120251.0686 | 2497216.3451 | 1120249.2668 | 2497225.9559 | 1120239.2919
14 | 2497264.3096 | 1120303.6529 | 2497268.3393 | 1120306.9309 | 2497293.9151 | 1120336.1928
15 | 2497264.3096 | 1120303.6529 | 2497239.3346 | 1120338.3324 | 2497236.2042 | 1120341.9511
16 | 2497376.8978 | 1120241.2821 | 2497377.3749 | 1120240.7343
17 | 2497376.8978 | 1120241.2821 | 2497372.9098 | 1120245.8613 | 2497363.4541 | 1120256.7067
18 | 2497377.3749 | 1120240.7343 | 2497377.3951 | 1120240.711
19 | 2497362.4333 | 1120257.8775 | 2497363.4541 | 1120256.7067
20 | 2497377.3951 | 1120240.711 | 2497386.2899 | 1120230.4977
21 | 2497352.2365 | 1120269.5729 | 2497362.4333 | 1120257.8775
22 | 2497395.1702 | 1120220.3008 | 2497386.2899 | 1120230.4977
23 | 2497348.4693 | 1120273.8938 | 2497352.2365 | 1120269.5729
24 | 2497395.1702 | 1120220.3008 | 2497412.3925 | 1120235.2403 | 2497414.6251 | 1120241.2951 | 2497421.4019 | 1120247.1401
25 | 2497395.1702 | 1120220.3008 | 2497366.3259 | 1120195.7897
26 | 2497348.4693 | 1120273.8938 | 2497343.6401 | 1120269.8844 | 2497332.6563 | 1120282.6608
27 | 2497352.6323 | 1120184.151 | 2497365.4492 | 1120195.0447 | 2497366.3259 | 1120195.7897
28 | 2497421.4019 | 1120247.1401 | 2497423.2494 | 1120248.7336
29 | 2497441.5425 | 1120260.2544 | 2497437.5439 | 1120256.794 | 2497429.9977 | 1120254.5539 | 2497423.2494 | 1120248.7336
30 | 2497318.1394 | 1120299.5472 | 2497332.6563 | 1120282.6608
31 | 2497296.5656 | 1120333.2348 | 2497302.9873 | 1120326.0657 | 2497314.1919 | 1120313.2131
32 | 2497293.9151 | 1120336.1928 | 2497296.5656 | 1120333.2348
33 | 2497296.5656 | 1120333.2348 | 2497301.1174 | 1120339.9951 | 2497309.1006 | 1120349.0559
34 | 2497297.7175 | 1120282.5054 | 2497318.1394 | 1120299.5472
35 | 2497441.688 | 1120260.3804 | 2497441.5425 | 1120260.2544
36 | 2497293.9151 | 1120336.1928 | 2497299.9487 | 1120342.5005
37 | 2497330.5843 | 1120361.2193 | 2497331.3958 | 1120357.6588 | 2497319.194 | 1120356.6209 | 2497316.8601 | 1120355.5042 | 2497312.2745 | 1120352.6581 | 2497309.1006 | 1120349.0559
38 | 2497324.209 | 1120252.57 | 2497297.7175 | 1120282.5054
39 | 2497441.688 | 1120260.3804 | 2497445.7311 | 1120263.8793
40 | 2497446.0524 | 1120264.1574 | 2497445.7311 | 1120263.8793
41 | 2497462.2601 | 1120278.2249 | 2497453.6773 | 1120270.7848 | 2497448.0146 | 1120265.8555 | 2497446.0524 | 1120264.1574
42 | 2497462.2601 | 1120278.2249 | 2497464.5711 | 1120280.2282 | 2497470.515 | 1120288.9839
43 | 2497488.7821 | 1120305.0567 | 2497470.7047 | 1120289.2633 | 2497470.515 | 1120288.9839
44 | 2497371.1073 | 1120356.6832 | 2497372.0255 | 1120356.4684 | 2497379.2647 | 1120354.6682
45 | 2497371.1073 | 1120356.6832 | 2497357.0612 | 1120359.9691 | 2497353.7993 | 1120360.7325
46 | 2497379.2647 | 1120354.6682 | 2497388.1004 | 1120352.4709 | 2497388.1004 | 1120352.4709
47 | 2497351.2737 | 1120361.3237 | 2497353.7993 | 1120360.7325
48 | 2497392.0495 | 1120351.8528 | 2497388.1004 | 1120352.4709
49 | 2497330.5843 | 1120361.2193 | 2497340.8967 | 1120361.411 | 2497351.2737 | 1120361.3237
50 | 2497416.3875 | 1120357.0229 | 2497404.1066 | 1120353.0664 | 2497397.5893 | 1120351.8873 | 2497393.2797 | 1120351.6603 | 2497392.0495 | 1120351.8528
51 | 2497330.5843 | 1120361.2193 | 2497328.2819 | 1120369.6748 | 2497326.3929 | 1120374.7657 | 2497317.247 | 1120386.8093
52 | 2497455.1828 | 1120369.5216 | 2497416.3875 | 1120357.0229
53 | 2497317.247 | 1120386.8093 | 2497314.5968 | 1120390.2992
54 | 2497314.5968 | 1120390.2992 | 2497313.2376 | 1120392.0889 | 2497310.9981 | 1120395.0367
55 | 2497310.9981 | 1120395.0367 | 2497309.2534 | 1120397.3333
56 | 2497299.0685 | 1120410.7395 | 2497309.2534 | 1120397.3333
57 | 2497294.2606 | 1120417.068 | 2497299.0685 | 1120410.7395
58 | 2497235.2175 | 1120343.0917 | 2497235.1725 | 1120343.1437
59 | 2497235.1725 | 1120343.1437 | 2497234.828 | 1120343.542
60 | 2497236.2042 | 1120341.9511 | 2497235.2175 | 1120343.0917
61 | 2497230.7151 | 1120348.2963 | 2497234.828 | 1120343.542
62 | 2497230.7151 | 1120348.2963 | 2497225.9246 | 1120353.8257 | 2497224.3064 | 1120355.9517
63 | 2497219.5138 | 1120362.2483 | 2497224.3064 | 1120355.9517
64 | 2497205.9841 | 1120382.1265 | 2497209.1786 | 1120377.7921 | 2497211.6669 | 1120372.5576 | 2497219.5138 | 1120362.2483
65 | 2497488.7821 | 1120305.0567 | 2497491.7272 | 1120307.6296 | 2497495.2394 | 1120310.2041
66 | 2497455.1828 | 1120369.5216 | 2497442.6395 | 1120390.988
67 | 2497455.1828 | 1120369.5216 | 2497461.1981 | 1120362.4929 | 2497463.7387 | 1120359.2919
68 | 2497442.6395 | 1120390.988 | 2497425.2856 | 1120420.6872
69 | 2497463.7387 | 1120359.2919 | 2497487.7361 | 1120329.0559
70 | 2497410.8064 | 1120445.4667 | 2497425.2856 | 1120420.6872
71 | 2497499.9549 | 1120313.6606 | 2497487.7361 | 1120329.0559
72 | 2497410.8064 | 1120445.4667 | 2497409.5915 | 1120447.6322
73 | 2497410.8064 | 1120445.4667 | 2497441.8942 | 1120463.2273
74 | 2497499.9549 | 1120313.6606 | 2497495.2394 | 1120310.2041
75 | 2497205.0338 | 1120462.8481 | 2497217.0567 | 1120470.963
76 | 2497245.8477 | 1120490.3957 | 2497217.0567 | 1120470.963
77 | 2497409.5915 | 1120447.6322 | 2497399.1191 | 1120466.2981
78 | 2497441.8942 | 1120463.2273 | 2497450.9109 | 1120468.3787 | 2497452.6185 | 1120471.2404 | 2497452.3686 | 1120475.1583 | 2497442.8074 | 1120492.179
79 | 2497397.3168 | 1120469.5106 | 2497399.1191 | 1120466.2981
80 | 2497432.4303 | 1120510.6521 | 2497442.8074 | 1120492.179
81 | 2497397.3168 | 1120469.5106 | 2497384.2105 | 1120492.8711
82 | 2497294.2606 | 1120417.068 | 2497291.8706 | 1120420.2139 | 2497286.7685 | 1120426.9271 | 2497282.9364 | 1120431.9736
83 | 2497279.3079 | 1120436.752 | 2497279.2873 | 1120436.7791
84 | 2497279.3079 | 1120436.752 | 2497282.9364 | 1120431.9736
85 | 2497297.6221 | 1120514.062 | 2497295.2079 | 1120512.6157 | 2497284.1825 | 1120505.4095 | 2497271.4983 | 1120490.0486 | 2497268.0039 | 1120482.478
86 | 2497268.0039 | 1120482.478 | 2497245.8477 | 1120490.3957
87 | 2497297.6221 | 1120514.062 | 2497306.6128 | 1120519.4485 | 2497315.9751 | 1120525.0486 | 2497335.1211 | 1120536.5755
88 | 2497353.0992 | 1120547.3992 | 2497335.1211 | 1120536.5755
89 | 2497335.1211 | 1120536.5755 | 2497291.5788 | 1120591.9845
90 | 2497353.0992 | 1120547.3992 | 2497359.0012 | 1120537.804 | 2497364.9971 | 1120527.117
91 | 2497353.0992 | 1120547.3992 | 2497376.6145 | 1120562.366
92 | 2497353.0992 | 1120547.3992 | 2497306.834 | 1120635.9962
93 | 2497378.4889 | 1120503.0693 | 2497384.2105 | 1120492.8711
94 | 2497378.4889 | 1120503.0693 | 2497377.8296 | 1120504.2443
95 | 2497368.6062 | 1120520.6842 | 2497364.9971 | 1120527.117
96 | 2497306.834 | 1120635.9962 | 2497310.7226 | 1120643.2458 | 2497311.1006 | 1120643.6953 | 2497314.5431 | 1120643.7591 | 2497317.5259 | 1120644.0197 | 2497322.3237 | 1120644.8388 | 2497327.1513 | 1120646.0464 | 2497330.0777 | 1120647.0752 | 2497332.4435 | 1120648.258 | 2497335.1768 | 1120650.1795 | 2497337.0694 | 1120651.6705 | 2497339.6098 | 1120653.5953 | 2497347.864 | 1120660.7485 | 2497348.124 | 1120660.9912
97 | 2497377.8296 | 1120504.2443 | 2497368.6062 | 1120520.6842

## bus_geodata
| x | y | coords
0 | 2497267.373 | 1120190.0779
1 | 2497292.6573 | 1120182.5303
2 | 2497258.5039 | 1120201.7982
3 | 2497261.342 | 1120203.9736
4 | 2497252.4809 | 1120197.4756
5 | 2497280.3666 | 1120215.5133
6 | 2497278.3095 | 1120216.1597
7 | 2497259.0416 | 1120214.8191
8 | 2497239.0444 | 1120211.1743
9 | 2497258.9449 | 1120217.3005
10 | 2497221.7385 | 1120228.8178
11 | 2497215.0022 | 1120251.0686
12 | 2497264.3096 | 1120303.6529
13 | 2497225.9559 | 1120239.2919
14 | 2497265.7829 | 1120223.7218
15 | 2497376.8978 | 1120241.2821
16 | 2497377.3749 | 1120240.7343
17 | 2497363.4541 | 1120256.7067
18 | 2497377.3951 | 1120240.711
19 | 2497362.4333 | 1120257.8775
20 | 2497386.2899 | 1120230.4977
21 | 2497352.2365 | 1120269.5729
22 | 2497395.1702 | 1120220.3008
23 | 2497348.4693 | 1120273.8938
24 | 2497352.6323 | 1120184.151
25 | 2497366.3259 | 1120195.7897
26 | 2497421.4019 | 1120247.1401
27 | 2497423.2494 | 1120248.7336
28 | 2497332.6563 | 1120282.6608
29 | 2497314.1919 | 1120313.2131
30 | 2497296.5656 | 1120333.2348
31 | 2497318.1394 | 1120299.5472
32 | 2497441.5425 | 1120260.2544
33 | 2497293.9151 | 1120336.1928
34 | 2497309.1006 | 1120349.0559
35 | 2497297.7175 | 1120282.5054
36 | 2497441.688 | 1120260.3804
37 | 2497445.7311 | 1120263.8793
38 | 2497446.0524 | 1120264.1574
39 | 2497462.2601 | 1120278.2249
40 | 2497470.515 | 1120288.9839
41 | 2497371.1073 | 1120356.6832
42 | 2497379.2647 | 1120354.6682
43 | 2497353.7993 | 1120360.7325
44 | 2497388.1004 | 1120352.4709
45 | 2497351.2737 | 1120361.3237
46 | 2497392.0495 | 1120351.8528
47 | 2497330.5843 | 1120361.2193
48 | 2497416.3875 | 1120357.0229
49 | 2497317.247 | 1120386.8093
50 | 2497314.5968 | 1120390.2992
51 | 2497310.9981 | 1120395.0367
52 | 2497309.2534 | 1120397.3333
53 | 2497299.9487 | 1120342.5005
54 | 2497299.0685 | 1120410.7395
55 | 2497235.1725 | 1120343.1437
56 | 2497235.2175 | 1120343.0917
57 | 2497234.828 | 1120343.542
58 | 2497236.2042 | 1120341.9511
59 | 2497230.7151 | 1120348.2963
60 | 2497224.3064 | 1120355.9517
61 | 2497219.5138 | 1120362.2483
62 | 2497488.7821 | 1120305.0567
63 | 2497455.1828 | 1120369.5216
64 | 2497442.6395 | 1120390.988
65 | 2497463.7387 | 1120359.2919
66 | 2497425.2856 | 1120420.6872
67 | 2497487.7361 | 1120329.0559
68 | 2497410.8064 | 1120445.4667
69 | 2497499.9549 | 1120313.6606
70 | 2497205.9841 | 1120382.1265
71 | 2497205.0338 | 1120462.8481
72 | 2497217.0567 | 1120470.963
73 | 2497409.5915 | 1120447.6322
74 | 2497441.8942 | 1120463.2273
75 | 2497399.1191 | 1120466.2981
76 | 2497442.8074 | 1120492.179
77 | 2497397.3168 | 1120469.5106
78 | 2497432.4303 | 1120510.6521
79 | 2497294.2606 | 1120417.068
80 | 2497279.2873 | 1120436.7791
81 | 2497279.3079 | 1120436.752
82 | 2497268.0039 | 1120482.478
83 | 2497297.6221 | 1120514.062
84 | 2497245.8477 | 1120490.3957
85 | 2497282.9364 | 1120431.9736
86 | 2497335.1211 | 1120536.5755
87 | 2497353.0992 | 1120547.3992
88 | 2497291.5788 | 1120591.9845
89 | 2497384.2105 | 1120492.8711
90 | 2497378.4889 | 1120503.0693
91 | 2497495.2394 | 1120310.2041
92 | 2497324.209 | 1120252.57
93 | 2497364.9971 | 1120527.117
94 | 2497376.6145 | 1120562.366
95 | 2497306.834 | 1120635.9962
96 | 2497368.6062 | 1120520.6842
97 | 2497348.124 | 1120660.9912
98 | 2497377.8296 | 1120504.2443
99 | 2497293.9151 | 1120336.1928

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1