## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6630-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6630-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6630-33_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6630-33_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6630-33_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6630-33_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6630-33_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6630-33_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6630-33_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_6630-33_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6630-33_0_3_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_6630-33_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6630-33_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6630-33_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6630-33_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6630-33_0_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_6630-33_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6630-33_0_3_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_6630-33_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6630-33_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_6630-33_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_6630-33_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_6630-33_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6630-33_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6630-33_0_3_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6630-33_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6630-33_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_6630-33_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6630-33_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6630-33_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_6630-33_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6630-33_0_3_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_6630-33_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6630-33_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6630-33_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6630-33_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6630-33_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6630-33_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6630-33_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6630-33_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6630-33_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6630-33_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_6630-33_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6630-33_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6630-33_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6630-33_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_6630-33_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_MV_463_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6630-33_0_3_load_0 | 0 | 0.002273 | 0.00056968 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6630-33_0_3_load_1 | 1 | 0.0004561 | 0.00011431 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6630-33_0_3_load_2 | 2 | 0.0013615 | 0.00034121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6630-33_0_3_load_3 | 3 | 0.0005638 | 0.0001413 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6630-33_0_3_load_4 | 4 | 0.0015634 | 0.00039182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6630-33_0_3_load_5 | 5 | 0.0014865 | 0.00037256 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6630-33_0_3_load_21 | 8 | 0.00043877 | 0.00010997 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6630-33_0_3_load_26 | 10 | 0.0014285 | 0.00035802 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6630-33_0_3_load_33 | 15 | 0.022391 | 0.0056118 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6630-33_0_3_load_49 | 17 | 0.0080366 | 0.0020142 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6630-33_0_3_load_41 | 21 | 0.027625 | 0.0069235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6630-33_0_3_load_22 | 22 | 0.0018668 | 0.00046787 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6630-33_0_3_load_39 | 24 | 0.012106 | 0.003034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6630-33_0_3_load_50 | 26 | 0.037607 | 0.0094252 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6630-33_0_3_load_40 | 29 | 0.062034 | 0.015547 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6630-33_0_3_load_34 | 30 | 0.004361 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6630-33_0_3_load_44 | 31 | 0.0072113 | 0.0018073 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6630-33_0_3_load_37 | 33 | 0.014396 | 0.003608 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6630-33_0_3_load_29 | 35 | 0.0068118 | 0.0017072 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6630-33_0_3_load_27 | 37 | 0.00065979 | 0.00016536 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6630-33_0_3_load_28 | 38 | 0.0083992 | 0.002105 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6630-33_0_3_load_30 | 39 | 0.004399 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6630-33_0_3_load_45 | 40 | 0.00078059 | 0.00019563 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6630-33_0_3_load_46 | 41 | 0.010219 | 0.002561 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6630-33_0_3_load_35 | 42 | 0.0051827 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6630-33_0_3_load_36 | 43 | 0.0083297 | 0.0020876 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6630-33_0_3_load_38 | 44 | 0.0060181 | 0.0015083 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6630-33_0_3_load_48 | 46 | 0.010077 | 0.0025256 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6630-33_0_3_line_0 |  | 0 | 1 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6630-33_0_3_line_1 |  | 0 | 2 | 0.035015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6630-33_0_3_line_2 |  | 1 | 3 | 0.022557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6630-33_0_3_line_3 |  | 2 | 4 | 0.0033432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6630-33_0_3_line_4 |  | 3 | 5 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6630-33_0_3_line_5 |  | 4 | 6 | 0.01796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6630-33_0_3_line_6 |  | 6 | 7 | 0.006802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6630-33_0_3_line_7 |  | 7 | 8 | 0.034025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6630-33_0_3_line_8 |  | 8 | 16 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6630-33_0_3_line_9 |  | 9 | 10 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6630-33_0_3_line_10 |  | 9 | 11 | 0.001875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6630-33_0_3_line_11 |  | 10 | 20 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6630-33_0_3_line_12 |  | 11 | 22 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6630-33_0_3_line_13 |  | 11 | 16 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6630-33_0_3_line_14 |  | 12 | 13 | 0.065279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6630-33_0_3_line_15 |  | 12 | 14 | 0.091925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6630-33_0_3_line_16 |  | 12 | 15 | 0.16913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6630-33_0_3_line_17 |  | 13 | 16 | 0.064773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6630-33_0_3_line_18 |  | 13 | 17 | 0.056415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6630-33_0_3_line_19 |  | 14 | 23 | 0.08855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6630-33_0_3_line_20 |  | 14 | 24 | 0.0087706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6630-33_0_3_line_21 |  | 15 | 30 | 0.032129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6630-33_0_3_line_22 |  | 18 | 19 | 0.028159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6630-33_0_3_line_23 |  | 18 | 20 | 0.085593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6630-33_0_3_line_24 |  | 18 | 21 | 0.052743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6630-33_0_3_line_25 |  | 19 | 31 | 0.0024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6630-33_0_3_line_26 |  | 22 | 32 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6630-33_0_3_line_27 |  | 23 | 29 | 0.061767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6630-33_0_3_line_28 |  | 24 | 33 | 0.048184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6630-33_0_3_line_29 |  | 25 | 26 | 0.007925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6630-33_0_3_line_30 |  | 25 | 27 | 0.095737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6630-33_0_3_line_31 |  | 27 | 28 | 0.064496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6630-33_0_3_line_32 |  | 27 | 29 | 0.043425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6630-33_0_3_line_33 |  | 28 | 34 | 0.036406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6630-33_0_3_line_34 |  | 28 | 35 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6630-33_0_3_line_35 |  | 32 | 36 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6630-33_0_3_line_36 |  | 33 | 42 | 0.041506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6630-33_0_3_line_37 |  | 34 | 40 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6630-33_0_3_line_38 |  | 35 | 38 | 0.013756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6630-33_0_3_line_39 |  | 36 | 37 | 0.006319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6630-33_0_3_line_40 |  | 38 | 39 | 0.018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6630-33_0_3_line_41 |  | 40 | 41 | 0.0054855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6630-33_0_3_line_42 |  | 41 | 45 | 0.042601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6630-33_0_3_line_43 |  | 42 | 43 | 0.028574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6630-33_0_3_line_44 |  | 43 | 44 | 0.052293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6630-33_0_3_line_45 |  | 45 | 46 | 0.009509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6630-33_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 47 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2494284.3438 | 1120098.4289 | 2494272.93 | 1120086.688
1 | 2494284.3438 | 1120098.4289 | 2494292.8718 | 1120107.2014 | 2494296.9944 | 1120106.8625 | 2494310.158 | 1120093.6596
2 | 2494256.9071 | 1120095.8821 | 2494269.6821 | 1120083.3471 | 2494272.93 | 1120086.688
3 | 2494312.5184 | 1120091.2921 | 2494310.158 | 1120093.6596
4 | 2494238.3967 | 1120114.0449 | 2494256.9071 | 1120095.8821
5 | 2494325.1988 | 1120078.5737 | 2494312.5184 | 1120091.2921
6 | 2494325.1988 | 1120078.5737 | 2494328.9598 | 1120078.7415 | 2494330.2501 | 1120077.507 | 2494331.1686 | 1120076.6348
7 | 2494331.1686 | 1120076.6348 | 2494328.5089 | 1120074.1353 | 2494310.7466 | 1120057.0347 | 2494306.55 | 1120053.1491
8 | 2494289.668 | 1120039.6141 | 2494295.0517 | 1120042.9889 | 2494298.9258 | 1120046.0898 | 2494306.55 | 1120053.1491
9 | 2494299.7437 | 1120024.4617 | 2494307.4638 | 1120015.9798
10 | 2494299.7437 | 1120024.4617 | 2494298.6279 | 1120025.971
11 | 2494317.6881 | 1120004.7466 | 2494307.4638 | 1120015.9798
12 | 2494298.6279 | 1120025.971 | 2494310.5982 | 1120036.5104
13 | 2494289.668 | 1120039.6141 | 2494291.2428 | 1120033.0268 | 2494294.6508 | 1120029.7763 | 2494298.6279 | 1120025.971
14 | 2494231.8523 | 1120016.2211 | 2494231.2093 | 1120014.7536 | 2494230.4937 | 1120013.1095 | 2494229.0145 | 1120009.7221 | 2494227.6401 | 1120006.5886 | 2494234.7285 | 1120001.5391 | 2494240.1989 | 1119995.7509 | 2494241.4343 | 1119992.7051 | 2494243.4492 | 1119990.1015 | 2494246.2526 | 1119988.0178 | 2494249.5344 | 1119986.8152 | 2494253.026 | 1119986.5763 | 2494256.4349 | 1119987.3394 | 2494259.4971 | 1119989.0203 | 2494269.2903 | 1119985.5135 | 2494268.6439 | 1119982.9676 | 2494268.3951 | 1119981.9824
15 | 2494212.4098 | 1119930.9287 | 2494214.006 | 1119934.8255 | 2494215.7471 | 1119939.0644 | 2494213.3893 | 1119941.9186 | 2494211.7542 | 1119945.9386 | 2494211.5179 | 1119949.634 | 2494212.845 | 1119954.4695 | 2494214.9598 | 1119958.0125 | 2494233.9601 | 1119975.2691 | 2494240.4686 | 1119979.4135 | 2494243.5046 | 1119980.9169 | 2494247.1338 | 1119981.4871 | 2494251.416 | 1119981.0008 | 2494256.3521 | 1119981.7261 | 2494261.559 | 1119983.3695 | 2494264.5511 | 1119983.2504 | 2494268.3951 | 1119981.9824
16 | 2494268.3951 | 1119981.9824 | 2494424.7545 | 1119917.5114
17 | 2494289.668 | 1120039.6141 | 2494276.2904 | 1120029.2302 | 2494269.9972 | 1120023.7145 | 2494266.4098 | 1120021.5647 | 2494261.5765 | 1120020.1038 | 2494258.8956 | 1120019.4836 | 2494236.6748 | 1120017.949 | 2494234.1522 | 1120017.5595 | 2494231.8523 | 1120016.2211
18 | 2494231.8523 | 1120016.2211 | 2494179.6726 | 1120037.6681
19 | 2494140.551 | 1119890.5379 | 2494182.523 | 1119928.8057 | 2494187.8701 | 1119932.281 | 2494193.1434 | 1119934.19 | 2494198.7941 | 1119934.7359 | 2494205.4838 | 1119933.7961 | 2494212.4098 | 1119930.9287
20 | 2494212.4098 | 1119930.9287 | 2494220.5143 | 1119927.5759
21 | 2494424.7545 | 1119917.5114 | 2494454.4573 | 1119905.2642
22 | 2494351.5597 | 1119991.6019 | 2494350.7139 | 1119993.9849 | 2494350.759 | 1119996.5635 | 2494358.9835 | 1120018.1003
23 | 2494317.6881 | 1120004.7466 | 2494304.2029 | 1119991.7406 | 2494305.5586 | 1119983.2114 | 2494316.4525 | 1119980.864 | 2494325.4336 | 1119978.1275 | 2494337.7665 | 1119972.8976 | 2494342.4768 | 1119984.1002 | 2494347.6921 | 1119990.2019 | 2494351.5597 | 1119991.6019
24 | 2494351.5597 | 1119991.6019 | 2494354.553 | 1119988.9035 | 2494400.2142 | 1119971.9325
25 | 2494358.9835 | 1120018.1003 | 2494359.0955 | 1120020.5333
26 | 2494321.0513 | 1120045.714 | 2494310.5982 | 1120036.5104
27 | 2494140.551 | 1119890.5379 | 2494106.1492 | 1119859.3312 | 2494096.3759 | 1119851.6529 | 2494093.9661 | 1119850.0555
28 | 2494220.5143 | 1119927.5759 | 2494265.0385 | 1119909.1568
29 | 2493970.2932 | 1119848.1708 | 2493970.0434 | 1119844.9287 | 2493970.8811 | 1119840.3333
30 | 2493970.2932 | 1119848.1708 | 2493970.6052 | 1119852.7572 | 2493982.1098 | 1119847.819 | 2494000.1951 | 1119841.4424 | 2494009.0057 | 1119838.664 | 2494018.7269 | 1119836.7591 | 2494031.7675 | 1119835.7966 | 2494041.6027 | 1119836.4358 | 2494043.4416 | 1119836.5593 | 2494053.7625 | 1119837.6125 | 2494054.584 | 1119832.5281
31 | 2494054.584 | 1119832.5281 | 2494054.988 | 1119830.0417 | 2494045.6466 | 1119828.5155 | 2494047.5388 | 1119822.8787 | 2494051.4962 | 1119810.9017 | 2494054.398 | 1119805.6253 | 2494058.4643 | 1119801.1845 | 2494059.178 | 1119798.3146 | 2494061.2371 | 1119782.8242 | 2494061.7274 | 1119779.5357
32 | 2494054.584 | 1119832.5281 | 2494061.6129 | 1119834.2061 | 2494068.885 | 1119836.5469 | 2494077.7101 | 1119840.317 | 2494087.9278 | 1119846.0528 | 2494093.9661 | 1119850.0555
33 | 2494061.7274 | 1119779.5357 | 2494064.5879 | 1119757.3714 | 2494065.3847 | 1119751.7538 | 2494066.3964 | 1119743.4308
34 | 2494061.7274 | 1119779.5357 | 2494090.9591 | 1119783.4427
35 | 2494321.0513 | 1120045.714 | 2494329.2796 | 1120044.5028 | 2494334.5156 | 1120039.4303
36 | 2494303.3922 | 1119893.2903 | 2494265.0385 | 1119909.1568
37 | 2494066.3964 | 1119743.4308 | 2494068.2791 | 1119743.4089 | 2494069.8361 | 1119743.3038 | 2494071.9448 | 1119742.9666 | 2494073.8263 | 1119742.4445 | 2494075.2668 | 1119741.8522 | 2494076.3374 | 1119741.2886 | 2494078.0534 | 1119740.1245 | 2494079.6191 | 1119738.7517 | 2494081.1805 | 1119737.1345 | 2494082.1589 | 1119735.7164 | 2494083.1388 | 1119733.9426 | 2494083.8215 | 1119732.3852 | 2494084.3146 | 1119730.5754 | 2494084.5444 | 1119729.1593 | 2494084.675 | 1119727.8006 | 2494084.6733 | 1119727.401
38 | 2494090.9591 | 1119783.4427 | 2494102.1758 | 1119784.9419 | 2494104.5966 | 1119785.2442
39 | 2494339.1894 | 1120043.6958 | 2494334.5156 | 1120039.4303
40 | 2494104.5966 | 1119785.2442 | 2494104.5966 | 1119785.2442 | 2494103.8056 | 1119789.8721 | 2494090.563 | 1119788.2284
41 | 2494084.6733 | 1119727.401 | 2494084.6677 | 1119726.0663 | 2494084.5127 | 1119724.2679 | 2494084.0172 | 1119721.9751
42 | 2494054.5248 | 1119691.7834 | 2494066.1583 | 1119703.8651 | 2494074.7281 | 1119710.2302 | 2494080.3506 | 1119715.7575 | 2494081.7697 | 1119717.4671 | 2494082.995 | 1119719.5692 | 2494084.0172 | 1119721.9751
43 | 2494303.3922 | 1119893.2903 | 2494329.7957 | 1119882.3674
44 | 2494378.1168 | 1119862.3776 | 2494329.7957 | 1119882.3674
45 | 2494063.998 | 1119692.8848 | 2494054.5248 | 1119691.7834

## bus_geodata
| x | y | coords
0 | 2494284.3438 | 1120098.4289
1 | 2494272.93 | 1120086.688
2 | 2494310.158 | 1120093.6596
3 | 2494256.9071 | 1120095.8821
4 | 2494312.5184 | 1120091.2921
5 | 2494238.3967 | 1120114.0449
6 | 2494325.1988 | 1120078.5737
7 | 2494331.1686 | 1120076.6348
8 | 2494306.55 | 1120053.1491
9 | 2494299.7437 | 1120024.4617
10 | 2494307.4638 | 1120015.9798
11 | 2494298.6279 | 1120025.971
12 | 2494268.3951 | 1119981.9824
13 | 2494231.8523 | 1120016.2211
14 | 2494212.4098 | 1119930.9287
15 | 2494424.7545 | 1119917.5114
16 | 2494289.668 | 1120039.6141
17 | 2494179.6726 | 1120037.6681
18 | 2494351.5597 | 1119991.6019
19 | 2494358.9835 | 1120018.1003
20 | 2494317.6881 | 1120004.7466
21 | 2494400.2142 | 1119971.9325
22 | 2494310.5982 | 1120036.5104
23 | 2494140.551 | 1119890.5379
24 | 2494220.5143 | 1119927.5759
25 | 2493970.2932 | 1119848.1708
26 | 2493970.8811 | 1119840.3333
27 | 2494054.584 | 1119832.5281
28 | 2494061.7274 | 1119779.5357
29 | 2494093.9661 | 1119850.0555
30 | 2494454.4573 | 1119905.2642
31 | 2494359.0955 | 1120020.5333
32 | 2494321.0513 | 1120045.714
33 | 2494265.0385 | 1119909.1568
34 | 2494066.3964 | 1119743.4308
35 | 2494090.9591 | 1119783.4427
36 | 2494334.5156 | 1120039.4303
37 | 2494339.1894 | 1120043.6958
38 | 2494104.5966 | 1119785.2442
39 | 2494090.563 | 1119788.2284
40 | 2494084.6733 | 1119727.401
41 | 2494084.0172 | 1119721.9751
42 | 2494303.3922 | 1119893.2903
43 | 2494329.7957 | 1119882.3674
44 | 2494378.1168 | 1119862.3776
45 | 2494054.5248 | 1119691.7834
46 | 2494063.998 | 1119692.8848
47 | 2494137.2293 | 1119893.8759

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1