## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6630-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6630-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6630-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6630-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6630-5_0_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_6630-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6630-5_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6630-5_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_6630-5_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_6630-5_0_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_6630-5_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_6630-5_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6630-5_0_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_6630-5_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6630-5_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6630-5_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_6630-5_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6630-5_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6630-5_0_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_6630-5_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6630-5_0_4_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_6630-5_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6630-5_0_4_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_6630-5_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6630-5_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_6630-5_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6630-5_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6630-5_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6630-5_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_6630-5_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_6630-5_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6630-5_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_6630-5_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6630-5_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6630-5_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6630-5_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6630-5_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6630-5_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_MV_668_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6630-5_0_4_load_0 | 0 | 0.085326 | 0.021385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6630-5_0_4_load_3 | 3 | 0.031121 | 0.0077997 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6630-5_0_4_load_37 | 9 | 0.0032383 | 0.00081159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6630-5_0_4_load_27 | 12 | 0.023741 | 0.0059502 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6630-5_0_4_load_21 | 15 | 0.04896 | 0.01227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6630-5_0_4_load_29 | 18 | 0.066724 | 0.016723 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6630-5_0_4_load_26 | 20 | 0.037113 | 0.0093013 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6630-5_0_4_load_36 | 22 | 0.00019452 | 4.8752e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6630-5_0_4_load_28 | 24 | 0.023776 | 0.0059587 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6630-5_0_4_load_22 | 26 | 0.010973 | 0.00275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6630-5_0_4_load_32 | 28 | 0.00026474 | 6.6351e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6630-5_0_4_load_30 | 29 | 0.00029668 | 7.4355e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6630-5_0_4_load_24 | 30 | 0.035077 | 0.0087911 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6630-5_0_4_load_38 | 31 | 0.0246 | 0.0061653 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6630-5_0_4_load_39 | 32 | 0.090131 | 0.022589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6630-5_0_4_load_35 | 33 | 0.00010752 | 2.6948e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6630-5_0_4_load_33 | 34 | 0.0012191 | 0.00030554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6630-5_0_4_load_31 | 35 | 0.00049689 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6630-5_0_4_load_25 | 36 | 0.0084096 | 0.0021076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6630-5_0_4_load_34 | 37 | 0.00090702 | 0.00022732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6630-5_0_4_line_0 |  | 0 | 1 | 0.031292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6630-5_0_4_line_1 |  | 0 | 2 | 0.029315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6630-5_0_4_line_2 |  | 1 | 3 | 0.036957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6630-5_0_4_line_3 |  | 2 | 4 | 0.12028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6630-5_0_4_line_4 |  | 2 | 5 | 0.054559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6630-5_0_4_line_5 |  | 4 | 31 | 0.06665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6630-5_0_4_line_6 |  | 5 | 10 | 0.1203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6630-5_0_4_line_7 |  | 5 | 11 | 0.044646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6630-5_0_4_line_8 |  | 5 | 12 | 0.028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6630-5_0_4_line_9 |  | 6 | 7 | 0.054148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6630-5_0_4_line_10 |  | 6 | 8 | 0.22815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6630-5_0_4_line_11 |  | 6 | 9 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6630-5_0_4_line_12 |  | 7 | 23 | 0.056374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6630-5_0_4_line_13 |  | 7 | 24 | 0.054272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6630-5_0_4_line_14 |  | 8 | 30 | 0.051477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6630-5_0_4_line_15 |  | 9 | 14 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6630-5_0_4_line_16 |  | 10 | 32 | 0.00983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6630-5_0_4_line_17 |  | 11 | 20 | 0.048127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6630-5_0_4_line_18 |  | 12 | 23 | 0.052755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6630-5_0_4_line_19 |  | 13 | 14 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6630-5_0_4_line_20 |  | 13 | 15 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6630-5_0_4_line_21 |  | 16 | 17 | 0.027375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6630-5_0_4_line_22 |  | 16 | 18 | 0.045537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6630-5_0_4_line_23 |  | 17 | 19 | 0.056179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6630-5_0_4_line_24 |  | 17 | 20 | 0.042163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6630-5_0_4_line_25 |  | 19 | 25 | 0.022887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6630-5_0_4_line_26 |  | 19 | 21 | 0.21015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6630-5_0_4_line_27 |  | 21 | 22 | 0.1539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6630-5_0_4_line_28 |  | 22 | 33 | 0.009755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6630-5_0_4_line_29 |  | 25 | 26 | 0.061243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6630-5_0_4_line_30 |  | 27 | 28 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6630-5_0_4_line_31 |  | 27 | 29 | 0.067862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6630-5_0_4_line_32 |  | 28 | 34 | 0.052538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6630-5_0_4_line_33 |  | 29 | 35 | 0.012281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6630-5_0_4_line_34 |  | 30 | 36 | 0.0098263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6630-5_0_4_line_35 |  | 33 | 37 | 0.0066873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6630-5_0_4_line_36 |  | 34 | 37 | 0.017039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6630-5_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 38 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2495509.9297 | 1120797.6138 | 2495489.9895 | 1120821.7299
1 | 2495471.3093 | 1120844.3221 | 2495489.9895 | 1120821.7299
2 | 2495509.9297 | 1120797.6138 | 2495533.2418 | 1120768.937
3 | 2495471.3093 | 1120844.3221 | 2495479.2036 | 1120927.8055 | 2495481.3735 | 1120950.2156 | 2495486.305 | 1120963.2165
4 | 2495451.7054 | 1120806.9817 | 2495449.0254 | 1120810.3969 | 2495443.8238 | 1120817.0244 | 2495445.6059 | 1120823.6978 | 2495450.5074 | 1120827.8268 | 2495456.9516 | 1120833.2633 | 2495457.9171 | 1120831.9791 | 2495459.753 | 1120833.2927 | 2495469.8805 | 1120841.5673 | 2495471.3093 | 1120844.3221
5 | 2495526.2748 | 1120909.8029 | 2495486.305 | 1120963.2165
6 | 2495380.8681 | 1120897.1532 | 2495395.2832 | 1120879.8817 | 2495397.462 | 1120879.6105 | 2495398.0409 | 1120875.609 | 2495400.4035 | 1120871.6879 | 2495404.163 | 1120868.2318 | 2495407.6114 | 1120866.8601 | 2495411.0777 | 1120866.5222 | 2495445.6059 | 1120823.6978 | 2495443.8238 | 1120817.0244 | 2495449.0254 | 1120810.3969 | 2495451.7054 | 1120806.9817
7 | 2495451.7054 | 1120806.9817 | 2495456.0827 | 1120807.1172 | 2495460.4971 | 1120805.3842 | 2495464.5247 | 1120801.3676 | 2495478.8994 | 1120783.9636 | 2495473.4764 | 1120779.1321
8 | 2495451.7054 | 1120806.9817 | 2495447.083 | 1120804.7157 | 2495428.8076 | 1120789.5878
9 | 2495351.4117 | 1120695.0007 | 2495352.0392 | 1120701.3828 | 2495345.8161 | 1120708.7285 | 2495352.3178 | 1120713.9082 | 2495353.7731 | 1120715.0726 | 2495355.3145 | 1120716.3023 | 2495358.7491 | 1120719.0335 | 2495353.8801 | 1120727.4898 | 2495351.0111 | 1120732.4648 | 2495352.9751 | 1120734.0429 | 2495355.7375 | 1120736.2743
10 | 2495230.0971 | 1120578.6715 | 2495225.2816 | 1120574.6301 | 2495210.025 | 1120593.6733 | 2495208.4192 | 1120596.7364 | 2495207.8504 | 1120599.5369 | 2495207.834 | 1120601.7053 | 2495208.2386 | 1120604.122 | 2495209.7804 | 1120606.2633 | 2495211.8473 | 1120609.3184 | 2495326.3314 | 1120703.7292 | 2495332.762 | 1120707.4758 | 2495336.3554 | 1120708.2363 | 2495339.74 | 1120707.6329 | 2495342.0918 | 1120705.7577 | 2495346.4635 | 1120701.1124 | 2495351.4117 | 1120695.0007
11 | 2495351.4117 | 1120695.0007 | 2495351.1958 | 1120692.7808 | 2495351.2775 | 1120688.1431 | 2495352.2974 | 1120684.2118 | 2495353.6071 | 1120682.3101 | 2495357.0003 | 1120678.42
12 | 2495355.7375 | 1120736.2743 | 2495352.9751 | 1120734.0429 | 2495351.0111 | 1120732.4648 | 2495353.8801 | 1120727.4898 | 2495388.1689 | 1120755.948
13 | 2495355.7375 | 1120736.2743 | 2495390.5714 | 1120694.6569
14 | 2495230.0971 | 1120578.6715 | 2495238.4957 | 1120585.5415 | 2495264.8531 | 1120554.6254
15 | 2495371.0088 | 1120670.8351 | 2495368.7396 | 1120671.2412 | 2495363.0388 | 1120673.1077 | 2495360.4012 | 1120674.521 | 2495357.0003 | 1120678.42
16 | 2495373.2526 | 1120890.9143 | 2495375.6779 | 1120892.8402 | 2495380.8681 | 1120897.1532
17 | 2495473.4764 | 1120779.1321 | 2495503.5245 | 1120741.5375
18 | 2495388.1689 | 1120755.948 | 2495428.8076 | 1120789.5878
19 | 2495371.0088 | 1120670.8351 | 2495379.4401 | 1120660.4492 | 2495383.9502 | 1120654.8788
20 | 2495383.9502 | 1120654.8788 | 2495370.7161 | 1120649.471 | 2495364.9271 | 1120650.9635
21 | 2495509.0313 | 1120690.7613 | 2495529.8489 | 1120708.6019
22 | 2495509.0313 | 1120690.7613 | 2495473.8236 | 1120661.8812
23 | 2495529.8489 | 1120708.6019 | 2495536.3757 | 1120714.3484 | 2495541.6643 | 1120718.9933 | 2495550.6882 | 1120713.4116 | 2495554.0012 | 1120716.2562 | 2495557.7983 | 1120713.1776 | 2495561.8074 | 1120711.6518 | 2495566.4898 | 1120712.0267 | 2495570.0849 | 1120713.3322 | 2495574.638 | 1120719.6242
24 | 2495529.8489 | 1120708.6019 | 2495503.5245 | 1120741.5375
25 | 2495574.638 | 1120719.6242 | 2495578.9022 | 1120727.0553 | 2495582.1671 | 1120733.8143 | 2495584.6534 | 1120740.1643
26 | 2495574.638 | 1120719.6242 | 2495577.8874 | 1120717.4445 | 2495580.0919 | 1120715.9721 | 2495583.9866 | 1120714.5262 | 2495586.4614 | 1120713.9609 | 2495581.7758 | 1120699.9996 | 2495578.0669 | 1120693.4483 | 2495578.005 | 1120690.3141 | 2495581.1638 | 1120682.8881 | 2495583.8969 | 1120674.947 | 2495586.4071 | 1120667.9436 | 2495598.2352 | 1120655.3981 | 2495619.058 | 1120627.9767 | 2495628.871 | 1120612.6754 | 2495635.511 | 1120600.8533 | 2495644.0397 | 1120581.327 | 2495650.0781 | 1120563.2558 | 2495651.7158 | 1120558.4467 | 2495657.5271 | 1120540.6239
27 | 2495657.5271 | 1120540.6239 | 2495664.5608 | 1120544.8942 | 2495694.3115 | 1120568.4071 | 2495705.1616 | 1120577.4145 | 2495707.5421 | 1120579.4303 | 2495715.0188 | 1120584.7826 | 2495734.1291 | 1120602.9646 | 2495741.6711 | 1120608.9717 | 2495751.484 | 1120616.9076 | 2495755.4686 | 1120621.1083 | 2495758.6437 | 1120625.3562 | 2495762.4552 | 1120632.0504 | 2495767.6647 | 1120644.9328
28 | 2495771.3218 | 1120653.9764 | 2495767.6647 | 1120644.9328
29 | 2495584.6534 | 1120740.1643 | 2495585.6526 | 1120746.6401 | 2495585.6386 | 1120752.533 | 2495580.3574 | 1120788.9474 | 2495578.9613 | 1120800.8681
30 | 2495784.4095 | 1120759.2418 | 2495786.1895 | 1120744.335 | 2495787.1038 | 1120729.343 | 2495787.2102 | 1120724.1248
31 | 2495784.4095 | 1120759.2418 | 2495798.7506 | 1120760.8623 | 2495809.7359 | 1120761.1844 | 2495819.901 | 1120760.9202 | 2495827.2676 | 1120760.3485 | 2495852.0557 | 1120758.1821
32 | 2495787.0031 | 1120671.5969 | 2495787.0031 | 1120671.5969 | 2495787.09 | 1120676.1872 | 2495787.6096 | 1120704.5296 | 2495787.2102 | 1120724.1248
33 | 2495852.0557 | 1120758.1821 | 2495864.2905 | 1120757.1129
34 | 2495271.2281 | 1120547.1478 | 2495264.8531 | 1120554.6254
35 | 2495775.251 | 1120659.2589 | 2495772.1351 | 1120655.9876 | 2495771.3218 | 1120653.9764
36 | 2495787.0031 | 1120671.5969 | 2495775.251 | 1120659.2589

## bus_geodata
| x | y | coords
0 | 2495489.9895 | 1120821.7299
1 | 2495509.9297 | 1120797.6138
2 | 2495471.3093 | 1120844.3221
3 | 2495533.2418 | 1120768.937
4 | 2495486.305 | 1120963.2165
5 | 2495451.7054 | 1120806.9817
6 | 2495351.4117 | 1120695.0007
7 | 2495355.7375 | 1120736.2743
8 | 2495230.0971 | 1120578.6715
9 | 2495357.0003 | 1120678.42
10 | 2495380.8681 | 1120897.1532
11 | 2495473.4764 | 1120779.1321
12 | 2495428.8076 | 1120789.5878
13 | 2495383.9502 | 1120654.8788
14 | 2495371.0088 | 1120670.8351
15 | 2495364.9271 | 1120650.9635
16 | 2495509.0313 | 1120690.7613
17 | 2495529.8489 | 1120708.6019
18 | 2495473.8236 | 1120661.8812
19 | 2495574.638 | 1120719.6242
20 | 2495503.5245 | 1120741.5375
21 | 2495657.5271 | 1120540.6239
22 | 2495767.6647 | 1120644.9328
23 | 2495388.1689 | 1120755.948
24 | 2495390.5714 | 1120694.6569
25 | 2495584.6534 | 1120740.1643
26 | 2495578.9613 | 1120800.8681
27 | 2495784.4095 | 1120759.2418
28 | 2495787.2102 | 1120724.1248
29 | 2495852.0557 | 1120758.1821
30 | 2495264.8531 | 1120554.6254
31 | 2495526.2748 | 1120909.8029
32 | 2495373.2526 | 1120890.9143
33 | 2495771.3218 | 1120653.9764
34 | 2495787.0031 | 1120671.5969
35 | 2495864.2905 | 1120757.1129
36 | 2495271.2281 | 1120547.1478
37 | 2495775.251 | 1120659.2589
38 | 2495451.7054 | 1120806.9817

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1