## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6631-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6631-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6631-16_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6631-16_0_4_node_27 | 0.4 | n |  | TRUE
4 | bus_LV_6631-16_0_4_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_6631-16_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6631-16_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6631-16_0_4_node_108 | 0.4 | n |  | TRUE
8 | bus_LV_6631-16_0_4_node_151 | 0.4 | n |  | TRUE
9 | bus_LV_6631-16_0_4_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_6631-16_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6631-16_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6631-16_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6631-16_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6631-16_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6631-16_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6631-16_0_4_node_142 | 0.4 | n |  | TRUE
17 | bus_LV_6631-16_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6631-16_0_4_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_6631-16_0_4_node_132 | 0.4 | n |  | TRUE
20 | bus_LV_6631-16_0_4_node_128 | 0.4 | n |  | TRUE
21 | bus_LV_6631-16_0_4_node_126 | 0.4 | n |  | TRUE
22 | bus_LV_6631-16_0_4_node_134 | 0.4 | n |  | TRUE
23 | bus_LV_6631-16_0_4_node_129 | 0.4 | n |  | TRUE
24 | bus_LV_6631-16_0_4_node_106 | 0.4 | n |  | TRUE
25 | bus_LV_6631-16_0_4_node_133 | 0.4 | n |  | TRUE
26 | bus_LV_6631-16_0_4_node_130 | 0.4 | n |  | TRUE
27 | bus_LV_6631-16_0_4_node_117 | 0.4 | n |  | TRUE
28 | bus_LV_6631-16_0_4_node_131 | 0.4 | n |  | TRUE
29 | bus_LV_6631-16_0_4_node_127 | 0.4 | n |  | TRUE
30 | bus_LV_6631-16_0_4_node_135 | 0.4 | n |  | TRUE
31 | bus_LV_6631-16_0_4_node_136 | 0.4 | n |  | TRUE
32 | bus_LV_6631-16_0_4_node_137 | 0.4 | n |  | TRUE
33 | bus_LV_6631-16_0_4_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_6631-16_0_4_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_6631-16_0_4_node_141 | 0.4 | n |  | TRUE
36 | bus_LV_6631-16_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6631-16_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6631-16_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_6631-16_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_6631-16_0_4_node_164 | 0.4 | n |  | TRUE
41 | bus_LV_6631-16_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6631-16_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6631-16_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_6631-16_0_4_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_6631-16_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6631-16_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6631-16_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6631-16_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6631-16_0_4_node_144 | 0.4 | n |  | TRUE
50 | bus_LV_6631-16_0_4_node_143 | 0.4 | n |  | TRUE
51 | bus_LV_6631-16_0_4_node_112 | 0.4 | n |  | TRUE
52 | bus_LV_6631-16_0_4_node_158 | 0.4 | n |  | TRUE
53 | bus_LV_6631-16_0_4_node_159 | 0.4 | n |  | TRUE
54 | bus_LV_6631-16_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_6631-16_0_4_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_6631-16_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6631-16_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6631-16_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6631-16_0_4_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_6631-16_0_4_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_6631-16_0_4_node_102 | 0.4 | n |  | TRUE
62 | bus_LV_6631-16_0_4_node_103 | 0.4 | n |  | TRUE
63 | bus_LV_6631-16_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_6631-16_0_4_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_6631-16_0_4_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_6631-16_0_4_node_115 | 0.4 | n |  | TRUE
67 | bus_LV_6631-16_0_4_node_116 | 0.4 | n |  | TRUE
68 | bus_LV_6631-16_0_4_node_124 | 0.4 | n |  | TRUE
69 | bus_LV_6631-16_0_4_node_125 | 0.4 | n |  | TRUE
70 | bus_MV_666_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6631-16_0_4_load_0 | 0 | 0.010591 | 0.0026543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6631-16_0_4_load_1 | 1 | 0.0012036 | 0.00030165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6631-16_0_4_load_28 | 4 | 0.00073911 | 0.00018524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6631-16_0_4_load_108 | 7 | 0.0012023 | 0.00030133 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6631-16_0_4_load_151 | 8 | 0.00045773 | 0.00011472 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6631-16_0_4_load_90 | 9 | 0.00045074 | 0.00011297 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6631-16_0_4_load_6 | 10 | 0.044429 | 0.011135 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6631-16_0_4_load_7 | 11 | 0.044037 | 0.011037 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6631-16_0_4_load_9 | 13 | 0.049491 | 0.012404 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6631-16_0_4_load_142 | 16 | 0.0057422 | 0.0014391 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6631-16_0_4_load_31 | 18 | 0.011156 | 0.0027958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6631-16_0_4_load_132 | 19 | 0.0071367 | 0.0017886 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6631-16_0_4_load_128 | 20 | 0.0013985 | 0.00035049 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6631-16_0_4_load_134 | 22 | 0.00197 | 0.00049372 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6631-16_0_4_load_129 | 23 | 0.0011203 | 0.00028078 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6631-16_0_4_load_106 | 24 | 0.0035402 | 0.00088726 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6631-16_0_4_load_133 | 25 | 0.032524 | 0.0081512 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6631-16_0_4_load_117 | 27 | 0.0034376 | 0.00086153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6631-16_0_4_load_131 | 28 | 0.0020695 | 0.00051867 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6631-16_0_4_load_135 | 30 | 0.0056443 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6631-16_0_4_load_136 | 31 | 0.0021984 | 0.00055098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6631-16_0_4_load_137 | 32 | 0.010472 | 0.0026246 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6631-16_0_4_load_145 | 33 | 0.0018793 | 0.00047099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6631-16_0_4_load_140 | 34 | 0.0051449 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6631-16_0_4_load_141 | 35 | 0.0051566 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6631-16_0_4_load_34 | 37 | 0.0027805 | 0.00069685 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6631-16_0_4_load_32 | 39 | 0.015599 | 0.0039095 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6631-16_0_4_load_164 | 40 | 0.016719 | 0.0041903 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6631-16_0_4_load_36 | 41 | 0.001672 | 0.00041904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6631-16_0_4_load_89 | 44 | 0.0028814 | 0.00072215 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6631-16_0_4_load_42 | 48 | 0.0060364 | 0.0015129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6631-16_0_4_load_144 | 49 | 0.0030259 | 0.00075836 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6631-16_0_4_load_143 | 50 | 0.0018147 | 0.00045481 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6631-16_0_4_load_112 | 51 | 0.001277 | 0.00032004 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6631-16_0_4_load_158 | 52 | 0.0015901 | 0.00039852 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6631-16_0_4_load_159 | 53 | 0.0032036 | 0.0008029 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6631-16_0_4_load_59 | 54 | 0.0018835 | 0.00047206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6631-16_0_4_load_162 | 55 | 0.0040199 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6631-16_0_4_load_53 | 56 | 0.0022563 | 0.00056549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6631-16_0_4_load_54 | 57 | 0.0073384 | 0.0018392 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6631-16_0_4_load_111 | 59 | 0.0012298 | 0.00030822 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6631-16_0_4_load_86 | 60 | 0.0045162 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6631-16_0_4_load_102 | 61 | 0.002196 | 0.00055037 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6631-16_0_4_load_103 | 62 | 0.0024849 | 0.00062276 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6631-16_0_4_load_104 | 63 | 0.0015126 | 0.00037909 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6631-16_0_4_load_107 | 65 | 0.0012093 | 0.00030307 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6631-16_0_4_load_115 | 66 | 0.0078578 | 0.0019693 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6631-16_0_4_load_124 | 68 | 0.0018767 | 0.00047036 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6631-16_0_4_load_125 | 69 | 0.0011165 | 0.00027981 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6631-16_0_4_line_0 |  | 0 | 1 | 0.062699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6631-16_0_4_line_1 |  | 1 | 2 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6631-16_0_4_line_2 |  | 2 | 3 | 0.004611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6631-16_0_4_line_3 |  | 2 | 4 | 0.070039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6631-16_0_4_line_4 |  | 3 | 42 | 0.024736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6631-16_0_4_line_5 |  | 3 | 30 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6631-16_0_4_line_6 |  | 4 | 14 | 0.028471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6631-16_0_4_line_7 |  | 5 | 6 | 0.14976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6631-16_0_4_line_8 |  | 5 | 7 | 0.086833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6631-16_0_4_line_9 |  | 6 | 8 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6631-16_0_4_line_10 |  | 6 | 9 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6631-16_0_4_line_11 |  | 7 | 65 | 0.0063509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6631-16_0_4_line_12 |  | 9 | 45 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6631-16_0_4_line_13 |  | 10 | 11 | 0.015594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6631-16_0_4_line_14 |  | 10 | 12 | 0.042337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6631-16_0_4_line_15 |  | 11 | 13 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6631-16_0_4_line_16 |  | 12 | 14 | 0.075859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6631-16_0_4_line_17 |  | 12 | 15 | 0.094394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6631-16_0_4_line_18 |  | 13 | 16 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6631-16_0_4_line_19 |  | 14 | 17 | 0.052757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6631-16_0_4_line_20 |  | 14 | 18 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6631-16_0_4_line_21 |  | 15 | 33 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6631-16_0_4_line_22 |  | 16 | 35 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6631-16_0_4_line_23 |  | 17 | 19 | 0.043732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6631-16_0_4_line_24 |  | 19 | 25 | 0.016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6631-16_0_4_line_25 |  | 20 | 21 | 0.0042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6631-16_0_4_line_26 |  | 20 | 22 | 0.0058132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6631-16_0_4_line_27 |  | 21 | 23 | 0.0027428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6631-16_0_4_line_28 |  | 21 | 68 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6631-16_0_4_line_29 |  | 22 | 51 | 0.0064989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6631-16_0_4_line_30 |  | 23 | 24 | 0.0032317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6631-16_0_4_line_31 |  | 24 | 63 | 0.0050783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6631-16_0_4_line_32 |  | 26 | 27 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6631-16_0_4_line_33 |  | 26 | 28 | 0.0046349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6631-16_0_4_line_34 |  | 26 | 29 | 0.00719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6631-16_0_4_line_35 |  | 27 | 67 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6631-16_0_4_line_36 |  | 28 | 32 | 0.0055852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6631-16_0_4_line_37 |  | 29 | 31 | 0.019336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6631-16_0_4_line_38 |  | 29 | 69 | 0.0027048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6631-16_0_4_line_39 |  | 33 | 41 | 9.4766e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6631-16_0_4_line_40 |  | 34 | 35 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6631-16_0_4_line_41 |  | 36 | 37 | 0.030724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6631-16_0_4_line_42 |  | 36 | 38 | 0.055256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6631-16_0_4_line_43 |  | 36 | 39 | 0.0097698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6631-16_0_4_line_44 |  | 37 | 48 | 0.015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6631-16_0_4_line_45 |  | 38 | 40 | 0.028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6631-16_0_4_line_46 |  | 39 | 46 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6631-16_0_4_line_47 |  | 41 | 46 | 0.0086445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6631-16_0_4_line_48 |  | 42 | 43 | 0.066356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6631-16_0_4_line_49 |  | 42 | 44 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6631-16_0_4_line_50 |  | 43 | 55 | 0.020255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6631-16_0_4_line_51 |  | 43 | 56 | 0.037541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6631-16_0_4_line_52 |  | 44 | 45 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6631-16_0_4_line_53 |  | 46 | 47 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6631-16_0_4_line_54 |  | 47 | 49 | 0.009337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6631-16_0_4_line_55 |  | 47 | 50 | 0.007035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6631-16_0_4_line_56 |  | 51 | 60 | 0.0074536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6631-16_0_4_line_57 |  | 52 | 53 | 0.0042542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6631-16_0_4_line_58 |  | 53 | 54 | 0.049389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6631-16_0_4_line_59 |  | 54 | 59 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6631-16_0_4_line_60 |  | 54 | 58 | 0.022953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_6631-16_0_4_line_61 |  | 56 | 57 | 0.02462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6631-16_0_4_line_62 |  | 57 | 58 | 0.0021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6631-16_0_4_line_63 |  | 59 | 64 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6631-16_0_4_line_64 |  | 61 | 62 | 0.0088957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6631-16_0_4_line_65 |  | 61 | 63 | 0.0053872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6631-16_0_4_line_66 |  | 62 | 64 | 0.0013525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6631-16_0_4_line_67 |  | 66 | 67 | 0.0064791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6631-16_0_4_line_68 |  | 68 | 69 | 0.0084089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6631-16_0_4_trafo_164 | 0.63 MVA 20/0.4 kV | 70 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2496892.9693 | 1115475.4334 | 2496890.6676 | 1115465.8999 | 2496889.1762 | 1115461.7671 | 2496878.1552 | 1115458.097 | 2496868.0487 | 1115451.8986 | 2496862.1907 | 1115443.0484 | 2496857.1356 | 1115440.5218 | 2496848.4108 | 1115439.7255
1 | 2496835.2262 | 1115428.2874 | 2496843.7018 | 1115431.6785 | 2496844.9696 | 1115436.7378 | 2496848.4108 | 1115439.7255
2 | 2496831.5488 | 1115425.4928 | 2496835.2262 | 1115428.2874
3 | 2496835.2262 | 1115428.2874 | 2496815.1308 | 1115453.1347 | 2496803.0601 | 1115468.0611 | 2496795.1036 | 1115477.8919 | 2496791.0558 | 1115482.6401
4 | 2496831.5488 | 1115425.4928 | 2496833.5032 | 1115421.9016 | 2496834.4708 | 1115417.9604 | 2496834.2415 | 1115413.5727 | 2496833.4641 | 1115410.5507 | 2496832.532 | 1115407.5202 | 2496838.2033 | 1115405.878
5 | 2496831.5488 | 1115425.4928 | 2496821.678 | 1115437.7315
6 | 2496772.3679 | 1115504.1185 | 2496785.4278 | 1115489.2419 | 2496791.0558 | 1115482.6401
7 | 2496881.1942 | 1115437.043 | 2496888.5407 | 1115440.3421 | 2496895.9479 | 1115442.673 | 2496901.3879 | 1115444.2257 | 2496905.5188 | 1115445.0893 | 2496911.6424 | 1115445.9633 | 2496917.2416 | 1115446.4349 | 2496922.7309 | 1115446.3413 | 2496928.0577 | 1115445.7836 | 2496934.0441 | 1115444.5031 | 2496939.3997 | 1115442.9109 | 2496943.8281 | 1115441.29 | 2496948.6036 | 1115439.1962 | 2496953.9406 | 1115436.0589 | 2496958.7373 | 1115432.4861 | 2496966.6603 | 1115425.658 | 2497002.307 | 1115393.8311 | 2496996.2391 | 1115386.7076
8 | 2496996.2391 | 1115386.7076 | 2496989.9632 | 1115391.851 | 2496983.0192 | 1115395.4048 | 2496979.3421 | 1115398.9696 | 2496968.8328 | 1115413.1019 | 2496955.0462 | 1115422.5315 | 2496925.4472 | 1115433.2555
9 | 2496881.1942 | 1115437.043 | 2496888.903 | 1115425.5208
10 | 2496881.1942 | 1115437.043 | 2496867.5188 | 1115428.3801
11 | 2496919.4762 | 1115435.4189 | 2496925.4472 | 1115433.2555
12 | 2496855.1037 | 1115420.9996 | 2496859.4133 | 1115423.2831 | 2496866.2906 | 1115427.602 | 2496867.5188 | 1115428.3801
13 | 2496708.337 | 1115524.3347 | 2496718.3419 | 1115512.3734
14 | 2496721.7736 | 1115554.5692 | 2496702.3119 | 1115538.6913 | 2496700.7264 | 1115535.8388 | 2496702.5251 | 1115531.2829 | 2496708.337 | 1115524.3347
15 | 2496718.3419 | 1115512.3734 | 2496728.9978 | 1115499.634
16 | 2496721.7736 | 1115554.5692 | 2496725.4466 | 1115557.564 | 2496746.5305 | 1115533.6669 | 2496771.8981 | 1115504.6491 | 2496772.3679 | 1115504.1185
17 | 2496647.5189 | 1115518.7251 | 2496673.5978 | 1115539.5042 | 2496695.8073 | 1115557.1029 | 2496699.4063 | 1115559.8321 | 2496705.3367 | 1115564.3226 | 2496708.3533 | 1115565.0605 | 2496711.2431 | 1115564.6998 | 2496713.8595 | 1115563.2543 | 2496721.7736 | 1115554.5692
18 | 2496740.2033 | 1115486.2374 | 2496728.9978 | 1115499.634
19 | 2496772.3679 | 1115504.1185 | 2496765.6413 | 1115498.2295 | 2496785.3853 | 1115475.8897 | 2496787.4411 | 1115475.0763 | 2496790.8604 | 1115474.9735 | 2496792.2045 | 1115474.995 | 2496796.59 | 1115469.5056
20 | 2496772.3679 | 1115504.1185 | 2496774.8765 | 1115506.3104 | 2496780.9865 | 1115499.5138
21 | 2496647.5189 | 1115518.7251 | 2496652.6435 | 1115510.8548 | 2496653.0532 | 1115510.2026
22 | 2496740.2033 | 1115486.2374 | 2496750.8595 | 1115473.4977
23 | 2496796.59 | 1115469.5056 | 2496760.7215 | 1115444.4864
24 | 2496746.8572 | 1115436.544 | 2496756.4173 | 1115441.4841 | 2496760.7215 | 1115444.4864
25 | 2496677.9994 | 1115380.8059 | 2496673.78 | 1115380.4571
26 | 2496673.78 | 1115380.4571 | 2496667.9867 | 1115379.9781
27 | 2496677.9994 | 1115380.8059 | 2496680.6425 | 1115380.0729
28 | 2496677.9994 | 1115380.8059 | 2496681.3896 | 1115391.6577
29 | 2496661.5098 | 1115379.4425 | 2496667.9867 | 1115379.9781
30 | 2496680.6425 | 1115380.0729 | 2496683.7566 | 1115379.2092
31 | 2496688.6502 | 1115377.8521 | 2496683.7566 | 1115379.2092
32 | 2496692.251 | 1115405.8564 | 2496704.8716 | 1115393.9961
33 | 2496692.251 | 1115405.8564 | 2496695.9859 | 1115408.6011
34 | 2496686.5536 | 1115401.4508 | 2496692.251 | 1115405.8564
35 | 2496713.6396 | 1115385.7563 | 2496704.8716 | 1115393.9961
36 | 2496700.4864 | 1115411.9085 | 2496695.9859 | 1115408.6011
37 | 2496686.5536 | 1115401.4508 | 2496678.8361 | 1115408.9873 | 2496674.57 | 1115416.3955
38 | 2496686.5536 | 1115401.4508 | 2496685.193 | 1115399.1132
39 | 2496653.0532 | 1115510.2026 | 2496653.1036 | 1115510.1224
40 | 2496760.8745 | 1115461.5243 | 2496750.8595 | 1115473.4977
41 | 2496672.7096 | 1115487.5085 | 2496648.4322 | 1115468.6777
42 | 2496709.1022 | 1115477.77 | 2496708.7253 | 1115478.766 | 2496702.5171 | 1115490.1125 | 2496682.9401 | 1115474.7368 | 2496672.7096 | 1115487.5085
43 | 2496672.7096 | 1115487.5085 | 2496666.9533 | 1115495.4024
44 | 2496658.0879 | 1115456.1855 | 2496648.4322 | 1115468.6777
45 | 2496723.5109 | 1115453.2419 | 2496713.6347 | 1115465.974 | 2496709.1022 | 1115477.77
46 | 2496657.8438 | 1115502.8943 | 2496660.2061 | 1115504.6551 | 2496666.9533 | 1115495.4024
47 | 2496657.8438 | 1115502.8943 | 2496654.5005 | 1115507.899 | 2496653.1036 | 1115510.1224
48 | 2496789.571 | 1115360.9341 | 2496798.1596 | 1115367.3251 | 2496807.16 | 1115375.6658 | 2496833.4154 | 1115400.0003 | 2496838.2033 | 1115405.878
49 | 2496838.2033 | 1115405.878 | 2496842.6412 | 1115404.8128 | 2496849.2313 | 1115409.73
50 | 2496789.571 | 1115360.9341 | 2496787.1041 | 1115340.8301
51 | 2496789.571 | 1115360.9341 | 2496756.8519 | 1115342.5279
52 | 2496855.1037 | 1115420.9996 | 2496854.2807 | 1115413.4977 | 2496849.2313 | 1115409.73
53 | 2496648.1284 | 1115495.6445 | 2496657.8438 | 1115502.8943
54 | 2496640.627 | 1115490.0579 | 2496648.1284 | 1115495.6445
55 | 2496648.1284 | 1115495.6445 | 2496652.2887 | 1115489.9715
56 | 2496661.5098 | 1115379.4425 | 2496654.0816 | 1115378.8284
57 | 2496678.1811 | 1115324.0779 | 2496674.7019 | 1115321.6297
58 | 2496721.0355 | 1115348.629 | 2496678.1811 | 1115324.0779
59 | 2496721.0355 | 1115348.629 | 2496717.7094 | 1115353.1884 | 2496713.0814 | 1115359.043
60 | 2496733.5602 | 1115329.425 | 2496727.0969 | 1115340.32 | 2496721.0355 | 1115348.629
61 | 2496756.8519 | 1115342.5279 | 2496735.3942 | 1115330.4567
62 | 2496733.5602 | 1115329.425 | 2496735.3942 | 1115330.4567
63 | 2496701.9932 | 1115369.9006 | 2496708.3281 | 1115365.056 | 2496713.0814 | 1115359.043
64 | 2496693.515 | 1115375.6067 | 2496697.0533 | 1115373.6761 | 2496698.1205 | 1115372.8574 | 2496700.9182 | 1115370.7214
65 | 2496693.515 | 1115375.6067 | 2496690.1746 | 1115377.4293 | 2496688.6502 | 1115377.8521
66 | 2496701.9932 | 1115369.9006 | 2496700.9182 | 1115370.7214
67 | 2496713.6396 | 1115385.7563 | 2496717.6285 | 1115390.8619
68 | 2496681.3896 | 1115391.6577 | 2496682.0106 | 1115393.6456 | 2496685.193 | 1115399.1132

## bus_geodata
| x | y | coords
0 | 2496892.9693 | 1115475.4334
1 | 2496848.4108 | 1115439.7255
2 | 2496835.2262 | 1115428.2874
3 | 2496831.5488 | 1115425.4928
4 | 2496791.0558 | 1115482.6401
5 | 2496996.2391 | 1115386.7076
6 | 2496881.1942 | 1115437.043
7 | 2496925.4472 | 1115433.2555
8 | 2496888.903 | 1115425.5208
9 | 2496867.5188 | 1115428.3801
10 | 2496708.337 | 1115524.3347
11 | 2496718.3419 | 1115512.3734
12 | 2496721.7736 | 1115554.5692
13 | 2496728.9978 | 1115499.634
14 | 2496772.3679 | 1115504.1185
15 | 2496647.5189 | 1115518.7251
16 | 2496740.2033 | 1115486.2374
17 | 2496796.59 | 1115469.5056
18 | 2496780.9865 | 1115499.5138
19 | 2496760.7215 | 1115444.4864
20 | 2496673.78 | 1115380.4571
21 | 2496677.9994 | 1115380.8059
22 | 2496667.9867 | 1115379.9781
23 | 2496680.6425 | 1115380.0729
24 | 2496683.7566 | 1115379.2092
25 | 2496746.8572 | 1115436.544
26 | 2496692.251 | 1115405.8563
27 | 2496704.8716 | 1115393.9961
28 | 2496695.9859 | 1115408.6011
29 | 2496686.5536 | 1115401.4508
30 | 2496821.678 | 1115437.7315
31 | 2496674.57 | 1115416.3955
32 | 2496700.4864 | 1115411.9085
33 | 2496653.0532 | 1115510.2026
34 | 2496760.8745 | 1115461.5243
35 | 2496750.8595 | 1115473.4977
36 | 2496672.7096 | 1115487.5085
37 | 2496648.4322 | 1115468.6777
38 | 2496709.1022 | 1115477.77
39 | 2496666.9533 | 1115495.4024
40 | 2496723.5109 | 1115453.2419
41 | 2496653.1036 | 1115510.1224
42 | 2496838.2033 | 1115405.878
43 | 2496789.571 | 1115360.9341
44 | 2496849.2313 | 1115409.73
45 | 2496855.1037 | 1115420.9996
46 | 2496657.8438 | 1115502.8943
47 | 2496648.1284 | 1115495.6445
48 | 2496658.0879 | 1115456.1855
49 | 2496640.627 | 1115490.0579
50 | 2496652.2887 | 1115489.9715
51 | 2496661.5098 | 1115379.4425
52 | 2496674.7019 | 1115321.6297
53 | 2496678.1811 | 1115324.0779
54 | 2496721.0355 | 1115348.629
55 | 2496787.1041 | 1115340.8301
56 | 2496756.8519 | 1115342.5279
57 | 2496735.3941 | 1115330.4567
58 | 2496733.5602 | 1115329.425
59 | 2496713.0814 | 1115359.043
60 | 2496654.0816 | 1115378.8284
61 | 2496693.515 | 1115375.6067
62 | 2496700.9182 | 1115370.7214
63 | 2496688.6502 | 1115377.8521
64 | 2496701.9932 | 1115369.9006
65 | 2496919.4762 | 1115435.4189
66 | 2496717.6285 | 1115390.8619
67 | 2496713.6396 | 1115385.7563
68 | 2496681.3896 | 1115391.6577
69 | 2496685.193 | 1115399.1132
70 | 2496709.1022 | 1115477.77

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1