## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6631-16_1_4_node_12 | 0.4 | n |  | TRUE
1 | bus_LV_6631-16_1_4_node_16 | 0.4 | n |  | TRUE
2 | bus_LV_6631-16_1_4_node_17 | 0.4 | n |  | TRUE
3 | bus_LV_6631-16_1_4_node_146 | 0.4 | n |  | TRUE
4 | bus_LV_6631-16_1_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6631-16_1_4_node_88 | 0.4 | n |  | TRUE
6 | bus_LV_6631-16_1_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_6631-16_1_4_node_81 | 0.4 | n |  | TRUE
8 | bus_LV_6631-16_1_4_node_148 | 0.4 | n |  | TRUE
9 | bus_LV_6631-16_1_4_node_110 | 0.4 | n |  | TRUE
10 | bus_LV_6631-16_1_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6631-16_1_4_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_6631-16_1_4_node_138 | 0.4 | n |  | TRUE
13 | bus_LV_6631-16_1_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_6631-16_1_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_6631-16_1_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6631-16_1_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_6631-16_1_4_node_139 | 0.4 | n |  | TRUE
18 | bus_LV_6631-16_1_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6631-16_1_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_6631-16_1_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_6631-16_1_4_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6631-16_1_4_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_6631-16_1_4_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_6631-16_1_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6631-16_1_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_6631-16_1_4_node_147 | 0.4 | n |  | TRUE
27 | bus_LV_6631-16_1_4_node_165 | 0.4 | n |  | TRUE
28 | bus_LV_6631-16_1_4_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_6631-16_1_4_node_109 | 0.4 | n |  | TRUE
30 | bus_LV_6631-16_1_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_6631-16_1_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_6631-16_1_4_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_6631-16_1_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_6631-16_1_4_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_6631-16_1_4_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_6631-16_1_4_node_75 | 0.4 | n |  | TRUE
37 | bus_LV_6631-16_1_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_6631-16_1_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6631-16_1_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_6631-16_1_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_6631-16_1_4_node_152 | 0.4 | n |  | TRUE
42 | bus_LV_6631-16_1_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_6631-16_1_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_6631-16_1_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_6631-16_1_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_6631-16_1_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_6631-16_1_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6631-16_1_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6631-16_1_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_6631-16_1_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_6631-16_1_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_6631-16_1_4_node_157 | 0.4 | n |  | TRUE
53 | bus_LV_6631-16_1_4_node_123 | 0.4 | n |  | TRUE
54 | bus_LV_6631-16_1_4_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_6631-16_1_4_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_6631-16_1_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_6631-16_1_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_6631-16_1_4_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_6631-16_1_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_6631-16_1_4_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_6631-16_1_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_6631-16_1_4_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_6631-16_1_4_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_6631-16_1_4_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_6631-16_1_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_6631-16_1_4_node_150 | 0.4 | n |  | TRUE
67 | bus_LV_6631-16_1_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_6631-16_1_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_6631-16_1_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_6631-16_1_4_node_155 | 0.4 | n |  | TRUE
71 | bus_LV_6631-16_1_4_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_6631-16_1_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_6631-16_1_4_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_6631-16_1_4_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_6631-16_1_4_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_6631-16_1_4_node_113 | 0.4 | n |  | TRUE
77 | bus_LV_6631-16_1_4_node_154 | 0.4 | n |  | TRUE
78 | bus_LV_6631-16_1_4_node_114 | 0.4 | n |  | TRUE
79 | bus_LV_6631-16_1_4_node_153 | 0.4 | n |  | TRUE
80 | bus_LV_6631-16_1_4_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_6631-16_1_4_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_6631-16_1_4_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_6631-16_1_4_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_6631-16_1_4_node_118 | 0.4 | n |  | TRUE
85 | bus_LV_6631-16_1_4_node_156 | 0.4 | n |  | TRUE
86 | bus_LV_6631-16_1_4_node_122 | 0.4 | n |  | TRUE
87 | bus_LV_6631-16_1_4_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_6631-16_1_4_node_120 | 0.4 | n |  | TRUE
89 | bus_MV_666_1_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6631-16_1_4_load_146 | 3 | 0.011617 | 0.0029114 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6631-16_1_4_load_81 | 7 | 0.0011345 | 0.00028434 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6631-16_1_4_load_148 | 8 | 0.0023654 | 0.00059283 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6631-16_1_4_load_110 | 9 | 0.0023271 | 0.00058322 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6631-16_1_4_load_45 | 11 | 0.002558 | 0.00064109 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6631-16_1_4_load_138 | 12 | 0.0037514 | 0.0009402 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6631-16_1_4_load_43 | 14 | 0.0032586 | 0.00081667 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6631-16_1_4_load_52 | 16 | 0.0012236 | 0.00030666 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6631-16_1_4_load_139 | 17 | 0.0031626 | 0.00079262 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6631-16_1_4_load_64 | 20 | 0.0053917 | 0.0013513 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6631-16_1_4_load_74 | 23 | 0.0015032 | 0.00037674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6631-16_1_4_load_58 | 24 | 0.0026645 | 0.00066778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6631-16_1_4_load_57 | 25 | 0.0016254 | 0.00040735 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6631-16_1_4_load_147 | 26 | 0.011521 | 0.0028873 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6631-16_1_4_load_165 | 27 | 0.0010907 | 0.00027336 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6631-16_1_4_load_80 | 28 | 0.0026026 | 0.00065228 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6631-16_1_4_load_109 | 29 | 0.0068877 | 0.0017262 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6631-16_1_4_load_44 | 30 | 0.002538 | 0.00063607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6631-16_1_4_load_66 | 32 | 0.0047921 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6631-16_1_4_load_38 | 33 | 0.0083617 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6631-16_1_4_load_62 | 34 | 0.006313 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6631-16_1_4_load_149 | 35 | 0.0016697 | 0.00041847 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6631-16_1_4_load_75 | 36 | 0.00069814 | 0.00017497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6631-16_1_4_load_37 | 37 | 0.0048152 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6631-16_1_4_load_39 | 38 | 0.0064764 | 0.0016231 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6631-16_1_4_load_41 | 39 | 0.0078747 | 0.0019736 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6631-16_1_4_load_51 | 40 | 0.0081581 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6631-16_1_4_load_152 | 41 | 0.0017493 | 0.00043841 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6631-16_1_4_load_76 | 42 | 0.0013715 | 0.00034373 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6631-16_1_4_load_47 | 43 | 0.0011104 | 0.00027829 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6631-16_1_4_load_48 | 44 | 0.0049943 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6631-16_1_4_load_70 | 46 | 0.021003 | 0.0052639 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6631-16_1_4_load_67 | 47 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6631-16_1_4_load_68 | 48 | 0.009695 | 0.0024298 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6631-16_1_4_load_79 | 51 | 0.0012706 | 0.00031844 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6631-16_1_4_load_157 | 52 | 0.0019257 | 0.00048264 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6631-16_1_4_load_123 | 53 | 0.0017698 | 0.00044355 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6631-16_1_4_load_78 | 54 | 0.0012699 | 0.00031826 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6631-16_1_4_load_121 | 55 | 0.0011718 | 0.00029369 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6631-16_1_4_load_63 | 56 | 0.005218 | 0.0013078 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6631-16_1_4_load_65 | 57 | 0.0012698 | 0.00031824 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6631-16_1_4_load_101 | 58 | 0.0050818 | 0.0012736 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6631-16_1_4_load_73 | 59 | 0.0012203 | 0.00030584 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6631-16_1_4_load_100 | 60 | 0.0064148 | 0.0016077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6631-16_1_4_load_69 | 61 | 0.0015496 | 0.00038837 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6631-16_1_4_load_87 | 62 | 0.0012857 | 0.00032222 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6631-16_1_4_load_85 | 63 | 0.001911 | 0.00047893 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6631-16_1_4_load_71 | 64 | 0.0017058 | 0.00042752 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6631-16_1_4_load_150 | 66 | 0.0021057 | 0.00052774 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6631-16_1_4_load_82 | 67 | 0.0021325 | 0.00053446 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6631-16_1_4_load_83 | 68 | 0.0012612 | 0.00031609 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6631-16_1_4_load_84 | 69 | 0.0013626 | 0.0003415 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6631-16_1_4_load_155 | 70 | 0.0021013 | 0.00052665 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6631-16_1_4_load_91 | 71 | 0.0017628 | 0.00044181 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6631-16_1_4_load_92 | 72 | 0.0017747 | 0.00044478 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6631-16_1_4_load_93 | 73 | 0.0017841 | 0.00044714 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6631-16_1_4_load_94 | 74 | 0.0026421 | 0.00066217 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6631-16_1_4_load_95 | 75 | 0.0017398 | 0.00043603 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6631-16_1_4_load_113 | 76 | 0.001738 | 0.00043559 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6631-16_1_4_load_154 | 77 | 0.0017435 | 0.00043697 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6631-16_1_4_load_114 | 78 | 0.0017907 | 0.0004488 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6631-16_1_4_load_153 | 79 | 0.0018144 | 0.00045474 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6631-16_1_4_load_96 | 80 | 0.0027321 | 0.00068474 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6631-16_1_4_load_99 | 83 | 0.0004792 | 0.0001201 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6631-16_1_4_load_118 | 84 | 0.0047397 | 0.0011879 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6631-16_1_4_load_156 | 85 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6631-16_1_4_load_122 | 86 | 0.0011914 | 0.00029859 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6631-16_1_4_load_119 | 87 | 0.00097524 | 0.00024442 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6631-16_1_4_load_120 | 88 | 0.0011748 | 0.00029443 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6631-16_1_4_line_0 |  | 0 | 1 | 0.055909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6631-16_1_4_line_1 |  | 0 | 2 | 0.022333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6631-16_1_4_line_2 |  | 0 | 3 | 0.00013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6631-16_1_4_line_3 |  | 1 | 12 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6631-16_1_4_line_4 |  | 2 | 13 | 0.049586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6631-16_1_4_line_5 |  | 2 | 14 | 0.0089907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6631-16_1_4_line_6 |  | 3 | 26 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6631-16_1_4_line_7 |  | 4 | 5 | 0.005981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6631-16_1_4_line_8 |  | 4 | 6 | 0.01074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6631-16_1_4_line_9 |  | 4 | 7 | 0.051177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6631-16_1_4_line_10 |  | 5 | 27 | 0.00936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6631-16_1_4_line_11 |  | 5 | 10 | 0.015001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6631-16_1_4_line_12 |  | 6 | 8 | 0.00774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6631-16_1_4_line_13 |  | 6 | 9 | 0.030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6631-16_1_4_line_14 |  | 7 | 28 | 0.024507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6631-16_1_4_line_15 |  | 9 | 29 | 0.019239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6631-16_1_4_line_16 |  | 10 | 11 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6631-16_1_4_line_17 |  | 11 | 30 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6631-16_1_4_line_18 |  | 12 | 17 | 0.010085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6631-16_1_4_line_19 |  | 13 | 24 | 0.0098724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6631-16_1_4_line_20 |  | 13 | 25 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6631-16_1_4_line_21 |  | 14 | 30 | 0.016798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6631-16_1_4_line_22 |  | 15 | 16 | 0.016008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6631-16_1_4_line_23 |  | 15 | 17 | 0.028519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6631-16_1_4_line_24 |  | 16 | 31 | 0.011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6631-16_1_4_line_25 |  | 18 | 19 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6631-16_1_4_line_26 |  | 18 | 20 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6631-16_1_4_line_27 |  | 19 | 32 | 0.02487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6631-16_1_4_line_28 |  | 19 | 33 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6631-16_1_4_line_29 |  | 20 | 34 | 0.00097854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6631-16_1_4_line_30 |  | 21 | 22 | 0.014576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6631-16_1_4_line_31 |  | 21 | 23 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6631-16_1_4_line_32 |  | 22 | 35 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6631-16_1_4_line_33 |  | 22 | 24 | 0.0093506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6631-16_1_4_line_34 |  | 23 | 36 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6631-16_1_4_line_35 |  | 28 | 67 | 0.0060552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6631-16_1_4_line_36 |  | 31 | 40 | 0.0059751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6631-16_1_4_line_37 |  | 31 | 43 | 0.0064979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6631-16_1_4_line_38 |  | 32 | 41 | 0.0097239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6631-16_1_4_line_39 |  | 33 | 37 | 0.021894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6631-16_1_4_line_40 |  | 34 | 56 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6631-16_1_4_line_41 |  | 35 | 66 | 0.00028396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6631-16_1_4_line_42 |  | 36 | 42 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6631-16_1_4_line_43 |  | 37 | 38 | 0.0023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6631-16_1_4_line_44 |  | 38 | 39 | 0.0076891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6631-16_1_4_line_45 |  | 39 | 40 | 0.0058564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6631-16_1_4_line_46 |  | 41 | 60 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6631-16_1_4_line_47 |  | 43 | 44 | 0.0086541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6631-16_1_4_line_48 |  | 44 | 45 | 0.0077237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6631-16_1_4_line_49 |  | 45 | 46 | 0.024084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6631-16_1_4_line_50 |  | 45 | 47 | 0.027856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6631-16_1_4_line_51 |  | 47 | 48 | 0.0085574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6631-16_1_4_line_52 |  | 48 | 61 | 0.0083806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6631-16_1_4_line_53 |  | 49 | 50 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6631-16_1_4_line_54 |  | 49 | 51 | 0.010942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6631-16_1_4_line_55 |  | 49 | 52 | 0.01201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6631-16_1_4_line_56 |  | 50 | 53 | 0.036432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6631-16_1_4_line_57 |  | 51 | 54 | 0.0079748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6631-16_1_4_line_58 |  | 53 | 55 | 0.0075975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6631-16_1_4_line_59 |  | 55 | 87 | 0.0054313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6631-16_1_4_line_60 |  | 56 | 57 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6631-16_1_4_line_61 |  | 57 | 58 | 0.002974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6631-16_1_4_line_62 |  | 58 | 59 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6631-16_1_4_line_63 |  | 59 | 65 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6631-16_1_4_line_64 |  | 60 | 82 | 0.05184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6631-16_1_4_line_65 |  | 61 | 62 | 0.0033259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6631-16_1_4_line_66 |  | 62 | 63 | 0.0070637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6631-16_1_4_line_67 |  | 63 | 68 | 0.0070261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6631-16_1_4_line_68 |  | 64 | 65 | 0.0025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6631-16_1_4_line_69 |  | 68 | 69 | 0.0082284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6631-16_1_4_line_70 |  | 69 | 70 | 0.0391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6631-16_1_4_line_71 |  | 70 | 79 | 0.00079695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6631-16_1_4_line_72 |  | 71 | 72 | 0.015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6631-16_1_4_line_73 |  | 71 | 73 | 0.0062832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6631-16_1_4_line_74 |  | 72 | 74 | 0.00028313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6631-16_1_4_line_75 |  | 73 | 75 | 0.0062626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6631-16_1_4_line_76 |  | 74 | 76 | 0.0051794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6631-16_1_4_line_77 |  | 75 | 77 | 0.0062252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6631-16_1_4_line_78 |  | 76 | 78 | 0.0062639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6631-16_1_4_line_79 |  | 77 | 79 | 0.0062893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6631-16_1_4_line_80 |  | 78 | 85 | 0.0063196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6631-16_1_4_line_81 |  | 80 | 81 | 0.010483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6631-16_1_4_line_82 |  | 80 | 82 | 0.0096844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6631-16_1_4_line_83 |  | 81 | 83 | 0.012798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6631-16_1_4_line_84 |  | 83 | 84 | 0.063853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6631-16_1_4_line_85 |  | 85 | 86 | 0.0062871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6631-16_1_4_line_86 |  | 86 | 88 | 0.0062407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6631-16_1_4_line_87 |  | 87 | 88 | 0.00075707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6631-16_1_4_trafo_40 | 0.63 MVA 20/0.4 kV | 89 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2496506.3141 | 1115457.0655 | 2496511.1688 | 1115448.3214 | 2496514.8706 | 1115448.9251 | 2496517.7833 | 1115449.8982 | 2496522.0241 | 1115452.6719 | 2496524.4062 | 1115449.2623 | 2496528.0324 | 1115444.097 | 2496528.9974 | 1115442.7241 | 2496530.0376 | 1115441.2276 | 2496533.5787 | 1115436.0526 | 2496546.3479 | 1115441.2265
1 | 2496495.1471 | 1115443.5256 | 2496499.3656 | 1115447.2447 | 2496503.7172 | 1115451.0727 | 2496500.5175 | 1115454.0849 | 2496503.0895 | 1115455.464 | 2496506.3141 | 1115457.0655
2 | 2496506.2526 | 1115457.1899 | 2496506.3141 | 1115457.0655
3 | 2496546.3479 | 1115441.2265 | 2496558.3002 | 1115450.9493
4 | 2496470.396 | 1115429.9959 | 2496476.2393 | 1115420.3565 | 2496479.0122 | 1115419.0304 | 2496485.269 | 1115423.1705 | 2496492.7454 | 1115429.9914 | 2496498.4982 | 1115433.562 | 2496498.8552 | 1115435.924 | 2496495.1471 | 1115443.5256
5 | 2496495.1471 | 1115443.5256 | 2496490.6288 | 1115451.2984
6 | 2496498.7603 | 1115472.3488 | 2496506.2526 | 1115457.1899
7 | 2496447.5588 | 1115504.8119 | 2496451.9056 | 1115500.6905
8 | 2496440.7513 | 1115507.7414 | 2496441.7605 | 1115510.3035 | 2496447.5588 | 1115504.8119
9 | 2496447.5588 | 1115504.8119 | 2496440.8168 | 1115501.6475 | 2496411.7952 | 1115488.5692 | 2496400.6133 | 1115484.5081
10 | 2496443.4418 | 1115496.6439 | 2496451.9056 | 1115500.6905
11 | 2496465.0437 | 1115496.741 | 2496459.4202 | 1115501.1734 | 2496457.2564 | 1115501.9887 | 2496455.1384 | 1115501.8693 | 2496451.9056 | 1115500.6905
12 | 2496434.7973 | 1115511.8125 | 2496435.5426 | 1115509.7874 | 2496440.7513 | 1115507.7414
13 | 2496440.7513 | 1115507.7414 | 2496439.0849 | 1115505.1349 | 2496436.4651 | 1115503.223 | 2496414.0071 | 1115493.7815
14 | 2496377.5783 | 1115476.1415 | 2496380.1051 | 1115477.0599 | 2496400.6133 | 1115484.5081
15 | 2496395.9133 | 1115487.2594 | 2496410.7489 | 1115492.4117 | 2496414.0071 | 1115493.7815
16 | 2496465.0437 | 1115496.741 | 2496470.1421 | 1115492.3177 | 2496474.2451 | 1115487.033 | 2496476.9329 | 1115482.78
17 | 2496483.873 | 1115466.6649 | 2496481.3111 | 1115473.0366 | 2496478.2301 | 1115480.7275 | 2496476.9329 | 1115482.78
18 | 2496558.3002 | 1115450.9493 | 2496566.1233 | 1115457.3131
19 | 2496470.396 | 1115429.9959 | 2496461.8862 | 1115424.9911
20 | 2496470.396 | 1115429.9959 | 2496468.0113 | 1115438.6644 | 2496466.0404 | 1115442.4444
21 | 2496490.6288 | 1115451.2984 | 2496490.571 | 1115451.3978 | 2496487.5185 | 1115457.5984 | 2496483.873 | 1115466.6649
22 | 2496588.247 | 1115475.31 | 2496588.7028 | 1115472.1557 | 2496590.9078 | 1115459.5259
23 | 2496588.247 | 1115475.31 | 2496566.1233 | 1115457.3131
24 | 2496591.7219 | 1115448.1889 | 2496592.1916 | 1115452.1723 | 2496590.9078 | 1115459.5259
25 | 2496537.875 | 1115409.1065 | 2496529.5692 | 1115404.3677 | 2496525.364 | 1115402.3272
26 | 2496525.364 | 1115402.3272 | 2496512.2599 | 1115392.4783 | 2496507.2499 | 1115389.3686
27 | 2496537.875 | 1115409.1065 | 2496551.4416 | 1115388.263
28 | 2496537.875 | 1115409.1065 | 2496557.2495 | 1115421.1963
29 | 2496506.4184 | 1115388.8526 | 2496507.2499 | 1115389.3686
30 | 2496453.8261 | 1115420.2509 | 2496460.4772 | 1115407.2733
31 | 2496460.4772 | 1115407.2733 | 2496444.3559 | 1115397.7278
32 | 2496453.8261 | 1115420.2509 | 2496447.4661 | 1115431.3784
33 | 2496453.8261 | 1115420.2509 | 2496461.8862 | 1115424.9911
34 | 2496444.3559 | 1115397.7278 | 2496434.9416 | 1115392.1535
35 | 2496377.5783 | 1115476.1415 | 2496371.8872 | 1115474.0732
36 | 2496591.7219 | 1115448.1889 | 2496587.0511 | 1115444.4626
37 | 2496591.7219 | 1115448.1889 | 2496595.6611 | 1115443.0212
38 | 2496551.4416 | 1115388.263 | 2496556.7461 | 1115380.1134
39 | 2496557.2495 | 1115421.1963 | 2496560.1768 | 1115423.023 | 2496574.5947 | 1115434.5252
40 | 2496494.3429 | 1115381.3576 | 2496506.4184 | 1115388.8526
41 | 2496447.3252 | 1115431.6249 | 2496447.4661 | 1115431.3784
42 | 2496421.5342 | 1115384.215 | 2496434.9416 | 1115392.1535
43 | 2496576.4623 | 1115436.0152 | 2496574.5947 | 1115434.5252
44 | 2496576.4623 | 1115436.0152 | 2496582.473 | 1115440.8103
45 | 2496582.473 | 1115440.8103 | 2496587.0511 | 1115444.4626
46 | 2496556.7461 | 1115380.1134 | 2496564.3281 | 1115368.4645
47 | 2496600.9075 | 1115436.1386 | 2496595.6611 | 1115443.0212
48 | 2496605.5898 | 1115429.996 | 2496600.9075 | 1115436.1386
49 | 2496605.5898 | 1115429.996 | 2496586.6651 | 1115415.1002
50 | 2496605.5898 | 1115429.996 | 2496620.5743 | 1115409.8049 | 2496622.0776 | 1115407.548
51 | 2496622.0776 | 1115407.548 | 2496626.8216 | 1115400.426
52 | 2496626.8216 | 1115400.426 | 2496631.4676 | 1115393.4511
53 | 2496659.0377 | 1115310.6072 | 2496672.5823 | 1115288.8288 | 2496668.482 | 1115282.0834
54 | 2496659.0377 | 1115310.6072 | 2496649.312 | 1115305.5931
55 | 2496659.0377 | 1115310.6072 | 2496668.8594 | 1115317.5184
56 | 2496668.482 | 1115282.0834 | 2496661.2157 | 1115284.3978 | 2496642.633 | 1115275.276 | 2496639.0686 | 1115275.4814 | 2496636.5614 | 1115279.26
57 | 2496649.312 | 1115305.5931 | 2496642.2238 | 1115301.9387
58 | 2496636.5614 | 1115279.26 | 2496636.5614 | 1115279.26 | 2496633.2952 | 1115286.1196
59 | 2496633.2952 | 1115286.1196 | 2496630.9602 | 1115291.0233
60 | 2496494.3429 | 1115381.3576 | 2496486.7041 | 1115376.6163 | 2496483.5418 | 1115374.5588
61 | 2496483.5418 | 1115374.5588 | 2496481.049 | 1115372.9369
62 | 2496464.309 | 1115362.0453 | 2496481.049 | 1115372.9369
63 | 2496446.9602 | 1115350.7575 | 2496464.309 | 1115362.0453
64 | 2496552.6011 | 1115337.2424 | 2496558.0391 | 1115337.7609 | 2496566.7483 | 1115341.2476 | 2496577.517 | 1115348.2014 | 2496564.3281 | 1115368.4645
65 | 2496631.4676 | 1115393.4511 | 2496633.3114 | 1115390.6831
66 | 2496637.2274 | 1115384.8042 | 2496633.3114 | 1115390.6831
67 | 2496641.1225 | 1115378.9566 | 2496641.1225 | 1115378.9566 | 2496637.2274 | 1115384.8042
68 | 2496446.9602 | 1115350.7575 | 2496444.804 | 1115349.3545
69 | 2496641.1225 | 1115378.9566 | 2496644.5667 | 1115378.0417 | 2496649.2155 | 1115378.426
70 | 2496649.2155 | 1115378.426 | 2496653.5241 | 1115339.5642
71 | 2496653.5241 | 1115339.5642 | 2496652.8294 | 1115339.1738
72 | 2496630.9833 | 1115326.8949 | 2496617.4908 | 1115319.3112 | 2496617.4908 | 1115319.3112
73 | 2496636.4607 | 1115329.9735 | 2496630.9833 | 1115326.8949
74 | 2496617.4908 | 1115319.3112 | 2496617.6125 | 1115319.0555
75 | 2496636.4607 | 1115329.9735 | 2496641.92 | 1115333.042
76 | 2496619.8392 | 1115314.3792 | 2496617.6125 | 1115319.0555
77 | 2496647.3468 | 1115336.0922 | 2496641.92 | 1115333.042
78 | 2496619.8392 | 1115314.3792 | 2496622.5321 | 1115308.7236
79 | 2496652.8294 | 1115339.1738 | 2496647.3468 | 1115336.0922
80 | 2496622.5321 | 1115308.7236 | 2496625.2489 | 1115303.0178
81 | 2496537.1902 | 1115328.8894 | 2496543.2157 | 1115328.0859 | 2496547.5036 | 1115329.091
82 | 2496552.6011 | 1115337.2424 | 2496550.3904 | 1115332.6106 | 2496547.5036 | 1115329.091
83 | 2496537.1902 | 1115328.8894 | 2496533.5072 | 1115323.9715 | 2496528.6338 | 1115319.4408 | 2496528.6338 | 1115319.4408
84 | 2496528.6338 | 1115319.4408 | 2496521.1746 | 1115318.6011 | 2496513.3047 | 1115320.8371 | 2496508.984 | 1115319.7213 | 2496499.5742 | 1115313.6562 | 2496490.6577 | 1115311.1515 | 2496482.6443 | 1115312.6784 | 2496471.4213 | 1115322.7628
85 | 2496627.9518 | 1115297.3414 | 2496625.2489 | 1115303.0178
86 | 2496630.6348 | 1115291.7068 | 2496627.9518 | 1115297.3414
87 | 2496630.6348 | 1115291.7068 | 2496630.9602 | 1115291.0233

## bus_geodata
| x | y | coords
0 | 2496506.3141 | 1115457.0655
1 | 2496546.3479 | 1115441.2265
2 | 2496495.1471 | 1115443.5256
3 | 2496506.2526 | 1115457.1899
4 | 2496447.5588 | 1115504.8119
5 | 2496451.9056 | 1115500.6905
6 | 2496440.7513 | 1115507.7414
7 | 2496400.6133 | 1115484.5081
8 | 2496434.7973 | 1115511.8125
9 | 2496414.0071 | 1115493.7815
10 | 2496465.0437 | 1115496.741
11 | 2496476.9329 | 1115482.78
12 | 2496558.3002 | 1115450.9493
13 | 2496470.396 | 1115429.9959
14 | 2496490.6287 | 1115451.2984
15 | 2496588.247 | 1115475.31
16 | 2496590.9078 | 1115459.5259
17 | 2496566.1233 | 1115457.3131
18 | 2496525.364 | 1115402.3272
19 | 2496537.875 | 1115409.1065
20 | 2496507.2499 | 1115389.3686
21 | 2496460.4772 | 1115407.2733
22 | 2496453.8261 | 1115420.2509
23 | 2496444.3559 | 1115397.7278
24 | 2496461.8862 | 1115424.9911
25 | 2496466.0404 | 1115442.4444
26 | 2496498.7603 | 1115472.3488
27 | 2496443.4418 | 1115496.6439
28 | 2496377.5783 | 1115476.1415
29 | 2496395.9133 | 1115487.2594
30 | 2496483.873 | 1115466.6649
31 | 2496591.7219 | 1115448.1889
32 | 2496551.4416 | 1115388.263
33 | 2496557.2495 | 1115421.1963
34 | 2496506.4184 | 1115388.8526
35 | 2496447.4661 | 1115431.3784
36 | 2496434.9416 | 1115392.1535
37 | 2496574.5947 | 1115434.5252
38 | 2496576.4623 | 1115436.0152
39 | 2496582.473 | 1115440.8103
40 | 2496587.0511 | 1115444.4626
41 | 2496556.7461 | 1115380.1134
42 | 2496421.5342 | 1115384.215
43 | 2496595.6611 | 1115443.0212
44 | 2496600.9075 | 1115436.1386
45 | 2496605.5898 | 1115429.996
46 | 2496586.6651 | 1115415.1002
47 | 2496622.0776 | 1115407.548
48 | 2496626.8216 | 1115400.426
49 | 2496659.0377 | 1115310.6072
50 | 2496668.482 | 1115282.0834
51 | 2496649.312 | 1115305.5931
52 | 2496668.8594 | 1115317.5184
53 | 2496636.5614 | 1115279.26
54 | 2496642.2238 | 1115301.9387
55 | 2496633.2952 | 1115286.1196
56 | 2496494.3429 | 1115381.3576
57 | 2496483.5418 | 1115374.5588
58 | 2496481.049 | 1115372.9369
59 | 2496464.309 | 1115362.0453
60 | 2496564.3281 | 1115368.4645
61 | 2496631.4676 | 1115393.4511
62 | 2496633.3114 | 1115390.6831
63 | 2496637.2274 | 1115384.8042
64 | 2496444.804 | 1115349.3545
65 | 2496446.9602 | 1115350.7575
66 | 2496447.3252 | 1115431.6249
67 | 2496371.8872 | 1115474.0732
68 | 2496641.1225 | 1115378.9566
69 | 2496649.2155 | 1115378.426
70 | 2496653.5241 | 1115339.5642
71 | 2496630.9833 | 1115326.8949
72 | 2496617.4908 | 1115319.3112
73 | 2496636.4607 | 1115329.9735
74 | 2496617.6125 | 1115319.0555
75 | 2496641.92 | 1115333.042
76 | 2496619.8392 | 1115314.3792
77 | 2496647.3468 | 1115336.0922
78 | 2496622.5321 | 1115308.7236
79 | 2496652.8294 | 1115339.1738
80 | 2496547.5036 | 1115329.091
81 | 2496537.1902 | 1115328.8894
82 | 2496552.6011 | 1115337.2424
83 | 2496528.6338 | 1115319.4408
84 | 2496471.4213 | 1115322.7628
85 | 2496625.2489 | 1115303.0178
86 | 2496627.9518 | 1115297.3414
87 | 2496630.9602 | 1115291.0233
88 | 2496630.6348 | 1115291.7068
89 | 2496525.364 | 1115402.3272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1