## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6631-17_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_6631-17_1_2_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_6631-17_1_2_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_6631-17_1_2_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_6631-17_1_2_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_6631-17_1_2_node_127 | 0.4 | n |  | TRUE
6 | bus_LV_6631-17_1_2_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_6631-17_1_2_node_151 | 0.4 | n |  | TRUE
8 | bus_LV_6631-17_1_2_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_6631-17_1_2_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_6631-17_1_2_node_133 | 0.4 | n |  | TRUE
11 | bus_LV_6631-17_1_2_node_134 | 0.4 | n |  | TRUE
12 | bus_LV_6631-17_1_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6631-17_1_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6631-17_1_2_node_152 | 0.4 | n |  | TRUE
15 | bus_LV_6631-17_1_2_node_135 | 0.4 | n |  | TRUE
16 | bus_LV_6631-17_1_2_node_136 | 0.4 | n |  | TRUE
17 | bus_LV_6631-17_1_2_node_137 | 0.4 | n |  | TRUE
18 | bus_LV_6631-17_1_2_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_6631-17_1_2_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_6631-17_1_2_node_141 | 0.4 | n |  | TRUE
21 | bus_LV_6631-17_1_2_node_153 | 0.4 | n |  | TRUE
22 | bus_LV_6631-17_1_2_node_139 | 0.4 | n |  | TRUE
23 | bus_LV_6631-17_1_2_node_140 | 0.4 | n |  | TRUE
24 | bus_LV_6631-17_1_2_node_142 | 0.4 | n |  | TRUE
25 | bus_LV_6631-17_1_2_node_143 | 0.4 | n |  | TRUE
26 | bus_LV_6631-17_1_2_node_144 | 0.4 | n |  | TRUE
27 | bus_LV_6631-17_1_2_node_146 | 0.4 | n |  | TRUE
28 | bus_LV_6631-17_1_2_node_147 | 0.4 | n |  | TRUE
29 | bus_LV_6631-17_1_2_node_148 | 0.4 | n |  | TRUE
30 | bus_LV_6631-17_1_2_node_149 | 0.4 | n |  | TRUE
31 | bus_LV_6631-17_1_2_node_155 | 0.4 | n |  | TRUE
32 | bus_LV_6631-17_1_2_node_124 | 0.4 | n |  | TRUE
33 | bus_LV_6631-17_1_2_node_125 | 0.4 | n |  | TRUE
34 | bus_MV_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6631-17_1_2_load_126 | 1 | 0.0014024 | 0.00035149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6631-17_1_2_load_130 | 2 | 0.0006923 | 0.00017351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6631-17_1_2_load_131 | 3 | 0.00069348 | 0.0001738 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6631-17_1_2_load_129 | 4 | 0.00086009 | 0.00021556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6631-17_1_2_load_127 | 5 | 0.00094024 | 0.00023565 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6631-17_1_2_load_150 | 6 | 0.0008694 | 0.00021789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6631-17_1_2_load_151 | 7 | 0.00068936 | 0.00017277 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6631-17_1_2_load_132 | 9 | 0.0013838 | 0.00034681 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6631-17_1_2_load_133 | 10 | 0.0014943 | 0.00037451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6631-17_1_2_load_134 | 11 | 0.0013615 | 0.00034122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6631-17_1_2_load_152 | 14 | 0.0014897 | 0.00037335 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6631-17_1_2_load_135 | 15 | 0.0014201 | 0.0003559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6631-17_1_2_load_136 | 16 | 0.0021884 | 0.00054847 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6631-17_1_2_load_137 | 17 | 0.0017134 | 0.00042941 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6631-17_1_2_load_138 | 18 | 0.0016093 | 0.00040333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6631-17_1_2_load_123 | 19 | 0.0081918 | 0.0020531 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6631-17_1_2_load_141 | 20 | 0.0037376 | 0.00093674 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6631-17_1_2_load_153 | 21 | 0.003036 | 0.0007609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6631-17_1_2_load_139 | 22 | 0.0026409 | 0.00066186 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6631-17_1_2_load_140 | 23 | 0.00043835 | 0.00010986 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6631-17_1_2_load_142 | 24 | 0.0031902 | 0.00079954 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6631-17_1_2_load_143 | 25 | 0.00019224 | 4.8179e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6631-17_1_2_load_144 | 26 | 0.00086675 | 0.00021723 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6631-17_1_2_load_146 | 27 | 0.00068753 | 0.00017231 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6631-17_1_2_load_147 | 28 | 0.00067951 | 0.0001703 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6631-17_1_2_load_148 | 29 | 0.0006846 | 0.00017158 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6631-17_1_2_load_149 | 30 | 0.0014471 | 0.00036267 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6631-17_1_2_load_155 | 31 | 0.0013958 | 0.00034982 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6631-17_1_2_load_124 | 32 | 0.001396 | 0.00034988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6631-17_1_2_load_125 | 33 | 0.00094019 | 0.00023563 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6631-17_1_2_line_0 |  | 0 | 1 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6631-17_1_2_line_1 |  | 0 | 2 | 0.014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6631-17_1_2_line_2 |  | 0 | 3 | 0.01633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6631-17_1_2_line_3 |  | 1 | 32 | 0.0092328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6631-17_1_2_line_4 |  | 2 | 7 | 0.022119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6631-17_1_2_line_5 |  | 3 | 8 | 0.064329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6631-17_1_2_line_6 |  | 4 | 5 | 0.0069537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6631-17_1_2_line_7 |  | 4 | 6 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6631-17_1_2_line_8 |  | 5 | 33 | 0.023004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6631-17_1_2_line_9 |  | 6 | 26 | 0.0062136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6631-17_1_2_line_10 |  | 7 | 31 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6631-17_1_2_line_11 |  | 8 | 12 | 0.43775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6631-17_1_2_line_12 |  | 9 | 10 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6631-17_1_2_line_13 |  | 9 | 11 | 7.7255e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6631-17_1_2_line_14 |  | 10 | 15 | 0.0093853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6631-17_1_2_line_15 |  | 11 | 16 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6631-17_1_2_line_16 |  | 12 | 13 | 0.56559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6631-17_1_2_line_17 |  | 12 | 14 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6631-17_1_2_line_18 |  | 13 | 19 | 0.0081906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6631-17_1_2_line_19 |  | 15 | 17 | 0.0026462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6631-17_1_2_line_20 |  | 16 | 18 | 0.0023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6631-17_1_2_line_21 |  | 17 | 20 | 0.01065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6631-17_1_2_line_22 |  | 18 | 21 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6631-17_1_2_line_23 |  | 20 | 22 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6631-17_1_2_line_24 |  | 22 | 23 | 0.019145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6631-17_1_2_line_25 |  | 23 | 24 | 0.0044213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6631-17_1_2_line_26 |  | 24 | 25 | 0.040432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6631-17_1_2_line_27 |  | 25 | 26 | 0.022979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6631-17_1_2_line_28 |  | 27 | 28 | 0.0012578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6631-17_1_2_line_29 |  | 28 | 29 | 0.0061465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6631-17_1_2_line_30 |  | 29 | 30 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6631-17_1_2_line_31 |  | 30 | 31 | 0.0002489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6631-17_1_2_line_32 |  | 32 | 33 | 0.028492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6631-17_1_2_trafo_134 | 0.63 MVA 20/0.4 kV | 34 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54
0 | 2496252.1914 | 1115990.1 | 2496257.3426 | 1115983.83 | 2496263.0157 | 1115976.9283
1 | 2496252.1914 | 1115990.1 | 2496248.0845 | 1115983.8665 | 2496247.1569 | 1115982.4593 | 2496242.9508 | 1115978.3963
2 | 2496252.1914 | 1115990.1 | 2496241.2511 | 1116002.2233
3 | 2496263.0157 | 1115976.9283 | 2496263.8099 | 1115975.9585 | 2496269.743 | 1115970.623
4 | 2496242.9508 | 1115978.3963 | 2496233.1565 | 1115968.9351 | 2496226.7219 | 1115963.3792
5 | 2496205.6631 | 1116055.6062 | 2496226.7226 | 1116020.6117 | 2496233.3072 | 1116011.026 | 2496241.2511 | 1116002.2233
6 | 2496308.1184 | 1115928.964 | 2496304.6515 | 1115934.9918
7 | 2496308.1184 | 1115928.964 | 2496315.045 | 1115916.9207 | 2496317.5292 | 1115913.6316 | 2496319.1705 | 1115910.9117
8 | 2496304.6515 | 1115934.9918 | 2496303.1748 | 1115937.5595 | 2496294.6665 | 1115950.7025 | 2496292.0048 | 1115954.1875
9 | 2496319.1705 | 1115910.9117 | 2496322.3809 | 1115905.5918
10 | 2496218.6823 | 1115956.4374 | 2496226.7219 | 1115963.3792
11 | 2496205.6631 | 1116055.6062 | 2496196.1303 | 1116057.6266 | 2496184.3188 | 1116057.8071 | 2496174.0533 | 1116057.6275 | 2496164.748 | 1116056.253 | 2496133.7192 | 1116048.4916 | 2496131.8031 | 1116047.9797 | 2496112.2013 | 1116042.3793 | 2496106.6701 | 1116047.6442 | 2496103.9567 | 1116045.2226 | 2496102.3334 | 1116043.7718 | 2496100.2885 | 1116041.1608 | 2496099.2922 | 1116037.5533 | 2496097.9834 | 1116031.0383 | 2496097.3073 | 1116024.0455 | 2496097.7974 | 1116012.5742 | 2496098.5099 | 1116004.6013 | 2496098.2353 | 1115999.4027 | 2496097.3684 | 1115994.7925 | 2496087.2321 | 1115963.9357 | 2496085.8686 | 1115957.3883 | 2496086.1744 | 1115952.7134 | 2496090.4942 | 1115938.0632 | 2496093.6969 | 1115931.6597 | 2496097.4915 | 1115925.991 | 2496109.9796 | 1115910.3444 | 2496121.5873 | 1115896.9366 | 2496151.3405 | 1115866.3398 | 2496161.3408 | 1115854.6497 | 2496178.1771 | 1115833.1694 | 2496188.0356 | 1115820.8591 | 2496196.2243 | 1115812.9469 | 2496204.8785 | 1115806.5055 | 2496212.8025 | 1115801.6109 | 2496219.3214 | 1115798.0858 | 2496225.2022 | 1115795.6278 | 2496228.119 | 1115793.6988 | 2496231.4632 | 1115794.1751 | 2496233.8506 | 1115794.2453 | 2496238.9448 | 1115792.3012 | 2496244.7513 | 1115789.1107
12 | 2496238.15 | 1115873.8112 | 2496238.15 | 1115873.8112 | 2496239.2061 | 1115871.0024 | 2496247.0839 | 1115860.5415
13 | 2496238.15 | 1115873.8112 | 2496238.1709 | 1115873.8856
14 | 2496252.7297 | 1115853.0443 | 2496247.0839 | 1115860.5415
15 | 2496238.1709 | 1115873.8856 | 2496238.7093 | 1115875.8029 | 2496240.3249 | 1115878.5992 | 2496242.2531 | 1115880.7119 | 2496252.6638 | 1115889.6645
16 | 2495832.4699 | 1115842.6603 | 2495834.0511 | 1115843.4447 | 2495836.5934 | 1115846.236 | 2495840.6823 | 1115844.6646 | 2495844.9286 | 1115841.9231 | 2495849.3476 | 1115837.5443 | 2495852.6226 | 1115833.1073 | 2495856.6594 | 1115825.8221 | 2495861.5928 | 1115814.5411 | 2495863.4576 | 1115810.273 | 2495868.8813 | 1115797.8718 | 2495880.0138 | 1115773.9205 | 2495887.2368 | 1115758.3752 | 2495894.0361 | 1115745.5723 | 2495899.6505 | 1115748.7333 | 2495903.8827 | 1115748.3047 | 2495908.9893 | 1115747.0828 | 2495912.271 | 1115745.2696 | 2495915.516 | 1115740.8777 | 2495920.2414 | 1115744.8767 | 2495924.704 | 1115748.4134 | 2495928.1533 | 1115753.2015 | 2495931.6378 | 1115749.2613 | 2495934.5579 | 1115747.0764 | 2495940.2138 | 1115745.467 | 2495963.0249 | 1115742.2839 | 2496040.3848 | 1115733.6046 | 2496048.7349 | 1115731.9379 | 2496054.1874 | 1115730.6212 | 2496056.9435 | 1115729.6733 | 2496059.9582 | 1115727.1532 | 2496088.0004 | 1115719.6447 | 2496108.4182 | 1115714.691 | 2496124.3115 | 1115709.337 | 2496145.4929 | 1115704.3259 | 2496155.757 | 1115699.8914 | 2496166.9334 | 1115692.8173 | 2496174.9643 | 1115689.6442 | 2496179.0702 | 1115688.6064 | 2496181.5738 | 1115689.1416 | 2496183.556 | 1115690.7975 | 2496185.7417 | 1115693.9621 | 2496191.104 | 1115705.3885 | 2496198.663 | 1115723.3147 | 2496204.8153 | 1115740.2755 | 2496211.775 | 1115749.3842 | 2496227.9311 | 1115784.9965 | 2496228.8021 | 1115787.6054 | 2496229.1242 | 1115790.6241 | 2496228.7222 | 1115792.3988 | 2496228.119 | 1115793.6988 | 2496231.4632 | 1115794.1751 | 2496233.8506 | 1115794.2453 | 2496238.9448 | 1115792.3012 | 2496244.7513 | 1115789.1107
17 | 2496244.7513 | 1115789.1107 | 2496251.5546 | 1115793.1634 | 2496255.9817 | 1115794.6855
18 | 2495832.4699 | 1115842.6603 | 2495825.1446 | 1115838.9962
19 | 2496252.7297 | 1115853.0443 | 2496254.3216 | 1115850.9305
20 | 2496254.4455 | 1115891.1966 | 2496252.6638 | 1115889.6645
21 | 2496264.0835 | 1115849.2436 | 2496262.3278 | 1115848.5806 | 2496259.5889 | 1115848.2718 | 2496256.7985 | 1115849.0201 | 2496254.3216 | 1115850.9305 | 2496254.3216 | 1115850.9305
22 | 2496266.0422 | 1115904.8639 | 2496258.3518 | 1115894.5558 | 2496254.4455 | 1115891.1966
23 | 2496277.881 | 1115859.2116 | 2496265.1726 | 1115849.6548 | 2496264.0835 | 1115849.2436
24 | 2496277.881 | 1115859.2116 | 2496281.2177 | 1115861.7208 | 2496293.1667 | 1115870.7391
25 | 2496293.1667 | 1115870.7391 | 2496296.6957 | 1115873.4026
26 | 2496334.0797 | 1115885.8193 | 2496326.9575 | 1115885.2298 | 2496317.0227 | 1115884.0882 | 2496310.2372 | 1115882.4145 | 2496303.3423 | 1115878.419 | 2496296.6957 | 1115873.4026
27 | 2496334.0797 | 1115885.8193 | 2496332.9964 | 1115887.9392 | 2496326.7425 | 1115898.3641 | 2496322.3809 | 1115905.5918
28 | 2496201.3493 | 1115970.4824 | 2496202.1919 | 1115969.5484
29 | 2496202.1919 | 1115969.5484 | 2496206.3091 | 1115964.9846
30 | 2496218.4939 | 1115956.2748 | 2496216.0614 | 1115954.1744 | 2496206.3091 | 1115964.9846
31 | 2496218.4939 | 1115956.2748 | 2496218.6823 | 1115956.4374
32 | 2496269.743 | 1115970.623 | 2496276.9052 | 1115964.1821 | 2496287.1895 | 1115960.4924 | 2496292.0048 | 1115954.1875

## bus_geodata
| x | y | coords
0 | 2496252.1914 | 1115990.1
1 | 2496263.0157 | 1115976.9283
2 | 2496242.9508 | 1115978.3963
3 | 2496241.2511 | 1116002.2233
4 | 2496308.1184 | 1115928.964
5 | 2496304.6515 | 1115934.9918
6 | 2496319.1705 | 1115910.9117
7 | 2496226.7219 | 1115963.3792
8 | 2496205.6631 | 1116055.6062
9 | 2496238.15 | 1115873.8112
10 | 2496247.0839 | 1115860.5415
11 | 2496238.1709 | 1115873.8856
12 | 2496244.7513 | 1115789.1107
13 | 2495832.4699 | 1115842.6603
14 | 2496255.9817 | 1115794.6855
15 | 2496252.7297 | 1115853.0443
16 | 2496252.6638 | 1115889.6645
17 | 2496254.3216 | 1115850.9305
18 | 2496254.4455 | 1115891.1966
19 | 2495825.1446 | 1115838.9962
20 | 2496264.0835 | 1115849.2436
21 | 2496266.0422 | 1115904.8639
22 | 2496277.881 | 1115859.2116
23 | 2496293.1667 | 1115870.7391
24 | 2496296.6957 | 1115873.4026
25 | 2496334.0797 | 1115885.8193
26 | 2496322.3809 | 1115905.5918
27 | 2496201.3493 | 1115970.4824
28 | 2496202.1919 | 1115969.5484
29 | 2496206.3091 | 1115964.9846
30 | 2496218.4939 | 1115956.2747
31 | 2496218.6823 | 1115956.4374
32 | 2496269.743 | 1115970.623
33 | 2496292.0048 | 1115954.1875
34 | 2496238.1709 | 1115873.8856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1