## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6631-20_2_3_node_74 | 0.4 | n |  | TRUE
1 | bus_LV_6631-20_2_3_node_76 | 0.4 | n |  | TRUE
2 | bus_LV_6631-20_2_3_node_155 | 0.4 | n |  | TRUE
3 | bus_LV_6631-20_2_3_node_115 | 0.4 | n |  | TRUE
4 | bus_LV_6631-20_2_3_node_157 | 0.4 | n |  | TRUE
5 | bus_LV_6631-20_2_3_node_110 | 0.4 | n |  | TRUE
6 | bus_LV_6631-20_2_3_node_111 | 0.4 | n |  | TRUE
7 | bus_LV_6631-20_2_3_node_112 | 0.4 | n |  | TRUE
8 | bus_LV_6631-20_2_3_node_113 | 0.4 | n |  | TRUE
9 | bus_LV_6631-20_2_3_node_178 | 0.4 | n |  | TRUE
10 | bus_LV_6631-20_2_3_node_114 | 0.4 | n |  | TRUE
11 | bus_LV_6631-20_2_3_node_182 | 0.4 | n |  | TRUE
12 | bus_LV_6631-20_2_3_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_6631-20_2_3_node_152 | 0.4 | n |  | TRUE
14 | bus_LV_6631-20_2_3_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_6631-20_2_3_node_119 | 0.4 | n |  | TRUE
16 | bus_LV_6631-20_2_3_node_120 | 0.4 | n |  | TRUE
17 | bus_LV_6631-20_2_3_node_121 | 0.4 | n |  | TRUE
18 | bus_LV_6631-20_2_3_node_122 | 0.4 | n |  | TRUE
19 | bus_LV_6631-20_2_3_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_6631-20_2_3_node_124 | 0.4 | n |  | TRUE
21 | bus_LV_6631-20_2_3_node_127 | 0.4 | n |  | TRUE
22 | bus_LV_6631-20_2_3_node_128 | 0.4 | n |  | TRUE
23 | bus_LV_6631-20_2_3_node_129 | 0.4 | n |  | TRUE
24 | bus_LV_6631-20_2_3_node_130 | 0.4 | n |  | TRUE
25 | bus_LV_6631-20_2_3_node_131 | 0.4 | n |  | TRUE
26 | bus_LV_6631-20_2_3_node_132 | 0.4 | n |  | TRUE
27 | bus_LV_6631-20_2_3_node_133 | 0.4 | n |  | TRUE
28 | bus_LV_6631-20_2_3_node_151 | 0.4 | n |  | TRUE
29 | bus_LV_6631-20_2_3_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_6631-20_2_3_node_134 | 0.4 | n |  | TRUE
31 | bus_LV_6631-20_2_3_node_135 | 0.4 | n |  | TRUE
32 | bus_LV_6631-20_2_3_node_137 | 0.4 | n |  | TRUE
33 | bus_LV_6631-20_2_3_node_139 | 0.4 | n |  | TRUE
34 | bus_LV_6631-20_2_3_node_140 | 0.4 | n |  | TRUE
35 | bus_LV_6631-20_2_3_node_189 | 0.4 | n |  | TRUE
36 | bus_LV_6631-20_2_3_node_207 | 0.4 | n |  | TRUE
37 | bus_LV_6631-20_2_3_node_176 | 0.4 | n |  | TRUE
38 | bus_LV_6631-20_2_3_node_141 | 0.4 | n |  | TRUE
39 | bus_LV_6631-20_2_3_node_195 | 0.4 | n |  | TRUE
40 | bus_LV_6631-20_2_3_node_196 | 0.4 | n |  | TRUE
41 | bus_LV_6631-20_2_3_node_142 | 0.4 | n |  | TRUE
42 | bus_LV_6631-20_2_3_node_193 | 0.4 | n |  | TRUE
43 | bus_LV_6631-20_2_3_node_210 | 0.4 | n |  | TRUE
44 | bus_LV_6631-20_2_3_node_143 | 0.4 | n |  | TRUE
45 | bus_LV_6631-20_2_3_node_144 | 0.4 | n |  | TRUE
46 | bus_LV_6631-20_2_3_node_145 | 0.4 | n |  | TRUE
47 | bus_LV_6631-20_2_3_node_146 | 0.4 | n |  | TRUE
48 | bus_LV_6631-20_2_3_node_148 | 0.4 | n |  | TRUE
49 | bus_LV_6631-20_2_3_node_149 | 0.4 | n |  | TRUE
50 | bus_LV_6631-20_2_3_node_150 | 0.4 | n |  | TRUE
51 | bus_LV_6631-20_2_3_node_158 | 0.4 | n |  | TRUE
52 | bus_LV_6631-20_2_3_node_183 | 0.4 | n |  | TRUE
53 | bus_LV_6631-20_2_3_node_173 | 0.4 | n |  | TRUE
54 | bus_LV_6631-20_2_3_node_153 | 0.4 | n |  | TRUE
55 | bus_LV_6631-20_2_3_node_154 | 0.4 | n |  | TRUE
56 | bus_LV_6631-20_2_3_node_156 | 0.4 | n |  | TRUE
57 | bus_LV_6631-20_2_3_node_174 | 0.4 | n |  | TRUE
58 | bus_LV_6631-20_2_3_node_159 | 0.4 | n |  | TRUE
59 | bus_LV_6631-20_2_3_node_160 | 0.4 | n |  | TRUE
60 | bus_LV_6631-20_2_3_node_161 | 0.4 | n |  | TRUE
61 | bus_LV_6631-20_2_3_node_162 | 0.4 | n |  | TRUE
62 | bus_LV_6631-20_2_3_node_163 | 0.4 | n |  | TRUE
63 | bus_LV_6631-20_2_3_node_198 | 0.4 | n |  | TRUE
64 | bus_LV_6631-20_2_3_node_200 | 0.4 | n |  | TRUE
65 | bus_LV_6631-20_2_3_node_164 | 0.4 | n |  | TRUE
66 | bus_LV_6631-20_2_3_node_165 | 0.4 | n |  | TRUE
67 | bus_LV_6631-20_2_3_node_166 | 0.4 | n |  | TRUE
68 | bus_LV_6631-20_2_3_node_167 | 0.4 | n |  | TRUE
69 | bus_LV_6631-20_2_3_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_6631-20_2_3_node_169 | 0.4 | n |  | TRUE
71 | bus_LV_6631-20_2_3_node_170 | 0.4 | n |  | TRUE
72 | bus_LV_6631-20_2_3_node_171 | 0.4 | n |  | TRUE
73 | bus_LV_6631-20_2_3_node_172 | 0.4 | n |  | TRUE
74 | bus_LV_6631-20_2_3_node_194 | 0.4 | n |  | TRUE
75 | bus_LV_6631-20_2_3_node_185 | 0.4 | n |  | TRUE
76 | bus_LV_6631-20_2_3_node_175 | 0.4 | n |  | TRUE
77 | bus_LV_6631-20_2_3_node_179 | 0.4 | n |  | TRUE
78 | bus_LV_6631-20_2_3_node_180 | 0.4 | n |  | TRUE
79 | bus_LV_6631-20_2_3_node_181 | 0.4 | n |  | TRUE
80 | bus_LV_6631-20_2_3_node_199 | 0.4 | n |  | TRUE
81 | bus_LV_6631-20_2_3_node_186 | 0.4 | n |  | TRUE
82 | bus_LV_6631-20_2_3_node_187 | 0.4 | n |  | TRUE
83 | bus_LV_6631-20_2_3_node_188 | 0.4 | n |  | TRUE
84 | bus_LV_6631-20_2_3_node_191 | 0.4 | n |  | TRUE
85 | bus_LV_6631-20_2_3_node_192 | 0.4 | n |  | TRUE
86 | bus_LV_6631-20_2_3_node_197 | 0.4 | n |  | TRUE
87 | bus_LV_6631-20_2_3_node_208 | 0.4 | n |  | TRUE
88 | bus_LV_6631-20_2_3_node_206 | 0.4 | n |  | TRUE
89 | bus_LV_6631-20_2_3_node_201 | 0.4 | n |  | TRUE
90 | bus_LV_6631-20_2_3_node_202 | 0.4 | n |  | TRUE
91 | bus_LV_6631-20_2_3_node_203 | 0.4 | n |  | TRUE
92 | bus_LV_6631-20_2_3_node_204 | 0.4 | n |  | TRUE
93 | bus_LV_6631-20_2_3_node_205 | 0.4 | n |  | TRUE
94 | bus_LV_6631-20_2_3_node_209 | 0.4 | n |  | TRUE
95 | bus_MV_666_1_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6631-20_2_3_load_76 | 1 | 0.00075648 | 0.00018959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6631-20_2_3_load_155 | 2 | 0.00072316 | 0.00018124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6631-20_2_3_load_115 | 3 | 0.00074411 | 0.00018649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6631-20_2_3_load_157 | 4 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6631-20_2_3_load_110 | 5 | 0.0018591 | 0.00046593 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6631-20_2_3_load_111 | 6 | 0.0025895 | 0.000649 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6631-20_2_3_load_112 | 7 | 0.0011722 | 0.00029377 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6631-20_2_3_load_113 | 8 | 0.0010608 | 0.00026585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6631-20_2_3_load_178 | 9 | 0.0017097 | 0.0004285 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6631-20_2_3_load_114 | 10 | 0.00074853 | 0.0001876 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6631-20_2_3_load_182 | 11 | 0.001334 | 0.00033433 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6631-20_2_3_load_152 | 13 | 0.00041866 | 0.00010493 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6631-20_2_3_load_118 | 14 | 0.0016323 | 0.0004091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6631-20_2_3_load_119 | 15 | 0.00078009 | 0.00019551 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6631-20_2_3_load_120 | 16 | 0.00057589 | 0.00014433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6631-20_2_3_load_121 | 17 | 0.00077709 | 0.00019476 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6631-20_2_3_load_122 | 18 | 0.0010848 | 0.00027189 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6631-20_2_3_load_123 | 19 | 0.0093394 | 0.0023407 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6631-20_2_3_load_124 | 20 | 0.00095607 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6631-20_2_3_load_127 | 21 | 0.0014716 | 0.00036882 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6631-20_2_3_load_128 | 22 | 0.00077842 | 0.00019509 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6631-20_2_3_load_129 | 23 | 0.0010073 | 0.00025246 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6631-20_2_3_load_130 | 24 | 0.00097586 | 0.00024457 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6631-20_2_3_load_131 | 25 | 0.0016261 | 0.00040753 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6631-20_2_3_load_132 | 26 | 0.0023071 | 0.00057821 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6631-20_2_3_load_133 | 27 | 0.0019614 | 0.00049156 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6631-20_2_3_load_151 | 28 | 0.0010818 | 0.00027113 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6631-20_2_3_load_147 | 29 | 0.0012501 | 0.00031331 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6631-20_2_3_load_134 | 30 | 0.00065901 | 0.00016516 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6631-20_2_3_load_135 | 31 | 0.00048549 | 0.00012168 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6631-20_2_3_load_139 | 33 | 0.0011147 | 0.00027938 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6631-20_2_3_load_189 | 35 | 0.0023874 | 0.00059833 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6631-20_2_3_load_207 | 36 | 0.0011493 | 0.00028805 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6631-20_2_3_load_176 | 37 | 0.0038617 | 0.00096784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6631-20_2_3_load_195 | 39 | 0.0059067 | 0.0014804 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6631-20_2_3_load_196 | 40 | 0.0017506 | 0.00043874 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6631-20_2_3_load_193 | 42 | 0.0022487 | 0.00056357 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6631-20_2_3_load_210 | 43 | 0.010454 | 0.0026199 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6631-20_2_3_load_143 | 44 | 0.0031008 | 0.00077714 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6631-20_2_3_load_144 | 45 | 0.0016265 | 0.00040765 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6631-20_2_3_load_146 | 47 | 0.0016685 | 0.00041816 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6631-20_2_3_load_148 | 48 | 0.0012281 | 0.00030778 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6631-20_2_3_load_149 | 49 | 0.0024615 | 0.00061692 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6631-20_2_3_load_150 | 50 | 0.0011473 | 0.00028754 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6631-20_2_3_load_158 | 51 | 0.0034687 | 0.00086933 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6631-20_2_3_load_183 | 52 | 0.0011427 | 0.00028639 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6631-20_2_3_load_173 | 53 | 0.00095022 | 0.00023815 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6631-20_2_3_load_153 | 54 | 0.00072274 | 0.00018114 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6631-20_2_3_load_154 | 55 | 0.00072437 | 0.00018154 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6631-20_2_3_load_156 | 56 | 0.00042499 | 0.00010651 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6631-20_2_3_load_174 | 57 | 0.00072901 | 0.00018271 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6631-20_2_3_load_160 | 59 | 0.0024159 | 0.00060547 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6631-20_2_3_load_161 | 60 | 0.0035279 | 0.00088417 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6631-20_2_3_load_162 | 61 | 0.0020627 | 0.00051697 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6631-20_2_3_load_163 | 62 | 0.0013986 | 0.00035052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6631-20_2_3_load_198 | 63 | 0.00393 | 0.00098495 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6631-20_2_3_load_200 | 64 | 0.00094759 | 0.00023749 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6631-20_2_3_load_164 | 65 | 0.0029064 | 0.00072841 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6631-20_2_3_load_165 | 66 | 0.0053786 | 0.001348 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6631-20_2_3_load_166 | 67 | 0.0019446 | 0.00048735 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6631-20_2_3_load_167 | 68 | 0.0078231 | 0.0019607 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6631-20_2_3_load_168 | 69 | 0.0032508 | 0.00081472 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6631-20_2_3_load_169 | 70 | 0.0042824 | 0.0010733 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6631-20_2_3_load_170 | 71 | 0.0018363 | 0.00046023 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6631-20_2_3_load_171 | 72 | 0.0022129 | 0.00055461 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6631-20_2_3_load_194 | 74 | 0.0016685 | 0.00041817 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6631-20_2_3_load_185 | 75 | 0.00079306 | 0.00019876 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6631-20_2_3_load_175 | 76 | 0.0012384 | 0.00031037 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6631-20_2_3_load_179 | 77 | 0.0010938 | 0.00027412 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6631-20_2_3_load_180 | 78 | 0.0011615 | 0.00029109 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6631-20_2_3_load_181 | 79 | 0.0018613 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6631-20_2_3_load_199 | 80 | 0.0015201 | 0.00038098 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6631-20_2_3_load_186 | 81 | 0.00080481 | 0.0002017 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6631-20_2_3_load_187 | 82 | 0.0056372 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6631-20_2_3_load_188 | 83 | 0.0025795 | 0.00064648 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6631-20_2_3_load_191 | 84 | 0.0051818 | 0.0012987 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6631-20_2_3_load_192 | 85 | 0.0031433 | 0.00078778 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6631-20_2_3_load_208 | 87 | 0.0011444 | 0.00028681 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6631-20_2_3_load_206 | 88 | 0.008904 | 0.0022316 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6631-20_2_3_load_201 | 89 | 0.0022716 | 0.00056932 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6631-20_2_3_load_202 | 90 | 0.0020593 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6631-20_2_3_load_203 | 91 | 0.0015958 | 0.00039996 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6631-20_2_3_load_204 | 92 | 0.00083381 | 0.00020897 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6631-20_2_3_load_209 | 94 | 0.0011171 | 0.00027996 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6631-20_2_3_line_0 |  | 0 | 1 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6631-20_2_3_line_1 |  | 0 | 2 | 0.024303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6631-20_2_3_line_2 |  | 1 | 3 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6631-20_2_3_line_3 |  | 1 | 4 | 0.0073278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6631-20_2_3_line_4 |  | 2 | 12 | 0.025701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6631-20_2_3_line_5 |  | 3 | 10 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6631-20_2_3_line_6 |  | 5 | 6 | 0.0066844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6631-20_2_3_line_7 |  | 6 | 7 | 0.010299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6631-20_2_3_line_8 |  | 7 | 8 | 0.0014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6631-20_2_3_line_9 |  | 8 | 9 | 0.0014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6631-20_2_3_line_10 |  | 9 | 77 | 0.00053345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6631-20_2_3_line_11 |  | 10 | 11 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6631-20_2_3_line_12 |  | 11 | 20 | 0.0045143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6631-20_2_3_line_13 |  | 12 | 13 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6631-20_2_3_line_14 |  | 13 | 54 | 0.0051188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6631-20_2_3_line_15 |  | 14 | 15 | 0.014164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6631-20_2_3_line_16 |  | 14 | 16 | 0.0017578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6631-20_2_3_line_17 |  | 15 | 17 | 0.0065627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6631-20_2_3_line_18 |  | 16 | 18 | 0.005651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6631-20_2_3_line_19 |  | 17 | 19 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6631-20_2_3_line_20 |  | 18 | 20 | 0.038259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6631-20_2_3_line_21 |  | 21 | 22 | 0.0029771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6631-20_2_3_line_22 |  | 21 | 23 | 0.022098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6631-20_2_3_line_23 |  | 22 | 24 | 0.0013195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6631-20_2_3_line_24 |  | 23 | 25 | 0.0019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6631-20_2_3_line_25 |  | 24 | 26 | 0.0043219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6631-20_2_3_line_26 |  | 25 | 27 | 0.005437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6631-20_2_3_line_27 |  | 26 | 28 | 0.0069197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6631-20_2_3_line_28 |  | 27 | 29 | 0.029095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6631-20_2_3_line_29 |  | 28 | 53 | 0.0046641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6631-20_2_3_line_30 |  | 29 | 46 | 0.0046701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6631-20_2_3_line_31 |  | 30 | 31 | 0.036357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6631-20_2_3_line_32 |  | 31 | 32 | 0.050699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6631-20_2_3_line_33 |  | 32 | 33 | 0.0039664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6631-20_2_3_line_34 |  | 32 | 34 | 0.017343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6631-20_2_3_line_35 |  | 33 | 35 | 0.011469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6631-20_2_3_line_36 |  | 34 | 36 | 0.02385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6631-20_2_3_line_37 |  | 34 | 37 | 0.0057597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6631-20_2_3_line_38 |  | 36 | 87 | 0.0078953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6631-20_2_3_line_39 |  | 37 | 76 | 0.0030427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6631-20_2_3_line_40 |  | 38 | 39 | 0.038353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6631-20_2_3_line_41 |  | 38 | 40 | 0.037016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6631-20_2_3_line_42 |  | 38 | 41 | 0.037791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6631-20_2_3_line_43 |  | 38 | 42 | 0.020345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6631-20_2_3_line_44 |  | 39 | 86 | 0.055081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6631-20_2_3_line_45 |  | 40 | 87 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6631-20_2_3_line_46 |  | 41 | 43 | 0.040016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6631-20_2_3_line_47 |  | 42 | 84 | 0.012689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6631-20_2_3_line_48 |  | 43 | 94 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6631-20_2_3_line_49 |  | 44 | 45 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6631-20_2_3_line_50 |  | 44 | 46 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6631-20_2_3_line_51 |  | 45 | 47 | 9.1213e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6631-20_2_3_line_52 |  | 46 | 48 | 0.0056669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6631-20_2_3_line_53 |  | 47 | 49 | 0.0043185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6631-20_2_3_line_54 |  | 48 | 50 | 0.025512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6631-20_2_3_line_55 |  | 49 | 51 | 0.035407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6631-20_2_3_line_56 |  | 50 | 52 | 0.004872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6631-20_2_3_line_57 |  | 51 | 58 | 0.025038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6631-20_2_3_line_58 |  | 53 | 75 | 0.0011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6631-20_2_3_line_59 |  | 54 | 55 | 0.0079742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6631-20_2_3_line_60 |  | 55 | 56 | 0.0017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6631-20_2_3_line_61 |  | 56 | 57 | 0.0062021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6631-20_2_3_line_62 |  | 57 | 76 | 0.031401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6631-20_2_3_line_63 |  | 58 | 59 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6631-20_2_3_line_64 |  | 58 | 60 | 0.0082504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6631-20_2_3_line_65 |  | 59 | 61 | 0.0086414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6631-20_2_3_line_66 |  | 60 | 62 | 0.0062361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6631-20_2_3_line_67 |  | 61 | 63 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6631-20_2_3_line_68 |  | 62 | 64 | 0.0050487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6631-20_2_3_line_69 |  | 63 | 80 | 0.036086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6631-20_2_3_line_70 |  | 64 | 73 | 0.03278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6631-20_2_3_line_71 |  | 65 | 66 | 0.0022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6631-20_2_3_line_72 |  | 65 | 67 | 0.025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6631-20_2_3_line_73 |  | 66 | 68 | 0.010505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6631-20_2_3_line_74 |  | 67 | 69 | 0.039111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6631-20_2_3_line_75 |  | 69 | 70 | 0.0011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6631-20_2_3_line_76 |  | 70 | 71 | 0.035852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_6631-20_2_3_line_77 |  | 71 | 72 | 0.0049844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_6631-20_2_3_line_78 |  | 72 | 73 | 0.017021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6631-20_2_3_line_79 |  | 73 | 74 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6631-20_2_3_line_80 |  | 74 | 85 | 0.034804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6631-20_2_3_line_81 |  | 75 | 81 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6631-20_2_3_line_82 |  | 77 | 78 | 0.0033426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6631-20_2_3_line_83 |  | 78 | 79 | 0.0033172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6631-20_2_3_line_84 |  | 79 | 80 | 0.0034978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6631-20_2_3_line_85 |  | 81 | 82 | 0.0033308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6631-20_2_3_line_86 |  | 82 | 83 | 0.0060362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6631-20_2_3_line_87 |  | 84 | 85 | 0.022392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6631-20_2_3_line_88 |  | 86 | 88 | 0.013627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6631-20_2_3_line_89 |  | 88 | 93 | 0.027554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6631-20_2_3_line_90 |  | 89 | 90 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6631-20_2_3_line_91 |  | 90 | 91 | 0.014807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6631-20_2_3_line_92 |  | 91 | 92 | 0.0042674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6631-20_2_3_line_93 |  | 92 | 93 | 0.012783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6631-20_2_3_trafo_169 | 0.63 MVA 20/0.4 kV | 95 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2497221.172 | 1115061.7443 | 2497227.8143 | 1115063.5882 | 2497235.5007 | 1115065.0587 | 2497241.7087 | 1115064.9754 | 2497245.6803 | 1115062.8178 | 2497247.6268 | 1115059.1935 | 2497248.8111 | 1115055.1834
1 | 2497233.2642 | 1115082.8257 | 2497221.172 | 1115061.7443
2 | 2497248.8111 | 1115055.1834 | 2497251.9067 | 1115044.7016
3 | 2497255.7639 | 1115057.4975 | 2497248.8111 | 1115055.1834
4 | 2497226.1802 | 1115107.4104 | 2497230.1699 | 1115089.9538 | 2497231.1565 | 1115087.1131 | 2497232.5923 | 1115083.8867 | 2497233.2642 | 1115082.8257
5 | 2497255.7875 | 1115031.5613 | 2497251.9067 | 1115044.7016
6 | 2497513.3429 | 1114914.1264 | 2497516.7591 | 1114908.381
7 | 2497508.0794 | 1114922.9785 | 2497513.3429 | 1114914.1264
8 | 2497508.0794 | 1114922.9785 | 2497507.3189 | 1114924.2576
9 | 2497507.3189 | 1114924.2576 | 2497506.5638 | 1114925.5276
10 | 2497506.5638 | 1114925.5276 | 2497506.2911 | 1114925.9861
11 | 2497267.8232 | 1115013.49 | 2497255.7875 | 1115031.5613
12 | 2497268.9471 | 1115009.1179 | 2497267.8232 | 1115013.49
13 | 2497226.1802 | 1115107.4104 | 2497243.9265 | 1115111.7893
14 | 2497248.8963 | 1115113.0156 | 2497243.9265 | 1115111.7893
15 | 2497280.4273 | 1114964.9174 | 2497284.0649 | 1114951.2285
16 | 2497280.4273 | 1114964.9174 | 2497279.9759 | 1114966.6162
17 | 2497285.7503 | 1114944.8859 | 2497284.0649 | 1114951.2285
18 | 2497278.5246 | 1114972.0776 | 2497279.9759 | 1114966.6162
19 | 2497288.4393 | 1114934.7664 | 2497285.7503 | 1114944.8859
20 | 2497268.9471 | 1115009.1179 | 2497276.8025 | 1114978.5583 | 2497278.5246 | 1114972.0776
21 | 2497415.9366 | 1114872.3637 | 2497417.4322 | 1114869.7895
22 | 2497415.9366 | 1114872.3637 | 2497404.8353 | 1114891.4712
23 | 2497417.4322 | 1114869.7895 | 2497418.095 | 1114868.6486
24 | 2497403.8504 | 1114893.1665 | 2497404.8353 | 1114891.4712
25 | 2497420.2662 | 1114864.9116 | 2497418.095 | 1114868.6486
26 | 2497403.8504 | 1114893.1665 | 2497401.119 | 1114897.8676
27 | 2497420.2662 | 1114864.9116 | 2497422.7796 | 1114860.5857 | 2497423.7648 | 1114858.9417
28 | 2497386.5128 | 1114923.0309 | 2497392.7698 | 1114912.2381 | 2497401.119 | 1114897.8676
29 | 2497426.1626 | 1114854.9411 | 2497423.7648 | 1114858.9417
30 | 2497384.1705 | 1114927.0711 | 2497386.5128 | 1114923.0309
31 | 2497222.2639 | 1115166.7671 | 2497224.8925 | 1115165.7137 | 2497234.8252 | 1115162.1317 | 2497255.1478 | 1115155.0489 | 2497256.5462 | 1115154.6851
32 | 2497305.6111 | 1115141.9175 | 2497293.7469 | 1115145.0096 | 2497256.5462 | 1115154.6851
33 | 2497305.6111 | 1115141.9175 | 2497306.6876 | 1115145.7349
34 | 2497303.6456 | 1115125.3181 | 2497303.1241 | 1115129.1738 | 2497302.52 | 1115133.1644 | 2497303.3765 | 1115134.0281 | 2497304.6829 | 1115138.6534 | 2497305.6111 | 1115141.9175
35 | 2497317.7661 | 1115142.7673 | 2497306.6876 | 1115145.7349
36 | 2497303.6456 | 1115125.3181 | 2497317.1423 | 1115126.9457 | 2497327.3674 | 1115127.7379
37 | 2497303.6456 | 1115125.3181 | 2497301.37 | 1115125.0232 | 2497297.9638 | 1115124.3873
38 | 2497335.2391 | 1115128.3478 | 2497327.3674 | 1115127.7379
39 | 2497294.9727 | 1115123.829 | 2497297.9638 | 1115124.3873
40 | 2497382.3566 | 1115131.9984 | 2497420.5789 | 1115135.1565
41 | 2497382.3566 | 1115131.9984 | 2497345.4508 | 1115129.139
42 | 2497409.6142 | 1115141.7314 | 2497409.8689 | 1115138.5362 | 2497380.1821 | 1115136.2936 | 2497382.3566 | 1115131.9984
43 | 2497382.3566 | 1115131.9984 | 2497391.5534 | 1115113.8508
44 | 2497475.4726 | 1115139.692 | 2497420.5789 | 1115135.1565
45 | 2497335.2391 | 1115128.3478 | 2497345.4508 | 1115129.139
46 | 2497409.6142 | 1115141.7314 | 2497408.578 | 1115147.5749 | 2497407.0019 | 1115153.9168 | 2497398.9122 | 1115180.2489
47 | 2497397.2894 | 1115102.5323 | 2497391.5534 | 1115113.8508
48 | 2497390.408 | 1115207.9302 | 2497398.9122 | 1115180.2489
49 | 2497424.0254 | 1114949.6264 | 2497410.9018 | 1114942.1498 | 2497401.391 | 1114936.7849
50 | 2497384.1705 | 1114927.0711 | 2497401.391 | 1114936.7849
51 | 2497424.0254 | 1114949.6264 | 2497424.1047 | 1114949.6716
52 | 2497384.1705 | 1114927.0711 | 2497380.7809 | 1114931.6125
53 | 2497424.1047 | 1114949.6716 | 2497427.857 | 1114951.8093
54 | 2497368.0056 | 1114953.6251 | 2497376.7321 | 1114937.0369 | 2497380.7809 | 1114931.6125
55 | 2497458.6215 | 1114969.3362 | 2497427.857 | 1114951.8093
56 | 2497368.0056 | 1114953.6251 | 2497365.7373 | 1114957.9369
57 | 2497454.0117 | 1114992.629 | 2497460.0534 | 1114979.9964 | 2497460.3644 | 1114973.2869 | 2497458.6215 | 1114969.3362 | 2497458.6215 | 1114969.3362
58 | 2497426.1626 | 1114854.9411 | 2497426.759 | 1114853.946
59 | 2497256.6383 | 1115114.926 | 2497248.8963 | 1115113.0156
60 | 2497256.6383 | 1115114.926 | 2497258.3494 | 1115115.3482
61 | 2497258.3494 | 1115115.3482 | 2497264.3709 | 1115116.834
62 | 2497294.9727 | 1115123.829 | 2497286.1924 | 1115122.19 | 2497268.0836 | 1115117.7501 | 2497264.3709 | 1115116.834
63 | 2497454.0117 | 1114992.629 | 2497470.017 | 1114980.2421
64 | 2497454.0117 | 1114992.629 | 2497450.1992 | 1114999.9457
65 | 2497470.017 | 1114980.2421 | 2497476.8509 | 1114974.9531
66 | 2497450.1992 | 1114999.9457 | 2497447.3175 | 1115005.476
67 | 2497476.8509 | 1114974.9531 | 2497476.8509 | 1114974.9531 | 2497480.4591 | 1114971.3898 | 2497484.3947 | 1114966.6423
68 | 2497447.3175 | 1115005.476 | 2497444.9845 | 1115009.9533
69 | 2497484.3947 | 1114966.6423 | 2497484.3947 | 1114966.6423 | 2497487.6288 | 1114961.5176 | 2497497.5001 | 1114940.6039 | 2497501.0998 | 1114934.717
70 | 2497429.8369 | 1115039.0236 | 2497444.9845 | 1115009.9533
71 | 2497328.8336 | 1115025.1961 | 2497328.3308 | 1115027.3887
72 | 2497328.8336 | 1115025.1961 | 2497333.6484 | 1115004.199 | 2497337.5653 | 1115005.6171
73 | 2497325.9828 | 1115037.628 | 2497328.3308 | 1115027.3887
74 | 2497374.3403 | 1115018.9313 | 2497337.5653 | 1115005.6171
75 | 2497375.4352 | 1115019.3277 | 2497374.3403 | 1115018.9313
76 | 2497409.1456 | 1115031.5324 | 2497375.4352 | 1115019.3277
77 | 2497409.1456 | 1115031.5324 | 2497413.8322 | 1115033.2292
78 | 2497429.8369 | 1115039.0236 | 2497413.8322 | 1115033.2292
79 | 2497429.8369 | 1115039.0236 | 2497423.3603 | 1115051.6242
80 | 2497407.4501 | 1115082.5789 | 2497423.3603 | 1115051.6242
81 | 2497433.4002 | 1114842.8651 | 2497426.759 | 1114853.946
82 | 2497504.5828 | 1114928.8592 | 2497506.2911 | 1114925.9861
83 | 2497502.8874 | 1114931.7105 | 2497504.5828 | 1114928.8592
84 | 2497502.8874 | 1114931.7105 | 2497501.0998 | 1114934.717 | 2497501.0998 | 1114934.717
85 | 2497435.1125 | 1114840.0081 | 2497433.4002 | 1114842.8651
86 | 2497440.2648 | 1114836.8632 | 2497435.1125 | 1114840.0081
87 | 2497397.2894 | 1115102.5323 | 2497403.9758 | 1115089.3382 | 2497407.4501 | 1115082.5789
88 | 2497475.4726 | 1115139.692 | 2497482.3678 | 1115127.9381
89 | 2497496.3098 | 1115104.1721 | 2497482.3678 | 1115127.9381
90 | 2497455.2298 | 1115078.7419 | 2497469.2224 | 1115087.4039
91 | 2497469.2224 | 1115087.4039 | 2497481.8122 | 1115095.1975
92 | 2497485.4406 | 1115097.4437 | 2497481.8122 | 1115095.1975
93 | 2497496.3098 | 1115104.1721 | 2497485.4406 | 1115097.4437

## bus_geodata
| x | y | coords
0 | 2497221.172 | 1115061.7443
1 | 2497248.8111 | 1115055.1834
2 | 2497233.2642 | 1115082.8257
3 | 2497251.9067 | 1115044.7016
4 | 2497255.7639 | 1115057.4975
5 | 2497516.7591 | 1114908.381
6 | 2497513.3429 | 1114914.1264
7 | 2497508.0794 | 1114922.9785
8 | 2497507.3189 | 1114924.2576
9 | 2497506.5638 | 1114925.5276
10 | 2497255.7875 | 1115031.5613
11 | 2497267.8232 | 1115013.49
12 | 2497226.1802 | 1115107.4104
13 | 2497243.9265 | 1115111.7893
14 | 2497280.4273 | 1114964.9174
15 | 2497284.0649 | 1114951.2285
16 | 2497279.9759 | 1114966.6162
17 | 2497285.7503 | 1114944.8859
18 | 2497278.5246 | 1114972.0776
19 | 2497288.4393 | 1114934.7664
20 | 2497268.9471 | 1115009.1179
21 | 2497415.9366 | 1114872.3637
22 | 2497417.4322 | 1114869.7895
23 | 2497404.8353 | 1114891.4712
24 | 2497418.095 | 1114868.6486
25 | 2497403.8504 | 1114893.1665
26 | 2497420.2662 | 1114864.9116
27 | 2497401.119 | 1114897.8676
28 | 2497423.7648 | 1114858.9417
29 | 2497386.5128 | 1114923.0309
30 | 2497222.2639 | 1115166.7671
31 | 2497256.5462 | 1115154.6851
32 | 2497305.6111 | 1115141.9175
33 | 2497306.6876 | 1115145.7349
34 | 2497303.6456 | 1115125.3181
35 | 2497317.7661 | 1115142.7673
36 | 2497327.3674 | 1115127.7379
37 | 2497297.9638 | 1115124.3873
38 | 2497382.3566 | 1115131.9984
39 | 2497420.5789 | 1115135.1565
40 | 2497345.4508 | 1115129.139
41 | 2497409.6142 | 1115141.7314
42 | 2497391.5534 | 1115113.8508
43 | 2497398.9122 | 1115180.2489
44 | 2497401.391 | 1114936.7849
45 | 2497424.0254 | 1114949.6264
46 | 2497384.1705 | 1114927.0711
47 | 2497424.1047 | 1114949.6716
48 | 2497380.7809 | 1114931.6125
49 | 2497427.857 | 1114951.8093
50 | 2497368.0056 | 1114953.6251
51 | 2497458.6215 | 1114969.3362
52 | 2497365.7373 | 1114957.9369
53 | 2497426.1626 | 1114854.9411
54 | 2497248.8963 | 1115113.0156
55 | 2497256.6383 | 1115114.926
56 | 2497258.3494 | 1115115.3482
57 | 2497264.3709 | 1115116.834
58 | 2497454.0117 | 1114992.629
59 | 2497470.017 | 1114980.2421
60 | 2497450.1992 | 1114999.9457
61 | 2497476.8509 | 1114974.9531
62 | 2497447.3175 | 1115005.476
63 | 2497484.3947 | 1114966.6423
64 | 2497444.9845 | 1115009.9533
65 | 2497328.8336 | 1115025.1961
66 | 2497328.3308 | 1115027.3887
67 | 2497337.5653 | 1115005.6171
68 | 2497325.9828 | 1115037.628
69 | 2497374.3403 | 1115018.9313
70 | 2497375.4352 | 1115019.3277
71 | 2497409.1456 | 1115031.5324
72 | 2497413.8322 | 1115033.2292
73 | 2497429.8369 | 1115039.0236
74 | 2497423.3603 | 1115051.6242
75 | 2497426.7589 | 1114853.946
76 | 2497294.9727 | 1115123.829
77 | 2497506.2911 | 1114925.9861
78 | 2497504.5828 | 1114928.8592
79 | 2497502.8874 | 1114931.7105
80 | 2497501.0998 | 1114934.717
81 | 2497433.4002 | 1114842.8651
82 | 2497435.1125 | 1114840.0081
83 | 2497440.2648 | 1114836.8632
84 | 2497397.2894 | 1115102.5323
85 | 2497407.4501 | 1115082.5789
86 | 2497475.4726 | 1115139.692
87 | 2497335.2391 | 1115128.3478
88 | 2497482.3678 | 1115127.9381
89 | 2497455.2298 | 1115078.7419
90 | 2497469.2224 | 1115087.4039
91 | 2497481.8122 | 1115095.1975
92 | 2497485.4406 | 1115097.4437
93 | 2497496.3098 | 1115104.1721
94 | 2497390.408 | 1115207.9302
95 | 2497429.8369 | 1115039.0236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1