## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6631-7_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6631-7_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6631-7_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6631-7_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6631-7_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6631-7_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6631-7_0_8_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6631-7_0_8_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_6631-7_0_8_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6631-7_0_8_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_6631-7_0_8_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_6631-7_0_8_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_6631-7_0_8_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6631-7_0_8_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_6631-7_0_8_node_54 | 0.4 | n |  | TRUE
15 | bus_LV_6631-7_0_8_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_6631-7_0_8_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_6631-7_0_8_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6631-7_0_8_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_6631-7_0_8_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_6631-7_0_8_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6631-7_0_8_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_6631-7_0_8_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6631-7_0_8_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_6631-7_0_8_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_6631-7_0_8_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6631-7_0_8_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6631-7_0_8_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6631-7_0_8_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6631-7_0_8_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_6631-7_0_8_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6631-7_0_8_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_6631-7_0_8_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_6631-7_0_8_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6631-7_0_8_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6631-7_0_8_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6631-7_0_8_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6631-7_0_8_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6631-7_0_8_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_6631-7_0_8_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_6631-7_0_8_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6631-7_0_8_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_6631-7_0_8_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6631-7_0_8_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6631-7_0_8_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6631-7_0_8_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6631-7_0_8_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_6631-7_0_8_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6631-7_0_8_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_6631-7_0_8_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6631-7_0_8_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6631-7_0_8_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6631-7_0_8_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6631-7_0_8_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6631-7_0_8_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_6631-7_0_8_node_47 | 0.4 | n |  | TRUE
56 | bus_MV_667_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6631-7_0_8_load_0 | 0 | 0.011782 | 0.0029529 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6631-7_0_8_load_3 | 3 | 0.017562 | 0.0044014 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6631-7_0_8_load_62 | 7 | 0.011725 | 0.0029386 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6631-7_0_8_load_61 | 9 | 0.017573 | 0.0044042 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6631-7_0_8_load_44 | 11 | 0.0082114 | 0.002058 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6631-7_0_8_load_56 | 13 | 0.017614 | 0.0044146 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6631-7_0_8_load_54 | 14 | 0.017419 | 0.0043656 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6631-7_0_8_load_39 | 16 | 0.022069 | 0.0055309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6631-7_0_8_load_59 | 19 | 0.053938 | 0.013518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6631-7_0_8_load_58 | 21 | 0.018599 | 0.0046613 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6631-7_0_8_load_43 | 24 | 0.015752 | 0.0039477 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6631-7_0_8_load_60 | 29 | 0.009467 | 0.0023726 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6631-7_0_8_load_42 | 31 | 0.023216 | 0.0058186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6631-7_0_8_load_40 | 32 | 0.023202 | 0.0058151 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6631-7_0_8_load_45 | 33 | 0.020013 | 0.0050158 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6631-7_0_8_load_36 | 35 | 0.0049251 | 0.0012343 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6631-7_0_8_load_34 | 36 | 0.0050882 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6631-7_0_8_load_51 | 38 | 0.0048645 | 0.0012192 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6631-7_0_8_load_55 | 39 | 0.017849 | 0.0044735 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6631-7_0_8_load_37 | 40 | 0.008001 | 0.0020052 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6631-7_0_8_load_41 | 43 | 0.016651 | 0.0041731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6631-7_0_8_load_38 | 45 | 0.0078034 | 0.0019557 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6631-7_0_8_load_52 | 46 | 0.013802 | 0.0034591 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6631-7_0_8_load_53 | 48 | 0.011515 | 0.0028859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6631-7_0_8_load_33 | 49 | 0.064381 | 0.016135 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6631-7_0_8_load_46 | 51 | 0.0064902 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6631-7_0_8_load_50 | 52 | 0.010265 | 0.0025728 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6631-7_0_8_load_49 | 53 | 0.0076963 | 0.0019289 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6631-7_0_8_load_57 | 54 | 0.011455 | 0.0028709 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6631-7_0_8_load_47 | 55 | 0.0077678 | 0.0019468 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6631-7_0_8_line_0 |  | 0 | 1 | 0.0079213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6631-7_0_8_line_1 |  | 0 | 2 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6631-7_0_8_line_2 |  | 1 | 3 | 0.00708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6631-7_0_8_line_3 |  | 1 | 4 | 0.057272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6631-7_0_8_line_4 |  | 1 | 5 | 0.053524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6631-7_0_8_line_5 |  | 2 | 6 | 0.069783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6631-7_0_8_line_6 |  | 4 | 7 | 0.006548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6631-7_0_8_line_7 |  | 4 | 8 | 0.060253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6631-7_0_8_line_8 |  | 5 | 9 | 0.006392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6631-7_0_8_line_9 |  | 5 | 10 | 0.046762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6631-7_0_8_line_10 |  | 6 | 15 | 0.052915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6631-7_0_8_line_11 |  | 6 | 16 | 0.012252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6631-7_0_8_line_12 |  | 8 | 11 | 0.028801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6631-7_0_8_line_13 |  | 10 | 33 | 0.022381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6631-7_0_8_line_14 |  | 11 | 47 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6631-7_0_8_line_15 |  | 12 | 13 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6631-7_0_8_line_16 |  | 12 | 14 | 0.00025881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6631-7_0_8_line_17 |  | 13 | 20 | 0.025069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6631-7_0_8_line_18 |  | 14 | 39 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6631-7_0_8_line_19 |  | 15 | 40 | 0.0078485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6631-7_0_8_line_20 |  | 17 | 18 | 0.058758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6631-7_0_8_line_21 |  | 17 | 19 | 0.037287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6631-7_0_8_line_22 |  | 18 | 48 | 0.017138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6631-7_0_8_line_23 |  | 18 | 46 | 0.006862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6631-7_0_8_line_24 |  | 19 | 25 | 0.008534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6631-7_0_8_line_25 |  | 20 | 21 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6631-7_0_8_line_26 |  | 21 | 26 | 0.0065277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6631-7_0_8_line_27 |  | 22 | 23 | 0.072787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6631-7_0_8_line_28 |  | 22 | 24 | 0.029515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6631-7_0_8_line_29 |  | 23 | 43 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6631-7_0_8_line_30 |  | 23 | 34 | 0.071641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6631-7_0_8_line_31 |  | 25 | 26 | 0.037467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6631-7_0_8_line_32 |  | 27 | 28 | 0.04439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6631-7_0_8_line_33 |  | 27 | 29 | 0.051728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6631-7_0_8_line_34 |  | 28 | 46 | 0.025614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6631-7_0_8_line_35 |  | 29 | 41 | 0.0089449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6631-7_0_8_line_36 |  | 30 | 31 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6631-7_0_8_line_37 |  | 30 | 32 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6631-7_0_8_line_38 |  | 31 | 47 | 0.031452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6631-7_0_8_line_39 |  | 32 | 43 | 0.022087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_6631-7_0_8_line_40 |  | 34 | 35 | 0.027477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6631-7_0_8_line_41 |  | 34 | 36 | 0.031807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6631-7_0_8_line_42 |  | 35 | 38 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6631-7_0_8_line_43 |  | 37 | 38 | 0.013709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6631-7_0_8_line_44 |  | 37 | 39 | 0.00081564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6631-7_0_8_line_45 |  | 40 | 44 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6631-7_0_8_line_46 |  | 41 | 42 | 0.063776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6631-7_0_8_line_47 |  | 42 | 49 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6631-7_0_8_line_48 |  | 44 | 45 | 0.0017109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6631-7_0_8_line_49 |  | 45 | 50 | 0.016138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6631-7_0_8_line_50 |  | 48 | 54 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6631-7_0_8_line_51 |  | 50 | 51 | 0.0030693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6631-7_0_8_line_52 |  | 51 | 55 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6631-7_0_8_line_53 |  | 52 | 53 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6631-7_0_8_line_54 |  | 53 | 55 | 0.020592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6631-7_0_8_trafo_58 | 0.63 MVA 20/0.4 kV | 56 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2496968.6634 | 1116214.1354 | 2496965.1846 | 1116212.5381 | 2496961.7715 | 1116214.7976
1 | 2496951.3766 | 1116205.6466 | 2496954.5133 | 1116207.1052 | 2496956.0992 | 1116211.8146 | 2496961.7715 | 1116214.7976
2 | 2496971.5803 | 1116207.6817 | 2496968.6634 | 1116214.1354
3 | 2496968.6634 | 1116214.1354 | 2496979.139 | 1116218.9602 | 2497007.4372 | 1116232.009 | 2497001.1674 | 1116245.1685
4 | 2496968.6634 | 1116214.1354 | 2496979.139 | 1116218.9602 | 2496982.3468 | 1116208.7324 | 2496983.7559 | 1116204.8726 | 2496987.0688 | 1116195.8216 | 2496994.6605 | 1116180.0268
5 | 2496931.3486 | 1116154.1217 | 2496939.72 | 1116157.8036 | 2496941.7643 | 1116160.4038 | 2496951.3559 | 1116173.6155 | 2496954.5958 | 1116177.0514 | 2496957.6474 | 1116178.5004 | 2496962.7933 | 1116180.9588 | 2496951.3766 | 1116205.6466
6 | 2496995.2208 | 1116242.3902 | 2497001.1674 | 1116245.1685
7 | 2496984.0892 | 1116294.2459 | 2496986.1757 | 1116290.2634 | 2496980.2698 | 1116286.7061 | 2496987.0363 | 1116270.5251 | 2496988.2428 | 1116271.0938 | 2496990.4526 | 1116266.1864 | 2496994.0758 | 1116258.1307 | 2496994.956 | 1116258.5827 | 2496996.3368 | 1116255.3238 | 2496999.2218 | 1116249.2598 | 2497001.1674 | 1116245.1685
8 | 2496988.8465 | 1116177.3352 | 2496994.6605 | 1116180.0268
9 | 2496976.5442 | 1116151.4059 | 2497002.2979 | 1116163.2862 | 2496994.6605 | 1116180.0268
10 | 2496909.5523 | 1116191.8502 | 2496911.3071 | 1116190.6084 | 2496913.8325 | 1116188.8198 | 2496918.8077 | 1116188.9574 | 2496919.6035 | 1116187.176 | 2496916.7666 | 1116186.0903 | 2496925.6862 | 1116157.1534 | 2496928.2275 | 1116157.6548 | 2496930.0136 | 1116156.4347 | 2496931.3486 | 1116154.1217
11 | 2496931.3486 | 1116154.1217 | 2496936.4619 | 1116142.9875
12 | 2496984.0892 | 1116294.2459 | 2496981.9555 | 1116295.4607 | 2496979.506 | 1116295.3579 | 2496970.5137 | 1116291.4752 | 2496957.6898 | 1116285.615
13 | 2496976.5442 | 1116151.4059 | 2496985.7802 | 1116131.0197
14 | 2496945.2994 | 1116279.9528 | 2496957.6898 | 1116285.615
15 | 2496874.5045 | 1116290.6323 | 2496880.445 | 1116277.7667
16 | 2496874.5045 | 1116290.6323 | 2496874.3961 | 1116290.8673
17 | 2496890.9541 | 1116255.0071 | 2496880.445 | 1116277.7667
18 | 2496874.3961 | 1116290.8673 | 2496868.3529 | 1116303.9668
19 | 2496909.5523 | 1116191.8502 | 2496902.4169 | 1116188.5815
20 | 2496781.5078 | 1116307.5062 | 2496796.9782 | 1116311.3671 | 2496803.3503 | 1116297.8943 | 2496807.1232 | 1116298.1746 | 2496811.9028 | 1116298.6267 | 2496817.719 | 1116299.1834 | 2496822.1708 | 1116299.4299 | 2496829.462 | 1116294.1133
21 | 2496829.462 | 1116294.1133 | 2496844.9819 | 1116260.2103
22 | 2496781.5078 | 1116307.5062 | 2496774.1135 | 1116322.9671
23 | 2496781.5078 | 1116307.5062 | 2496781.5065 | 1116300.6443
24 | 2496848.5341 | 1116252.4506 | 2496844.9819 | 1116260.2103
25 | 2496890.9541 | 1116255.0071 | 2496879.8031 | 1116248.133
26 | 2496874.2464 | 1116244.7075 | 2496879.8031 | 1116248.133
27 | 2496886.3895 | 1116348.233 | 2496880.4322 | 1116361.1315 | 2496877.8862 | 1116366.6896 | 2496866.8513 | 1116390.6373 | 2496878.2747 | 1116395.8125 | 2496890.624 | 1116401.4057
28 | 2496890.624 | 1116401.4057 | 2496902.7902 | 1116374.5147
29 | 2496911.882 | 1116351.623 | 2496904.8613 | 1116351.5203 | 2496897.6275 | 1116350.6875 | 2496886.3895 | 1116348.233
30 | 2496844.659 | 1116355.282 | 2496847.023 | 1116358.0657 | 2496847.4681 | 1116361.9828 | 2496846.6538 | 1116364.943 | 2496852.2813 | 1116367.571 | 2496864.5885 | 1116373.4093 | 2496866.1153 | 1116370.1146 | 2496869.4669 | 1116362.8973 | 2496873.6609 | 1116364.7826 | 2496877.8862 | 1116366.6896 | 2496880.4322 | 1116361.1315 | 2496886.3895 | 1116348.233
31 | 2496848.5341 | 1116252.4506 | 2496855.2034 | 1116236.9271 | 2496874.2464 | 1116244.7075
32 | 2496776.9325 | 1116281.9347 | 2496778.0826 | 1116279.647 | 2496777.6218 | 1116277.0754 | 2496775.7724 | 1116275.039 | 2496762.2679 | 1116269.6437 | 2496756.9845 | 1116269.0891 | 2496754.6049 | 1116269.4632 | 2496749.8868 | 1116267.6426 | 2496747.0297 | 1116264.9229 | 2496744.564 | 1116260.2509
33 | 2496744.564 | 1116260.2509 | 2496766.0783 | 1116213.2088
34 | 2496776.9325 | 1116281.9347 | 2496786.1376 | 1116286.0581 | 2496785.4528 | 1116287.5596 | 2496781.5059 | 1116296.9885 | 2496781.5065 | 1116300.6443
35 | 2496769.7985 | 1116205.0742 | 2496766.0783 | 1116213.2088
36 | 2496926.5568 | 1116320.142 | 2496932.0061 | 1116308.4572
37 | 2496926.5568 | 1116320.142 | 2496921.2137 | 1116331.6042
38 | 2496945.2994 | 1116279.9528 | 2496932.0061 | 1116308.4572
39 | 2496911.882 | 1116351.623 | 2496921.2137 | 1116331.6042
40 | 2496844.659 | 1116355.282 | 2496856.1776 | 1116330.3358
41 | 2496844.659 | 1116355.282 | 2496821.929 | 1116344.9963 | 2496824.8188 | 1116338.7764
42 | 2496856.1776 | 1116330.3358 | 2496862.2642 | 1116317.154
43 | 2496868.0113 | 1116304.7074 | 2496862.2642 | 1116317.154
44 | 2496868.3529 | 1116303.9668 | 2496868.0113 | 1116304.7074
45 | 2496884.9362 | 1116180.5735 | 2496902.4169 | 1116188.5815
46 | 2496769.7985 | 1116205.0742 | 2496770.2081 | 1116204.1889 | 2496783.4666 | 1116210.0887 | 2496787.7757 | 1116207.8472 | 2496789.8308 | 1116209.7244 | 2496791.0086 | 1116212.2281 | 2496790.9062 | 1116215.2763 | 2496789.1118 | 1116219.176 | 2496779.5494 | 1116230.7687 | 2496773.0566 | 1116244.855
47 | 2496773.0566 | 1116244.855 | 2496786.9812 | 1116250.9265
48 | 2496884.9362 | 1116180.5735 | 2496883.3737 | 1116179.8766
49 | 2496868.6352 | 1116173.3022 | 2496883.3737 | 1116179.8766
50 | 2496774.1135 | 1116322.9671 | 2496768.8931 | 1116333.8826
51 | 2496868.6352 | 1116173.3022 | 2496865.817 | 1116172.0864
52 | 2496865.817 | 1116172.0864 | 2496865.5858 | 1116171.9867 | 2496856.6884 | 1116161.4246
53 | 2496843.4219 | 1116145.6759 | 2496839.9084 | 1116141.505 | 2496839.1831 | 1116136.5587 | 2496830.4323 | 1116126.5175
54 | 2496856.6884 | 1116161.4246 | 2496843.4219 | 1116145.6759

## bus_geodata
| x | y | coords
0 | 2496961.7715 | 1116214.7976
1 | 2496968.6634 | 1116214.1354
2 | 2496951.3766 | 1116205.6466
3 | 2496971.5803 | 1116207.6817
4 | 2497001.1674 | 1116245.1685
5 | 2496994.6605 | 1116180.0268
6 | 2496931.3486 | 1116154.1217
7 | 2496995.2208 | 1116242.3902
8 | 2496984.0892 | 1116294.2459
9 | 2496988.8465 | 1116177.3352
10 | 2496976.5442 | 1116151.4059
11 | 2496957.6898 | 1116285.615
12 | 2496874.5045 | 1116290.6323
13 | 2496880.445 | 1116277.7667
14 | 2496874.396 | 1116290.8673
15 | 2496909.5523 | 1116191.8502
16 | 2496936.4619 | 1116142.9875
17 | 2496829.462 | 1116294.1133
18 | 2496781.5078 | 1116307.5062
19 | 2496844.9819 | 1116260.2103
20 | 2496890.9541 | 1116255.0071
21 | 2496879.8031 | 1116248.133
22 | 2496890.624 | 1116401.4057
23 | 2496886.3895 | 1116348.233
24 | 2496902.7902 | 1116374.5147
25 | 2496848.5341 | 1116252.4506
26 | 2496874.2464 | 1116244.7075
27 | 2496744.564 | 1116260.2509
28 | 2496776.9325 | 1116281.9347
29 | 2496766.0783 | 1116213.2088
30 | 2496926.5568 | 1116320.142
31 | 2496932.0061 | 1116308.4572
32 | 2496921.2137 | 1116331.6042
33 | 2496985.7802 | 1116131.0197
34 | 2496844.659 | 1116355.282
35 | 2496856.1776 | 1116330.3358
36 | 2496824.8188 | 1116338.7764
37 | 2496868.0113 | 1116304.7074
38 | 2496862.2642 | 1116317.154
39 | 2496868.3529 | 1116303.9668
40 | 2496902.4169 | 1116188.5815
41 | 2496769.7985 | 1116205.0742
42 | 2496773.0566 | 1116244.855
43 | 2496911.882 | 1116351.623
44 | 2496884.9362 | 1116180.5735
45 | 2496883.3737 | 1116179.8766
46 | 2496781.5065 | 1116300.6443
47 | 2496945.2994 | 1116279.9528
48 | 2496774.1135 | 1116322.9671
49 | 2496786.9812 | 1116250.9265
50 | 2496868.6352 | 1116173.3022
51 | 2496865.817 | 1116172.0864
52 | 2496830.4323 | 1116126.5175
53 | 2496843.4219 | 1116145.6759
54 | 2496768.8931 | 1116333.8826
55 | 2496856.6884 | 1116161.4246
56 | 2496874.2464 | 1116244.7075

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1