## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6633-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6633-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6633-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6633-12_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6633-12_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6633-12_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_6633-12_0_5_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_6633-12_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_6633-12_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6633-12_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6633-12_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6633-12_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6633-12_0_5_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_6633-12_0_5_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_6633-12_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6633-12_0_5_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_6633-12_0_5_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_6633-12_0_5_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_6633-12_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6633-12_0_5_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_6633-12_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6633-12_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_6633-12_0_5_node_91 | 0.4 | n |  | TRUE
23 | bus_LV_6633-12_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6633-12_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6633-12_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6633-12_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_6633-12_0_5_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6633-12_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6633-12_0_5_node_98 | 0.4 | n |  | TRUE
30 | bus_LV_6633-12_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6633-12_0_5_node_110 | 0.4 | n |  | TRUE
32 | bus_LV_6633-12_0_5_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_6633-12_0_5_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_6633-12_0_5_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_6633-12_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6633-12_0_5_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_6633-12_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6633-12_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_6633-12_0_5_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_6633-12_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_6633-12_0_5_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_6633-12_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_6633-12_0_5_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_6633-12_0_5_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_6633-12_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_6633-12_0_5_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_6633-12_0_5_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_6633-12_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6633-12_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6633-12_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_6633-12_0_5_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_6633-12_0_5_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_6633-12_0_5_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_6633-12_0_5_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_6633-12_0_5_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_6633-12_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_6633-12_0_5_node_101 | 0.4 | n |  | TRUE
58 | bus_LV_6633-12_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6633-12_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6633-12_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6633-12_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_6633-12_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_6633-12_0_5_node_84 | 0.4 | n |  | TRUE
64 | bus_LV_6633-12_0_5_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_6633-12_0_5_node_103 | 0.4 | n |  | TRUE
66 | bus_LV_6633-12_0_5_node_100 | 0.4 | n |  | TRUE
67 | bus_LV_6633-12_0_5_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_6633-12_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_6633-12_0_5_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_6633-12_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_6633-12_0_5_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_6633-12_0_5_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_6633-12_0_5_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_6633-12_0_5_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_6633-12_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_6633-12_0_5_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_6633-12_0_5_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_6633-12_0_5_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_6633-12_0_5_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_6633-12_0_5_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_6633-12_0_5_node_50 | 0.4 | n |  | TRUE
82 | bus_LV_6633-12_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_6633-12_0_5_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_6633-12_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_6633-12_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_6633-12_0_5_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_6633-12_0_5_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_6633-12_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6633-12_0_5_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_6633-12_0_5_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_6633-12_0_5_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_6633-12_0_5_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_6633-12_0_5_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_6633-12_0_5_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_6633-12_0_5_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_6633-12_0_5_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_6633-12_0_5_node_107 | 0.4 | n |  | TRUE
98 | bus_LV_6633-12_0_5_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_6633-12_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_6633-12_0_5_node_109 | 0.4 | n |  | TRUE
101 | bus_MV_666_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6633-12_0_5_load_0 | 0 | 0.0011825 | 0.00029637 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6633-12_0_5_load_1 | 1 | 0.0013822 | 0.00034641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6633-12_0_5_load_3 | 3 | 0.00070956 | 0.00017783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6633-12_0_5_load_4 | 4 | 0.00091377 | 0.00022901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6633-12_0_5_load_37 | 7 | 0.0041578 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6633-12_0_5_load_5 | 8 | 0.0016017 | 0.00040141 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6633-12_0_5_load_53 | 12 | 0.00050711 | 0.00012709 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6633-12_0_5_load_60 | 13 | 0.00068751 | 0.00017231 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6633-12_0_5_load_54 | 15 | 0.0018079 | 0.0004531 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6633-12_0_5_load_51 | 16 | 0.00085211 | 0.00021356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6633-12_0_5_load_52 | 17 | 0.0018586 | 0.00046581 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6633-12_0_5_load_79 | 19 | 0.0015913 | 0.00039881 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6633-12_0_5_load_91 | 22 | 0.034548 | 0.0086587 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6633-12_0_5_load_41 | 26 | 0.02781 | 0.0069697 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6633-12_0_5_load_98 | 29 | 0.012021 | 0.0030126 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6633-12_0_5_load_110 | 31 | 0.013118 | 0.0032878 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6633-12_0_5_load_104 | 34 | 0.014584 | 0.003655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6633-12_0_5_load_39 | 36 | 0.002879 | 0.00072154 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6633-12_0_5_load_38 | 38 | 0.0041289 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6633-12_0_5_load_94 | 39 | 0.017861 | 0.0044763 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6633-12_0_5_load_93 | 41 | 0.020814 | 0.0052165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6633-12_0_5_load_43 | 42 | 0.01485 | 0.0037219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6633-12_0_5_load_92 | 43 | 0.005909 | 0.0014809 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6633-12_0_5_load_106 | 46 | 0.058044 | 0.014547 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6633-12_0_5_load_105 | 47 | 0.0098588 | 0.0024708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6633-12_0_5_load_74 | 51 | 0.0023809 | 0.00059672 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6633-12_0_5_load_73 | 52 | 0.0052964 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6633-12_0_5_load_87 | 53 | 0.016834 | 0.0042191 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6633-12_0_5_load_96 | 54 | 0.0043286 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6633-12_0_5_load_95 | 55 | 0.010461 | 0.0026219 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6633-12_0_5_load_101 | 57 | 0.0024965 | 0.00062568 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6633-12_0_5_load_42 | 58 | 0.034677 | 0.008691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6633-12_0_5_load_40 | 59 | 0.025021 | 0.0062707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6633-12_0_5_load_56 | 60 | 0.0017979 | 0.0004506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6633-12_0_5_load_58 | 61 | 0.00073954 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6633-12_0_5_load_55 | 62 | 0.003058 | 0.00076641 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6633-12_0_5_load_84 | 63 | 0.0031597 | 0.0007919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6633-12_0_5_load_85 | 64 | 0.02168 | 0.0054334 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6633-12_0_5_load_103 | 65 | 0.040705 | 0.010202 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6633-12_0_5_load_100 | 66 | 0.019826 | 0.0049689 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6633-12_0_5_load_82 | 67 | 0.0021954 | 0.00055021 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6633-12_0_5_load_68 | 68 | 0.011316 | 0.0028361 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6633-12_0_5_load_72 | 70 | 0.0020231 | 0.00050704 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6633-12_0_5_load_88 | 71 | 0.0037306 | 0.00093499 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6633-12_0_5_load_97 | 72 | 0.0084248 | 0.0021115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6633-12_0_5_load_102 | 73 | 0.0020331 | 0.00050954 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6633-12_0_5_load_71 | 74 | 0.00039545 | 9.911e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6633-12_0_5_load_44 | 75 | 0.0023661 | 0.000593 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6633-12_0_5_load_45 | 76 | 0.0055723 | 0.0013966 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6633-12_0_5_load_46 | 77 | 0.0011522 | 0.00028877 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6633-12_0_5_load_47 | 78 | 0.001135 | 0.00028445 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6633-12_0_5_load_48 | 79 | 0.0023504 | 0.00058907 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6633-12_0_5_load_49 | 80 | 0.0010943 | 0.00027426 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6633-12_0_5_load_50 | 81 | 0.0025181 | 0.00063109 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6633-12_0_5_load_65 | 82 | 0.001199 | 0.0003005 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6633-12_0_5_load_63 | 83 | 0.0011017 | 0.00027612 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6633-12_0_5_load_70 | 84 | 0.0013528 | 0.00033904 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6633-12_0_5_load_57 | 85 | 0.00066338 | 0.00016626 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6633-12_0_5_load_75 | 88 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6633-12_0_5_load_62 | 89 | 0.0011197 | 0.00028062 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6633-12_0_5_load_76 | 90 | 0.001049 | 0.00026291 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6633-12_0_5_load_67 | 91 | 0.0078006 | 0.001955 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6633-12_0_5_load_99 | 92 | 0.0064108 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6633-12_0_5_load_90 | 93 | 0.003507 | 0.00087895 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6633-12_0_5_load_77 | 94 | 0.0010517 | 0.00026359 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6633-12_0_5_load_78 | 95 | 0.0010542 | 0.0002642 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6633-12_0_5_load_108 | 96 | 0.0010596 | 0.00026557 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6633-12_0_5_load_107 | 97 | 0.00085995 | 0.00021552 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6633-12_0_5_load_81 | 98 | 0.00078723 | 0.0001973 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6633-12_0_5_load_89 | 99 | 0.003507 | 0.00087893 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6633-12_0_5_load_109 | 100 | 0.0012021 | 0.00030127 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6633-12_0_5_line_0 |  | 0 | 1 | 0.003303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6633-12_0_5_line_1 |  | 0 | 2 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6633-12_0_5_line_2 |  | 1 | 3 | 0.0082546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6633-12_0_5_line_3 |  | 2 | 4 | 0.034093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6633-12_0_5_line_4 |  | 2 | 5 | 0.030142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6633-12_0_5_line_5 |  | 3 | 6 | 0.025337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6633-12_0_5_line_6 |  | 4 | 7 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6633-12_0_5_line_7 |  | 5 | 17 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6633-12_0_5_line_8 |  | 5 | 16 | 0.01071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6633-12_0_5_line_9 |  | 6 | 60 | 0.036012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6633-12_0_5_line_10 |  | 6 | 18 | 0.002518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6633-12_0_5_line_11 |  | 7 | 38 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6633-12_0_5_line_12 |  | 8 | 9 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6633-12_0_5_line_13 |  | 9 | 10 | 0.013611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6633-12_0_5_line_14 |  | 10 | 11 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6633-12_0_5_line_15 |  | 10 | 12 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6633-12_0_5_line_16 |  | 11 | 13 | 0.026119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6633-12_0_5_line_17 |  | 12 | 14 | 0.0065425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6633-12_0_5_line_18 |  | 13 | 61 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6633-12_0_5_line_19 |  | 14 | 15 | 0.001307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6633-12_0_5_line_20 |  | 14 | 16 | 0.0096009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6633-12_0_5_line_21 |  | 17 | 62 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6633-12_0_5_line_22 |  | 18 | 19 | 0.02274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6633-12_0_5_line_23 |  | 20 | 21 | 0.001971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6633-12_0_5_line_24 |  | 20 | 22 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6633-12_0_5_line_25 |  | 21 | 39 | 0.014183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6633-12_0_5_line_26 |  | 22 | 43 | 0.016335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6633-12_0_5_line_27 |  | 23 | 24 | 0.030912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6633-12_0_5_line_28 |  | 23 | 25 | 0.03846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6633-12_0_5_line_29 |  | 23 | 26 | 0.013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6633-12_0_5_line_30 |  | 24 | 36 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6633-12_0_5_line_31 |  | 24 | 44 | 0.010293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6633-12_0_5_line_32 |  | 25 | 34 | 0.038877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6633-12_0_5_line_33 |  | 26 | 59 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6633-12_0_5_line_34 |  | 27 | 28 | 0.049672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6633-12_0_5_line_35 |  | 27 | 29 | 0.014837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6633-12_0_5_line_36 |  | 28 | 54 | 0.008889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6633-12_0_5_line_37 |  | 28 | 55 | 0.013104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6633-12_0_5_line_38 |  | 28 | 45 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6633-12_0_5_line_39 |  | 29 | 49 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6633-12_0_5_line_40 |  | 30 | 31 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6633-12_0_5_line_41 |  | 30 | 32 | 0.04283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6633-12_0_5_line_42 |  | 30 | 33 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6633-12_0_5_line_43 |  | 32 | 58 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6633-12_0_5_line_44 |  | 32 | 59 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6633-12_0_5_line_45 |  | 33 | 67 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6633-12_0_5_line_46 |  | 33 | 56 | 0.020476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6633-12_0_5_line_47 |  | 34 | 48 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6633-12_0_5_line_48 |  | 35 | 36 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6633-12_0_5_line_49 |  | 35 | 37 | 0.044898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6633-12_0_5_line_50 |  | 35 | 38 | 0.033413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6633-12_0_5_line_51 |  | 37 | 53 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6633-12_0_5_line_52 |  | 39 | 66 | 0.023996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6633-12_0_5_line_53 |  | 40 | 41 | 0.025236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6633-12_0_5_line_54 |  | 40 | 42 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6633-12_0_5_line_55 |  | 40 | 43 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6633-12_0_5_line_56 |  | 41 | 65 | 0.0096898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6633-12_0_5_line_57 |  | 42 | 58 | 0.019082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6633-12_0_5_line_58 |  | 44 | 68 | 0.025514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6633-12_0_5_line_59 |  | 45 | 46 | 0.027889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6633-12_0_5_line_60 |  | 45 | 47 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6633-12_0_5_line_61 |  | 48 | 49 | 0.011741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6633-12_0_5_line_62 |  | 50 | 51 | 0.031986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6633-12_0_5_line_63 |  | 50 | 52 | 0.018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6633-12_0_5_line_64 |  | 51 | 69 | 0.0048953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6633-12_0_5_line_65 |  | 52 | 70 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6633-12_0_5_line_66 |  | 53 | 71 | 0.038305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6633-12_0_5_line_67 |  | 54 | 72 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6633-12_0_5_line_68 |  | 56 | 57 | 0.022695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6633-12_0_5_line_69 |  | 57 | 73 | 0.00097211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6633-12_0_5_line_70 |  | 60 | 74 | 0.0024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6633-12_0_5_line_71 |  | 61 | 85 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6633-12_0_5_line_72 |  | 62 | 70 | 0.0027697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6633-12_0_5_line_73 |  | 63 | 64 | 0.047871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6633-12_0_5_line_74 |  | 64 | 69 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6633-12_0_5_line_75 |  | 67 | 98 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6633-12_0_5_line_76 |  | 69 | 81 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6633-12_0_5_line_77 |  | 71 | 99 | 0.02323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6633-12_0_5_line_78 |  | 74 | 84 | 0.032309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6633-12_0_5_line_79 |  | 75 | 76 | 0.021803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6633-12_0_5_line_80 |  | 75 | 77 | 0.0072718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6633-12_0_5_line_81 |  | 76 | 78 | 0.00047924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6633-12_0_5_line_82 |  | 77 | 79 | 0.00058163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6633-12_0_5_line_83 |  | 78 | 80 | 0.0074232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6633-12_0_5_line_84 |  | 79 | 81 | 0.0095715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6633-12_0_5_line_85 |  | 80 | 82 | 0.0016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6633-12_0_5_line_86 |  | 82 | 83 | 0.020091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6633-12_0_5_line_87 |  | 83 | 89 | 0.0078756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6633-12_0_5_line_88 |  | 86 | 87 | 0.07027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6633-12_0_5_line_89 |  | 86 | 88 | 0.11699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6633-12_0_5_line_90 |  | 87 | 89 | 0.068003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6633-12_0_5_line_91 |  | 88 | 90 | 0.0061131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6633-12_0_5_line_92 |  | 90 | 94 | 0.0060924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6633-12_0_5_line_93 |  | 91 | 92 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6633-12_0_5_line_94 |  | 92 | 93 | 0.0034107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6633-12_0_5_line_95 |  | 93 | 99 | 0.007809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6633-12_0_5_line_96 |  | 94 | 95 | 0.004207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6633-12_0_5_line_97 |  | 95 | 96 | 0.006117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6633-12_0_5_line_98 |  | 96 | 97 | 0.0073394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6633-12_0_5_line_99 |  | 97 | 100 | 0.002937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6633-12_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 101 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2498333.6758 | 1114058.2547 | 2498335.5621 | 1114055.5433
1 | 2498323.7592 | 1114072.5086 | 2498333.6758 | 1114058.2547
2 | 2498340.2763 | 1114048.7672 | 2498335.5621 | 1114055.5433
3 | 2498323.7592 | 1114072.5086 | 2498295.6219 | 1114053.2578
4 | 2498323.7592 | 1114072.5086 | 2498320.5235 | 1114077.1547 | 2498334.2701 | 1114086.641 | 2498329.7887 | 1114092.998
5 | 2498354.127 | 1114027.648 | 2498349.6028 | 1114036.0627 | 2498347.6378 | 1114038.1859 | 2498340.2763 | 1114048.7672
6 | 2498295.6219 | 1114053.2578 | 2498279.5321 | 1114042.2496
7 | 2498329.7887 | 1114092.998 | 2498318.4434 | 1114085.2647
8 | 2498329.7887 | 1114092.998 | 2498338.619 | 1114099.0581
9 | 2498354.127 | 1114027.648 | 2498348.4082 | 1114022.4297 | 2498331.0285 | 1114010.9587 | 2498324.5211 | 1114007.3389
10 | 2498354.127 | 1114027.648 | 2498355.9863 | 1114029.3512
11 | 2498262.529 | 1114030.6166 | 2498279.5321 | 1114042.2496
12 | 2498378.1223 | 1114109.697 | 2498354.8063 | 1114093.7471
13 | 2498370.471 | 1114120.9437 | 2498374.2331 | 1114114.9879 | 2498378.1223 | 1114109.697
14 | 2498370.471 | 1114120.9437 | 2498387.4811 | 1114132.5099
15 | 2498370.471 | 1114120.9437 | 2498351.9267 | 1114108.1968
16 | 2498387.4811 | 1114132.5099 | 2498366.515 | 1114148.0866
17 | 2498346.535 | 1114104.4907 | 2498351.9267 | 1114108.1968
18 | 2498366.515 | 1114148.0866 | 2498351.0137 | 1114159.6033
19 | 2498345.7962 | 1114105.5705 | 2498346.535 | 1114104.4907
20 | 2498346.535 | 1114104.4907 | 2498338.619 | 1114099.0581
21 | 2498301.1044 | 1114073.4457 | 2498318.4434 | 1114085.2647
22 | 2498355.9863 | 1114029.3512 | 2498360.5399 | 1114022.6928 | 2498360.1018 | 1114020.521 | 2498367.0097 | 1114010.1537
23 | 2498197.2438 | 1113861.4681 | 2498198.8392 | 1113862.6309
24 | 2498198.8392 | 1113862.6309 | 2498201.4435 | 1113864.5327 | 2498210.3872 | 1113871.0279
25 | 2498197.2438 | 1113861.4681 | 2498189.2651 | 1113873.194
26 | 2498210.3872 | 1113871.0279 | 2498210.4211 | 1113871.0526 | 2498211.6932 | 1113876.4123 | 2498214.4764 | 1113886.8315
27 | 2498250.3435 | 1113954.2785 | 2498258.3844 | 1113959.769 | 2498255.1934 | 1113964.3144 | 2498250.1489 | 1113971.1813 | 2498255.8361 | 1113975.4329
28 | 2498227.5124 | 1113980.1453 | 2498231.19 | 1113982.4849 | 2498234.44 | 1113977.3159 | 2498240.8929 | 1113967.8459 | 2498242.3809 | 1113965.8418 | 2498247.0338 | 1113959.1149 | 2498250.3435 | 1113954.2785
29 | 2498250.3435 | 1113954.2785 | 2498245.5902 | 1113949.522 | 2498249.5842 | 1113943.6827
30 | 2498255.8361 | 1113975.4329 | 2498243.9141 | 1113994.2658
31 | 2498255.8361 | 1113975.4329 | 2498261.3363 | 1113966.7238
32 | 2498227.5124 | 1113980.1453 | 2498216.543 | 1113986.5337 | 2498194.8003 | 1113971.9457
33 | 2498263.114 | 1113923.9017 | 2498249.5842 | 1113943.6827
34 | 2498141.7659 | 1113948.2117 | 2498158.1449 | 1113924.0653 | 2498161.7406 | 1113926.5842 | 2498175.0557 | 1113935.6437
35 | 2498175.0557 | 1113935.6437 | 2498187.1907 | 1113944.1813
36 | 2498141.7659 | 1113948.2117 | 2498149.1004 | 1113953.2336
37 | 2498141.7659 | 1113948.2117 | 2498130.9533 | 1113940.808
38 | 2498141.7659 | 1113948.2117 | 2498137.9294 | 1113953.8687 | 2498147.7904 | 1113961.0184 | 2498144.0586 | 1113966.4735
39 | 2498199.2905 | 1113952.8025 | 2498193.0976 | 1113948.3372 | 2498187.1907 | 1113944.1813
40 | 2498295.7308 | 1113913.7235 | 2498286.3575 | 1113927.3007
41 | 2498270.7847 | 1113911.2188 | 2498278.127 | 1113899.5103 | 2498281.8588 | 1113898.1801 | 2498287.3284 | 1113901.8905 | 2498295.2476 | 1113907.4944 | 2498298.4525 | 1113909.7419 | 2498295.7308 | 1113913.7235
42 | 2498310.6735 | 1113923.1118 | 2498295.7308 | 1113913.7235
43 | 2498270.7847 | 1113911.2188 | 2498255.2429 | 1113901.549
44 | 2498270.7847 | 1113911.2188 | 2498267.8308 | 1113917.0055 | 2498263.114 | 1113923.9017
45 | 2498310.6735 | 1113923.1118 | 2498328.0832 | 1113934.0596 | 2498331.1054 | 1113938.7674
46 | 2498310.6735 | 1113923.1118 | 2498317.4723 | 1113913.5359 | 2498320.0489 | 1113910.1127 | 2498322.5922 | 1113911.6043 | 2498323.7747 | 1113912.5628
47 | 2498202.134 | 1113960.6597 | 2498194.8003 | 1113971.9457
48 | 2498235.8179 | 1114011.0141 | 2498236.1777 | 1114008.0617 | 2498237.9728 | 1114003.651 | 2498243.9141 | 1113994.2658
49 | 2498200.3999 | 1114005.4171 | 2498206.6265 | 1113999.9534 | 2498215.601 | 1114005.8396 | 2498219.0602 | 1114000.7115 | 2498223.4539 | 1114002.9168 | 2498229.5538 | 1114006.9056 | 2498235.8179 | 1114011.0141
50 | 2498235.8179 | 1114011.0141 | 2498236.7314 | 1114012.9666 | 2498262.529 | 1114030.6166
51 | 2498200.3999 | 1114005.4171 | 2498184.5731 | 1114019.2938
52 | 2498189.2651 | 1113873.194 | 2498175.7663 | 1113893.0326
53 | 2498220.2585 | 1113908.4775 | 2498231.0983 | 1113888.4048 | 2498232.4576 | 1113886.3988
54 | 2498220.2585 | 1113908.4775 | 2498236.6876 | 1113904.1328
55 | 2498220.2585 | 1113908.4775 | 2498214.4764 | 1113886.8315
56 | 2498237.8991 | 1113878.3812 | 2498233.857 | 1113884.3336 | 2498232.4576 | 1113886.3988
57 | 2498255.2429 | 1113901.549 | 2498255.1254 | 1113901.4759 | 2498248.9636 | 1113901.6239 | 2498248.0054 | 1113901.1397 | 2498236.6876 | 1113904.1328
58 | 2498261.3363 | 1113966.7238 | 2498264.3598 | 1113960.9471 | 2498274.366 | 1113944.803
59 | 2498142.7047 | 1113987.454 | 2498145.0173 | 1113985.336 | 2498148.8423 | 1113981.7471 | 2498149.5966 | 1113979.7554 | 2498148.3719 | 1113977.2077 | 2498141.3293 | 1113970.4553 | 2498144.0586 | 1113966.4735
60 | 2498144.0586 | 1113966.4735 | 2498130.6281 | 1113956.9043
61 | 2498199.2905 | 1113952.8025 | 2498204.9308 | 1113956.5545 | 2498202.134 | 1113960.6597
62 | 2498264.7144 | 1114048.641 | 2498240.3841 | 1114069.4054
63 | 2498264.7144 | 1114048.641 | 2498280.2419 | 1114059.2251
64 | 2498236.6605 | 1114072.5832 | 2498240.3841 | 1114069.4054
65 | 2498280.2419 | 1114059.2251 | 2498298.8157 | 1114071.8857
66 | 2498184.5731 | 1114019.2938 | 2498155.7708 | 1114044.5472
67 | 2498158.8831 | 1113959.9319 | 2498149.1004 | 1113953.2336
68 | 2498323.7747 | 1113912.5628 | 2498325.2435 | 1113913.5499 | 2498342.6189 | 1113925.2099 | 2498342.6189 | 1113925.2099
69 | 2498343.5084 | 1113925.602 | 2498342.6189 | 1113925.2099
70 | 2498322.4234 | 1114006.1721 | 2498324.5211 | 1114007.3389
71 | 2498334.8482 | 1114171.6133 | 2498351.0137 | 1114159.6033
72 | 2498301.1044 | 1114073.4457 | 2498298.8157 | 1114071.8857
73 | 2498210.551 | 1114033.5998 | 2498196.1445 | 1114045.8587 | 2498195.726 | 1114048.9899 | 2498197.9552 | 1114052.4769 | 2498214.5335 | 1114059.925 | 2498217.4587 | 1114059.7869 | 2498217.9192 | 1114060.0938
74 | 2498236.6605 | 1114072.5832 | 2498217.9192 | 1114060.0938
75 | 2498345.3571 | 1113946.5774 | 2498345.3571 | 1113946.5774 | 2498331.1054 | 1113938.7674
76 | 2498236.6605 | 1114072.5832 | 2498224.192 | 1114083.2216
77 | 2498155.7708 | 1114044.5472 | 2498138.3041 | 1114059.8617
78 | 2498295.9549 | 1113987.7265 | 2498300.8506 | 1113991.2865 | 2498316.2058 | 1114002.7136 | 2498322.4234 | 1114006.1721
79 | 2498210.1482 | 1114092.5342 | 2498193.8196 | 1114106.9829
80 | 2498215.594 | 1114087.7153 | 2498210.1482 | 1114092.5342
81 | 2498193.8196 | 1114106.9829 | 2498193.4607 | 1114107.3004
82 | 2498216.0296 | 1114087.3299 | 2498215.594 | 1114087.7153
83 | 2498187.9015 | 1114112.2196 | 2498193.4607 | 1114107.3004
84 | 2498224.192 | 1114083.2216 | 2498223.8062 | 1114083.5507 | 2498219.7971 | 1114083.9962 | 2498216.0296 | 1114087.3299
85 | 2498187.9015 | 1114112.2196 | 2498186.6535 | 1114113.324
86 | 2498186.6535 | 1114113.324 | 2498171.607 | 1114126.6381
87 | 2498171.607 | 1114126.6381 | 2498165.709 | 1114131.8571
88 | 2498114.7813 | 1114176.9215 | 2498119.2289 | 1114180.4933 | 2498161.88 | 1114214.7862 | 2498169.6895 | 1114220.7697
89 | 2498169.6895 | 1114220.7697 | 2498174.6886 | 1114215.8159 | 2498181.3515 | 1114213.3356 | 2498257.8057 | 1114144.5569
90 | 2498114.7813 | 1114176.9215 | 2498165.709 | 1114131.8571
91 | 2498257.8057 | 1114144.5569 | 2498262.3504 | 1114140.4685
92 | 2498266.8797 | 1114136.3939 | 2498262.3504 | 1114140.4685
93 | 2498129.8679 | 1114067.2585 | 2498114.2975 | 1114080.9104
94 | 2498129.8679 | 1114067.2585 | 2498132.4324 | 1114065.0099
95 | 2498132.4324 | 1114065.0099 | 2498138.3041 | 1114059.8617
96 | 2498266.8797 | 1114136.3939 | 2498270.0074 | 1114133.5802
97 | 2498270.0074 | 1114133.5802 | 2498274.555 | 1114129.4891
98 | 2498280.0114 | 1114124.5805 | 2498274.555 | 1114129.4891
99 | 2498282.1949 | 1114122.6163 | 2498280.0114 | 1114124.5805

## bus_geodata
| x | y | coords
0 | 2498333.6758 | 1114058.2547
1 | 2498335.5621 | 1114055.5433
2 | 2498323.7592 | 1114072.5086
3 | 2498340.2763 | 1114048.7672
4 | 2498295.6219 | 1114053.2578
5 | 2498329.7887 | 1114092.998
6 | 2498354.127 | 1114027.648
7 | 2498279.5321 | 1114042.2496
8 | 2498354.8063 | 1114093.7471
9 | 2498378.1223 | 1114109.697
10 | 2498370.471 | 1114120.9437
11 | 2498387.4811 | 1114132.5099
12 | 2498351.9267 | 1114108.1968
13 | 2498366.515 | 1114148.0866
14 | 2498346.535 | 1114104.4907
15 | 2498345.7962 | 1114105.5705
16 | 2498338.619 | 1114099.0581
17 | 2498318.4434 | 1114085.2647
18 | 2498355.9863 | 1114029.3512
19 | 2498367.0097 | 1114010.1537
20 | 2498198.8392 | 1113862.6309
21 | 2498197.2438 | 1113861.4681
22 | 2498210.3872 | 1113871.0279
23 | 2498250.3435 | 1113954.2785
24 | 2498255.8361 | 1113975.4329
25 | 2498227.5124 | 1113980.1453
26 | 2498249.5842 | 1113943.6827
27 | 2498175.0557 | 1113935.6437
28 | 2498141.7659 | 1113948.2117
29 | 2498187.1907 | 1113944.1813
30 | 2498295.7308 | 1113913.7235
31 | 2498286.3575 | 1113927.3007
32 | 2498270.7847 | 1113911.2188
33 | 2498310.6735 | 1113923.1118
34 | 2498194.8003 | 1113971.9457
35 | 2498235.8179 | 1114011.0141
36 | 2498243.9141 | 1113994.2658
37 | 2498200.3999 | 1114005.4171
38 | 2498262.529 | 1114030.6166
39 | 2498189.2651 | 1113873.194
40 | 2498220.2585 | 1113908.4775
41 | 2498232.4576 | 1113886.3988
42 | 2498236.6876 | 1113904.1328
43 | 2498214.4764 | 1113886.8315
44 | 2498261.3363 | 1113966.7238
45 | 2498144.0586 | 1113966.4735
46 | 2498142.7047 | 1113987.454
47 | 2498130.6281 | 1113956.9043
48 | 2498202.134 | 1113960.6597
49 | 2498199.2905 | 1113952.8025
50 | 2498264.7144 | 1114048.641
51 | 2498240.3841 | 1114069.4054
52 | 2498280.2419 | 1114059.2251
53 | 2498184.5731 | 1114019.2938
54 | 2498149.1004 | 1113953.2336
55 | 2498130.9533 | 1113940.808
56 | 2498323.7747 | 1113912.5628
57 | 2498342.6189 | 1113925.2099
58 | 2498255.2429 | 1113901.549
59 | 2498263.114 | 1113923.9017
60 | 2498324.5211 | 1114007.3389
61 | 2498351.0137 | 1114159.6033
62 | 2498301.1044 | 1114073.4457
63 | 2498210.551 | 1114033.5998
64 | 2498217.9192 | 1114060.0938
65 | 2498237.8991 | 1113878.3812
66 | 2498175.7663 | 1113893.0326
67 | 2498331.1054 | 1113938.7674
68 | 2498274.366 | 1113944.803
69 | 2498236.6605 | 1114072.5832
70 | 2498298.8157 | 1114071.8857
71 | 2498155.7708 | 1114044.5472
72 | 2498158.8831 | 1113959.9319
73 | 2498343.5084 | 1113925.602
74 | 2498322.4234 | 1114006.1721
75 | 2498210.1482 | 1114092.5342
76 | 2498193.8196 | 1114106.9829
77 | 2498215.594 | 1114087.7153
78 | 2498193.4607 | 1114107.3004
79 | 2498216.0296 | 1114087.3299
80 | 2498187.9015 | 1114112.2196
81 | 2498224.192 | 1114083.2216
82 | 2498186.6535 | 1114113.324
83 | 2498171.607 | 1114126.6381
84 | 2498295.9549 | 1113987.7265
85 | 2498334.8482 | 1114171.6133
86 | 2498169.6895 | 1114220.7697
87 | 2498114.7813 | 1114176.9215
88 | 2498257.8057 | 1114144.5569
89 | 2498165.709 | 1114131.8571
90 | 2498262.3504 | 1114140.4685
91 | 2498114.2975 | 1114080.9104
92 | 2498129.8679 | 1114067.2585
93 | 2498132.4324 | 1114065.0099
94 | 2498266.8797 | 1114136.3939
95 | 2498270.0074 | 1114133.5802
96 | 2498274.555 | 1114129.4891
97 | 2498280.0114 | 1114124.5805
98 | 2498345.357 | 1113946.5774
99 | 2498138.3041 | 1114059.8617
100 | 2498282.1949 | 1114122.6163
101 | 2498204.9308 | 1113956.5545

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1