## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6633-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6633-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6633-15_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6633-15_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6633-15_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6633-15_0_2_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_6633-15_0_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_6633-15_0_2_node_118 | 0.4 | n |  | TRUE
8 | bus_LV_6633-15_0_2_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_6633-15_0_2_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_6633-15_0_2_node_110 | 0.4 | n |  | TRUE
11 | bus_LV_6633-15_0_2_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_6633-15_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6633-15_0_2_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_6633-15_0_2_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_6633-15_0_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_6633-15_0_2_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_6633-15_0_2_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_6633-15_0_2_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_6633-15_0_2_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6633-15_0_2_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_6633-15_0_2_node_122 | 0.4 | n |  | TRUE
22 | bus_LV_6633-15_0_2_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6633-15_0_2_node_123 | 0.4 | n |  | TRUE
24 | bus_LV_6633-15_0_2_node_121 | 0.4 | n |  | TRUE
25 | bus_LV_6633-15_0_2_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_6633-15_0_2_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_6633-15_0_2_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_6633-15_0_2_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_6633-15_0_2_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_6633-15_0_2_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_6633-15_0_2_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_6633-15_0_2_node_106 | 0.4 | n |  | TRUE
33 | bus_LV_6633-15_0_2_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_6633-15_0_2_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_6633-15_0_2_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_6633-15_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_6633-15_0_2_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_6633-15_0_2_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_6633-15_0_2_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_6633-15_0_2_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_6633-15_0_2_node_16 | 0.4 | n |  | TRUE
42 | bus_LV_6633-15_0_2_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_6633-15_0_2_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_6633-15_0_2_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_6633-15_0_2_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_6633-15_0_2_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_6633-15_0_2_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_6633-15_0_2_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_6633-15_0_2_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6633-15_0_2_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6633-15_0_2_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_6633-15_0_2_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6633-15_0_2_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_6633-15_0_2_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_6633-15_0_2_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_6633-15_0_2_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_6633-15_0_2_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_6633-15_0_2_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_6633-15_0_2_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_6633-15_0_2_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_6633-15_0_2_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6633-15_0_2_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_6633-15_0_2_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_6633-15_0_2_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_6633-15_0_2_node_36 | 0.4 | n |  | TRUE
66 | bus_LV_6633-15_0_2_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_6633-15_0_2_node_38 | 0.4 | n |  | TRUE
68 | bus_LV_6633-15_0_2_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_6633-15_0_2_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6633-15_0_2_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_6633-15_0_2_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_6633-15_0_2_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_6633-15_0_2_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_6633-15_0_2_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_6633-15_0_2_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_6633-15_0_2_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_6633-15_0_2_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_6633-15_0_2_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_6633-15_0_2_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_6633-15_0_2_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6633-15_0_2_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_6633-15_0_2_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_6633-15_0_2_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_6633-15_0_2_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_6633-15_0_2_node_50 | 0.4 | n |  | TRUE
86 | bus_LV_6633-15_0_2_node_51 | 0.4 | n |  | TRUE
87 | bus_LV_6633-15_0_2_node_53 | 0.4 | n |  | TRUE
88 | bus_LV_6633-15_0_2_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_6633-15_0_2_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_6633-15_0_2_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_6633-15_0_2_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_6633-15_0_2_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_6633-15_0_2_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_6633-15_0_2_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_6633-15_0_2_node_62 | 0.4 | n |  | TRUE
96 | bus_LV_6633-15_0_2_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_6633-15_0_2_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_6633-15_0_2_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_6633-15_0_2_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_6633-15_0_2_node_113 | 0.4 | n |  | TRUE
101 | bus_LV_6633-15_0_2_node_114 | 0.4 | n |  | TRUE
102 | bus_LV_6633-15_0_2_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_6633-15_0_2_node_73 | 0.4 | n |  | TRUE
104 | bus_LV_6633-15_0_2_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_6633-15_0_2_node_115 | 0.4 | n |  | TRUE
106 | bus_LV_6633-15_0_2_node_117 | 0.4 | n |  | TRUE
107 | bus_LV_6633-15_0_2_node_119 | 0.4 | n |  | TRUE
108 | bus_LV_6633-15_0_2_node_120 | 0.4 | n |  | TRUE
109 | bus_LV_6633-15_0_2_node_112 | 0.4 | n |  | TRUE
110 | bus_LV_6633-15_0_2_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_6633-15_0_2_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_6633-15_0_2_node_94 | 0.4 | n |  | TRUE
113 | bus_LV_6633-15_0_2_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_6633-15_0_2_node_100 | 0.4 | n |  | TRUE
115 | bus_LV_6633-15_0_2_node_108 | 0.4 | n |  | TRUE
116 | bus_LV_6633-15_0_2_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_6633-15_0_2_node_99 | 0.4 | n |  | TRUE
118 | bus_LV_6633-15_0_2_node_102 | 0.4 | n |  | TRUE
119 | bus_MV_460_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6633-15_0_2_load_0 | 0 | 0.00081983 | 0.00020547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6633-15_0_2_load_61 | 5 | 0.010184 | 0.0025523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6633-15_0_2_load_118 | 7 | 4.3301e-05 | 1.0852e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6633-15_0_2_load_116 | 8 | 0.00030306 | 7.5953e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6633-15_0_2_load_110 | 10 | 0.0017009 | 0.00042628 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6633-15_0_2_load_74 | 11 | 0.0049991 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6633-15_0_2_load_5 | 12 | 0.0012741 | 0.00031933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6633-15_0_2_load_57 | 13 | 0.0018358 | 0.0004601 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6633-15_0_2_load_59 | 14 | 0.00095916 | 0.00024039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6633-15_0_2_load_56 | 15 | 0.015455 | 0.0038733 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6633-15_0_2_load_80 | 16 | 0.0034858 | 0.00087361 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6633-15_0_2_load_58 | 18 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6633-15_0_2_load_122 | 21 | 0.0075624 | 0.0018953 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6633-15_0_2_load_123 | 23 | 0.0078475 | 0.0019668 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6633-15_0_2_load_69 | 26 | 0.001209 | 0.000303 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6633-15_0_2_load_79 | 27 | 0.0011577 | 0.00029015 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6633-15_0_2_load_89 | 28 | 0.00066452 | 0.00016655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6633-15_0_2_load_11 | 29 | 0.0014378 | 0.00036035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6633-15_0_2_load_13 | 31 | 0.00070513 | 0.00017672 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6633-15_0_2_load_107 | 33 | 0.0072522 | 0.0018176 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6633-15_0_2_load_104 | 34 | 0.0049478 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6633-15_0_2_load_93 | 35 | 0.0016736 | 0.00041945 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6633-15_0_2_load_46 | 36 | 0.0016361 | 0.00041005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6633-15_0_2_load_91 | 37 | 0.0016039 | 0.00040199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6633-15_0_2_load_14 | 38 | 0.0013862 | 0.0003474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6633-15_0_2_load_15 | 39 | 0.0022906 | 0.00057407 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6633-15_0_2_load_18 | 42 | 0.00023745 | 5.9511e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6633-15_0_2_load_20 | 43 | 0.0080742 | 0.0020236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6633-15_0_2_load_97 | 46 | 0.011347 | 0.0028439 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6633-15_0_2_load_21 | 47 | 0.002021 | 0.00050651 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6633-15_0_2_load_22 | 48 | 0.00053573 | 0.00013427 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6633-15_0_2_load_24 | 50 | 0.00048059 | 0.00012045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6633-15_0_2_load_31 | 52 | 0.00031961 | 8.0101e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6633-15_0_2_load_27 | 54 | 0.0003889 | 9.7467e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6633-15_0_2_load_28 | 55 | 0.014603 | 0.0036599 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6633-15_0_2_load_65 | 58 | 0.001938 | 0.00048571 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6633-15_0_2_load_33 | 59 | 0.0011521 | 0.00028875 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6633-15_0_2_load_81 | 60 | 0.00042223 | 0.00010582 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6633-15_0_2_load_63 | 61 | 0.0017408 | 0.00043627 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6633-15_0_2_load_82 | 62 | 0.0020433 | 0.0005121 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6633-15_0_2_load_34 | 63 | 0.0028607 | 0.00071695 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6633-15_0_2_load_35 | 64 | 0.0010188 | 0.00025533 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6633-15_0_2_load_36 | 65 | 0.00092114 | 0.00023086 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6633-15_0_2_load_37 | 66 | 0.0010557 | 0.00026459 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6633-15_0_2_load_38 | 67 | 0.003401 | 0.00085238 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6633-15_0_2_load_49 | 72 | 0.0028063 | 0.00070333 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6633-15_0_2_load_39 | 73 | 0.00071771 | 0.00017988 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6633-15_0_2_load_40 | 74 | 0.00069473 | 0.00017412 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6633-15_0_2_load_41 | 75 | 0.0009241 | 0.0002316 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6633-15_0_2_load_42 | 76 | 0.00037846 | 9.485e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6633-15_0_2_load_43 | 77 | 0.0063373 | 0.0015883 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6633-15_0_2_load_44 | 78 | 0.001607 | 0.00040275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6633-15_0_2_load_45 | 79 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6633-15_0_2_load_84 | 80 | 0.0039937 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6633-15_0_2_load_50 | 85 | 0.0033074 | 0.00082892 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6633-15_0_2_load_51 | 86 | 0.0071383 | 0.001789 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6633-15_0_2_load_53 | 87 | 0.0014875 | 0.00037281 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6633-15_0_2_load_55 | 88 | 0.0013967 | 0.00035004 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6633-15_0_2_load_67 | 89 | 0.0013438 | 0.00033678 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6633-15_0_2_load_103 | 90 | 0.0014115 | 0.00035375 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6633-15_0_2_load_109 | 92 | 0.0016351 | 0.0004098 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6633-15_0_2_load_111 | 93 | 0.0017584 | 0.0004407 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6633-15_0_2_load_77 | 94 | 0.0027379 | 0.00068618 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6633-15_0_2_load_62 | 95 | 0.001942 | 0.00048671 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6633-15_0_2_load_64 | 96 | 0.0017722 | 0.00044416 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6633-15_0_2_load_66 | 97 | 0.00088339 | 0.0002214 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6633-15_0_2_load_87 | 98 | 0.0025928 | 0.00064982 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6633-15_0_2_load_86 | 99 | 0.0017474 | 0.00043794 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6633-15_0_2_load_113 | 100 | 0.0062221 | 0.0015594 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6633-15_0_2_load_114 | 101 | 0.0066004 | 0.0016542 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6633-15_0_2_load_71 | 102 | 0.007708 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6633-15_0_2_load_73 | 103 | 0.0082597 | 0.0020701 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6633-15_0_2_load_75 | 104 | 0.002694 | 0.00067519 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6633-15_0_2_load_115 | 105 | 0.00029949 | 7.5058e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6633-15_0_2_load_117 | 106 | 0.00030563 | 7.6598e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6633-15_0_2_load_119 | 107 | 0.00030159 | 7.5585e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6633-15_0_2_load_120 | 108 | 2.822e-05 | 7.0727e-06 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6633-15_0_2_load_112 | 109 | 0.0040818 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6633-15_0_2_load_90 | 110 | 0.0015798 | 0.00039592 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6633-15_0_2_load_92 | 111 | 0.0016417 | 0.00041145 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6633-15_0_2_load_94 | 112 | 0.0016767 | 0.00042023 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6633-15_0_2_load_101 | 113 | 0.0025102 | 0.00062912 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6633-15_0_2_load_100 | 114 | 0.0017043 | 0.00042713 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6633-15_0_2_load_108 | 115 | 0.0018744 | 0.00046976 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6633-15_0_2_load_102 | 118 | 0.0019284 | 0.00048331 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6633-15_0_2_line_0 |  | 0 | 1 | 0.099334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6633-15_0_2_line_1 |  | 0 | 2 | 0.031049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6633-15_0_2_line_2 |  | 1 | 3 | 0.007649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6633-15_0_2_line_3 |  | 2 | 4 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6633-15_0_2_line_4 |  | 3 | 5 | 0.20302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6633-15_0_2_line_5 |  | 4 | 7 | 0.045483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6633-15_0_2_line_6 |  | 5 | 6 | 0.046694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6633-15_0_2_line_7 |  | 6 | 49 | 0.011316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6633-15_0_2_line_8 |  | 6 | 51 | 0.012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6633-15_0_2_line_9 |  | 7 | 8 | 0.00017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6633-15_0_2_line_10 |  | 8 | 105 | 0.0044365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6633-15_0_2_line_11 |  | 9 | 10 | 0.039952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6633-15_0_2_line_12 |  | 9 | 11 | 0.035602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6633-15_0_2_line_13 |  | 11 | 103 | 0.035431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6633-15_0_2_line_14 |  | 12 | 13 | 0.036162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6633-15_0_2_line_15 |  | 13 | 14 | 0.012466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6633-15_0_2_line_16 |  | 13 | 15 | 0.033239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6633-15_0_2_line_17 |  | 14 | 16 | 0.046183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6633-15_0_2_line_18 |  | 15 | 18 | 0.033902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6633-15_0_2_line_19 |  | 16 | 17 | 0.029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6633-15_0_2_line_20 |  | 17 | 27 | 0.031522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6633-15_0_2_line_21 |  | 17 | 76 | 0.042628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6633-15_0_2_line_22 |  | 19 | 20 | 0.01021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6633-15_0_2_line_23 |  | 19 | 21 | 0.029266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6633-15_0_2_line_24 |  | 20 | 27 | 0.034712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6633-15_0_2_line_25 |  | 20 | 25 | 0.00517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6633-15_0_2_line_26 |  | 21 | 24 | 0.0052538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6633-15_0_2_line_27 |  | 22 | 23 | 0.020968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6633-15_0_2_line_28 |  | 22 | 24 | 0.00658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6633-15_0_2_line_29 |  | 24 | 28 | 0.012045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6633-15_0_2_line_30 |  | 25 | 26 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6633-15_0_2_line_31 |  | 26 | 102 | 0.026131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6633-15_0_2_line_32 |  | 28 | 70 | 0.0075502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6633-15_0_2_line_33 |  | 29 | 30 | 0.047484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6633-15_0_2_line_34 |  | 30 | 31 | 0.049812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6633-15_0_2_line_35 |  | 30 | 32 | 0.15725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6633-15_0_2_line_36 |  | 32 | 33 | 0.0061693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6633-15_0_2_line_37 |  | 32 | 34 | 0.028493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6633-15_0_2_line_38 |  | 33 | 81 | 0.035651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6633-15_0_2_line_39 |  | 35 | 36 | 0.041678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6633-15_0_2_line_40 |  | 35 | 37 | 0.0078073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6633-15_0_2_line_41 |  | 36 | 78 | 0.00032898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6633-15_0_2_line_42 |  | 37 | 110 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6633-15_0_2_line_43 |  | 38 | 39 | 0.013847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6633-15_0_2_line_44 |  | 38 | 40 | 0.17381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6633-15_0_2_line_45 |  | 39 | 41 | 0.036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6633-15_0_2_line_46 |  | 40 | 42 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6633-15_0_2_line_47 |  | 41 | 43 | 0.1126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6633-15_0_2_line_48 |  | 43 | 44 | 0.02144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6633-15_0_2_line_49 |  | 44 | 45 | 0.038331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6633-15_0_2_line_50 |  | 44 | 46 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6633-15_0_2_line_51 |  | 45 | 115 | 0.0023272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6633-15_0_2_line_52 |  | 45 | 92 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6633-15_0_2_line_53 |  | 47 | 48 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6633-15_0_2_line_54 |  | 47 | 49 | 0.025911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6633-15_0_2_line_55 |  | 48 | 50 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6633-15_0_2_line_56 |  | 51 | 52 | 0.074922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6633-15_0_2_line_57 |  | 52 | 53 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6633-15_0_2_line_58 |  | 53 | 54 | 0.0085303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6633-15_0_2_line_59 |  | 54 | 55 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6633-15_0_2_line_60 |  | 55 | 56 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6633-15_0_2_line_61 |  | 56 | 57 | 0.077687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6633-15_0_2_line_62 |  | 57 | 58 | 0.069643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6633-15_0_2_line_63 |  | 58 | 61 | 0.0034244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6633-15_0_2_line_64 |  | 59 | 60 | 0.001913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6633-15_0_2_line_65 |  | 60 | 62 | 0.02476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6633-15_0_2_line_66 |  | 61 | 95 | 0.011288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6633-15_0_2_line_67 |  | 62 | 68 | 0.024083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6633-15_0_2_line_68 |  | 63 | 64 | 0.0075217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6633-15_0_2_line_69 |  | 63 | 65 | 0.015992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6633-15_0_2_line_70 |  | 64 | 66 | 0.037619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6633-15_0_2_line_71 |  | 65 | 67 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6633-15_0_2_line_72 |  | 66 | 68 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6633-15_0_2_line_73 |  | 67 | 69 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6633-15_0_2_line_74 |  | 68 | 70 | 0.052556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6633-15_0_2_line_75 |  | 69 | 71 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6633-15_0_2_line_76 |  | 69 | 72 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6633-15_0_2_line_77 |  | 70 | 99 | 0.045953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6633-15_0_2_line_78 |  | 71 | 80 | 0.017577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6633-15_0_2_line_79 |  | 71 | 81 | 0.026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6633-15_0_2_line_80 |  | 73 | 74 | 0.026053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6633-15_0_2_line_81 |  | 73 | 75 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6633-15_0_2_line_82 |  | 74 | 76 | 0.0099737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6633-15_0_2_line_83 |  | 77 | 78 | 0.0074139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6633-15_0_2_line_84 |  | 77 | 79 | 0.0034061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6633-15_0_2_line_85 |  | 80 | 82 | 0.014778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6633-15_0_2_line_86 |  | 82 | 83 | 0.045455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6633-15_0_2_line_87 |  | 82 | 84 | 0.018446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6633-15_0_2_line_88 |  | 83 | 92 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6633-15_0_2_line_89 |  | 83 | 93 | 0.017653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6633-15_0_2_line_90 |  | 84 | 88 | 0.030245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6633-15_0_2_line_91 |  | 84 | 85 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6633-15_0_2_line_92 |  | 85 | 86 | 0.0063309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6633-15_0_2_line_93 |  | 86 | 87 | 0.034196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6633-15_0_2_line_94 |  | 87 | 89 | 0.023583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6633-15_0_2_line_95 |  | 88 | 90 | 0.0065023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6633-15_0_2_line_96 |  | 89 | 91 | 0.0098778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6633-15_0_2_line_97 |  | 90 | 94 | 0.0051598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6633-15_0_2_line_98 |  | 91 | 100 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6633-15_0_2_line_99 |  | 93 | 109 | 0.0035933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6633-15_0_2_line_100 |  | 94 | 104 | 0.0015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6633-15_0_2_line_101 |  | 95 | 96 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6633-15_0_2_line_102 |  | 96 | 97 | 0.0050657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6633-15_0_2_line_103 |  | 97 | 98 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6633-15_0_2_line_104 |  | 98 | 99 | 0.018368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6633-15_0_2_line_105 |  | 100 | 101 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6633-15_0_2_line_106 |  | 103 | 104 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6633-15_0_2_line_107 |  | 105 | 106 | 0.0028271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6633-15_0_2_line_108 |  | 106 | 107 | 0.0050329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6633-15_0_2_line_109 |  | 107 | 108 | 0.0033794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6633-15_0_2_line_110 |  | 110 | 111 | 0.006472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6633-15_0_2_line_111 |  | 111 | 112 | 0.0066204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6633-15_0_2_line_112 |  | 112 | 113 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6633-15_0_2_line_113 |  | 113 | 114 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6633-15_0_2_line_114 |  | 114 | 118 | 0.00055684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6633-15_0_2_line_115 |  | 115 | 116 | 0.0089064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6633-15_0_2_line_116 |  | 116 | 117 | 0.022912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6633-15_0_2_line_117 |  | 117 | 118 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6633-15_0_2_trafo_35 | 0.63 MVA 20/0.4 kV | 119 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2498762.8034 | 1112779.7237 | 2498819.3134 | 1112819.5821 | 2498835.887 | 1112832.1464 | 2498842.6269 | 1112838.6755
1 | 2498864.9277 | 1112860.279 | 2498842.6269 | 1112838.6755
2 | 2498762.8034 | 1112779.7237 | 2498756.4882 | 1112775.3821
3 | 2498880.6461 | 1112874.8479 | 2498864.9277 | 1112860.279
4 | 2498582.3314 | 1112879.7292 | 2498756.4882 | 1112775.3821
5 | 2498880.6461 | 1112874.8479 | 2498893.5678 | 1112875.0878 | 2498904.1395 | 1112874.7889 | 2498910.8651 | 1112875.4992 | 2498917.2598 | 1112876.7488 | 2498925.5991 | 1112879.2445 | 2498925.5991 | 1112879.2445
6 | 2498536.561 | 1112881.8974 | 2498547.5346 | 1112880.2236 | 2498558.612 | 1112880.5938 | 2498570.6887 | 1112882.0479 | 2498575.2328 | 1112882.5833 | 2498579.3506 | 1112881.6582 | 2498582.3314 | 1112879.7292
7 | 2498525.4978 | 1112884.2176 | 2498531.7679 | 1112882.6338 | 2498536.561 | 1112881.8974
8 | 2498532.9301 | 1112890.208 | 2498531.7679 | 1112882.6338 | 2498536.561 | 1112881.8974
9 | 2498925.76 | 1112879.3105 | 2498925.5991 | 1112879.2445
10 | 2498929.8642 | 1112880.9952 | 2498925.76 | 1112879.3105
11 | 2498805.6312 | 1113151.2978 | 2498799.1333 | 1113148.4824 | 2498779.7266 | 1113158.1685 | 2498775.2444 | 1113147.9258
12 | 2498805.6312 | 1113151.2978 | 2498797.533 | 1113185.9663
13 | 2498797.7385 | 1113220.2843 | 2498797.7385 | 1113220.2843 | 2498799.5541 | 1113217.5189 | 2498800.0386 | 1113215.5429 | 2498799.344 | 1113210.9627 | 2498796.6791 | 1113199.9003 | 2498796.2506 | 1113195.5269 | 2498796.5475 | 1113190.1853 | 2498797.533 | 1113185.9663
14 | 2498416.4505 | 1113336.8756 | 2498397.1078 | 1113367.4298
15 | 2498416.4505 | 1113336.8756 | 2498426.1379 | 1113339.5269 | 2498428.4295 | 1113340.3119
16 | 2498384.3349 | 1113328.3094 | 2498409.871 | 1113335.0748 | 2498416.4505 | 1113336.8756
17 | 2498470.3956 | 1113321.0309 | 2498428.4295 | 1113340.3119
18 | 2498384.3349 | 1113328.3094 | 2498351.5638 | 1113319.6271
19 | 2498495.5545 | 1113306.1972 | 2498470.3956 | 1113321.0309
20 | 2498495.5545 | 1113306.1972 | 2498521.5074 | 1113290.7413 | 2498522.6274 | 1113290.051
21 | 2498495.5545 | 1113306.1972 | 2498491.4293 | 1113298.3726 | 2498474.1824 | 1113269.3247
22 | 2498558.9046 | 1113263.9421 | 2498551.8282 | 1113271.3209
23 | 2498558.9046 | 1113263.9421 | 2498563.1276 | 1113259.1684 | 2498567.1383 | 1113253.253 | 2498575.1482 | 1113239.6969
24 | 2498551.8282 | 1113271.3209 | 2498547.7246 | 1113274.4583 | 2498544.483 | 1113276.4806 | 2498528.0909 | 1113286.6839 | 2498522.6274 | 1113290.051
25 | 2498551.8282 | 1113271.3209 | 2498547.8028 | 1113268.0641
26 | 2498577.8208 | 1113235.1737 | 2498575.1482 | 1113239.6969
27 | 2498582.7685 | 1113239.5269 | 2498594.2136 | 1113251.7318 | 2498596.0886 | 1113252.5231 | 2498598.3216 | 1113252.5413
28 | 2498577.8208 | 1113235.1737 | 2498582.7685 | 1113239.5269
29 | 2498577.8208 | 1113235.1737 | 2498584.1951 | 1113224.9531
30 | 2498547.8028 | 1113268.0641 | 2498544.4273 | 1113265.33 | 2498537.8742 | 1113259.2249 | 2498533.8218 | 1113253.756
31 | 2498519.3786 | 1113231.9843 | 2498532.3571 | 1113251.7793 | 2498533.8218 | 1113253.756
32 | 2498588.2893 | 1113218.6101 | 2498585.8933 | 1113222.2303 | 2498584.1951 | 1113224.9531
33 | 2498636.283 | 1113486.2643 | 2498626.076 | 1113519.3338 | 2498622.686 | 1113531.7546
34 | 2498636.283 | 1113486.2643 | 2498650.567 | 1113501.5014 | 2498661.9674 | 1113515.6862 | 2498668.3149 | 1113524.3354
35 | 2498686.636 | 1113337.2941 | 2498636.283 | 1113486.2643
36 | 2498686.636 | 1113337.2941 | 2498688.5275 | 1113331.4219
37 | 2498686.636 | 1113337.2941 | 2498675.0792 | 1113333.6185 | 2498680.5195 | 1113318.1837
38 | 2498699.4579 | 1113297.4878 | 2498688.5275 | 1113331.4219
39 | 2498725.3899 | 1113323.3523 | 2498726.9677 | 1113333.0166 | 2498728.9734 | 1113345.7689 | 2498731.375 | 1113349.8646 | 2498734.2586 | 1113352.2957 | 2498739.1105 | 1113354.1713 | 2498742.2152 | 1113354.1194 | 2498744.3084 | 1113353.6261
40 | 2498744.3084 | 1113353.6261 | 2498745.5163 | 1113353.3414 | 2498751.6249 | 1113350.933
41 | 2498725.3369 | 1113323.0276 | 2498725.3899 | 1113323.3523
42 | 2498762.1246 | 1113346.7933 | 2498751.6249 | 1113350.933
43 | 2498960.6198 | 1113299.6753 | 2498958.1142 | 1113286.057
44 | 2498960.6198 | 1113299.6753 | 2499000.5546 | 1113468.8321
45 | 2498954.1446 | 1113249.7128 | 2498954.3405 | 1113252.1888 | 2498955.7243 | 1113273.0678 | 2498958.1142 | 1113286.057
46 | 2499000.5546 | 1113468.8321 | 2498989.5705 | 1113477.4299
47 | 2498954.1446 | 1113249.7128 | 2498940.564 | 1113250.6734 | 2498927.8912 | 1113254.1871 | 2498881.374 | 1113272.5199 | 2498848.2672 | 1113286.225
48 | 2498827.7839 | 1113292.4277 | 2498835.2719 | 1113290.7126 | 2498844.5702 | 1113287.7554 | 2498848.2672 | 1113286.225
49 | 2498790.923 | 1113303.3173 | 2498827.7839 | 1113292.4277
50 | 2498817.1664 | 1113274.7051 | 2498827.7839 | 1113292.4277
51 | 2498790.923 | 1113303.3173 | 2498792.7539 | 1113304.7539
52 | 2498790.923 | 1113303.3173 | 2498786.5845 | 1113299.8099 | 2498782.6954 | 1113296.3838 | 2498781.6076 | 1113295.3827
53 | 2498499.6115 | 1112885.0489 | 2498480.9405 | 1112886.3881 | 2498476.2831 | 1112887.3891 | 2498473.9333 | 1112888.2611
54 | 2498525.4978 | 1112884.2176 | 2498508.6585 | 1112884.4 | 2498499.6115 | 1112885.0489
55 | 2498462.6736 | 1112893.1209 | 2498472.6744 | 1112888.7282 | 2498473.9333 | 1112888.2611
56 | 2498532.9301 | 1112890.208 | 2498536.541 | 1112911.1162 | 2498539.1535 | 1112925.9262 | 2498539.964 | 1112932.7948 | 2498540.5495 | 1112940.0673 | 2498540.8401 | 1112950.4913 | 2498540.8336 | 1112960.6978 | 2498540.6324 | 1112964.5116
57 | 2498539.3054 | 1112979.6799 | 2498540.306 | 1112970.7019 | 2498540.6324 | 1112964.5116
58 | 2498539.3054 | 1112979.6799 | 2498538.7596 | 1112985.3704 | 2498538.5439 | 1112988.1758 | 2498538.5439 | 1112988.1758
59 | 2498538.5439 | 1112988.1758 | 2498538.5616 | 1112995.6802 | 2498539.322 | 1113002.3272 | 2498540.3052 | 1113007.514 | 2498540.7644 | 1113008.7241
60 | 2498553.1908 | 1113032.803 | 2498548.5394 | 1113025.3985 | 2498544.7647 | 1113018.6797 | 2498542.4391 | 1113013.1374 | 2498540.7644 | 1113008.7241
61 | 2498553.1908 | 1113032.803 | 2498492.2477 | 1113069.9367 | 2498486.719 | 1113073.3316
62 | 2498486.719 | 1113073.3316 | 2498499.7818 | 1113097.6613 | 2498503.2412 | 1113105.3971 | 2498504.3768 | 1113110.459 | 2498505.0763 | 1113122.2214 | 2498505.7221 | 1113127.5584 | 2498506.9171 | 1113130.6403 | 2498512.4111 | 1113136.3195
63 | 2498514.792 | 1113138.7807 | 2498512.4111 | 1113136.3195
64 | 2498621.918 | 1113127.7437 | 2498622.5381 | 1113129.5534
65 | 2498622.5381 | 1113129.5534 | 2498623.1116 | 1113131.2273 | 2498624.2247 | 1113136.3341 | 2498624.6443 | 1113140.6298 | 2498624.7598 | 1113145.6755 | 2498624.6979 | 1113149.8236 | 2498624.1777 | 1113154.0439
66 | 2498522.5181 | 1113147.0084 | 2498519.2367 | 1113143.3752 | 2498514.792 | 1113138.7807
67 | 2498621.3839 | 1113177.9636 | 2498622.4331 | 1113168.1954 | 2498624.1777 | 1113154.0439
68 | 2498666.4375 | 1113227.2613 | 2498660.466 | 1113222.6877
69 | 2498666.4375 | 1113227.2613 | 2498679.1331 | 1113236.9852
70 | 2498660.466 | 1113222.6877 | 2498644.3926 | 1113210.3766 | 2498639.1939 | 1113206.261 | 2498633.3664 | 1113201.5 | 2498631.0893 | 1113199.2279
71 | 2498689.5836 | 1113244.9895 | 2498679.1331 | 1113236.9852
72 | 2498621.3839 | 1113177.9636 | 2498621.6827 | 1113181.5052 | 2498622.4761 | 1113185.5167 | 2498623.3511 | 1113188.4039 | 2498625.0703 | 1113191.8773 | 2498626.8737 | 1113194.382 | 2498629.1473 | 1113197.2902 | 2498631.0893 | 1113199.2279
73 | 2498699.9811 | 1113253.9849 | 2498696.3996 | 1113250.4759 | 2498692.2787 | 1113247.0538 | 2498689.5836 | 1113244.9895
74 | 2498588.2893 | 1113218.6101 | 2498592.91 | 1113211.7506 | 2498600.8684 | 1113200.7548 | 2498611.157 | 1113188.2079 | 2498614.1828 | 1113184.8218 | 2498621.3839 | 1113177.9636
75 | 2498699.9811 | 1113253.9849 | 2498702.3209 | 1113257.6147 | 2498704.0977 | 1113261.7654 | 2498704.7081 | 1113264.0788 | 2498705.1237 | 1113267.2183 | 2498705.0274 | 1113271.1557
76 | 2498699.9811 | 1113253.9849 | 2498704.6598 | 1113255.1963 | 2498707.7268 | 1113255.6564 | 2498710.6796 | 1113255.7626 | 2498713.1086 | 1113255.7219
77 | 2498588.2893 | 1113218.6101 | 2498556.9448 | 1113185.0064
78 | 2498705.0274 | 1113271.1557 | 2498712.052 | 1113268.0585 | 2498721.0637 | 1113263.9604
79 | 2498705.0274 | 1113271.1557 | 2498704.6871 | 1113275.2863 | 2498704.1941 | 1113279.0636 | 2498702.2972 | 1113287.5784 | 2498699.4579 | 1113297.4878
80 | 2498455.2879 | 1113238.651 | 2498458.9124 | 1113244.4615 | 2498468.9747 | 1113260.8187
81 | 2498455.2879 | 1113238.651 | 2498442.5631 | 1113218.2519
82 | 2498474.1824 | 1113269.3247 | 2498473.494 | 1113268.1653 | 2498468.9747 | 1113260.8187
83 | 2498724.1423 | 1113315.7106 | 2498725.3369 | 1113323.0276
84 | 2498723.5934 | 1113312.3489 | 2498724.1423 | 1113315.7106
85 | 2498734.5164 | 1113257.8429 | 2498721.0637 | 1113263.9604
86 | 2498734.5164 | 1113257.8429 | 2498738.1388 | 1113259.1832 | 2498740.6997 | 1113260.33 | 2498743.3162 | 1113262.0317 | 2498749.6739 | 1113267.0953 | 2498761.4496 | 1113277.3826 | 2498770.5339 | 1113285.1912
87 | 2498734.5164 | 1113257.8429 | 2498737.7811 | 1113253.0408 | 2498740.5269 | 1113250.0041 | 2498744.2191 | 1113247.6631 | 2498748.1819 | 1113246.2626
88 | 2498770.5339 | 1113285.1912 | 2498781.6076 | 1113295.3827
89 | 2498770.5339 | 1113285.1912 | 2498765.0514 | 1113288.5739 | 2498753.9438 | 1113290.09
90 | 2498748.1819 | 1113246.2626 | 2498752.1189 | 1113246.0856 | 2498756.655 | 1113244.7755 | 2498766.0691 | 1113240.8935 | 2498775.6154 | 1113234.6623
91 | 2498748.1819 | 1113246.2626 | 2498740.2567 | 1113231.6123
92 | 2498740.2567 | 1113231.6123 | 2498737.906 | 1113227.2669 | 2498737.4032 | 1113225.9705
93 | 2498745.2752 | 1113201.9457 | 2498746.8054 | 1113205.093 | 2498732.2381 | 1113212.6525 | 2498737.4032 | 1113225.9705
94 | 2498745.2752 | 1113201.9457 | 2498734.963 | 1113180.7368
95 | 2498781.0604 | 1113231.1082 | 2498775.6154 | 1113234.6623
96 | 2498730.6437 | 1113171.8534 | 2498734.963 | 1113180.7368
97 | 2498785.4225 | 1113228.3547 | 2498784.0048 | 1113229.1862 | 2498781.0604 | 1113231.1082
98 | 2498730.6437 | 1113171.8534 | 2498721.9183 | 1113154.5865
99 | 2498750.3836 | 1113290.576 | 2498753.9438 | 1113290.09
100 | 2498785.4225 | 1113228.3547 | 2498786.7704 | 1113227.5641
101 | 2498522.5181 | 1113147.0084 | 2498531.9501 | 1113157.4515
102 | 2498531.9501 | 1113157.4515 | 2498535.3454 | 1113161.2108
103 | 2498544.5747 | 1113171.4296 | 2498535.3454 | 1113161.2108
104 | 2498556.9448 | 1113185.0064 | 2498553.5414 | 1113181.3576 | 2498544.5747 | 1113171.4296
105 | 2498721.9183 | 1113154.5865 | 2498715.6364 | 1113142.1552
106 | 2498797.7385 | 1113220.2843 | 2498795.5951 | 1113222.3882 | 2498786.7704 | 1113227.5641
107 | 2498929.8642 | 1112880.9952 | 2498931.9236 | 1112881.8406 | 2498932.4682 | 1112882.0946
108 | 2498932.4682 | 1112882.0946 | 2498937.0291 | 1112884.2224
109 | 2498937.0291 | 1112884.2224 | 2498940.0917 | 1112885.6511
110 | 2498762.1246 | 1113346.7933 | 2498768.1455 | 1113344.4195
111 | 2498768.1455 | 1113344.4195 | 2498774.3045 | 1113341.9912
112 | 2498793.5462 | 1113334.4048 | 2498774.3045 | 1113341.9912
113 | 2498803.115 | 1113330.6321 | 2498793.5462 | 1113334.4048
114 | 2498803.115 | 1113330.6321 | 2498803.6331 | 1113330.4279
115 | 2498799.7609 | 1113310.2517 | 2498792.7539 | 1113304.7539
116 | 2498817.3128 | 1113325.0344 | 2498799.7609 | 1113310.2517
117 | 2498817.3128 | 1113325.0344 | 2498803.6331 | 1113330.4279

## bus_geodata
| x | y | coords
0 | 2498842.6269 | 1112838.6755
1 | 2498762.8034 | 1112779.7237
2 | 2498864.9277 | 1112860.279
3 | 2498756.4882 | 1112775.3821
4 | 2498880.6461 | 1112874.8479
5 | 2498582.3314 | 1112879.7292
6 | 2498536.561 | 1112881.8974
7 | 2498925.5991 | 1112879.2445
8 | 2498925.76 | 1112879.3105
9 | 2498805.6312 | 1113151.2978
10 | 2498775.2444 | 1113147.9258
11 | 2498797.533 | 1113185.9663
12 | 2498397.1078 | 1113367.4298
13 | 2498416.4505 | 1113336.8756
14 | 2498428.4295 | 1113340.3119
15 | 2498384.3349 | 1113328.3094
16 | 2498470.3956 | 1113321.0309
17 | 2498495.5545 | 1113306.1972
18 | 2498351.5638 | 1113319.6271
19 | 2498558.9046 | 1113263.9421
20 | 2498551.8282 | 1113271.3209
21 | 2498575.1482 | 1113239.6969
22 | 2498582.7685 | 1113239.5269
23 | 2498598.3216 | 1113252.5413
24 | 2498577.8208 | 1113235.1737
25 | 2498547.8028 | 1113268.0641
26 | 2498533.8218 | 1113253.756
27 | 2498522.6274 | 1113290.051
28 | 2498584.1951 | 1113224.9531
29 | 2498622.686 | 1113531.7546
30 | 2498636.283 | 1113486.2643
31 | 2498668.3149 | 1113524.3354
32 | 2498686.636 | 1113337.2941
33 | 2498688.5275 | 1113331.4219
34 | 2498680.5195 | 1113318.1837
35 | 2498744.3084 | 1113353.6261
36 | 2498725.3899 | 1113323.3523
37 | 2498751.6249 | 1113350.933
38 | 2498960.6198 | 1113299.6753
39 | 2498958.1142 | 1113286.057
40 | 2499000.5546 | 1113468.832
41 | 2498954.1446 | 1113249.7128
42 | 2498989.5705 | 1113477.4299
43 | 2498848.2672 | 1113286.225
44 | 2498827.7839 | 1113292.4277
45 | 2498790.923 | 1113303.3173
46 | 2498817.1664 | 1113274.7051
47 | 2498499.6115 | 1112885.0489
48 | 2498473.9333 | 1112888.2611
49 | 2498525.4978 | 1112884.2176
50 | 2498462.6736 | 1112893.1209
51 | 2498532.9301 | 1112890.208
52 | 2498540.6324 | 1112964.5116
53 | 2498539.3054 | 1112979.6799
54 | 2498538.5439 | 1112988.1758
55 | 2498540.7644 | 1113008.7241
56 | 2498553.1908 | 1113032.803
57 | 2498486.719 | 1113073.3316
58 | 2498512.4111 | 1113136.3195
59 | 2498621.918 | 1113127.7437
60 | 2498622.5381 | 1113129.5534
61 | 2498514.792 | 1113138.7807
62 | 2498624.1777 | 1113154.0439
63 | 2498666.4375 | 1113227.2613
64 | 2498660.466 | 1113222.6877
65 | 2498679.1331 | 1113236.9852
66 | 2498631.0893 | 1113199.2279
67 | 2498689.5836 | 1113244.9895
68 | 2498621.3839 | 1113177.9636
69 | 2498699.9811 | 1113253.9849
70 | 2498588.2893 | 1113218.6101
71 | 2498705.0274 | 1113271.1557
72 | 2498713.1086 | 1113255.7219
73 | 2498455.2879 | 1113238.651
74 | 2498468.9747 | 1113260.8187
75 | 2498442.5631 | 1113218.2519
76 | 2498474.1824 | 1113269.3247
77 | 2498724.1423 | 1113315.7106
78 | 2498725.3369 | 1113323.0276
79 | 2498723.5934 | 1113312.3489
80 | 2498721.0637 | 1113263.9604
81 | 2498699.4579 | 1113297.4878
82 | 2498734.5164 | 1113257.8429
83 | 2498770.5339 | 1113285.1912
84 | 2498748.1819 | 1113246.2626
85 | 2498740.2567 | 1113231.6123
86 | 2498737.4032 | 1113225.9705
87 | 2498745.2752 | 1113201.9457
88 | 2498775.6154 | 1113234.6623
89 | 2498734.963 | 1113180.7368
90 | 2498781.0604 | 1113231.1082
91 | 2498730.6437 | 1113171.8534
92 | 2498781.6076 | 1113295.3827
93 | 2498753.9438 | 1113290.09
94 | 2498785.4225 | 1113228.3547
95 | 2498522.5181 | 1113147.0084
96 | 2498531.9501 | 1113157.4515
97 | 2498535.3454 | 1113161.2108
98 | 2498544.5747 | 1113171.4296
99 | 2498556.9448 | 1113185.0064
100 | 2498721.9183 | 1113154.5865
101 | 2498715.6364 | 1113142.1552
102 | 2498519.3786 | 1113231.9843
103 | 2498797.7385 | 1113220.2843
104 | 2498786.7704 | 1113227.5641
105 | 2498929.8642 | 1112880.9952
106 | 2498932.4682 | 1112882.0946
107 | 2498937.0291 | 1112884.2224
108 | 2498940.0917 | 1112885.6511
109 | 2498750.3836 | 1113290.576
110 | 2498762.1246 | 1113346.7933
111 | 2498768.1455 | 1113344.4195
112 | 2498774.3045 | 1113341.9912
113 | 2498793.5462 | 1113334.4048
114 | 2498803.115 | 1113330.6321
115 | 2498792.7539 | 1113304.7539
116 | 2498799.7609 | 1113310.2517
117 | 2498817.3128 | 1113325.0344
118 | 2498803.6331 | 1113330.4279
119 | 2498660.466 | 1113222.6877

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1