## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6633-20_1_3_node_190 | 0.4 | n |  | TRUE
1 | bus_LV_6633-20_1_3_node_191 | 0.4 | n |  | TRUE
2 | bus_LV_6633-20_1_3_node_192 | 0.4 | n |  | TRUE
3 | bus_LV_6633-20_1_3_node_268 | 0.4 | n |  | TRUE
4 | bus_LV_6633-20_1_3_node_208 | 0.4 | n |  | TRUE
5 | bus_LV_6633-20_1_3_node_209 | 0.4 | n |  | TRUE
6 | bus_LV_6633-20_1_3_node_210 | 0.4 | n |  | TRUE
7 | bus_LV_6633-20_1_3_node_211 | 0.4 | n |  | TRUE
8 | bus_LV_6633-20_1_3_node_212 | 0.4 | n |  | TRUE
9 | bus_LV_6633-20_1_3_node_213 | 0.4 | n |  | TRUE
10 | bus_LV_6633-20_1_3_node_214 | 0.4 | n |  | TRUE
11 | bus_LV_6633-20_1_3_node_215 | 0.4 | n |  | TRUE
12 | bus_LV_6633-20_1_3_node_218 | 0.4 | n |  | TRUE
13 | bus_LV_6633-20_1_3_node_246 | 0.4 | n |  | TRUE
14 | bus_LV_6633-20_1_3_node_251 | 0.4 | n |  | TRUE
15 | bus_LV_6633-20_1_3_node_284 | 0.4 | n |  | TRUE
16 | bus_LV_6633-20_1_3_node_292 | 0.4 | n |  | TRUE
17 | bus_LV_6633-20_1_3_node_275 | 0.4 | n |  | TRUE
18 | bus_LV_6633-20_1_3_node_217 | 0.4 | n |  | TRUE
19 | bus_LV_6633-20_1_3_node_325 | 0.4 | n |  | TRUE
20 | bus_LV_6633-20_1_3_node_238 | 0.4 | n |  | TRUE
21 | bus_LV_6633-20_1_3_node_226 | 0.4 | n |  | TRUE
22 | bus_LV_6633-20_1_3_node_230 | 0.4 | n |  | TRUE
23 | bus_LV_6633-20_1_3_node_228 | 0.4 | n |  | TRUE
24 | bus_LV_6633-20_1_3_node_227 | 0.4 | n |  | TRUE
25 | bus_LV_6633-20_1_3_node_229 | 0.4 | n |  | TRUE
26 | bus_LV_6633-20_1_3_node_231 | 0.4 | n |  | TRUE
27 | bus_LV_6633-20_1_3_node_331 | 0.4 | n |  | TRUE
28 | bus_LV_6633-20_1_3_node_309 | 0.4 | n |  | TRUE
29 | bus_LV_6633-20_1_3_node_334 | 0.4 | n |  | TRUE
30 | bus_LV_6633-20_1_3_node_232 | 0.4 | n |  | TRUE
31 | bus_LV_6633-20_1_3_node_233 | 0.4 | n |  | TRUE
32 | bus_LV_6633-20_1_3_node_234 | 0.4 | n |  | TRUE
33 | bus_LV_6633-20_1_3_node_235 | 0.4 | n |  | TRUE
34 | bus_LV_6633-20_1_3_node_236 | 0.4 | n |  | TRUE
35 | bus_LV_6633-20_1_3_node_237 | 0.4 | n |  | TRUE
36 | bus_LV_6633-20_1_3_node_259 | 0.4 | n |  | TRUE
37 | bus_LV_6633-20_1_3_node_239 | 0.4 | n |  | TRUE
38 | bus_LV_6633-20_1_3_node_267 | 0.4 | n |  | TRUE
39 | bus_LV_6633-20_1_3_node_240 | 0.4 | n |  | TRUE
40 | bus_LV_6633-20_1_3_node_241 | 0.4 | n |  | TRUE
41 | bus_LV_6633-20_1_3_node_242 | 0.4 | n |  | TRUE
42 | bus_LV_6633-20_1_3_node_243 | 0.4 | n |  | TRUE
43 | bus_LV_6633-20_1_3_node_244 | 0.4 | n |  | TRUE
44 | bus_LV_6633-20_1_3_node_245 | 0.4 | n |  | TRUE
45 | bus_LV_6633-20_1_3_node_247 | 0.4 | n |  | TRUE
46 | bus_LV_6633-20_1_3_node_248 | 0.4 | n |  | TRUE
47 | bus_LV_6633-20_1_3_node_249 | 0.4 | n |  | TRUE
48 | bus_LV_6633-20_1_3_node_336 | 0.4 | n |  | TRUE
49 | bus_LV_6633-20_1_3_node_250 | 0.4 | n |  | TRUE
50 | bus_LV_6633-20_1_3_node_252 | 0.4 | n |  | TRUE
51 | bus_LV_6633-20_1_3_node_253 | 0.4 | n |  | TRUE
52 | bus_LV_6633-20_1_3_node_263 | 0.4 | n |  | TRUE
53 | bus_LV_6633-20_1_3_node_261 | 0.4 | n |  | TRUE
54 | bus_LV_6633-20_1_3_node_254 | 0.4 | n |  | TRUE
55 | bus_LV_6633-20_1_3_node_255 | 0.4 | n |  | TRUE
56 | bus_LV_6633-20_1_3_node_256 | 0.4 | n |  | TRUE
57 | bus_LV_6633-20_1_3_node_257 | 0.4 | n |  | TRUE
58 | bus_LV_6633-20_1_3_node_258 | 0.4 | n |  | TRUE
59 | bus_LV_6633-20_1_3_node_260 | 0.4 | n |  | TRUE
60 | bus_LV_6633-20_1_3_node_323 | 0.4 | n |  | TRUE
61 | bus_LV_6633-20_1_3_node_262 | 0.4 | n |  | TRUE
62 | bus_LV_6633-20_1_3_node_264 | 0.4 | n |  | TRUE
63 | bus_LV_6633-20_1_3_node_265 | 0.4 | n |  | TRUE
64 | bus_LV_6633-20_1_3_node_266 | 0.4 | n |  | TRUE
65 | bus_LV_6633-20_1_3_node_324 | 0.4 | n |  | TRUE
66 | bus_LV_6633-20_1_3_node_269 | 0.4 | n |  | TRUE
67 | bus_LV_6633-20_1_3_node_270 | 0.4 | n |  | TRUE
68 | bus_LV_6633-20_1_3_node_271 | 0.4 | n |  | TRUE
69 | bus_LV_6633-20_1_3_node_272 | 0.4 | n |  | TRUE
70 | bus_LV_6633-20_1_3_node_273 | 0.4 | n |  | TRUE
71 | bus_LV_6633-20_1_3_node_274 | 0.4 | n |  | TRUE
72 | bus_LV_6633-20_1_3_node_328 | 0.4 | n |  | TRUE
73 | bus_LV_6633-20_1_3_node_276 | 0.4 | n |  | TRUE
74 | bus_LV_6633-20_1_3_node_277 | 0.4 | n |  | TRUE
75 | bus_LV_6633-20_1_3_node_278 | 0.4 | n |  | TRUE
76 | bus_LV_6633-20_1_3_node_279 | 0.4 | n |  | TRUE
77 | bus_LV_6633-20_1_3_node_300 | 0.4 | n |  | TRUE
78 | bus_LV_6633-20_1_3_node_280 | 0.4 | n |  | TRUE
79 | bus_LV_6633-20_1_3_node_281 | 0.4 | n |  | TRUE
80 | bus_LV_6633-20_1_3_node_282 | 0.4 | n |  | TRUE
81 | bus_LV_6633-20_1_3_node_283 | 0.4 | n |  | TRUE
82 | bus_LV_6633-20_1_3_node_285 | 0.4 | n |  | TRUE
83 | bus_LV_6633-20_1_3_node_286 | 0.4 | n |  | TRUE
84 | bus_LV_6633-20_1_3_node_287 | 0.4 | n |  | TRUE
85 | bus_LV_6633-20_1_3_node_288 | 0.4 | n |  | TRUE
86 | bus_LV_6633-20_1_3_node_289 | 0.4 | n |  | TRUE
87 | bus_LV_6633-20_1_3_node_290 | 0.4 | n |  | TRUE
88 | bus_LV_6633-20_1_3_node_291 | 0.4 | n |  | TRUE
89 | bus_LV_6633-20_1_3_node_293 | 0.4 | n |  | TRUE
90 | bus_LV_6633-20_1_3_node_305 | 0.4 | n |  | TRUE
91 | bus_LV_6633-20_1_3_node_294 | 0.4 | n |  | TRUE
92 | bus_LV_6633-20_1_3_node_295 | 0.4 | n |  | TRUE
93 | bus_LV_6633-20_1_3_node_296 | 0.4 | n |  | TRUE
94 | bus_LV_6633-20_1_3_node_297 | 0.4 | n |  | TRUE
95 | bus_LV_6633-20_1_3_node_298 | 0.4 | n |  | TRUE
96 | bus_LV_6633-20_1_3_node_299 | 0.4 | n |  | TRUE
97 | bus_LV_6633-20_1_3_node_301 | 0.4 | n |  | TRUE
98 | bus_LV_6633-20_1_3_node_304 | 0.4 | n |  | TRUE
99 | bus_LV_6633-20_1_3_node_302 | 0.4 | n |  | TRUE
100 | bus_LV_6633-20_1_3_node_303 | 0.4 | n |  | TRUE
101 | bus_LV_6633-20_1_3_node_327 | 0.4 | n |  | TRUE
102 | bus_LV_6633-20_1_3_node_306 | 0.4 | n |  | TRUE
103 | bus_LV_6633-20_1_3_node_307 | 0.4 | n |  | TRUE
104 | bus_LV_6633-20_1_3_node_308 | 0.4 | n |  | TRUE
105 | bus_LV_6633-20_1_3_node_326 | 0.4 | n |  | TRUE
106 | bus_LV_6633-20_1_3_node_329 | 0.4 | n |  | TRUE
107 | bus_LV_6633-20_1_3_node_330 | 0.4 | n |  | TRUE
108 | bus_LV_6633-20_1_3_node_335 | 0.4 | n |  | TRUE
109 | bus_LV_6633-20_1_3_node_337 | 0.4 | n |  | TRUE
110 | bus_LV_6633-20_1_3_node_338 | 0.4 | n |  | TRUE
111 | bus_MV_645_1_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6633-20_1_3_load_191 | 1 | 0.00054107 | 0.00013561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6633-20_1_3_load_192 | 2 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6633-20_1_3_load_268 | 3 | 0.00031803 | 7.9707e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6633-20_1_3_load_208 | 4 | 0.0024241 | 0.00060754 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6633-20_1_3_load_212 | 8 | 0.001538 | 0.00038546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6633-20_1_3_load_215 | 11 | 0.0021759 | 0.00054534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6633-20_1_3_load_218 | 12 | 0.0019195 | 0.00048107 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6633-20_1_3_load_246 | 13 | 0.0016206 | 0.00040615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6633-20_1_3_load_284 | 15 | 0.0022489 | 0.00056362 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6633-20_1_3_load_275 | 17 | 0.0021908 | 0.00054907 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6633-20_1_3_load_217 | 18 | 0.0013146 | 0.00032946 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6633-20_1_3_load_325 | 19 | 0.0016604 | 0.00041615 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6633-20_1_3_load_238 | 20 | 0.0026629 | 0.00066738 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6633-20_1_3_load_230 | 22 | 0.0012151 | 0.00030453 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6633-20_1_3_load_227 | 24 | 0.002094 | 0.0005248 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6633-20_1_3_load_229 | 25 | 0.020948 | 0.0052501 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6633-20_1_3_load_331 | 27 | 0.00039386 | 9.871e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6633-20_1_3_load_334 | 29 | 0.0027725 | 0.00069486 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6633-20_1_3_load_232 | 30 | 0.0018684 | 0.00046827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6633-20_1_3_load_233 | 31 | 0.0010505 | 0.00026328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6633-20_1_3_load_234 | 32 | 0.0010371 | 0.00025992 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6633-20_1_3_load_235 | 33 | 0.0010304 | 0.00025825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6633-20_1_3_load_236 | 34 | 0.0010227 | 0.00025631 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6633-20_1_3_load_237 | 35 | 0.0010279 | 0.00025761 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6633-20_1_3_load_259 | 36 | 0.0010265 | 0.00025725 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6633-20_1_3_load_239 | 37 | 0.0010793 | 0.0002705 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6633-20_1_3_load_267 | 38 | 0.0034507 | 0.00086482 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6633-20_1_3_load_240 | 39 | 0.0013716 | 0.00034375 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6633-20_1_3_load_241 | 40 | 0.00063793 | 0.00015988 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6633-20_1_3_load_242 | 41 | 0.001903 | 0.00047694 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6633-20_1_3_load_243 | 42 | 0.00055848 | 0.00013997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6633-20_1_3_load_244 | 43 | 0.0014311 | 0.00035868 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6633-20_1_3_load_245 | 44 | 0.0005282 | 0.00013238 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6633-20_1_3_load_247 | 45 | 0.005312 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6633-20_1_3_load_248 | 46 | 0.0053182 | 0.0013329 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6633-20_1_3_load_336 | 48 | 0.011539 | 0.0028919 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6633-20_1_3_load_252 | 50 | 0.0052365 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6633-20_1_3_load_253 | 51 | 0.0051114 | 0.001281 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6633-20_1_3_load_263 | 52 | 0.00065021 | 0.00016296 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6633-20_1_3_load_261 | 53 | 0.0055859 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6633-20_1_3_load_254 | 54 | 0.00082018 | 0.00020556 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6633-20_1_3_load_255 | 55 | 0.0010468 | 0.00026235 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6633-20_1_3_load_256 | 56 | 0.0008294 | 0.00020787 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6633-20_1_3_load_257 | 57 | 0.0010282 | 0.00025769 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6633-20_1_3_load_258 | 58 | 0.00082504 | 0.00020677 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6633-20_1_3_load_260 | 59 | 0.00081537 | 0.00020435 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6633-20_1_3_load_323 | 60 | 0.00079826 | 0.00020006 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6633-20_1_3_load_262 | 61 | 0.00082376 | 0.00020645 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6633-20_1_3_load_264 | 62 | 0.000811 | 0.00020326 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6633-20_1_3_load_265 | 63 | 0.00081311 | 0.00020378 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6633-20_1_3_load_266 | 64 | 0.00079695 | 0.00019973 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6633-20_1_3_load_324 | 65 | 0.0008371 | 0.0002098 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6633-20_1_3_load_269 | 66 | 0.0017337 | 0.00043449 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6633-20_1_3_load_270 | 67 | 0.0017644 | 0.0004422 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6633-20_1_3_load_272 | 69 | 0.0017097 | 0.00042849 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6633-20_1_3_load_273 | 70 | 0.0016872 | 0.00042286 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6633-20_1_3_load_274 | 71 | 0.0017433 | 0.00043691 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6633-20_1_3_load_328 | 72 | 0.001751 | 0.00043885 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6633-20_1_3_load_276 | 73 | 0.0010567 | 0.00026483 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6633-20_1_3_load_277 | 74 | 0.0010721 | 0.00026868 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6633-20_1_3_load_278 | 75 | 0.0010259 | 0.00025711 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6633-20_1_3_load_279 | 76 | 0.0012434 | 0.00031162 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6633-20_1_3_load_300 | 77 | 0.0010651 | 0.00026694 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6633-20_1_3_load_280 | 78 | 0.0021936 | 0.00054978 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6633-20_1_3_load_281 | 79 | 0.00223 | 0.00055888 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6633-20_1_3_load_282 | 80 | 0.0025763 | 0.00064569 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6633-20_1_3_load_283 | 81 | 0.0021848 | 0.00054756 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6633-20_1_3_load_285 | 82 | 0.002223 | 0.00055714 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6633-20_1_3_load_286 | 83 | 0.0032369 | 0.00081124 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6633-20_1_3_load_287 | 84 | 0.0021882 | 0.00054841 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6633-20_1_3_load_288 | 85 | 0.0025708 | 0.00064431 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6633-20_1_3_load_289 | 86 | 0.0021702 | 0.0005439 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6633-20_1_3_load_290 | 87 | 0.0021977 | 0.00055079 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6633-20_1_3_load_291 | 88 | 0.0025595 | 0.00064147 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6633-20_1_3_load_293 | 89 | 0.0021663 | 0.00054292 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6633-20_1_3_load_294 | 91 | 0.0021634 | 0.00054219 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6633-20_1_3_load_295 | 92 | 0.0021957 | 0.00055028 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6633-20_1_3_load_296 | 93 | 0.0013756 | 0.00034475 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6633-20_1_3_load_297 | 94 | 0.0021645 | 0.00054248 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6633-20_1_3_load_298 | 95 | 0.001394 | 0.00034936 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6633-20_1_3_load_299 | 96 | 0.0022067 | 0.00055304 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6633-20_1_3_load_304 | 98 | 0.0010487 | 0.00026284 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6633-20_1_3_load_302 | 99 | 0.0010681 | 0.00026768 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6633-20_1_3_load_303 | 100 | 0.0012314 | 0.00030861 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6633-20_1_3_load_327 | 101 | 0.0016021 | 0.00040153 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6633-20_1_3_load_306 | 102 | 0.00075661 | 0.00018963 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6633-20_1_3_load_307 | 103 | 0.0018812 | 0.00047148 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6633-20_1_3_load_326 | 105 | 0.0016725 | 0.00041918 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6633-20_1_3_load_329 | 106 | 0.0017127 | 0.00042924 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6633-20_1_3_load_330 | 107 | 0.0022052 | 0.00055269 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6633-20_1_3_load_335 | 108 | 0.014965 | 0.0037505 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6633-20_1_3_load_337 | 109 | 0.010868 | 0.0027238 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6633-20_1_3_load_338 | 110 | 0.0020647 | 0.00051745 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6633-20_1_3_line_0 |  | 0 | 1 | 0.057231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6633-20_1_3_line_1 |  | 0 | 2 | 0.029415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6633-20_1_3_line_2 |  | 2 | 3 | 0.0050928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6633-20_1_3_line_3 |  | 3 | 44 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6633-20_1_3_line_4 |  | 4 | 5 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6633-20_1_3_line_5 |  | 4 | 6 | 0.057578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6633-20_1_3_line_6 |  | 5 | 7 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6633-20_1_3_line_7 |  | 6 | 8 | 0.029411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6633-20_1_3_line_8 |  | 6 | 9 | 0.051023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6633-20_1_3_line_9 |  | 7 | 10 | 0.02868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6633-20_1_3_line_10 |  | 7 | 11 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6633-20_1_3_line_11 |  | 8 | 12 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6633-20_1_3_line_12 |  | 9 | 13 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6633-20_1_3_line_13 |  | 9 | 14 | 0.040077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6633-20_1_3_line_14 |  | 10 | 15 | 0.014198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6633-20_1_3_line_15 |  | 10 | 16 | 0.021304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6633-20_1_3_line_16 |  | 11 | 17 | 0.0065649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6633-20_1_3_line_17 |  | 12 | 20 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6633-20_1_3_line_18 |  | 13 | 43 | 0.020963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_6633-20_1_3_line_19 |  | 14 | 52 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6633-20_1_3_line_20 |  | 14 | 47 | 0.047094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6633-20_1_3_line_21 |  | 15 | 80 | 0.0076045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6633-20_1_3_line_22 |  | 16 | 90 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6633-20_1_3_line_23 |  | 16 | 87 | 0.013768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6633-20_1_3_line_24 |  | 17 | 70 | 0.049623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6633-20_1_3_line_25 |  | 18 | 19 | 0.0082032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6633-20_1_3_line_26 |  | 19 | 105 | 0.0091835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6633-20_1_3_line_27 |  | 20 | 37 | 0.053255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6633-20_1_3_line_28 |  | 21 | 22 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6633-20_1_3_line_29 |  | 21 | 23 | 0.02213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6633-20_1_3_line_30 |  | 22 | 27 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6633-20_1_3_line_31 |  | 23 | 25 | 0.046902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6633-20_1_3_line_32 |  | 23 | 24 | 0.026173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6633-20_1_3_line_33 |  | 25 | 26 | 0.072368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6633-20_1_3_line_34 |  | 26 | 28 | 0.028279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6633-20_1_3_line_35 |  | 26 | 29 | 0.066061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6633-20_1_3_line_36 |  | 28 | 48 | 0.03532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6633-20_1_3_line_37 |  | 28 | 104 | 0.028124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6633-20_1_3_line_38 |  | 29 | 108 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6633-20_1_3_line_39 |  | 30 | 31 | 0.0023901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6633-20_1_3_line_40 |  | 30 | 32 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6633-20_1_3_line_41 |  | 31 | 33 | 0.005889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6633-20_1_3_line_42 |  | 32 | 34 | 0.005853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6633-20_1_3_line_43 |  | 33 | 35 | 0.0058271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6633-20_1_3_line_44 |  | 35 | 36 | 0.0058472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6633-20_1_3_line_45 |  | 36 | 57 | 0.0058123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6633-20_1_3_line_46 |  | 37 | 38 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6633-20_1_3_line_47 |  | 39 | 40 | 0.03034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6633-20_1_3_line_48 |  | 39 | 41 | 0.023394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6633-20_1_3_line_49 |  | 40 | 42 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6633-20_1_3_line_50 |  | 41 | 43 | 0.012799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6633-20_1_3_line_51 |  | 42 | 44 | 0.0090608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6633-20_1_3_line_52 |  | 45 | 46 | 0.032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6633-20_1_3_line_53 |  | 45 | 47 | 0.042743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6633-20_1_3_line_54 |  | 45 | 48 | 0.065312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6633-20_1_3_line_55 |  | 46 | 49 | 0.055634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6633-20_1_3_line_56 |  | 48 | 109 | 0.038933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6633-20_1_3_line_57 |  | 49 | 50 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6633-20_1_3_line_58 |  | 49 | 51 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6633-20_1_3_line_59 |  | 50 | 53 | 0.033526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6633-20_1_3_line_60 |  | 52 | 61 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6633-20_1_3_line_61 |  | 54 | 55 | 0.024927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6633-20_1_3_line_62 |  | 54 | 56 | 0.0059207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6633-20_1_3_line_63 |  | 55 | 57 | 0.0058837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6633-20_1_3_line_64 |  | 56 | 58 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6633-20_1_3_line_65 |  | 58 | 59 | 0.0059248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6633-20_1_3_line_66 |  | 59 | 60 | 0.025013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6633-20_1_3_line_67 |  | 60 | 65 | 0.0058806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6633-20_1_3_line_68 |  | 61 | 62 | 0.0059068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6633-20_1_3_line_69 |  | 62 | 63 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6633-20_1_3_line_70 |  | 63 | 64 | 0.0058062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6633-20_1_3_line_71 |  | 64 | 65 | 0.0058924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6633-20_1_3_line_72 |  | 66 | 67 | 0.0068669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6633-20_1_3_line_73 |  | 66 | 68 | 0.034599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6633-20_1_3_line_74 |  | 67 | 69 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6633-20_1_3_line_75 |  | 68 | 70 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6633-20_1_3_line_76 |  | 69 | 71 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6633-20_1_3_line_77 |  | 71 | 72 | 0.0068107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6633-20_1_3_line_78 |  | 72 | 106 | 0.010557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6633-20_1_3_line_79 |  | 73 | 74 | 0.0070211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6633-20_1_3_line_80 |  | 74 | 75 | 0.02095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6633-20_1_3_line_81 |  | 75 | 76 | 0.0075451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6633-20_1_3_line_82 |  | 76 | 77 | 0.0076242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6633-20_1_3_line_83 |  | 77 | 97 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6633-20_1_3_line_84 |  | 78 | 79 | 0.010876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6633-20_1_3_line_85 |  | 78 | 80 | 0.0075401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6633-20_1_3_line_86 |  | 79 | 81 | 0.007006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6633-20_1_3_line_87 |  | 81 | 82 | 0.0055453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6633-20_1_3_line_88 |  | 82 | 83 | 0.0053253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6633-20_1_3_line_89 |  | 84 | 85 | 0.0075909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6633-20_1_3_line_90 |  | 84 | 86 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6633-20_1_3_line_91 |  | 85 | 87 | 0.0075551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6633-20_1_3_line_92 |  | 86 | 88 | 0.0075608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6633-20_1_3_line_93 |  | 88 | 89 | 0.006942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6633-20_1_3_line_94 |  | 90 | 96 | 0.013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6633-20_1_3_line_95 |  | 90 | 97 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6633-20_1_3_line_96 |  | 91 | 92 | 0.0069133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6633-20_1_3_line_97 |  | 91 | 93 | 0.022392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6633-20_1_3_line_98 |  | 92 | 94 | 0.022408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6633-20_1_3_line_99 |  | 93 | 95 | 0.0058922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6633-20_1_3_line_100 |  | 94 | 96 | 0.0069254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6633-20_1_3_line_101 |  | 97 | 98 | 0.037643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6633-20_1_3_line_102 |  | 98 | 100 | 0.0075602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6633-20_1_3_line_103 |  | 99 | 100 | 0.0075655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6633-20_1_3_line_104 |  | 99 | 101 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6633-20_1_3_line_105 |  | 101 | 105 | 0.003335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6633-20_1_3_line_106 |  | 102 | 103 | 0.052573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6633-20_1_3_line_107 |  | 103 | 104 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6633-20_1_3_line_108 |  | 106 | 107 | 0.0057474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6633-20_1_3_line_109 |  | 109 | 110 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6633-20_1_3_trafo_242 | 0.63 MVA 20/0.4 kV | 111 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2499417.1992 | 1113306.5937 | 2499407.3889 | 1113275.0479 | 2499401.029 | 1113251.7038
1 | 2499417.1992 | 1113306.5937 | 2499421.4358 | 1113305.3892 | 2499424.9617 | 1113304.1854 | 2499444.1868 | 1113295.0503
2 | 2499444.1868 | 1113295.0503 | 2499448.7867 | 1113292.8646
3 | 2499465.6248 | 1113285.0236 | 2499454.3485 | 1113290.2219 | 2499448.7867 | 1113292.8646
4 | 2499595.523 | 1113074.7991 | 2499600.0335 | 1113108.8107
5 | 2499607.603 | 1113165.8894 | 2499600.0335 | 1113108.8107
6 | 2499595.523 | 1113074.7991 | 2499591.0147 | 1113076.8641 | 2499584.5819 | 1113079.8171
7 | 2499607.603 | 1113165.8894 | 2499582.5043 | 1113181.2209
8 | 2499607.603 | 1113165.8894 | 2499612.1456 | 1113199.8799 | 2499613.6889 | 1113211.4171 | 2499614.3443 | 1113216.465
9 | 2499584.5819 | 1113079.8171 | 2499580.1494 | 1113070.1623 | 2499577.9361 | 1113052.2433
10 | 2499584.5819 | 1113079.8171 | 2499572.7902 | 1113085.9931
11 | 2499582.5043 | 1113181.2209 | 2499579.8945 | 1113182.8151 | 2499572.8414 | 1113185.9575
12 | 2499614.3443 | 1113216.465 | 2499610.166 | 1113218.391 | 2499580.1703 | 1113232.2188
13 | 2499614.3443 | 1113216.465 | 2499616.294 | 1113230.6082 | 2499619.2369 | 1113245.9468 | 2499621.4028 | 1113255.895
14 | 2499577.9361 | 1113052.2433 | 2499563.8614 | 1113054.1099
15 | 2499574.7512 | 1113031.1829 | 2499577.9361 | 1113052.2433
16 | 2499566.9749 | 1113089.0394 | 2499567.3951 | 1113088.8189 | 2499572.7902 | 1113085.9931
17 | 2499572.8414 | 1113185.9575 | 2499551.3822 | 1113195.5184
18 | 2499580.1703 | 1113232.2188 | 2499561.1327 | 1113240.995
19 | 2499621.4028 | 1113255.895 | 2499617.4611 | 1113257.6503 | 2499603.591 | 1113264.1003
20 | 2499616.8957 | 1113294.3494 | 2499629.6137 | 1113287.4898 | 2499621.4028 | 1113255.895
21 | 2499556.3229 | 1113055.1097 | 2499563.8614 | 1113054.1099
22 | 2499571.9369 | 1113009.1712 | 2499574.7512 | 1113031.1829
23 | 2499574.7512 | 1113031.1829 | 2499561.0926 | 1113032.9145
24 | 2499566.9749 | 1113089.0394 | 2499545.7512 | 1113100.174 | 2499531.4978 | 1113107.6374 | 2499523.7219 | 1113113.2101
25 | 2499542.8191 | 1112939.5501 | 2499550.4736 | 1112936.6003
26 | 2499542.8191 | 1112939.5501 | 2499534.2499 | 1112942.8524
27 | 2499502.7368 | 1113217.1918 | 2499551.3822 | 1113195.5184
28 | 2499684.2412 | 1113506.5888 | 2499690.1854 | 1113530.755
29 | 2499670.9695 | 1113501.461 | 2499681.7891 | 1113496.612 | 2499684.2412 | 1113506.5888
30 | 2499692.7345 | 1113541.1185 | 2499690.1854 | 1113530.755
31 | 2499670.9695 | 1113501.461 | 2499660.2604 | 1113478.5019 | 2499655.5952 | 1113457.4443
32 | 2499670.9695 | 1113501.461 | 2499657.4922 | 1113507.6883 | 2499653.0933 | 1113509.8181 | 2499652.123 | 1113513.7255 | 2499653.2009 | 1113515.8846
33 | 2499638.2049 | 1113387.1989 | 2499654.2232 | 1113451.2515 | 2499655.5952 | 1113457.4443
34 | 2499638.2049 | 1113387.1989 | 2499653.4889 | 1113379.0294 | 2499650.7253 | 1113368.4352
35 | 2499638.2049 | 1113387.1989 | 2499580.4864 | 1113419.3339
36 | 2499650.7253 | 1113368.4352 | 2499619.144 | 1113384.2496
37 | 2499650.7253 | 1113368.4352 | 2499653.4889 | 1113379.0294 | 2499657.651 | 1113395.6931
38 | 2499568.8403 | 1113425.8179 | 2499580.4864 | 1113419.3339
39 | 2499461.3216 | 1113330.2598 | 2499463.4889 | 1113329.2519
40 | 2499461.3216 | 1113330.2598 | 2499450.8518 | 1113335.1286
41 | 2499468.8287 | 1113326.7687 | 2499463.4889 | 1113329.2519
42 | 2499445.5446 | 1113337.5966 | 2499450.8518 | 1113335.1286
43 | 2499468.8287 | 1113326.7687 | 2499474.1125 | 1113324.3117
44 | 2499479.4145 | 1113321.8461 | 2499474.1125 | 1113324.3117
45 | 2499479.4145 | 1113321.8461 | 2499484.6848 | 1113319.3952
46 | 2499482.5635 | 1113226.1797 | 2499502.7368 | 1113217.1918
47 | 2499528.2649 | 1113256.1469 | 2499500.7118 | 1113268.8487
48 | 2499528.2649 | 1113256.1469 | 2499549.5097 | 1113246.3532
49 | 2499500.7118 | 1113268.8487 | 2499473.8533 | 1113281.2303
50 | 2499561.1327 | 1113240.995 | 2499549.5097 | 1113246.3532
51 | 2499465.6248 | 1113285.0236 | 2499473.8533 | 1113281.2303
52 | 2499596.3022 | 1113323.0621 | 2499567.2364 | 1113338.6299
53 | 2499616.8957 | 1113294.3494 | 2499621.2719 | 1113304.3498 | 2499613.9705 | 1113313.5989 | 2499596.3022 | 1113323.0621
54 | 2499596.3022 | 1113323.0621 | 2499619.144 | 1113384.2496
55 | 2499523.6993 | 1113364.6951 | 2499527.5732 | 1113353.7462 | 2499545.1569 | 1113344.5042 | 2499553.1111 | 1113346.1955 | 2499567.2364 | 1113338.6299
56 | 2499619.144 | 1113384.2496 | 2499584.3322 | 1113401.6817
57 | 2499523.6993 | 1113364.6951 | 2499523.3094 | 1113365.869 | 2499509.6331 | 1113373.1336
58 | 2499523.6993 | 1113364.6951 | 2499511.5741 | 1113342.1202
59 | 2499480.9707 | 1113389.865 | 2499494.4344 | 1113382.7256 | 2499495.8261 | 1113380.4677 | 2499509.6331 | 1113373.1336
60 | 2499592.5589 | 1113269.2306 | 2499603.591 | 1113264.1003
61 | 2499512.6224 | 1113306.4034 | 2499490.0198 | 1113316.9143
62 | 2499512.6224 | 1113306.4034 | 2499517.9911 | 1113303.9068
63 | 2499484.6848 | 1113319.3952 | 2499490.0198 | 1113316.9143
64 | 2499530.6072 | 1113298.0399 | 2499517.9911 | 1113303.9068
65 | 2499535.9795 | 1113295.5417 | 2499530.6072 | 1113298.0399
66 | 2499558.66 | 1113284.9946 | 2499535.9795 | 1113295.5417
67 | 2499558.66 | 1113284.9946 | 2499563.9922 | 1113282.5149
68 | 2499592.5589 | 1113269.2306 | 2499587.2029 | 1113271.7213
69 | 2499574.5999 | 1113277.5821 | 2499587.2029 | 1113271.7213
70 | 2499569.3351 | 1113280.0303 | 2499574.5999 | 1113277.5821
71 | 2499569.3351 | 1113280.0303 | 2499563.9922 | 1113282.5149
72 | 2499480.1206 | 1113099.7982 | 2499476.7273 | 1113093.8283
73 | 2499499.0641 | 1113127.9885 | 2499496.1473 | 1113126.8028 | 2499494.0429 | 1113124.2917 | 2499480.1206 | 1113099.7982
74 | 2499476.7273 | 1113093.8283 | 2499471.5195 | 1113084.6661
75 | 2499499.0641 | 1113127.9885 | 2499502.5319 | 1113127.4639 | 2499505.5628 | 1113126.224 | 2499523.7219 | 1113113.2101
76 | 2499464.7914 | 1113072.8293 | 2499471.5195 | 1113084.6661
77 | 2499464.7914 | 1113072.8293 | 2499461.4258 | 1113066.9082
78 | 2499461.4258 | 1113066.9082 | 2499456.2088 | 1113057.7298
79 | 2499512.4272 | 1112993.7455 | 2499519.3966 | 1112992.8955
80 | 2499540.193 | 1112990.359 | 2499519.3966 | 1112992.8955
81 | 2499540.193 | 1112990.359 | 2499547.6826 | 1112989.4456
82 | 2499547.6826 | 1112989.4456 | 2499555.2507 | 1112988.5225
83 | 2499569.2712 | 1112986.8125 | 2499555.2507 | 1112988.5225
84 | 2499548.8482 | 1113056.1011 | 2499538.0663 | 1113057.531
85 | 2499548.8482 | 1113056.1011 | 2499556.3229 | 1113055.1097
86 | 2499538.0663 | 1113057.531 | 2499531.1211 | 1113058.4521
87 | 2499525.6239 | 1113059.1812 | 2499531.1211 | 1113058.4521
88 | 2499520.3448 | 1113059.8813 | 2499525.6239 | 1113059.1812
89 | 2499546.0669 | 1113034.8194 | 2499553.5975 | 1113033.8647
90 | 2499546.0669 | 1113034.8194 | 2499522.7378 | 1113037.777
91 | 2499553.5975 | 1113033.8647 | 2499561.0926 | 1113032.9145
92 | 2499515.237 | 1113038.7279 | 2499522.7378 | 1113037.777
93 | 2499508.3501 | 1113039.601 | 2499515.237 | 1113038.7279
94 | 2499571.9369 | 1113009.1712 | 2499558.2137 | 1113010.9858
95 | 2499569.2712 | 1112986.8125 | 2499571.9369 | 1113009.1712
96 | 2499522.2802 | 1113015.7372 | 2499529.1338 | 1113014.8309
97 | 2499522.2802 | 1113015.7372 | 2499500.0818 | 1113018.6724
98 | 2499551.348 | 1113011.8936 | 2499529.1338 | 1113014.8309
99 | 2499494.2405 | 1113019.4447 | 2499500.0818 | 1113018.6724
100 | 2499551.348 | 1113011.8936 | 2499558.2137 | 1113010.9858
101 | 2499569.2712 | 1112986.8125 | 2499566.3448 | 1112963.6354 | 2499552.1601 | 1112965.2984
102 | 2499544.6513 | 1112966.1787 | 2499552.1601 | 1112965.2984
103 | 2499537.1373 | 1112967.0596 | 2499544.6513 | 1112966.1787
104 | 2499537.1373 | 1112967.0596 | 2499531.138 | 1112944.0516
105 | 2499531.138 | 1112944.0516 | 2499534.2499 | 1112942.8524
106 | 2499668.9128 | 1113463.8232 | 2499665.9171 | 1113452.0693 | 2499663.9714 | 1113440.9501 | 2499657.1402 | 1113413.3348 | 2499656.9404 | 1113412.6563
107 | 2499657.651 | 1113395.6931 | 2499652.181 | 1113397.0513 | 2499653.2723 | 1113401.8362 | 2499655.8468 | 1113408.9424 | 2499656.9404 | 1113412.6563
108 | 2499453.3686 | 1113052.7332 | 2499456.2088 | 1113057.7298
109 | 2499575.2439 | 1113406.2327 | 2499584.3322 | 1113401.6817

## bus_geodata
| x | y | coords
0 | 2499417.1992 | 1113306.5937
1 | 2499401.029 | 1113251.7038
2 | 2499444.1868 | 1113295.0503
3 | 2499448.7867 | 1113292.8646
4 | 2499600.0335 | 1113108.8107
5 | 2499595.523 | 1113074.7991
6 | 2499607.603 | 1113165.8894
7 | 2499584.5819 | 1113079.8171
8 | 2499582.5043 | 1113181.2209
9 | 2499614.3443 | 1113216.465
10 | 2499577.9361 | 1113052.2433
11 | 2499572.7902 | 1113085.9931
12 | 2499572.8414 | 1113185.9575
13 | 2499580.1703 | 1113232.2188
14 | 2499621.4028 | 1113255.895
15 | 2499563.8614 | 1113054.1099
16 | 2499574.7512 | 1113031.1829
17 | 2499566.9749 | 1113089.0394
18 | 2499550.4736 | 1112936.6003
19 | 2499542.8191 | 1112939.5501
20 | 2499551.3822 | 1113195.5184
21 | 2499684.2412 | 1113506.5888
22 | 2499690.1854 | 1113530.755
23 | 2499670.9695 | 1113501.461
24 | 2499653.2009 | 1113515.8846
25 | 2499655.5952 | 1113457.4443
26 | 2499638.2049 | 1113387.1989
27 | 2499692.7345 | 1113541.1185
28 | 2499650.7253 | 1113368.4352
29 | 2499580.4864 | 1113419.3339
30 | 2499461.3216 | 1113330.2598
31 | 2499463.4889 | 1113329.2519
32 | 2499450.8518 | 1113335.1286
33 | 2499468.8287 | 1113326.7687
34 | 2499445.5446 | 1113337.5966
35 | 2499474.1125 | 1113324.3117
36 | 2499479.4145 | 1113321.8461
37 | 2499502.7368 | 1113217.1918
38 | 2499482.5635 | 1113226.1797
39 | 2499528.2649 | 1113256.1469
40 | 2499500.7118 | 1113268.8487
41 | 2499549.5097 | 1113246.3532
42 | 2499473.8533 | 1113281.2303
43 | 2499561.1327 | 1113240.995
44 | 2499465.6248 | 1113285.0236
45 | 2499596.3022 | 1113323.0621
46 | 2499567.2364 | 1113338.6299
47 | 2499616.8957 | 1113294.3494
48 | 2499619.144 | 1113384.2496
49 | 2499523.6993 | 1113364.6951
50 | 2499509.6331 | 1113373.1336
51 | 2499511.5741 | 1113342.1202
52 | 2499603.591 | 1113264.1003
53 | 2499480.9707 | 1113389.865
54 | 2499512.6224 | 1113306.4034
55 | 2499490.0198 | 1113316.9143
56 | 2499517.9911 | 1113303.9068
57 | 2499484.6848 | 1113319.3952
58 | 2499530.6072 | 1113298.0399
59 | 2499535.9795 | 1113295.5417
60 | 2499558.66 | 1113284.9946
61 | 2499592.5589 | 1113269.2306
62 | 2499587.2029 | 1113271.7213
63 | 2499574.5999 | 1113277.5821
64 | 2499569.3351 | 1113280.0303
65 | 2499563.9922 | 1113282.5149
66 | 2499480.1206 | 1113099.7982
67 | 2499476.7273 | 1113093.8283
68 | 2499499.0641 | 1113127.9885
69 | 2499471.5195 | 1113084.6661
70 | 2499523.7219 | 1113113.2101
71 | 2499464.7914 | 1113072.8293
72 | 2499461.4258 | 1113066.9082
73 | 2499512.4272 | 1112993.7455
74 | 2499519.3966 | 1112992.8955
75 | 2499540.193 | 1112990.359
76 | 2499547.6826 | 1112989.4456
77 | 2499555.2507 | 1112988.5225
78 | 2499548.8482 | 1113056.1011
79 | 2499538.0663 | 1113057.531
80 | 2499556.3229 | 1113055.1097
81 | 2499531.1211 | 1113058.4521
82 | 2499525.6239 | 1113059.1812
83 | 2499520.3448 | 1113059.8813
84 | 2499546.0669 | 1113034.8194
85 | 2499553.5975 | 1113033.8647
86 | 2499522.7378 | 1113037.777
87 | 2499561.0926 | 1113032.9145
88 | 2499515.237 | 1113038.7279
89 | 2499508.3501 | 1113039.601
90 | 2499571.9369 | 1113009.1712
91 | 2499522.2802 | 1113015.7372
92 | 2499529.1338 | 1113014.8309
93 | 2499500.0818 | 1113018.6724
94 | 2499551.348 | 1113011.8936
95 | 2499494.2405 | 1113019.4447
96 | 2499558.2137 | 1113010.9858
97 | 2499569.2712 | 1112986.8125
98 | 2499552.1601 | 1112965.2984
99 | 2499537.1373 | 1112967.0596
100 | 2499544.6513 | 1112966.1787
101 | 2499531.138 | 1112944.0516
102 | 2499668.9128 | 1113463.8232
103 | 2499656.9404 | 1113412.6563
104 | 2499657.651 | 1113395.6931
105 | 2499534.2499 | 1112942.8524
106 | 2499456.2088 | 1113057.7298
107 | 2499453.3686 | 1113052.7332
108 | 2499568.8403 | 1113425.8179
109 | 2499584.3322 | 1113401.6817
110 | 2499575.2439 | 1113406.2327
111 | 2499614.3443 | 1113216.465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1