## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6636-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6636-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6636-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6636-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6636-3_0_5_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_6636-3_0_5_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_6636-3_0_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_6636-3_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6636-3_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6636-3_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6636-3_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6636-3_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6636-3_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6636-3_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_6636-3_0_5_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_6636-3_0_5_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_6636-3_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_6636-3_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6636-3_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6636-3_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6636-3_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6636-3_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6636-3_0_5_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_6636-3_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_6636-3_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6636-3_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6636-3_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6636-3_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6636-3_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6636-3_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6636-3_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6636-3_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6636-3_0_5_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6636-3_0_5_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_6636-3_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6636-3_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6636-3_0_5_node_35 | 0.4 | n |  | TRUE
37 | bus_MV_459_1_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6636-3_0_5_load_0 | 0 | 0.0011631 | 0.0002915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6636-3_0_5_load_2 | 2 | 0.037953 | 0.009512 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6636-3_0_5_load_28 | 4 | 0.029723 | 0.0074492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6636-3_0_5_load_19 | 5 | 0.00039925 | 0.00010006 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6636-3_0_5_load_18 | 7 | 0.0015407 | 0.00038614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6636-3_0_5_load_4 | 8 | 0.00021687 | 5.4352e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6636-3_0_5_load_5 | 9 | 0.00046791 | 0.00011727 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6636-3_0_5_load_6 | 10 | 0.00031499 | 7.8944e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6636-3_0_5_load_7 | 11 | 0.00065146 | 0.00016327 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6636-3_0_5_load_27 | 13 | 0.00014812 | 3.7123e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6636-3_0_5_load_25 | 14 | 0.0011161 | 0.00027973 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6636-3_0_5_load_26 | 15 | 0.00040125 | 0.00010056 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6636-3_0_5_load_31 | 16 | 0.00078088 | 0.00019571 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6636-3_0_5_load_9 | 17 | 0.011283 | 0.0028278 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6636-3_0_5_load_10 | 18 | 0.0032098 | 0.00080445 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6636-3_0_5_load_12 | 20 | 0.0045112 | 0.0011306 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6636-3_0_5_load_21 | 22 | 0.0036986 | 0.00092695 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6636-3_0_5_load_29 | 23 | 0.007508 | 0.0018817 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6636-3_0_5_load_23 | 26 | 0.00076698 | 0.00019222 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6636-3_0_5_load_33 | 27 | 0.0036545 | 0.00091589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6636-3_0_5_load_30 | 28 | 0.0075869 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6636-3_0_5_load_22 | 29 | 0.00064959 | 0.0001628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6636-3_0_5_load_32 | 30 | 0.00020358 | 5.1021e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6636-3_0_5_load_20 | 31 | 0.12197 | 0.030568 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6636-3_0_5_load_36 | 32 | 0.04804 | 0.01204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6636-3_0_5_load_34 | 33 | 0.0036236 | 0.00090816 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6636-3_0_5_load_24 | 34 | 0.00087167 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6636-3_0_5_load_37 | 35 | 0.0033263 | 0.00083364 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6636-3_0_5_load_35 | 36 | 0.0049986 | 0.0012528 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6636-3_0_5_line_0 |  | 0 | 1 | 0.055367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6636-3_0_5_line_1 |  | 1 | 2 | 0.16033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6636-3_0_5_line_2 |  | 1 | 3 | 0.28123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6636-3_0_5_line_3 |  | 2 | 4 | 0.030982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6636-3_0_5_line_4 |  | 3 | 5 | 0.12994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6636-3_0_5_line_5 |  | 4 | 6 | 0.41072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6636-3_0_5_line_6 |  | 5 | 7 | 0.017057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6636-3_0_5_line_7 |  | 6 | 24 | 0.45476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6636-3_0_5_line_8 |  | 6 | 25 | 0.23707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6636-3_0_5_line_9 |  | 6 | 19 | 0.17786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6636-3_0_5_line_10 |  | 7 | 31 | 0.032488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6636-3_0_5_line_11 |  | 8 | 9 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6636-3_0_5_line_12 |  | 8 | 10 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6636-3_0_5_line_13 |  | 9 | 11 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6636-3_0_5_line_14 |  | 10 | 12 | 0.0081969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6636-3_0_5_line_15 |  | 11 | 13 | 0.0005489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6636-3_0_5_line_16 |  | 12 | 14 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6636-3_0_5_line_17 |  | 13 | 15 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6636-3_0_5_line_18 |  | 14 | 16 | 0.00097041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6636-3_0_5_line_19 |  | 15 | 25 | 0.086782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6636-3_0_5_line_20 |  | 16 | 30 | 0.040308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6636-3_0_5_line_21 |  | 17 | 18 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6636-3_0_5_line_22 |  | 17 | 19 | 0.17409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6636-3_0_5_line_23 |  | 18 | 20 | 0.0092859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6636-3_0_5_line_24 |  | 19 | 21 | 0.036285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6636-3_0_5_line_25 |  | 20 | 22 | 0.0016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6636-3_0_5_line_26 |  | 21 | 23 | 0.13737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6636-3_0_5_line_27 |  | 22 | 27 | 0.00045422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6636-3_0_5_line_28 |  | 23 | 28 | 0.0017883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6636-3_0_5_line_29 |  | 24 | 26 | 0.085538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6636-3_0_5_line_30 |  | 26 | 29 | 4.5725e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6636-3_0_5_line_31 |  | 27 | 33 | 0.00044917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6636-3_0_5_line_32 |  | 29 | 34 | 0.011262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6636-3_0_5_line_33 |  | 31 | 32 | 0.080561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6636-3_0_5_line_34 |  | 33 | 36 | 3.5119e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6636-3_0_5_line_35 |  | 34 | 35 | 0.15599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6636-3_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 37 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2507933.1088 | 1118623.8426 | 2507929.8908 | 1118626.9157 | 2507902.4982 | 1118651.1807 | 2507892.9496 | 1118659.709 | 2507891.8174 | 1118660.7245
1 | 2507933.1088 | 1118623.8426 | 2507922.4501 | 1118607.1281 | 2507913.7674 | 1118596.5094 | 2507820.8419 | 1118510.2541
2 | 2507823.511 | 1118790.8906 | 2507838.6008 | 1118784.3901 | 2507889.7118 | 1118762.7762 | 2507914.431 | 1118752.0378 | 2507938.4001 | 1118740.6882 | 2507964.0219 | 1118727.8795 | 2507982.4847 | 1118717.8258 | 2507933.1088 | 1118623.8426
3 | 2507820.8419 | 1118510.2541 | 2507817.0789 | 1118506.7612 | 2507798.1351 | 1118489.1755
4 | 2507823.511 | 1118790.8906 | 2507776.2835 | 1118669.8325
5 | 2507569.5999 | 1118171.6683 | 2507573.1809 | 1118178.7068 | 2507575.8755 | 1118185.8255 | 2507577.7581 | 1118194.3574 | 2507578.8359 | 1118200.7337 | 2507579.5584 | 1118210.6287 | 2507582.3957 | 1118263.4395 | 2507583.8342 | 1118275.2358 | 2507585.6742 | 1118282.501 | 2507587.5461 | 1118287.8089 | 2507590.8305 | 1118295.141 | 2507595.0395 | 1118300.8468 | 2507600.1781 | 1118307.2833 | 2507609.9447 | 1118316.5397 | 2507774.5428 | 1118467.2746 | 2507798.1351 | 1118489.1755
6 | 2507776.2835 | 1118669.8325 | 2507770.0843 | 1118653.9421
7 | 2507184.1866 | 1118332.5674 | 2507200.9982 | 1118324.5602 | 2507209.9121 | 1118319.4648 | 2507262.6557 | 1118279.8764 | 2507323.7346 | 1118234.1459 | 2507326.9867 | 1118231.7946 | 2507330.8496 | 1118229.0004 | 2507354.9941 | 1118210.8974 | 2507365.226 | 1118204.1477 | 2507375.9662 | 1118198.3241 | 2507415.1999 | 1118178.1224 | 2507481.8342 | 1118144.2156 | 2507488.8922 | 1118140.8835 | 2507495.2777 | 1118138.9958 | 2507504.1481 | 1118137.5815 | 2507510.0814 | 1118137.424 | 2507516.7518 | 1118138.0113 | 2507524.5699 | 1118139.4593 | 2507527.195 | 1118140.0084 | 2507530.8066 | 1118140.9649 | 2507540.2278 | 1118143.2667 | 2507551.582 | 1118151.8317 | 2507558.8988 | 1118158.3571 | 2507563.6593 | 1118163.2762 | 2507569.5999 | 1118171.6683
8 | 2507493.4206 | 1117955.0794 | 2507493.6348 | 1117961.5134 | 2507494.8552 | 1117975.6922 | 2507497.3325 | 1117991.2971 | 2507502.3811 | 1118014.0225 | 2507507.8329 | 1118032.328 | 2507522.7096 | 1118069.8233 | 2507528.566 | 1118086.833 | 2507530.8205 | 1118096.9602 | 2507531.3356 | 1118114.9966 | 2507531.2134 | 1118120.1238 | 2507533.1122 | 1118130.7234 | 2507540.2278 | 1118143.2667 | 2507551.582 | 1118151.8317 | 2507558.8988 | 1118158.3571 | 2507563.6593 | 1118163.2762 | 2507569.5999 | 1118171.6683
9 | 2507504.198 | 1118260.911 | 2507506.7338 | 1118248.5647 | 2507509.9864 | 1118235.1402 | 2507512.3392 | 1118227.9888 | 2507514.2939 | 1118222.0553 | 2507516.88 | 1118199.8801 | 2507520.1058 | 1118181.1639 | 2507524.5436 | 1118155.4027 | 2507527.195 | 1118140.0084 | 2507530.8066 | 1118140.9649 | 2507540.2278 | 1118143.2667 | 2507551.582 | 1118151.8317 | 2507558.8988 | 1118158.3571 | 2507563.6593 | 1118163.2762 | 2507569.5999 | 1118171.6683
10 | 2507757.1717 | 1118624.2679 | 2507760.1857 | 1118628.5689 | 2507770.0843 | 1118653.9421
11 | 2507463.3189 | 1117829.476 | 2507464.0861 | 1117831.3864 | 2507467.0927 | 1117840.2125 | 2507467.6814 | 1117842.2066
12 | 2507463.3189 | 1117829.476 | 2507460.8199 | 1117823.2537 | 2507456.9177 | 1117814.4191 | 2507456.1776 | 1117813.0298
13 | 2507472.3958 | 1117858.2578 | 2507472.1729 | 1117857.423 | 2507467.6814 | 1117842.2066
14 | 2507452.324 | 1117805.7953 | 2507456.1776 | 1117813.0298
15 | 2507472.5374 | 1117858.7881 | 2507472.3958 | 1117858.2578
16 | 2507452.324 | 1117805.7953 | 2507445.8111 | 1117808.9635 | 2507431.9819 | 1117815.3644
17 | 2507475.5952 | 1117870.2414 | 2507472.5374 | 1117858.7881
18 | 2507431.1012 | 1117815.772 | 2507431.9819 | 1117815.3644
19 | 2507493.4206 | 1117955.0794 | 2507491.5424 | 1117940.288 | 2507489.438 | 1117927.8683 | 2507487.3505 | 1117917.5606 | 2507476.8732 | 1117875.0284 | 2507475.5952 | 1117870.2414
20 | 2507431.1012 | 1117815.772 | 2507426.4342 | 1117817.9321 | 2507414.057 | 1117824.2698 | 2507399.1268 | 1117833.2594 | 2507395.8351 | 1117835.222
21 | 2507385.645 | 1118373.6693 | 2507374.1171 | 1118380.4857
22 | 2507504.198 | 1118260.911 | 2507502.5965 | 1118268.7402 | 2507500.5936 | 1118281.1006 | 2507497.3994 | 1118291.7781 | 2507480.9189 | 1118319.4358 | 2507476.8307 | 1118324.1456 | 2507473.8217 | 1118326.7488 | 2507453.9444 | 1118335.1913 | 2507430.7813 | 1118347.3087 | 2507417.2923 | 1118354.5639 | 2507399.2307 | 1118365.636 | 2507385.645 | 1118373.6693
23 | 2507366.124 | 1118385.212 | 2507374.1171 | 1118380.4857
24 | 2507479.1226 | 1118241.4049 | 2507487.0079 | 1118257.8387 | 2507488.741 | 1118259.6244 | 2507490.2488 | 1118260.3017 | 2507491.8731 | 1118260.5215 | 2507504.198 | 1118260.911
25 | 2507364.6763 | 1118386.068 | 2507366.124 | 1118385.212
26 | 2507479.1226 | 1118241.4049 | 2507430.3355 | 1118269.3015 | 2507427.8495 | 1118271.7855 | 2507426.9082 | 1118273.3231 | 2507426.1792 | 1118275.1131 | 2507425.9569 | 1118277.2289 | 2507426.0136 | 1118278.918 | 2507426.5675 | 1118280.8106 | 2507442.6224 | 1118311.5725 | 2507443.0048 | 1118313.3566 | 2507442.7726 | 1118314.8277 | 2507442.146 | 1118315.749 | 2507441.8366 | 1118316.2095 | 2507440.0268 | 1118317.4824 | 2507423.5312 | 1118325.9845 | 2507422.2462 | 1118326.2487 | 2507419.5661 | 1118326.1341 | 2507417.3827 | 1118325.6895 | 2507415.9316 | 1118325.6895
27 | 2507364.6763 | 1118386.068 | 2507364.2853 | 1118386.2992
28 | 2507414.3227 | 1118326.4701 | 2507415.9316 | 1118325.6895
29 | 2507184.1866 | 1118332.5674 | 2507217.636 | 1118387.1985 | 2507226.0157 | 1118401.1117 | 2507228.7179 | 1118405.5995
30 | 2507228.7415 | 1118405.6386 | 2507228.7179 | 1118405.5995
31 | 2507364.2853 | 1118386.2992 | 2507363.8987 | 1118386.5278
32 | 2507234.5461 | 1118415.2895 | 2507233.619 | 1118413.725 | 2507230.0155 | 1118407.7544 | 2507228.7415 | 1118405.6386
33 | 2507757.1717 | 1118624.2679 | 2507680.7432 | 1118598.7963
34 | 2507363.8987 | 1118386.5278 | 2507363.8684 | 1118386.5457
35 | 2507234.5461 | 1118415.2895 | 2507247.4516 | 1118570.7414

## bus_geodata
| x | y | coords
0 | 2507891.8174 | 1118660.7245
1 | 2507933.1088 | 1118623.8426
2 | 2507820.8419 | 1118510.2541
3 | 2507823.511 | 1118790.8906
4 | 2507798.1351 | 1118489.1755
5 | 2507776.2835 | 1118669.8325
6 | 2507569.5999 | 1118171.6683
7 | 2507770.0843 | 1118653.9421
8 | 2507463.3189 | 1117829.476
9 | 2507467.6814 | 1117842.2066
10 | 2507456.1776 | 1117813.0298
11 | 2507472.3958 | 1117858.2578
12 | 2507452.324 | 1117805.7953
13 | 2507472.5374 | 1117858.7881
14 | 2507431.9819 | 1117815.3644
15 | 2507475.5952 | 1117870.2414
16 | 2507431.1012 | 1117815.772
17 | 2507385.645 | 1118373.6693
18 | 2507374.1171 | 1118380.4857
19 | 2507504.198 | 1118260.911
20 | 2507366.124 | 1118385.212
21 | 2507479.1226 | 1118241.4049
22 | 2507364.6763 | 1118386.068
23 | 2507415.9316 | 1118325.6895
24 | 2507184.1866 | 1118332.5674
25 | 2507493.4206 | 1117955.0794
26 | 2507228.7179 | 1118405.5995
27 | 2507364.2853 | 1118386.2992
28 | 2507414.3227 | 1118326.4701
29 | 2507228.7415 | 1118405.6386
30 | 2507395.8351 | 1117835.222
31 | 2507757.1717 | 1118624.2679
32 | 2507680.7432 | 1118598.7963
33 | 2507363.8987 | 1118386.5278
34 | 2507234.5461 | 1118415.2895
35 | 2507247.4516 | 1118570.7414
36 | 2507363.8684 | 1118386.5457
37 | 2507138.7333 | 1118789.3755

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1