## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6640-2_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6640-2_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6640-2_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6640-2_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6640-2_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6640-2_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6640-2_0_7_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_6640-2_0_7_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_6640-2_0_7_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_6640-2_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6640-2_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6640-2_0_7_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6640-2_0_7_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6640-2_0_7_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_6640-2_0_7_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6640-2_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6640-2_0_7_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_6640-2_0_7_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6640-2_0_7_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6640-2_0_7_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_6640-2_0_7_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_6640-2_0_7_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6640-2_0_7_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_6640-2_0_7_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_6640-2_0_7_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6640-2_0_7_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6640-2_0_7_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6640-2_0_7_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6640-2_0_7_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6640-2_0_7_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6640-2_0_7_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6640-2_0_7_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_6640-2_0_7_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6640-2_0_7_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_6640-2_0_7_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6640-2_0_7_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_6640-2_0_7_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6640-2_0_7_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6640-2_0_7_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_6640-2_0_7_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6640-2_0_7_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_6640-2_0_7_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6640-2_0_7_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6640-2_0_7_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_6640-2_0_7_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6640-2_0_7_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_6640-2_0_7_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6640-2_0_7_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6640-2_0_7_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6640-2_0_7_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_6640-2_0_7_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6640-2_0_7_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_6640-2_0_7_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6640-2_0_7_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6640-2_0_7_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_6640-2_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6640-2_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6640-2_0_7_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6640-2_0_7_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6640-2_0_7_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6640-2_0_7_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6640-2_0_7_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_6640-2_0_7_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6640-2_0_7_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6640-2_0_7_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_6640-2_0_7_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6640-2_0_7_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6640-2_0_7_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6640-2_0_7_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6640-2_0_7_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6640-2_0_7_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6640-2_0_7_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6640-2_0_7_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6640-2_0_7_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_6640-2_0_7_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6640-2_0_7_node_76 | 0.4 | n |  | TRUE
76 | bus_MV_648_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6640-2_0_7_load_0 | 0 | 0.016829 | 0.0042177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6640-2_0_7_load_3 | 3 | 0.010296 | 0.0025805 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6640-2_0_7_load_5 | 5 | 0.098951 | 0.024799 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6640-2_0_7_load_41 | 6 | 0.0099649 | 0.0024975 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6640-2_0_7_load_42 | 8 | 0.044195 | 0.011076 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6640-2_0_7_load_36 | 12 | 0.0072922 | 0.0018276 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6640-2_0_7_load_78 | 13 | 0.0038059 | 0.00095385 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6640-2_0_7_load_40 | 19 | 0.075094 | 0.01882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6640-2_0_7_load_79 | 20 | 0.010728 | 0.0026886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6640-2_0_7_load_37 | 22 | 0.0016827 | 0.00042174 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6640-2_0_7_load_34 | 23 | 0.0097178 | 0.0024355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6640-2_0_7_load_47 | 26 | 0.00083288 | 0.00020874 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6640-2_0_7_load_31 | 28 | 0.0016402 | 0.00041108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6640-2_0_7_load_28 | 29 | 0.016101 | 0.0040353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6640-2_0_7_load_43 | 31 | 0.013764 | 0.0034496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6640-2_0_7_load_27 | 32 | 0.0036031 | 0.00090303 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6640-2_0_7_load_61 | 33 | 0.00062977 | 0.00015783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6640-2_0_7_load_24 | 34 | 0.010179 | 0.002551 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6640-2_0_7_load_39 | 35 | 0.0082897 | 0.0020776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6640-2_0_7_load_25 | 37 | 0.028485 | 0.0071389 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6640-2_0_7_load_77 | 38 | 0.003944 | 0.00098846 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6640-2_0_7_load_35 | 39 | 0.010627 | 0.0026634 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6640-2_0_7_load_46 | 40 | 0.00047575 | 0.00011923 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6640-2_0_7_load_29 | 42 | 0.0016947 | 0.00042473 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6640-2_0_7_load_70 | 43 | 0.0094988 | 0.0023806 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6640-2_0_7_load_22 | 45 | 0.01464 | 0.0036691 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6640-2_0_7_load_30 | 46 | 0.0038541 | 0.00096592 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6640-2_0_7_load_32 | 47 | 0.055491 | 0.013907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6640-2_0_7_load_44 | 48 | 0.0012297 | 0.00030819 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6640-2_0_7_load_71 | 49 | 0.009006 | 0.0022571 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6640-2_0_7_load_49 | 51 | 0.00091379 | 0.00022902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6640-2_0_7_load_50 | 52 | 0.00050511 | 0.00012659 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6640-2_0_7_load_60 | 53 | 0.0006173 | 0.00015471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6640-2_0_7_load_59 | 54 | 0.00039314 | 9.853e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6640-2_0_7_load_51 | 55 | 0.0019498 | 0.00048868 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6640-2_0_7_load_52 | 56 | 0.0034871 | 0.00087395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6640-2_0_7_load_55 | 59 | 0.0010596 | 0.00026555 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6640-2_0_7_load_56 | 60 | 0.00072254 | 0.00018109 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6640-2_0_7_load_62 | 61 | 0.0012077 | 0.00030267 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6640-2_0_7_load_58 | 62 | 0.0010241 | 0.00025665 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6640-2_0_7_load_63 | 63 | 0.0013125 | 0.00032895 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6640-2_0_7_load_64 | 64 | 0.0023863 | 0.00059807 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6640-2_0_7_load_57 | 65 | 0.0009825 | 0.00024624 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6640-2_0_7_load_65 | 66 | 0.0011805 | 0.00029587 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6640-2_0_7_load_66 | 67 | 0.0011552 | 0.00028952 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6640-2_0_7_load_67 | 68 | 0.0024668 | 0.00061823 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6640-2_0_7_load_68 | 69 | 0.0024303 | 0.0006091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6640-2_0_7_load_69 | 70 | 0.001551 | 0.00038873 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6640-2_0_7_load_72 | 71 | 0.004126 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6640-2_0_7_load_73 | 72 | 0.0039204 | 0.00098255 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6640-2_0_7_load_74 | 73 | 0.0043005 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6640-2_0_7_load_75 | 74 | 0.0037956 | 0.00095126 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6640-2_0_7_load_76 | 75 | 0.0040015 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6640-2_0_7_line_0 |  | 0 | 1 | 0.039631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6640-2_0_7_line_1 |  | 0 | 2 | 0.064032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6640-2_0_7_line_2 |  | 1 | 3 | 0.024676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6640-2_0_7_line_3 |  | 1 | 4 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6640-2_0_7_line_4 |  | 2 | 5 | 0.011266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6640-2_0_7_line_5 |  | 3 | 6 | 0.008949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6640-2_0_7_line_6 |  | 4 | 7 | 0.061752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6640-2_0_7_line_7 |  | 4 | 8 | 0.045033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6640-2_0_7_line_8 |  | 5 | 9 | 0.020655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6640-2_0_7_line_9 |  | 6 | 34 | 0.022582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6640-2_0_7_line_10 |  | 7 | 35 | 0.017031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6640-2_0_7_line_11 |  | 7 | 21 | 0.06596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6640-2_0_7_line_12 |  | 9 | 13 | 0.024593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6640-2_0_7_line_13 |  | 10 | 11 | 0.02564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6640-2_0_7_line_14 |  | 10 | 12 | 0.10039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6640-2_0_7_line_15 |  | 11 | 29 | 0.026701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6640-2_0_7_line_16 |  | 11 | 27 | 0.079617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6640-2_0_7_line_17 |  | 12 | 14 | 0.0033387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6640-2_0_7_line_18 |  | 13 | 38 | 0.014981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6640-2_0_7_line_19 |  | 14 | 15 | 0.081444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6640-2_0_7_line_20 |  | 14 | 16 | 0.018252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6640-2_0_7_line_21 |  | 15 | 18 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6640-2_0_7_line_22 |  | 15 | 20 | 0.041212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6640-2_0_7_line_23 |  | 16 | 23 | 0.0073195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6640-2_0_7_line_24 |  | 17 | 18 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6640-2_0_7_line_25 |  | 17 | 19 | 0.34307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6640-2_0_7_line_26 |  | 18 | 33 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6640-2_0_7_line_27 |  | 21 | 22 | 0.096647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6640-2_0_7_line_28 |  | 23 | 39 | 0.030977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6640-2_0_7_line_29 |  | 24 | 25 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_6640-2_0_7_line_30 |  | 24 | 26 | 0.048692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6640-2_0_7_line_31 |  | 25 | 33 | 0.05615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6640-2_0_7_line_32 |  | 26 | 40 | 0.027086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6640-2_0_7_line_33 |  | 27 | 28 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6640-2_0_7_line_34 |  | 28 | 41 | 0.007033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6640-2_0_7_line_35 |  | 28 | 42 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_6640-2_0_7_line_36 |  | 30 | 31 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6640-2_0_7_line_37 |  | 30 | 32 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6640-2_0_7_line_38 |  | 31 | 43 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6640-2_0_7_line_39 |  | 32 | 36 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6640-2_0_7_line_40 |  | 34 | 44 | 0.024697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6640-2_0_7_line_41 |  | 35 | 47 | 0.0020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6640-2_0_7_line_42 |  | 36 | 37 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6640-2_0_7_line_43 |  | 38 | 75 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6640-2_0_7_line_44 |  | 40 | 50 | 0.0047163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6640-2_0_7_line_45 |  | 41 | 48 | 0.031333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6640-2_0_7_line_46 |  | 42 | 46 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6640-2_0_7_line_47 |  | 43 | 49 | 0.01526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6640-2_0_7_line_48 |  | 44 | 45 | 0.0035616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6640-2_0_7_line_49 |  | 46 | 47 | 0.021251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6640-2_0_7_line_50 |  | 49 | 71 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6640-2_0_7_line_51 |  | 50 | 51 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6640-2_0_7_line_52 |  | 50 | 52 | 0.023114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6640-2_0_7_line_53 |  | 51 | 53 | 0.0032993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6640-2_0_7_line_54 |  | 53 | 54 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6640-2_0_7_line_55 |  | 54 | 65 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6640-2_0_7_line_56 |  | 55 | 56 | 0.034645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6640-2_0_7_line_57 |  | 55 | 57 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6640-2_0_7_line_58 |  | 56 | 58 | 0.016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6640-2_0_7_line_59 |  | 57 | 59 | 0.034326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6640-2_0_7_line_60 |  | 57 | 60 | 0.035481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6640-2_0_7_line_61 |  | 58 | 61 | 0.037124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6640-2_0_7_line_62 |  | 59 | 62 | 0.02986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6640-2_0_7_line_63 |  | 60 | 63 | 0.033245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6640-2_0_7_line_64 |  | 61 | 64 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6640-2_0_7_line_65 |  | 62 | 65 | 0.02773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6640-2_0_7_line_66 |  | 64 | 66 | 0.0072323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6640-2_0_7_line_67 |  | 66 | 67 | 0.013397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6640-2_0_7_line_68 |  | 67 | 68 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6640-2_0_7_line_69 |  | 68 | 69 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6640-2_0_7_line_70 |  | 69 | 70 | 0.017638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6640-2_0_7_line_71 |  | 71 | 72 | 0.015549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6640-2_0_7_line_72 |  | 72 | 73 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6640-2_0_7_line_73 |  | 73 | 74 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6640-2_0_7_line_74 |  | 74 | 75 | 0.015069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6640-2_0_7_trafo_2 | 0.63 MVA 20/0.4 kV | 76 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2504595.3033 | 1116697.8982 | 2504602.9347 | 1116705.9383 | 2504609.2467 | 1116718.4354 | 2504612.2662 | 1116729.25 | 2504612.4378 | 1116732.5628
1 | 2504621.7022 | 1116792.4734 | 2504616.6409 | 1116789.7515 | 2504613.1698 | 1116783.5913 | 2504612.436 | 1116777.2101 | 2504611.1062 | 1116748.7024 | 2504612.677 | 1116737.1817 | 2504612.4378 | 1116732.5628
2 | 2504595.3033 | 1116697.8982 | 2504582.417 | 1116694.4548 | 2504571.0868 | 1116694.0519
3 | 2504595.3033 | 1116697.8982 | 2504605.9662 | 1116691.0814
4 | 2504621.7022 | 1116792.4734 | 2504619.5257 | 1116797.4107 | 2504618.5576 | 1116803.2009
5 | 2504571.0868 | 1116694.0519 | 2504568.9908 | 1116693.9774 | 2504562.4839 | 1116696.1234
6 | 2504605.9662 | 1116691.0814 | 2504652.4912 | 1116670.0018 | 2504660.8983 | 1116676.8069
7 | 2504605.9662 | 1116691.0814 | 2504587.2785 | 1116650.1087
8 | 2504615.1516 | 1116823.5735 | 2504618.5576 | 1116803.2009
9 | 2504541.0379 | 1116703.1966 | 2504562.4839 | 1116696.1234
10 | 2504660.8983 | 1116676.8069 | 2504668.3262 | 1116692.1331
11 | 2504718.8485 | 1116645.3192 | 2504695.5016 | 1116660.5629 | 2504660.8983 | 1116676.8069
12 | 2504615.1516 | 1116823.5735 | 2504590.9677 | 1116819.1076
13 | 2504739.5518 | 1116838.167 | 2504738.9898 | 1116835.8189 | 2504733.5553 | 1116825.0868 | 2504743.3921 | 1116819.7397
14 | 2504739.5518 | 1116838.167 | 2504746.3846 | 1116839.6381 | 2504769.6491 | 1116840.2834 | 2504782.208 | 1116840.6193 | 2504789.0349 | 1116839.7558 | 2504796.1433 | 1116837.1646 | 2504803.6446 | 1116833.5332 | 2504815.4876 | 1116822.718 | 2504819.345 | 1116818.1212 | 2504826.9596 | 1116807.9056
15 | 2504743.3921 | 1116819.7397 | 2504731.0446 | 1116796.0654
16 | 2504703.2044 | 1116763.7715 | 2504705.9213 | 1116769.1098 | 2504706.4518 | 1116770.4356 | 2504708.3338 | 1116774.2416 | 2504725.2652 | 1116808.5405 | 2504728.7504 | 1116815.601 | 2504733.5553 | 1116825.0868 | 2504743.3921 | 1116819.7397
17 | 2504828.9549 | 1116805.2288 | 2504826.9596 | 1116807.9056
18 | 2504576.2354 | 1116816.387 | 2504590.9677 | 1116819.1076
19 | 2504828.9549 | 1116805.2288 | 2504835.5287 | 1116811.8295 | 2504844.055 | 1116820.345 | 2504847.3663 | 1116820.2929 | 2504852.5541 | 1116821.2452 | 2504856.9496 | 1116823.8555 | 2504882.327 | 1116848.3827 | 2504890.9674 | 1116855.3289
20 | 2504828.9549 | 1116805.2288 | 2504830.8565 | 1116801.4521 | 2504829.9436 | 1116797.4085 | 2504824.0742 | 1116789.4515
21 | 2504875.4067 | 1116863.9232 | 2504885.5458 | 1116858.6495 | 2504890.9674 | 1116855.3289
22 | 2504890.9674 | 1116855.3289 | 2504901.2893 | 1116863.1492 | 2504910.3325 | 1116869.1997 | 2504919.9941 | 1116875.7852 | 2504924.8591 | 1116878.7344
23 | 2504824.0742 | 1116789.4515 | 2504819.7375 | 1116783.555
24 | 2504875.4067 | 1116863.9232 | 2504871.5783 | 1116854.1663
25 | 2504871.5783 | 1116854.1663 | 2504866.8087 | 1116856.7317 | 2504852.9491 | 1116863.5205 | 2504836.9815 | 1116871.2764 | 2504827.7504 | 1116875.3685 | 2504817.8866 | 1116879.4818 | 2504805.3695 | 1116884.2483 | 2504792.0603 | 1116888.7271 | 2504780.5014 | 1116892.0777 | 2504766.8971 | 1116895.4606 | 2504756.3398 | 1116897.6948 | 2504743.5827 | 1116899.9637 | 2504734.1911 | 1116901.2123 | 2504723.5412 | 1116902.4697 | 2504713.7438 | 1116903.4468 | 2504702.2179 | 1116903.9842 | 2504694.0237 | 1116904.3024 | 2504685.1917 | 1116904.3193 | 2504675.1907 | 1116904.1323 | 2504664.5518 | 1116903.6329 | 2504654.2185 | 1116902.9398 | 2504642.7894 | 1116901.7858 | 2504625.7889 | 1116898.852 | 2504611.5412 | 1116896.1861 | 2504594.4587 | 1116892.4642 | 2504563.4694 | 1116885.671 | 2504539.638 | 1116880.522
26 | 2504875.4067 | 1116863.9232 | 2504872.7648 | 1116865.2989 | 2504879.4414 | 1116882.4412
27 | 2504718.8485 | 1116645.3192 | 2504775.5425 | 1116723.5906
28 | 2504801.384 | 1116758.6006 | 2504819.7375 | 1116783.555
29 | 2504900.4031 | 1116938.854 | 2504900.8565 | 1116933.8104 | 2504894.2041 | 1116934.4709
30 | 2504900.4031 | 1116938.854 | 2504878.2333 | 1116940.5368 | 2504851.8401 | 1116942.3911
31 | 2504894.2041 | 1116934.4709 | 2504897.3355 | 1116928.3847 | 2504879.4414 | 1116882.4412
32 | 2504824.821 | 1116944.2894 | 2504851.8401 | 1116942.3911
33 | 2504696.1235 | 1116749.4965 | 2504699.5871 | 1116756.6575 | 2504703.2044 | 1116763.7715
34 | 2504696.1235 | 1116749.4965 | 2504702.3403 | 1116746.1743
35 | 2504696.1235 | 1116749.4965 | 2504692.1811 | 1116741.3536 | 2504688.5444 | 1116733.8498
36 | 2504435.3932 | 1116790.3785 | 2504453.8112 | 1116793.7796
37 | 2504435.3932 | 1116790.3785 | 2504431.2787 | 1116774.6346
38 | 2504469.8545 | 1116796.7423 | 2504453.8112 | 1116793.7796
39 | 2504421.7354 | 1116738.1177 | 2504431.2787 | 1116774.6346
40 | 2504517.5834 | 1116710.9321 | 2504541.0379 | 1116703.1966
41 | 2504669.2003 | 1116693.9367 | 2504668.3262 | 1116692.1331
42 | 2504421.7354 | 1116738.1177 | 2504425.8011 | 1116731.5716 | 2504449.1047 | 1116725.8927
43 | 2504561.1292 | 1116813.5975 | 2504576.2354 | 1116816.387
44 | 2504820.1163 | 1116944.62 | 2504824.821 | 1116944.2894
45 | 2504702.3403 | 1116746.1743 | 2504729.9636 | 1116731.3858
46 | 2504678.4688 | 1116713.0605 | 2504688.5444 | 1116733.8498
47 | 2504469.8545 | 1116796.7423 | 2504484.8607 | 1116799.5134
48 | 2504517.5834 | 1116710.9321 | 2504518.4644 | 1116714.3831
49 | 2504678.4688 | 1116713.0605 | 2504669.2003 | 1116693.9367
50 | 2504484.8607 | 1116799.5134 | 2504500.0081 | 1116802.3106
51 | 2504820.1163 | 1116944.62 | 2504802.8108 | 1116946.1838
52 | 2504820.1163 | 1116944.62 | 2504823.704 | 1116950.3559 | 2504834.6055 | 1116962.5397
53 | 2504799.5249 | 1116946.4808 | 2504802.8108 | 1116946.1838
54 | 2504799.5249 | 1116946.4808 | 2504783.4984 | 1116947.929
55 | 2504772.1764 | 1116948.9522 | 2504783.4984 | 1116947.929
56 | 2504670.1675 | 1116958.5342 | 2504635.643 | 1116961.4183
57 | 2504680.6745 | 1116957.6565 | 2504670.1675 | 1116958.5342
58 | 2504619.3162 | 1116962.7822 | 2504635.643 | 1116961.4183
59 | 2504680.6745 | 1116957.6565 | 2504714.8395 | 1116954.3376
60 | 2504680.6745 | 1116957.6565 | 2504682.2416 | 1116961.5675 | 2504704.1292 | 1116983.8966
61 | 2504619.3162 | 1116962.7822 | 2504620.883 | 1116970.5845 | 2504641.4494 | 1116991.265
62 | 2504744.5604 | 1116951.4596 | 2504732.3146 | 1116952.6401 | 2504714.8395 | 1116954.3376
63 | 2504727.4011 | 1117007.638 | 2504704.1292 | 1116983.8966
64 | 2504641.4494 | 1116991.265 | 2504653.2512 | 1117003.1323
65 | 2504772.1764 | 1116948.9522 | 2504746.5141 | 1116951.2712 | 2504744.5604 | 1116951.4596
66 | 2504658.351 | 1117008.2605 | 2504653.2512 | 1117003.1323
67 | 2504667.8507 | 1117017.706 | 2504664.4372 | 1117014.3805 | 2504658.351 | 1117008.2605
68 | 2504667.8507 | 1117017.706 | 2504677.3853 | 1117026.995
69 | 2504677.3853 | 1117026.995 | 2504688.7885 | 1117038.1045
70 | 2504701.4224 | 1117050.413 | 2504688.7885 | 1117038.1045
71 | 2504500.0081 | 1116802.3106 | 2504515.299 | 1116805.1343
72 | 2504515.299 | 1116805.1343 | 2504530.9238 | 1116808.0196
73 | 2504530.9238 | 1116808.0196 | 2504546.3108 | 1116810.861
74 | 2504546.3108 | 1116810.861 | 2504561.1292 | 1116813.5975

## bus_geodata
| x | y | coords
0 | 2504612.4378 | 1116732.5628
1 | 2504595.3033 | 1116697.8982
2 | 2504621.7022 | 1116792.4734
3 | 2504571.0868 | 1116694.0519
4 | 2504605.9662 | 1116691.0814
5 | 2504618.5576 | 1116803.2009
6 | 2504562.4839 | 1116696.1234
7 | 2504660.8983 | 1116676.8069
8 | 2504587.2785 | 1116650.1087
9 | 2504615.1516 | 1116823.5735
10 | 2504739.5518 | 1116838.167
11 | 2504743.3921 | 1116819.7397
12 | 2504826.9596 | 1116807.9056
13 | 2504590.9677 | 1116819.1076
14 | 2504828.9549 | 1116805.2288
15 | 2504890.9674 | 1116855.3289
16 | 2504824.0742 | 1116789.4515
17 | 2504871.5783 | 1116854.1663
18 | 2504875.4067 | 1116863.9232
19 | 2504539.638 | 1116880.522
20 | 2504924.8591 | 1116878.7344
21 | 2504718.8485 | 1116645.3192
22 | 2504775.5425 | 1116723.5906
23 | 2504819.7375 | 1116783.555
24 | 2504900.4031 | 1116938.854
25 | 2504894.2041 | 1116934.4709
26 | 2504851.8401 | 1116942.3911
27 | 2504703.2044 | 1116763.7715
28 | 2504696.1235 | 1116749.4965
29 | 2504731.0446 | 1116796.0654
30 | 2504435.3932 | 1116790.3785
31 | 2504453.8112 | 1116793.7796
32 | 2504431.2787 | 1116774.6346
33 | 2504879.4414 | 1116882.4412
34 | 2504541.0379 | 1116703.1966
35 | 2504668.3262 | 1116692.1331
36 | 2504421.7354 | 1116738.1177
37 | 2504449.1047 | 1116725.8927
38 | 2504576.2354 | 1116816.387
39 | 2504801.384 | 1116758.6006
40 | 2504824.821 | 1116944.2894
41 | 2504702.3403 | 1116746.1743
42 | 2504688.5444 | 1116733.8498
43 | 2504469.8545 | 1116796.7423
44 | 2504517.5834 | 1116710.9321
45 | 2504518.4644 | 1116714.3831
46 | 2504678.4688 | 1116713.0605
47 | 2504669.2003 | 1116693.9367
48 | 2504729.9636 | 1116731.3858
49 | 2504484.8607 | 1116799.5134
50 | 2504820.1163 | 1116944.62
51 | 2504802.8108 | 1116946.1838
52 | 2504834.6055 | 1116962.5397
53 | 2504799.5249 | 1116946.4808
54 | 2504783.4984 | 1116947.929
55 | 2504670.1675 | 1116958.5342
56 | 2504635.643 | 1116961.4183
57 | 2504680.6745 | 1116957.6565
58 | 2504619.3162 | 1116962.7822
59 | 2504714.8395 | 1116954.3376
60 | 2504704.1292 | 1116983.8966
61 | 2504641.4494 | 1116991.265
62 | 2504744.5604 | 1116951.4596
63 | 2504727.4011 | 1117007.638
64 | 2504653.2512 | 1117003.1323
65 | 2504772.1764 | 1116948.9522
66 | 2504658.351 | 1117008.2605
67 | 2504667.8507 | 1117017.706
68 | 2504677.3853 | 1117026.995
69 | 2504688.7885 | 1117038.1045
70 | 2504701.4224 | 1117050.413
71 | 2504500.0081 | 1116802.3106
72 | 2504515.299 | 1116805.1343
73 | 2504530.9238 | 1116808.0196
74 | 2504546.3108 | 1116810.861
75 | 2504561.1292 | 1116813.5975
76 | 2504631.9306 | 1116792.8679

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1