## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6640-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6640-5_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6640-5_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6640-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6640-5_0_4_node_64 | 0.4 | n |  | TRUE
5 | bus_LV_6640-5_0_4_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_6640-5_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6640-5_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6640-5_0_4_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_6640-5_0_4_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_6640-5_0_4_node_88 | 0.4 | n |  | TRUE
11 | bus_LV_6640-5_0_4_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_6640-5_0_4_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_6640-5_0_4_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_6640-5_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6640-5_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6640-5_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6640-5_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6640-5_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6640-5_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6640-5_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_6640-5_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6640-5_0_4_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_6640-5_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_6640-5_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_6640-5_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6640-5_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6640-5_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6640-5_0_4_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_6640-5_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6640-5_0_4_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_6640-5_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_6640-5_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_6640-5_0_4_node_8 | 0.4 | n |  | TRUE
34 | bus_LV_6640-5_0_4_node_9 | 0.4 | n |  | TRUE
35 | bus_LV_6640-5_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6640-5_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_6640-5_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6640-5_0_4_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_6640-5_0_4_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_6640-5_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_6640-5_0_4_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6640-5_0_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_6640-5_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6640-5_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6640-5_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6640-5_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6640-5_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_6640-5_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6640-5_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6640-5_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6640-5_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6640-5_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6640-5_0_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_6640-5_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6640-5_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6640-5_0_4_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_6640-5_0_4_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_6640-5_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6640-5_0_4_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_6640-5_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_6640-5_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_6640-5_0_4_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_6640-5_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_6640-5_0_4_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6640-5_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_6640-5_0_4_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_6640-5_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_6640-5_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_6640-5_0_4_node_85 | 0.4 | n |  | TRUE
70 | bus_LV_6640-5_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6640-5_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6640-5_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6640-5_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6640-5_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6640-5_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6640-5_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_6640-5_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6640-5_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6640-5_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6640-5_0_4_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_6640-5_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_459_1_node_88 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6640-5_0_4_load_0 | 0 | 0.00034602 | 8.6721e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6640-5_0_4_load_6 | 2 | 0.00063994 | 0.00016038 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6640-5_0_4_load_50 | 8 | 0.0013739 | 0.00034433 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6640-5_0_4_load_88 | 10 | 0.005732 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6640-5_0_4_load_89 | 11 | 0.014555 | 0.0036478 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6640-5_0_4_load_65 | 12 | 0.016809 | 0.0042127 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6640-5_0_4_load_62 | 13 | 0.00082307 | 0.00020628 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6640-5_0_4_load_11 | 18 | 0.00085389 | 0.00021401 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6640-5_0_4_load_58 | 20 | 0.00069355 | 0.00017382 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6640-5_0_4_load_86 | 22 | 0.00010481 | 2.6269e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6640-5_0_4_load_49 | 25 | 0.018504 | 0.0046375 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6640-5_0_4_load_52 | 28 | 0.017555 | 0.0043998 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6640-5_0_4_load_59 | 31 | 0.026371 | 0.0066093 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6640-5_0_4_load_8 | 33 | 0.0041896 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6640-5_0_4_load_61 | 36 | 0.0054735 | 0.0013718 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6640-5_0_4_load_57 | 39 | 0.0040682 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6640-5_0_4_load_66 | 42 | 0.056364 | 0.014126 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6640-5_0_4_load_39 | 43 | 0.0061506 | 0.0015415 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6640-5_0_4_load_25 | 44 | 0.0021387 | 0.00053602 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6640-5_0_4_load_31 | 48 | 0.0039646 | 0.00099362 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6640-5_0_4_load_34 | 50 | 0.00026858 | 6.7312e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6640-5_0_4_load_51 | 51 | 0.0034111 | 0.0008549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6640-5_0_4_load_78 | 53 | 0.0047701 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6640-5_0_4_load_84 | 57 | 0.0036855 | 0.00092368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6640-5_0_4_load_87 | 59 | 0.084553 | 0.021191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6640-5_0_4_load_83 | 62 | 0.011173 | 0.0028001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6640-5_0_4_load_36 | 64 | 0.0013799 | 0.00034583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6640-5_0_4_load_35 | 65 | 0.0075308 | 0.0018874 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6640-5_0_4_load_68 | 67 | 0.0013936 | 0.00034927 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6640-5_0_4_load_77 | 68 | 0.00072971 | 0.00018288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6640-5_0_4_load_85 | 69 | 0.0018331 | 0.00045941 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6640-5_0_4_load_72 | 71 | 0.00010115 | 2.535e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6640-5_0_4_load_73 | 72 | 0.00018155 | 4.5501e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6640-5_0_4_load_69 | 73 | 0.00017364 | 4.3518e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6640-5_0_4_load_70 | 74 | 0.00064792 | 0.00016238 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6640-5_0_4_load_67 | 76 | 0.016773 | 0.0042036 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6640-5_0_4_load_76 | 78 | 0.00076249 | 0.0001911 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6640-5_0_4_load_82 | 80 | 0.0016138 | 0.00040447 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6640-5_0_4_load_81 | 81 | 0.0012659 | 0.00031728 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6640-5_0_4_line_0 |  | 0 | 1 | 0.045147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6640-5_0_4_line_1 |  | 1 | 2 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6640-5_0_4_line_2 |  | 2 | 7 | 0.042268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6640-5_0_4_line_3 |  | 3 | 4 | 0.055683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6640-5_0_4_line_4 |  | 3 | 5 | 0.067614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6640-5_0_4_line_5 |  | 3 | 6 | 0.065004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6640-5_0_4_line_6 |  | 4 | 11 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6640-5_0_4_line_7 |  | 4 | 9 | 0.054595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6640-5_0_4_line_8 |  | 5 | 12 | 0.078727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6640-5_0_4_line_9 |  | 6 | 7 | 0.1098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6640-5_0_4_line_10 |  | 6 | 8 | 0.029337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6640-5_0_4_line_11 |  | 9 | 10 | 0.018782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6640-5_0_4_line_12 |  | 12 | 15 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6640-5_0_4_line_13 |  | 13 | 14 | 0.070269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6640-5_0_4_line_14 |  | 14 | 15 | 0.055359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6640-5_0_4_line_15 |  | 14 | 16 | 0.077407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6640-5_0_4_line_16 |  | 15 | 27 | 0.046102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6640-5_0_4_line_17 |  | 16 | 20 | 0.0053026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6640-5_0_4_line_18 |  | 17 | 18 | 0.038775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6640-5_0_4_line_19 |  | 17 | 19 | 0.030177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6640-5_0_4_line_20 |  | 18 | 34 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6640-5_0_4_line_21 |  | 19 | 35 | 0.053852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6640-5_0_4_line_22 |  | 19 | 36 | 0.04546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6640-5_0_4_line_23 |  | 21 | 22 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6640-5_0_4_line_24 |  | 21 | 23 | 0.16308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6640-5_0_4_line_25 |  | 23 | 33 | 0.032707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6640-5_0_4_line_26 |  | 24 | 25 | 0.030826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6640-5_0_4_line_27 |  | 24 | 26 | 0.047362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6640-5_0_4_line_28 |  | 26 | 32 | 0.014024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6640-5_0_4_line_29 |  | 26 | 28 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6640-5_0_4_line_30 |  | 26 | 29 | 0.06011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6640-5_0_4_line_31 |  | 27 | 28 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6640-5_0_4_line_32 |  | 29 | 30 | 0.048974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6640-5_0_4_line_33 |  | 29 | 31 | 0.018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6640-5_0_4_line_34 |  | 30 | 43 | 0.059788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6640-5_0_4_line_35 |  | 30 | 38 | 0.05176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6640-5_0_4_line_36 |  | 32 | 39 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6640-5_0_4_line_37 |  | 33 | 34 | 0.011602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6640-5_0_4_line_38 |  | 35 | 37 | 0.016594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6640-5_0_4_line_39 |  | 36 | 38 | 0.0013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6640-5_0_4_line_40 |  | 37 | 47 | 0.052957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6640-5_0_4_line_41 |  | 37 | 44 | 0.025506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6640-5_0_4_line_42 |  | 39 | 40 | 0.025738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6640-5_0_4_line_43 |  | 40 | 41 | 0.096696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6640-5_0_4_line_44 |  | 41 | 42 | 0.095944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6640-5_0_4_line_45 |  | 43 | 66 | 0.031491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6640-5_0_4_line_46 |  | 44 | 45 | 0.036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6640-5_0_4_line_47 |  | 45 | 46 | 0.004682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6640-5_0_4_line_48 |  | 46 | 48 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6640-5_0_4_line_49 |  | 46 | 49 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6640-5_0_4_line_50 |  | 47 | 50 | 0.023105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6640-5_0_4_line_51 |  | 49 | 51 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6640-5_0_4_line_52 |  | 52 | 53 | 0.057723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6640-5_0_4_line_53 |  | 52 | 54 | 0.024446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6640-5_0_4_line_54 |  | 52 | 55 | 0.24972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6640-5_0_4_line_55 |  | 53 | 75 | 0.034388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6640-5_0_4_line_56 |  | 54 | 59 | 0.076479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6640-5_0_4_line_57 |  | 54 | 56 | 0.059086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6640-5_0_4_line_58 |  | 55 | 60 | 0.33555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6640-5_0_4_line_59 |  | 55 | 61 | 0.0073462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6640-5_0_4_line_60 |  | 56 | 57 | 0.023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6640-5_0_4_line_61 |  | 56 | 58 | 0.024592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6640-5_0_4_line_62 |  | 57 | 69 | 0.005899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6640-5_0_4_line_63 |  | 58 | 67 | 0.029179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6640-5_0_4_line_64 |  | 58 | 63 | 0.005646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6640-5_0_4_line_65 |  | 60 | 70 | 0.14395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6640-5_0_4_line_66 |  | 61 | 62 | 0.048024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6640-5_0_4_line_67 |  | 63 | 64 | 0.031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6640-5_0_4_line_68 |  | 64 | 65 | 0.041416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6640-5_0_4_line_69 |  | 65 | 66 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_6640-5_0_4_line_70 |  | 67 | 68 | 0.023851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6640-5_0_4_line_71 |  | 68 | 78 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6640-5_0_4_line_72 |  | 70 | 71 | 0.03108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6640-5_0_4_line_73 |  | 70 | 72 | 0.0079665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6640-5_0_4_line_74 |  | 70 | 73 | 0.024624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6640-5_0_4_line_75 |  | 70 | 74 | 0.0052537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6640-5_0_4_line_76 |  | 75 | 79 | 0.05896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6640-5_0_4_line_77 |  | 76 | 77 | 0.047442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6640-5_0_4_line_78 |  | 77 | 78 | 0.013023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6640-5_0_4_line_79 |  | 79 | 80 | 0.029689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6640-5_0_4_line_80 |  | 79 | 81 | 0.036282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6640-5_0_4_trafo_39 | 0.63 MVA 20/0.4 kV | 82 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2505253.8664 | 1118100.8639 | 2505269.4617 | 1118096.6282 | 2505279.4755 | 1118094.3144 | 2505290.2587 | 1118079.0252
1 | 2505253.8664 | 1118100.8639 | 2505235.4917 | 1118087.867
2 | 2505200.9839 | 1118063.4585 | 2505235.4917 | 1118087.867
3 | 2505141.3033 | 1118221.046 | 2505148.255 | 1118219.3804 | 2505152.7842 | 1118220.2544 | 2505158.7338 | 1118219.6607 | 2505163.5962 | 1118216.1935 | 2505164.447 | 1118214.3346 | 2505165.1706 | 1118212.7333 | 2505165.1631 | 1118206.3518 | 2505165.327 | 1118198.5889 | 2505179.3481 | 1118198.8248
4 | 2505111.7439 | 1118197.6731 | 2505165.327 | 1118198.5889 | 2505179.3481 | 1118198.8248
5 | 2505179.3481 | 1118198.8248 | 2505188.9842 | 1118197.0505 | 2505197.471 | 1118194.338 | 2505203.004 | 1118190.8047 | 2505205.7154 | 1118187.9827 | 2505208.7069 | 1118184.3225 | 2505216.6816 | 1118174.5471 | 2505224.6191 | 1118164.3721 | 2505228.9427 | 1118167.8842
6 | 2505141.3033 | 1118221.046 | 2505140.1575 | 1118221.3197 | 2505135.8907 | 1118225.3668 | 2505127.415 | 1118237.6295
7 | 2505141.3033 | 1118221.046 | 2505160.0107 | 1118235.1279 | 2505165.5253 | 1118239.2774 | 2505184.9276 | 1118253.871
8 | 2505111.7439 | 1118197.6731 | 2505104.7059 | 1118191.8688 | 2505049.4129 | 1118149.5902
9 | 2505200.9839 | 1118063.4585 | 2505207.3743 | 1118080.6244 | 2505211.9645 | 1118093.2602 | 2505214.95 | 1118102.5079 | 2505217.1933 | 1118112.6568 | 2505220.2324 | 1118145.507 | 2505224.6191 | 1118164.3721 | 2505228.9427 | 1118167.8842
10 | 2505228.9427 | 1118167.8842 | 2505233.2542 | 1118164.7148 | 2505239.4761 | 1118162.2825 | 2505246.6002 | 1118162.2598 | 2505254.3866 | 1118167.5521 | 2505254.9777 | 1118168.0403
11 | 2505184.9276 | 1118253.871 | 2505184.0189 | 1118256.4646 | 2505174.3709 | 1118269.2904
12 | 2505026.6572 | 1118132.1905 | 2505049.4129 | 1118149.5902
13 | 2505059.0109 | 1118087.2107 | 2505113.263 | 1118131.8693
14 | 2505026.6572 | 1118132.1905 | 2505059.0109 | 1118087.2107
15 | 2505059.0109 | 1118087.2107 | 2505082.9045 | 1118056.4502 | 2505086.3678 | 1118059.242 | 2505102.84 | 1118071.5244 | 2505110.7118 | 1118060.6054
16 | 2504989.7662 | 1118104.5418 | 2505018.2292 | 1118125.8745 | 2505026.6572 | 1118132.1905
17 | 2505110.7118 | 1118060.6054 | 2505113.8011 | 1118056.2957
18 | 2505069.1941 | 1117964.4312 | 2505037.6376 | 1117941.7793
19 | 2505013.4479 | 1117923.7369 | 2505032.459 | 1117937.9138 | 2505037.6376 | 1117941.7793
20 | 2505069.1941 | 1117964.4312 | 2505081.9636 | 1117946.3754
21 | 2504969.9353 | 1117891.8452 | 2505013.4479 | 1117923.7369
22 | 2505013.4479 | 1117923.7369 | 2504987.2903 | 1117960.917
23 | 2505179.6383 | 1117964.3657 | 2505188.6303 | 1117970.7176 | 2505191.1189 | 1117967.227
24 | 2505114.8929 | 1117975.8435 | 2505124.0628 | 1117982.7039 | 2505127.1991 | 1117978.4298 | 2505134.5181 | 1117983.4292 | 2505132.5913 | 1117986.5725 | 2505134.1466 | 1117991.2398 | 2505150.4202 | 1118002.6694 | 2505158.4016 | 1117992.816 | 2505183.2404 | 1118010.9489 | 2505196.7974 | 1117993.3812 | 2505190.6638 | 1117988.6522 | 2505172.3803 | 1117974.5746 | 2505179.6383 | 1117964.3657
25 | 2505114.8929 | 1117975.8435 | 2505106.4218 | 1117966.2927 | 2505090.9598 | 1117953.7014
26 | 2504919.5634 | 1118052.0904 | 2504894.8635 | 1118033.6474
27 | 2504919.5634 | 1118052.0904 | 2504926.848 | 1118058.3353 | 2504957.5148 | 1118080.378
28 | 2504957.5148 | 1118080.378 | 2504955.5563 | 1118094.2618
29 | 2504957.5148 | 1118080.378 | 2504973.2912 | 1118092.1982
30 | 2504957.5148 | 1118080.378 | 2504976.1452 | 1118054.6363 | 2504977.1999 | 1118053.4745 | 2504990.9796 | 1118038.3266 | 2504995.2843 | 1118033.7451
31 | 2504989.7662 | 1118104.5418 | 2504973.2912 | 1118092.1982
32 | 2504956.2073 | 1118004.0852 | 2504995.2843 | 1118033.7451
33 | 2504995.2843 | 1118033.7451 | 2505003.0665 | 1118025.4845 | 2505007.5159 | 1118019.8165
34 | 2504956.2073 | 1118004.0852 | 2504949.3324 | 1117998.3675 | 2504912.4367 | 1117963.3807
35 | 2504986.485 | 1117962.0616 | 2504959.9099 | 1117999.502 | 2504956.2073 | 1118004.0852
36 | 2504955.5563 | 1118094.2618 | 2504945.2351 | 1118108.0207
37 | 2505081.9636 | 1117946.3754 | 2505090.9598 | 1117953.7014
38 | 2504969.9353 | 1117891.8452 | 2504979.5412 | 1117878.2972
39 | 2504986.485 | 1117962.0616 | 2504987.2903 | 1117960.917
40 | 2505011.6389 | 1117836.1117 | 2504979.5412 | 1117878.2972
41 | 2504979.5412 | 1117878.2972 | 2504959.0421 | 1117863.1194
42 | 2504929.7902 | 1118128.6099 | 2504945.2351 | 1118108.0207
43 | 2504929.7902 | 1118128.6099 | 2504953.4909 | 1118146.5151 | 2504944.004 | 1118158.7605 | 2504960.6074 | 1118171.0405 | 2504942.5604 | 1118196.0616
44 | 2504942.5604 | 1118196.0616 | 2504945.2139 | 1118216.0766 | 2504944.5287 | 1118219.6229 | 2504942.8031 | 1118223.2745 | 2504939.2086 | 1118226.3773 | 2504936.1347 | 1118228.2267 | 2504932.5004 | 1118229.2845 | 2504928.6712 | 1118229.2447 | 2504924.5752 | 1118228.4308 | 2504921.2477 | 1118226.4263 | 2504901.7776 | 1118210.0223 | 2504888.8001 | 1118196.6521
45 | 2504888.718 | 1117946.0993 | 2504892.6234 | 1117944.5925 | 2504912.4367 | 1117963.3807
46 | 2504928.1264 | 1117860.3273 | 2504934.9914 | 1117856.0724 | 2504940.4123 | 1117853.2521 | 2504941.946 | 1117852.6054 | 2504943.2409 | 1117852.485 | 2504944.2413 | 1117852.7805 | 2504945.8879 | 1117853.4217 | 2504955.7359 | 1117860.6714 | 2504959.0421 | 1117863.1194
47 | 2504924.4222 | 1117857.4504 | 2504928.1264 | 1117860.3273
48 | 2504924.4222 | 1117857.4504 | 2504923.5797 | 1117864.7459 | 2504925.5033 | 1117867.7842 | 2504927.4183 | 1117870.2779 | 2504933.1742 | 1117874.332
49 | 2504916.3893 | 1117843.8906 | 2504912.5905 | 1117848.7422 | 2504924.4222 | 1117857.4504
50 | 2505011.6389 | 1117836.1117 | 2504993.8004 | 1117821.4273
51 | 2504916.3893 | 1117843.8906 | 2504902.1299 | 1117833.1182
52 | 2504834.075 | 1117784.3262 | 2504832.9602 | 1117775.7829 | 2504832.1784 | 1117770.7477 | 2504830.6146 | 1117765.558 | 2504829.0304 | 1117762.0141 | 2504825.9924 | 1117756.3473 | 2504823.074 | 1117751.9016 | 2504817.2416 | 1117742.81 | 2504807.6715 | 1117735.3068
53 | 2504824.7711 | 1117796.947 | 2504827.6089 | 1117800.1932 | 2504828.9869 | 1117797.9924 | 2504831.3427 | 1117794.153 | 2504830.1733 | 1117792.9373 | 2504829.4318 | 1117791.4369 | 2504829.1742 | 1117789.7844 | 2504829.4339 | 1117788.1349 | 2504830.1744 | 1117786.6334 | 2504831.2374 | 1117785.5049 | 2504832.568 | 1117784.7057 | 2504834.075 | 1117784.3262
54 | 2504834.075 | 1117784.3262 | 2504835.9216 | 1117784.4306 | 2504837.6232 | 1117785.1376 | 2504839.0011 | 1117786.3611 | 2504845.5391 | 1117777.0192 | 2504853.9991 | 1117766.6909 | 2504864.6734 | 1117754.8157 | 2504877.8623 | 1117742.3229 | 2504904.7895 | 1117721.8315 | 2504926.8111 | 1117709.4333 | 2504932.0418 | 1117707.272 | 2504947.3924 | 1117700.6712 | 2504962.9872 | 1117694.8782 | 2504978.3444 | 1117691.1458 | 2504993.5143 | 1117687.7833 | 2505010.393 | 1117685.5724 | 2505027.7565 | 1117685.7221 | 2505029.4435 | 1117692.8667 | 2505029.0089 | 1117706.971
55 | 2504776.6335 | 1117720.9913 | 2504783.0273 | 1117724.5595 | 2504792.9409 | 1117728.5948 | 2504804.1187 | 1117732.5213 | 2504807.6715 | 1117735.3068
56 | 2504824.7711 | 1117796.947 | 2504818.4901 | 1117789.7525 | 2504807.3035 | 1117780.3561 | 2504765.3143 | 1117749.1441
57 | 2504822.5454 | 1117849.2474 | 2504820.6486 | 1117846.4422 | 2504816.8335 | 1117837.997 | 2504814.3397 | 1117830.1203 | 2504813.8387 | 1117826.248 | 2504814.6501 | 1117820.9098 | 2504816.8396 | 1117815.8278 | 2504821.4226 | 1117808.3288 | 2504822.9975 | 1117806.3807 | 2504826.1246 | 1117802.5069 | 2504827.6089 | 1117800.1932 | 2504824.7711 | 1117796.947
58 | 2505029.0089 | 1117706.971 | 2505029.4435 | 1117692.8667 | 2505027.7565 | 1117685.7221 | 2505044.4953 | 1117686.8934 | 2505057.5676 | 1117689.0674 | 2505069.257 | 1117692.1525 | 2505080.6559 | 1117695.9092 | 2505093.3666 | 1117701.6022 | 2505106.4818 | 1117708.4785 | 2505115.0634 | 1117714.2251 | 2505119.1227 | 1117717.5969 | 2505131.3905 | 1117726.5544 | 2505139.5762 | 1117734.1307 | 2505154.9778 | 1117751.9334 | 2505162.1578 | 1117761.838 | 2505167.8844 | 1117772.099 | 2505171.8445 | 1117781.4537 | 2505173.5244 | 1117789.6324 | 2505174.6386 | 1117797.6754 | 2505174.5583 | 1117804.8589 | 2505173.1709 | 1117812.8633 | 2505170.9646 | 1117820.3358 | 2505167.8818 | 1117828.0333 | 2505158.7451 | 1117844.9535 | 2505190.9805 | 1117845.9155 | 2505191.9413 | 1117813.6585
59 | 2505021.6888 | 1117706.3522 | 2505025.0822 | 1117706.6436 | 2505029.0089 | 1117706.971
60 | 2504822.5454 | 1117849.2474 | 2504808.418 | 1117868.5154
61 | 2504822.5454 | 1117849.2474 | 2504835.2357 | 1117870.3273
62 | 2504804.93 | 1117873.2726 | 2504808.418 | 1117868.5154
63 | 2504835.2357 | 1117870.3273 | 2504811.7447 | 1117887.6365
64 | 2504835.2357 | 1117870.3273 | 2504838.7787 | 1117874.7298
65 | 2505112.0741 | 1117898.0512 | 2505111.1824 | 1117889.4377 | 2505112.736 | 1117879.7296 | 2505119.5694 | 1117868.0486 | 2505131.5666 | 1117855.3527 | 2505137.0138 | 1117850.2642 | 2505144.6712 | 1117847.3089 | 2505153.7218 | 1117845.566 | 2505158.7451 | 1117844.9535 | 2505190.9805 | 1117845.9155 | 2505191.9413 | 1117813.6585
66 | 2505021.6888 | 1117706.3522 | 2505013.4849 | 1117747.2505 | 2505019.7322 | 1117748.1414
67 | 2504838.7787 | 1117874.7298 | 2504858.631 | 1117899.3848
68 | 2504858.631 | 1117899.3848 | 2504863.7522 | 1117905.7449 | 2504881.2458 | 1117934.0213
69 | 2504888.718 | 1117946.0993 | 2504881.2458 | 1117934.0213
70 | 2504811.7447 | 1117887.6365 | 2504793.9154 | 1117900.7739 | 2504792.5639 | 1117901.8115
71 | 2504792.5639 | 1117901.8115 | 2504783.5608 | 1117908.7233
72 | 2505112.0741 | 1117898.0512 | 2505115.6871 | 1117901.0297 | 2505117.767 | 1117907.6456 | 2505117.3377 | 1117913.7338 | 2505109.4402 | 1117924.5087
73 | 2505112.0741 | 1117898.0512 | 2505106.7471 | 1117899.4801 | 2505105.2184 | 1117901.3962
74 | 2505112.0741 | 1117898.0512 | 2505106.7471 | 1117899.4801 | 2505094.8299 | 1117914.4177
75 | 2505112.0741 | 1117898.0512 | 2505115.6871 | 1117901.0297 | 2505115.8584 | 1117901.5747
76 | 2504771.9369 | 1117675.7041 | 2504760.9399 | 1117693.5548 | 2504756.4471 | 1117704.8214 | 2504776.6335 | 1117720.9913
77 | 2504773.231 | 1117916.6536 | 2504777.0811 | 1117920.9512 | 2504783.726 | 1117929.1961 | 2504787.4334 | 1117936.6868 | 2504795.9307 | 1117957.7632
78 | 2504773.231 | 1117916.6536 | 2504783.5608 | 1117908.7233
79 | 2504771.9369 | 1117675.7041 | 2504751.4557 | 1117655.0361 | 2504751.0124 | 1117654.6442
80 | 2504771.9369 | 1117675.7041 | 2504785.8132 | 1117658.8198 | 2504799.8162 | 1117655.3459

## bus_geodata
| x | y | coords
0 | 2505290.2587 | 1118079.0252
1 | 2505253.8664 | 1118100.8639
2 | 2505235.4917 | 1118087.867
3 | 2505179.3481 | 1118198.8248
4 | 2505141.3033 | 1118221.046
5 | 2505111.7439 | 1118197.6731
6 | 2505228.9427 | 1118167.8842
7 | 2505200.9839 | 1118063.4585
8 | 2505254.9777 | 1118168.0403
9 | 2505184.9276 | 1118253.871
10 | 2505174.3709 | 1118269.2904
11 | 2505127.415 | 1118237.6295
12 | 2505049.4129 | 1118149.5902
13 | 2505113.263 | 1118131.8693
14 | 2505059.0109 | 1118087.2106
15 | 2505026.6572 | 1118132.1905
16 | 2505110.7118 | 1118060.6054
17 | 2505037.6376 | 1117941.7793
18 | 2505069.1941 | 1117964.4312
19 | 2505013.4479 | 1117923.7369
20 | 2505113.8011 | 1118056.2957
21 | 2505179.6383 | 1117964.3657
22 | 2505191.1189 | 1117967.227
23 | 2505114.8929 | 1117975.8435
24 | 2504919.5634 | 1118052.0904
25 | 2504894.8635 | 1118033.6474
26 | 2504957.5148 | 1118080.378
27 | 2504989.7662 | 1118104.5418
28 | 2504973.2912 | 1118092.1982
29 | 2504995.2843 | 1118033.7451
30 | 2504956.2073 | 1118004.0852
31 | 2505007.5159 | 1118019.8165
32 | 2504955.5563 | 1118094.2618
33 | 2505090.9598 | 1117953.7014
34 | 2505081.9636 | 1117946.3754
35 | 2504969.9353 | 1117891.8452
36 | 2504987.2903 | 1117960.917
37 | 2504979.5412 | 1117878.2972
38 | 2504986.485 | 1117962.0616
39 | 2504945.2351 | 1118108.0207
40 | 2504929.7902 | 1118128.6099
41 | 2504942.5604 | 1118196.0616
42 | 2504888.8001 | 1118196.6521
43 | 2504912.4367 | 1117963.3807
44 | 2504959.0421 | 1117863.1194
45 | 2504928.1264 | 1117860.3273
46 | 2504924.4222 | 1117857.4504
47 | 2505011.6389 | 1117836.1117
48 | 2504933.1742 | 1117874.332
49 | 2504916.3893 | 1117843.8906
50 | 2504993.8004 | 1117821.4273
51 | 2504902.1299 | 1117833.1182
52 | 2504834.075 | 1117784.3262
53 | 2504807.6715 | 1117735.3068
54 | 2504824.7711 | 1117796.947
55 | 2505029.0089 | 1117706.971
56 | 2504822.5454 | 1117849.2474
57 | 2504808.418 | 1117868.5154
58 | 2504835.2357 | 1117870.3273
59 | 2504765.3143 | 1117749.1441
60 | 2505191.9413 | 1117813.6585
61 | 2505021.6888 | 1117706.3522
62 | 2505019.7322 | 1117748.1414
63 | 2504838.7787 | 1117874.7298
64 | 2504858.631 | 1117899.3848
65 | 2504881.2458 | 1117934.0213
66 | 2504888.718 | 1117946.0993
67 | 2504811.7447 | 1117887.6365
68 | 2504792.5639 | 1117901.8115
69 | 2504804.93 | 1117873.2726
70 | 2505112.0741 | 1117898.0512
71 | 2505109.4402 | 1117924.5087
72 | 2505105.2184 | 1117901.3962
73 | 2505094.8299 | 1117914.4177
74 | 2505115.8584 | 1117901.5747
75 | 2504776.6335 | 1117720.9913
76 | 2504795.9307 | 1117957.7632
77 | 2504773.231 | 1117916.6536
78 | 2504783.5608 | 1117908.7233
79 | 2504771.9369 | 1117675.7041
80 | 2504751.0124 | 1117654.6442
81 | 2504799.8162 | 1117655.3459
82 | 2504888.718 | 1117946.0993

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1