## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6640-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6640-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6640-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6640-6_0_4_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_6640-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6640-6_0_4_node_66 | 0.4 | n |  | TRUE
6 | bus_LV_6640-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6640-6_0_4_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_6640-6_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6640-6_0_4_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_6640-6_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_6640-6_0_4_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_6640-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6640-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6640-6_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_6640-6_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_6640-6_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_6640-6_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6640-6_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_6640-6_0_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_6640-6_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_6640-6_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6640-6_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6640-6_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_6640-6_0_4_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_6640-6_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6640-6_0_4_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6640-6_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6640-6_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6640-6_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_6640-6_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_6640-6_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6640-6_0_4_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_6640-6_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6640-6_0_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_6640-6_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_6640-6_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_6640-6_0_4_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_6640-6_0_4_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_6640-6_0_4_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_6640-6_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6640-6_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6640-6_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_6640-6_0_4_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_6640-6_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6640-6_0_4_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_6640-6_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6640-6_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6640-6_0_4_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6640-6_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6640-6_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6640-6_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_6640-6_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6640-6_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_6640-6_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6640-6_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_6640-6_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6640-6_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6640-6_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_6640-6_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6640-6_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6640-6_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_6640-6_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6640-6_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_6640-6_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6640-6_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6640-6_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6640-6_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6640-6_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_MV_459_1_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6640-6_0_4_load_0 | 0 | 5.8232e-05 | 1.4594e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6640-6_0_4_load_30 | 3 | 5.8232e-05 | 1.4594e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6640-6_0_4_load_66 | 5 | 0.011616 | 0.0029112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6640-6_0_4_load_65 | 7 | 0.0030115 | 0.00075476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6640-6_0_4_load_67 | 9 | 0.0029927 | 0.00075003 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6640-6_0_4_load_52 | 11 | 0.0019498 | 0.00048867 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6640-6_0_4_load_40 | 14 | 0.0014864 | 0.00037252 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6640-6_0_4_load_55 | 18 | 0.039515 | 0.0099033 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6640-6_0_4_load_54 | 20 | 0.035505 | 0.0088985 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6640-6_0_4_load_31 | 23 | 0.0022859 | 0.00057291 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6640-6_0_4_load_47 | 26 | 0.0021134 | 0.00052966 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6640-6_0_4_load_63 | 29 | 0.0010198 | 0.00025559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6640-6_0_4_load_64 | 32 | 0.0036222 | 0.00090781 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6640-6_0_4_load_58 | 35 | 0.062013 | 0.015542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6640-6_0_4_load_70 | 37 | 0.0053238 | 0.0013343 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6640-6_0_4_load_69 | 38 | 0.008937 | 0.0022398 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6640-6_0_4_load_53 | 39 | 0.042518 | 0.010656 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6640-6_0_4_load_34 | 40 | 0.00087167 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6640-6_0_4_load_46 | 42 | 0.0040201 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6640-6_0_4_load_71 | 45 | 0.0059322 | 0.0014867 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6640-6_0_4_load_32 | 47 | 0.00094679 | 0.00023729 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6640-6_0_4_load_68 | 48 | 0.0029916 | 0.00074975 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6640-6_0_4_load_38 | 49 | 0.0019923 | 0.00049933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6640-6_0_4_load_61 | 51 | 0.00030371 | 7.6116e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6640-6_0_4_load_56 | 52 | 0.061862 | 0.015504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6640-6_0_4_load_72 | 53 | 0.023086 | 0.0057858 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6640-6_0_4_load_35 | 54 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6640-6_0_4_load_36 | 55 | 0.0014868 | 0.00037262 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6640-6_0_4_load_37 | 56 | 0.00077823 | 0.00019504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6640-6_0_4_load_39 | 57 | 0.0014877 | 0.00037286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6640-6_0_4_load_41 | 58 | 0.0014868 | 0.00037262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6640-6_0_4_load_45 | 59 | 0.00086858 | 0.00021769 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6640-6_0_4_load_44 | 60 | 0.0008697 | 0.00021797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6640-6_0_4_load_42 | 61 | 0.0046774 | 0.0011723 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6640-6_0_4_load_43 | 62 | 0.010551 | 0.0026444 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6640-6_0_4_load_49 | 63 | 0.0022966 | 0.00057559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6640-6_0_4_load_50 | 64 | 0.00048752 | 0.00012219 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6640-6_0_4_load_51 | 65 | 0.0011459 | 0.00028718 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6640-6_0_4_load_59 | 66 | 0.00042498 | 0.00010651 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6640-6_0_4_load_60 | 67 | 0.00081953 | 0.00020539 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6640-6_0_4_load_62 | 68 | 0.0010955 | 0.00027457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6640-6_0_4_line_0 |  | 0 | 1 | 0.024647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6640-6_0_4_line_1 |  | 1 | 2 | 0.040947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6640-6_0_4_line_2 |  | 2 | 3 | 0.01869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6640-6_0_4_line_3 |  | 3 | 10 | 0.076586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6640-6_0_4_line_4 |  | 4 | 5 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6640-6_0_4_line_5 |  | 4 | 6 | 0.16798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6640-6_0_4_line_6 |  | 4 | 7 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6640-6_0_4_line_7 |  | 6 | 10 | 0.16346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6640-6_0_4_line_8 |  | 6 | 11 | 0.076616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6640-6_0_4_line_9 |  | 7 | 8 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6640-6_0_4_line_10 |  | 8 | 9 | 0.027869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6640-6_0_4_line_11 |  | 9 | 48 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6640-6_0_4_line_12 |  | 11 | 13 | 0.121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6640-6_0_4_line_13 |  | 12 | 13 | 0.13457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6640-6_0_4_line_14 |  | 12 | 14 | 0.10054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6640-6_0_4_line_15 |  | 13 | 15 | 0.1022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6640-6_0_4_line_16 |  | 13 | 16 | 0.14287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6640-6_0_4_line_17 |  | 14 | 49 | 0.039285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6640-6_0_4_line_18 |  | 15 | 40 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6640-6_0_4_line_19 |  | 15 | 41 | 0.051301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6640-6_0_4_line_20 |  | 16 | 23 | 0.0089005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6640-6_0_4_line_21 |  | 17 | 18 | 0.079825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6640-6_0_4_line_22 |  | 17 | 19 | 0.060792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6640-6_0_4_line_23 |  | 17 | 20 | 0.088892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6640-6_0_4_line_24 |  | 18 | 44 | 0.082069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6640-6_0_4_line_25 |  | 19 | 39 | 0.0059372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6640-6_0_4_line_26 |  | 20 | 31 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6640-6_0_4_line_27 |  | 21 | 22 | 0.1258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6640-6_0_4_line_28 |  | 21 | 23 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6640-6_0_4_line_29 |  | 22 | 24 | 0.15228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6640-6_0_4_line_30 |  | 22 | 25 | 0.045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6640-6_0_4_line_31 |  | 22 | 26 | 0.045238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6640-6_0_4_line_32 |  | 24 | 39 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6640-6_0_4_line_33 |  | 25 | 42 | 0.029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6640-6_0_4_line_34 |  | 26 | 50 | 0.030713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6640-6_0_4_line_35 |  | 27 | 28 | 0.22435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6640-6_0_4_line_36 |  | 27 | 29 | 0.1172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6640-6_0_4_line_37 |  | 28 | 43 | 0.043235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6640-6_0_4_line_38 |  | 28 | 38 | 0.091329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6640-6_0_4_line_39 |  | 28 | 30 | 0.24471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6640-6_0_4_line_40 |  | 29 | 51 | 0.0056279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6640-6_0_4_line_41 |  | 30 | 31 | 0.2224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6640-6_0_4_line_42 |  | 30 | 32 | 0.071429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6640-6_0_4_line_43 |  | 33 | 34 | 0.060527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6640-6_0_4_line_44 |  | 33 | 35 | 0.055966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6640-6_0_4_line_45 |  | 34 | 52 | 0.0086923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6640-6_0_4_line_46 |  | 35 | 44 | 0.02587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6640-6_0_4_line_47 |  | 36 | 37 | 0.13972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6640-6_0_4_line_48 |  | 36 | 38 | 0.071147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6640-6_0_4_line_49 |  | 40 | 53 | 0.002283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6640-6_0_4_line_50 |  | 41 | 46 | 0.01377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6640-6_0_4_line_51 |  | 43 | 45 | 0.12548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6640-6_0_4_line_52 |  | 46 | 47 | 0.0075042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6640-6_0_4_line_53 |  | 49 | 55 | 0.033897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6640-6_0_4_line_54 |  | 50 | 63 | 0.046672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6640-6_0_4_line_55 |  | 50 | 64 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6640-6_0_4_line_56 |  | 51 | 66 | 0.015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6640-6_0_4_line_57 |  | 54 | 55 | 0.00015429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6640-6_0_4_line_58 |  | 54 | 56 | 0.0071004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6640-6_0_4_line_59 |  | 56 | 57 | 0.0099953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6640-6_0_4_line_60 |  | 57 | 58 | 0.0038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6640-6_0_4_line_61 |  | 58 | 59 | 0.026796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6640-6_0_4_line_62 |  | 59 | 60 | 0.00081945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6640-6_0_4_line_63 |  | 60 | 62 | 0.028528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6640-6_0_4_line_64 |  | 61 | 62 | 0.0069717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6640-6_0_4_line_65 |  | 64 | 65 | 0.0015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6640-6_0_4_line_66 |  | 66 | 67 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6640-6_0_4_line_67 |  | 67 | 68 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6640-6_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 69 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2505253.8664 | 1118100.8639 | 2505269.4617 | 1118096.6282 | 2505277.7308 | 1118094.7176
1 | 2505285.4757 | 1118126.996 | 2505253.8664 | 1118100.8639
2 | 2505285.4757 | 1118126.996 | 2505300.3791 | 1118138.2752
3 | 2505356.0253 | 1118176.7111 | 2505347.4401 | 1118170.1859 | 2505343.7785 | 1118173.4563 | 2505332.804 | 1118173.0722 | 2505317.79 | 1118162.6675 | 2505313.9372 | 1118157.6692 | 2505312.9771 | 1118153.0481 | 2505311.4326 | 1118150.5374 | 2505311.2381 | 1118146.4935 | 2505300.3791 | 1118138.2752
4 | 2505314.7967 | 1118407.2083 | 2505311.5359 | 1118404.0241 | 2505309.1175 | 1118400.9045 | 2505307.6882 | 1118398.3586
5 | 2505307.6882 | 1118398.3586 | 2505305.2057 | 1118394.106 | 2505302.9517 | 1118388.6713 | 2505301.1998 | 1118382.7729 | 2505300.1255 | 1118377.2641 | 2505299.6269 | 1118373.0249 | 2505299.8834 | 1118367.2285 | 2505300.7372 | 1118361.6228 | 2505302.8383 | 1118350.3941 | 2505303.4266 | 1118342.6135 | 2505303.0556 | 1118337.1604 | 2505301.5395 | 1118331.5363 | 2505299.5102 | 1118327.1431 | 2505298.0643 | 1118324.5197 | 2505296.743 | 1118322.4614 | 2505291.9922 | 1118316.7989 | 2505282.9492 | 1118309.1247 | 2505286.0854 | 1118305.8292 | 2505291.8796 | 1118299.757 | 2505295.6192 | 1118297.5304 | 2505300.0006 | 1118292.9145 | 2505316.2697 | 1118274.5597 | 2505324.6942 | 1118266.8899 | 2505326.4408 | 1118266.0398 | 2505329.2948 | 1118266.9068 | 2505333.2816 | 1118270.113
6 | 2505307.6882 | 1118398.3586 | 2505296.824 | 1118398.5844 | 2505287.4888 | 1118400.3316 | 2505286.0847 | 1118400.4531
7 | 2505333.2816 | 1118270.113 | 2505340.5801 | 1118264.4731 | 2505326.1102 | 1118240.496 | 2505331.8084 | 1118239.1282 | 2505328.9036 | 1118234.0372 | 2505329.068 | 1118230.2434 | 2505328.1539 | 1118227.078 | 2505322.7978 | 1118213.3201 | 2505330.1056 | 1118212.2162 | 2505333.2928 | 1118211.1879 | 2505335.9317 | 1118209.6457 | 2505345.2459 | 1118202.5956 | 2505351.6584 | 1118197.5477 | 2505362.435 | 1118188.7404 | 2505365.0904 | 1118186.7754 | 2505366.6272 | 1118185.8397 | 2505367.8032 | 1118185.5211 | 2505369.2771 | 1118185.4981 | 2505375.7732 | 1118186.775 | 2505376.5545 | 1118186.8851 | 2505376.6011 | 1118184.9276 | 2505376.5119 | 1118183.1723 | 2505376.2389 | 1118182.4984 | 2505366.9083 | 1118176.185 | 2505362.865 | 1118180.7065 | 2505361.1564 | 1118180.5332 | 2505356.0253 | 1118176.7111
8 | 2505333.2816 | 1118270.113 | 2505336.848 | 1118273.0923 | 2505345.6614 | 1118283.8499 | 2505353.6426 | 1118291.2517 | 2505359.0395 | 1118295.292 | 2505370.4445 | 1118300.0164 | 2505379.1197 | 1118301.9486 | 2505386.0666 | 1118302.4513 | 2505398.2617 | 1118301.4378
9 | 2505267.3074 | 1118399.0246 | 2505273.0681 | 1118400.6688 | 2505280.7365 | 1118400.9155 | 2505286.0847 | 1118400.4531
10 | 2505267.3074 | 1118399.0246 | 2505246.896 | 1118418.0004 | 2505246.896 | 1118418.0004
11 | 2505246.896 | 1118418.0004 | 2505240.0615 | 1118424.1779 | 2505239.1221 | 1118424.8849
12 | 2505496.2285 | 1118232.8868 | 2505488.7506 | 1118239.4076 | 2505478.2339 | 1118252.0018 | 2505475.9357 | 1118254.1057 | 2505466.7303 | 1118261.2095 | 2505443.0268 | 1118278.0347 | 2505416.8359 | 1118294.2318 | 2505411.2459 | 1118297.5768 | 2505403.5174 | 1118299.9102 | 2505398.2617 | 1118301.4378
13 | 2505496.2285 | 1118232.8868 | 2505511.2536 | 1118245.5153 | 2505514.2955 | 1118248.0249 | 2505515.684 | 1118249.9489 | 2505521.7714 | 1118262.6171 | 2505525.1986 | 1118269.0452 | 2505530.032 | 1118276.0518 | 2505535.4782 | 1118282.2706 | 2505542.6571 | 1118290.2077 | 2505548.225 | 1118296.8026 | 2505550.9482 | 1118300.1621 | 2505555.7597 | 1118309.7262 | 2505558.6487 | 1118315.3067 | 2505558.1265 | 1118316.9603 | 2505557.1438 | 1118319.7663 | 2505555.8226 | 1118322.155 | 2505554.7084 | 1118324.4516 | 2505553.7012 | 1118327.6693 | 2505553.3511 | 1118329.4647 | 2505552.002 | 1118332.0429 | 2505550.8046 | 1118333.9517 | 2505550.1813 | 1118335.0621 | 2505548.6794 | 1118339.2214 | 2505547.4389 | 1118342.8208
14 | 2505547.4389 | 1118342.8208 | 2505539.7026 | 1118346.6328 | 2505533.2267 | 1118351.5703 | 2505527.9529 | 1118356.8781 | 2505521.6731 | 1118365.9706 | 2505519.6154 | 1118370.6167 | 2505516.3867 | 1118379.8506 | 2505512.2228 | 1118393.4461 | 2505508.9248 | 1118405.1603 | 2505502.5421 | 1118426.4286 | 2505502.0312 | 1118428.1371
15 | 2505496.2285 | 1118232.8868 | 2505498.9943 | 1118230.5755 | 2505502.924 | 1118224.2102 | 2505499.4747 | 1118220.8176 | 2505495.8873 | 1118216.4932 | 2505493.0254 | 1118209.6893 | 2505491.4372 | 1118204.3776 | 2505490.8802 | 1118198.8718 | 2505490.8728 | 1118195.9257 | 2505491.3148 | 1118191.6161 | 2505492.2445 | 1118186.8987 | 2505493.791 | 1118182.6275 | 2505495.6656 | 1118178.6069 | 2505500.8311 | 1118171.7998 | 2505510.5737 | 1118166.4554 | 2505514.5308 | 1118164.8037 | 2505520.9417 | 1118162.1131 | 2505527.5113 | 1118162.1661 | 2505531.1187 | 1118162.8324
16 | 2505496.2285 | 1118232.8868 | 2505498.9943 | 1118230.5755 | 2505502.924 | 1118224.2102 | 2505506.7853 | 1118227.2962 | 2505512.6715 | 1118231.0399 | 2505519.0776 | 1118234.4642 | 2505543.0124 | 1118247.2426 | 2505557.7156 | 1118255.0845 | 2505565.15 | 1118259.1153 | 2505582.1359 | 1118268.3114 | 2505583.4969 | 1118260.5632 | 2505584.268 | 1118258.5388 | 2505593.1162 | 1118242.3908 | 2505595.7756 | 1118237.7131 | 2505598.2306 | 1118234.773 | 2505601.2243 | 1118233.2142
17 | 2505502.0312 | 1118428.1371 | 2505496.9675 | 1118445.0715 | 2505495.6852 | 1118448.4603 | 2505494.1012 | 1118451.8093 | 2505490.2368 | 1118457.4064 | 2505485.2362 | 1118461.9095 | 2505484.6557 | 1118462.3855
18 | 2505531.1187 | 1118162.8324 | 2505533.1386 | 1118155.7632 | 2505533.0973 | 1118152.1282 | 2505533.6473 | 1118148.7954 | 2505534.2776 | 1118146.7132
19 | 2505531.1187 | 1118162.8324 | 2505533.493 | 1118163.1288 | 2505536.3087 | 1118164.0076 | 2505540.6276 | 1118165.7523 | 2505578.1453 | 1118183.3106
20 | 2505601.2243 | 1118233.2142 | 2505603.297 | 1118232.9818 | 2505605.3456 | 1118233.1832 | 2505607.9033 | 1118233.8548 | 2505609.6885 | 1118234.9832
21 | 2505701.7497 | 1118141.9239 | 2505752.2772 | 1118080.1259
22 | 2505701.7497 | 1118141.9239 | 2505714.7171 | 1118152.2948 | 2505709.8038 | 1118157.9749 | 2505704.0556 | 1118164.5574 | 2505701.2123 | 1118167.3478 | 2505700.1265 | 1118168.0096 | 2505697.5861 | 1118167.9492 | 2505695.6541 | 1118168.7909 | 2505693.4767 | 1118170.726 | 2505690.3842 | 1118173.3759 | 2505693.4192 | 1118175.452 | 2505697.5252 | 1118178.8901 | 2505699.104 | 1118180.1441
23 | 2505701.7497 | 1118141.9239 | 2505675.1427 | 1118120.648 | 2505672.6861 | 1118117.5511 | 2505671.0238 | 1118113.4189 | 2505669.2118 | 1118106.6208 | 2505667.7572 | 1118102.4409 | 2505666.585 | 1118101.025 | 2505655.4837 | 1118088.5683 | 2505652.5914 | 1118072.3924
24 | 2505816.1192 | 1118037.812 | 2505807.9668 | 1118043.1866 | 2505780.7971 | 1118045.2443 | 2505752.2772 | 1118080.1259
25 | 2505699.104 | 1118180.1441 | 2505700.3699 | 1118181.136 | 2505702.2161 | 1118182.219 | 2505703.628 | 1118183.1643 | 2505703.9278 | 1118183.5511
26 | 2505640.9709 | 1118066.2366 | 2505652.5914 | 1118072.3924
27 | 2505610.9211 | 1118245.7039 | 2505622.7599 | 1118253.0125 | 2505624.3786 | 1118253.8544 | 2505624.4306 | 1118257.6782 | 2505623.6108 | 1118261.0375 | 2505621.4666 | 1118265.0956 | 2505611.0936 | 1118283.9468 | 2505668.1484 | 1118314.4976 | 2505678.9273 | 1118319.6771
28 | 2505610.9211 | 1118245.7039 | 2505611.89 | 1118243.9877 | 2505612.4031 | 1118242.2453 | 2505612.6075 | 1118240.5077 | 2505612.3516 | 1118238.4549 | 2505611.5335 | 1118236.9779 | 2505609.6885 | 1118234.9832
29 | 2505678.9273 | 1118319.6771 | 2505683.6636 | 1118321.9602 | 2505687.6574 | 1118313.7596 | 2505690.9076 | 1118307.3717 | 2505698.9173 | 1118292.3821 | 2505707.3757 | 1118278.4418 | 2505708.3413 | 1118276.0141 | 2505709.11 | 1118272.8447 | 2505709.1561 | 1118269.364 | 2505708.5484 | 1118266.5273 | 2505707.6755 | 1118264.5064 | 2505706.0373 | 1118262.4084 | 2505703.7831 | 1118260.409 | 2505701.2147 | 1118259.0482 | 2505697.5782 | 1118257.504 | 2505688.9916 | 1118253.3242 | 2505700.2975 | 1118232.4129 | 2505701.5804 | 1118229.5467 | 2505701.9175 | 1118228.3963 | 2505702.1396 | 1118226.3027 | 2505701.8318 | 1118224.3841 | 2505700.7253 | 1118221.7331 | 2505699.2691 | 1118217.4532 | 2505698.7111 | 1118212.3587 | 2505698.1969 | 1118210.0765 | 2505698.3737 | 1118208.0503 | 2505698.9713 | 1118205.784 | 2505700.3919 | 1118202.8378 | 2505703.0675 | 1118197.2149
30 | 2505678.9273 | 1118319.6771 | 2505683.6636 | 1118321.9602 | 2505695.0957 | 1118327.9523 | 2505701.2982 | 1118331.2021 | 2505714.4503 | 1118338.1013 | 2505719.7575 | 1118339.8752
31 | 2505678.9273 | 1118319.6771 | 2505674.539 | 1118325.8493 | 2505665.8584 | 1118321.0818 | 2505641.5271 | 1118307.7149
32 | 2505703.0675 | 1118197.2149 | 2505705.2371 | 1118192.8006 | 2505706.0675 | 1118191.1089 | 2505706.0649 | 1118188.4629 | 2505705.685 | 1118186.3786 | 2505704.786 | 1118184.6582 | 2505703.9278 | 1118183.5511
33 | 2505719.7575 | 1118339.8752 | 2505719.2558 | 1118347.2986 | 2505700.0679 | 1118336.2862
34 | 2505614.607 | 1118292.9308 | 2505629.4927 | 1118301.1035 | 2505641.5271 | 1118307.7149
35 | 2505556.3155 | 1117761.7606 | 2505561.8533 | 1117754.5364 | 2505567.1935 | 1117746.5259 | 2505570.2735 | 1117742.5754 | 2505596.2216 | 1117700.2668 | 2505617.396 | 1117644.8804 | 2505701.2298 | 1117681.9957
36 | 2505701.2298 | 1117681.9957 | 2505673.6489 | 1117740.428 | 2505661.4044 | 1117772.483 | 2505676.2996 | 1117783.0623
37 | 2505556.3155 | 1117761.7606 | 2505522.2489 | 1117735.0206
38 | 2505556.3155 | 1117761.7606 | 2505552.536 | 1117766.8894 | 2505526.2103 | 1117804.7569 | 2505498.8761 | 1117832.3482
39 | 2505556.3155 | 1117761.7606 | 2505561.8533 | 1117754.5364 | 2505580.075 | 1117768.138 | 2505586.028 | 1117760.3181 | 2505631.0557 | 1117793.9917 | 2505748.5878 | 1117881.9798
40 | 2505680.8879 | 1117786.3211 | 2505676.2996 | 1117783.0623
41 | 2505640.9709 | 1118066.2366 | 2505636.6052 | 1118052.5964 | 2505634.3842 | 1118048.7731 | 2505661.6479 | 1118025.5337 | 2505736.3299 | 1117902.2943 | 2505738.6957 | 1117898.0771 | 2505743.591 | 1117890.2404 | 2505748.5878 | 1117881.9798
42 | 2505748.5878 | 1117881.9798 | 2505751.374 | 1117877.5003 | 2505771.9618 | 1117843.859 | 2505797.462 | 1117851.8147
43 | 2505842.7368 | 1117986.9221 | 2505824.3446 | 1117972.6997 | 2505787.213 | 1117975.991
44 | 2505842.7368 | 1117986.9221 | 2505809.8104 | 1117990.0922 | 2505811.7314 | 1118012.8988
45 | 2505787.213 | 1117975.991 | 2505786.4195 | 1117967.335
46 | 2505816.1192 | 1118037.812 | 2505813.5513 | 1118034.5055 | 2505811.7314 | 1118012.8988
47 | 2505448.8033 | 1117882.8918 | 2505367.8512 | 1117833.0382 | 2505329.3927 | 1117810.3482
48 | 2505448.8033 | 1117882.8918 | 2505498.8761 | 1117832.3482
49 | 2505534.9391 | 1118144.5282 | 2505534.2776 | 1118146.7132
50 | 2505578.1453 | 1118183.3106 | 2505576.0592 | 1118188.1239 | 2505576.2108 | 1118190.4118 | 2505578.9381 | 1118196.0171
51 | 2505522.2489 | 1117735.0206 | 2505513.324 | 1117728.0224 | 2505421.518 | 1117660.2064
52 | 2505578.9381 | 1118196.0171 | 2505579.9535 | 1118197.769 | 2505581.8268 | 1118200.0856 | 2505584.1166 | 1118201.0892
53 | 2505457.0521 | 1118481.9802 | 2505465.9757 | 1118476.5306 | 2505478.2556 | 1118467.6332 | 2505484.6557 | 1118462.3855
54 | 2505614.607 | 1118292.9308 | 2505613.3224 | 1118292.2282 | 2505588.5725 | 1118278.6394 | 2505576.357 | 1118271.926 | 2505573.6982 | 1118270.4648
55 | 2505614.607 | 1118292.9308 | 2505609.363 | 1118303.2648
56 | 2505693.1592 | 1117795.0368 | 2505680.8879 | 1117786.3211
57 | 2505457.0521 | 1118481.9802 | 2505456.9204 | 1118482.0606
58 | 2505450.8607 | 1118485.7613 | 2505450.8607 | 1118485.7613 | 2505456.9204 | 1118482.0606
59 | 2505442.9129 | 1118491.8226 | 2505442.9129 | 1118491.8226 | 2505450.8607 | 1118485.7613
60 | 2505442.9129 | 1118491.8226 | 2505439.954 | 1118494.3611
61 | 2505418.5017 | 1118510.3764 | 2505422.7518 | 1118507.5808 | 2505434.9006 | 1118498.6965 | 2505439.954 | 1118494.3611
62 | 2505418.5017 | 1118510.3764 | 2505417.8171 | 1118510.8267
63 | 2505417.8171 | 1118510.8267 | 2505407.6709 | 1118517.5004 | 2505402.994 | 1118520.4865 | 2505396.6735 | 1118523.0091 | 2505392.8252 | 1118524.2034 | 2505392.8252 | 1118524.2034
64 | 2505392.8252 | 1118524.2034 | 2505394.2499 | 1118531.028
65 | 2505609.363 | 1118303.2648 | 2505608.6617 | 1118304.6468
66 | 2505693.1592 | 1117795.0368 | 2505703.5011 | 1117802.3822
67 | 2505713.3599 | 1117809.3844 | 2505703.5011 | 1117802.3822

## bus_geodata
| x | y | coords
0 | 2505277.7308 | 1118094.7176
1 | 2505253.8664 | 1118100.8639
2 | 2505285.4757 | 1118126.996
3 | 2505300.3791 | 1118138.2752
4 | 2505307.6882 | 1118398.3586
5 | 2505314.7967 | 1118407.2083
6 | 2505333.2816 | 1118270.113
7 | 2505286.0847 | 1118400.4531
8 | 2505267.3074 | 1118399.0246
9 | 2505246.896 | 1118418.0004
10 | 2505356.0253 | 1118176.7111
11 | 2505398.2617 | 1118301.4378
12 | 2505547.4389 | 1118342.8208
13 | 2505496.2285 | 1118232.8868
14 | 2505502.0312 | 1118428.1371
15 | 2505531.1187 | 1118162.8324
16 | 2505601.2243 | 1118233.2142
17 | 2505701.7497 | 1118141.9239
18 | 2505752.2772 | 1118080.1259
19 | 2505699.104 | 1118180.1441
20 | 2505652.5914 | 1118072.3924
21 | 2505610.9211 | 1118245.7039
22 | 2505678.9273 | 1118319.6771
23 | 2505609.6885 | 1118234.9832
24 | 2505703.0675 | 1118197.2149
25 | 2505719.7575 | 1118339.8752
26 | 2505641.5271 | 1118307.7149
27 | 2505701.2298 | 1117681.9957
28 | 2505556.3155 | 1117761.7606
29 | 2505676.2996 | 1117783.0623
30 | 2505748.5878 | 1117881.9798
31 | 2505640.9709 | 1118066.2366
32 | 2505797.462 | 1117851.8147
33 | 2505842.7368 | 1117986.9221
34 | 2505787.2131 | 1117975.991
35 | 2505811.7314 | 1118012.8988
36 | 2505448.8033 | 1117882.8918
37 | 2505329.3927 | 1117810.3482
38 | 2505498.8761 | 1117832.3482
39 | 2505703.9278 | 1118183.5511
40 | 2505534.2776 | 1118146.7132
41 | 2505578.1453 | 1118183.3106
42 | 2505700.0679 | 1118336.2862
43 | 2505522.2489 | 1117735.0206
44 | 2505816.1192 | 1118037.812
45 | 2505421.518 | 1117660.2064
46 | 2505578.9381 | 1118196.0171
47 | 2505584.1166 | 1118201.0892
48 | 2505239.1221 | 1118424.8849
49 | 2505484.6557 | 1118462.3855
50 | 2505614.607 | 1118292.9308
51 | 2505680.8879 | 1117786.3211
52 | 2505786.4195 | 1117967.335
53 | 2505534.9391 | 1118144.5282
54 | 2505456.9204 | 1118482.0606
55 | 2505457.0521 | 1118481.9802
56 | 2505450.8607 | 1118485.7613
57 | 2505442.9129 | 1118491.8226
58 | 2505439.954 | 1118494.3611
59 | 2505418.5017 | 1118510.3764
60 | 2505417.8171 | 1118510.8267
61 | 2505394.2499 | 1118531.028
62 | 2505392.8252 | 1118524.2034
63 | 2505573.6982 | 1118270.4648
64 | 2505609.363 | 1118303.2648
65 | 2505608.6617 | 1118304.6468
66 | 2505693.1592 | 1117795.0368
67 | 2505703.5011 | 1117802.3822
68 | 2505713.3599 | 1117809.3844
69 | 2505640.9709 | 1118066.2366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1