## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6642-3_1_3_node_9 | 0.4 | n |  | TRUE
1 | bus_LV_6642-3_1_3_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_6642-3_1_3_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_6642-3_1_3_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_6642-3_1_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_6642-3_1_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_6642-3_1_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6642-3_1_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_6642-3_1_3_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_6642-3_1_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_6642-3_1_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_6642-3_1_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_6642-3_1_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_6642-3_1_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_6642-3_1_3_node_100 | 0.4 | n |  | TRUE
15 | bus_LV_6642-3_1_3_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_6642-3_1_3_node_77 | 0.4 | n |  | TRUE
17 | bus_LV_6642-3_1_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_6642-3_1_3_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6642-3_1_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_6642-3_1_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_6642-3_1_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_6642-3_1_3_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_6642-3_1_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_6642-3_1_3_node_130 | 0.4 | n |  | TRUE
25 | bus_LV_6642-3_1_3_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_6642-3_1_3_node_128 | 0.4 | n |  | TRUE
27 | bus_LV_6642-3_1_3_node_125 | 0.4 | n |  | TRUE
28 | bus_LV_6642-3_1_3_node_126 | 0.4 | n |  | TRUE
29 | bus_LV_6642-3_1_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_6642-3_1_3_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6642-3_1_3_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_6642-3_1_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_6642-3_1_3_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_6642-3_1_3_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_6642-3_1_3_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_6642-3_1_3_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_6642-3_1_3_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_6642-3_1_3_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_6642-3_1_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_6642-3_1_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_6642-3_1_3_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_6642-3_1_3_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_6642-3_1_3_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_6642-3_1_3_node_115 | 0.4 | n |  | TRUE
45 | bus_LV_6642-3_1_3_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_6642-3_1_3_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_6642-3_1_3_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_6642-3_1_3_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_6642-3_1_3_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_6642-3_1_3_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_6642-3_1_3_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_6642-3_1_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_6642-3_1_3_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_6642-3_1_3_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_6642-3_1_3_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_6642-3_1_3_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_6642-3_1_3_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_6642-3_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_6642-3_1_3_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_6642-3_1_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_6642-3_1_3_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_6642-3_1_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_6642-3_1_3_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_6642-3_1_3_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_6642-3_1_3_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_6642-3_1_3_node_109 | 0.4 | n |  | TRUE
67 | bus_LV_6642-3_1_3_node_114 | 0.4 | n |  | TRUE
68 | bus_LV_6642-3_1_3_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_6642-3_1_3_node_113 | 0.4 | n |  | TRUE
70 | bus_LV_6642-3_1_3_node_138 | 0.4 | n |  | TRUE
71 | bus_LV_6642-3_1_3_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_6642-3_1_3_node_116 | 0.4 | n |  | TRUE
73 | bus_LV_6642-3_1_3_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_6642-3_1_3_node_118 | 0.4 | n |  | TRUE
75 | bus_LV_6642-3_1_3_node_120 | 0.4 | n |  | TRUE
76 | bus_LV_6642-3_1_3_node_122 | 0.4 | n |  | TRUE
77 | bus_LV_6642-3_1_3_node_123 | 0.4 | n |  | TRUE
78 | bus_LV_6642-3_1_3_node_127 | 0.4 | n |  | TRUE
79 | bus_LV_6642-3_1_3_node_132 | 0.4 | n |  | TRUE
80 | bus_LV_6642-3_1_3_node_129 | 0.4 | n |  | TRUE
81 | bus_LV_6642-3_1_3_node_131 | 0.4 | n |  | TRUE
82 | bus_LV_6642-3_1_3_node_137 | 0.4 | n |  | TRUE
83 | bus_MV_647_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6642-3_1_3_load_9 | 0 | 0.051573 | 0.012925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6642-3_1_3_load_10 | 1 | 0.010622 | 0.0026621 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6642-3_1_3_load_11 | 2 | 0.00053963 | 0.00013524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6642-3_1_3_load_12 | 3 | 0.046043 | 0.011539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6642-3_1_3_load_13 | 4 | 0.0011346 | 0.00028437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6642-3_1_3_load_14 | 5 | 0.0010615 | 0.00026603 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6642-3_1_3_load_22 | 7 | 0.0026856 | 0.00067308 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6642-3_1_3_load_79 | 8 | 0.0033267 | 0.00083374 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6642-3_1_3_load_78 | 9 | 0.00075257 | 0.00018861 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6642-3_1_3_load_23 | 10 | 0.00091806 | 0.00023009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6642-3_1_3_load_20 | 11 | 0.00057226 | 0.00014342 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6642-3_1_3_load_51 | 12 | 0.0037384 | 0.00093693 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6642-3_1_3_load_100 | 14 | 0.0004249 | 0.00010649 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6642-3_1_3_load_134 | 15 | 0.0007781 | 0.00019501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6642-3_1_3_load_77 | 16 | 0.0011902 | 0.00029829 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6642-3_1_3_load_34 | 18 | 0.00077336 | 0.00019382 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6642-3_1_3_load_35 | 19 | 0.00054098 | 0.00013558 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6642-3_1_3_load_36 | 20 | 0.00095092 | 0.00023832 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6642-3_1_3_load_39 | 22 | 0.0010409 | 0.00026088 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6642-3_1_3_load_130 | 24 | 0.00032891 | 8.2432e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6642-3_1_3_load_124 | 25 | 0.00079315 | 0.00019878 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6642-3_1_3_load_128 | 26 | 0.00048382 | 0.00012126 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6642-3_1_3_load_125 | 27 | 0.0040351 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6642-3_1_3_load_126 | 28 | 0.00080069 | 0.00020067 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6642-3_1_3_load_43 | 29 | 0.013377 | 0.0033527 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6642-3_1_3_load_53 | 30 | 0.00062878 | 0.00015759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6642-3_1_3_load_54 | 31 | 0.00026812 | 6.7197e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6642-3_1_3_load_55 | 32 | 0.0014151 | 0.00035467 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6642-3_1_3_load_56 | 33 | 0.0018328 | 0.00045934 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6642-3_1_3_load_64 | 34 | 0.0017126 | 0.00042922 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6642-3_1_3_load_104 | 35 | 0.00032191 | 8.0679e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6642-3_1_3_load_62 | 36 | 0.0020223 | 0.00050683 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6642-3_1_3_load_102 | 37 | 0.0018249 | 0.00045735 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6642-3_1_3_load_60 | 38 | 0.00027762 | 6.9577e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6642-3_1_3_load_61 | 39 | 0.00095324 | 0.0002389 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6642-3_1_3_load_63 | 40 | 0.0021947 | 0.00055004 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6642-3_1_3_load_84 | 42 | 0.0011439 | 0.00028668 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6642-3_1_3_load_85 | 43 | 0.0014475 | 0.00036279 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6642-3_1_3_load_115 | 44 | 0.031707 | 0.0079466 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6642-3_1_3_load_96 | 45 | 0.00061141 | 0.00015323 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6642-3_1_3_load_90 | 46 | 0.0015975 | 0.00040036 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6642-3_1_3_load_91 | 47 | 0.00031204 | 7.8205e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6642-3_1_3_load_93 | 49 | 0.0048881 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6642-3_1_3_load_94 | 50 | 0.002311 | 0.00057919 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6642-3_1_3_load_97 | 52 | 0.00068615 | 0.00017197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6642-3_1_3_load_98 | 53 | 0.00062943 | 0.00015775 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6642-3_1_3_load_99 | 54 | 0.00042348 | 0.00010613 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6642-3_1_3_load_121 | 55 | 0.0015633 | 0.00039181 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6642-3_1_3_load_111 | 56 | 0.00019108 | 4.789e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6642-3_1_3_load_119 | 57 | 0.0020015 | 0.00050161 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6642-3_1_3_load_110 | 58 | 0.00099626 | 0.00024969 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6642-3_1_3_load_135 | 59 | 0.00028027 | 7.0243e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6642-3_1_3_load_101 | 60 | 0.0022012 | 0.00055167 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6642-3_1_3_load_106 | 63 | 0.0034896 | 0.00087459 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6642-3_1_3_load_107 | 64 | 0.0020725 | 0.00051941 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6642-3_1_3_load_108 | 65 | 0.00051343 | 0.00012868 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6642-3_1_3_load_113 | 69 | 0.0013818 | 0.00034631 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6642-3_1_3_load_138 | 70 | 0.0006752 | 0.00016922 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6642-3_1_3_load_116 | 72 | 0.00061079 | 0.00015308 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6642-3_1_3_load_117 | 73 | 0.0012773 | 0.00032013 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6642-3_1_3_load_118 | 74 | 0.0021383 | 0.00053592 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6642-3_1_3_load_122 | 76 | 0.00060366 | 0.00015129 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6642-3_1_3_load_123 | 77 | 0.0011325 | 0.00028384 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6642-3_1_3_load_127 | 78 | 0.00086733 | 0.00021737 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6642-3_1_3_load_132 | 79 | 0.00065321 | 0.00016371 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6642-3_1_3_load_129 | 80 | 0.00048062 | 0.00012045 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6642-3_1_3_load_131 | 81 | 0.00067955 | 0.00017031 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6642-3_1_3_load_137 | 82 | 0.00092253 | 0.00023121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6642-3_1_3_line_0 |  | 0 | 1 | 0.0043405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6642-3_1_3_line_1 |  | 0 | 2 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6642-3_1_3_line_2 |  | 1 | 3 | 0.0034259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_6642-3_1_3_line_3 |  | 2 | 4 | 0.0031826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6642-3_1_3_line_4 |  | 3 | 5 | 0.0047314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6642-3_1_3_line_5 |  | 4 | 6 | 0.074969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6642-3_1_3_line_6 |  | 5 | 7 | 0.08032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6642-3_1_3_line_7 |  | 6 | 8 | 0.061939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6642-3_1_3_line_8 |  | 6 | 9 | 0.037624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6642-3_1_3_line_9 |  | 7 | 10 | 0.040861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6642-3_1_3_line_10 |  | 9 | 16 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6642-3_1_3_line_11 |  | 10 | 14 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6642-3_1_3_line_12 |  | 11 | 12 | 0.05297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6642-3_1_3_line_13 |  | 12 | 13 | 0.00709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6642-3_1_3_line_14 |  | 13 | 30 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6642-3_1_3_line_15 |  | 13 | 31 | 0.01388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6642-3_1_3_line_16 |  | 14 | 15 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6642-3_1_3_line_17 |  | 15 | 59 | 0.021396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6642-3_1_3_line_18 |  | 16 | 17 | 0.10957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6642-3_1_3_line_19 |  | 17 | 29 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6642-3_1_3_line_20 |  | 18 | 19 | 0.03946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6642-3_1_3_line_21 |  | 18 | 20 | 0.044582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6642-3_1_3_line_22 |  | 20 | 21 | 0.033108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6642-3_1_3_line_23 |  | 21 | 22 | 0.059231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6642-3_1_3_line_24 |  | 21 | 23 | 0.060267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6642-3_1_3_line_25 |  | 22 | 24 | 0.0175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6642-3_1_3_line_26 |  | 23 | 25 | 0.10657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6642-3_1_3_line_27 |  | 24 | 26 | 0.037511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6642-3_1_3_line_28 |  | 25 | 27 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6642-3_1_3_line_29 |  | 26 | 80 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6642-3_1_3_line_30 |  | 26 | 78 | 0.045582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6642-3_1_3_line_31 |  | 27 | 28 | 0.020473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6642-3_1_3_line_32 |  | 30 | 32 | 0.011116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6642-3_1_3_line_33 |  | 31 | 33 | 0.030658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6642-3_1_3_line_34 |  | 32 | 34 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6642-3_1_3_line_35 |  | 33 | 35 | 0.044804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6642-3_1_3_line_36 |  | 34 | 36 | 0.042802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6642-3_1_3_line_37 |  | 35 | 37 | 0.0032499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6642-3_1_3_line_38 |  | 36 | 38 | 0.041529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6642-3_1_3_line_39 |  | 37 | 60 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6642-3_1_3_line_40 |  | 38 | 39 | 0.0050304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6642-3_1_3_line_41 |  | 40 | 41 | 0.036351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6642-3_1_3_line_42 |  | 41 | 42 | 0.011243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6642-3_1_3_line_43 |  | 41 | 43 | 0.016043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6642-3_1_3_line_44 |  | 43 | 44 | 0.031651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6642-3_1_3_line_45 |  | 44 | 45 | 0.0088713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6642-3_1_3_line_46 |  | 45 | 49 | 0.024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6642-3_1_3_line_47 |  | 46 | 47 | 0.050867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6642-3_1_3_line_48 |  | 46 | 48 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6642-3_1_3_line_49 |  | 47 | 49 | 0.0076298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6642-3_1_3_line_50 |  | 48 | 50 | 0.0042953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6642-3_1_3_line_51 |  | 48 | 51 | 0.020838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6642-3_1_3_line_52 |  | 50 | 52 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6642-3_1_3_line_53 |  | 51 | 53 | 0.005241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6642-3_1_3_line_54 |  | 51 | 54 | 0.0044339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6642-3_1_3_line_55 |  | 52 | 55 | 0.031695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6642-3_1_3_line_56 |  | 54 | 56 | 0.0056337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6642-3_1_3_line_57 |  | 55 | 57 | 0.0036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6642-3_1_3_line_58 |  | 56 | 58 | 0.031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6642-3_1_3_line_59 |  | 57 | 73 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6642-3_1_3_line_60 |  | 58 | 71 | 0.074085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6642-3_1_3_line_61 |  | 59 | 68 | 0.057981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6642-3_1_3_line_62 |  | 60 | 61 | 0.033706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6642-3_1_3_line_63 |  | 61 | 62 | 0.075564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6642-3_1_3_line_64 |  | 61 | 63 | 0.0087541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6642-3_1_3_line_65 |  | 62 | 64 | 0.006701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6642-3_1_3_line_66 |  | 62 | 65 | 0.018778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6642-3_1_3_line_67 |  | 63 | 66 | 0.049818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6642-3_1_3_line_68 |  | 66 | 67 | 0.031015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6642-3_1_3_line_69 |  | 66 | 68 | 0.057641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6642-3_1_3_line_70 |  | 67 | 69 | 0.033665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6642-3_1_3_line_71 |  | 68 | 70 | 0.051389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6642-3_1_3_line_72 |  | 69 | 71 | 0.043093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6642-3_1_3_line_73 |  | 72 | 73 | 0.017042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6642-3_1_3_line_74 |  | 72 | 74 | 0.0064243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6642-3_1_3_line_75 |  | 74 | 75 | 0.034003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6642-3_1_3_line_76 |  | 75 | 76 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6642-3_1_3_line_77 |  | 75 | 77 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6642-3_1_3_line_78 |  | 76 | 78 | 0.042933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6642-3_1_3_line_79 |  | 77 | 79 | 0.037927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6642-3_1_3_line_80 |  | 80 | 81 | 0.041109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6642-3_1_3_line_81 |  | 81 | 82 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6642-3_1_3_trafo_107 | 0.63 MVA 20/0.4 kV | 83 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2503849.3042 | 1119585.5054 | 2503853.3721 | 1119587.0194
1 | 2503849.3042 | 1119585.5054 | 2503849.3042 | 1119585.5054 | 2503845.1046 | 1119583.4709 | 2503840.0472 | 1119579.9047 | 2503838.9308 | 1119578.8396
2 | 2503856.7319 | 1119587.6886 | 2503853.3721 | 1119587.0194 | 2503853.3721 | 1119587.0194
3 | 2503836.628 | 1119576.6428 | 2503838.9308 | 1119578.8396
4 | 2503861.4445 | 1119588.0805 | 2503860.4653 | 1119588.0628 | 2503856.7319 | 1119587.6886 | 2503856.7319 | 1119587.6886
5 | 2503782.1536 | 1119525.1362 | 2503827.392 | 1119567.8318 | 2503836.628 | 1119576.6428
6 | 2503935.1583 | 1119558.3452 | 2503934.0782 | 1119558.8974 | 2503895.0917 | 1119578.8291 | 2503883.1614 | 1119584.1886 | 2503876.1465 | 1119586.6127 | 2503869.5828 | 1119587.8066 | 2503864.4021 | 1119588.1336 | 2503861.4445 | 1119588.0805
7 | 2503827.3798 | 1119482.6796 | 2503782.1536 | 1119525.1362
8 | 2503782.1536 | 1119525.1362 | 2503754.8857 | 1119499.2123
9 | 2503971.5412 | 1119539.7467 | 2503959.0792 | 1119546.1147 | 2503935.1583 | 1119558.3452
10 | 2503747.0169 | 1119491.7313 | 2503754.8857 | 1119499.2123
11 | 2503971.5412 | 1119539.7467 | 2503971.5646 | 1119539.7348 | 2503983.3214 | 1119533.7289
12 | 2503946.5235 | 1119318.2235 | 2503935.3614 | 1119310.4243 | 2503918.331 | 1119300.3554 | 2503900.8086 | 1119291.6434
13 | 2503952.3353 | 1119322.2843 | 2503946.5235 | 1119318.2235
14 | 2503952.3353 | 1119322.2843 | 2503965.9252 | 1119306.2253 | 2503968.9698 | 1119302.7884
15 | 2503952.3353 | 1119322.2843 | 2503963.7275 | 1119330.2143
16 | 2503995.1835 | 1119527.6692 | 2503995.1727 | 1119527.6748 | 2503983.3214 | 1119533.7289
17 | 2503995.1835 | 1119527.6692 | 2504014.2335 | 1119517.9272
18 | 2503747.0169 | 1119491.7313 | 2503667.3425 | 1119416.5193
19 | 2503667.3425 | 1119416.5193 | 2503662.2107 | 1119408.7851 | 2503660.6522 | 1119405.6901
20 | 2504488.8488 | 1119203.8036 | 2504505.7986 | 1119219.2237 | 2504511.5789 | 1119223.1238 | 2504520.2332 | 1119227.2149
21 | 2504488.8488 | 1119203.8036 | 2504477.2578 | 1119193.2585 | 2504457.0188 | 1119172.6121
22 | 2504433.3551 | 1119149.4919 | 2504439.3944 | 1119154.6329 | 2504457.0188 | 1119172.6121
23 | 2504433.3551 | 1119149.4919 | 2504429.9185 | 1119153.2596 | 2504425.7478 | 1119156.9611 | 2504421.1065 | 1119163.116 | 2504417.9682 | 1119168.6579 | 2504414.7188 | 1119177.4257 | 2504413.7039 | 1119184.0125 | 2504411.3915 | 1119202.2491 | 2504411.3813 | 1119202.3281
24 | 2504433.3551 | 1119149.4919 | 2504438.9017 | 1119143.0003 | 2504467.6095 | 1119099.9092
25 | 2504409.285 | 1119219.7013 | 2504410.1196 | 1119212.1086 | 2504411.3813 | 1119202.3281
26 | 2504467.6095 | 1119099.9092 | 2504387.8525 | 1119029.2203
27 | 2504406.9872 | 1119257.0634 | 2504406.645 | 1119243.7162 | 2504409.285 | 1119219.7013
28 | 2504387.8525 | 1119029.2203 | 2504372.746 | 1119018.6789
29 | 2504406.9872 | 1119257.0634 | 2504413.663 | 1119258.0474 | 2504427.7634 | 1119261.1822
30 | 2504406.9872 | 1119257.0634 | 2504407.3043 | 1119269.7884 | 2504403.834 | 1119302.4573
31 | 2504355.9732 | 1119006.9395 | 2504369.0872 | 1119016.1259 | 2504372.746 | 1119018.6789
32 | 2503968.9698 | 1119302.7884 | 2503976.3409 | 1119294.4675
33 | 2503963.7275 | 1119330.2143 | 2503967.5448 | 1119332.8715 | 2503980.898 | 1119343.1992 | 2503987.9055 | 1119349.0454
34 | 2503983.5798 | 1119286.8146 | 2503979.481 | 1119290.9229 | 2503976.3409 | 1119294.4675
35 | 2504022.2967 | 1119377.7625 | 2504000.5603 | 1119359.6193 | 2503991.386 | 1119351.9491 | 2503987.9055 | 1119349.0454
36 | 2503983.5798 | 1119286.8146 | 2503996.0718 | 1119274.2937 | 2504014.8081 | 1119257.5686
37 | 2504024.7917 | 1119379.845 | 2504022.2967 | 1119377.7625
38 | 2504046.2434 | 1119230.4409 | 2504037.353 | 1119238.3387 | 2504024.0068 | 1119249.3573 | 2504014.8081 | 1119257.5686
39 | 2504032.9142 | 1119387.5845 | 2504032.3357 | 1119387.0208 | 2504026.0491 | 1119380.8946 | 2504024.7917 | 1119379.845
40 | 2504046.2434 | 1119230.4409 | 2504050.0042 | 1119227.0999
41 | 2504149.2945 | 1119176.926 | 2504115.2756 | 1119189.737
42 | 2504149.2945 | 1119176.926 | 2504146.4363 | 1119166.0526
43 | 2504149.2945 | 1119176.926 | 2504153.1843 | 1119188.1268 | 2504154.8243 | 1119191.9782
44 | 2504154.8243 | 1119191.9782 | 2504157.4729 | 1119198.1983 | 2504159.3544 | 1119201.993 | 2504161.0605 | 1119205.4348 | 2504164.4816 | 1119210.9284 | 2504170.8144 | 1119219.1045
45 | 2504176.3163 | 1119226.0635 | 2504171.7381 | 1119220.297 | 2504170.8144 | 1119219.1045
46 | 2504191.7872 | 1119245.5504 | 2504176.3163 | 1119226.0635
47 | 2504229.5673 | 1119290.1097 | 2504227.448 | 1119288.2896 | 2504222.3357 | 1119283.2119 | 2504217.6411 | 1119277.7051 | 2504210.3163 | 1119268.8823 | 2504203.8277 | 1119260.7134 | 2504196.5326 | 1119251.5249
48 | 2504259.3225 | 1119308.3528 | 2504250.5704 | 1119303.4439 | 2504241.0005 | 1119298.0699 | 2504236.7461 | 1119295.5024 | 2504232.1893 | 1119292.3615 | 2504229.5673 | 1119290.1097
49 | 2504191.7872 | 1119245.5504 | 2504191.7872 | 1119245.5504 | 2504195.8427 | 1119250.6559 | 2504196.5326 | 1119251.5249
50 | 2504259.3225 | 1119308.3528 | 2504263.1092 | 1119310.3803
51 | 2504248.7408 | 1119326.3091 | 2504253.1838 | 1119319.3456 | 2504259.3225 | 1119308.3528
52 | 2504263.1092 | 1119310.3803 | 2504266.6234 | 1119312.2619 | 2504271.0782 | 1119314.8151 | 2504272.0739 | 1119315.3703
53 | 2504248.7408 | 1119326.3091 | 2504252.5942 | 1119329.8725
54 | 2504248.7408 | 1119326.3091 | 2504246.355 | 1119330.0465
55 | 2504272.0739 | 1119315.3703 | 2504283.6607 | 1119321.8314 | 2504299.6714 | 1119330.9568
56 | 2504246.355 | 1119330.0465 | 2504244.2526 | 1119333.3401 | 2504243.2844 | 1119334.7694
57 | 2504299.6714 | 1119330.9568 | 2504302.8358 | 1119332.7604
58 | 2504224.5341 | 1119359.6015 | 2504226.1106 | 1119357.7979 | 2504236.244 | 1119345.163 | 2504243.2844 | 1119334.7694
59 | 2504314.6006 | 1119339.4658 | 2504302.8358 | 1119332.7604
60 | 2504170.6364 | 1119410.2644 | 2504182.5791 | 1119397.8564 | 2504210.3599 | 1119374.3797 | 2504219.2811 | 1119365.6108 | 2504224.5341 | 1119359.6015
61 | 2504069.0628 | 1119504.2212 | 2504057.0201 | 1119503.0004 | 2504049.841 | 1119503.3589 | 2504044.1175 | 1119504.4949 | 2504034.2133 | 1119507.7096 | 2504014.2335 | 1119517.9272
62 | 2504055.6139 | 1119412.4671 | 2504040.1743 | 1119394.6567 | 2504037.5562 | 1119392.1077 | 2504032.9142 | 1119387.5845
63 | 2504055.6139 | 1119412.4671 | 2504034.9493 | 1119426.7148 | 2504001.55 | 1119464.6904
64 | 2504055.6139 | 1119412.4671 | 2504061.3457 | 1119419.0838
65 | 2503996.7221 | 1119460.0308 | 2504001.55 | 1119464.6904
66 | 2504015.0774 | 1119477.7504 | 2504001.55 | 1119464.6904
67 | 2504096.4748 | 1119454.1557 | 2504088.7586 | 1119448.3857 | 2504081.7767 | 1119442.2037 | 2504075.9354 | 1119435.9258 | 2504061.3457 | 1119419.0838
68 | 2504122.9858 | 1119470.3453 | 2504109.3574 | 1119462.5789 | 2504096.4748 | 1119454.1557
69 | 2504069.0628 | 1119504.2212 | 2504071.3037 | 1119494.1906 | 2504073.8164 | 1119488.1582 | 2504096.4748 | 1119454.1557
70 | 2504122.9858 | 1119470.3453 | 2504143.0722 | 1119443.3293
71 | 2504069.0628 | 1119504.2212 | 2504119.962 | 1119511.3006
72 | 2504170.6364 | 1119410.2644 | 2504166.3465 | 1119414.7017 | 2504152.6056 | 1119430.507 | 2504143.0722 | 1119443.3293
73 | 2504329.4065 | 1119347.9045 | 2504314.6006 | 1119339.4658
74 | 2504334.9879 | 1119351.0857 | 2504329.4065 | 1119347.9045
75 | 2504364.5728 | 1119367.8463 | 2504344.1938 | 1119356.306 | 2504340.0822 | 1119353.9807 | 2504336.025 | 1119351.6768 | 2504334.9879 | 1119351.0857
76 | 2504364.5728 | 1119367.8463 | 2504367.933 | 1119362.1897 | 2504370.1196 | 1119358.9421 | 2504373.6661 | 1119354.3276 | 2504385.5057 | 1119339.9105
77 | 2504364.5728 | 1119367.8463 | 2504373.1428 | 1119372.4692 | 2504379.2024 | 1119376.954 | 2504380.1046 | 1119377.7296
78 | 2504403.834 | 1119302.4573 | 2504403.2335 | 1119308.1096 | 2504401.1676 | 1119317.5258 | 2504399.1141 | 1119323.3396 | 2504385.5057 | 1119339.9105
79 | 2504380.1046 | 1119377.7296 | 2504383.2786 | 1119380.4583 | 2504386.4299 | 1119384.044 | 2504389.0186 | 1119387.672 | 2504392.7203 | 1119392.8722 | 2504393.853 | 1119395.2002 | 2504395.2087 | 1119397.9694 | 2504398.2778 | 1119405.6255 | 2504399.3186 | 1119409.7019
80 | 2504427.7634 | 1119261.1822 | 2504467.8924 | 1119270.1037
81 | 2504485.9376 | 1119276.4897 | 2504469.5024 | 1119270.4617 | 2504467.8924 | 1119270.1037

## bus_geodata
| x | y | coords
0 | 2503849.3042 | 1119585.5054
1 | 2503853.3721 | 1119587.0194
2 | 2503838.9308 | 1119578.8396
3 | 2503856.732 | 1119587.6886
4 | 2503836.628 | 1119576.6428
5 | 2503861.4445 | 1119588.0805
6 | 2503782.1536 | 1119525.1362
7 | 2503935.1583 | 1119558.3452
8 | 2503827.3798 | 1119482.6796
9 | 2503754.8857 | 1119499.2123
10 | 2503971.5412 | 1119539.7467
11 | 2503900.8086 | 1119291.6434
12 | 2503946.5235 | 1119318.2235
13 | 2503952.3353 | 1119322.2843
14 | 2503983.3214 | 1119533.7289
15 | 2503995.1835 | 1119527.6692
16 | 2503747.0169 | 1119491.7313
17 | 2503667.3425 | 1119416.5193
18 | 2504488.8488 | 1119203.8036
19 | 2504520.2332 | 1119227.2149
20 | 2504457.0188 | 1119172.6121
21 | 2504433.3551 | 1119149.4919
22 | 2504411.3813 | 1119202.3281
23 | 2504467.6095 | 1119099.9092
24 | 2504409.285 | 1119219.7013
25 | 2504387.8525 | 1119029.2203
26 | 2504406.9872 | 1119257.0634
27 | 2504372.746 | 1119018.6789
28 | 2504355.9732 | 1119006.9395
29 | 2503660.6522 | 1119405.6901
30 | 2503968.9698 | 1119302.7884
31 | 2503963.7275 | 1119330.2143
32 | 2503976.3409 | 1119294.4675
33 | 2503987.9055 | 1119349.0454
34 | 2503983.5798 | 1119286.8146
35 | 2504022.2967 | 1119377.7625
36 | 2504014.8081 | 1119257.5686
37 | 2504024.7917 | 1119379.845
38 | 2504046.2434 | 1119230.4409
39 | 2504050.0042 | 1119227.0999
40 | 2504115.2756 | 1119189.737
41 | 2504149.2945 | 1119176.926
42 | 2504146.4363 | 1119166.0526
43 | 2504154.8243 | 1119191.9782
44 | 2504170.8144 | 1119219.1045
45 | 2504176.3163 | 1119226.0635
46 | 2504229.5673 | 1119290.1097
47 | 2504196.5326 | 1119251.5249
48 | 2504259.3225 | 1119308.3528
49 | 2504191.7872 | 1119245.5504
50 | 2504263.1092 | 1119310.3803
51 | 2504248.7408 | 1119326.3091
52 | 2504272.0739 | 1119315.3703
53 | 2504252.5942 | 1119329.8725
54 | 2504246.355 | 1119330.0465
55 | 2504299.6714 | 1119330.9568
56 | 2504243.2844 | 1119334.7694
57 | 2504302.8358 | 1119332.7604
58 | 2504224.5341 | 1119359.6015
59 | 2504014.2335 | 1119517.9272
60 | 2504032.9142 | 1119387.5845
61 | 2504055.6139 | 1119412.4671
62 | 2504001.55 | 1119464.6904
63 | 2504061.3457 | 1119419.0838
64 | 2503996.7221 | 1119460.0308
65 | 2504015.0774 | 1119477.7504
66 | 2504096.4748 | 1119454.1557
67 | 2504122.9858 | 1119470.3453
68 | 2504069.0628 | 1119504.2212
69 | 2504143.0722 | 1119443.3293
70 | 2504119.962 | 1119511.3006
71 | 2504170.6364 | 1119410.2644
72 | 2504329.4065 | 1119347.9045
73 | 2504314.6006 | 1119339.4658
74 | 2504334.9879 | 1119351.0857
75 | 2504364.5728 | 1119367.8463
76 | 2504385.5057 | 1119339.9105
77 | 2504380.1046 | 1119377.7296
78 | 2504403.834 | 1119302.4573
79 | 2504399.3186 | 1119409.7019
80 | 2504427.7634 | 1119261.1822
81 | 2504467.8924 | 1119270.1037
82 | 2504485.9376 | 1119276.4897
83 | 2504001.55 | 1119464.6904

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1