## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6643-12_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6643-12_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6643-12_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6643-12_0_7_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6643-12_0_7_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_6643-12_0_7_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6643-12_0_7_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_6643-12_0_7_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_6643-12_0_7_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6643-12_0_7_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_6643-12_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6643-12_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6643-12_0_7_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6643-12_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6643-12_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6643-12_0_7_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6643-12_0_7_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6643-12_0_7_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_6643-12_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6643-12_0_7_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_6643-12_0_7_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6643-12_0_7_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6643-12_0_7_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_6643-12_0_7_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6643-12_0_7_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6643-12_0_7_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_6643-12_0_7_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6643-12_0_7_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6643-12_0_7_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6643-12_0_7_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_6643-12_0_7_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6643-12_0_7_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_6643-12_0_7_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_6643-12_0_7_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_6643-12_0_7_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6643-12_0_7_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_6643-12_0_7_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_6643-12_0_7_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_6643-12_0_7_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_6643-12_0_7_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_6643-12_0_7_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6643-12_0_7_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6643-12_0_7_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6643-12_0_7_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6643-12_0_7_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6643-12_0_7_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_6643-12_0_7_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_6643-12_0_7_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6643-12_0_7_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6643-12_0_7_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6643-12_0_7_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_6643-12_0_7_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_6643-12_0_7_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6643-12_0_7_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_6643-12_0_7_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_6643-12_0_7_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6643-12_0_7_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6643-12_0_7_node_56 | 0.4 | n |  | TRUE
58 | bus_MV_464_0_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6643-12_0_7_load_0 | 0 | 0.0043177 | 0.0010821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6643-12_0_7_load_38 | 4 | 0.0030346 | 0.00076054 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6643-12_0_7_load_31 | 5 | 0.058867 | 0.014753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6643-12_0_7_load_42 | 6 | 0.00038364 | 9.615e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6643-12_0_7_load_35 | 7 | 0.022061 | 0.0055289 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6643-12_0_7_load_30 | 8 | 0.010963 | 0.0027476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6643-12_0_7_load_36 | 9 | 0.007148 | 0.0017914 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6643-12_0_7_load_6 | 10 | 0.0087094 | 0.0021828 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6643-12_0_7_load_7 | 11 | 0.0033051 | 0.00082833 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6643-12_0_7_load_10 | 14 | 0.0015353 | 0.00038479 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6643-12_0_7_load_47 | 17 | 0.026922 | 0.0067472 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6643-12_0_7_load_27 | 21 | 0.011431 | 0.0028648 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6643-12_0_7_load_39 | 22 | 0.072523 | 0.018176 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6643-12_0_7_load_37 | 24 | 0.0082996 | 0.0020801 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6643-12_0_7_load_48 | 29 | 0.033065 | 0.0082869 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6643-12_0_7_load_46 | 31 | 0.00055529 | 0.00013917 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6643-12_0_7_load_50 | 32 | 0.018876 | 0.0047309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6643-12_0_7_load_49 | 36 | 0.00041511 | 0.00010404 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6643-12_0_7_load_58 | 37 | 0.013933 | 0.003492 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6643-12_0_7_load_59 | 38 | 0.059749 | 0.014975 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6643-12_0_7_load_57 | 39 | 0.0081762 | 0.0020492 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6643-12_0_7_load_40 | 40 | 0.020478 | 0.0051322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6643-12_0_7_load_28 | 41 | 0.00083754 | 0.00020991 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6643-12_0_7_load_44 | 42 | 0.00613 | 0.0015363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6643-12_0_7_load_26 | 44 | 0.00038534 | 9.6576e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6643-12_0_7_load_22 | 45 | 0.0070894 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6643-12_0_7_load_23 | 46 | 0.0006248 | 0.00015659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6643-12_0_7_load_25 | 47 | 0.00045225 | 0.00011334 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6643-12_0_7_load_41 | 48 | 0.0021396 | 0.00053622 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6643-12_0_7_load_43 | 49 | 0.0005307 | 0.000133 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6643-12_0_7_load_32 | 50 | 0.015689 | 0.0039321 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6643-12_0_7_load_34 | 52 | 0.027003 | 0.0067676 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6643-12_0_7_load_52 | 53 | 0.0018885 | 0.00047329 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6643-12_0_7_load_54 | 55 | 0.0023158 | 0.00058039 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6643-12_0_7_load_55 | 56 | 0.0034563 | 0.00086623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6643-12_0_7_load_56 | 57 | 0.0025684 | 0.00064369 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6643-12_0_7_line_0 |  | 0 | 1 | 0.031211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6643-12_0_7_line_1 |  | 1 | 2 | 0.020338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6643-12_0_7_line_2 |  | 2 | 3 | 0.067097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6643-12_0_7_line_3 |  | 3 | 4 | 0.0057318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6643-12_0_7_line_4 |  | 3 | 5 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6643-12_0_7_line_5 |  | 4 | 9 | 0.054335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6643-12_0_7_line_6 |  | 5 | 8 | 0.0083819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6643-12_0_7_line_7 |  | 6 | 7 | 0.0013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6643-12_0_7_line_8 |  | 7 | 51 | 0.024226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6643-12_0_7_line_9 |  | 9 | 24 | 0.021524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6643-12_0_7_line_10 |  | 9 | 52 | 0.025353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6643-12_0_7_line_11 |  | 10 | 11 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6643-12_0_7_line_12 |  | 10 | 12 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6643-12_0_7_line_13 |  | 11 | 13 | 0.084056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6643-12_0_7_line_14 |  | 12 | 14 | 0.035513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6643-12_0_7_line_15 |  | 12 | 15 | 0.073167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6643-12_0_7_line_16 |  | 13 | 16 | 0.045623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6643-12_0_7_line_17 |  | 14 | 17 | 0.035513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6643-12_0_7_line_18 |  | 15 | 22 | 0.040264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6643-12_0_7_line_19 |  | 16 | 37 | 0.070464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6643-12_0_7_line_20 |  | 17 | 29 | 0.04365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6643-12_0_7_line_21 |  | 18 | 19 | 0.039882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6643-12_0_7_line_22 |  | 18 | 20 | 0.005346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6643-12_0_7_line_23 |  | 18 | 21 | 0.13 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6643-12_0_7_line_24 |  | 19 | 40 | 0.056154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6643-12_0_7_line_25 |  | 19 | 22 | 0.058698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6643-12_0_7_line_26 |  | 20 | 32 | 0.02758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6643-12_0_7_line_27 |  | 20 | 23 | 0.038151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6643-12_0_7_line_28 |  | 21 | 41 | 0.061209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6643-12_0_7_line_29 |  | 23 | 24 | 0.038425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6643-12_0_7_line_30 |  | 23 | 25 | 0.006341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6643-12_0_7_line_31 |  | 25 | 42 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6643-12_0_7_line_32 |  | 26 | 27 | 0.13024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6643-12_0_7_line_33 |  | 26 | 28 | 0.036687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6643-12_0_7_line_34 |  | 26 | 29 | 0.030461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6643-12_0_7_line_35 |  | 27 | 38 | 0.002169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6643-12_0_7_line_36 |  | 28 | 30 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6643-12_0_7_line_37 |  | 28 | 31 | 0.025764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6643-12_0_7_line_38 |  | 30 | 36 | 0.008728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6643-12_0_7_line_39 |  | 32 | 43 | 0.060189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6643-12_0_7_line_40 |  | 33 | 34 | 0.071378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6643-12_0_7_line_41 |  | 33 | 35 | 0.004594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6643-12_0_7_line_42 |  | 33 | 36 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6643-12_0_7_line_43 |  | 34 | 39 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6643-12_0_7_line_44 |  | 35 | 44 | 0.044098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6643-12_0_7_line_45 |  | 35 | 45 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6643-12_0_7_line_46 |  | 43 | 53 | 0.0064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6643-12_0_7_line_47 |  | 43 | 54 | 0.39913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6643-12_0_7_line_48 |  | 44 | 49 | 0.039527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6643-12_0_7_line_49 |  | 45 | 46 | 0.046806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6643-12_0_7_line_50 |  | 46 | 47 | 0.011059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6643-12_0_7_line_51 |  | 47 | 48 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6643-12_0_7_line_52 |  | 50 | 51 | 0.033769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6643-12_0_7_line_53 |  | 51 | 52 | 0.010771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6643-12_0_7_line_54 |  | 54 | 55 | 0.16897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6643-12_0_7_line_55 |  | 55 | 56 | 0.008716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6643-12_0_7_line_56 |  | 55 | 57 | 0.005884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6643-12_0_7_trafo_13 | 0.63 MVA 20/0.4 kV | 58 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2495333.5547 | 1119448.4927 | 2495333.7176 | 1119479.703
1 | 2495333.5547 | 1119448.4927 | 2495349.396 | 1119448.7632 | 2495346.0184 | 1119445.7975
2 | 2495346.0184 | 1119445.7975 | 2495323.803 | 1119425.9582 | 2495303.1974 | 1119409.0596 | 2495295.241 | 1119401.9595
3 | 2495295.241 | 1119401.9595 | 2495299.1826 | 1119397.7981
4 | 2495295.241 | 1119401.9595 | 2495288.1629 | 1119409.3717
5 | 2495336.5473 | 1119358.3501 | 2495299.1826 | 1119397.7981
6 | 2495288.1629 | 1119409.3717 | 2495282.3742 | 1119415.4336
7 | 2495384.5979 | 1119396.6877 | 2495384.5979 | 1119396.6877 | 2495383.6031 | 1119395.825
8 | 2495364.7874 | 1119380.6868 | 2495368.559 | 1119382.7785 | 2495383.6031 | 1119395.825
9 | 2495336.5473 | 1119358.3501 | 2495351.4845 | 1119342.8529
10 | 2495336.5473 | 1119358.3501 | 2495355.7797 | 1119374.8698
11 | 2495403.9595 | 1119165.1126 | 2495413.0816 | 1119155.8579
12 | 2495386.1282 | 1119183.2029 | 2495403.9595 | 1119165.1126
13 | 2495472.088 | 1119095.9945 | 2495413.0816 | 1119155.8579
14 | 2495386.1282 | 1119183.2029 | 2495411.215 | 1119208.3386
15 | 2495339.9705 | 1119162.01 | 2495341.8978 | 1119164.1114 | 2495346.8761 | 1119160.1116 | 2495349.3882 | 1119158.1002 | 2495347.1246 | 1119155.2931 | 2495350.1359 | 1119152.6949 | 2495355.1718 | 1119148.4495 | 2495386.1282 | 1119183.2029
16 | 2495439.941 | 1119074.0584 | 2495463.5163 | 1119097.5103 | 2495469.393 | 1119092.3388 | 2495472.088 | 1119095.9945
17 | 2495436.3017 | 1119233.4742 | 2495411.215 | 1119208.3386
18 | 2495339.9705 | 1119162.01 | 2495338.05 | 1119163.8667 | 2495337.1801 | 1119166.2277 | 2495336.6996 | 1119171.4616 | 2495337.0166 | 1119179.072 | 2495339.2378 | 1119187.0053 | 2495342.0947 | 1119192.8708 | 2495345.9249 | 1119199.2498
19 | 2495405.2215 | 1119123.8237 | 2495400.6776 | 1119119.0326 | 2495398.5926 | 1119115.3996 | 2495399.4969 | 1119111.4593 | 2495408.1245 | 1119102.471 | 2495415.7513 | 1119099.4261 | 2495435.022 | 1119079.269 | 2495439.941 | 1119074.0584
20 | 2495436.3017 | 1119233.4742 | 2495467.1368 | 1119264.3695
21 | 2495349.1816 | 1119255.388 | 2495350.3624 | 1119262.0719 | 2495351.0884 | 1119267.4516 | 2495351.5336 | 1119271.3242 | 2495351.9328 | 1119278.3328 | 2495351.9876 | 1119286.4037 | 2495351.6487 | 1119291.346 | 2495350.9013 | 1119294.9835
22 | 2495350.9013 | 1119294.9835 | 2495349.7646 | 1119300.2065
23 | 2495350.9013 | 1119294.9835 | 2495301.3074 | 1119285.6803 | 2495291.9539 | 1119283.9299 | 2495282.7241 | 1119282.1886 | 2495246.146 | 1119275.3287 | 2495231.264 | 1119272.5402 | 2495223.0877 | 1119271.2406
24 | 2495349.1816 | 1119255.388 | 2495352.659 | 1119250.2913 | 2495354.843 | 1119248.4968 | 2495356.2475 | 1119247.5941 | 2495357.3676 | 1119247.2078 | 2495358.5454 | 1119247.0318 | 2495359.4408 | 1119247.0385 | 2495361.1262 | 1119247.2095 | 2495362.1904 | 1119247.6024 | 2495371.8362 | 1119252.4164 | 2495376.8861 | 1119255.6756 | 2495378.5716 | 1119257.6366 | 2495380.811 | 1119259.9327 | 2495382.3268 | 1119261.0071 | 2495384.2891 | 1119262.0072 | 2495396.2929 | 1119266.6136
25 | 2495349.1816 | 1119255.388 | 2495347.4386 | 1119248.3248 | 2495347.385 | 1119243.0001 | 2495347.6681 | 1119238.4034 | 2495348.5115 | 1119232.2849 | 2495349.3505 | 1119229.035 | 2495350.256 | 1119226.9513 | 2495351.7746 | 1119222.8335 | 2495352.8813 | 1119218.1002 | 2495352.7244 | 1119213.5 | 2495351.1348 | 1119209.058 | 2495348.2855 | 1119203.1813 | 2495345.9249 | 1119199.2498
26 | 2495349.7646 | 1119300.2065 | 2495332.675 | 1119296.511 | 2495322.7887 | 1119294.4679
27 | 2495349.7646 | 1119300.2065 | 2495355.7126 | 1119301.4044 | 2495364.0871 | 1119303.2273 | 2495378.928 | 1119306.317 | 2495378.1091 | 1119311.6235 | 2495377.0693 | 1119314.421
28 | 2495162.0848 | 1119270.0828 | 2495174.7347 | 1119268.7728 | 2495185.5527 | 1119268.6297 | 2495198.1662 | 1119268.7779 | 2495212.0671 | 1119269.7265 | 2495219.8486 | 1119270.7257 | 2495223.0877 | 1119271.2406
29 | 2495377.0693 | 1119314.421 | 2495374.8586 | 1119318.6842 | 2495357.0252 | 1119337.1044 | 2495351.4845 | 1119342.8529
30 | 2495377.0693 | 1119314.421 | 2495383.042 | 1119316.5969
31 | 2495383.042 | 1119316.5969 | 2495380.0781 | 1119318.8162 | 2495374.0667 | 1119325.0994
32 | 2495488.6547 | 1119285.9294 | 2495494 | 1119289.7617 | 2495500.1429 | 1119291.9681 | 2495504.9695 | 1119293.0298 | 2495511.9966 | 1119293.253 | 2495515.7356 | 1119291.6763 | 2495525.1287 | 1119289.0235 | 2495537.7023 | 1119283.2915 | 2495555.496 | 1119273.7004 | 2495572.6382 | 1119262.1304 | 2495567.023 | 1119256.5237 | 2495549.9725 | 1119250.1696 | 2495542.2324 | 1119243.0766
33 | 2495481.2361 | 1119314.8426 | 2495477.7868 | 1119308.1758 | 2495473.986 | 1119300.8257 | 2495478.969 | 1119295.7585 | 2495485.4994 | 1119289.1304 | 2495488.6547 | 1119285.9294
34 | 2495488.6547 | 1119285.9294 | 2495467.1368 | 1119264.3695
35 | 2495542.2324 | 1119243.0766 | 2495540.6999 | 1119244.6151
36 | 2495481.2361 | 1119314.8426 | 2495486.7566 | 1119314.0801 | 2495490.6383 | 1119314.0575 | 2495493.708 | 1119314.8383 | 2495496.7806 | 1119316.2305 | 2495498.9866 | 1119317.9379
37 | 2495481.2361 | 1119314.8426 | 2495460.7911 | 1119317.9313 | 2495455.7219 | 1119318.3517
38 | 2495498.9866 | 1119317.9379 | 2495505.2371 | 1119324.0296
39 | 2495263.7766 | 1119282.6281 | 2495269.337 | 1119283.7214 | 2495274.8894 | 1119284.8037 | 2495283.2843 | 1119286.4594 | 2495292.5155 | 1119288.2786 | 2495298.4629 | 1119289.443 | 2495301.8477 | 1119290.1404 | 2495322.7887 | 1119294.4679
40 | 2495526.0091 | 1119344.8772 | 2495540.7004 | 1119362.1011 | 2495548.2409 | 1119372.3885 | 2495557.9378 | 1119387.3306 | 2495544.8661 | 1119399.9533
41 | 2495522.7073 | 1119348.0807 | 2495526.0091 | 1119344.8772
42 | 2495526.0091 | 1119344.8772 | 2495521.4612 | 1119339.8414 | 2495505.2371 | 1119324.0296
43 | 2495544.8661 | 1119399.9533 | 2495535.4097 | 1119408.7555
44 | 2495522.7073 | 1119348.0807 | 2495519.6024 | 1119348.3901 | 2495506.7028 | 1119360.7097 | 2495489.9623 | 1119376.6857
45 | 2495522.7073 | 1119348.0807 | 2495521.9339 | 1119352.0077 | 2495516.2695 | 1119357.4162
46 | 2495263.7766 | 1119282.6281 | 2495260.0231 | 1119287.8186
47 | 2495044.1852 | 1119082.4287 | 2495046.0312 | 1119087.3999 | 2495047.4195 | 1119092.2344 | 2495048.6858 | 1119106.9329 | 2495050.0928 | 1119118.1824 | 2495054.9164 | 1119159.0693 | 2495064.2666 | 1119226.8615 | 2495065.1206 | 1119234.7072 | 2495066.2507 | 1119241.5698 | 2495066.9756 | 1119245.9822 | 2495067.53 | 1119249.9084 | 2495068.6093 | 1119266.2891 | 2495068.8447 | 1119278.515 | 2495067.7447 | 1119282.281 | 2495085.7408 | 1119280.3898 | 2495096.6756 | 1119279.4218 | 2495101.384 | 1119279.0065 | 2495103.4568 | 1119278.8149 | 2495152.0125 | 1119274.5147 | 2495157.9323 | 1119274.0785 | 2495167.714 | 1119273.3752 | 2495182.087 | 1119272.6145 | 2495198.1021 | 1119272.6481 | 2495217.6853 | 1119274.599 | 2495235.1347 | 1119277.2317 | 2495245.015 | 1119279.0951 | 2495263.7766 | 1119282.6281
48 | 2495461.3672 | 1119403.975 | 2495489.9623 | 1119376.6857
49 | 2495482.417 | 1119389.7393 | 2495516.2695 | 1119357.4162
50 | 2495474.4182 | 1119397.3768 | 2495482.417 | 1119389.7393
51 | 2495458.7101 | 1119412.3753 | 2495474.4182 | 1119397.3768
52 | 2495364.7874 | 1119380.6868 | 2495343.185 | 1119406.6422
53 | 2495364.7874 | 1119380.6868 | 2495358.4597 | 1119377.1718 | 2495355.7797 | 1119374.8698
54 | 2495157.0162 | 1119202.5709 | 2495144.7857 | 1119188.0292 | 2495126.2584 | 1119165.9919 | 2495107.8966 | 1119144.163 | 2495088.7703 | 1119121.4246 | 2495072.0159 | 1119101.5025 | 2495056.1832 | 1119082.6651 | 2495053.7068 | 1119081.3962 | 2495051.5173 | 1119081.0895 | 2495049.1333 | 1119081.142 | 2495044.1852 | 1119082.4287
55 | 2495157.0162 | 1119202.5709 | 2495163.5061 | 1119196.7325
56 | 2495157.0162 | 1119202.5709 | 2495161.7692 | 1119206.0575

## bus_geodata
| x | y | coords
0 | 2495333.7176 | 1119479.703
1 | 2495333.5547 | 1119448.4927
2 | 2495346.0184 | 1119445.7975
3 | 2495295.241 | 1119401.9595
4 | 2495299.1826 | 1119397.7981
5 | 2495288.1629 | 1119409.3717
6 | 2495384.5979 | 1119396.6877
7 | 2495383.6031 | 1119395.825
8 | 2495282.3742 | 1119415.4336
9 | 2495336.5473 | 1119358.3501
10 | 2495403.9595 | 1119165.1126
11 | 2495413.0816 | 1119155.8579
12 | 2495386.1282 | 1119183.2029
13 | 2495472.088 | 1119095.9945
14 | 2495411.215 | 1119208.3386
15 | 2495339.9705 | 1119162.01
16 | 2495439.941 | 1119074.0584
17 | 2495436.3017 | 1119233.4742
18 | 2495350.9013 | 1119294.9835
19 | 2495349.1816 | 1119255.388
20 | 2495349.7646 | 1119300.2065
21 | 2495223.0877 | 1119271.2406
22 | 2495345.9249 | 1119199.2498
23 | 2495377.0693 | 1119314.421
24 | 2495351.4845 | 1119342.8529
25 | 2495383.042 | 1119316.5969
26 | 2495488.6547 | 1119285.9294
27 | 2495542.2324 | 1119243.0766
28 | 2495481.2361 | 1119314.8426
29 | 2495467.1368 | 1119264.3695
30 | 2495498.9866 | 1119317.9379
31 | 2495455.7219 | 1119318.3517
32 | 2495322.7887 | 1119294.4679
33 | 2495526.0091 | 1119344.8772
34 | 2495544.8661 | 1119399.9533
35 | 2495522.7073 | 1119348.0807
36 | 2495505.2371 | 1119324.0296
37 | 2495405.2215 | 1119123.8237
38 | 2495540.6999 | 1119244.6151
39 | 2495535.4097 | 1119408.7555
40 | 2495396.2929 | 1119266.6136
41 | 2495162.0848 | 1119270.0828
42 | 2495374.0667 | 1119325.0994
43 | 2495263.7766 | 1119282.6281
44 | 2495489.9623 | 1119376.6857
45 | 2495516.2695 | 1119357.4162
46 | 2495482.417 | 1119389.7393
47 | 2495474.4182 | 1119397.3768
48 | 2495458.7101 | 1119412.3753
49 | 2495461.3672 | 1119403.975
50 | 2495343.185 | 1119406.6422
51 | 2495364.7874 | 1119380.6868
52 | 2495355.7797 | 1119374.8698
53 | 2495260.0231 | 1119287.8186
54 | 2495044.1852 | 1119082.4287
55 | 2495157.0162 | 1119202.5709
56 | 2495163.5061 | 1119196.7325
57 | 2495161.7692 | 1119206.0575
58 | 2495383.042 | 1119316.5969

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1