## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6643-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6643-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6643-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6643-38_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6643-38_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6643-38_0_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6643-38_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_6643-38_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6643-38_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6643-38_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6643-38_0_4_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_6643-38_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_6643-38_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_6643-38_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6643-38_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6643-38_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6643-38_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6643-38_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6643-38_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6643-38_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6643-38_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6643-38_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_6643-38_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6643-38_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6643-38_0_4_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_6643-38_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6643-38_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6643-38_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6643-38_0_4_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6643-38_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6643-38_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_6643-38_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_6643-38_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6643-38_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6643-38_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6643-38_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6643-38_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6643-38_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6643-38_0_4_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_6643-38_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_6643-38_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6643-38_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6643-38_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6643-38_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6643-38_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6643-38_0_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6643-38_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6643-38_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6643-38_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_MV_667_0_node_83 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6643-38_0_4_load_0 | 0 | 0.007216 | 0.0018085 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6643-38_0_4_load_1 | 1 | 0.027143 | 0.0068027 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6643-38_0_4_load_33 | 6 | 0.069848 | 0.017505 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6643-38_0_4_load_19 | 8 | 0.0030657 | 0.00076833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6643-38_0_4_load_18 | 9 | 0.015067 | 0.0037761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6643-38_0_4_load_29 | 11 | 0.092265 | 0.023124 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6643-38_0_4_load_6 | 13 | 0.0014421 | 0.00036142 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6643-38_0_4_load_7 | 14 | 0.0013649 | 0.00034209 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6643-38_0_4_load_9 | 16 | 0.0014249 | 0.00035711 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6643-38_0_4_load_10 | 17 | 0.0025329 | 0.0006348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6643-38_0_4_load_12 | 19 | 0.0010662 | 0.00026721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6643-38_0_4_load_13 | 20 | 0.0013429 | 0.00033656 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6643-38_0_4_load_14 | 22 | 0.0013217 | 0.00033126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6643-38_0_4_load_47 | 23 | 0.00083776 | 0.00020996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6643-38_0_4_load_43 | 24 | 0.0011576 | 0.00029011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6643-38_0_4_load_21 | 27 | 0.0014551 | 0.00036467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6643-38_0_4_load_34 | 28 | 0.0078973 | 0.0019793 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6643-38_0_4_load_49 | 31 | 0.00055577 | 0.00013929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6643-38_0_4_load_23 | 34 | 0.0029899 | 0.00074935 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6643-38_0_4_load_30 | 35 | 0.0049987 | 0.0012528 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6643-38_0_4_load_22 | 36 | 0.00051125 | 0.00012813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6643-38_0_4_load_28 | 37 | 0.055636 | 0.013944 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6643-38_0_4_load_48 | 38 | 0.0021528 | 0.00053953 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6643-38_0_4_load_40 | 40 | 0.00074923 | 0.00018777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6643-38_0_4_load_36 | 41 | 0.0019325 | 0.00048432 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6643-38_0_4_load_35 | 42 | 0.002386 | 0.00059798 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6643-38_0_4_load_37 | 43 | 0.0004214 | 0.00010561 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6643-38_0_4_load_39 | 44 | 0.00077974 | 0.00019542 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6643-38_0_4_load_41 | 45 | 0.00087834 | 0.00022013 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6643-38_0_4_load_42 | 46 | 0.00090139 | 0.00022591 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6643-38_0_4_load_44 | 47 | 0.0018063 | 0.0004527 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6643-38_0_4_load_46 | 48 | 0.0041201 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6643-38_0_4_line_0 |  | 0 | 1 | 0.0043098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6643-38_0_4_line_1 |  | 0 | 2 | 0.053564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6643-38_0_4_line_2 |  | 2 | 3 | 0.14179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6643-38_0_4_line_3 |  | 3 | 9 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6643-38_0_4_line_4 |  | 4 | 5 | 0.12644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6643-38_0_4_line_5 |  | 4 | 6 | 0.087673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6643-38_0_4_line_6 |  | 5 | 10 | 0.023577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6643-38_0_4_line_7 |  | 5 | 11 | 0.061608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6643-38_0_4_line_8 |  | 7 | 8 | 0.10322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6643-38_0_4_line_9 |  | 7 | 9 | 0.066898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6643-38_0_4_line_10 |  | 8 | 12 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6643-38_0_4_line_11 |  | 10 | 38 | 0.040417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6643-38_0_4_line_12 |  | 10 | 39 | 0.006283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6643-38_0_4_line_13 |  | 11 | 37 | 0.03334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6643-38_0_4_line_14 |  | 12 | 30 | 0.002858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6643-38_0_4_line_15 |  | 13 | 14 | 0.0035688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6643-38_0_4_line_16 |  | 13 | 15 | 0.078515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6643-38_0_4_line_17 |  | 14 | 16 | 0.0031579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6643-38_0_4_line_18 |  | 15 | 17 | 0.038625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6643-38_0_4_line_19 |  | 16 | 18 | 0.015844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6643-38_0_4_line_20 |  | 17 | 19 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6643-38_0_4_line_21 |  | 18 | 20 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6643-38_0_4_line_22 |  | 19 | 21 | 0.10942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6643-38_0_4_line_23 |  | 20 | 22 | 0.026142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6643-38_0_4_line_24 |  | 21 | 23 | 0.01408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6643-38_0_4_line_25 |  | 21 | 24 | 0.01219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6643-38_0_4_line_26 |  | 23 | 38 | 0.026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6643-38_0_4_line_27 |  | 24 | 45 | 0.018907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6643-38_0_4_line_28 |  | 25 | 26 | 0.10337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6643-38_0_4_line_29 |  | 25 | 27 | 0.082276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6643-38_0_4_line_30 |  | 26 | 31 | 0.0091364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6643-38_0_4_line_31 |  | 27 | 36 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6643-38_0_4_line_32 |  | 28 | 29 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6643-38_0_4_line_33 |  | 29 | 32 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6643-38_0_4_line_34 |  | 30 | 31 | 0.004133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6643-38_0_4_line_35 |  | 32 | 35 | 0.019291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6643-38_0_4_line_36 |  | 32 | 33 | 0.028397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6643-38_0_4_line_37 |  | 33 | 34 | 0.0027842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6643-38_0_4_line_38 |  | 34 | 36 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6643-38_0_4_line_39 |  | 35 | 37 | 0.014358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6643-38_0_4_line_40 |  | 39 | 40 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6643-38_0_4_line_41 |  | 39 | 41 | 0.012722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6643-38_0_4_line_42 |  | 41 | 42 | 0.003481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6643-38_0_4_line_43 |  | 42 | 43 | 0.027661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6643-38_0_4_line_44 |  | 43 | 44 | 0.003628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6643-38_0_4_line_45 |  | 45 | 46 | 0.051607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6643-38_0_4_line_46 |  | 46 | 47 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6643-38_0_4_line_47 |  | 47 | 48 | 0.0091008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6643-38_0_4_trafo_31 | 0.63 MVA 20/0.4 kV | 49 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2495901.3222 | 1117047.2242 | 2495899.1134 | 1117043.5235
1 | 2495936.7719 | 1117070.7152 | 2495928.6091 | 1117075.0806 | 2495919.036 | 1117076.902 | 2495901.3222 | 1117047.2242
2 | 2495936.7719 | 1117070.7152 | 2495939.4284 | 1117075.2391 | 2495954.089 | 1117063.9687 | 2495958.7088 | 1117059.1973 | 2495964.9997 | 1117051.4843 | 2495971.2602 | 1117042.0039 | 2495974.9788 | 1117035.5581 | 2495978.6451 | 1117029.2133 | 2495967.955 | 1117021.3142 | 2495966.682 | 1117020.0242 | 2495965.8889 | 1117018.8037 | 2495965.2626 | 1117017.4025 | 2495965.0811 | 1117015.8268 | 2495965.0022 | 1117014.3828 | 2495965.1795 | 1117012.1228 | 2495965.4031 | 1117010.3066 | 2495966.1209 | 1117007.6037 | 2495973.3932 | 1116986.921 | 2495974.3483 | 1116983.2023 | 2495975.0653 | 1116979.999 | 2495975.399 | 1116976.958 | 2495975.4708 | 1116974.8443 | 2495975.3135 | 1116971.5338 | 2495974.8803 | 1116967.8945 | 2495973.7887 | 1116961.8872
3 | 2495973.7887 | 1116961.8872 | 2495971.3786 | 1116955.5357 | 2495968.105 | 1116949.2546
4 | 2495979.9263 | 1117146.3325 | 2495984.6099 | 1117146.1741 | 2495989.5393 | 1117146.8342 | 2496012.0221 | 1117149.5606 | 2496027.5176 | 1117150.9286 | 2496046.7867 | 1117153.0989 | 2496105.0487 | 1117165.3949
5 | 2495979.9263 | 1117146.3325 | 2495980.9274 | 1117151.1183 | 2495982.146 | 1117154.1882 | 2495982.6317 | 1117155.9477 | 2495983.0278 | 1117157.8754 | 2495982.9732 | 1117160.0889 | 2495982.7998 | 1117162.1265 | 2495982.4905 | 1117165.6896 | 2495981.8481 | 1117168.2912 | 2495980.8736 | 1117171.3321 | 2495979.9639 | 1117173.2045 | 2495978.8833 | 1117174.5684 | 2495977.6964 | 1117175.1336 | 2495976.108 | 1117175.2499 | 2495975.025 | 1117174.6792 | 2495968.3271 | 1117168.6016 | 2495966.1679 | 1117166.5041 | 2495960.8905 | 1117160.4243 | 2495958.1656 | 1117157.7583 | 2495955.0432 | 1117155.3216 | 2495953.5674 | 1117154.3575 | 2495946.7561 | 1117150.6611 | 2495942.0415 | 1117149.0189 | 2495938.2379 | 1117147.828 | 2495933.1854 | 1117146.2917 | 2495930.901 | 1117145.6391
6 | 2496105.0487 | 1117165.3949 | 2496096.0583 | 1117187.1965
7 | 2496105.0487 | 1117165.3949 | 2496117.9158 | 1117141.4032 | 2496132.3778 | 1117110.2087
8 | 2496026.9028 | 1116929.7205 | 2496035.2238 | 1116920.1714 | 2496043.7422 | 1116912.6759 | 2496054.3829 | 1116906.4669 | 2496066.1965 | 1116902.4614 | 2496079.5722 | 1116899.9523 | 2496094.3071 | 1116899.2544 | 2496106.2296 | 1116901.1398 | 2496119.9023 | 1116904.0639
9 | 2496026.9028 | 1116929.7205 | 2496020.2858 | 1116927.4661 | 2496014.2702 | 1116925.1569 | 2496011.4015 | 1116924.4613 | 2496009.7957 | 1116924.4667 | 2496007.6939 | 1116924.8141 | 2496005.5222 | 1116925.5853 | 2496001.5718 | 1116927.988 | 2495970.2672 | 1116946.5824 | 2495968.105 | 1116949.2546
10 | 2496135.3272 | 1116907.2997 | 2496130.0975 | 1116906.2444 | 2496119.9023 | 1116904.0639
11 | 2496096.0583 | 1117187.1965 | 2496091.4532 | 1117199.5612 | 2496088.67 | 1117208.7704 | 2496086.6082 | 1117218.1785 | 2496085.6408 | 1117226.0903
12 | 2496089.941 | 1117185.6895 | 2496096.0583 | 1117187.1965
13 | 2496132.3778 | 1117110.2087 | 2496138.9174 | 1117096.1027 | 2496146.1662 | 1117079.8541
14 | 2496135.3299 | 1116910.157 | 2496135.3272 | 1116907.2997
15 | 2496196.7663 | 1117335.3911 | 2496198.1445 | 1117333.7042 | 2496199.0733 | 1117332.6694
16 | 2496146.7646 | 1117395.6586 | 2496159.2858 | 1117383.914 | 2496173.2147 | 1117364.218 | 2496196.7663 | 1117335.3911
17 | 2496199.0733 | 1117332.6694 | 2496201.1825 | 1117330.3192
18 | 2496146.7646 | 1117395.6586 | 2496141.2871 | 1117390.9385 | 2496133.5509 | 1117382.3659 | 2496128.1386 | 1117375.1542 | 2496125.4054 | 1117370.198 | 2496123.225 | 1117365.5102
19 | 2496211.7651 | 1117318.5276 | 2496201.1825 | 1117330.3192
20 | 2496123.225 | 1117365.5102 | 2496122.9387 | 1117346.1472 | 2496122.9888 | 1117344.1144
21 | 2496211.7651 | 1117318.5276 | 2496216.5209 | 1117312.2309 | 2496222.3288 | 1117303.0205
22 | 2496079.425 | 1117266.0657 | 2496084.3798 | 1117272.2512 | 2496092.7732 | 1117279.5228 | 2496097.2717 | 1117282.0694 | 2496123.3784 | 1117285.4566 | 2496124.3809 | 1117287.6408 | 2496122.9888 | 1117344.1144
23 | 2496222.3288 | 1117303.0205 | 2496236.2725 | 1117280.9082
24 | 2496079.425 | 1117266.0657 | 2496081.7831 | 1117252.1843
25 | 2496079.425 | 1117266.0657 | 2496077.3994 | 1117278.0867
26 | 2496085.6408 | 1117226.0903 | 2496084.6587 | 1117234.1221 | 2496083.0638 | 1117244.6451 | 2496081.7831 | 1117252.1843
27 | 2496075.6223 | 1117296.8736 | 2496075.7133 | 1117294.4697 | 2496076.0692 | 1117285.9805 | 2496077.3994 | 1117278.0867
28 | 2496249.3902 | 1116932.2254 | 2496244.2509 | 1116930.1344 | 2496239.88 | 1116928.7307 | 2496234.755 | 1116927.9292 | 2496217.8383 | 1116927.4524 | 2496215.0388 | 1116927.1891 | 2496207.3208 | 1116926.4543 | 2496197.691 | 1116924.5405 | 2496189.2255 | 1116922.54 | 2496152.9294 | 1116913.9685 | 2496148.3168 | 1116912.8803
29 | 2496249.3902 | 1116932.2254 | 2496242.6583 | 1116937.2107 | 2496201.8261 | 1116965.2844 | 2496189.3154 | 1116974.5494 | 2496183.232 | 1116980.88
30 | 2496148.3168 | 1116912.8803 | 2496139.3749 | 1116911.0052
31 | 2496171.1668 | 1116999.8367 | 2496173.4837 | 1116994.5448 | 2496176.9062 | 1116988.8269 | 2496183.232 | 1116980.88 | 2496183.232 | 1116980.88
32 | 2496184.1812 | 1117056.4007 | 2496214.7365 | 1117070.7315
33 | 2496184.1812 | 1117056.4007 | 2496174.1812 | 1117051.8026 | 2496172.6014 | 1117051.0737 | 2496171.0439 | 1117054.347 | 2496159.8751 | 1117049.1242
34 | 2496135.3299 | 1116910.157 | 2496139.3749 | 1116911.0052
35 | 2496159.8751 | 1117049.1242 | 2496152.0158 | 1117066.7415
36 | 2496159.8751 | 1117049.1242 | 2496161.3098 | 1117045.8975 | 2496162.878 | 1117040.5561 | 2496164.0845 | 1117035.7323 | 2496166.7458 | 1117021.6555
37 | 2496166.7458 | 1117021.6555 | 2496167.212 | 1117018.9106
38 | 2496171.1668 | 1116999.8367 | 2496170.7126 | 1117000.8742 | 2496169.0317 | 1117008.1966 | 2496167.212 | 1117018.9106
39 | 2496152.0158 | 1117066.7415 | 2496146.1662 | 1117079.8541
40 | 2496089.941 | 1117185.6895 | 2496083.5227 | 1117204.8564
41 | 2496089.941 | 1117185.6895 | 2496077.5918 | 1117182.6318
42 | 2496074.2128 | 1117181.7952 | 2496077.5918 | 1117182.6318
43 | 2496074.2128 | 1117181.7952 | 2496064.5793 | 1117179.41 | 2496062.2522 | 1117188.6558 | 2496054.2138 | 1117187.0237
44 | 2496050.6584 | 1117186.3017 | 2496054.2138 | 1117187.0237
45 | 2496075.6223 | 1117296.8736 | 2496075.0549 | 1117311.8588 | 2496074.4534 | 1117327.6236 | 2496074.3381 | 1117330.7943 | 2496056.7536 | 1117329.1397
46 | 2496056.7536 | 1117329.1397 | 2496056.7536 | 1117329.1397 | 2496054.7578 | 1117339.4581
47 | 2496053.0315 | 1117348.3937 | 2496053.6552 | 1117345.1587 | 2496054.7578 | 1117339.4581

## bus_geodata
| x | y | coords
0 | 2495901.3222 | 1117047.2242
1 | 2495899.1134 | 1117043.5235
2 | 2495936.7719 | 1117070.7152
3 | 2495973.7887 | 1116961.8872
4 | 2495979.9263 | 1117146.3325
5 | 2496105.0487 | 1117165.3949
6 | 2495930.901 | 1117145.6391
7 | 2496026.9028 | 1116929.7205
8 | 2496119.9023 | 1116904.0639
9 | 2495968.105 | 1116949.2546
10 | 2496096.0583 | 1117187.1965
11 | 2496132.3778 | 1117110.2087
12 | 2496135.3272 | 1116907.2997
13 | 2496196.7663 | 1117335.3911
14 | 2496199.0733 | 1117332.6694
15 | 2496146.7646 | 1117395.6586
16 | 2496201.1825 | 1117330.3192
17 | 2496123.225 | 1117365.5102
18 | 2496211.7651 | 1117318.5276
19 | 2496122.9888 | 1117344.1144
20 | 2496222.3288 | 1117303.0205
21 | 2496079.425 | 1117266.0657
22 | 2496236.2725 | 1117280.9082
23 | 2496081.7831 | 1117252.1843
24 | 2496077.3994 | 1117278.0867
25 | 2496249.3902 | 1116932.2254
26 | 2496148.3168 | 1116912.8803
27 | 2496183.232 | 1116980.88
28 | 2496214.7365 | 1117070.7315
29 | 2496184.1812 | 1117056.4007
30 | 2496135.3299 | 1116910.157
31 | 2496139.3749 | 1116911.0052
32 | 2496159.8751 | 1117049.1242
33 | 2496166.7458 | 1117021.6555
34 | 2496167.212 | 1117018.9106
35 | 2496152.0158 | 1117066.7415
36 | 2496171.1668 | 1116999.8367
37 | 2496146.1662 | 1117079.8541
38 | 2496085.6408 | 1117226.0903
39 | 2496089.941 | 1117185.6895
40 | 2496083.5227 | 1117204.8564
41 | 2496077.5918 | 1117182.6318
42 | 2496074.2128 | 1117181.7952
43 | 2496054.2138 | 1117187.0237
44 | 2496050.6584 | 1117186.3017
45 | 2496075.6223 | 1117296.8736
46 | 2496056.7536 | 1117329.1397
47 | 2496054.7578 | 1117339.4581
48 | 2496053.0315 | 1117348.3937
49 | 2496096.0583 | 1117187.1965

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1