## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6643-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6643-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6643-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6643-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6643-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6643-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6643-4_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6643-4_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_6643-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6643-4_0_4_node_75 | 0.4 | n |  | TRUE
10 | bus_LV_6643-4_0_4_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_6643-4_0_4_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_6643-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6643-4_0_4_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_6643-4_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_6643-4_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6643-4_0_4_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_6643-4_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6643-4_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6643-4_0_4_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_6643-4_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6643-4_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6643-4_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_6643-4_0_4_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_6643-4_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_6643-4_0_4_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6643-4_0_4_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_6643-4_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6643-4_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6643-4_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_6643-4_0_4_node_61 | 0.4 | n |  | TRUE
31 | bus_LV_6643-4_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6643-4_0_4_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_6643-4_0_4_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_6643-4_0_4_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_6643-4_0_4_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_6643-4_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6643-4_0_4_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_6643-4_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_6643-4_0_4_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_6643-4_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6643-4_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6643-4_0_4_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_6643-4_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6643-4_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6643-4_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6643-4_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6643-4_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6643-4_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_6643-4_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6643-4_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6643-4_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_6643-4_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_6643-4_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6643-4_0_4_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_6643-4_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6643-4_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6643-4_0_4_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_6643-4_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6643-4_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6643-4_0_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_6643-4_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_6643-4_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_6643-4_0_4_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6643-4_0_4_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_6643-4_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_6643-4_0_4_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_6643-4_0_4_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_6643-4_0_4_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_6643-4_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6643-4_0_4_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_6643-4_0_4_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_6643-4_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_MV_658_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6643-4_0_4_load_0 | 0 | 0.015184 | 0.0038055 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6643-4_0_4_load_1 | 1 | 0.0089081 | 0.0022326 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6643-4_0_4_load_3 | 3 | 0.014477 | 0.0036282 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6643-4_0_4_load_29 | 7 | 0.036819 | 0.0092276 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6643-4_0_4_load_75 | 9 | 0.0051805 | 0.0012984 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6643-4_0_4_load_74 | 10 | 0.010199 | 0.002556 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6643-4_0_4_load_60 | 11 | 0.0069433 | 0.0017401 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6643-4_0_4_load_76 | 13 | 0.0053241 | 0.0013343 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6643-4_0_4_load_73 | 19 | 0.0089538 | 0.002244 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6643-4_0_4_load_77 | 23 | 0.01357 | 0.0034009 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6643-4_0_4_load_9 | 26 | 0.010228 | 0.0025633 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6643-4_0_4_load_37 | 27 | 0.021405 | 0.0053646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6643-4_0_4_load_64 | 29 | 0.009584 | 0.002402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6643-4_0_4_load_61 | 30 | 0.010534 | 0.0026401 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6643-4_0_4_load_71 | 32 | 0.0098101 | 0.0024586 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6643-4_0_4_load_72 | 33 | 0.0099172 | 0.0024855 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6643-4_0_4_load_54 | 34 | 0.010461 | 0.0026218 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6643-4_0_4_load_50 | 35 | 0.010895 | 0.0027306 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6643-4_0_4_load_55 | 39 | 0.013613 | 0.0034118 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6643-4_0_4_load_32 | 40 | 0.0021578 | 0.00054079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6643-4_0_4_load_56 | 42 | 0.012486 | 0.0031293 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6643-4_0_4_load_38 | 44 | 0.029155 | 0.007307 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6643-4_0_4_load_39 | 45 | 0.014531 | 0.0036417 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6643-4_0_4_load_43 | 48 | 0.013367 | 0.0033501 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6643-4_0_4_load_42 | 49 | 0.0010565 | 0.00026478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6643-4_0_4_load_41 | 50 | 0.0013692 | 0.00034315 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6643-4_0_4_load_59 | 51 | 0.012577 | 0.0031521 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6643-4_0_4_load_70 | 54 | 0.012429 | 0.0031149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6643-4_0_4_load_49 | 55 | 0.01456 | 0.0036491 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6643-4_0_4_load_69 | 57 | 0.013704 | 0.0034346 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6643-4_0_4_load_46 | 58 | 0.013299 | 0.0033331 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6643-4_0_4_load_58 | 59 | 0.013674 | 0.0034269 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6643-4_0_4_load_78 | 60 | 0.013034 | 0.0032667 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6643-4_0_4_load_79 | 61 | 0.013122 | 0.0032886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6643-4_0_4_load_62 | 62 | 0.010553 | 0.0026448 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6643-4_0_4_load_63 | 63 | 0.010436 | 0.0026155 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6643-4_0_4_load_31 | 64 | 0.0024114 | 0.00060435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6643-4_0_4_load_57 | 65 | 0.013366 | 0.0033498 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6643-4_0_4_load_33 | 66 | 0.0021944 | 0.00054996 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6643-4_0_4_load_34 | 67 | 0.00096994 | 0.00024309 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6643-4_0_4_load_68 | 68 | 0.013202 | 0.0033088 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6643-4_0_4_load_65 | 69 | 0.013824 | 0.0034647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6643-4_0_4_load_47 | 70 | 0.013299 | 0.0033331 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6643-4_0_4_load_45 | 71 | 0.014655 | 0.0036728 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6643-4_0_4_load_66 | 72 | 0.012428 | 0.0031147 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6643-4_0_4_line_0 |  | 0 | 1 | 0.055226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6643-4_0_4_line_1 |  | 0 | 2 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6643-4_0_4_line_2 |  | 2 | 3 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6643-4_0_4_line_3 |  | 2 | 4 | 0.25332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6643-4_0_4_line_4 |  | 4 | 5 | 0.063685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6643-4_0_4_line_5 |  | 4 | 6 | 0.017057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6643-4_0_4_line_6 |  | 5 | 7 | 0.041741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6643-4_0_4_line_7 |  | 6 | 11 | 0.0077472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6643-4_0_4_line_8 |  | 7 | 14 | 0.03505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6643-4_0_4_line_9 |  | 8 | 9 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6643-4_0_4_line_10 |  | 8 | 10 | 0.025034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6643-4_0_4_line_11 |  | 9 | 15 | 0.0053961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6643-4_0_4_line_12 |  | 10 | 12 | 0.024627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6643-4_0_4_line_13 |  | 12 | 13 | 0.0097046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6643-4_0_4_line_14 |  | 13 | 43 | 0.078356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6643-4_0_4_line_15 |  | 14 | 17 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6643-4_0_4_line_16 |  | 15 | 16 | 0.06784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6643-4_0_4_line_17 |  | 15 | 17 | 0.048745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6643-4_0_4_line_18 |  | 16 | 55 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6643-4_0_4_line_19 |  | 16 | 45 | 0.067245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6643-4_0_4_line_20 |  | 17 | 27 | 0.018438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6643-4_0_4_line_21 |  | 18 | 19 | 0.0071469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6643-4_0_4_line_22 |  | 18 | 20 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6643-4_0_4_line_23 |  | 19 | 33 | 0.0081076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6643-4_0_4_line_24 |  | 20 | 26 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6643-4_0_4_line_25 |  | 21 | 22 | 0.051268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6643-4_0_4_line_26 |  | 21 | 23 | 0.0078459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6643-4_0_4_line_27 |  | 22 | 34 | 0.0018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6643-4_0_4_line_28 |  | 22 | 35 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6643-4_0_4_line_29 |  | 23 | 60 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6643-4_0_4_line_30 |  | 24 | 25 | 0.033568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6643-4_0_4_line_31 |  | 24 | 26 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6643-4_0_4_line_32 |  | 25 | 44 | 0.0020596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6643-4_0_4_line_33 |  | 28 | 29 | 0.0074075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6643-4_0_4_line_34 |  | 28 | 30 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6643-4_0_4_line_35 |  | 29 | 34 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6643-4_0_4_line_36 |  | 30 | 62 | 0.0088048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6643-4_0_4_line_37 |  | 31 | 32 | 0.0030483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6643-4_0_4_line_38 |  | 31 | 33 | 0.0096612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6643-4_0_4_line_39 |  | 32 | 63 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6643-4_0_4_line_40 |  | 36 | 37 | 0.012533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6643-4_0_4_line_41 |  | 36 | 38 | 0.09376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6643-4_0_4_line_42 |  | 36 | 39 | 0.0082344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6643-4_0_4_line_43 |  | 37 | 51 | 0.039783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6643-4_0_4_line_44 |  | 38 | 40 | 0.11422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6643-4_0_4_line_45 |  | 39 | 41 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6643-4_0_4_line_46 |  | 40 | 64 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6643-4_0_4_line_47 |  | 41 | 42 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6643-4_0_4_line_48 |  | 42 | 65 | 0.01378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6643-4_0_4_line_49 |  | 43 | 46 | 0.13037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6643-4_0_4_line_50 |  | 43 | 47 | 0.005765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6643-4_0_4_line_51 |  | 44 | 45 | 0.00030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6643-4_0_4_line_52 |  | 46 | 48 | 0.010607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6643-4_0_4_line_53 |  | 47 | 68 | 0.029652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6643-4_0_4_line_54 |  | 47 | 69 | 0.03208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6643-4_0_4_line_55 |  | 49 | 50 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6643-4_0_4_line_56 |  | 50 | 67 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6643-4_0_4_line_57 |  | 51 | 59 | 0.015018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6643-4_0_4_line_58 |  | 52 | 53 | 0.029073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6643-4_0_4_line_59 |  | 52 | 54 | 0.011208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6643-4_0_4_line_60 |  | 53 | 59 | 0.0021001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6643-4_0_4_line_61 |  | 54 | 57 | 0.0086518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6643-4_0_4_line_62 |  | 55 | 70 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6643-4_0_4_line_63 |  | 56 | 57 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6643-4_0_4_line_64 |  | 56 | 58 | 0.0097464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6643-4_0_4_line_65 |  | 58 | 71 | 0.023846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6643-4_0_4_line_66 |  | 60 | 61 | 0.010512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6643-4_0_4_line_67 |  | 62 | 63 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6643-4_0_4_line_68 |  | 64 | 66 | 0.024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6643-4_0_4_line_69 |  | 66 | 67 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6643-4_0_4_line_70 |  | 69 | 72 | 0.0055691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6643-4_0_4_line_71 |  | 70 | 71 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6643-4_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 73 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2497400.263 | 1119675.2255 | 2497410.5527 | 1119678.5642 | 2497411.7486 | 1119678.9998 | 2497413.1911 | 1119674.8727 | 2497424.433 | 1119678.3842 | 2497429.5841 | 1119684.056 | 2497445.3248 | 1119689.8261 | 2497447.7299 | 1119690.7011
1 | 2497471.4456 | 1119693.341 | 2497457.4098 | 1119689.3542 | 2497452.4967 | 1119692.2504 | 2497448.2446 | 1119690.8883 | 2497447.7299 | 1119690.7011
2 | 2497471.4456 | 1119693.341 | 2497474.2814 | 1119684.9098 | 2497481.833 | 1119679.8621
3 | 2497471.4456 | 1119693.341 | 2497469.7191 | 1119698.4735 | 2497467.4758 | 1119705.894 | 2497474.1358 | 1119718.6336 | 2497477.7402 | 1119719.5731 | 2497504.0032 | 1119727.8443 | 2497505.0518 | 1119753.2759 | 2497505.8562 | 1119772.0408 | 2497506.9943 | 1119774.5342 | 2497509.3642 | 1119778.2186 | 2497509.8763 | 1119782.0234 | 2497509.0598 | 1119786.2066 | 2497505.8181 | 1119789.3635 | 2497501.215 | 1119790.5089 | 2497496.8455 | 1119789.9604 | 2497491.4604 | 1119785.0374 | 2497487.4269 | 1119782.0039 | 2497481.9832 | 1119781.3624 | 2497476.3293 | 1119782.4367 | 2497473.4747 | 1119784.7532 | 2497467.8168 | 1119794.2329 | 2497464.5849 | 1119796.6003 | 2497461.6769 | 1119797.1388 | 2497452.1299 | 1119793.4428 | 2497455.0765 | 1119783.809 | 2497458.9428 | 1119775.6272 | 2497464.7404 | 1119761.1864 | 2497468.5863 | 1119747.2457 | 2497475.0247 | 1119735.5514 | 2497474.7203 | 1119732.1656
4 | 2497417.6941 | 1119730.1201 | 2497427.8536 | 1119733.0608 | 2497453.7013 | 1119741.4166 | 2497466.8741 | 1119740.0258 | 2497475.0247 | 1119735.5514 | 2497474.7203 | 1119732.1656
5 | 2497474.7203 | 1119732.1656 | 2497475.112 | 1119730.2355 | 2497476.3499 | 1119726.779 | 2497478.472 | 1119720.8615 | 2497480.1649 | 1119716.0186
6 | 2497417.6941 | 1119730.1201 | 2497377.762 | 1119717.9645
7 | 2497480.1649 | 1119716.0186 | 2497474.0203 | 1119713.6435 | 2497473.0324 | 1119714.2506
8 | 2497345.9682 | 1119704.9879 | 2497350.3616 | 1119709.6718 | 2497353.8671 | 1119710.6907 | 2497377.762 | 1119717.9645
9 | 2497365.9652 | 1119673.2729 | 2497361.83 | 1119667.8952 | 2497357.5758 | 1119661.1883
10 | 2497365.9652 | 1119673.2729 | 2497389.9719 | 1119680.37
11 | 2497354.6855 | 1119656.6316 | 2497357.5758 | 1119661.1883
12 | 2497413.5881 | 1119687.3516 | 2497389.9719 | 1119680.37
13 | 2497413.5881 | 1119687.3516 | 2497415.5119 | 1119681.115 | 2497416.4629 | 1119678.0826
14 | 2497449.1677 | 1119607.0197 | 2497436.6587 | 1119634.816 | 2497429.2057 | 1119647.2058 | 2497417.4154 | 1119675.0456 | 2497416.4629 | 1119678.0826
15 | 2497329.783 | 1119694.8673 | 2497331.7477 | 1119698.3139 | 2497335.0049 | 1119701.5273 | 2497339.4192 | 1119703.7983 | 2497345.9682 | 1119704.9879
16 | 2497354.6855 | 1119656.6316 | 2497360.7478 | 1119641.4302 | 2497368.4183 | 1119621.8543 | 2497371.4032 | 1119635.39 | 2497381.7125 | 1119637.1495 | 2497384.5291 | 1119642.5941
17 | 2497329.783 | 1119694.8673 | 2497328.5987 | 1119689.6619 | 2497329.3138 | 1119684.0573 | 2497332.5813 | 1119678.3316 | 2497337.0523 | 1119674.8535 | 2497338.7525 | 1119674.0908 | 2497354.6855 | 1119656.6316
18 | 2497384.5291 | 1119642.5941 | 2497388.1581 | 1119647.7024 | 2497392.2724 | 1119649.1224 | 2497392.2724 | 1119649.1224
19 | 2497384.5291 | 1119642.5941 | 2497384.1021 | 1119652.8967 | 2497384.3857 | 1119660.9637 | 2497382.5274 | 1119670.6013 | 2497378.9633 | 1119673.408 | 2497368.5533 | 1119669.3487 | 2497361.7285 | 1119691.6649
20 | 2497329.783 | 1119694.8673 | 2497323.3561 | 1119689.0505 | 2497314.2647 | 1119685.4747
21 | 2497322.3748 | 1119634.9218 | 2497327.6935 | 1119630.148
22 | 2497322.3748 | 1119634.9218 | 2497322.7028 | 1119641.0535 | 2497320.0385 | 1119645.9462 | 2497314.1229 | 1119647.5143 | 2497310.6618 | 1119647.2952
23 | 2497332.2972 | 1119623.8084 | 2497331.3141 | 1119626.8983 | 2497327.6935 | 1119630.148
24 | 2497310.6618 | 1119647.2952 | 2497311.6213 | 1119651.5371 | 2497321.8242 | 1119653.8431 | 2497324.5167 | 1119658.513
25 | 2497300.4041 | 1119556.8233 | 2497303.6352 | 1119549.864 | 2497306.5736 | 1119544.2995 | 2497310.9179 | 1119541.9909 | 2497317.9743 | 1119541.6931 | 2497322.686 | 1119538.2999 | 2497326.5411 | 1119537.1782 | 2497335.4893 | 1119538.7606 | 2497341.8334 | 1119539.6869
26 | 2497300.4041 | 1119556.8233 | 2497297.1443 | 1119560.7366 | 2497294.4511 | 1119560.1677
27 | 2497341.8334 | 1119539.6869 | 2497341.4114 | 1119541.4728
28 | 2497341.8334 | 1119539.6869 | 2497346.4435 | 1119524.8548 | 2497351.7821 | 1119521.5621 | 2497355.2774 | 1119521.0692
29 | 2497294.4511 | 1119560.1677 | 2497288.9112 | 1119558.9976 | 2497285.415 | 1119560.8025 | 2497274.789 | 1119572.8026
30 | 2497361.0373 | 1119693.9251 | 2497352.4525 | 1119691.0134 | 2497328.9832 | 1119683.6738
31 | 2497328.9832 | 1119683.6738 | 2497322.977 | 1119670.8232 | 2497323.3048 | 1119668.316 | 2497324.9412 | 1119659.2492 | 2497324.5167 | 1119658.513
32 | 2497361.0373 | 1119693.9251 | 2497361.6396 | 1119691.9555
33 | 2497335.6977 | 1119560.5709 | 2497338.2532 | 1119553.6181
34 | 2497335.6977 | 1119560.5709 | 2497333.6712 | 1119573.936 | 2497336.5442 | 1119575.4215
35 | 2497341.4114 | 1119541.4728 | 2497339.0614 | 1119551.4191 | 2497338.2532 | 1119553.6181
36 | 2497336.5442 | 1119575.4215 | 2497336.0864 | 1119584.2143
37 | 2497335.2263 | 1119614.6019 | 2497335.7411 | 1119611.5975
38 | 2497335.2263 | 1119614.6019 | 2497332.2972 | 1119623.8084
39 | 2497336.3238 | 1119599.8709 | 2497336.371 | 1119601.1184 | 2497336.0899 | 1119609.5619 | 2497335.7411 | 1119611.5975
40 | 2497453.6064 | 1119482.4546 | 2497447.9952 | 1119482.8722 | 2497445.6981 | 1119489.4042
41 | 2497453.6064 | 1119482.4546 | 2497458.5091 | 1119466.6504 | 2497482.5057 | 1119457.2599 | 2497492.638 | 1119453.1189 | 2497491.2211 | 1119449.663 | 2497488.3467 | 1119442.6294 | 2497487.5822 | 1119440.7857 | 2497485.3338 | 1119438.8114 | 2497482.936 | 1119436.2171 | 2497482.1952 | 1119434.4063 | 2497480.2873 | 1119429.7579 | 2497476.4474 | 1119420.406 | 2497475.1948 | 1119417.0807
42 | 2497453.6064 | 1119482.4546 | 2497458.3715 | 1119484.0193 | 2497461.4527 | 1119484.9512
43 | 2497445.6981 | 1119489.4042 | 2497446.1687 | 1119493.0319 | 2497443.278 | 1119504.5993 | 2497442.9701 | 1119514.6553 | 2497439.4213 | 1119528.3437
44 | 2497475.1948 | 1119417.0807 | 2497369.5786 | 1119460.5678
45 | 2497468.4824 | 1119493.1759 | 2497466.2374 | 1119486.3985 | 2497461.4527 | 1119484.9512
46 | 2497346.4967 | 1119470.0717 | 2497369.5786 | 1119460.5678
47 | 2497468.4824 | 1119493.1759 | 2497465.815 | 1119506.6326
48 | 2497463.1424 | 1119520.151 | 2497463.9824 | 1119515.8776 | 2497465.815 | 1119506.6326
49 | 2497449.1677 | 1119607.0197 | 2497458.8565 | 1119610.869 | 2497452.6689 | 1119636.4456 | 2497455.85 | 1119637.4478 | 2497473.811 | 1119608.9476 | 2497477.0222 | 1119610.3607 | 2497465.373 | 1119645.6249 | 2497467.0311 | 1119649.199 | 2497457.6747 | 1119656.7513
50 | 2497443.7913 | 1119604.8984 | 2497449.1677 | 1119607.0197
51 | 2497361.7285 | 1119691.6649 | 2497361.6396 | 1119691.9555
52 | 2497457.6747 | 1119656.7513 | 2497458.5145 | 1119661.2177 | 2497457.9695 | 1119665.4852 | 2497456.548 | 1119666.5229
53 | 2497443.7913 | 1119604.8984 | 2497438.9135 | 1119616.2438 | 2497425.9202 | 1119627.6691
54 | 2497443.7913 | 1119604.8984 | 2497447.4019 | 1119576.6304 | 2497448.5649 | 1119573.2421
55 | 2497277.1306 | 1119498.633 | 2497254.0493 | 1119508.1367
56 | 2497277.1306 | 1119498.633 | 2497299.8489 | 1119489.2788
57 | 2497436.9029 | 1119543.1437 | 2497439.1166 | 1119529.5189 | 2497439.4213 | 1119528.3437
58 | 2497436.5661 | 1119545.2165 | 2497432.6838 | 1119559.2913 | 2497426.2947 | 1119564.3473 | 2497422.2411 | 1119569.2302
59 | 2497422.2411 | 1119569.2302 | 2497423.5721 | 1119580.3591
60 | 2497436.5661 | 1119545.2165 | 2497436.9029 | 1119543.1437
61 | 2497418.0039 | 1119586.9809 | 2497423.5721 | 1119580.3591 | 2497423.5721 | 1119580.3591
62 | 2497392.2724 | 1119649.1224 | 2497395.5475 | 1119639.5867
63 | 2497412.5854 | 1119595.5328 | 2497415.4249 | 1119590.0479 | 2497418.0039 | 1119586.9809
64 | 2497412.5854 | 1119595.5328 | 2497411.305 | 1119605.1947
65 | 2497403.0398 | 1119627.4038 | 2497405.7705 | 1119617.3289 | 2497411.1146 | 1119606.6314 | 2497411.305 | 1119605.1947
66 | 2497274.789 | 1119572.8026 | 2497273.3905 | 1119574.382 | 2497265.7272 | 1119577.8281
67 | 2497336.3238 | 1119599.8709 | 2497335.8808 | 1119588.163 | 2497336.0864 | 1119584.2143
68 | 2497323.7429 | 1119479.4405 | 2497346.4967 | 1119470.0717
69 | 2497323.7429 | 1119479.4405 | 2497299.8489 | 1119489.2788
70 | 2497450.3728 | 1119567.9746 | 2497448.5649 | 1119573.2421
71 | 2497403.0398 | 1119627.4038 | 2497403.0398 | 1119627.4038 | 2497396.8318 | 1119635.8477 | 2497395.5475 | 1119639.5867

## bus_geodata
| x | y | coords
0 | 2497447.7299 | 1119690.7011
1 | 2497400.263 | 1119675.2255
2 | 2497471.4456 | 1119693.341
3 | 2497481.833 | 1119679.8621
4 | 2497474.7203 | 1119732.1656
5 | 2497417.6941 | 1119730.1201
6 | 2497480.1649 | 1119716.0186
7 | 2497377.762 | 1119717.9645
8 | 2497365.9652 | 1119673.2729
9 | 2497357.5758 | 1119661.1883
10 | 2497389.9719 | 1119680.37
11 | 2497473.0324 | 1119714.2506
12 | 2497413.5881 | 1119687.3516
13 | 2497416.4629 | 1119678.0826
14 | 2497345.9682 | 1119704.9879
15 | 2497354.6855 | 1119656.6316
16 | 2497384.5291 | 1119642.5941
17 | 2497329.783 | 1119694.8673
18 | 2497322.3748 | 1119634.9218
19 | 2497327.6935 | 1119630.148
20 | 2497310.6618 | 1119647.2952
21 | 2497300.4041 | 1119556.8233
22 | 2497341.8334 | 1119539.6869
23 | 2497294.4511 | 1119560.1677
24 | 2497328.9832 | 1119683.6738
25 | 2497361.0373 | 1119693.9251
26 | 2497324.5167 | 1119658.513
27 | 2497314.2647 | 1119685.4747
28 | 2497335.6977 | 1119560.5709
29 | 2497338.2532 | 1119553.6181
30 | 2497336.5442 | 1119575.4215
31 | 2497335.2263 | 1119614.6019
32 | 2497335.7411 | 1119611.5975
33 | 2497332.2972 | 1119623.8084
34 | 2497341.4114 | 1119541.4728
35 | 2497355.2774 | 1119521.0692
36 | 2497453.6064 | 1119482.4546
37 | 2497445.6981 | 1119489.4042
38 | 2497475.1948 | 1119417.0807
39 | 2497461.4527 | 1119484.9512
40 | 2497369.5786 | 1119460.5678
41 | 2497468.4824 | 1119493.1759
42 | 2497465.815 | 1119506.6326
43 | 2497449.1677 | 1119607.0197
44 | 2497361.6396 | 1119691.9555
45 | 2497361.7285 | 1119691.6649
46 | 2497457.6747 | 1119656.7513
47 | 2497443.7913 | 1119604.8984
48 | 2497456.548 | 1119666.5229
49 | 2497254.0493 | 1119508.1367
50 | 2497277.1306 | 1119498.633
51 | 2497439.4213 | 1119528.3437
52 | 2497422.2411 | 1119569.2302
53 | 2497436.5661 | 1119545.2165
54 | 2497423.5721 | 1119580.3591
55 | 2497392.2724 | 1119649.1224
56 | 2497412.5854 | 1119595.5328
57 | 2497418.0039 | 1119586.9809
58 | 2497411.305 | 1119605.1947
59 | 2497436.9029 | 1119543.1437
60 | 2497274.789 | 1119572.8026
61 | 2497265.7272 | 1119577.8281
62 | 2497336.0864 | 1119584.2143
63 | 2497336.3238 | 1119599.8709
64 | 2497346.4967 | 1119470.0717
65 | 2497463.1424 | 1119520.151
66 | 2497323.7429 | 1119479.4405
67 | 2497299.8489 | 1119489.2788
68 | 2497425.9202 | 1119627.6691
69 | 2497448.5649 | 1119573.2421
70 | 2497395.5475 | 1119639.5867
71 | 2497403.0398 | 1119627.4038
72 | 2497450.3728 | 1119567.9746
73 | 2497412.5854 | 1119595.5328

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1