## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6644-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6644-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6644-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6644-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6644-11_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_6644-11_0_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6644-11_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_6644-11_0_3_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_6644-11_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6644-11_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6644-11_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6644-11_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6644-11_0_3_node_104 | 0.4 | n |  | TRUE
15 | bus_LV_6644-11_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6644-11_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6644-11_0_3_node_105 | 0.4 | n |  | TRUE
18 | bus_LV_6644-11_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_6644-11_0_3_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_6644-11_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_6644-11_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6644-11_0_3_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_6644-11_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6644-11_0_3_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_6644-11_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_6644-11_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6644-11_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6644-11_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6644-11_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6644-11_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6644-11_0_3_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_6644-11_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6644-11_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6644-11_0_3_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_6644-11_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6644-11_0_3_node_96 | 0.4 | n |  | TRUE
37 | bus_LV_6644-11_0_3_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_6644-11_0_3_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_6644-11_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_6644-11_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6644-11_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6644-11_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6644-11_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6644-11_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6644-11_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6644-11_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6644-11_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_6644-11_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6644-11_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_6644-11_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6644-11_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6644-11_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6644-11_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6644-11_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6644-11_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6644-11_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6644-11_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6644-11_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6644-11_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6644-11_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_6644-11_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6644-11_0_3_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_6644-11_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6644-11_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6644-11_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_6644-11_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6644-11_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_6644-11_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6644-11_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6644-11_0_3_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6644-11_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6644-11_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_6644-11_0_3_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_6644-11_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6644-11_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_6644-11_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6644-11_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6644-11_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6644-11_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6644-11_0_3_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_6644-11_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_6644-11_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_6644-11_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6644-11_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_6644-11_0_3_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_6644-11_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_6644-11_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_6644-11_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6644-11_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_6644-11_0_3_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_6644-11_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_6644-11_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_6644-11_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_6644-11_0_3_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_6644-11_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_6644-11_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_6644-11_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_6644-11_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_6644-11_0_3_node_92 | 0.4 | n |  | TRUE
100 | bus_MV_461_0_node_143 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-11_0_3_load_0 | 0 | 0.0020849 | 0.00052253 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-11_0_3_load_1 | 1 | 0.0015465 | 0.00038759 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-11_0_3_load_2 | 2 | 0.016505 | 0.0041365 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-11_0_3_load_4 | 4 | 0.0014552 | 0.0003647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-11_0_3_load_5 | 5 | 0.0018157 | 0.00045506 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-11_0_3_load_21 | 6 | 0.00089894 | 0.0002253 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-11_0_3_load_18 | 7 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-11_0_3_load_26 | 8 | 0.0013695 | 0.00034322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-11_0_3_load_19 | 9 | 0.0046782 | 0.0011725 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-11_0_3_load_6 | 10 | 0.01431 | 0.0035865 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-11_0_3_load_8 | 12 | 0.027904 | 0.0069934 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-11_0_3_load_9 | 13 | 0.018309 | 0.0045887 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-11_0_3_load_10 | 15 | 0.00083493 | 0.00020925 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-11_0_3_load_105 | 17 | 0.00030373 | 7.6122e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-11_0_3_load_98 | 19 | 0.01121 | 0.0028094 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-11_0_3_load_30 | 20 | 0.0022586 | 0.00056607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-11_0_3_load_17 | 23 | 0.011533 | 0.0028904 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-11_0_3_load_99 | 24 | 0.011148 | 0.0027939 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-11_0_3_load_12 | 25 | 0.0046255 | 0.0011593 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-11_0_3_load_14 | 27 | 0.0052302 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-11_0_3_load_15 | 28 | 0.0084562 | 0.0021193 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-11_0_3_load_93 | 31 | 0.0038188 | 0.00095709 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-11_0_3_load_23 | 32 | 0.01163 | 0.0029148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-11_0_3_load_94 | 34 | 0.016827 | 0.0042172 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-11_0_3_load_96 | 36 | 0.00083499 | 0.00020927 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-11_0_3_load_102 | 37 | 0.001368 | 0.00034284 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-11_0_3_load_103 | 38 | 0.0036551 | 0.00091605 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-11_0_3_load_49 | 39 | 0.00040089 | 0.00010047 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-11_0_3_load_31 | 41 | 0.00069666 | 0.0001746 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-11_0_3_load_32 | 42 | 0.00072456 | 0.00018159 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-11_0_3_load_33 | 43 | 0.00067361 | 0.00016882 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-11_0_3_load_34 | 44 | 0.00073494 | 0.00018419 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-11_0_3_load_35 | 45 | 0.00066014 | 0.00016545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-11_0_3_load_37 | 46 | 0.0019143 | 0.00047977 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-11_0_3_load_50 | 47 | 0.00069868 | 0.00017511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-11_0_3_load_38 | 48 | 0.0011472 | 0.00028751 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-11_0_3_load_51 | 49 | 0.0007241 | 0.00018148 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-11_0_3_load_39 | 50 | 0.00066708 | 0.00016718 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-11_0_3_load_40 | 51 | 0.00053895 | 0.00013507 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-11_0_3_load_48 | 52 | 0.0005612 | 0.00014065 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-11_0_3_load_53 | 53 | 0.00062011 | 0.00015541 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-11_0_3_load_41 | 54 | 0.00091681 | 0.00022977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-11_0_3_load_42 | 55 | 0.00072464 | 0.00018161 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-11_0_3_load_43 | 56 | 0.00077735 | 0.00019482 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-11_0_3_load_44 | 57 | 0.00080769 | 0.00020243 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-11_0_3_load_45 | 58 | 0.0004718 | 0.00011824 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-11_0_3_load_46 | 59 | 0.00072597 | 0.00018194 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-11_0_3_load_47 | 60 | 0.00071841 | 0.00018005 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-11_0_3_load_52 | 61 | 0.001719 | 0.00043082 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-11_0_3_load_101 | 62 | 0.0025443 | 0.00063766 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6644-11_0_3_load_54 | 63 | 0.0019667 | 0.00049291 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6644-11_0_3_load_57 | 66 | 0.0015204 | 0.00038106 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6644-11_0_3_load_59 | 68 | 0.0022379 | 0.00056086 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6644-11_0_3_load_60 | 69 | 0.0024585 | 0.00061615 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6644-11_0_3_load_65 | 70 | 0.0011193 | 0.00028053 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6644-11_0_3_load_67 | 72 | 0.0044296 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6644-11_0_3_load_81 | 73 | 0.0024352 | 0.00061031 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6644-11_0_3_load_73 | 74 | 0.0010377 | 0.00026006 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6644-11_0_3_load_61 | 75 | 0.0014834 | 0.00037177 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6644-11_0_3_load_68 | 76 | 0.0023357 | 0.00058539 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6644-11_0_3_load_82 | 77 | 0.0012647 | 0.00031696 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6644-11_0_3_load_66 | 78 | 0.00061102 | 0.00015314 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6644-11_0_3_load_80 | 79 | 0.0012579 | 0.00031525 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6644-11_0_3_load_71 | 80 | 0.0021505 | 0.00053897 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6644-11_0_3_load_78 | 81 | 0.00048564 | 0.00012171 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6644-11_0_3_load_69 | 82 | 0.0030994 | 0.00077677 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6644-11_0_3_load_79 | 83 | 0.0013635 | 0.00034173 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6644-11_0_3_load_77 | 84 | 0.0026605 | 0.00066679 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6644-11_0_3_load_70 | 85 | 0.0017029 | 0.0004268 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6644-11_0_3_load_72 | 86 | 0.00054406 | 0.00013635 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6644-11_0_3_load_74 | 87 | 0.0010082 | 0.00025267 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6644-11_0_3_load_75 | 88 | 0.0011368 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6644-11_0_3_load_76 | 89 | 0.0061931 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6644-11_0_3_load_83 | 90 | 0.0012581 | 0.00031531 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6644-11_0_3_load_86 | 91 | 0.0013548 | 0.00033955 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6644-11_0_3_load_84 | 92 | 0.0006035 | 0.00015125 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6644-11_0_3_load_85 | 93 | 0.00062709 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6644-11_0_3_load_87 | 94 | 0.00060528 | 0.0001517 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6644-11_0_3_load_88 | 95 | 0.0021049 | 0.00052753 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6644-11_0_3_load_89 | 96 | 0.0011758 | 0.00029469 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6644-11_0_3_load_90 | 97 | 0.0022817 | 0.00057184 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6644-11_0_3_load_91 | 98 | 0.00080087 | 0.00020072 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6644-11_0_3_load_92 | 99 | 0.0030449 | 0.00076311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-11_0_3_line_0 |  | 0 | 1 | 0.02235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-11_0_3_line_1 |  | 0 | 2 | 0.031836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-11_0_3_line_2 |  | 1 | 3 | 0.039238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-11_0_3_line_3 |  | 3 | 4 | 0.009813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6644-11_0_3_line_4 |  | 3 | 5 | 0.0073388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-11_0_3_line_5 |  | 4 | 6 | 0.0058108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-11_0_3_line_6 |  | 5 | 7 | 0.0097883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6644-11_0_3_line_7 |  | 6 | 8 | 0.030605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-11_0_3_line_8 |  | 7 | 9 | 0.010847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6644-11_0_3_line_9 |  | 8 | 21 | 0.039947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-11_0_3_line_10 |  | 10 | 11 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-11_0_3_line_11 |  | 11 | 12 | 0.075639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6644-11_0_3_line_12 |  | 11 | 13 | 0.042117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-11_0_3_line_13 |  | 11 | 14 | 0.031957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6644-11_0_3_line_14 |  | 12 | 15 | 0.044153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6644-11_0_3_line_15 |  | 13 | 16 | 0.0037531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-11_0_3_line_16 |  | 14 | 17 | 0.074069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6644-11_0_3_line_17 |  | 15 | 18 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6644-11_0_3_line_18 |  | 16 | 19 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-11_0_3_line_19 |  | 18 | 20 | 0.12726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6644-11_0_3_line_20 |  | 18 | 21 | 0.053747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6644-11_0_3_line_21 |  | 19 | 24 | 0.023579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-11_0_3_line_22 |  | 20 | 39 | 0.013147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6644-11_0_3_line_23 |  | 22 | 23 | 0.0045365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-11_0_3_line_24 |  | 22 | 24 | 0.015589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6644-11_0_3_line_25 |  | 23 | 28 | 0.02116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6644-11_0_3_line_26 |  | 25 | 26 | 0.026991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6644-11_0_3_line_27 |  | 26 | 27 | 0.0043728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-11_0_3_line_28 |  | 26 | 28 | 0.054442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6644-11_0_3_line_29 |  | 27 | 29 | 0.046993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-11_0_3_line_30 |  | 29 | 30 | 0.10595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6644-11_0_3_line_31 |  | 29 | 31 | 0.059571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-11_0_3_line_32 |  | 30 | 32 | 0.026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-11_0_3_line_33 |  | 30 | 33 | 0.072999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-11_0_3_line_34 |  | 31 | 34 | 0.035769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-11_0_3_line_35 |  | 33 | 35 | 0.021355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-11_0_3_line_36 |  | 33 | 36 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-11_0_3_line_37 |  | 35 | 37 | 0.01357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-11_0_3_line_38 |  | 37 | 38 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-11_0_3_line_39 |  | 39 | 40 | 0.018607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6644-11_0_3_line_40 |  | 40 | 47 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6644-11_0_3_line_41 |  | 40 | 44 | 0.021206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6644-11_0_3_line_42 |  | 41 | 42 | 0.031456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-11_0_3_line_43 |  | 41 | 43 | 0.0073763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-11_0_3_line_44 |  | 42 | 44 | 0.0012976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-11_0_3_line_45 |  | 43 | 45 | 0.0071823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-11_0_3_line_46 |  | 45 | 46 | 0.0011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-11_0_3_line_47 |  | 46 | 48 | 0.00066507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-11_0_3_line_48 |  | 47 | 49 | 0.0070245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6644-11_0_3_line_49 |  | 48 | 50 | 0.0053623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6644-11_0_3_line_50 |  | 49 | 63 | 0.027339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6644-11_0_3_line_51 |  | 50 | 51 | 0.0072143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-11_0_3_line_52 |  | 51 | 52 | 0.0074034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6644-11_0_3_line_53 |  | 52 | 53 | 0.0010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-11_0_3_line_54 |  | 53 | 61 | 0.0041479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-11_0_3_line_55 |  | 54 | 55 | 0.013594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-11_0_3_line_56 |  | 54 | 56 | 0.031107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-11_0_3_line_57 |  | 55 | 57 | 0.0092217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6644-11_0_3_line_58 |  | 56 | 58 | 0.0045312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6644-11_0_3_line_59 |  | 57 | 59 | 0.0092306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6644-11_0_3_line_60 |  | 58 | 60 | 0.0047659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-11_0_3_line_61 |  | 59 | 61 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-11_0_3_line_62 |  | 60 | 62 | 0.0075378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-11_0_3_line_63 |  | 63 | 64 | 0.094842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6644-11_0_3_line_64 |  | 64 | 65 | 0.078095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-11_0_3_line_65 |  | 64 | 66 | 0.022953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6644-11_0_3_line_66 |  | 65 | 67 | 0.053505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-11_0_3_line_67 |  | 65 | 68 | 0.037786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6644-11_0_3_line_68 |  | 66 | 69 | 0.024912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6644-11_0_3_line_69 |  | 67 | 70 | 0.046658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6644-11_0_3_line_70 |  | 67 | 71 | 0.10373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6644-11_0_3_line_71 |  | 68 | 72 | 0.025143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6644-11_0_3_line_72 |  | 69 | 73 | 0.010673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6644-11_0_3_line_73 |  | 70 | 74 | 0.01191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6644-11_0_3_line_74 |  | 71 | 75 | 0.073607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6644-11_0_3_line_75 |  | 72 | 76 | 0.018314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6644-11_0_3_line_76 |  | 73 | 77 | 0.00011848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6644-11_0_3_line_77 |  | 74 | 80 | 0.0048068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6644-11_0_3_line_78 |  | 76 | 82 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6644-11_0_3_line_79 |  | 77 | 90 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6644-11_0_3_line_80 |  | 78 | 79 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6644-11_0_3_line_81 |  | 79 | 81 | 0.013062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6644-11_0_3_line_82 |  | 80 | 85 | 0.042852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6644-11_0_3_line_83 |  | 81 | 84 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6644-11_0_3_line_84 |  | 82 | 83 | 0.025199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6644-11_0_3_line_85 |  | 83 | 84 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6644-11_0_3_line_86 |  | 85 | 86 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6644-11_0_3_line_87 |  | 86 | 87 | 0.0063134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6644-11_0_3_line_88 |  | 87 | 88 | 0.0063732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6644-11_0_3_line_89 |  | 88 | 89 | 0.0092843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6644-11_0_3_line_90 |  | 90 | 91 | 0.0019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6644-11_0_3_line_91 |  | 91 | 92 | 0.00012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6644-11_0_3_line_92 |  | 92 | 93 | 0.0032858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6644-11_0_3_line_93 |  | 93 | 94 | 0.00012959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6644-11_0_3_line_94 |  | 94 | 95 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6644-11_0_3_line_95 |  | 95 | 96 | 0.021055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6644-11_0_3_line_96 |  | 96 | 97 | 0.040933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6644-11_0_3_line_97 |  | 97 | 98 | 0.0076067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6644-11_0_3_line_98 |  | 98 | 99 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-11_0_3_trafo_105 | 0.63 MVA 20/0.4 kV | 100 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2501647.8038 | 1125651.7715 | 2501642.4465 | 1125643.1234 | 2501636.0019 | 1125632.7913
1 | 2501663.9803 | 1125679.173 | 2501660.3652 | 1125673.0614 | 2501657.3792 | 1125667.2286 | 2501647.8038 | 1125651.7715
2 | 2501619.3397 | 1125597.6048 | 2501621.1752 | 1125604.2679 | 2501622.4815 | 1125608.2602 | 2501624.0069 | 1125612.9272 | 2501626.5126 | 1125617.6671 | 2501630.7622 | 1125624.391 | 2501636.0019 | 1125632.7913
3 | 2501619.3397 | 1125597.6048 | 2501609.6059 | 1125598.8492
4 | 2501619.3397 | 1125597.6048 | 2501626.6203 | 1125596.6817
5 | 2501609.6059 | 1125598.8492 | 2501603.8421 | 1125599.5861
6 | 2501636.3309 | 1125595.4506 | 2501626.6203 | 1125596.6817
7 | 2501573.481 | 1125603.4398 | 2501603.7912 | 1125599.5926 | 2501603.8421 | 1125599.5861
8 | 2501636.3309 | 1125595.4506 | 2501643.6901 | 1125594.5176 | 2501647.092 | 1125594.0847
9 | 2501533.9008 | 1125608.8369 | 2501558.6239 | 1125605.443 | 2501569.8239 | 1125603.904 | 2501573.481 | 1125603.4398
10 | 2501542.5085 | 1125723.9679 | 2501548.0576 | 1125715.828 | 2501556.8698 | 1125709.7028 | 2501560.1753 | 1125707.9537
11 | 2501542.5085 | 1125723.9679 | 2501537.1779 | 1125720.9195 | 2501511.3932 | 1125708.3542 | 2501506.7668 | 1125705.4723 | 2501504.3923 | 1125703.1095 | 2501502.3261 | 1125700.7417 | 2501500.2821 | 1125697.8399 | 2501498.3326 | 1125694.5919 | 2501496.5651 | 1125690.218 | 2501494.1818 | 1125683.0636 | 2501492.2268 | 1125673.9959
12 | 2501542.5085 | 1125723.9679 | 2501549.9402 | 1125728.2161 | 2501558.0596 | 1125733.9762 | 2501568.9354 | 1125741.4147 | 2501576.473 | 1125748.6166
13 | 2501542.5085 | 1125723.9679 | 2501516.5072 | 1125742.5476
14 | 2501492.2268 | 1125673.9959 | 2501488.6521 | 1125657.4156 | 2501484.2256 | 1125630.5867
15 | 2501579.1866 | 1125751.2094 | 2501576.473 | 1125748.6166
16 | 2501516.5072 | 1125742.5476 | 2501508.9905 | 1125745.383 | 2501503.5973 | 1125744.1701 | 2501493.5291 | 1125744.6568 | 2501490.1303 | 1125741.4102 | 2501487.9375 | 1125741.6795 | 2501479.9744 | 1125742.1874 | 2501473.0414 | 1125739.6878 | 2501456.3869 | 1125752.3005 | 2501450.7066 | 1125757.1184
17 | 2501481.8701 | 1125615.0333 | 2501484.0749 | 1125629.6731 | 2501484.2256 | 1125630.5867
18 | 2501579.1866 | 1125751.2094 | 2501595.5038 | 1125763.2955 | 2501596.442 | 1125764.2594
19 | 2501481.8701 | 1125615.0333 | 2501463.3063 | 1125617.4375 | 2501355.665 | 1125631.3579
20 | 2501533.9008 | 1125608.8369 | 2501516.9123 | 1125616.1294 | 2501503.018 | 1125617.9125 | 2501496.5546 | 1125617.74 | 2501481.8701 | 1125615.0333
21 | 2501596.442 | 1125764.2594 | 2501612.8884 | 1125781.1562
22 | 2501342.6269 | 1125633.044 | 2501355.665 | 1125631.3579
23 | 2501623.4346 | 1125792.6255 | 2501625.9674 | 1125796.389
24 | 2501623.4346 | 1125792.6255 | 2501619.0569 | 1125787.4936 | 2501612.8884 | 1125781.1562
25 | 2501625.9674 | 1125796.389 | 2501636.0833 | 1125811.42 | 2501637.7827 | 1125813.9428
26 | 2501668.2426 | 1125803.614 | 2501658.3597 | 1125788.0207 | 2501653.6593 | 1125780.903
27 | 2501668.2426 | 1125803.614 | 2501670.9603 | 1125801.9687 | 2501671.413 | 1125801.839 | 2501672.0954 | 1125802.0836
28 | 2501668.2426 | 1125803.614 | 2501669.1374 | 1125805.067 | 2501670.1057 | 1125807.7195 | 2501670.2588 | 1125809.5515 | 2501669.2197 | 1125813.4375 | 2501667.4182 | 1125815.4792 | 2501647.61 | 1125828.543 | 2501639.8912 | 1125817.0727 | 2501637.7827 | 1125813.9428
29 | 2501695.1768 | 1125842.7999 | 2501689.4636 | 1125829.9738 | 2501686.9342 | 1125825.1898 | 2501682.3039 | 1125819.217 | 2501677.7374 | 1125810.5304 | 2501673.5953 | 1125804.7164 | 2501672.4696 | 1125802.8113 | 2501672.0954 | 1125802.0836
30 | 2501695.1768 | 1125842.7999 | 2501687.0938 | 1125848.724 | 2501683.2749 | 1125852.3328 | 2501680.5436 | 1125854.5675 | 2501675.297 | 1125857.6103 | 2501669.0005 | 1125860.5702 | 2501651.1557 | 1125869.2104 | 2501646.1086 | 1125871.7275 | 2501642.1175 | 1125873.2823 | 2501637.436 | 1125874.5815 | 2501632.5325 | 1125875.0283 | 2501628.5458 | 1125874.9599 | 2501624.6172 | 1125874.2011 | 2501620.4101 | 1125872.9133 | 2501617.3016 | 1125870.9182 | 2501610.1822 | 1125865.4752 | 2501602.8152 | 1125859.0357
31 | 2501695.1768 | 1125842.7999 | 2501694.6297 | 1125902.368
32 | 2501602.8152 | 1125859.0357 | 2501616.6425 | 1125847.9703 | 2501621.5991 | 1125844.632 | 2501624.0799 | 1125842.6459
33 | 2501550.7499 | 1125882.843 | 2501551.5786 | 1125880.239 | 2501552.0086 | 1125878.2419 | 2501552.1131 | 1125876.1389 | 2501551.8981 | 1125873.8298 | 2501551.5188 | 1125871.8459 | 2501553.1898 | 1125871.2516 | 2501568.5959 | 1125864.3519 | 2501585.5216 | 1125850.412 | 2501587.0805 | 1125849.5639 | 2501588.3372 | 1125849.0987 | 2501589.4988 | 1125848.9463 | 2501590.2086 | 1125848.9792 | 2501593.4285 | 1125850.7167 | 2501602.8152 | 1125859.0357
34 | 2501694.6297 | 1125902.368 | 2501700.219 | 1125899.6419 | 2501701.5816 | 1125899.0527 | 2501703.364 | 1125898.679 | 2501729.4102 | 1125895.4609
35 | 2501535.8145 | 1125867.5436 | 2501545.82 | 1125877.8869 | 2501550.7499 | 1125882.843
36 | 2501550.7499 | 1125882.843 | 2501558.516 | 1125889.5292
37 | 2501535.8145 | 1125867.5436 | 2501533.1516 | 1125866.8755 | 2501530.3001 | 1125866.9331 | 2501528.3883 | 1125867.409 | 2501526.483 | 1125868.285 | 2501523.121 | 1125870.2727
38 | 2501509.3488 | 1125878.415 | 2501523.121 | 1125870.2727
39 | 2501324.1737 | 1125635.4304 | 2501342.6269 | 1125633.044
40 | 2501324.1737 | 1125635.4304 | 2501299.2505 | 1125638.6236
41 | 2501324.1737 | 1125635.4304 | 2501330.4385 | 1125655.6902
42 | 2501342.4575 | 1125686.128 | 2501334.7007 | 1125667.7341 | 2501332.6877 | 1125662.964 | 2501330.8218 | 1125656.9298
43 | 2501342.4575 | 1125686.128 | 2501345.3236 | 1125692.9247
44 | 2501330.4385 | 1125655.6902 | 2501330.8218 | 1125656.9298
45 | 2501345.3236 | 1125692.9247 | 2501348.1144 | 1125699.5427
46 | 2501348.5564 | 1125700.5909 | 2501348.1144 | 1125699.5427
47 | 2501348.8149 | 1125701.2037 | 2501348.5564 | 1125700.5909
48 | 2501299.2505 | 1125638.6236 | 2501292.283 | 1125639.5163
49 | 2501348.8149 | 1125701.2037 | 2501350.8985 | 1125706.1446
50 | 2501265.1653 | 1125642.9906 | 2501292.283 | 1125639.5163
51 | 2501350.8985 | 1125706.1446 | 2501353.7017 | 1125712.7921
52 | 2501353.7017 | 1125712.7921 | 2501356.5784 | 1125719.6138
53 | 2501356.5784 | 1125719.6138 | 2501357.0048 | 1125720.6249 | 2501357.0048 | 1125720.6249
54 | 2501355.3717 | 1125724.4378 | 2501356.0171 | 1125722.9313 | 2501357.0048 | 1125720.6249
55 | 2501338.1698 | 1125764.5876 | 2501343.5234 | 1125752.0921
56 | 2501338.1698 | 1125764.5876 | 2501328.5255 | 1125787.0978 | 2501322.4464 | 1125784.4835
57 | 2501343.5234 | 1125752.0921 | 2501347.1551 | 1125743.6156
58 | 2501322.4464 | 1125784.4835 | 2501318.2837 | 1125782.6934
59 | 2501347.1551 | 1125743.6156 | 2501350.7903 | 1125735.1309
60 | 2501313.9054 | 1125780.8106 | 2501318.2837 | 1125782.6934
61 | 2501355.3717 | 1125724.4378 | 2501350.7903 | 1125735.1309
62 | 2501306.9808 | 1125777.8328 | 2501313.9054 | 1125780.8106
63 | 2501171.0909 | 1125655.0335 | 2501237.7078 | 1125646.5056 | 2501255.341 | 1125644.2493 | 2501265.1653 | 1125642.9906
64 | 2501171.0909 | 1125655.0335 | 2501102.7596 | 1125663.8459 | 2501093.4124 | 1125665.0552
65 | 2501171.0909 | 1125655.0335 | 2501184.7054 | 1125673.5131
66 | 2501040.1906 | 1125671.9087 | 2501063.7396 | 1125668.8767 | 2501093.4124 | 1125665.0552
67 | 2501093.4124 | 1125665.0552 | 2501097.8852 | 1125674.0765 | 2501109.9603 | 1125699.0245
68 | 2501199.565 | 1125693.5079 | 2501187.9009 | 1125677.8505 | 2501184.7054 | 1125673.5131
69 | 2501040.1906 | 1125671.9087 | 2501039.2775 | 1125681.1071 | 2501034.2337 | 1125705.9274 | 2501030.284 | 1125709.0718 | 2501024.7787 | 1125709.9625 | 2501023.3207 | 1125710.0691
70 | 2501040.1906 | 1125671.9087 | 2500962.574 | 1125681.92 | 2500937.0096 | 1125685.2189
71 | 2501109.9603 | 1125699.0245 | 2501116.2937 | 1125712.1099 | 2501121.1283 | 1125721.5498
72 | 2501199.565 | 1125693.5079 | 2501205.9413 | 1125702.0671
73 | 2501011.442 | 1125710.9372 | 2501023.3207 | 1125710.0691
74 | 2500937.0096 | 1125685.2189 | 2500945.9744 | 1125758.2783
75 | 2501121.1283 | 1125721.5498 | 2501129.4764 | 1125737.8504
76 | 2501206.0121 | 1125702.1621 | 2501205.9413 | 1125702.0671
77 | 2501008.3569 | 1125714.6234 | 2501011.442 | 1125710.9372 | 2501011.442 | 1125710.9372
78 | 2501134.797 | 1125748.2394 | 2501129.4764 | 1125737.8504
79 | 2501221.4099 | 1125722.5153 | 2501210.8943 | 1125708.7158 | 2501206.0121 | 1125702.1621
80 | 2501203.848 | 1125814.6652 | 2501203.149 | 1125813.9521 | 2501191.4301 | 1125803.902
81 | 2501181.5152 | 1125795.3989 | 2501191.4301 | 1125803.902
82 | 2501013.2817 | 1125756.3797 | 2501014.9585 | 1125752.3831 | 2501012.8467 | 1125747.7148 | 2501008.3569 | 1125714.6234 | 2501008.3569 | 1125714.6234
83 | 2501167.5498 | 1125786.295 | 2501167.5498 | 1125786.295 | 2501180.5052 | 1125794.5326 | 2501181.5152 | 1125795.3989
84 | 2501134.797 | 1125748.2394 | 2501146.2836 | 1125770.6683
85 | 2501167.5498 | 1125786.295 | 2501155.1209 | 1125785.2644 | 2501148.1178 | 1125774.2499 | 2501146.2836 | 1125770.6683
86 | 2501013.2817 | 1125756.3797 | 2501013.2817 | 1125756.3797 | 2501007.2234 | 1125757.4018 | 2501001.6638 | 1125758.3754
87 | 2500995.4445 | 1125759.4611 | 2500998.4676 | 1125758.9351 | 2501001.6638 | 1125758.3754
88 | 2500989.1656 | 1125760.5536 | 2500995.4445 | 1125759.4611
89 | 2500980.0177 | 1125762.1394 | 2500986.1216 | 1125761.0832 | 2500989.1656 | 1125760.5536
90 | 2501221.4099 | 1125722.5153 | 2501222.5636 | 1125724.0292
91 | 2501222.6373 | 1125724.1259 | 2501222.5636 | 1125724.0292
92 | 2501222.6373 | 1125724.1259 | 2501224.6288 | 1125726.7394
93 | 2501224.7074 | 1125726.8425 | 2501224.6288 | 1125726.7394
94 | 2501224.7074 | 1125726.8425 | 2501230.1573 | 1125733.9943 | 2501231.9718 | 1125736.3678
95 | 2501244.4552 | 1125753.3219 | 2501239.9872 | 1125747.2196 | 2501233.7418 | 1125738.6831 | 2501231.9718 | 1125736.3678
96 | 2501244.4552 | 1125753.3219 | 2501247.5809 | 1125757.5908 | 2501254.0786 | 1125766.4679 | 2501268.6347 | 1125786.3496
97 | 2501268.6347 | 1125786.3496 | 2501273.1283 | 1125792.4872
98 | 2501284.5678 | 1125808.3623 | 2501276.9385 | 1125797.6915 | 2501273.1283 | 1125792.4872

## bus_geodata
| x | y | coords
0 | 2501647.8038 | 1125651.7715
1 | 2501636.0019 | 1125632.7913
2 | 2501663.9803 | 1125679.173
3 | 2501619.3397 | 1125597.6048
4 | 2501609.6059 | 1125598.8492
5 | 2501626.6203 | 1125596.6817
6 | 2501603.8421 | 1125599.586
7 | 2501636.3309 | 1125595.4506
8 | 2501573.481 | 1125603.4398
9 | 2501647.092 | 1125594.0847
10 | 2501560.1753 | 1125707.9537
11 | 2501542.5085 | 1125723.9679
12 | 2501492.2268 | 1125673.9959
13 | 2501576.473 | 1125748.6166
14 | 2501516.5072 | 1125742.5476
15 | 2501484.2256 | 1125630.5867
16 | 2501579.1866 | 1125751.2094
17 | 2501450.7066 | 1125757.1184
18 | 2501481.8701 | 1125615.0333
19 | 2501596.442 | 1125764.2594
20 | 2501355.665 | 1125631.3579
21 | 2501533.9008 | 1125608.8369
22 | 2501623.4346 | 1125792.6255
23 | 2501625.9674 | 1125796.389
24 | 2501612.8884 | 1125781.1562
25 | 2501653.6593 | 1125780.903
26 | 2501668.2426 | 1125803.614
27 | 2501672.0954 | 1125802.0836
28 | 2501637.7827 | 1125813.9428
29 | 2501695.1768 | 1125842.7999
30 | 2501602.8152 | 1125859.0357
31 | 2501694.6297 | 1125902.368
32 | 2501624.0799 | 1125842.6459
33 | 2501550.7499 | 1125882.843
34 | 2501729.4102 | 1125895.4609
35 | 2501535.8145 | 1125867.5436
36 | 2501558.516 | 1125889.5292
37 | 2501523.121 | 1125870.2727
38 | 2501509.3488 | 1125878.415
39 | 2501342.6269 | 1125633.044
40 | 2501324.1737 | 1125635.4304
41 | 2501342.4575 | 1125686.128
42 | 2501330.8218 | 1125656.9298
43 | 2501345.3236 | 1125692.9247
44 | 2501330.4385 | 1125655.6902
45 | 2501348.1144 | 1125699.5427
46 | 2501348.5564 | 1125700.5909
47 | 2501299.2505 | 1125638.6236
48 | 2501348.8149 | 1125701.2037
49 | 2501292.283 | 1125639.5163
50 | 2501350.8985 | 1125706.1446
51 | 2501353.7017 | 1125712.7921
52 | 2501356.5784 | 1125719.6138
53 | 2501357.0048 | 1125720.6249
54 | 2501338.1698 | 1125764.5876
55 | 2501343.5234 | 1125752.0921
56 | 2501322.4464 | 1125784.4835
57 | 2501347.1551 | 1125743.6156
58 | 2501318.2837 | 1125782.6934
59 | 2501350.7903 | 1125735.1309
60 | 2501313.9054 | 1125780.8106
61 | 2501355.3717 | 1125724.4378
62 | 2501306.9808 | 1125777.8328
63 | 2501265.1653 | 1125642.9906
64 | 2501171.0909 | 1125655.0335
65 | 2501093.4124 | 1125665.0552
66 | 2501184.7054 | 1125673.5131
67 | 2501040.1906 | 1125671.9087
68 | 2501109.9603 | 1125699.0245
69 | 2501199.565 | 1125693.5079
70 | 2501023.3207 | 1125710.0691
71 | 2500937.0096 | 1125685.2189
72 | 2501121.1283 | 1125721.5498
73 | 2501205.9413 | 1125702.0671
74 | 2501011.442 | 1125710.9372
75 | 2500945.9744 | 1125758.2783
76 | 2501129.4764 | 1125737.8504
77 | 2501206.0121 | 1125702.1621
78 | 2501203.848 | 1125814.6652
79 | 2501191.4301 | 1125803.902
80 | 2501008.3569 | 1125714.6234
81 | 2501181.5152 | 1125795.3989
82 | 2501134.797 | 1125748.2394
83 | 2501146.2836 | 1125770.6683
84 | 2501167.5498 | 1125786.295
85 | 2501013.2817 | 1125756.3797
86 | 2501001.6638 | 1125758.3754
87 | 2500995.4445 | 1125759.4611
88 | 2500989.1656 | 1125760.5536
89 | 2500980.0177 | 1125762.1394
90 | 2501221.4099 | 1125722.5153
91 | 2501222.5636 | 1125724.0292
92 | 2501222.6373 | 1125724.1259
93 | 2501224.6288 | 1125726.7394
94 | 2501224.7074 | 1125726.8425
95 | 2501231.9718 | 1125736.3678
96 | 2501244.4552 | 1125753.3219
97 | 2501268.6347 | 1125786.3496
98 | 2501273.1283 | 1125792.4872
99 | 2501284.5678 | 1125808.3623
100 | 2501516.5072 | 1125742.5476

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1