## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-12_1_4_node_130 | 0.4 | n |  | TRUE
1 | bus_LV_6644-12_1_4_node_72 | 0.4 | n |  | TRUE
2 | bus_LV_6644-12_1_4_node_135 | 0.4 | n |  | TRUE
3 | bus_LV_6644-12_1_4_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_6644-12_1_4_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_6644-12_1_4_node_132 | 0.4 | n |  | TRUE
6 | bus_LV_6644-12_1_4_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_6644-12_1_4_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_6644-12_1_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_6644-12_1_4_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_6644-12_1_4_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_6644-12_1_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6644-12_1_4_node_136 | 0.4 | n |  | TRUE
13 | bus_LV_6644-12_1_4_node_137 | 0.4 | n |  | TRUE
14 | bus_LV_6644-12_1_4_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_6644-12_1_4_node_138 | 0.4 | n |  | TRUE
16 | bus_LV_6644-12_1_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6644-12_1_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6644-12_1_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6644-12_1_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6644-12_1_4_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_6644-12_1_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6644-12_1_4_node_143 | 0.4 | n |  | TRUE
23 | bus_LV_6644-12_1_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_6644-12_1_4_node_90 | 0.4 | n |  | TRUE
25 | bus_LV_6644-12_1_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_6644-12_1_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6644-12_1_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6644-12_1_4_node_89 | 0.4 | n |  | TRUE
29 | bus_LV_6644-12_1_4_node_140 | 0.4 | n |  | TRUE
30 | bus_LV_6644-12_1_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_6644-12_1_4_node_141 | 0.4 | n |  | TRUE
32 | bus_LV_6644-12_1_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6644-12_1_4_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_6644-12_1_4_node_109 | 0.4 | n |  | TRUE
35 | bus_LV_6644-12_1_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6644-12_1_4_node_144 | 0.4 | n |  | TRUE
37 | bus_LV_6644-12_1_4_node_142 | 0.4 | n |  | TRUE
38 | bus_LV_6644-12_1_4_node_127 | 0.4 | n |  | TRUE
39 | bus_LV_6644-12_1_4_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_6644-12_1_4_node_163 | 0.4 | n |  | TRUE
41 | bus_LV_6644-12_1_4_node_150 | 0.4 | n |  | TRUE
42 | bus_LV_6644-12_1_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_6644-12_1_4_node_151 | 0.4 | n |  | TRUE
44 | bus_LV_6644-12_1_4_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_6644-12_1_4_node_155 | 0.4 | n |  | TRUE
46 | bus_LV_6644-12_1_4_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_6644-12_1_4_node_156 | 0.4 | n |  | TRUE
48 | bus_LV_6644-12_1_4_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_6644-12_1_4_node_158 | 0.4 | n |  | TRUE
50 | bus_LV_6644-12_1_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_6644-12_1_4_node_159 | 0.4 | n |  | TRUE
52 | bus_LV_6644-12_1_4_node_162 | 0.4 | n |  | TRUE
53 | bus_LV_6644-12_1_4_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_6644-12_1_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_6644-12_1_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6644-12_1_4_node_110 | 0.4 | n |  | TRUE
57 | bus_LV_6644-12_1_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_6644-12_1_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_6644-12_1_4_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_6644-12_1_4_node_145 | 0.4 | n |  | TRUE
61 | bus_LV_6644-12_1_4_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_6644-12_1_4_node_146 | 0.4 | n |  | TRUE
63 | bus_LV_6644-12_1_4_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_6644-12_1_4_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_6644-12_1_4_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_6644-12_1_4_node_121 | 0.4 | n |  | TRUE
67 | bus_MV_461_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-12_1_4_load_130 | 0 | 0.017765 | 0.0044523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-12_1_4_load_135 | 2 | 0.018771 | 0.0047044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-12_1_4_load_131 | 3 | 0.0063647 | 0.0015951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-12_1_4_load_132 | 5 | 0.011634 | 0.0029159 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-12_1_4_load_133 | 7 | 0.012291 | 0.0030805 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-12_1_4_load_134 | 10 | 0.0032252 | 0.00080832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-12_1_4_load_136 | 12 | 0.0035306 | 0.00088486 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-12_1_4_load_137 | 13 | 0.0007154 | 0.0001793 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-12_1_4_load_138 | 15 | 0.0010239 | 0.0002566 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-12_1_4_load_139 | 20 | 0.00039902 | 0.0001 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-12_1_4_load_143 | 22 | 0.0020108 | 0.00050396 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-12_1_4_load_91 | 23 | 0.00033213 | 8.3239e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-12_1_4_load_90 | 24 | 0.0033302 | 0.00083461 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-12_1_4_load_89 | 28 | 0.0033301 | 0.00083461 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-12_1_4_load_140 | 29 | 0.0071884 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-12_1_4_load_141 | 31 | 0.0085962 | 0.0021544 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-12_1_4_load_98 | 33 | 0.011172 | 0.0027999 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-12_1_4_load_109 | 34 | 0.012763 | 0.0031986 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-12_1_4_load_144 | 36 | 0.00174 | 0.00043609 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-12_1_4_load_142 | 37 | 0.0023861 | 0.00059801 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-12_1_4_load_127 | 38 | 0.011493 | 0.0028804 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-12_1_4_load_95 | 39 | 0.0065249 | 0.0016353 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-12_1_4_load_163 | 40 | 0.0009748 | 0.00024431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-12_1_4_load_150 | 41 | 0.0049146 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-12_1_4_load_151 | 43 | 0.0095061 | 0.0023824 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-12_1_4_load_155 | 45 | 0.021308 | 0.0053402 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-12_1_4_load_156 | 47 | 0.0017708 | 0.00044379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-12_1_4_load_157 | 48 | 0.0094974 | 0.0023803 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-12_1_4_load_158 | 49 | 0.011061 | 0.0027722 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-12_1_4_load_159 | 51 | 0.011286 | 0.0028284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-12_1_4_load_162 | 52 | 0.011061 | 0.0027722 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-12_1_4_load_110 | 56 | 0.013294 | 0.0033319 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-12_1_4_load_145 | 60 | 0.0021681 | 0.00054338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-12_1_4_load_120 | 61 | 0.018791 | 0.0047095 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-12_1_4_load_146 | 62 | 0.00087573 | 0.00021948 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-12_1_4_load_96 | 63 | 0.011178 | 0.0028014 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-12_1_4_load_97 | 64 | 0.0056904 | 0.0014261 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-12_1_4_load_119 | 65 | 0.0021664 | 0.00054296 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-12_1_4_load_121 | 66 | 0.00089723 | 0.00022487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-12_1_4_line_0 |  | 0 | 1 | 0.020328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-12_1_4_line_1 |  | 0 | 2 | 0.03612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-12_1_4_line_2 |  | 1 | 61 | 0.016135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-12_1_4_line_3 |  | 2 | 12 | 0.040167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6644-12_1_4_line_4 |  | 3 | 4 | 0.022303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-12_1_4_line_5 |  | 4 | 58 | 0.069755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-12_1_4_line_6 |  | 5 | 6 | 0.023124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6644-12_1_4_line_7 |  | 5 | 7 | 0.039104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-12_1_4_line_8 |  | 5 | 8 | 0.065589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6644-12_1_4_line_9 |  | 6 | 30 | 0.00355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-12_1_4_line_10 |  | 7 | 9 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-12_1_4_line_11 |  | 8 | 37 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6644-12_1_4_line_12 |  | 8 | 21 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-12_1_4_line_13 |  | 9 | 58 | 0.025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-12_1_4_line_14 |  | 10 | 11 | 0.012658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6644-12_1_4_line_15 |  | 11 | 16 | 0.087262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-12_1_4_line_16 |  | 12 | 13 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6644-12_1_4_line_17 |  | 13 | 14 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6644-12_1_4_line_18 |  | 14 | 59 | 0.053771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-12_1_4_line_19 |  | 15 | 16 | 0.0065212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6644-12_1_4_line_20 |  | 16 | 25 | 0.055613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6644-12_1_4_line_21 |  | 17 | 18 | 0.029458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-12_1_4_line_22 |  | 17 | 19 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6644-12_1_4_line_23 |  | 18 | 23 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-12_1_4_line_24 |  | 19 | 24 | 0.023773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6644-12_1_4_line_25 |  | 20 | 21 | 0.036709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6644-12_1_4_line_26 |  | 20 | 22 | 0.022815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6644-12_1_4_line_27 |  | 22 | 35 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-12_1_4_line_28 |  | 24 | 28 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6644-12_1_4_line_29 |  | 25 | 40 | 0.004842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-12_1_4_line_30 |  | 25 | 32 | 0.031283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6644-12_1_4_line_31 |  | 26 | 27 | 0.083741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-12_1_4_line_32 |  | 26 | 28 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-12_1_4_line_33 |  | 27 | 38 | 0.0049959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-12_1_4_line_34 |  | 27 | 39 | 0.037218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-12_1_4_line_35 |  | 29 | 30 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-12_1_4_line_36 |  | 29 | 31 | 0.025092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-12_1_4_line_37 |  | 30 | 54 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-12_1_4_line_38 |  | 32 | 33 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-12_1_4_line_39 |  | 32 | 34 | 0.046348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-12_1_4_line_40 |  | 33 | 64 | 0.0075551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6644-12_1_4_line_41 |  | 34 | 55 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6644-12_1_4_line_42 |  | 34 | 57 | 0.027889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-12_1_4_line_43 |  | 35 | 36 | 0.014153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-12_1_4_line_44 |  | 39 | 56 | 0.00034758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-12_1_4_line_45 |  | 39 | 51 | 0.061416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-12_1_4_line_46 |  | 41 | 42 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-12_1_4_line_47 |  | 42 | 53 | 0.033932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-12_1_4_line_48 |  | 42 | 46 | 0.041096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6644-12_1_4_line_49 |  | 43 | 44 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6644-12_1_4_line_50 |  | 44 | 46 | 0.082946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6644-12_1_4_line_51 |  | 45 | 46 | 0.0045988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-12_1_4_line_52 |  | 45 | 47 | 0.021983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6644-12_1_4_line_53 |  | 47 | 48 | 0.00021202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-12_1_4_line_54 |  | 49 | 50 | 0.024552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-12_1_4_line_55 |  | 50 | 53 | 0.035551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-12_1_4_line_56 |  | 50 | 57 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-12_1_4_line_57 |  | 52 | 53 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6644-12_1_4_line_58 |  | 52 | 54 | 0.023763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6644-12_1_4_line_59 |  | 55 | 56 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6644-12_1_4_line_60 |  | 58 | 59 | 0.055639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-12_1_4_line_61 |  | 59 | 60 | 0.007075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-12_1_4_line_62 |  | 60 | 62 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-12_1_4_line_63 |  | 61 | 65 | 0.023012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6644-12_1_4_line_64 |  | 63 | 64 | 0.0086586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-12_1_4_line_65 |  | 65 | 66 | 0.023656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-12_1_4_trafo_162 | 0.63 MVA 20/0.4 kV | 67 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2501968.3142 | 1126314.7424 | 2501961.3628 | 1126330.5205 | 2501960.1371 | 1126333.3532
1 | 2501946.2626 | 1126366.6983 | 2501952.9375 | 1126349.9914 | 2501960.1371 | 1126333.3532
2 | 2501968.3142 | 1126314.7424 | 2501971.7124 | 1126307.0714 | 2501974.6901 | 1126299.9221
3 | 2501946.2626 | 1126366.6983 | 2501931.36 | 1126403.9985
4 | 2501890.7546 | 1126365.2993 | 2501895.6356 | 1126367.2879 | 2501889.1596 | 1126383.0412
5 | 2501846.6151 | 1126387.0853 | 2501862.5739 | 1126393.3855 | 2501876.0103 | 1126359.2684 | 2501890.7546 | 1126365.2993
6 | 2501867.5165 | 1126284.3934 | 2501867.7114 | 1126287.8479 | 2501868.1869 | 1126291.0199 | 2501867.6953 | 1126293.9742 | 2501862.7736 | 1126306.5042
7 | 2501862.7736 | 1126306.5042 | 2501848.4771 | 1126342.9006
8 | 2501862.7736 | 1126306.5042 | 2501797.6948 | 1126298.3366
9 | 2501867.5165 | 1126284.3934 | 2501870.7252 | 1126285.9311
10 | 2501845.0624 | 1126363.6516 | 2501845.5659 | 1126357.1616 | 2501848.2422 | 1126343.4986 | 2501848.4771 | 1126342.9006
11 | 2501797.6948 | 1126298.3366 | 2501794.2181 | 1126298.8045 | 2501791.0777 | 1126300.0452 | 2501776.6383 | 1126307.9648
12 | 2501795.7798 | 1126288.1836 | 2501797.6127 | 1126287.131 | 2501797.657 | 1126293.1673 | 2501797.6948 | 1126298.3366
13 | 2501845.0624 | 1126363.6516 | 2501843.3405 | 1126385.7599 | 2501846.6151 | 1126387.0853
14 | 2501726.1847 | 1126184.8514 | 2501737.3502 | 1126178.8884
15 | 2501726.1847 | 1126184.8514 | 2501723.6015 | 1126186.2276 | 2501728.0849 | 1126194.5599 | 2501722.5901 | 1126197.4955 | 2501729.1441 | 1126209.9077 | 2501732.8586 | 1126216.9405 | 2501736.9478 | 1126214.7949 | 2501760.9944 | 1126202.1849 | 2501765.4804 | 1126210.6839 | 2501760.8022 | 1126213.117
16 | 2501927.626 | 1126413.5476 | 2501931.2264 | 1126404.333 | 2501931.36 | 1126403.9985
17 | 2501919.0595 | 1126435.472 | 2501927.626 | 1126413.5476
18 | 2501895.9028 | 1126403.1836 | 2501895.4124 | 1126410.0069 | 2501901.6141 | 1126413.575 | 2501905.7145 | 1126414.0198 | 2501910.5402 | 1126415.9315 | 2501912.163 | 1126416.6501 | 2501906.569 | 1126431.0276 | 2501913.5936 | 1126433.5373 | 2501919.0595 | 1126435.472
19 | 2501760.8022 | 1126213.117 | 2501761.6288 | 1126216.539 | 2501762.5192 | 1126219.4046
20 | 2501813.088 | 1126207.7415 | 2501806.6501 | 1126205.7782 | 2501805.9857 | 1126208.0571 | 2501804.7781 | 1126208.6994 | 2501798.9598 | 1126207.8601 | 2501785.023 | 1126207.8978 | 2501772.9607 | 1126208.0162 | 2501769.1211 | 1126208.9236 | 2501765.4804 | 1126210.6839 | 2501760.8022 | 1126213.117
21 | 2501756.5824 | 1126091.6439 | 2501753.7297 | 1126082.1399 | 2501750.0487 | 1126066.7458 | 2501749.173 | 1126063.1467
22 | 2501756.5824 | 1126091.6439 | 2501757.9273 | 1126096.1248 | 2501775.4895 | 1126093.8378 | 2501776.191 | 1126098.5738
23 | 2501749.173 | 1126063.1467 | 2501746.401 | 1126049.5619
24 | 2501776.191 | 1126098.5738 | 2501779.7613 | 1126122.0773
25 | 2501795.7798 | 1126288.1836 | 2501778.284 | 1126298.3077 | 2501763.7726 | 1126306.1504
26 | 2501743.7015 | 1126316.998 | 2501763.7726 | 1126306.1504
27 | 2501732.2368 | 1126323.1941 | 2501743.7015 | 1126316.998
28 | 2501782.2007 | 1126138.1357 | 2501779.7613 | 1126122.0773
29 | 2501813.088 | 1126207.7415 | 2501811.691 | 1126212.3782
30 | 2501813.088 | 1126207.7415 | 2501817.899 | 1126209.2086 | 2501822.2608 | 1126210.5497 | 2501823.976 | 1126209.3655 | 2501825.6833 | 1126208.1704 | 2501828.1258 | 1126209.0424 | 2501828.8102 | 1126207.0411 | 2501834.91 | 1126202.4391 | 2501830.0406 | 1126200.695
31 | 2501795.5705 | 1126159.6743 | 2501806.0464 | 1126162.9727 | 2501832.3676 | 1126172.184 | 2501833.2474 | 1126172.2475 | 2501833.746 | 1126171.6168 | 2501838.8684 | 1126157.6249 | 2501841.8358 | 1126158.5439 | 2501842.484 | 1126156.6878 | 2501843.6236 | 1126157.0806 | 2501845.0587 | 1126157.6354 | 2501852.1086 | 1126160.2559 | 2501854.9055 | 1126152.5835 | 2501855.9603 | 1126150.1315 | 2501853.9457 | 1126149.4971
32 | 2501795.5705 | 1126159.6743 | 2501787.4543 | 1126155.9595 | 2501785.4559 | 1126154.4243 | 2501784.3754 | 1126152.4518 | 2501782.2007 | 1126138.1357
33 | 2501853.9457 | 1126149.4971 | 2501851.0446 | 1126148.388 | 2501851.6849 | 1126146.6098
34 | 2501888.1558 | 1126164.155 | 2501853.9457 | 1126149.4971
35 | 2501870.7252 | 1126285.9311 | 2501870.8514 | 1126293.2225 | 2501874.545 | 1126294.719 | 2501868.9699 | 1126308.5197
36 | 2501868.9699 | 1126308.5197 | 2501859.5714 | 1126331.7851
37 | 2501870.7252 | 1126285.9311 | 2501871.3765 | 1126280.4727 | 2501893.8735 | 1126289.6797
38 | 2501830.0406 | 1126200.695 | 2501831.2865 | 1126197.1948 | 2501830.7514 | 1126197.0034 | 2501824.616 | 1126194.6794 | 2501820.6455 | 1126193.1942
39 | 2501876.1734 | 1126196.2304 | 2501830.0406 | 1126200.695
40 | 2501820.6455 | 1126193.1942 | 2501813.5692 | 1126190.5472
41 | 2501881.4339 | 1126182.1375 | 2501876.1734 | 1126196.2304
42 | 2501885.4709 | 1126214.2473 | 2501872.1934 | 1126209.3155 | 2501873.0791 | 1126204.5204 | 2501876.1734 | 1126196.2304
43 | 2501732.2368 | 1126323.1941 | 2501724.3085 | 1126311.47
44 | 2501888.1558 | 1126164.155 | 2501888.0341 | 1126164.4805
45 | 2501888.1558 | 1126164.155 | 2501840.9189 | 1126124.9047
46 | 2501936.9048 | 1126244.6977 | 2501940.3706 | 1126236.9144 | 2501942.7283 | 1126231.6173
47 | 2501911.2997 | 1126247.7375 | 2501918.8305 | 1126250.5503 | 2501920.0743 | 1126247.3948 | 2501922.9396 | 1126240.1327 | 2501930.8428 | 1126242.6171 | 2501932.8977 | 1126243.3619 | 2501936.9048 | 1126244.6977
48 | 2501936.9048 | 1126244.6977 | 2501932.8977 | 1126243.3619 | 2501932.05 | 1126245.2769 | 2501931.0977 | 1126247.3937 | 2501929.6672 | 1126250.9191 | 2501943.6572 | 1126256.0618 | 2501941.1242 | 1126261.951 | 2501938.2273 | 1126268.6911
49 | 2501983.4114 | 1126243.7535 | 2501975.9398 | 1126239.3609 | 2501973.5014 | 1126237.7884
50 | 2501938.2273 | 1126268.6911 | 2501959.186 | 1126277.1673 | 2501960.172 | 1126274.7498 | 2501958.3957 | 1126279.2925 | 2501960.5069 | 1126280.181 | 2501962.9129 | 1126281.1871 | 2501964.434 | 1126281.8183 | 2501966.6694 | 1126282.7604 | 2501967.9344 | 1126283.2846 | 2501973.8741 | 1126268.8127 | 2501975.9696 | 1126261.1406 | 2501983.4114 | 1126243.7535
51 | 2501938.2273 | 1126268.6911 | 2501940.9271 | 1126272.4139
52 | 2501940.9271 | 1126272.4139 | 2501947.9813 | 1126282.1411 | 2501944.0389 | 1126291.2953
53 | 2501943.955 | 1126291.49 | 2501944.0389 | 1126291.2953
54 | 2501892.954 | 1126228.8237 | 2501902.4702 | 1126206.1908
55 | 2501892.954 | 1126228.8237 | 2501888.5989 | 1126239.2787 | 2501911.2997 | 1126247.7375
56 | 2501892.954 | 1126228.8237 | 2501890.0144 | 1126227.7152 | 2501893.2029 | 1126219.9475 | 2501888.6634 | 1126218.109 | 2501885.0628 | 1126216.6443 | 2501885.4709 | 1126214.2473
57 | 2501911.2997 | 1126247.7375 | 2501902.9907 | 1126267.7292
58 | 2501893.8735 | 1126289.6797 | 2501899.7637 | 1126275.4975 | 2501902.9907 | 1126267.7292
59 | 2501881.4339 | 1126182.1375 | 2501888.0341 | 1126164.4805
60 | 2501846.6151 | 1126387.0853 | 2501862.5739 | 1126393.3855 | 2501875.4342 | 1126398.7577 | 2501876.9093 | 1126395.1315 | 2501895.9028 | 1126403.1836
61 | 2501895.9028 | 1126403.1836 | 2501898.6907 | 1126396.6811
62 | 2501898.6907 | 1126396.6811 | 2501901.2503 | 1126390.7112 | 2501909.7057 | 1126392.3152
63 | 2501983.5378 | 1126278.6792 | 2501974.6901 | 1126299.9221
64 | 2501805.4594 | 1126187.5136 | 2501813.5692 | 1126190.5472
65 | 2501983.5378 | 1126278.6792 | 2501992.6333 | 1126256.8414

## bus_geodata
| x | y | coords
0 | 2501960.1371 | 1126333.3532
1 | 2501968.3142 | 1126314.7424
2 | 2501946.2626 | 1126366.6983
3 | 2501889.1596 | 1126383.0412
4 | 2501890.7546 | 1126365.2993
5 | 2501862.7736 | 1126306.5042
6 | 2501867.5165 | 1126284.3934
7 | 2501848.4771 | 1126342.9006
8 | 2501797.6948 | 1126298.3366
9 | 2501845.0624 | 1126363.6516
10 | 2501737.3502 | 1126178.8884
11 | 2501726.1847 | 1126184.8514
12 | 2501931.36 | 1126403.9985
13 | 2501927.626 | 1126413.5476
14 | 2501919.0595 | 1126435.472
15 | 2501762.5192 | 1126219.4046
16 | 2501760.8022 | 1126213.117
17 | 2501756.5824 | 1126091.6439
18 | 2501749.173 | 1126063.1467
19 | 2501776.191 | 1126098.5738
20 | 2501763.7726 | 1126306.1504
21 | 2501795.7798 | 1126288.1836
22 | 2501743.7015 | 1126316.998
23 | 2501746.401 | 1126049.5619
24 | 2501779.7613 | 1126122.0773
25 | 2501813.088 | 1126207.7415
26 | 2501795.5705 | 1126159.6743
27 | 2501853.9457 | 1126149.4971
28 | 2501782.2007 | 1126138.1357
29 | 2501868.9699 | 1126308.5197
30 | 2501870.7252 | 1126285.9311
31 | 2501859.5714 | 1126331.7851
32 | 2501830.0406 | 1126200.695
33 | 2501820.6455 | 1126193.1942
34 | 2501876.1734 | 1126196.2304
35 | 2501732.2368 | 1126323.1941
36 | 2501724.3085 | 1126311.47
37 | 2501776.6383 | 1126307.9648
38 | 2501851.6849 | 1126146.6098
39 | 2501888.1558 | 1126164.155
40 | 2501811.691 | 1126212.3782
41 | 2501942.7283 | 1126231.6173
42 | 2501936.9048 | 1126244.6977
43 | 2501973.5014 | 1126237.7884
44 | 2501983.4114 | 1126243.7535
45 | 2501940.9271 | 1126272.4139
46 | 2501938.2273 | 1126268.6911
47 | 2501944.0389 | 1126291.2953
48 | 2501943.955 | 1126291.49
49 | 2501902.4702 | 1126206.1908
50 | 2501892.954 | 1126228.8237
51 | 2501840.9189 | 1126124.9047
52 | 2501902.9907 | 1126267.7292
53 | 2501911.2997 | 1126247.7375
54 | 2501893.8735 | 1126289.6797
55 | 2501881.4339 | 1126182.1375
56 | 2501888.0341 | 1126164.4805
57 | 2501885.4709 | 1126214.2473
58 | 2501846.6151 | 1126387.0853
59 | 2501895.9028 | 1126403.1836
60 | 2501898.6907 | 1126396.6811
61 | 2501974.6901 | 1126299.9221
62 | 2501909.7057 | 1126392.3152
63 | 2501805.4594 | 1126187.5136
64 | 2501813.5692 | 1126190.5472
65 | 2501983.5378 | 1126278.6792
66 | 2501992.6333 | 1126256.8414
67 | 2501910.7686 | 1126271.0383

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1