## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6644-14_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6644-14_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6644-14_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_6644-14_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_6644-14_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_6644-14_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6644-14_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6644-14_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_6644-14_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_6644-14_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6644-14_0_4_node_60 | 0.4 | n |  | TRUE
13 | bus_LV_6644-14_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6644-14_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6644-14_0_4_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_6644-14_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6644-14_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6644-14_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_6644-14_0_4_node_51 | 0.4 | n |  | TRUE
20 | bus_LV_6644-14_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_6644-14_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6644-14_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_6644-14_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_6644-14_0_4_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_6644-14_0_4_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_6644-14_0_4_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_6644-14_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6644-14_0_4_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_6644-14_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6644-14_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6644-14_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_6644-14_0_4_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_6644-14_0_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_6644-14_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_6644-14_0_4_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_6644-14_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6644-14_0_4_node_53 | 0.4 | n |  | TRUE
38 | bus_LV_6644-14_0_4_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_6644-14_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6644-14_0_4_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_6644-14_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_6644-14_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_6644-14_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_6644-14_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6644-14_0_4_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_6644-14_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6644-14_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6644-14_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6644-14_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6644-14_0_4_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_6644-14_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6644-14_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_6644-14_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6644-14_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6644-14_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_6644-14_0_4_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_6644-14_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_6644-14_0_4_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_6644-14_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_6644-14_0_4_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6644-14_0_4_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_6644-14_0_4_node_83 | 0.4 | n |  | TRUE
63 | bus_LV_6644-14_0_4_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_6644-14_0_4_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_6644-14_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6644-14_0_4_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6644-14_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_6644-14_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6644-14_0_4_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_6644-14_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6644-14_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_6644-14_0_4_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_6644-14_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6644-14_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_6644-14_0_4_node_41 | 0.4 | n |  | TRUE
76 | bus_LV_6644-14_0_4_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_6644-14_0_4_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_6644-14_0_4_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_6644-14_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_6644-14_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_6644-14_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6644-14_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_MV_461_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-14_0_4_load_0 | 0 | 0.014453 | 0.0036222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-14_0_4_load_3 | 2 | 0.0028207 | 0.00070693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-14_0_4_load_4 | 3 | 0.0036578 | 0.00091672 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-14_0_4_load_27 | 5 | 0.01051 | 0.0026341 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-14_0_4_load_33 | 6 | 0.0030995 | 0.0007768 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-14_0_4_load_61 | 9 | 0.003326 | 0.00083359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-14_0_4_load_30 | 10 | 0.0040584 | 0.0010171 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-14_0_4_load_60 | 12 | 0.00066384 | 0.00016637 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-14_0_4_load_59 | 15 | 0.00077857 | 0.00019513 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-14_0_4_load_51 | 19 | 0.011695 | 0.002931 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-14_0_4_load_39 | 20 | 0.035569 | 0.0089146 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-14_0_4_load_48 | 23 | 0.0074571 | 0.0018689 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-14_0_4_load_84 | 24 | 0.010884 | 0.0027279 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-14_0_4_load_89 | 25 | 0.021113 | 0.0052915 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-14_0_4_load_86 | 28 | 0.0014959 | 0.00037491 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-14_0_4_load_79 | 32 | 0.010758 | 0.0026963 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-14_0_4_load_73 | 33 | 0.007012 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-14_0_4_load_80 | 34 | 0.00169 | 0.00042356 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-14_0_4_load_55 | 35 | 0.0034296 | 0.00085954 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-14_0_4_load_82 | 38 | 0.033548 | 0.008408 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-14_0_4_load_36 | 39 | 0.012815 | 0.0032118 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-14_0_4_load_72 | 40 | 0.0030389 | 0.00076162 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-14_0_4_load_42 | 43 | 0.033715 | 0.0084497 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-14_0_4_load_34 | 45 | 0.0053118 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-14_0_4_load_29 | 46 | 0.0031779 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-14_0_4_load_58 | 47 | 0.00033981 | 8.5164e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-14_0_4_load_46 | 48 | 0.00085368 | 0.00021395 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-14_0_4_load_32 | 49 | 0.0010973 | 0.00027501 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-14_0_4_load_31 | 50 | 0.00056952 | 0.00014273 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-14_0_4_load_47 | 51 | 0.00060496 | 0.00015162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-14_0_4_load_71 | 55 | 0.027974 | 0.0070109 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-14_0_4_load_88 | 56 | 0.013062 | 0.0032735 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-14_0_4_load_64 | 57 | 0.0047525 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-14_0_4_load_78 | 58 | 0.0056367 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-14_0_4_load_56 | 59 | 0.0045602 | 0.0011429 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-14_0_4_load_52 | 60 | 0.033781 | 0.0084664 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-14_0_4_load_81 | 61 | 0.035755 | 0.0089611 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-14_0_4_load_83 | 62 | 0.027984 | 0.0070134 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-14_0_4_load_37 | 63 | 0.0053082 | 0.0013303 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-14_0_4_load_87 | 64 | 0.019503 | 0.0048879 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-14_0_4_load_65 | 65 | 0.0026705 | 0.00066928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-14_0_4_load_77 | 66 | 0.0017016 | 0.00042647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-14_0_4_load_62 | 67 | 0.0024914 | 0.00062439 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-14_0_4_load_63 | 68 | 0.0025105 | 0.00062919 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-14_0_4_load_35 | 69 | 0.0028731 | 0.00072006 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-14_0_4_load_69 | 70 | 0.0016158 | 0.00040496 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-14_0_4_load_66 | 74 | 0.0018799 | 0.00047114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-14_0_4_load_41 | 75 | 0.0047561 | 0.001192 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-14_0_4_load_43 | 76 | 0.00096721 | 0.00024241 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-14_0_4_load_44 | 77 | 0.0012959 | 0.00032477 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6644-14_0_4_load_45 | 78 | 0.0012317 | 0.00030869 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6644-14_0_4_load_57 | 79 | 0.0065154 | 0.0016329 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6644-14_0_4_load_67 | 80 | 0.0065133 | 0.0016324 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6644-14_0_4_load_75 | 81 | 0.0023025 | 0.00057706 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6644-14_0_4_load_76 | 82 | 0.0056689 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-14_0_4_line_0 |  | 0 | 1 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-14_0_4_line_1 |  | 1 | 2 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6644-14_0_4_line_2 |  | 1 | 3 | 0.015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6644-14_0_4_line_3 |  | 2 | 4 | 0.01411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6644-14_0_4_line_4 |  | 2 | 5 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-14_0_4_line_5 |  | 3 | 6 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6644-14_0_4_line_6 |  | 4 | 39 | 0.026264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6644-14_0_4_line_7 |  | 5 | 7 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-14_0_4_line_8 |  | 6 | 45 | 0.023712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6644-14_0_4_line_9 |  | 7 | 8 | 0.042999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-14_0_4_line_10 |  | 8 | 9 | 0.003444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-14_0_4_line_11 |  | 8 | 10 | 0.031341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6644-14_0_4_line_12 |  | 10 | 46 | 0.0069845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-14_0_4_line_13 |  | 11 | 12 | 0.050546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-14_0_4_line_14 |  | 11 | 13 | 0.055364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6644-14_0_4_line_15 |  | 11 | 14 | 0.032225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-14_0_4_line_16 |  | 11 | 15 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6644-14_0_4_line_17 |  | 13 | 24 | 0.0081006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6644-14_0_4_line_18 |  | 14 | 20 | 0.015891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-14_0_4_line_19 |  | 15 | 51 | 0.0025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6644-14_0_4_line_20 |  | 16 | 17 | 0.044362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6644-14_0_4_line_21 |  | 16 | 18 | 0.03239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-14_0_4_line_22 |  | 16 | 19 | 0.033755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6644-14_0_4_line_23 |  | 17 | 25 | 0.005562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-14_0_4_line_24 |  | 17 | 26 | 0.004177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6644-14_0_4_line_25 |  | 18 | 40 | 0.0055201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6644-14_0_4_line_26 |  | 19 | 52 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6644-14_0_4_line_27 |  | 20 | 53 | 0.003697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-14_0_4_line_28 |  | 21 | 22 | 0.006508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6644-14_0_4_line_29 |  | 21 | 23 | 0.026043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6644-14_0_4_line_30 |  | 22 | 54 | 0.011526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6644-14_0_4_line_31 |  | 22 | 55 | 0.017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-14_0_4_line_32 |  | 23 | 52 | 0.0080608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6644-14_0_4_line_33 |  | 24 | 44 | 0.0085409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-14_0_4_line_34 |  | 26 | 56 | 0.015963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-14_0_4_line_35 |  | 26 | 44 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-14_0_4_line_36 |  | 27 | 28 | 0.008084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-14_0_4_line_37 |  | 27 | 29 | 0.028616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-14_0_4_line_38 |  | 27 | 30 | 0.24144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_6644-14_0_4_line_39 |  | 29 | 34 | 0.010722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-14_0_4_line_40 |  | 29 | 32 | 0.046196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6644-14_0_4_line_41 |  | 30 | 35 | 0.066791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6644-14_0_4_line_42 |  | 31 | 32 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-14_0_4_line_43 |  | 31 | 33 | 0.00097995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-14_0_4_line_44 |  | 33 | 57 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-14_0_4_line_45 |  | 34 | 58 | 0.037558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-14_0_4_line_46 |  | 35 | 59 | 0.025483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6644-14_0_4_line_47 |  | 36 | 37 | 0.013094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-14_0_4_line_48 |  | 36 | 38 | 0.04788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6644-14_0_4_line_49 |  | 37 | 54 | 0.067464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6644-14_0_4_line_50 |  | 37 | 60 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6644-14_0_4_line_51 |  | 38 | 61 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-14_0_4_line_52 |  | 39 | 63 | 0.037937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6644-14_0_4_line_53 |  | 41 | 42 | 0.02079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-14_0_4_line_54 |  | 41 | 43 | 0.022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-14_0_4_line_55 |  | 42 | 64 | 0.007419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-14_0_4_line_56 |  | 43 | 53 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-14_0_4_line_57 |  | 45 | 69 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6644-14_0_4_line_58 |  | 46 | 50 | 0.020694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6644-14_0_4_line_59 |  | 47 | 48 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6644-14_0_4_line_60 |  | 48 | 77 | 0.0038163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-14_0_4_line_61 |  | 49 | 50 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-14_0_4_line_62 |  | 51 | 78 | 0.0036889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-14_0_4_line_63 |  | 53 | 75 | 0.008657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6644-14_0_4_line_64 |  | 54 | 62 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6644-14_0_4_line_65 |  | 57 | 68 | 0.03888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6644-14_0_4_line_66 |  | 58 | 82 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-14_0_4_line_67 |  | 59 | 79 | 0.022194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6644-14_0_4_line_68 |  | 62 | 73 | 0.018313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6644-14_0_4_line_69 |  | 63 | 72 | 0.0082793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6644-14_0_4_line_70 |  | 65 | 66 | 0.0046462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6644-14_0_4_line_71 |  | 66 | 81 | 0.033931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6644-14_0_4_line_72 |  | 67 | 68 | 0.029396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6644-14_0_4_line_73 |  | 69 | 70 | 0.0078948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6644-14_0_4_line_74 |  | 70 | 71 | 0.021207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6644-14_0_4_line_75 |  | 71 | 74 | 0.024556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6644-14_0_4_line_76 |  | 72 | 73 | 0.02597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6644-14_0_4_line_77 |  | 74 | 80 | 0.0035668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6644-14_0_4_line_78 |  | 76 | 77 | 0.0061871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6644-14_0_4_line_79 |  | 76 | 78 | 0.002981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6644-14_0_4_line_80 |  | 79 | 80 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6644-14_0_4_line_81 |  | 81 | 82 | 0.0091121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-14_0_4_trafo_52 | 0.63 MVA 20/0.4 kV | 83 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2501841.4256 | 1126414.0085 | 2501840.3576 | 1126409.9567 | 2501841.5843 | 1126400.0056
1 | 2501841.4256 | 1126414.0085 | 2501843.5212 | 1126416.7873 | 2501848.504 | 1126421.7205 | 2501854.5202 | 1126425.7363
2 | 2501841.4256 | 1126414.0085 | 2501836.7363 | 1126416.6975 | 2501832.0923 | 1126425.4895
3 | 2501867.4927 | 1126431.3735 | 2501862.7881 | 1126429.3265 | 2501854.5202 | 1126425.7363
4 | 2501854.5202 | 1126425.7363 | 2501856.4016 | 1126421.5031 | 2501868.1452 | 1126426.4454
5 | 2501832.0923 | 1126425.4895 | 2501825.3044 | 1126438.342
6 | 2501867.4927 | 1126431.3735 | 2501856.4274 | 1126455.193
7 | 2501883.3886 | 1126432.8607 | 2501868.1452 | 1126426.4454
8 | 2501825.3044 | 1126438.342 | 2501823.6643 | 1126441.4474 | 2501822.0041 | 1126444.5874 | 2501814.2308 | 1126459.3091
9 | 2501883.3886 | 1126432.8607 | 2501891.9036 | 1126436.4802 | 2501897.4008 | 1126438.4477 | 2501899.0755 | 1126439.0431 | 2501903.9881 | 1126440.6087 | 2501903.188 | 1126445.925 | 2501910.053 | 1126447.1476 | 2501915.3361 | 1126453.9661
10 | 2501918.7899 | 1126453.9878 | 2501915.3361 | 1126453.9661
11 | 2501915.3361 | 1126453.9661 | 2501915.1282 | 1126485.3064
12 | 2501915.1282 | 1126485.3064 | 2501915.0903 | 1126491.0263 | 2501915.0818 | 1126492.2908
13 | 2501914.1353 | 1126617.2865 | 2501913.9362 | 1126667.8321
14 | 2501868.1836 | 1126610.4619 | 2501883.4073 | 1126606.1897 | 2501891.6607 | 1126605.1106 | 2501895.3374 | 1126606.0514 | 2501899.645 | 1126607.8715 | 2501901.7261 | 1126609.7611 | 2501908.6108 | 1126609.3602 | 2501908.9935 | 1126617.2588 | 2501914.1353 | 1126617.2865
15 | 2501904.508 | 1126643.3922 | 2501904.6029 | 1126626.9361 | 2501908.9935 | 1126617.2588 | 2501914.1353 | 1126617.2865
16 | 2501914.1353 | 1126617.2865 | 2501916.371 | 1126617.3057 | 2501921.5703 | 1126617.0767 | 2501924.487 | 1126616.3067 | 2501927.2062 | 1126614.7727 | 2501929.9283 | 1126612.4715 | 2501930.367 | 1126611.7772
17 | 2501868.1836 | 1126610.4619 | 2501868.5599 | 1126611.801 | 2501869.6899 | 1126615.8741 | 2501870.4885 | 1126618.2248
18 | 2501904.508 | 1126643.3922 | 2501896.7373 | 1126643.8187 | 2501892.21 | 1126644.6038 | 2501888.9072 | 1126645.8026
19 | 2501930.367 | 1126611.7772 | 2501931.7169 | 1126609.6407 | 2501931.7169 | 1126609.6407
20 | 2501822.8303 | 1126613.9009 | 2501824.1105 | 1126618.205 | 2501825.459 | 1126622.4412 | 2501825.6173 | 1126624.1175 | 2501827.0393 | 1126623.872 | 2501831.1622 | 1126623.338 | 2501832.8183 | 1126623.2666 | 2501849.5384 | 1126621.9052 | 2501851.8896 | 1126626.6588 | 2501853.0456 | 1126630.9093
21 | 2501813.5212 | 1126635.8546 | 2501819.3177 | 1126635.8493 | 2501822.8992 | 1126635.2018 | 2501824.0274 | 1126634.4274 | 2501826.0389 | 1126631.5596 | 2501826.0537 | 1126628.6798 | 2501825.6173 | 1126624.1175 | 2501825.459 | 1126622.4412 | 2501824.1105 | 1126618.205 | 2501822.8303 | 1126613.9009
22 | 2501822.8303 | 1126613.9009 | 2501821.3207 | 1126607.8105 | 2501818.2864 | 1126596.1304 | 2501817.2833 | 1126594.6458 | 2501813.8385 | 1126592.8006 | 2501804.6416 | 1126589.6756
23 | 2501854.0669 | 1126636.3627 | 2501853.652 | 1126633.123 | 2501853.0456 | 1126630.9093
24 | 2501853.0456 | 1126630.9093 | 2501857.1733 | 1126630.1974
25 | 2501813.5212 | 1126635.8546 | 2501808.2048 | 1126637.3401
26 | 2501793.8983 | 1126586.2318 | 2501797.414 | 1126587.2197 | 2501804.6416 | 1126589.6756
27 | 2501885.8026 | 1126647.8099 | 2501888.9072 | 1126645.8026
28 | 2501823.003 | 1126566.6911 | 2501824.7238 | 1126572.967
29 | 2501824.7238 | 1126572.967 | 2501811.4946 | 1126576.1729 | 2501804.4895 | 1126579.1219 | 2501800.2839 | 1126581.4969
30 | 2501827.3232 | 1126556.0032 | 2501823.003 | 1126566.6911
31 | 2501823.003 | 1126566.6911 | 2501821.355 | 1126561.5703 | 2501819.6341 | 1126558.6075 | 2501818.041 | 1126557.3438 | 2501814.0224 | 1126555.2856 | 2501812.4422 | 1126554.421
32 | 2501793.8983 | 1126586.2318 | 2501794.9467 | 1126584.8139 | 2501796.0653 | 1126583.9174 | 2501797.577 | 1126583.0256 | 2501800.2839 | 1126581.4969
33 | 2501873.2357 | 1126626.3118 | 2501870.4885 | 1126618.2248
34 | 2501857.895 | 1126646.1399 | 2501857.1733 | 1126630.1974
35 | 2501873.2357 | 1126626.3118 | 2501867.2373 | 1126628.1215 | 2501862.0007 | 1126629.374 | 2501857.1733 | 1126630.1974
36 | 2501719.4599 | 1126466.4461 | 2501727.023 | 1126469.3582
37 | 2501727.023 | 1126469.3582 | 2501730.2593 | 1126460.2888 | 2501733.6863 | 1126462.4566 | 2501738.2965 | 1126464.3828 | 2501741.8843 | 1126455.1188
38 | 2501721.3598 | 1126631.4617 | 2501724.8426 | 1126633.2728 | 2501728.6596 | 1126635.2564 | 2501729.9701 | 1126640.4716 | 2501722.4291 | 1126642.6956 | 2501702.5329 | 1126648.2895 | 2501700.6123 | 1126648.6877 | 2501698.5502 | 1126648.4433 | 2501696.6544 | 1126647.518 | 2501695.3865 | 1126645.8709 | 2501694.5255 | 1126643.1722 | 2501694.5689 | 1126640.1585 | 2501690.2748 | 1126639.1722 | 2501694.7103 | 1126618.5428 | 2501696.971 | 1126607.7883 | 2501703.6721 | 1126587.122 | 2501712.0087 | 1126556.1116 | 2501717.2915 | 1126539.2264 | 2501722.4023 | 1126524.5564 | 2501717.2615 | 1126522.7055 | 2501718.53 | 1126519.1827 | 2501730.5154 | 1126485.9672 | 2501730.6373 | 1126481.14 | 2501727.023 | 1126469.3582
39 | 2501741.8843 | 1126455.1188 | 2501745.7586 | 1126445.121
40 | 2501741.8843 | 1126455.1188 | 2501739.2682 | 1126457.3071 | 2501736.1623 | 1126457.8135 | 2501733.7228 | 1126457.1194 | 2501731.4453 | 1126455.0107 | 2501718.6879 | 1126423.4962
41 | 2501721.3598 | 1126631.4617 | 2501723.9102 | 1126628.0847 | 2501727.4421 | 1126625.3367 | 2501729.9111 | 1126622.6393 | 2501732.5454 | 1126618.2604 | 2501735.9752 | 1126614.9248 | 2501738.5062 | 1126613.1937 | 2501742.4285 | 1126611.2286 | 2501742.5632 | 1126597.7181 | 2501743.6739 | 1126589.7062 | 2501745.6051 | 1126582.8594 | 2501748.8535 | 1126575.1497
42 | 2501712.284 | 1126400.1996 | 2501712.8531 | 1126401.5356 | 2501712.1699 | 1126407.3948 | 2501718.6879 | 1126423.4962
43 | 2501711.8991 | 1126399.2984 | 2501712.284 | 1126400.1996
44 | 2501711.8991 | 1126399.2984 | 2501710.8976 | 1126396.9535 | 2501706.7532 | 1126392.8629 | 2501703.7488 | 1126385.6247
45 | 2501752.9059 | 1126411.999 | 2501747.5054 | 1126425.8537 | 2501747.767 | 1126427.7172 | 2501748.5163 | 1126428.7613 | 2501751.605 | 1126430.034 | 2501745.7586 | 1126445.121
46 | 2501748.8535 | 1126575.1497 | 2501750.8077 | 1126570.5116 | 2501756.9838 | 1126558.7817 | 2501760.5991 | 1126552.5631
47 | 2501862.1102 | 1126569.7242 | 2501859.0722 | 1126567.2943 | 2501854.732 | 1126563.4736 | 2501852.7896 | 1126560.6367
48 | 2501862.1102 | 1126569.7242 | 2501871.6557 | 1126570.8365 | 2501874.6471 | 1126569.9207 | 2501876.3514 | 1126568.0696 | 2501883.1514 | 1126550.1259 | 2501883.7056 | 1126546.7593 | 2501884.3519 | 1126536.7555
49 | 2501827.3232 | 1126556.0032 | 2501839.14 | 1126560.7474 | 2501844.5997 | 1126547.6062 | 2501850.2388 | 1126545.5021 | 2501853.3575 | 1126538.1914 | 2501856.1828 | 1126539.3907 | 2501852.524 | 1126548.5669 | 2501849.6397 | 1126556.0628 | 2501852.7896 | 1126560.6367
50 | 2501852.7896 | 1126560.6367 | 2501856.6248 | 1126550.5465
51 | 2501884.8488 | 1126516.2053 | 2501884.8976 | 1126517.1772 | 2501884.6849 | 1126531.6006 | 2501884.3519 | 1126536.7555
52 | 2501839.1222 | 1126487.5748 | 2501847.8994 | 1126466.558 | 2501851.7554 | 1126465.2501 | 2501856.4274 | 1126455.193
53 | 2501884.8469 | 1126690.9743 | 2501866.8011 | 1126690.9118 | 2501864.0134 | 1126690.6013
54 | 2501884.8469 | 1126690.9743 | 2501884.8902 | 1126668.9747
55 | 2501864.0134 | 1126690.6013 | 2501863.9606 | 1126693.5151 | 2501863.9505 | 1126694.3158 | 2501863.9798 | 1126698.0176
56 | 2501885.8026 | 1126647.8099 | 2501885.1693 | 1126648.2093 | 2501884.9293 | 1126649.0915 | 2501884.8902 | 1126668.9747
57 | 2501809.2383 | 1126468.1737 | 2501811.867 | 1126463.5194 | 2501814.0399 | 1126459.6706 | 2501814.2308 | 1126459.3091
58 | 2501914.9429 | 1126512.984 | 2501915.0818 | 1126492.2908
59 | 2501919.6331 | 1126585.5184 | 2501924.2254 | 1126588.8162 | 2501928.3648 | 1126592.618 | 2501929.5548 | 1126594.0811
60 | 2501931.7613 | 1126597.1879 | 2501930.5514 | 1126595.3064 | 2501929.5548 | 1126594.0811
61 | 2501914.8737 | 1126523.6533 | 2501914.919 | 1126516.5448 | 2501914.9429 | 1126512.984
62 | 2501932.9167 | 1126606.1524 | 2501931.7169 | 1126609.6407
63 | 2501885.8026 | 1126647.8099 | 2501885.1684 | 1126647.6756 | 2501883.9406 | 1126647.5399 | 2501878.6764 | 1126647.5699 | 2501877.1436 | 1126647.6393
64 | 2501827.3232 | 1126556.0032 | 2501838.1961 | 1126529.7861
65 | 2501701.3724 | 1126351.0391 | 2501698.2301 | 1126353.2437 | 2501695.4556 | 1126357.069 | 2501694.8692 | 1126360.8253 | 2501695.2158 | 1126365.0667 | 2501703.7488 | 1126385.6247
66 | 2501760.9044 | 1126391.4788 | 2501752.9059 | 1126411.999
67 | 2501771.7534 | 1126533.3762 | 2501760.5991 | 1126552.5631
68 | 2501842.754 | 1126512.3143 | 2501842.3733 | 1126519.714 | 2501838.1961 | 1126529.7861
69 | 2501835.9316 | 1126495.2146 | 2501839.1222 | 1126487.5748
70 | 2501781.1907 | 1126353.7867 | 2501779.5149 | 1126358.1201
71 | 2501764.2137 | 1126382.9888 | 2501764.2137 | 1126382.9888 | 2501769.1924 | 1126384.8201 | 2501770.9972 | 1126380.1434 | 2501778.8902 | 1126359.7358 | 2501779.5149 | 1126358.1201
72 | 2501726.3283 | 1126335.5584 | 2501717.8978 | 1126340.1823 | 2501708.824 | 1126345.8112 | 2501701.3724 | 1126351.0391
73 | 2501809.2383 | 1126468.1737 | 2501805.3557 | 1126475.0479
74 | 2501794.9262 | 1126493.5133 | 2501805.3557 | 1126475.0479
75 | 2501794.9262 | 1126493.5133 | 2501785.0356 | 1126510.5291 | 2501782.5857 | 1126514.7433
76 | 2501835.9316 | 1126495.2146 | 2501831.131 | 1126506.6997 | 2501842.8001 | 1126511.3574 | 2501842.754 | 1126512.3143
77 | 2501782.5857 | 1126514.7433 | 2501780.7931 | 1126517.8269
78 | 2501931.7613 | 1126597.1879 | 2501931.7613 | 1126597.1879 | 2501932.5736 | 1126599.2649 | 2501933.1459 | 1126603.1802
79 | 2501932.9167 | 1126606.1524 | 2501933.1459 | 1126603.1802 | 2501933.1459 | 1126603.1802
80 | 2501771.7534 | 1126533.3762 | 2501780.7931 | 1126517.8269
81 | 2501764.2137 | 1126382.9888 | 2501760.9044 | 1126391.4788

## bus_geodata
| x | y | coords
0 | 2501841.5843 | 1126400.0056
1 | 2501841.4256 | 1126414.0085
2 | 2501854.5202 | 1126425.7363
3 | 2501832.0923 | 1126425.4895
4 | 2501867.4927 | 1126431.3735
5 | 2501868.1452 | 1126426.4454
6 | 2501825.3044 | 1126438.342
7 | 2501883.3886 | 1126432.8607
8 | 2501915.3361 | 1126453.9661
9 | 2501918.7899 | 1126453.9878
10 | 2501915.1282 | 1126485.3064
11 | 2501914.1353 | 1126617.2865
12 | 2501913.9362 | 1126667.8321
13 | 2501868.1836 | 1126610.4619
14 | 2501904.508 | 1126643.3922
15 | 2501930.367 | 1126611.7772
16 | 2501822.8303 | 1126613.9009
17 | 2501853.0456 | 1126630.9093
18 | 2501813.5212 | 1126635.8546
19 | 2501804.6416 | 1126589.6756
20 | 2501888.9072 | 1126645.8026
21 | 2501824.7238 | 1126572.967
22 | 2501823.003 | 1126566.6911
23 | 2501800.2839 | 1126581.4969
24 | 2501870.4885 | 1126618.2248
25 | 2501854.0669 | 1126636.3627
26 | 2501857.1733 | 1126630.1974
27 | 2501727.023 | 1126469.3582
28 | 2501719.4599 | 1126466.4461
29 | 2501741.8843 | 1126455.1188
30 | 2501721.3598 | 1126631.4617
31 | 2501712.284 | 1126400.1996
32 | 2501718.6879 | 1126423.4962
33 | 2501711.8991 | 1126399.2984
34 | 2501745.7586 | 1126445.121
35 | 2501748.8535 | 1126575.1497
36 | 2501862.1102 | 1126569.7242
37 | 2501852.7896 | 1126560.6367
38 | 2501884.3519 | 1126536.7555
39 | 2501856.4274 | 1126455.193
40 | 2501808.2048 | 1126637.3401
41 | 2501884.8469 | 1126690.9743
42 | 2501864.0134 | 1126690.6013
43 | 2501884.8902 | 1126668.9747
44 | 2501873.2357 | 1126626.3118
45 | 2501814.2308 | 1126459.3091
46 | 2501915.0818 | 1126492.2908
47 | 2501919.6331 | 1126585.5184
48 | 2501929.5548 | 1126594.0811
49 | 2501914.8737 | 1126523.6533
50 | 2501914.9429 | 1126512.984
51 | 2501931.7169 | 1126609.6407
52 | 2501793.8983 | 1126586.2318
53 | 2501885.8026 | 1126647.8099
54 | 2501827.3232 | 1126556.0032
55 | 2501812.4422 | 1126554.421
56 | 2501857.895 | 1126646.1399
57 | 2501703.7488 | 1126385.6247
58 | 2501752.9059 | 1126411.999
59 | 2501760.5991 | 1126552.5631
60 | 2501856.6248 | 1126550.5465
61 | 2501884.8488 | 1126516.2053
62 | 2501838.1961 | 1126529.7861
63 | 2501839.1222 | 1126487.5748
64 | 2501863.9798 | 1126698.0176
65 | 2501781.1907 | 1126353.7867
66 | 2501779.5149 | 1126358.1201
67 | 2501726.3283 | 1126335.5584
68 | 2501701.3724 | 1126351.0391
69 | 2501809.2383 | 1126468.1737
70 | 2501805.3557 | 1126475.0479
71 | 2501794.9262 | 1126493.5133
72 | 2501835.9316 | 1126495.2146
73 | 2501842.754 | 1126512.3143
74 | 2501782.5857 | 1126514.7433
75 | 2501877.1436 | 1126647.6393
76 | 2501933.1459 | 1126603.1802
77 | 2501931.7613 | 1126597.1879
78 | 2501932.9167 | 1126606.1524
79 | 2501771.7534 | 1126533.3762
80 | 2501780.7931 | 1126517.8269
81 | 2501764.2137 | 1126382.9888
82 | 2501760.9044 | 1126391.4788
83 | 2501858.8955 | 1126544.572

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1