## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-17_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6644-17_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6644-17_0_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_6644-17_0_3_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_6644-17_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6644-17_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_6644-17_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_6644-17_0_3_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_6644-17_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6644-17_0_3_node_108 | 0.4 | n |  | TRUE
11 | bus_LV_6644-17_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6644-17_0_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6644-17_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6644-17_0_3_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_6644-17_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6644-17_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6644-17_0_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_6644-17_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_6644-17_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_6644-17_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_6644-17_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_6644-17_0_3_node_107 | 0.4 | n |  | TRUE
23 | bus_LV_6644-17_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6644-17_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6644-17_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6644-17_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6644-17_0_3_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_6644-17_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6644-17_0_3_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_6644-17_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6644-17_0_3_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_6644-17_0_3_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_6644-17_0_3_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_6644-17_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6644-17_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6644-17_0_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_6644-17_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_6644-17_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6644-17_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6644-17_0_3_node_106 | 0.4 | n |  | TRUE
41 | bus_LV_6644-17_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6644-17_0_3_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_6644-17_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_6644-17_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6644-17_0_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_6644-17_0_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_6644-17_0_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_6644-17_0_3_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_6644-17_0_3_node_95 | 0.4 | n |  | TRUE
50 | bus_LV_6644-17_0_3_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_6644-17_0_3_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_6644-17_0_3_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_6644-17_0_3_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_6644-17_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6644-17_0_3_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_6644-17_0_3_node_102 | 0.4 | n |  | TRUE
57 | bus_LV_6644-17_0_3_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_6644-17_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_6644-17_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6644-17_0_3_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_6644-17_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6644-17_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_6644-17_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_6644-17_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6644-17_0_3_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6644-17_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6644-17_0_3_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_6644-17_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_6644-17_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_6644-17_0_3_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_6644-17_0_3_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_6644-17_0_3_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_6644-17_0_3_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_6644-17_0_3_node_38 | 0.4 | n |  | TRUE
75 | bus_LV_6644-17_0_3_node_29 | 0.4 | n |  | TRUE
76 | bus_LV_6644-17_0_3_node_30 | 0.4 | n |  | TRUE
77 | bus_LV_6644-17_0_3_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_6644-17_0_3_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_6644-17_0_3_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_6644-17_0_3_node_36 | 0.4 | n |  | TRUE
81 | bus_LV_6644-17_0_3_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_6644-17_0_3_node_49 | 0.4 | n |  | TRUE
83 | bus_LV_6644-17_0_3_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_6644-17_0_3_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_6644-17_0_3_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_6644-17_0_3_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_6644-17_0_3_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_6644-17_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6644-17_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_6644-17_0_3_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_6644-17_0_3_node_56 | 0.4 | n |  | TRUE
92 | bus_LV_6644-17_0_3_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_6644-17_0_3_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_6644-17_0_3_node_59 | 0.4 | n |  | TRUE
95 | bus_LV_6644-17_0_3_node_73 | 0.4 | n |  | TRUE
96 | bus_LV_6644-17_0_3_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_6644-17_0_3_node_62 | 0.4 | n |  | TRUE
98 | bus_LV_6644-17_0_3_node_65 | 0.4 | n |  | TRUE
99 | bus_LV_6644-17_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_6644-17_0_3_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_6644-17_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_6644-17_0_3_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_6644-17_0_3_node_82 | 0.4 | n |  | TRUE
104 | bus_MV_461_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-17_0_3_load_0 | 0 | 0.0052803 | 0.0013234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-17_0_3_load_105 | 4 | 0.0069947 | 0.001753 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-17_0_3_load_104 | 8 | 0.0057935 | 0.001452 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-17_0_3_load_108 | 10 | 0.0020543 | 0.00051484 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-17_0_3_load_110 | 14 | 0.0097709 | 0.0024488 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-17_0_3_load_47 | 17 | 0.0097749 | 0.0024498 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-17_0_3_load_46 | 18 | 0.0053639 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-17_0_3_load_32 | 20 | 0.026992 | 0.0067648 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-17_0_3_load_39 | 21 | 0.0062057 | 0.0015553 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-17_0_3_load_107 | 22 | 0.026805 | 0.006718 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-17_0_3_load_68 | 27 | 0.0055966 | 0.0014027 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-17_0_3_load_83 | 29 | 0.00093641 | 0.00023469 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-17_0_3_load_79 | 31 | 0.00053954 | 0.00013522 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-17_0_3_load_76 | 32 | 0.00047716 | 0.00011959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-17_0_3_load_92 | 33 | 0.00076984 | 0.00019294 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-17_0_3_load_54 | 36 | 0.0021548 | 0.00054004 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-17_0_3_load_106 | 40 | 0.0010248 | 0.00025685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-17_0_3_load_88 | 42 | 0.0017317 | 0.00043401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-17_0_3_load_75 | 43 | 0.00095026 | 0.00023816 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-17_0_3_load_71 | 45 | 0.00053366 | 0.00013375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-17_0_3_load_85 | 46 | 0.00066389 | 0.00016639 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-17_0_3_load_84 | 47 | 0.00035451 | 8.8847e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-17_0_3_load_97 | 48 | 0.0013949 | 0.0003496 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-17_0_3_load_95 | 49 | 0.0010104 | 0.00025324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-17_0_3_load_99 | 50 | 0.0028901 | 0.00072433 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-17_0_3_load_111 | 51 | 0.0015832 | 0.00039678 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-17_0_3_load_103 | 52 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-17_0_3_load_98 | 53 | 0.0066737 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-17_0_3_load_101 | 55 | 0.0074888 | 0.0018769 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-17_0_3_load_102 | 56 | 0.0086432 | 0.0021662 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-17_0_3_load_100 | 57 | 0.0081113 | 0.0020329 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-17_0_3_load_37 | 58 | 0.0062039 | 0.0015549 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-17_0_3_load_69 | 59 | 0.00077321 | 0.00019379 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-17_0_3_load_70 | 60 | 0.00045015 | 0.00011282 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-17_0_3_load_77 | 63 | 0.00021803 | 5.4644e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-17_0_3_load_63 | 65 | 0.0019358 | 0.00048515 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-17_0_3_load_60 | 66 | 0.001687 | 0.00042279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-17_0_3_load_87 | 68 | 0.0008717 | 0.00021847 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-17_0_3_load_74 | 69 | 0.00066702 | 0.00016717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-17_0_3_load_78 | 70 | 0.0016441 | 0.00041204 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-17_0_3_load_96 | 71 | 0.00076496 | 0.00019172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-17_0_3_load_93 | 73 | 0.0062273 | 0.0015607 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-17_0_3_load_29 | 75 | 0.020163 | 0.0050533 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-17_0_3_load_43 | 77 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-17_0_3_load_44 | 78 | 0.011157 | 0.0027961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-17_0_3_load_41 | 79 | 0.0095796 | 0.0024009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-17_0_3_load_36 | 80 | 0.0032212 | 0.00080731 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-17_0_3_load_48 | 81 | 0.00087287 | 0.00021876 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-17_0_3_load_51 | 84 | 0.0017751 | 0.00044488 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-17_0_3_load_52 | 85 | 0.000346 | 8.6717e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6644-17_0_3_load_53 | 86 | 0.00063387 | 0.00015886 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6644-17_0_3_load_80 | 87 | 0.0019428 | 0.0004869 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6644-17_0_3_load_86 | 88 | 0.0024977 | 0.00062599 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6644-17_0_3_load_81 | 89 | 0.0029417 | 0.00073725 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6644-17_0_3_load_55 | 90 | 0.0010177 | 0.00025505 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6644-17_0_3_load_56 | 91 | 0.001719 | 0.00043082 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6644-17_0_3_load_57 | 92 | 0.0006188 | 0.00015509 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6644-17_0_3_load_58 | 93 | 0.00084586 | 0.00021199 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6644-17_0_3_load_59 | 94 | 0.00058353 | 0.00014625 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6644-17_0_3_load_73 | 95 | 0.00096736 | 0.00024244 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6644-17_0_3_load_72 | 96 | 0.00088036 | 0.00022064 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6644-17_0_3_load_109 | 100 | 0.001928 | 0.0004832 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6644-17_0_3_load_90 | 101 | 0.00029277 | 7.3376e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6644-17_0_3_load_89 | 102 | 0.00019716 | 4.9414e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6644-17_0_3_load_82 | 103 | 0.0069212 | 0.0017346 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-17_0_3_line_0 |  | 0 | 1 | 0.021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-17_0_3_line_1 |  | 1 | 2 | 0.028916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-17_0_3_line_2 |  | 2 | 3 | 0.059072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-17_0_3_line_3 |  | 2 | 4 | 0.0282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6644-17_0_3_line_4 |  | 3 | 50 | 0.030282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-17_0_3_line_5 |  | 3 | 7 | 0.004996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-17_0_3_line_6 |  | 5 | 6 | 0.045574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_6644-17_0_3_line_7 |  | 5 | 7 | 0.03177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-17_0_3_line_8 |  | 5 | 8 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6644-17_0_3_line_9 |  | 6 | 21 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-17_0_3_line_10 |  | 7 | 23 | 0.037454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-17_0_3_line_11 |  | 8 | 52 | 0.018092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6644-17_0_3_line_12 |  | 9 | 10 | 0.004405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-17_0_3_line_13 |  | 9 | 11 | 0.034889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-17_0_3_line_14 |  | 9 | 12 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6644-17_0_3_line_15 |  | 11 | 22 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-17_0_3_line_16 |  | 11 | 16 | 0.076391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6644-17_0_3_line_17 |  | 12 | 52 | 0.042424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6644-17_0_3_line_18 |  | 12 | 54 | 0.003745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-17_0_3_line_19 |  | 13 | 14 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6644-17_0_3_line_20 |  | 13 | 15 | 0.1466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6644-17_0_3_line_21 |  | 13 | 16 | 0.098407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-17_0_3_line_22 |  | 15 | 17 | 0.033117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6644-17_0_3_line_23 |  | 15 | 18 | 0.036182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-17_0_3_line_24 |  | 16 | 19 | 0.043717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6644-17_0_3_line_25 |  | 16 | 20 | 0.032412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6644-17_0_3_line_26 |  | 19 | 57 | 0.017345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6644-17_0_3_line_27 |  | 21 | 58 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-17_0_3_line_28 |  | 23 | 33 | 0.051682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6644-17_0_3_line_29 |  | 24 | 25 | 0.053129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-17_0_3_line_30 |  | 24 | 26 | 0.026532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6644-17_0_3_line_31 |  | 24 | 27 | 0.0083948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-17_0_3_line_32 |  | 25 | 33 | 0.011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-17_0_3_line_33 |  | 25 | 28 | 0.0088768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-17_0_3_line_34 |  | 26 | 36 | 0.031632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-17_0_3_line_35 |  | 28 | 29 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-17_0_3_line_36 |  | 29 | 38 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-17_0_3_line_37 |  | 30 | 31 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-17_0_3_line_38 |  | 30 | 32 | 0.03103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-17_0_3_line_39 |  | 32 | 63 | 0.027663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-17_0_3_line_40 |  | 34 | 35 | 0.032108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6644-17_0_3_line_41 |  | 34 | 36 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6644-17_0_3_line_42 |  | 35 | 51 | 0.014951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-17_0_3_line_43 |  | 37 | 38 | 0.012409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-17_0_3_line_44 |  | 37 | 39 | 0.04703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-17_0_3_line_45 |  | 37 | 40 | 0.0088664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-17_0_3_line_46 |  | 39 | 48 | 0.002865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-17_0_3_line_47 |  | 39 | 49 | 0.0090462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-17_0_3_line_48 |  | 40 | 67 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6644-17_0_3_line_49 |  | 41 | 42 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6644-17_0_3_line_50 |  | 41 | 43 | 0.024492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6644-17_0_3_line_51 |  | 41 | 44 | 0.005809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-17_0_3_line_52 |  | 41 | 45 | 0.033433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6644-17_0_3_line_53 |  | 42 | 68 | 0.037927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-17_0_3_line_54 |  | 43 | 69 | 0.00093049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-17_0_3_line_55 |  | 44 | 46 | 0.029831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-17_0_3_line_56 |  | 44 | 47 | 0.033351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-17_0_3_line_57 |  | 45 | 60 | 0.028251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6644-17_0_3_line_58 |  | 46 | 70 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6644-17_0_3_line_59 |  | 49 | 71 | 0.012015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6644-17_0_3_line_60 |  | 50 | 53 | 6.6536e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-17_0_3_line_61 |  | 54 | 77 | 0.004784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-17_0_3_line_62 |  | 54 | 76 | 0.086998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-17_0_3_line_63 |  | 55 | 56 | 0.020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6644-17_0_3_line_64 |  | 56 | 79 | 0.021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-17_0_3_line_65 |  | 58 | 80 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6644-17_0_3_line_66 |  | 59 | 60 | 0.026149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-17_0_3_line_67 |  | 61 | 62 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6644-17_0_3_line_68 |  | 61 | 63 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6644-17_0_3_line_69 |  | 62 | 100 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6644-17_0_3_line_70 |  | 62 | 97 | 0.022293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6644-17_0_3_line_71 |  | 63 | 70 | 0.020287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6644-17_0_3_line_72 |  | 64 | 65 | 0.000881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6644-17_0_3_line_73 |  | 64 | 66 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6644-17_0_3_line_74 |  | 66 | 97 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6644-17_0_3_line_75 |  | 67 | 99 | 0.02056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6644-17_0_3_line_76 |  | 68 | 88 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6644-17_0_3_line_77 |  | 69 | 96 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6644-17_0_3_line_78 |  | 72 | 73 | 0.062897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6644-17_0_3_line_79 |  | 72 | 74 | 0.037853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6644-17_0_3_line_80 |  | 74 | 79 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6644-17_0_3_line_81 |  | 74 | 80 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6644-17_0_3_line_82 |  | 75 | 76 | 0.010662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6644-17_0_3_line_83 |  | 77 | 78 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6644-17_0_3_line_84 |  | 81 | 82 | 0.010712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6644-17_0_3_line_85 |  | 81 | 83 | 0.048096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6644-17_0_3_line_86 |  | 82 | 84 | 0.018899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6644-17_0_3_line_87 |  | 82 | 85 | 0.0046706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6644-17_0_3_line_88 |  | 83 | 86 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6644-17_0_3_line_89 |  | 84 | 87 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6644-17_0_3_line_90 |  | 85 | 88 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6644-17_0_3_line_91 |  | 87 | 89 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6644-17_0_3_line_92 |  | 89 | 103 | 0.016419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6644-17_0_3_line_93 |  | 90 | 91 | 0.0047537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6644-17_0_3_line_94 |  | 90 | 92 | 0.0033458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6644-17_0_3_line_95 |  | 91 | 93 | 0.027397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6644-17_0_3_line_96 |  | 92 | 94 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6644-17_0_3_line_97 |  | 94 | 95 | 0.010723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6644-17_0_3_line_98 |  | 95 | 96 | 0.0045381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6644-17_0_3_line_99 |  | 97 | 98 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6644-17_0_3_line_100 |  | 98 | 99 | 0.012462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6644-17_0_3_line_101 |  | 99 | 101 | 0.0094691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6644-17_0_3_line_102 |  | 101 | 102 | 0.00040284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-17_0_3_trafo_12 | 0.63 MVA 20/0.4 kV | 104 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2501474.8815 | 1126972.4431 | 2501467.8193 | 1126968.0778 | 2501472.0175 | 1126956.0027
1 | 2501464.2599 | 1126999.3441 | 2501474.8815 | 1126972.4431
2 | 2501437.7696 | 1127048.5179 | 2501439.1214 | 1127048.6959 | 2501441.176 | 1127048.9626 | 2501443.2237 | 1127048.3399 | 2501444.7115 | 1127046.937 | 2501448.7144 | 1127037.1767 | 2501462.5019 | 1127003.5532 | 2501464.2599 | 1126999.3441
3 | 2501464.2599 | 1126999.3441 | 2501460.5323 | 1126997.6372 | 2501459.4974 | 1126995.6195 | 2501466.0947 | 1126974.8079
4 | 2501437.7696 | 1127048.5179 | 2501437.9225 | 1127046.0805 | 2501437.3714 | 1127039.7078 | 2501435.095 | 1127018.3856
5 | 2501437.6738 | 1127053.5114 | 2501437.7696 | 1127048.5179
6 | 2501464.9703 | 1127049.9528 | 2501461.1501 | 1127049.1813 | 2501459.1355 | 1127055.14 | 2501490.3632 | 1127054.9083 | 2501490.3771 | 1127059.0662
7 | 2501437.6738 | 1127053.5114 | 2501445.9626 | 1127054.1655 | 2501451.7374 | 1127055.2163 | 2501459.1355 | 1127055.14 | 2501461.1501 | 1127049.1813 | 2501464.9703 | 1127049.9528
8 | 2501464.9703 | 1127049.9528 | 2501468.9604 | 1127050.7437 | 2501476.4233 | 1127050.8554 | 2501478.9109 | 1127048.8469 | 2501484.9924 | 1127048.8178
9 | 2501490.3771 | 1127059.0662 | 2501490.4675 | 1127079.2439
10 | 2501437.6738 | 1127053.5114 | 2501436.2779 | 1127058.1815 | 2501437.2809 | 1127063.4351 | 2501440.9252 | 1127064.7653 | 2501446.4535 | 1127066.7653 | 2501439.2446 | 1127082.6816
11 | 2501503.0839 | 1127048.731 | 2501484.9924 | 1127048.8178
12 | 2501555.6561 | 1127045.994 | 2501555.6123 | 1127050.3974
13 | 2501555.6123 | 1127050.3974 | 2501559.7814 | 1127050.3516 | 2501590.4998 | 1127050.0843
14 | 2501545.5078 | 1127048.5276 | 2501546.1861 | 1127048.5276 | 2501548.8304 | 1127050.4524 | 2501555.6123 | 1127050.3974
15 | 2501590.6761 | 1127039.6194 | 2501590.5848 | 1127044.8908 | 2501590.4998 | 1127050.0843
16 | 2501590.4998 | 1127050.0843 | 2501592.3343 | 1127050.0877 | 2501592.37 | 1127054.1675 | 2501592.3906 | 1127059.2147 | 2501630.0202 | 1127059.2574 | 2501627.7906 | 1127078.0497 | 2501624.3786 | 1127086.2437
17 | 2501545.5078 | 1127048.5276 | 2501503.0839 | 1127048.731
18 | 2501545.5078 | 1127048.5276 | 2501543.9569 | 1127045.1174
19 | 2501691.3635 | 1127073.3341 | 2501691.3622 | 1127059.0586
20 | 2501691.3622 | 1127059.0586 | 2501695.8018 | 1127059.053 | 2501738.5785 | 1127059.0014 | 2501742.4784 | 1127058.9936 | 2501743.0937 | 1127108.1584 | 2501741.4736 | 1127118.9581 | 2501715.9657 | 1127119.2177 | 2501709.9393 | 1127118.3263 | 2501706.2344 | 1127117.5305
21 | 2501624.3786 | 1127086.2437 | 2501627.7906 | 1127078.0497 | 2501630.0202 | 1127059.2574 | 2501630.6303 | 1127054.1331 | 2501646.5938 | 1127054.1843 | 2501664.3376 | 1127054.2288 | 2501669.4482 | 1127054.2568 | 2501691.3626 | 1127054.3446 | 2501691.3622 | 1127059.0586
22 | 2501706.2344 | 1127117.5305 | 2501701.1342 | 1127115.301 | 2501694.855 | 1127111.6676 | 2501694.6632 | 1127091.3725
23 | 2501706.2344 | 1127117.5305 | 2501706.3106 | 1127084.3421 | 2501703.3178 | 1127084.4079
24 | 2501598.8148 | 1127112.3985 | 2501613.1006 | 1127112.6215 | 2501618.979 | 1127106.3218 | 2501622.0349 | 1127091.8854 | 2501624.3786 | 1127086.2437
25 | 2501624.3786 | 1127086.2437 | 2501620.7502 | 1127085.8915 | 2501619.9671 | 1127085.604 | 2501619.3851 | 1127084.8909 | 2501616.7941 | 1127074.8824 | 2501616.2593 | 1127073.7571 | 2501615.4804 | 1127073.2584 | 2501600.9779 | 1127073.2402
26 | 2501598.8148 | 1127112.3985 | 2501598.7583 | 1127129.7435
27 | 2501490.4675 | 1127079.2439 | 2501490.5378 | 1127099.6035
28 | 2501439.2446 | 1127082.6816 | 2501430.1464 | 1127103.732 | 2501423.8408 | 1127120.6787 | 2501420.2094 | 1127130.7098
29 | 2501416.3627 | 1127141.3358 | 2501417.7811 | 1127141.824 | 2501419.9414 | 1127145.2576 | 2501420.2996 | 1127146.8972 | 2501415.9714 | 1127162.2106 | 2501411.2578 | 1127177.0523 | 2501422.8056 | 1127185.6692
30 | 2501407.0067 | 1127190.9525 | 2501417.9715 | 1127194.5424 | 2501422.0772 | 1127195.8096 | 2501423.2374 | 1127191.8104 | 2501422.6066 | 1127190.9423 | 2501422.1729 | 1127189.871 | 2501422.0912 | 1127188.1713 | 2501422.4828 | 1127186.6639 | 2501422.8056 | 1127185.6692
31 | 2501422.8056 | 1127185.6692 | 2501424.6448 | 1127183.1265 | 2501426.2232 | 1127181.6109 | 2501427.4503 | 1127180.7681 | 2501428.6278 | 1127179.7149
32 | 2501416.3627 | 1127141.3358 | 2501420.2094 | 1127130.7098
33 | 2501416.3627 | 1127141.3358 | 2501411.4854 | 1127139.5476 | 2501408.198 | 1127137.8891
34 | 2501407.0067 | 1127190.9525 | 2501405.5524 | 1127195.3456 | 2501405.2432 | 1127196.7071 | 2501405.5598 | 1127198.1584 | 2501405.719 | 1127199.4121 | 2501405.3543 | 1127200.6744 | 2501398.0747 | 1127220.9525
35 | 2501408.198 | 1127137.8891 | 2501406.5962 | 1127137.0258 | 2501404.5407 | 1127135.2916 | 2501402.1484 | 1127132.7513 | 2501400.118 | 1127131.1279 | 2501397.6814 | 1127129.6557 | 2501393.2568 | 1127127.5165
36 | 2501382.0955 | 1127120.6156 | 2501385.5292 | 1127122.7386 | 2501387.7496 | 1127124.1922 | 2501389.7987 | 1127125.5374 | 2501392.4762 | 1127127.1391 | 2501393.2568 | 1127127.5165
37 | 2501275.4608 | 1127168.2203 | 2501252.5525 | 1127166.0993
38 | 2501275.4608 | 1127168.2203 | 2501276.0233 | 1127162.0851 | 2501276.5472 | 1127156.4174 | 2501277.8801 | 1127137.2866
39 | 2501279.8065 | 1127109.6908 | 2501278.4324 | 1127129.3588 | 2501277.8801 | 1127137.2866
40 | 2501390.588 | 1127241.8076 | 2501410.4696 | 1127248.6651 | 2501416.0891 | 1127250.5968 | 2501419.4545 | 1127251.3756 | 2501421.0873 | 1127251.7715
41 | 2501390.588 | 1127241.8076 | 2501398.0747 | 1127220.9525
42 | 2501421.0873 | 1127251.7715 | 2501426.5791 | 1127237.8621
43 | 2501382.0955 | 1127120.6156 | 2501381.2622 | 1127120.0956 | 2501378.3683 | 1127118.931 | 2501375.2009 | 1127118.0155 | 2501370.1761 | 1127117.575
44 | 2501370.1761 | 1127117.575 | 2501373.5415 | 1127080.6083 | 2501363.6958 | 1127079.4795
45 | 2501370.1761 | 1127117.575 | 2501361.3441 | 1127116.7941
46 | 2501363.6958 | 1127079.4795 | 2501363.973 | 1127076.6287
47 | 2501363.6958 | 1127079.4795 | 2501354.7078 | 1127078.4554
48 | 2501347.6759 | 1127115.5856 | 2501361.3441 | 1127116.7941
49 | 2501286.6643 | 1127033.2091 | 2501288.6089 | 1127013.4084
50 | 2501286.6643 | 1127033.2091 | 2501271.3345 | 1127031.8477 | 2501262.3281 | 1127030.5357
51 | 2501286.6643 | 1127033.2091 | 2501286.0483 | 1127037.4885 | 2501285.8411 | 1127038.9595
52 | 2501286.6643 | 1127033.2091 | 2501319.8041 | 1127037.6244
53 | 2501292.3158 | 1126975.6633 | 2501288.6089 | 1127013.4084
54 | 2501261.4074 | 1127030.4015 | 2501261.5223 | 1127030.4183 | 2501262.3281 | 1127030.5357
55 | 2501285.8411 | 1127038.9595 | 2501284.8927 | 1127045.5346 | 2501283.0601 | 1127068.6498
56 | 2501285.8411 | 1127038.9595 | 2501291.2331 | 1127040.6391 | 2501295.1293 | 1127044.6445 | 2501296.1205 | 1127048.6975 | 2501295.2666 | 1127066.6206
57 | 2501319.8041 | 1127037.6244 | 2501333.1196 | 1127039.3984 | 2501347.8093 | 1127041.3443
58 | 2501281.4098 | 1127089.4669 | 2501283.0601 | 1127068.6498
59 | 2501345.865 | 1127074.5787 | 2501345.6031 | 1127077.4181 | 2501354.7078 | 1127078.4554
60 | 2501435.095 | 1127018.3856 | 2501435.0879 | 1127018.3195
61 | 2501543.9569 | 1127045.1174 | 2501539.173 | 1127045.1037
62 | 2501504.1632 | 1127012.1124 | 2501540.444 | 1127012.1432 | 2501545.408 | 1127012.1623 | 2501551.6056 | 1127012.1946 | 2501551.3758 | 1127043.9513 | 2501550.8149 | 1127044.5275 | 2501550.1051 | 1127044.9616 | 2501549.1751 | 1127045.1213 | 2501543.9569 | 1127045.1174
63 | 2501487.5978 | 1127207.1882 | 2501487.616 | 1127186.5004
64 | 2501487.616 | 1127186.5004 | 2501487.6354 | 1127164.546
65 | 2501490.6052 | 1127119.1229 | 2501490.5378 | 1127099.6035
66 | 2501373.7296 | 1127044.7954 | 2501350.0052 | 1127041.6351 | 2501347.8093 | 1127041.3443
67 | 2501293.6058 | 1127110.7993 | 2501318.6686 | 1127113.0134
68 | 2501279.8065 | 1127109.6908 | 2501293.6058 | 1127110.7993
69 | 2501303.1056 | 1127099.7261 | 2501316.7451 | 1127108.9757 | 2501318.3016 | 1127109.4172 | 2501318.8329 | 1127110.3313 | 2501318.6686 | 1127113.0134
70 | 2501323.2486 | 1127129.6155 | 2501324.8051 | 1127113.5579 | 2501318.6686 | 1127113.0134
71 | 2501279.8065 | 1127109.6908 | 2501281.4098 | 1127089.4669
72 | 2501308.4313 | 1127146.3902 | 2501308.4863 | 1127145.511
73 | 2501308.4863 | 1127145.511 | 2501309.4902 | 1127128.6508
74 | 2501323.2486 | 1127129.6155 | 2501309.4902 | 1127128.6508
75 | 2501347.6759 | 1127115.5856 | 2501346.0993 | 1127136.0796
76 | 2501293.4516 | 1126964.0975 | 2501292.8226 | 1126970.503 | 2501292.3158 | 1126975.6633
77 | 2501249.4371 | 1127028.6764 | 2501253.8502 | 1127029.2986 | 2501261.4074 | 1127030.4015
78 | 2501458.7264 | 1127159.4557 | 2501461.3753 | 1127171.1086 | 2501465.2778 | 1127184.9535 | 2501462.5319 | 1127209.8582 | 2501464.8182 | 1127214.8796 | 2501465.2395 | 1127220.8542
79 | 2501458.7264 | 1127159.4557 | 2501471.498 | 1127151.4424 | 2501474.1608 | 1127147.8857 | 2501479.5308 | 1127145.3966 | 2501490.6764 | 1127139.7557
80 | 2501490.6764 | 1127139.7557 | 2501487.6504 | 1127147.4988 | 2501487.6354 | 1127164.546
81 | 2501490.6764 | 1127139.7557 | 2501490.6052 | 1127119.1229
82 | 2501504.1632 | 1127012.1124 | 2501504.1434 | 1127001.4506
83 | 2501524.8332 | 1127045.0624 | 2501539.173 | 1127045.1037
84 | 2501295.7564 | 1126940.6254 | 2501296.0193 | 1126938.3197 | 2501296.6794 | 1126932.4942 | 2501296.9636 | 1126929.9815
85 | 2501301.1585 | 1126882.1009 | 2501301.0999 | 1126883.7029 | 2501301.0382 | 1126885.5828 | 2501300.6056 | 1126897.7863 | 2501296.9636 | 1126929.9815
86 | 2501295.7564 | 1126940.6254 | 2501300.3805 | 1126941.0613 | 2501314.5737 | 1126942.3793
87 | 2501295.7564 | 1126940.6254 | 2501295.3 | 1126945.2736
88 | 2501301.1585 | 1126882.1009 | 2501320.8971 | 1126883.7932
89 | 2501333.3062 | 1126944.119 | 2501332.957 | 1126944.0865 | 2501314.5737 | 1126942.3793
90 | 2501293.4516 | 1126964.0975 | 2501295.3 | 1126945.2736
91 | 2501333.3062 | 1126944.119 | 2501360.3713 | 1126946.6347
92 | 2501376.7193 | 1126948.1633 | 2501372.9365 | 1126947.8026 | 2501360.3713 | 1126946.6347
93 | 2501215.7028 | 1127023.9229 | 2501210.9956 | 1127023.2597
94 | 2501215.7028 | 1127023.9229 | 2501219.0159 | 1127024.3896
95 | 2501210.9956 | 1127023.2597 | 2501198.4967 | 1127021.4989 | 2501183.8437 | 1127019.6097
96 | 2501234.3246 | 1127026.5478 | 2501225.5129 | 1127025.3038 | 2501222.6777 | 1127024.9055 | 2501219.0159 | 1127024.3896
97 | 2501244.9434 | 1127028.043 | 2501239.9288 | 1127027.3361 | 2501234.8995 | 1127026.629 | 2501234.3246 | 1127026.5478
98 | 2501249.4371 | 1127028.6764 | 2501244.9434 | 1127028.043
99 | 2501323.2486 | 1127129.6155 | 2501332.1995 | 1127130.2364 | 2501334.018 | 1127130.6736 | 2501333.6362 | 1127135.1382
100 | 2501333.6362 | 1127135.1382 | 2501346.0993 | 1127136.0796
101 | 2501346.0993 | 1127136.0796 | 2501345.6286 | 1127142.18 | 2501344.3846 | 1127145.2911 | 2501344.3846 | 1127145.2911
102 | 2501344.0431 | 1127145.5048 | 2501344.3846 | 1127145.2911

## bus_geodata
| x | y | coords
0 | 2501472.0175 | 1126956.0027
1 | 2501474.8815 | 1126972.4431
2 | 2501464.2599 | 1126999.3441
3 | 2501437.7696 | 1127048.5179
4 | 2501466.0947 | 1126974.8079
5 | 2501464.9703 | 1127049.9528
6 | 2501490.3771 | 1127059.0662
7 | 2501437.6738 | 1127053.5114
8 | 2501484.9924 | 1127048.8178
9 | 2501555.6123 | 1127050.3974
10 | 2501555.6561 | 1127045.994
11 | 2501590.4998 | 1127050.0843
12 | 2501545.5078 | 1127048.5276
13 | 2501691.3622 | 1127059.0586
14 | 2501691.3635 | 1127073.3341
15 | 2501706.2344 | 1127117.5305
16 | 2501624.3786 | 1127086.2437
17 | 2501694.6632 | 1127091.3725
18 | 2501703.3178 | 1127084.4079
19 | 2501598.8148 | 1127112.3985
20 | 2501600.9779 | 1127073.2402
21 | 2501490.4675 | 1127079.2439
22 | 2501590.6761 | 1127039.6194
23 | 2501439.2446 | 1127082.6816
24 | 2501422.8056 | 1127185.6692
25 | 2501416.3627 | 1127141.3358
26 | 2501407.0067 | 1127190.9525
27 | 2501428.6278 | 1127179.7149
28 | 2501408.198 | 1127137.8891
29 | 2501393.2568 | 1127127.5165
30 | 2501275.4608 | 1127168.2203
31 | 2501252.5525 | 1127166.0993
32 | 2501277.8801 | 1127137.2866
33 | 2501420.2094 | 1127130.7098
34 | 2501390.588 | 1127241.8076
35 | 2501421.0873 | 1127251.7715
36 | 2501398.0747 | 1127220.9525
37 | 2501370.1761 | 1127117.575
38 | 2501382.0955 | 1127120.6156
39 | 2501363.6958 | 1127079.4795
40 | 2501361.3441 | 1127116.7941
41 | 2501286.6643 | 1127033.2091
42 | 2501288.6089 | 1127013.4084
43 | 2501262.3281 | 1127030.5357
44 | 2501285.8411 | 1127038.9595
45 | 2501319.8041 | 1127037.6244
46 | 2501283.0601 | 1127068.6498
47 | 2501295.2666 | 1127066.6206
48 | 2501363.973 | 1127076.6287
49 | 2501354.7078 | 1127078.4554
50 | 2501435.095 | 1127018.3856
51 | 2501426.5791 | 1127237.8621
52 | 2501503.0839 | 1127048.731
53 | 2501435.0879 | 1127018.3195
54 | 2501543.9569 | 1127045.1174
55 | 2501487.5978 | 1127207.1882
56 | 2501487.616 | 1127186.5004
57 | 2501598.7583 | 1127129.7435
58 | 2501490.5378 | 1127099.6035
59 | 2501373.7296 | 1127044.7954
60 | 2501347.8093 | 1127041.3443
61 | 2501293.6058 | 1127110.7993
62 | 2501318.6686 | 1127113.0134
63 | 2501279.8065 | 1127109.6908
64 | 2501308.4863 | 1127145.511
65 | 2501308.4313 | 1127146.3902
66 | 2501309.4902 | 1127128.6508
67 | 2501347.6759 | 1127115.5856
68 | 2501292.3158 | 1126975.6633
69 | 2501261.4074 | 1127030.4015
70 | 2501281.4098 | 1127089.4669
71 | 2501345.865 | 1127074.5787
72 | 2501458.7264 | 1127159.4557
73 | 2501465.2395 | 1127220.8542
74 | 2501490.6764 | 1127139.7557
75 | 2501504.1434 | 1127001.4506
76 | 2501504.1632 | 1127012.1124
77 | 2501539.173 | 1127045.1037
78 | 2501524.8332 | 1127045.0624
79 | 2501487.6354 | 1127164.546
80 | 2501490.6052 | 1127119.1229
81 | 2501296.9636 | 1126929.9815
82 | 2501295.7564 | 1126940.6254
83 | 2501301.1585 | 1126882.1009
84 | 2501314.5737 | 1126942.3793
85 | 2501295.3 | 1126945.2736
86 | 2501320.8971 | 1126883.7932
87 | 2501333.3062 | 1126944.119
88 | 2501293.4516 | 1126964.0975
89 | 2501360.3713 | 1126946.6347
90 | 2501215.7028 | 1127023.9229
91 | 2501210.9956 | 1127023.2597
92 | 2501219.0159 | 1127024.3896
93 | 2501183.8437 | 1127019.6097
94 | 2501234.3246 | 1127026.5478
95 | 2501244.9434 | 1127028.043
96 | 2501249.4371 | 1127028.6764
97 | 2501323.2486 | 1127129.6155
98 | 2501333.6362 | 1127135.1382
99 | 2501346.0993 | 1127136.0796
100 | 2501303.1056 | 1127099.7261
101 | 2501344.3846 | 1127145.2911
102 | 2501344.0431 | 1127145.5048
103 | 2501376.7193 | 1126948.1633
104 | 2501490.3632 | 1127054.9083

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1