## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6644-18_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6644-18_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6644-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6644-18_0_5_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_6644-18_0_5_node_65 | 0.4 | n |  | TRUE
7 | bus_LV_6644-18_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6644-18_0_5_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_6644-18_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6644-18_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6644-18_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6644-18_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6644-18_0_5_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_6644-18_0_5_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_6644-18_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6644-18_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6644-18_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6644-18_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6644-18_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6644-18_0_5_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_6644-18_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6644-18_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6644-18_0_5_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_6644-18_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6644-18_0_5_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_6644-18_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_6644-18_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_6644-18_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6644-18_0_5_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_6644-18_0_5_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6644-18_0_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_6644-18_0_5_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_6644-18_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_6644-18_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6644-18_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6644-18_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_6644-18_0_5_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6644-18_0_5_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_6644-18_0_5_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6644-18_0_5_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_6644-18_0_5_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_6644-18_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6644-18_0_5_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_6644-18_0_5_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_6644-18_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_6644-18_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6644-18_0_5_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_6644-18_0_5_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_6644-18_0_5_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_6644-18_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_6644-18_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_6644-18_0_5_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_6644-18_0_5_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_6644-18_0_5_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_6644-18_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6644-18_0_5_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6644-18_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_6644-18_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6644-18_0_5_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6644-18_0_5_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6644-18_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6644-18_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_6644-18_0_5_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_6644-18_0_5_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6644-18_0_5_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_6644-18_0_5_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_6644-18_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_6644-18_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6644-18_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_MV_461_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-18_0_5_load_0 | 0 | 0.024874 | 0.006234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-18_0_5_load_1 | 1 | 0.0050695 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-18_0_5_load_3 | 3 | 0.0050855 | 0.0012746 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-18_0_5_load_4 | 4 | 0.024874 | 0.0062341 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-18_0_5_load_30 | 5 | 0.0050855 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-18_0_5_load_65 | 6 | 0.022671 | 0.005682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-18_0_5_load_5 | 7 | 0.022145 | 0.00555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-18_0_5_load_6 | 9 | 0.01174 | 0.0029423 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-18_0_5_load_7 | 10 | 0.0099839 | 0.0025022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-18_0_5_load_8 | 11 | 0.0089852 | 0.0022519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-18_0_5_load_9 | 12 | 0.0029024 | 0.00072742 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-18_0_5_load_38 | 13 | 0.0029337 | 0.00073526 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-18_0_5_load_36 | 14 | 0.0039638 | 0.00099341 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-18_0_5_load_10 | 15 | 0.0086507 | 0.0021681 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-18_0_5_load_11 | 16 | 0.0064313 | 0.0016118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-18_0_5_load_13 | 18 | 0.016681 | 0.0041806 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-18_0_5_load_37 | 20 | 0.003924 | 0.00098346 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-18_0_5_load_66 | 23 | 0.0050695 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-18_0_5_load_45 | 25 | 0.0080515 | 0.0020179 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-18_0_5_load_61 | 26 | 0.0079278 | 0.0019869 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-18_0_5_load_20 | 28 | 0.00507 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-18_0_5_load_52 | 29 | 0.0078479 | 0.0019669 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-18_0_5_load_53 | 30 | 0.0079439 | 0.0019909 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-18_0_5_load_43 | 31 | 0.0064276 | 0.0016109 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-18_0_5_load_62 | 32 | 0.008093 | 0.0020283 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-18_0_5_load_33 | 34 | 0.0081518 | 0.002043 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-18_0_5_load_26 | 35 | 0.008529 | 0.0021376 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-18_0_5_load_58 | 38 | 0.0034443 | 0.00086323 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-18_0_5_load_72 | 41 | 0.0010732 | 0.00026896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-18_0_5_load_32 | 42 | 0.0075243 | 0.0018858 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-18_0_5_load_19 | 43 | 0.0039874 | 0.00099933 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-18_0_5_load_21 | 44 | 0.0050676 | 0.0012701 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-18_0_5_load_23 | 45 | 0.013506 | 0.0033849 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-18_0_5_load_29 | 46 | 0.013511 | 0.0033861 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-18_0_5_load_64 | 47 | 0.0083401 | 0.0020902 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-18_0_5_load_24 | 48 | 0.00964 | 0.002416 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-18_0_5_load_25 | 49 | 0.0081198 | 0.002035 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-18_0_5_load_70 | 53 | 0.0097445 | 0.0024422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-18_0_5_load_69 | 54 | 0.0097445 | 0.0024422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-18_0_5_load_40 | 57 | 0.056277 | 0.014104 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-18_0_5_load_48 | 59 | 0.0097492 | 0.0024434 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-18_0_5_load_46 | 60 | 0.009746 | 0.0024426 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-18_0_5_load_60 | 61 | 0.0041237 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-18_0_5_load_57 | 62 | 0.00392 | 0.00098245 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-18_0_5_load_67 | 63 | 0.0071292 | 0.0017867 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-18_0_5_load_55 | 64 | 0.0066898 | 0.0016766 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-18_0_5_load_39 | 65 | 0.057737 | 0.01447 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-18_0_5_load_71 | 67 | 0.0097438 | 0.002442 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-18_0_5_load_59 | 68 | 0.018186 | 0.0045579 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-18_0_5_load_54 | 69 | 0.0079138 | 0.0019834 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-18_0_5_line_0 |  | 0 | 1 | 0.075404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-18_0_5_line_1 |  | 1 | 2 | 0.053814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-18_0_5_line_2 |  | 2 | 3 | 0.022791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-18_0_5_line_3 |  | 2 | 4 | 0.063258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6644-18_0_5_line_4 |  | 3 | 5 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-18_0_5_line_5 |  | 4 | 6 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-18_0_5_line_6 |  | 5 | 8 | 0.020406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6644-18_0_5_line_7 |  | 6 | 7 | 0.074459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-18_0_5_line_8 |  | 8 | 23 | 0.054418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6644-18_0_5_line_9 |  | 8 | 19 | 0.040058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-18_0_5_line_10 |  | 9 | 10 | 0.013077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-18_0_5_line_11 |  | 9 | 11 | 0.011577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6644-18_0_5_line_12 |  | 10 | 12 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-18_0_5_line_13 |  | 12 | 13 | 0.012005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-18_0_5_line_14 |  | 13 | 14 | 0.0041384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6644-18_0_5_line_15 |  | 14 | 20 | 0.0085394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-18_0_5_line_16 |  | 15 | 16 | 0.018806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6644-18_0_5_line_17 |  | 16 | 17 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6644-18_0_5_line_18 |  | 17 | 18 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-18_0_5_line_19 |  | 17 | 19 | 0.077315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6644-18_0_5_line_20 |  | 19 | 20 | 0.013911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6644-18_0_5_line_21 |  | 21 | 22 | 0.037397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6644-18_0_5_line_22 |  | 21 | 23 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_6644-18_0_5_line_23 |  | 22 | 27 | 0.009385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_6644-18_0_5_line_24 |  | 22 | 28 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_6644-18_0_5_line_25 |  | 24 | 25 | 0.0028991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_6644-18_0_5_line_26 |  | 24 | 26 | 0.016427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6644-18_0_5_line_27 |  | 25 | 31 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6644-18_0_5_line_28 |  | 26 | 32 | 0.019574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6644-18_0_5_line_29 |  | 27 | 47 | 0.021818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-18_0_5_line_30 |  | 27 | 32 | 0.032554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_6644-18_0_5_line_31 |  | 28 | 43 | 0.014207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6644-18_0_5_line_32 |  | 29 | 30 | 0.017559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-18_0_5_line_33 |  | 30 | 69 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-18_0_5_line_34 |  | 31 | 66 | 0.052816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6644-18_0_5_line_35 |  | 33 | 34 | 0.047809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-18_0_5_line_36 |  | 33 | 35 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-18_0_5_line_37 |  | 34 | 42 | 0.020066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-18_0_5_line_38 |  | 35 | 48 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-18_0_5_line_39 |  | 36 | 37 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-18_0_5_line_40 |  | 36 | 38 | 0.0080702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6644-18_0_5_line_41 |  | 37 | 40 | 0.32808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6644-18_0_5_line_42 |  | 37 | 61 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-18_0_5_line_43 |  | 38 | 62 | 0.011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-18_0_5_line_44 |  | 39 | 40 | 0.038861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-18_0_5_line_45 |  | 39 | 41 | 0.009193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-18_0_5_line_46 |  | 40 | 64 | 0.012788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-18_0_5_line_47 |  | 43 | 44 | 0.0022725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6644-18_0_5_line_48 |  | 44 | 45 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6644-18_0_5_line_49 |  | 45 | 46 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6644-18_0_5_line_50 |  | 48 | 49 | 0.024559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6644-18_0_5_line_51 |  | 49 | 50 | 0.0083859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-18_0_5_line_52 |  | 50 | 51 | 0.051626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6644-18_0_5_line_53 |  | 50 | 52 | 0.049386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-18_0_5_line_54 |  | 51 | 53 | 0.02543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6644-18_0_5_line_55 |  | 51 | 54 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-18_0_5_line_56 |  | 52 | 63 | 0.009344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-18_0_5_line_57 |  | 53 | 67 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6644-18_0_5_line_58 |  | 55 | 56 | 0.066506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6644-18_0_5_line_59 |  | 55 | 57 | 0.0089705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6644-18_0_5_line_60 |  | 56 | 62 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-18_0_5_line_61 |  | 56 | 58 | 0.085306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6644-18_0_5_line_62 |  | 57 | 65 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6644-18_0_5_line_63 |  | 58 | 59 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6644-18_0_5_line_64 |  | 58 | 60 | 0.0036349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-18_0_5_line_65 |  | 59 | 67 | 0.017634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6644-18_0_5_line_66 |  | 61 | 68 | 0.006038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-18_0_5_line_67 |  | 63 | 69 | 0.019587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6644-18_0_5_line_68 |  | 65 | 66 | 0.07067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-18_0_5_trafo_29 | 0.63 MVA 20/0.4 kV | 70 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2501652.1394 | 1127226.9646 | 2501648.271 | 1127263.0974 | 2501679.6191 | 1127262.7535 | 2501679.7409 | 1127255.0398
1 | 2501680.5902 | 1127201.233 | 2501679.7409 | 1127255.0398
2 | 2501680.5902 | 1127201.233 | 2501703.3811 | 1127201.1196
3 | 2501680.5902 | 1127201.233 | 2501680.8738 | 1127172.266 | 2501657.9507 | 1127172.6838 | 2501656.7411 | 1127183.9822
4 | 2501721.1458 | 1127201.0312 | 2501703.3811 | 1127201.1196
5 | 2501656.7411 | 1127183.9822 | 2501654.519 | 1127204.7373
6 | 2501741.5515 | 1127200.9297 | 2501721.1458 | 1127201.0312
7 | 2501654.519 | 1127204.7373 | 2501648.271 | 1127263.0974 | 2501664.0355 | 1127262.9244
8 | 2501741.5515 | 1127200.9297 | 2501741.5902 | 1127225.0885 | 2501741.6013 | 1127232.4039 | 2501741.6106 | 1127236.762 | 2501741.6382 | 1127255.3479
9 | 2501741.5515 | 1127200.9297 | 2501741.5933 | 1127160.882
10 | 2501678.6956 | 1127163.3365 | 2501691.7631 | 1127162.8266
11 | 2501678.6956 | 1127163.3365 | 2501667.1274 | 1127163.7879
12 | 2501703.0283 | 1127162.387 | 2501691.7631 | 1127162.8266
13 | 2501703.0283 | 1127162.387 | 2501715.0246 | 1127161.9188
14 | 2501719.1599 | 1127161.7575 | 2501715.0246 | 1127161.9188
15 | 2501719.1599 | 1127161.7575 | 2501727.6928 | 1127161.4245
16 | 2501706.3106 | 1127084.3421 | 2501706.3106 | 1127084.3421 | 2501706.2674 | 1127103.1476
17 | 2501706.2344 | 1127117.5305 | 2501706.2674 | 1127103.1476
18 | 2501706.2344 | 1127117.5305 | 2501701.1342 | 1127115.301 | 2501694.855 | 1127111.6676 | 2501694.8028 | 1127106.1438
19 | 2501706.2344 | 1127117.5305 | 2501709.9393 | 1127118.3263 | 2501715.9657 | 1127119.2177 | 2501741.4736 | 1127118.9581 | 2501741.5933 | 1127160.882
20 | 2501741.5933 | 1127160.882 | 2501727.6928 | 1127161.4245
21 | 2501741.5932 | 1127274.519 | 2501741.5337 | 1127298.8016 | 2501741.5174 | 1127304.9056 | 2501741.1148 | 1127311.8943
22 | 2501741.5932 | 1127274.519 | 2501741.6575 | 1127269.9484 | 2501741.6562 | 1127267.5025 | 2501741.6382 | 1127255.3479
23 | 2501737.9975 | 1127320.6727 | 2501739.4975 | 1127314.8113 | 2501741.1148 | 1127311.8943
24 | 2501741.1148 | 1127311.8943 | 2501737.2738 | 1127308.4102 | 2501733.3541 | 1127307.1954 | 2501720.2709 | 1127307.1952
25 | 2501735.8738 | 1127389.0717 | 2501735.8449 | 1127391.9706
26 | 2501735.8738 | 1127389.0717 | 2501735.9977 | 1127376.7954 | 2501735.9499 | 1127372.916 | 2501735.9522 | 1127372.6456
27 | 2501735.6535 | 1127411.177 | 2501735.8449 | 1127391.9706
28 | 2501735.9522 | 1127372.6456 | 2501736.1162 | 1127353.0725
29 | 2501737.9975 | 1127320.6727 | 2501716.18 | 1127320.7557
30 | 2501737.9975 | 1127320.6727 | 2501736.9904 | 1127325.0918 | 2501736.3009 | 1127331.0289 | 2501736.1162 | 1127353.0725
31 | 2501720.2709 | 1127307.1952 | 2501706.0642 | 1127307.195
32 | 2501616.4155 | 1127158.4083 | 2501616.2576 | 1127175.9662
33 | 2501616.2576 | 1127175.9662 | 2501616.0994 | 1127193.5749
34 | 2501734.9816 | 1127463.9881 | 2501735.1955 | 1127441.1483 | 2501735.5753 | 1127419.0284 | 2501735.6535 | 1127411.177
35 | 2501525.5428 | 1127264.798 | 2501494.8027 | 1127264.6213 | 2501491.6857 | 1127262.5375 | 2501491.0497 | 1127257.567 | 2501491.0744 | 1127249.2587
36 | 2501525.5428 | 1127264.798 | 2501547.7066 | 1127264.9648
37 | 2501491.0744 | 1127249.2587 | 2501491.1339 | 1127229.1925
38 | 2501547.7066 | 1127264.9648 | 2501572.8349 | 1127265.1539
39 | 2501536.6184 | 1127453.8121 | 2501538.9487 | 1127454.4523 | 2501540.1368 | 1127454.5219 | 2501541.492 | 1127454.4442 | 2501542.7496 | 1127454.0568 | 2501546.3436 | 1127452.3193 | 2501544.377 | 1127448.4601 | 2501548.2777 | 1127446.1507
40 | 2501548.2777 | 1127446.1507 | 2501555.6596 | 1127442.8893
41 | 2501444.7943 | 1127293.2547 | 2501392.8068 | 1127287.0438 | 2501391.9104 | 1127295.8639 | 2501391.2441 | 1127305.5585 | 2501391.2612 | 1127341.525 | 2501404.9751 | 1127342.624 | 2501402.7205 | 1127370.6893 | 2501402.9006 | 1127375.1113 | 2501403.4555 | 1127377.4704 | 2501404.5523 | 1127379.4982 | 2501404.9495 | 1127380.2255 | 2501406.9943 | 1127382.26 | 2501409.3987 | 1127383.655 | 2501411.777 | 1127383.9274 | 2501414.0449 | 1127383.5791 | 2501418.3908 | 1127380.6842 | 2501422.5849 | 1127377.9362 | 2501426.6062 | 1127377.348 | 2501430.4879 | 1127377.6515 | 2501434.2398 | 1127379.447 | 2501436.6635 | 1127382.4982 | 2501438.0226 | 1127386.434 | 2501437.7784 | 1127390.3627 | 2501436.5775 | 1127395.6411 | 2501441.864 | 1127396.5443 | 2501451.2227 | 1127399.5045 | 2501489.5011 | 1127412.0434 | 2501494.0343 | 1127414.0152 | 2501498.0264 | 1127416.3626 | 2501503.4075 | 1127420.2328 | 2501511.5459 | 1127427.2934 | 2501517.0618 | 1127432.8068 | 2501522.176 | 1127438.2713 | 2501526.3785 | 1127443.595 | 2501529.3656 | 1127447.6488 | 2501531.4099 | 1127450.1281 | 2501534.0828 | 1127452.397 | 2501536.6184 | 1127453.8121
42 | 2501536.6184 | 1127453.8121 | 2501526.4086 | 1127465.0985
43 | 2501566.6396 | 1127438.7733 | 2501558.233 | 1127441.7524 | 2501555.6596 | 1127442.8893
44 | 2501444.7943 | 1127293.2547 | 2501449.5755 | 1127254.6973
45 | 2501458.7538 | 1127255.5703 | 2501449.5755 | 1127254.6973
46 | 2501444.7943 | 1127293.2547 | 2501457.531 | 1127294.3952
47 | 2501703.7917 | 1127307.1949 | 2501706.0642 | 1127307.195
48 | 2501703.7917 | 1127307.1949 | 2501687.3086 | 1127307.1947
49 | 2501687.3086 | 1127307.1947 | 2501670.8244 | 1127307.1944
50 | 2501597.3933 | 1127265.3388 | 2501572.8349 | 1127265.1539
51 | 2501605.779 | 1127265.4019 | 2501597.3933 | 1127265.3388
52 | 2501585.5136 | 1127296.4401 | 2501587.8227 | 1127293.8898 | 2501588.103 | 1127293.5851 | 2501588.8878 | 1127293.5056 | 2501593.8668 | 1127293.0353 | 2501596.0839 | 1127293.3438 | 2501597.9918 | 1127293.6018 | 2501604.2541 | 1127295.7344 | 2501605.2977 | 1127289.7804 | 2501605.2375 | 1127285.6121 | 2501604.4042 | 1127283.1909 | 2501604.563 | 1127280.6423 | 2501606.7168 | 1127275.6485 | 2501606.7794 | 1127272.868 | 2501605.6457 | 1127269.5177 | 2501605.779 | 1127265.4019
53 | 2501613.4555 | 1127222.3614 | 2501614.1399 | 1127261.5189 | 2501613.3923 | 1127263.41 | 2501611.8112 | 1127264.7588 | 2501609.671 | 1127265.3829 | 2501605.779 | 1127265.4019
54 | 2501585.5136 | 1127296.4401 | 2501585.5381 | 1127321.8705
55 | 2501585.5136 | 1127296.4401 | 2501584.8003 | 1127294.7618 | 2501583.4898 | 1127292.8598 | 2501582.2646 | 1127291.4567 | 2501580.3875 | 1127290.2532 | 2501578.3916 | 1127289.7965 | 2501569.182 | 1127289.7347
56 | 2501613.4555 | 1127222.3614 | 2501614.1218 | 1127214.5346 | 2501614.3055 | 1127213.057
57 | 2501585.5381 | 1127321.8705 | 2501585.5552 | 1127339.5059
58 | 2501578.6901 | 1127435.2705 | 2501579.6015 | 1127439.1692 | 2501583.7571 | 1127438.3121 | 2501592.0377 | 1127437.5545 | 2501598.8241 | 1127437.3327 | 2501601.5827 | 1127437.2988 | 2501629.5618 | 1127437.4209 | 2501633.7481 | 1127437.4973 | 2501641.9449 | 1127438.2198
59 | 2501641.9449 | 1127438.2198 | 2501650.849 | 1127439.3088 | 2501650.849 | 1127439.3088
60 | 2501578.6901 | 1127435.2705 | 2501577.3613 | 1127435.5479 | 2501567.7044 | 1127438.3959 | 2501566.6396 | 1127438.7733
61 | 2501585.5859 | 1127371.3186 | 2501598.2994 | 1127371.1002 | 2501598.3669 | 1127401.7181 | 2501598.2146 | 1127403.7218 | 2501597.7192 | 1127407.3766 | 2501596.8894 | 1127410.3697 | 2501595.965 | 1127411.819 | 2501594.7337 | 1127413.3511 | 2501591.2159 | 1127416.4548 | 2501587.6489 | 1127420.3264 | 2501586.4259 | 1127422.3698 | 2501585.5908 | 1127424.5626 | 2501584.5127 | 1127428.4047 | 2501583.3989 | 1127434.3043 | 2501578.6901 | 1127435.2705
62 | 2501667.4502 | 1127443.2236 | 2501660.112 | 1127441.1369 | 2501650.849 | 1127439.3088
63 | 2501585.5859 | 1127371.3186 | 2501585.5722 | 1127357.14
64 | 2501585.5859 | 1127371.3186 | 2501585.5493 | 1127374.9534
65 | 2501585.5552 | 1127339.5059 | 2501585.5722 | 1127357.14
66 | 2501522.358 | 1127469.5762 | 2501526.4086 | 1127465.0985
67 | 2501616.0994 | 1127193.5749 | 2501616.0723 | 1127196.5917 | 2501615.7335 | 1127202.2896 | 2501614.9736 | 1127207.6831 | 2501614.3055 | 1127213.057
68 | 2501734.9816 | 1127463.9881 | 2501718.5265 | 1127458.7637 | 2501706.6427 | 1127454.5433 | 2501698.7905 | 1127452.2586 | 2501678.4165 | 1127446.3421 | 2501667.4502 | 1127443.2236

## bus_geodata
| x | y | coords
0 | 2501652.1394 | 1127226.9646
1 | 2501679.7408 | 1127255.0398
2 | 2501680.5902 | 1127201.233
3 | 2501703.3811 | 1127201.1196
4 | 2501656.7411 | 1127183.9822
5 | 2501721.1458 | 1127201.0312
6 | 2501654.519 | 1127204.7373
7 | 2501664.0355 | 1127262.9244
8 | 2501741.5515 | 1127200.9297
9 | 2501678.6956 | 1127163.3365
10 | 2501691.7631 | 1127162.8266
11 | 2501667.1274 | 1127163.7879
12 | 2501703.0283 | 1127162.387
13 | 2501715.0246 | 1127161.9188
14 | 2501719.1599 | 1127161.7575
15 | 2501706.3106 | 1127084.3421
16 | 2501706.2674 | 1127103.1476
17 | 2501706.2344 | 1127117.5305
18 | 2501694.8028 | 1127106.1438
19 | 2501741.5933 | 1127160.882
20 | 2501727.6928 | 1127161.4245
21 | 2501741.5932 | 1127274.519
22 | 2501741.1148 | 1127311.8943
23 | 2501741.6382 | 1127255.3479
24 | 2501735.8738 | 1127389.0717
25 | 2501735.8449 | 1127391.9706
26 | 2501735.9522 | 1127372.6456
27 | 2501737.9975 | 1127320.6727
28 | 2501720.2709 | 1127307.1952
29 | 2501616.4155 | 1127158.4083
30 | 2501616.2576 | 1127175.9662
31 | 2501735.6535 | 1127411.177
32 | 2501736.1162 | 1127353.0725
33 | 2501525.5428 | 1127264.798
34 | 2501491.0744 | 1127249.2587
35 | 2501547.7066 | 1127264.9648
36 | 2501548.2777 | 1127446.1507
37 | 2501536.6184 | 1127453.8121
38 | 2501555.6596 | 1127442.8893
39 | 2501449.5755 | 1127254.6973
40 | 2501444.7943 | 1127293.2547
41 | 2501458.7538 | 1127255.5703
42 | 2501491.1339 | 1127229.1925
43 | 2501706.0642 | 1127307.195
44 | 2501703.7917 | 1127307.1949
45 | 2501687.3086 | 1127307.1947
46 | 2501670.8244 | 1127307.1944
47 | 2501716.18 | 1127320.7557
48 | 2501572.8349 | 1127265.1539
49 | 2501597.3933 | 1127265.3388
50 | 2501605.779 | 1127265.4019
51 | 2501585.5136 | 1127296.4401
52 | 2501613.4555 | 1127222.3614
53 | 2501585.5381 | 1127321.8705
54 | 2501569.182 | 1127289.7347
55 | 2501641.9449 | 1127438.2198
56 | 2501578.6901 | 1127435.2705
57 | 2501650.849 | 1127439.3088
58 | 2501585.5859 | 1127371.3186
59 | 2501585.5722 | 1127357.14
60 | 2501585.5493 | 1127374.9534
61 | 2501526.4086 | 1127465.0985
62 | 2501566.6396 | 1127438.7733
63 | 2501614.3055 | 1127213.057
64 | 2501457.531 | 1127294.3952
65 | 2501667.4502 | 1127443.2236
66 | 2501734.9816 | 1127463.9881
67 | 2501585.5552 | 1127339.5059
68 | 2501522.358 | 1127469.5762
69 | 2501616.0994 | 1127193.5749
70 | 2501664.4658 | 1127307.1943

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1