## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6644-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6644-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6644-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6644-3_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6644-3_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6644-3_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_6644-3_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_6644-3_0_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_6644-3_0_4_node_81 | 0.4 | n |  | TRUE
11 | bus_LV_6644-3_0_4_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_6644-3_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_6644-3_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6644-3_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_6644-3_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_6644-3_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6644-3_0_4_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_6644-3_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6644-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6644-3_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6644-3_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6644-3_0_4_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_6644-3_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6644-3_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_6644-3_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_6644-3_0_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_6644-3_0_4_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_6644-3_0_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6644-3_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6644-3_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6644-3_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_6644-3_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6644-3_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_6644-3_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_6644-3_0_4_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_6644-3_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_6644-3_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6644-3_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6644-3_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_6644-3_0_4_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6644-3_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6644-3_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_6644-3_0_4_node_8 | 0.4 | n |  | TRUE
44 | bus_LV_6644-3_0_4_node_9 | 0.4 | n |  | TRUE
45 | bus_LV_6644-3_0_4_node_10 | 0.4 | n |  | TRUE
46 | bus_LV_6644-3_0_4_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_6644-3_0_4_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6644-3_0_4_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_6644-3_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6644-3_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_6644-3_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_6644-3_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6644-3_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_6644-3_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6644-3_0_4_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_6644-3_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6644-3_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_6644-3_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_6644-3_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_6644-3_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_6644-3_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6644-3_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_6644-3_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_6644-3_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_6644-3_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_6644-3_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_6644-3_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6644-3_0_4_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_6644-3_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_6644-3_0_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_6644-3_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_6644-3_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_6644-3_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6644-3_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6644-3_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6644-3_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_6644-3_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6644-3_0_4_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_6644-3_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_6644-3_0_4_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_6644-3_0_4_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_6644-3_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6644-3_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_6644-3_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_MV_461_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-3_0_4_load_0 | 0 | 0.00035628 | 8.9293e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-3_0_4_load_1 | 1 | 0.0017607 | 0.00044128 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-3_0_4_load_2 | 2 | 0.0026316 | 0.00065953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-3_0_4_load_3 | 3 | 0.00093564 | 0.00023449 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-3_0_4_load_4 | 4 | 0.00088053 | 0.00022068 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-3_0_4_load_7 | 5 | 0.012937 | 0.0032424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-3_0_4_load_5 | 6 | 0.003454 | 0.00086566 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-3_0_4_load_81 | 10 | 0.020572 | 0.0051558 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-3_0_4_load_54 | 13 | 0.0013208 | 0.00033101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-3_0_4_load_75 | 17 | 0.0041651 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-3_0_4_load_11 | 20 | 0.018109 | 0.0045386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-3_0_4_load_74 | 22 | 0.0093801 | 0.0023509 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-3_0_4_load_71 | 24 | 0.0020607 | 0.00051646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-3_0_4_load_44 | 25 | 0.0049027 | 0.0012287 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-3_0_4_load_35 | 26 | 0.0023676 | 0.00059337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-3_0_4_load_76 | 27 | 0.026568 | 0.0066585 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-3_0_4_load_70 | 28 | 0.014425 | 0.0036151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-3_0_4_load_59 | 31 | 0.0066463 | 0.0016657 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-3_0_4_load_45 | 34 | 0.0020346 | 0.00050993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-3_0_4_load_62 | 35 | 0.0015044 | 0.00037704 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-3_0_4_load_50 | 36 | 0.0050079 | 0.0012551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-3_0_4_load_31 | 37 | 0.0050675 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-3_0_4_load_58 | 39 | 0.0057971 | 0.0014529 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-3_0_4_load_49 | 40 | 0.048111 | 0.012058 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-3_0_4_load_8 | 43 | 0.0093872 | 0.0023527 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-3_0_4_load_9 | 44 | 0.013492 | 0.0033813 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-3_0_4_load_77 | 46 | 0.0014427 | 0.00036157 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-3_0_4_load_73 | 48 | 0.0094212 | 0.0023612 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-3_0_4_load_33 | 49 | 0.0033435 | 0.00083796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-3_0_4_load_55 | 51 | 0.0036665 | 0.00091892 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-3_0_4_load_56 | 52 | 0.003427 | 0.00085888 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-3_0_4_load_52 | 54 | 0.001579 | 0.00039574 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-3_0_4_load_48 | 56 | 0.024224 | 0.0060711 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-3_0_4_load_32 | 57 | 0.0029014 | 0.00072717 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-3_0_4_load_34 | 58 | 0.0018376 | 0.00046054 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-3_0_4_load_36 | 59 | 0.0044591 | 0.0011175 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-3_0_4_load_72 | 60 | 0.0022454 | 0.00056274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-3_0_4_load_61 | 61 | 0.0031758 | 0.00079594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-3_0_4_load_37 | 62 | 0.006944 | 0.0017403 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-3_0_4_load_63 | 67 | 0.037546 | 0.0094098 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-3_0_4_load_83 | 70 | 0.00027258 | 6.8316e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-3_0_4_load_47 | 71 | 0.012193 | 0.0030558 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-3_0_4_load_57 | 72 | 0.0010657 | 0.00026709 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-3_0_4_load_60 | 73 | 0.0021718 | 0.00054429 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-3_0_4_load_64 | 74 | 0.0096613 | 0.0024214 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-3_0_4_load_68 | 77 | 0.011485 | 0.0028783 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-3_0_4_load_84 | 79 | 0.013566 | 0.0034001 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-3_0_4_load_86 | 81 | 0.013124 | 0.0032892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-3_0_4_load_78 | 82 | 0.020161 | 0.0050528 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-3_0_4_load_79 | 83 | 0.022057 | 0.0055281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6644-3_0_4_load_87 | 84 | 0.013207 | 0.00331 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-3_0_4_line_0 |  | 0 | 1 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-3_0_4_line_1 |  | 0 | 2 | 0.036397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-3_0_4_line_2 |  | 1 | 3 | 0.088573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-3_0_4_line_3 |  | 2 | 4 | 0.018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6644-3_0_4_line_4 |  | 3 | 5 | 0.018045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6644-3_0_4_line_5 |  | 4 | 6 | 0.0099167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-3_0_4_line_6 |  | 5 | 7 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6644-3_0_4_line_7 |  | 7 | 33 | 0.067931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-3_0_4_line_8 |  | 8 | 9 | 0.10186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6644-3_0_4_line_9 |  | 8 | 10 | 0.0092896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-3_0_4_line_10 |  | 9 | 39 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-3_0_4_line_11 |  | 9 | 35 | 0.010489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6644-3_0_4_line_12 |  | 9 | 41 | 0.061777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6644-3_0_4_line_13 |  | 10 | 55 | 0.022463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-3_0_4_line_14 |  | 11 | 12 | 0.071102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6644-3_0_4_line_15 |  | 11 | 13 | 0.010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6644-3_0_4_line_16 |  | 12 | 36 | 0.038029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6644-3_0_4_line_17 |  | 13 | 53 | 0.0057968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6644-3_0_4_line_18 |  | 14 | 15 | 0.040475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-3_0_4_line_19 |  | 14 | 16 | 0.048396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6644-3_0_4_line_20 |  | 14 | 17 | 0.062856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6644-3_0_4_line_21 |  | 15 | 26 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-3_0_4_line_22 |  | 15 | 23 | 0.019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6644-3_0_4_line_23 |  | 16 | 27 | 0.006896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-3_0_4_line_24 |  | 16 | 28 | 0.034661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_6644-3_0_4_line_25 |  | 17 | 19 | 0.042804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6644-3_0_4_line_26 |  | 18 | 19 | 0.053532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6644-3_0_4_line_27 |  | 18 | 20 | 0.031277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-3_0_4_line_28 |  | 19 | 21 | 0.045595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6644-3_0_4_line_29 |  | 19 | 22 | 0.028735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-3_0_4_line_30 |  | 21 | 25 | 0.011136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6644-3_0_4_line_31 |  | 22 | 48 | 0.00054872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-3_0_4_line_32 |  | 23 | 24 | 0.037598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-3_0_4_line_33 |  | 25 | 34 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6644-3_0_4_line_34 |  | 26 | 49 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-3_0_4_line_35 |  | 28 | 50 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6644-3_0_4_line_36 |  | 29 | 30 | 0.064036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-3_0_4_line_37 |  | 29 | 31 | 0.027993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-3_0_4_line_38 |  | 30 | 37 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-3_0_4_line_39 |  | 31 | 42 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-3_0_4_line_40 |  | 32 | 33 | 0.15171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_6644-3_0_4_line_41 |  | 32 | 34 | 0.023679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6644-3_0_4_line_42 |  | 33 | 35 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_6644-3_0_4_line_43 |  | 36 | 41 | 0.016558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6644-3_0_4_line_44 |  | 38 | 39 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-3_0_4_line_45 |  | 38 | 40 | 0.074681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-3_0_4_line_46 |  | 40 | 56 | 0.0037495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-3_0_4_line_47 |  | 41 | 42 | 0.033545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-3_0_4_line_48 |  | 43 | 44 | 0.041838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6644-3_0_4_line_49 |  | 44 | 45 | 0.056529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6644-3_0_4_line_50 |  | 45 | 46 | 0.0035874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6644-3_0_4_line_51 |  | 46 | 47 | 0.032234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-3_0_4_line_52 |  | 47 | 78 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6644-3_0_4_line_53 |  | 47 | 75 | 0.035332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6644-3_0_4_line_54 |  | 49 | 57 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-3_0_4_line_55 |  | 50 | 77 | 0.026488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6644-3_0_4_line_56 |  | 51 | 52 | 0.011432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-3_0_4_line_57 |  | 52 | 72 | 0.057514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6644-3_0_4_line_58 |  | 53 | 54 | 0.055883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6644-3_0_4_line_59 |  | 54 | 66 | 0.0067279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6644-3_0_4_line_60 |  | 55 | 82 | 0.069182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-3_0_4_line_61 |  | 56 | 71 | 0.025971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-3_0_4_line_62 |  | 57 | 58 | 0.006486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-3_0_4_line_63 |  | 58 | 59 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6644-3_0_4_line_64 |  | 59 | 60 | 0.0047996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-3_0_4_line_65 |  | 60 | 61 | 0.0037264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6644-3_0_4_line_66 |  | 61 | 73 | 0.017135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-3_0_4_line_67 |  | 62 | 63 | 0.017175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6644-3_0_4_line_68 |  | 62 | 64 | 0.07613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6644-3_0_4_line_69 |  | 63 | 65 | 0.00831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6644-3_0_4_line_70 |  | 64 | 66 | 0.002285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6644-3_0_4_line_71 |  | 65 | 67 | 0.014197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6644-3_0_4_line_72 |  | 67 | 68 | 0.016591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6644-3_0_4_line_73 |  | 68 | 69 | 0.10375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6644-3_0_4_line_74 |  | 69 | 70 | 0.092357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6644-3_0_4_line_75 |  | 72 | 73 | 0.0039217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6644-3_0_4_line_76 |  | 74 | 75 | 0.078822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6644-3_0_4_line_77 |  | 75 | 76 | 0.038358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_6644-3_0_4_line_78 |  | 76 | 77 | 0.01662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_6644-3_0_4_line_79 |  | 78 | 79 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6644-3_0_4_line_80 |  | 78 | 80 | 0.035248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6644-3_0_4_line_81 |  | 78 | 81 | 0.012537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6644-3_0_4_line_82 |  | 80 | 84 | 0.032591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6644-3_0_4_line_83 |  | 82 | 83 | 0.00013591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-3_0_4_trafo_21 | 0.63 MVA 20/0.4 kV | 85 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2501958.3954 | 1125337.6268 | 2501962.6552 | 1125348.8082
1 | 2501958.3954 | 1125337.6268 | 2501948.383 | 1125311.3458 | 2501945.3262 | 1125303.6581
2 | 2501962.6552 | 1125348.8082 | 2501963.6597 | 1125351.4449 | 2501981.4584 | 1125400.1641 | 2501989.9649 | 1125424.5523 | 2501992.5339 | 1125432.1848
3 | 2501938.4919 | 1125286.4705 | 2501945.3262 | 1125303.6581
4 | 2501998.2902 | 1125449.2872 | 2501992.5339 | 1125432.1848
5 | 2501938.4919 | 1125286.4705 | 2501934.8278 | 1125277.2556
6 | 2502007.335 | 1125473.4896 | 2502003.0469 | 1125462.9416 | 2501999.4666 | 1125452.7822 | 2501998.2902 | 1125449.2872
7 | 2502007.335 | 1125473.4896 | 2502010.7343 | 1125481.0503 | 2502012.9992 | 1125486.6392 | 2502015.6587 | 1125494.223 | 2502017.8522 | 1125502.0701 | 2502022.6152 | 1125521.9273 | 2502023.2241 | 1125524.2967 | 2502024.1403 | 1125526.5944 | 2502025.5275 | 1125528.94 | 2502028.714 | 1125532.4127 | 2502031.6864 | 1125536
8 | 2501977.5664 | 1125622.5201 | 2501980.1461 | 1125622.3337 | 2501979.7928 | 1125617.1918 | 2501979.5298 | 1125611.437 | 2501979.4692 | 1125610.0816 | 2501979.4257 | 1125607.4029 | 2501979.9162 | 1125603.4258 | 2501982.4713 | 1125599.8266 | 2501997.7201 | 1125586.9601 | 2502006.8309 | 1125581.1421 | 2502012.0246 | 1125577.1888 | 2502015.7822 | 1125573.1031 | 2502021.3635 | 1125570.2219 | 2502029.3219 | 1125567.9804 | 2502032.2425 | 1125564.5753 | 2502035.2216 | 1125560.9693 | 2502038.1606 | 1125557.7418 | 2502041.4379 | 1125553.9864
9 | 2501977.5664 | 1125622.5201 | 2501978.234 | 1125631.7857
10 | 2502041.4379 | 1125553.9864 | 2502045.9156 | 1125559.1169 | 2502050.3866 | 1125563.8363 | 2502057.2556 | 1125570.0858
11 | 2502041.4379 | 1125553.9864 | 2502039.4797 | 1125551.1386 | 2502037.3571 | 1125547.6597 | 2502036.1104 | 1125544.9772
12 | 2502024.4885 | 1125609.351 | 2502023.6419 | 1125594.2331 | 2502023.5448 | 1125592.5225 | 2502023.4566 | 1125590.8896 | 2502024.577 | 1125586.2908 | 2502024.5454 | 1125582.9226 | 2502024.0454 | 1125576.3377 | 2502024.9734 | 1125573.1874 | 2502029.3219 | 1125567.9804 | 2502032.2425 | 1125564.5753 | 2502035.2216 | 1125560.9693 | 2502038.1606 | 1125557.7418 | 2502041.4379 | 1125553.9864
13 | 2501979.8383 | 1125654.1917 | 2501979.5468 | 1125650.005 | 2501978.234 | 1125631.7857
14 | 2502079.0145 | 1125606.7654 | 2502084.2791 | 1125613.84 | 2502089.2494 | 1125620.3524 | 2502094.4277 | 1125627.3283 | 2502099.9376 | 1125635.7443 | 2502107.1148 | 1125645.7119 | 2502111.7103 | 1125645.7486 | 2502114.3833 | 1125644.1932 | 2502118.726 | 1125641.4767 | 2502115.5568 | 1125635.2576 | 2502118.4143 | 1125633.6658
15 | 2502118.4143 | 1125633.6658 | 2502118.8977 | 1125628.288 | 2502122.0567 | 1125627.2251 | 2502123.994 | 1125627.6412
16 | 2502079.0145 | 1125606.7654 | 2502041.028 | 1125608.5667
17 | 2502129.6616 | 1125628.8585 | 2502123.994 | 1125627.6412
18 | 2501746.803 | 1125552.6918 | 2501747.9398 | 1125554.3299 | 2501748.0878 | 1125556.3176 | 2501746.6813 | 1125560.3763 | 2501744.1811 | 1125564.4973 | 2501742.7908 | 1125568.6002 | 2501742.0422 | 1125571.87 | 2501738.3194 | 1125574.2987 | 2501740.3274 | 1125577.3568 | 2501743.1971 | 1125581.724 | 2501746.1642 | 1125587.3459
19 | 2501730.5951 | 1125510.3848 | 2501727.3743 | 1125519.4984 | 2501732.5435 | 1125530.6212 | 2501735.3466 | 1125536.1123 | 2501738.821 | 1125543.0601 | 2501743.695 | 1125548.3619 | 2501746.803 | 1125552.6918
20 | 2501746.803 | 1125552.6918 | 2501759.6481 | 1125555.1178 | 2501766.6629 | 1125555.5373 | 2501773.0805 | 1125554.7881 | 2501778.6144 | 1125554.6869 | 2501793.3614 | 1125554.6027 | 2501808.7875 | 1125552.1839 | 2501809.1778 | 1125552.1021
21 | 2501746.1642 | 1125587.3459 | 2501749.2267 | 1125593.1441 | 2501754.3065 | 1125603.0454
22 | 2501730.4562 | 1125583.3322 | 2501743.1971 | 1125581.724 | 2501746.1642 | 1125587.3459
23 | 2501735.304 | 1125506.0166 | 2501732.4208 | 1125506.9752 | 2501730.5951 | 1125510.3848
24 | 2501730.5951 | 1125510.3848 | 2501726.4206 | 1125475.9764
25 | 2501847.0657 | 1125536.0631 | 2501845.4541 | 1125538.891 | 2501842.1547 | 1125542.7025 | 2501836.3782 | 1125545.8983 | 2501826.4594 | 1125548.4833 | 2501809.1778 | 1125552.1021
26 | 2501847.0657 | 1125536.0631 | 2501849.7981 | 1125536.2632 | 2501853.4338 | 1125536.5377 | 2501855.3365 | 1125521.264 | 2501859.5592 | 1125502.6283 | 2501860.4692 | 1125497.8995 | 2501860.3122 | 1125495.3561 | 2501858.416 | 1125493.0076 | 2501856.4323 | 1125491.9169
27 | 2501856.4323 | 1125491.9169 | 2501857.2838 | 1125487.8562 | 2501854.0021 | 1125460.9279
28 | 2501839.375 | 1125573.7446 | 2501838.6095 | 1125568.3871 | 2501837.8522 | 1125563.0628 | 2501839.674 | 1125562.733 | 2501843.0014 | 1125560.6443 | 2501847.3648 | 1125555.4146 | 2501848.4683 | 1125553.1064 | 2501849.0624 | 1125549.8169 | 2501849.7981 | 1125536.2632 | 2501847.0657 | 1125536.0631
29 | 2501847.0657 | 1125536.0631 | 2501850.0851 | 1125514.0782 | 2501849.4668 | 1125507.5641
30 | 2501839.375 | 1125573.7446 | 2501850.4233 | 1125572.3512
31 | 2501849.4668 | 1125507.5641 | 2501849.415 | 1125507.0179
32 | 2501730.4562 | 1125583.3322 | 2501723.4479 | 1125584.2578 | 2501699.184 | 1125587.4545 | 2501697.8686 | 1125587.6316 | 2501693.1777 | 1125588.2254
33 | 2501874.3701 | 1125569.3309 | 2501850.4233 | 1125572.3512
34 | 2501754.3065 | 1125603.0454 | 2501754.3065 | 1125603.0454 | 2501758.1117 | 1125608.5314 | 2501761.731 | 1125613.4867 | 2501764.0349 | 1125616.1491
35 | 2501723.5074 | 1125451.9639 | 2501726.4206 | 1125475.9764
36 | 2502034.8829 | 1125697.3812 | 2502039.263 | 1125696.9766 | 2502043.5003 | 1125695.8517 | 2502046.9165 | 1125694.0063 | 2502053.1214 | 1125689.1805 | 2502062.4036 | 1125680.1578 | 2502062.983 | 1125673.0996 | 2502062.1578 | 1125660.2494 | 2502061.4773 | 1125649.6651
37 | 2502034.8829 | 1125697.3812 | 2502032.5705 | 1125669.4841
38 | 2502061.4773 | 1125649.6651 | 2502060.6788 | 1125636.0807 | 2502060.6341 | 1125634.5918
39 | 2502030.2914 | 1125641.9881 | 2502032.5705 | 1125669.4841
40 | 2501897.8632 | 1125566.3679 | 2501898.7633 | 1125566.2532 | 2501923.9767 | 1125563.1198 | 2501984.4116 | 1125556.9241 | 2501990.5597 | 1125556.6687 | 2501996.417 | 1125557.4964 | 2501996.0184 | 1125553.367 | 2501995.3617 | 1125546.629 | 2501998.949 | 1125545.3478 | 2502003.5202 | 1125542.9389 | 2502004.754 | 1125540.106 | 2502007.0209 | 1125537.2675 | 2502009.9167 | 1125535.1859 | 2502013.2585 | 1125533.9754 | 2502016.8159 | 1125533.7064 | 2502020.3122 | 1125534.4168 | 2502023.1722 | 1125535.8269 | 2502031.6864 | 1125536
41 | 2501897.8632 | 1125566.3679 | 2501874.3701 | 1125569.3309
42 | 2502031.6864 | 1125536 | 2502033.287 | 1125538.6646 | 2502034.5063 | 1125541.113 | 2502035.6955 | 1125544.0845 | 2502036.1104 | 1125544.9772
43 | 2502024.4885 | 1125609.351 | 2502041.028 | 1125608.5667
44 | 2502072.2698 | 1125584.0162 | 2502057.7343 | 1125570.5213 | 2502057.2556 | 1125570.0858
45 | 2502072.2698 | 1125584.0162 | 2502085.9526 | 1125576.312 | 2502087.8961 | 1125575.8802 | 2502093.3139 | 1125574.8028 | 2502103.6914 | 1125570.5543 | 2502140.1921 | 1125553.592
46 | 2502140.1921 | 1125553.592 | 2502143.5924 | 1125552.0119
47 | 2502024.4885 | 1125609.351 | 2502025.0002 | 1125617.1252 | 2502025.6431 | 1125619.2161 | 2502027.615 | 1125622.4306 | 2502028.6574 | 1125625.8602 | 2502030.2914 | 1125641.9881
48 | 2501818.6876 | 1125456.1133 | 2501813.9773 | 1125414.5408
49 | 2501807.2787 | 1125358.4108 | 2501812.3259 | 1125399.9656 | 2501813.9773 | 1125414.5408
50 | 2501807.2787 | 1125358.4108 | 2501803.6961 | 1125358.5946
51 | 2501775.0018 | 1125371.4657 | 2501787.0144 | 1125362.4982 | 2501798.7125 | 1125358.8503 | 2501803.6961 | 1125358.5946
52 | 2501775.0018 | 1125371.4657 | 2501779.2349 | 1125404.1949 | 2501779.5031 | 1125405.9917
53 | 2501775.0018 | 1125371.4657 | 2501767.0645 | 1125377.3873 | 2501761.564 | 1125380.9678 | 2501759.5003 | 1125382.0687 | 2501756.0094 | 1125383.5931 | 2501749.976 | 1125384.7475 | 2501743.3284 | 1125385.1113
54 | 2501764.0349 | 1125616.1491 | 2501771.7018 | 1125625.0095 | 2501774.5954 | 1125628.2114
55 | 2501723.5074 | 1125451.9639 | 2501723.0977 | 1125448.5796 | 2501720.3403 | 1125425.6663
56 | 2501852.8762 | 1125728.1151 | 2501852.4499 | 1125726.9158 | 2501849.0487 | 1125717.3429 | 2501849.0487 | 1125717.3429
57 | 2501814.5856 | 1125671.4561 | 2501821.7926 | 1125679.6736 | 2501839.0482 | 1125701.1287 | 2501849.0487 | 1125717.3429
58 | 2502129.6616 | 1125628.8585 | 2502139.2585 | 1125626.8684 | 2502148.4414 | 1125623.1174 | 2502159.2048 | 1125616.5168 | 2502167.9705 | 1125609.3816 | 2502175.5172 | 1125601.7102 | 2502176.6287 | 1125600.7437
59 | 2502181.7056 | 1125596.3289 | 2502176.6287 | 1125600.7437
60 | 2501979.8383 | 1125654.1917 | 2501954.6998 | 1125656.212 | 2501955.9155 | 1125671.2571 | 2501984.6907 | 1125668.9418
61 | 2502165.9522 | 1125539.0241 | 2502160.2883 | 1125543.4986 | 2502151.9062 | 1125548.1483 | 2502143.5924 | 1125552.0119
62 | 2501778.9442 | 1125633.0235 | 2501774.5954 | 1125628.2114
63 | 2501794.265 | 1125649.9804 | 2501782.9206 | 1125637.4237 | 2501778.9442 | 1125633.0235
64 | 2501794.265 | 1125649.9804 | 2501797.6707 | 1125653.3623
65 | 2501800.3148 | 1125655.9881 | 2501797.6707 | 1125653.3623
66 | 2501800.3148 | 1125655.9881 | 2501805.7761 | 1125661.4114 | 2501811.9997 | 1125668.5077
67 | 2502221.5363 | 1125524.6511 | 2502215.6368 | 1125525.0245 | 2502205.9158 | 1125527.45 | 2502204.7406 | 1125527.86
68 | 2502180.1367 | 1125594.6644 | 2502181.493 | 1125591.774 | 2502184.6264 | 1125581.9839 | 2502186.1274 | 1125572.7983 | 2502187.8865 | 1125560.5067 | 2502188.0805 | 1125552.9656 | 2502188.2682 | 1125545.9916 | 2502188.5885 | 1125543.3959 | 2502189.6752 | 1125540.0429 | 2502190.4101 | 1125537.8185 | 2502192.3592 | 1125534.8741 | 2502194.4166 | 1125532.9062 | 2502197.7348 | 1125530.7178 | 2502200.902 | 1125529.1989 | 2502204.7406 | 1125527.86
69 | 2502221.5363 | 1125524.6511 | 2502228.728 | 1125528.8484
70 | 2502180.1367 | 1125594.6644 | 2502181.7056 | 1125596.3289
71 | 2502228.728 | 1125528.8484 | 2502240.9915 | 1125536.0016
72 | 2502255.3228 | 1125544.361 | 2502240.9915 | 1125536.0016
73 | 2502255.3228 | 1125544.361 | 2502256.4876 | 1125542.0185 | 2502260.2783 | 1125537.1097 | 2502270.1062 | 1125527.467 | 2502278.4417 | 1125518.9825 | 2502284.3076 | 1125514.1513 | 2502286.7001 | 1125512.8785 | 2502286.4772 | 1125510.0581 | 2502287.0296 | 1125506.5582 | 2502289.632 | 1125505.8712 | 2502290.7382 | 1125505.6198 | 2502291.4031 | 1125489.0655 | 2502290.5736 | 1125482.5861 | 2502285.8327 | 1125457.3694
74 | 2502285.8327 | 1125457.3694 | 2502264.5076 | 1125464.0295 | 2502240.0593 | 1125473.4975 | 2502237.9525 | 1125471.4637 | 2502234.3377 | 1125465.3406 | 2502232.9412 | 1125442.8938 | 2502233.9987 | 1125431.5475
75 | 2501814.5856 | 1125671.4561 | 2501811.9997 | 1125668.5077
76 | 2501743.3284 | 1125385.1113 | 2501745.9376 | 1125408.0609 | 2501752.2793 | 1125463.4235
77 | 2501743.3284 | 1125385.1113 | 2501736.958 | 1125386.4046 | 2501730.4696 | 1125389.4454 | 2501725.2621 | 1125393.0323 | 2501723.1388 | 1125394.7345 | 2501721.4649 | 1125396.574 | 2501720.0437 | 1125399.2543 | 2501718.9927 | 1125402.4178 | 2501718.2862 | 1125404.9642 | 2501718.2653 | 1125408.4111 | 2501718.3546 | 1125409.1657
78 | 2501718.3546 | 1125409.1657 | 2501720.3403 | 1125425.6663
79 | 2501779.5031 | 1125405.9917 | 2501766.6303 | 1125407.5686
80 | 2501779.5031 | 1125405.9917 | 2501783.3803 | 1125441.017
81 | 2501791.9836 | 1125404.4656 | 2501779.5031 | 1125405.9917
82 | 2501783.3803 | 1125441.017 | 2501787.0987 | 1125473.3876
83 | 2501984.8262 | 1125668.9309 | 2501984.6907 | 1125668.9418

## bus_geodata
| x | y | coords
0 | 2501958.3954 | 1125337.6268
1 | 2501962.6552 | 1125348.8082
2 | 2501945.3262 | 1125303.6581
3 | 2501992.5339 | 1125432.1848
4 | 2501938.4919 | 1125286.4705
5 | 2501998.2902 | 1125449.2872
6 | 2501934.8278 | 1125277.2556
7 | 2502007.335 | 1125473.4896
8 | 2501977.5664 | 1125622.5201
9 | 2502041.4379 | 1125553.9864
10 | 2501978.234 | 1125631.7857
11 | 2502118.4143 | 1125633.6658
12 | 2502079.0145 | 1125606.7654
13 | 2502123.9941 | 1125627.6412
14 | 2501746.803 | 1125552.6918
15 | 2501746.1642 | 1125587.3459
16 | 2501730.5951 | 1125510.3848
17 | 2501809.1778 | 1125552.1021
18 | 2501856.4323 | 1125491.9169
19 | 2501847.0657 | 1125536.0631
20 | 2501854.0021 | 1125460.9279
21 | 2501839.375 | 1125573.7446
22 | 2501849.4668 | 1125507.5641
23 | 2501730.4562 | 1125583.3322
24 | 2501693.1777 | 1125588.2254
25 | 2501850.4233 | 1125572.3512
26 | 2501754.3065 | 1125603.0454
27 | 2501735.304 | 1125506.0166
28 | 2501726.4206 | 1125475.9764
29 | 2502034.8829 | 1125697.3812
30 | 2502061.4773 | 1125649.6651
31 | 2502032.5705 | 1125669.4841
32 | 2501897.8632 | 1125566.3679
33 | 2502031.6864 | 1125536
34 | 2501874.3701 | 1125569.3309
35 | 2502036.1104 | 1125544.9772
36 | 2502041.028 | 1125608.5667
37 | 2502060.6341 | 1125634.5918
38 | 2502072.2698 | 1125584.0162
39 | 2502057.2556 | 1125570.0858
40 | 2502140.1921 | 1125553.592
41 | 2502024.4885 | 1125609.351
42 | 2502030.2914 | 1125641.9881
43 | 2501818.6876 | 1125456.1133
44 | 2501813.9773 | 1125414.5408
45 | 2501807.2787 | 1125358.4108
46 | 2501803.6961 | 1125358.5946
47 | 2501775.0018 | 1125371.4657
48 | 2501849.415 | 1125507.0179
49 | 2501764.0349 | 1125616.1491
50 | 2501723.5074 | 1125451.9639
51 | 2501852.8762 | 1125728.1151
52 | 2501849.0487 | 1125717.3429
53 | 2502129.6616 | 1125628.8585
54 | 2502176.6287 | 1125600.7437
55 | 2501979.8383 | 1125654.1917
56 | 2502143.5924 | 1125552.0119
57 | 2501774.5954 | 1125628.2114
58 | 2501778.9442 | 1125633.0235
59 | 2501794.265 | 1125649.9804
60 | 2501797.6707 | 1125653.3623
61 | 2501800.3148 | 1125655.9881
62 | 2502204.7406 | 1125527.86
63 | 2502221.5363 | 1125524.6511
64 | 2502180.1367 | 1125594.6644
65 | 2502228.728 | 1125528.8484
66 | 2502181.7056 | 1125596.3289
67 | 2502240.9915 | 1125536.0016
68 | 2502255.3228 | 1125544.361
69 | 2502285.8327 | 1125457.3694
70 | 2502233.9987 | 1125431.5475
71 | 2502165.9522 | 1125539.0241
72 | 2501814.5856 | 1125671.4561
73 | 2501811.9997 | 1125668.5077
74 | 2501752.2793 | 1125463.4235
75 | 2501743.3284 | 1125385.1113
76 | 2501718.3546 | 1125409.1657
77 | 2501720.3403 | 1125425.6663
78 | 2501779.5031 | 1125405.9917
79 | 2501766.6303 | 1125407.5686
80 | 2501783.3803 | 1125441.017
81 | 2501791.9836 | 1125404.4656
82 | 2501984.6907 | 1125668.9418
83 | 2501984.8262 | 1125668.9309
84 | 2501787.0987 | 1125473.3876
85 | 2501897.9127 | 1125572.7377

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1