## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6644-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6644-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6644-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6644-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6644-5_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6644-5_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6644-5_0_4_node_91 | 0.4 | n |  | TRUE
7 | bus_LV_6644-5_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6644-5_0_4_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_6644-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6644-5_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_6644-5_0_4_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_6644-5_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_6644-5_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_6644-5_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_6644-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6644-5_0_4_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_6644-5_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6644-5_0_4_node_138 | 0.4 | n |  | TRUE
19 | bus_LV_6644-5_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_6644-5_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6644-5_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6644-5_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6644-5_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6644-5_0_4_node_108 | 0.4 | n |  | TRUE
25 | bus_LV_6644-5_0_4_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_6644-5_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_6644-5_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_6644-5_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6644-5_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_6644-5_0_4_node_134 | 0.4 | n |  | TRUE
31 | bus_LV_6644-5_0_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_6644-5_0_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_6644-5_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_6644-5_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_6644-5_0_4_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_6644-5_0_4_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_6644-5_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_6644-5_0_4_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_6644-5_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_6644-5_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6644-5_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6644-5_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6644-5_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6644-5_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6644-5_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6644-5_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6644-5_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6644-5_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6644-5_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_6644-5_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_6644-5_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_6644-5_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6644-5_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6644-5_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6644-5_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6644-5_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6644-5_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_6644-5_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6644-5_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6644-5_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_6644-5_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6644-5_0_4_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_6644-5_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6644-5_0_4_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_6644-5_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6644-5_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6644-5_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_6644-5_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_6644-5_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_6644-5_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_6644-5_0_4_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6644-5_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_6644-5_0_4_node_112 | 0.4 | n |  | TRUE
74 | bus_LV_6644-5_0_4_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_6644-5_0_4_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_6644-5_0_4_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_6644-5_0_4_node_93 | 0.4 | n |  | TRUE
78 | bus_LV_6644-5_0_4_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_6644-5_0_4_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_6644-5_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_6644-5_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_6644-5_0_4_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_6644-5_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_6644-5_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_6644-5_0_4_node_118 | 0.4 | n |  | TRUE
86 | bus_LV_6644-5_0_4_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_6644-5_0_4_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_6644-5_0_4_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_6644-5_0_4_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_6644-5_0_4_node_94 | 0.4 | n |  | TRUE
91 | bus_LV_6644-5_0_4_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_6644-5_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_6644-5_0_4_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_6644-5_0_4_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_6644-5_0_4_node_100 | 0.4 | n |  | TRUE
96 | bus_LV_6644-5_0_4_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_6644-5_0_4_node_125 | 0.4 | n |  | TRUE
98 | bus_LV_6644-5_0_4_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_6644-5_0_4_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_6644-5_0_4_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_6644-5_0_4_node_105 | 0.4 | n |  | TRUE
102 | bus_MV_461_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6644-5_0_4_load_0 | 0 | 0.00064123 | 0.00016071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6644-5_0_4_load_1 | 1 | 0.00070285 | 0.00017615 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6644-5_0_4_load_3 | 3 | 0.0016239 | 0.00040699 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6644-5_0_4_load_91 | 6 | 0.0020866 | 0.00052295 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6644-5_0_4_load_75 | 8 | 0.00045078 | 0.00011297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6644-5_0_4_load_36 | 10 | 0.0018965 | 0.00047531 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6644-5_0_4_load_37 | 11 | 0.048791 | 0.012228 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6644-5_0_4_load_35 | 12 | 0.00046741 | 0.00011715 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6644-5_0_4_load_66 | 14 | 0.085198 | 0.021353 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6644-5_0_4_load_90 | 16 | 0.0015266 | 0.00038261 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6644-5_0_4_load_138 | 18 | 0.0005712 | 0.00014316 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6644-5_0_4_load_68 | 20 | 0.025392 | 0.006364 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6644-5_0_4_load_108 | 24 | 0.0091954 | 0.0023046 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6644-5_0_4_load_124 | 25 | 0.00091019 | 0.00022811 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6644-5_0_4_load_38 | 27 | 0.0026356 | 0.00066054 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6644-5_0_4_load_134 | 30 | 0.0023579 | 0.00059093 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6644-5_0_4_load_57 | 31 | 0.055183 | 0.01383 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6644-5_0_4_load_73 | 32 | 0.0011767 | 0.00029491 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6644-5_0_4_load_51 | 33 | 0.0012141 | 0.00030428 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6644-5_0_4_load_67 | 34 | 0.0060556 | 0.0015177 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6644-5_0_4_load_59 | 35 | 0.04185 | 0.010489 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6644-5_0_4_load_58 | 36 | 0.045181 | 0.011323 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6644-5_0_4_load_77 | 37 | 0.00077531 | 0.00019431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6644-5_0_4_load_78 | 38 | 0.00074788 | 0.00018744 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6644-5_0_4_load_30 | 39 | 0.0017841 | 0.00044715 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6644-5_0_4_load_31 | 40 | 0.00083504 | 0.00020928 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6644-5_0_4_load_32 | 41 | 0.00061325 | 0.0001537 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6644-5_0_4_load_33 | 42 | 0.0012284 | 0.00030786 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6644-5_0_4_load_34 | 43 | 0.001188 | 0.00029775 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6644-5_0_4_load_39 | 44 | 0.0013111 | 0.0003286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6644-5_0_4_load_42 | 45 | 0.0018396 | 0.00046105 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6644-5_0_4_load_40 | 46 | 0.0011461 | 0.00028723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6644-5_0_4_load_43 | 47 | 0.0013923 | 0.00034895 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6644-5_0_4_load_49 | 48 | 0.00091643 | 0.00022968 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6644-5_0_4_load_41 | 49 | 0.0022083 | 0.00055344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6644-5_0_4_load_55 | 51 | 0.0011653 | 0.00029205 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6644-5_0_4_load_56 | 52 | 0.0021849 | 0.0005476 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6644-5_0_4_load_45 | 53 | 0.00034544 | 8.6575e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6644-5_0_4_load_46 | 54 | 0.00059826 | 0.00014994 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6644-5_0_4_load_50 | 57 | 0.0052493 | 0.0013156 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6644-5_0_4_load_52 | 58 | 0.00046113 | 0.00011557 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6644-5_0_4_load_64 | 59 | 0.00042985 | 0.00010773 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6644-5_0_4_load_65 | 60 | 0.0062249 | 0.0015601 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6644-5_0_4_load_61 | 61 | 0.00071061 | 0.0001781 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6644-5_0_4_load_89 | 62 | 0.00070669 | 0.00017711 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6644-5_0_4_load_60 | 63 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6644-5_0_4_load_87 | 64 | 0.0014497 | 0.00036334 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6644-5_0_4_load_62 | 65 | 0.001348 | 0.00033784 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6644-5_0_4_load_63 | 66 | 0.0013248 | 0.00033203 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6644-5_0_4_load_70 | 67 | 0.0010341 | 0.00025918 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6644-5_0_4_load_69 | 68 | 0.0010453 | 0.00026198 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6644-5_0_4_load_71 | 69 | 0.00036186 | 9.069e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6644-5_0_4_load_76 | 71 | 0.0013376 | 0.00033524 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6644-5_0_4_load_74 | 72 | 0.0018994 | 0.00047604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6644-5_0_4_load_112 | 73 | 0.0013636 | 0.00034176 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6644-5_0_4_load_111 | 74 | 0.0025393 | 0.0006364 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6644-5_0_4_load_79 | 75 | 0.0012182 | 0.00030532 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6644-5_0_4_load_92 | 76 | 0.00077696 | 0.00019472 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6644-5_0_4_load_93 | 77 | 0.0011454 | 0.00028707 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6644-5_0_4_load_81 | 78 | 0.001232 | 0.00030876 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6644-5_0_4_load_82 | 79 | 0.0011363 | 0.00028478 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6644-5_0_4_load_84 | 81 | 0.0014958 | 0.00037488 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6644-5_0_4_load_85 | 82 | 0.0012515 | 0.00031365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6644-5_0_4_load_86 | 83 | 0.0012658 | 0.00031724 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6644-5_0_4_load_88 | 84 | 0.0011659 | 0.00029221 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6644-5_0_4_load_118 | 85 | 0.00097297 | 0.00024385 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6644-5_0_4_load_106 | 86 | 0.00081683 | 0.00020472 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6644-5_0_4_load_119 | 87 | 0.0014131 | 0.00035416 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6644-5_0_4_load_104 | 88 | 0.00069911 | 0.00017521 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6644-5_0_4_load_96 | 89 | 0.0016288 | 0.00040821 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6644-5_0_4_load_94 | 90 | 0.0022401 | 0.00056142 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6644-5_0_4_load_95 | 91 | 0.0029007 | 0.00072699 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6644-5_0_4_load_97 | 92 | 0.0049915 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6644-5_0_4_load_98 | 93 | 0.0034044 | 0.00085322 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6644-5_0_4_load_99 | 94 | 0.0011305 | 0.00028333 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6644-5_0_4_load_100 | 95 | 0.0010821 | 0.0002712 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6644-5_0_4_load_101 | 96 | 0.0035789 | 0.00089696 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6644-5_0_4_load_125 | 97 | 0.0010162 | 0.00025467 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6644-5_0_4_load_102 | 98 | 0.0017566 | 0.00044026 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6644-5_0_4_load_103 | 99 | 0.00095437 | 0.00023919 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6644-5_0_4_load_107 | 100 | 0.00094785 | 0.00023755 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6644-5_0_4_load_105 | 101 | 0.00031809 | 7.9722e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6644-5_0_4_line_0 |  | 0 | 1 | 0.037613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6644-5_0_4_line_1 |  | 0 | 2 | 0.023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6644-5_0_4_line_2 |  | 1 | 3 | 0.039407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6644-5_0_4_line_3 |  | 2 | 4 | 0.0091139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6644-5_0_4_line_4 |  | 2 | 5 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6644-5_0_4_line_5 |  | 3 | 6 | 0.03876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6644-5_0_4_line_6 |  | 4 | 7 | 0.008999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6644-5_0_4_line_7 |  | 4 | 8 | 0.034407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6644-5_0_4_line_8 |  | 5 | 13 | 0.051857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6644-5_0_4_line_9 |  | 5 | 14 | 0.13376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6644-5_0_4_line_10 |  | 6 | 15 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6644-5_0_4_line_11 |  | 7 | 11 | 0.0090918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6644-5_0_4_line_12 |  | 8 | 32 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6644-5_0_4_line_13 |  | 9 | 10 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6644-5_0_4_line_14 |  | 9 | 11 | 0.064126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6644-5_0_4_line_15 |  | 9 | 12 | 0.10359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6644-5_0_4_line_16 |  | 10 | 33 | 0.0066656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6644-5_0_4_line_17 |  | 13 | 20 | 0.068085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6644-5_0_4_line_18 |  | 14 | 34 | 0.13887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6644-5_0_4_line_19 |  | 15 | 16 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6644-5_0_4_line_20 |  | 16 | 21 | 0.10339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6644-5_0_4_line_21 |  | 17 | 18 | 0.008659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6644-5_0_4_line_22 |  | 17 | 19 | 0.093763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6644-5_0_4_line_23 |  | 19 | 30 | 0.017263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6644-5_0_4_line_24 |  | 19 | 26 | 0.061142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6644-5_0_4_line_25 |  | 20 | 35 | 0.00028651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6644-5_0_4_line_26 |  | 21 | 22 | 0.029341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6644-5_0_4_line_27 |  | 21 | 23 | 0.061857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6644-5_0_4_line_28 |  | 22 | 25 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6644-5_0_4_line_29 |  | 23 | 24 | 0.025967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6644-5_0_4_line_30 |  | 26 | 27 | 0.0079152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6644-5_0_4_line_31 |  | 28 | 29 | 0.010198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6644-5_0_4_line_32 |  | 28 | 30 | 0.021646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6644-5_0_4_line_33 |  | 29 | 31 | 0.037054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6644-5_0_4_line_34 |  | 31 | 36 | 0.0023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6644-5_0_4_line_35 |  | 32 | 72 | 0.02666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6644-5_0_4_line_36 |  | 33 | 48 | 0.0098464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6644-5_0_4_line_37 |  | 35 | 36 | 0.0018624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6644-5_0_4_line_38 |  | 37 | 38 | 0.026779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6644-5_0_4_line_39 |  | 38 | 75 | 0.00011664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6644-5_0_4_line_40 |  | 39 | 40 | 0.0002763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6644-5_0_4_line_41 |  | 39 | 41 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6644-5_0_4_line_42 |  | 40 | 42 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6644-5_0_4_line_43 |  | 41 | 43 | 0.00985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6644-5_0_4_line_44 |  | 42 | 44 | 0.0067643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6644-5_0_4_line_45 |  | 43 | 45 | 0.0021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6644-5_0_4_line_46 |  | 44 | 46 | 0.0046162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6644-5_0_4_line_47 |  | 45 | 47 | 0.041467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6644-5_0_4_line_48 |  | 46 | 49 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6644-5_0_4_line_49 |  | 48 | 55 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6644-5_0_4_line_50 |  | 49 | 50 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6644-5_0_4_line_51 |  | 50 | 51 | 0.001715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6644-5_0_4_line_52 |  | 50 | 52 | 0.0172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6644-5_0_4_line_53 |  | 51 | 61 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6644-5_0_4_line_54 |  | 52 | 62 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6644-5_0_4_line_55 |  | 53 | 54 | 0.036255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6644-5_0_4_line_56 |  | 53 | 55 | 0.012821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6644-5_0_4_line_57 |  | 54 | 56 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6644-5_0_4_line_58 |  | 55 | 57 | 0.014007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6644-5_0_4_line_59 |  | 56 | 58 | 0.028004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6644-5_0_4_line_60 |  | 58 | 59 | 0.00018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6644-5_0_4_line_61 |  | 59 | 60 | 0.016096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6644-5_0_4_line_62 |  | 61 | 63 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6644-5_0_4_line_63 |  | 62 | 64 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6644-5_0_4_line_64 |  | 63 | 65 | 0.0070008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6644-5_0_4_line_65 |  | 64 | 84 | 0.009053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6644-5_0_4_line_66 |  | 65 | 66 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6644-5_0_4_line_67 |  | 66 | 67 | 0.0096355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6644-5_0_4_line_68 |  | 67 | 68 | 0.0052072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6644-5_0_4_line_69 |  | 68 | 69 | 0.0050143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6644-5_0_4_line_70 |  | 69 | 70 | 0.0071373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6644-5_0_4_line_71 |  | 70 | 71 | 0.046029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6644-5_0_4_line_72 |  | 70 | 72 | 0.027188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6644-5_0_4_line_73 |  | 71 | 73 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6644-5_0_4_line_74 |  | 73 | 74 | 0.0065253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6644-5_0_4_line_75 |  | 74 | 89 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6644-5_0_4_line_76 |  | 75 | 76 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6644-5_0_4_line_77 |  | 76 | 77 | 0.027994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6644-5_0_4_line_78 |  | 77 | 89 | 0.017848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6644-5_0_4_line_79 |  | 77 | 90 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6644-5_0_4_line_80 |  | 78 | 79 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6644-5_0_4_line_81 |  | 78 | 80 | 0.0019559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6644-5_0_4_line_82 |  | 79 | 81 | 0.0068716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6644-5_0_4_line_83 |  | 80 | 82 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6644-5_0_4_line_84 |  | 80 | 83 | 0.039293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6644-5_0_4_line_85 |  | 81 | 84 | 0.0073293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6644-5_0_4_line_86 |  | 82 | 85 | 0.00036651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6644-5_0_4_line_87 |  | 83 | 86 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6644-5_0_4_line_88 |  | 85 | 87 | 0.01137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6644-5_0_4_line_89 |  | 86 | 88 | 0.00091833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6644-5_0_4_line_90 |  | 88 | 101 | 0.0095976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6644-5_0_4_line_91 |  | 90 | 91 | 0.023709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6644-5_0_4_line_92 |  | 92 | 93 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6644-5_0_4_line_93 |  | 92 | 94 | 0.0036772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6644-5_0_4_line_94 |  | 93 | 95 | 0.0077926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6644-5_0_4_line_95 |  | 94 | 96 | 0.023899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6644-5_0_4_line_96 |  | 95 | 97 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6644-5_0_4_line_97 |  | 96 | 98 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6644-5_0_4_line_98 |  | 98 | 99 | 0.012903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6644-5_0_4_line_99 |  | 99 | 100 | 0.0013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6644-5_0_4_line_100 |  | 100 | 101 | 0.0054155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6644-5_0_4_trafo_37 | 0.63 MVA 20/0.4 kV | 102 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2501181.2687 | 1127391.5245 | 2501168.6762 | 1127401.9335 | 2501152.0731 | 1127415.2366
1 | 2501199.5928 | 1127376.6788 | 2501184.6073 | 1127388.7647 | 2501181.2687 | 1127391.5245
2 | 2501152.0731 | 1127415.2366 | 2501144.7508 | 1127421.1036 | 2501122.4034 | 1127439.2028 | 2501121.4175 | 1127439.9989
3 | 2501199.5928 | 1127376.6788 | 2501203.2815 | 1127373.661 | 2501201.3449 | 1127369.7681
4 | 2501199.5928 | 1127376.6788 | 2501203.372 | 1127381.0752 | 2501206.3911 | 1127384.2389
5 | 2501091.261 | 1127464.3489 | 2501121.4175 | 1127439.9989
6 | 2501201.3449 | 1127369.7681 | 2501208.2954 | 1127364.0286
7 | 2501201.3449 | 1127369.7681 | 2501198.6921 | 1127364.4971 | 2501187.1471 | 1127339.1035 | 2501186.894 | 1127338.5466
8 | 2501206.3911 | 1127384.2389 | 2501209.6616 | 1127386.2867 | 2501213.1816 | 1127387.5633 | 2501218.1242 | 1127388.1717 | 2501230.9173 | 1127389.0519 | 2501257.312 | 1127390.777
9 | 2501206.3911 | 1127384.2389 | 2501196.8617 | 1127393.9341 | 2501188.1248 | 1127399.3026 | 2501181.1144 | 1127405.6212 | 2501179.018 | 1127408.9131 | 2501178.4313 | 1127411.68 | 2501177.9897 | 1127416.7237 | 2501179.0197 | 1127421.7321 | 2501181.2896 | 1127426.2089 | 2501195.2463 | 1127453.453 | 2501200.6342 | 1127463.8491 | 2501214.5209 | 1127491.5391 | 2501216.9471 | 1127496.1896
10 | 2501080.6527 | 1127473.0185 | 2501090.8514 | 1127464.6796 | 2501091.261 | 1127464.3489
11 | 2501208.2954 | 1127364.0286 | 2501215.3772 | 1127358.3269
12 | 2501181.85 | 1127327.4475 | 2501186.894 | 1127338.5466
13 | 2501265.326 | 1127318.1121 | 2501264.1189 | 1127316.4086 | 2501263.2926 | 1127314.4209 | 2501262.6663 | 1127311.4737 | 2501262.3352 | 1127307.2543 | 2501264.7001 | 1127278.4311 | 2501265.0668 | 1127274.8516
14 | 2501265.326 | 1127318.1121 | 2501215.3772 | 1127358.3269
15 | 2501265.326 | 1127318.1121 | 2501344.2285 | 1127250.9877
16 | 2501265.0668 | 1127274.8516 | 2501265.7462 | 1127268.2206
17 | 2501257.312 | 1127390.777 | 2501293.4438 | 1127393.1435 | 2501312.455 | 1127393.9222 | 2501325.3011 | 1127394.1985
18 | 2501243.7443 | 1127589.3997 | 2501245.0086 | 1127590.8354 | 2501247.4836 | 1127593.252 | 2501249.6701 | 1127594.5282 | 2501252.7672 | 1127596.3453 | 2501258.405 | 1127598.9437 | 2501261.0895 | 1127599.5668 | 2501263.5751 | 1127599.3372 | 2501264.9447 | 1127598.7255 | 2501265.8765 | 1127597.2649 | 2501265.9925 | 1127594.4613 | 2501264.9751 | 1127591.6317 | 2501236.9597 | 1127537.4339 | 2501227.8006 | 1127516.9933 | 2501216.9471 | 1127496.1896
19 | 2501080.6527 | 1127473.0185 | 2501074.1723 | 1127478.2723 | 2501072.3952 | 1127479.7186
20 | 2500992.0492 | 1127544.7925 | 2501018.0957 | 1127523.9082 | 2501072.3952 | 1127479.7186
21 | 2501344.8893 | 1127278.9879 | 2501345.4512 | 1127278.4673 | 2501346.2722 | 1127278.2426 | 2501349.1374 | 1127279.5411 | 2501349.7725 | 1127280.1978 | 2501349.8903 | 1127281.2743 | 2501350.0571 | 1127282.0498 | 2501350.9996 | 1127282.657
22 | 2501344.8893 | 1127278.9879 | 2501344.6208 | 1127280.004 | 2501345.0174 | 1127282.11 | 2501345.2078 | 1127283.8524 | 2501340.736 | 1127297.9119 | 2501348.5147 | 1127299.9194 | 2501348.6857 | 1127300.9506 | 2501348.4651 | 1127303.011 | 2501355.3565 | 1127303.5433 | 2501356.7456 | 1127303.654 | 2501360.8342 | 1127304.3543 | 2501364.1969 | 1127305.4334 | 2501367.2416 | 1127306.3954 | 2501367.4349 | 1127311.1507 | 2501370.7334 | 1127311.6083 | 2501370.6643 | 1127314.4556 | 2501372.9521 | 1127340.3232 | 2501372.4931 | 1127347.1349
23 | 2501372.4931 | 1127347.1349 | 2501371.2357 | 1127364.3523
24 | 2501372.4931 | 1127347.1349 | 2501372.9521 | 1127340.3232 | 2501391.2612 | 1127341.525 | 2501391.2441 | 1127305.5585
25 | 2501325.3011 | 1127394.1985 | 2501325.5876 | 1127394.2046
26 | 2500967.0591 | 1127541.2777 | 2500972.34 | 1127539.0231 | 2500977.9882 | 1127536.6068 | 2500981.5954 | 1127538.9713 | 2500984.6507 | 1127539.6439 | 2500988.0631 | 1127539.5323 | 2500992.0492 | 1127544.7925
27 | 2500992.0492 | 1127544.7925 | 2500985.9675 | 1127550.3845 | 2500987.13 | 1127552.6558 | 2500987.6181 | 1127555.1604 | 2500987.3823 | 1127557.6992 | 2500987.5927 | 1127564.4221 | 2500988.2872 | 1127570.5812 | 2500988.9048 | 1127573.4618 | 2500992.0488 | 1127584.2392 | 2500995.3891 | 1127592.4228 | 2500999.4389 | 1127601.5732
28 | 2500967.0591 | 1127541.2777 | 2500966.3062 | 1127532.4958 | 2500965.1578 | 1127525.9216 | 2500963.4337 | 1127520.012
29 | 2500999.4389 | 1127601.5732 | 2501008.6075 | 1127616.4433 | 2501013.4702 | 1127623.4124
30 | 2501391.2441 | 1127305.5585 | 2501391.7868 | 1127297.6619
31 | 2501366.8705 | 1127394.5338 | 2501366.8703 | 1127389.8087 | 2501366.9197 | 1127388.5849 | 2501370.1816 | 1127385.8633
32 | 2501370.1816 | 1127385.8633 | 2501369.747 | 1127384.7363 | 2501371.2357 | 1127364.3523
33 | 2501366.8705 | 1127394.5338 | 2501339.6629 | 1127394.4781 | 2501336.5409 | 1127394.4402 | 2501329.8188 | 1127394.2956
34 | 2501329.8188 | 1127394.2956 | 2501327.4496 | 1127394.2447
35 | 2501181.85 | 1127327.4475 | 2501178.8719 | 1127320.8943 | 2501170.8168 | 1127303.1777
36 | 2501266.7486 | 1127258.4254 | 2501266.1823 | 1127263.9646 | 2501265.7462 | 1127268.2206
37 | 2501327.4496 | 1127394.2447 | 2501325.5876 | 1127394.2046
38 | 2501001.1831 | 1127346.6564 | 2501003.5638 | 1127345.5468 | 2501022.2804 | 1127337.7464 | 2501025.8561 | 1127336.2524
39 | 2501025.9637 | 1127336.2074 | 2501025.8561 | 1127336.2524
40 | 2501112.0791 | 1127147.7229 | 2501112.2418 | 1127147.9462
41 | 2501099.046 | 1127131.6145 | 2501102.9847 | 1127135.9661 | 2501104.8452 | 1127138.0258 | 2501111.5119 | 1127146.9444 | 2501112.0791 | 1127147.7229
42 | 2501112.2418 | 1127147.9462 | 2501118.2928 | 1127156.2503 | 2501118.9534 | 1127157.3541
43 | 2501099.046 | 1127131.6145 | 2501097.749 | 1127130.1816 | 2501092.0422 | 1127124.6938
44 | 2501122.3567 | 1127163.1966 | 2501121.9301 | 1127162.3278 | 2501118.9534 | 1127157.3541
45 | 2501092.0422 | 1127124.6938 | 2501090.477 | 1127123.1886
46 | 2501122.3567 | 1127163.1966 | 2501124.3914 | 1127167.3402
47 | 2501061.0514 | 1127094.0235 | 2501062.949 | 1127096.3082 | 2501068.0752 | 1127101.9945 | 2501075.5637 | 1127108.8427 | 2501088.8138 | 1127121.5892 | 2501090.477 | 1127123.1886
48 | 2501132.4395 | 1127185.9962 | 2501125.8132 | 1127170.2359 | 2501124.3914 | 1127167.3402
49 | 2501268.561 | 1127240.7002 | 2501266.7486 | 1127258.4254
50 | 2501136.8669 | 1127197.1272 | 2501134.9079 | 1127191.8671 | 2501132.4395 | 1127185.9962
51 | 2501136.8669 | 1127197.1272 | 2501137.5248 | 1127198.7109
52 | 2501136.8669 | 1127197.1272 | 2501121.143 | 1127204.0983
53 | 2501137.5248 | 1127198.7109 | 2501143.6271 | 1127213.4014
54 | 2501104.7825 | 1127211.3517 | 2501121.143 | 1127204.0983
55 | 2501269.8033 | 1127227.9391 | 2501271.7541 | 1127207.3718 | 2501272.6541 | 1127197.8401 | 2501273.2221 | 1127191.8456
56 | 2501268.561 | 1127240.7002 | 2501268.9996 | 1127236.4126 | 2501269.8033 | 1127227.9391
57 | 2501275.4608 | 1127168.2203 | 2501273.2221 | 1127191.8456
58 | 2501254.5418 | 1127239.7954 | 2501268.561 | 1127240.7002
59 | 2501275.4608 | 1127168.2203 | 2501247.5766 | 1127165.6386
60 | 2501247.5766 | 1127165.6386 | 2501247.3885 | 1127165.6212
61 | 2501231.3608 | 1127164.1387 | 2501233.8232 | 1127164.3652 | 2501247.3885 | 1127165.6212
62 | 2501153.0836 | 1127233.44 | 2501146.6637 | 1127220.6925 | 2501144.5136 | 1127215.5356 | 2501143.6271 | 1127213.4014
63 | 2501083.4609 | 1127220.8046 | 2501104.7825 | 1127211.3517
64 | 2501156.0474 | 1127239.7808 | 2501154.1442 | 1127235.546 | 2501153.0836 | 1127233.44
65 | 2501083.4609 | 1127220.8046 | 2501078.0695 | 1127223.1948 | 2501076.9295 | 1127223.7027 | 2501075.1864 | 1127224.4774
66 | 2501156.0474 | 1127239.7808 | 2501162.2257 | 1127253.5287
67 | 2501165.1603 | 1127262.6716 | 2501164.6249 | 1127259.9341 | 2501164.1879 | 1127258.6626 | 2501163.087 | 1127255.4453 | 2501162.2257 | 1127253.5287
68 | 2501165.5331 | 1127267.8574 | 2501165.3315 | 1127263.547 | 2501165.1603 | 1127262.6716
69 | 2501165.5331 | 1127267.8574 | 2501165.5331 | 1127267.8574 | 2501165.1788 | 1127271.6434 | 2501164.7087 | 1127272.7603
70 | 2501160.2521 | 1127278.128 | 2501162.5672 | 1127276.4224 | 2501164.1328 | 1127274.1287 | 2501164.7087 | 1127272.7603
71 | 2501160.2521 | 1127278.128 | 2501152.831 | 1127281.496 | 2501138.8296 | 1127286.8506 | 2501122.283 | 1127293.9815 | 2501117.8098 | 1127295.9091
72 | 2501160.2521 | 1127278.128 | 2501163.3534 | 1127285.3706 | 2501165.3587 | 1127290.163 | 2501169.8453 | 1127301.0408 | 2501170.8168 | 1127303.1777
73 | 2501117.8098 | 1127295.9091 | 2501103.9458 | 1127301.8835
74 | 2501097.9532 | 1127304.4659 | 2501103.9458 | 1127301.8835
75 | 2501097.9532 | 1127304.4659 | 2501084.8964 | 1127310.0924 | 2501081.0809 | 1127311.8495
76 | 2501025.9637 | 1127336.2074 | 2501032.7216 | 1127333.3837 | 2501039.2362 | 1127330.5666
77 | 2501064.8696 | 1127319.315 | 2501044.2396 | 1127328.403 | 2501039.2362 | 1127330.5666
78 | 2501064.8696 | 1127319.315 | 2501081.0809 | 1127311.8495
79 | 2501064.8696 | 1127319.315 | 2501077.3117 | 1127347.6851
80 | 2501062.2055 | 1127230.2359 | 2501057.3101 | 1127232.4072 | 2501045.7381 | 1127237.5371
81 | 2501043.95 | 1127238.3297 | 2501045.7381 | 1127237.5371
82 | 2501062.2055 | 1127230.2359 | 2501068.4869 | 1127227.4498
83 | 2501043.95 | 1127238.3297 | 2501040.6614 | 1127239.8957 | 2501036.7304 | 1127241.7612 | 2501030.6336 | 1127244.6491
84 | 2501043.95 | 1127238.3297 | 2501034.9287 | 1127209.4374 | 2501032.2412 | 1127200.8222
85 | 2501068.4869 | 1127227.4498 | 2501074.2284 | 1127224.9032 | 2501075.1864 | 1127224.4774
86 | 2501030.3023 | 1127244.806 | 2501030.6336 | 1127244.6491
87 | 2501032.2412 | 1127200.8222 | 2501032.1303 | 1127200.4666 | 2501031.3413 | 1127197.9446 | 2501029.119 | 1127190.8275
88 | 2501020.027 | 1127249.6732 | 2501030.3023 | 1127244.806
89 | 2501029.119 | 1127190.8275 | 2501028.8453 | 1127189.9509
90 | 2501028.8453 | 1127189.9509 | 2501025.9848 | 1127180.7895
91 | 2501085.1832 | 1127369.4579 | 2501085.8115 | 1127368.2913 | 2501085.8156 | 1127367.135 | 2501084.4302 | 1127363.9557 | 2501081.315 | 1127356.8134 | 2501077.3117 | 1127347.6851
92 | 2501007.1551 | 1127119.8803 | 2501000.0701 | 1127097.0789
93 | 2501007.1551 | 1127119.8803 | 2501007.781 | 1127121.8946 | 2501008.246 | 1127123.392
94 | 2501000.0701 | 1127097.0789 | 2500998.7 | 1127092.6697 | 2500997.7585 | 1127089.6371
95 | 2501015.3366 | 1127146.2147 | 2501013.42 | 1127140.0468 | 2501008.9934 | 1127125.7994 | 2501008.246 | 1127123.392
96 | 2500992.4476 | 1127072.5303 | 2500997.7585 | 1127089.6371
97 | 2501015.3366 | 1127146.2147 | 2501020.2225 | 1127161.9378
98 | 2501020.2225 | 1127161.9378 | 2501020.2225 | 1127161.9378 | 2501023.0521 | 1127171.3973 | 2501023.9549 | 1127174.2886
99 | 2501023.9549 | 1127174.2886 | 2501024.3706 | 1127175.6201
100 | 2501024.3706 | 1127175.6201 | 2501025.9848 | 1127180.7895

## bus_geodata
| x | y | coords
0 | 2501181.2687 | 1127391.5245
1 | 2501152.0731 | 1127415.2366
2 | 2501199.5928 | 1127376.6788
3 | 2501121.4175 | 1127439.9989
4 | 2501201.3449 | 1127369.7681
5 | 2501206.3911 | 1127384.2389
6 | 2501091.261 | 1127464.3489
7 | 2501208.2954 | 1127364.0286
8 | 2501186.894 | 1127338.5466
9 | 2501265.326 | 1127318.1121
10 | 2501265.0668 | 1127274.8516
11 | 2501215.3772 | 1127358.3269
12 | 2501344.2285 | 1127250.9877
13 | 2501257.312 | 1127390.777
14 | 2501216.9471 | 1127496.1896
15 | 2501080.6527 | 1127473.0185
16 | 2501072.3952 | 1127479.7186
17 | 2501344.8893 | 1127278.9879
18 | 2501350.9996 | 1127282.657
19 | 2501372.4931 | 1127347.1349
20 | 2501325.3011 | 1127394.1985
21 | 2500992.0492 | 1127544.7925
22 | 2500967.0591 | 1127541.2777
23 | 2500999.4389 | 1127601.5732
24 | 2501013.4702 | 1127623.4124
25 | 2500963.4337 | 1127520.012
26 | 2501391.2441 | 1127305.5585
27 | 2501391.7868 | 1127297.6619
28 | 2501370.1816 | 1127385.8633
29 | 2501366.8705 | 1127394.5338
30 | 2501371.2357 | 1127364.3523
31 | 2501329.8188 | 1127394.2956
32 | 2501181.85 | 1127327.4475
33 | 2501265.7462 | 1127268.2206
34 | 2501243.7443 | 1127589.3997
35 | 2501325.5876 | 1127394.2046
36 | 2501327.4496 | 1127394.2447
37 | 2501001.1831 | 1127346.6564
38 | 2501025.8561 | 1127336.2524
39 | 2501112.0791 | 1127147.7229
40 | 2501112.2418 | 1127147.9462
41 | 2501099.046 | 1127131.6145
42 | 2501118.9534 | 1127157.3541
43 | 2501092.0422 | 1127124.6938
44 | 2501122.3567 | 1127163.1966
45 | 2501090.477 | 1127123.1886
46 | 2501124.3914 | 1127167.3402
47 | 2501061.0514 | 1127094.0235
48 | 2501266.7486 | 1127258.4254
49 | 2501132.4395 | 1127185.9962
50 | 2501136.8669 | 1127197.1272
51 | 2501137.5248 | 1127198.7109
52 | 2501121.143 | 1127204.0983
53 | 2501269.8033 | 1127227.9391
54 | 2501273.2221 | 1127191.8456
55 | 2501268.561 | 1127240.7002
56 | 2501275.4608 | 1127168.2203
57 | 2501254.5418 | 1127239.7954
58 | 2501247.5766 | 1127165.6386
59 | 2501247.3885 | 1127165.6212
60 | 2501231.3608 | 1127164.1387
61 | 2501143.6271 | 1127213.4014
62 | 2501104.7825 | 1127211.3517
63 | 2501153.0836 | 1127233.44
64 | 2501083.4609 | 1127220.8046
65 | 2501156.0474 | 1127239.7808
66 | 2501162.2257 | 1127253.5287
67 | 2501165.1603 | 1127262.6716
68 | 2501165.5331 | 1127267.8574
69 | 2501164.7087 | 1127272.7603
70 | 2501160.2521 | 1127278.128
71 | 2501117.8098 | 1127295.9091
72 | 2501170.8168 | 1127303.1777
73 | 2501103.9458 | 1127301.8835
74 | 2501097.9532 | 1127304.4659
75 | 2501025.9637 | 1127336.2074
76 | 2501039.2362 | 1127330.5666
77 | 2501064.8696 | 1127319.315
78 | 2501045.7381 | 1127237.5371
79 | 2501062.2055 | 1127230.2359
80 | 2501043.95 | 1127238.3297
81 | 2501068.4869 | 1127227.4498
82 | 2501030.6336 | 1127244.6491
83 | 2501032.2412 | 1127200.8222
84 | 2501075.1864 | 1127224.4774
85 | 2501030.3023 | 1127244.806
86 | 2501029.119 | 1127190.8275
87 | 2501020.027 | 1127249.6732
88 | 2501028.8453 | 1127189.9509
89 | 2501081.0809 | 1127311.8495
90 | 2501077.3117 | 1127347.6851
91 | 2501085.1832 | 1127369.4579
92 | 2501007.1551 | 1127119.8803
93 | 2501000.0701 | 1127097.0789
94 | 2501008.246 | 1127123.392
95 | 2500997.7585 | 1127089.6371
96 | 2501015.3366 | 1127146.2147
97 | 2500992.4476 | 1127072.5303
98 | 2501020.2225 | 1127161.9378
99 | 2501023.9549 | 1127174.2886
100 | 2501024.3706 | 1127175.6201
101 | 2501025.9848 | 1127180.7895
102 | 2501208.2954 | 1127364.0286

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1