## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6645-11_1_5_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_6645-11_1_5_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_6645-11_1_5_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_6645-11_1_5_node_38 | 0.4 | n |  | TRUE
4 | bus_LV_6645-11_1_5_node_211 | 0.4 | n |  | TRUE
5 | bus_LV_6645-11_1_5_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_6645-11_1_5_node_165 | 0.4 | n |  | TRUE
7 | bus_LV_6645-11_1_5_node_163 | 0.4 | n |  | TRUE
8 | bus_LV_6645-11_1_5_node_123 | 0.4 | n |  | TRUE
9 | bus_LV_6645-11_1_5_node_124 | 0.4 | n |  | TRUE
10 | bus_LV_6645-11_1_5_node_125 | 0.4 | n |  | TRUE
11 | bus_LV_6645-11_1_5_node_208 | 0.4 | n |  | TRUE
12 | bus_LV_6645-11_1_5_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_6645-11_1_5_node_127 | 0.4 | n |  | TRUE
14 | bus_LV_6645-11_1_5_node_128 | 0.4 | n |  | TRUE
15 | bus_LV_6645-11_1_5_node_157 | 0.4 | n |  | TRUE
16 | bus_LV_6645-11_1_5_node_133 | 0.4 | n |  | TRUE
17 | bus_LV_6645-11_1_5_node_134 | 0.4 | n |  | TRUE
18 | bus_LV_6645-11_1_5_node_135 | 0.4 | n |  | TRUE
19 | bus_LV_6645-11_1_5_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_6645-11_1_5_node_151 | 0.4 | n |  | TRUE
21 | bus_LV_6645-11_1_5_node_162 | 0.4 | n |  | TRUE
22 | bus_LV_6645-11_1_5_node_158 | 0.4 | n |  | TRUE
23 | bus_LV_6645-11_1_5_node_159 | 0.4 | n |  | TRUE
24 | bus_LV_6645-11_1_5_node_169 | 0.4 | n |  | TRUE
25 | bus_LV_6645-11_1_5_node_160 | 0.4 | n |  | TRUE
26 | bus_LV_6645-11_1_5_node_161 | 0.4 | n |  | TRUE
27 | bus_LV_6645-11_1_5_node_170 | 0.4 | n |  | TRUE
28 | bus_LV_6645-11_1_5_node_171 | 0.4 | n |  | TRUE
29 | bus_LV_6645-11_1_5_node_189 | 0.4 | n |  | TRUE
30 | bus_LV_6645-11_1_5_node_190 | 0.4 | n |  | TRUE
31 | bus_LV_6645-11_1_5_node_225 | 0.4 | n |  | TRUE
32 | bus_LV_6645-11_1_5_node_207 | 0.4 | n |  | TRUE
33 | bus_LV_6645-11_1_5_node_222 | 0.4 | n |  | TRUE
34 | bus_LV_6645-11_1_5_node_209 | 0.4 | n |  | TRUE
35 | bus_LV_6645-11_1_5_node_210 | 0.4 | n |  | TRUE
36 | bus_LV_6645-11_1_5_node_226 | 0.4 | n |  | TRUE
37 | bus_LV_6645-11_1_5_node_218 | 0.4 | n |  | TRUE
38 | bus_LV_6645-11_1_5_node_248 | 0.4 | n |  | TRUE
39 | bus_LV_6645-11_1_5_node_244 | 0.4 | n |  | TRUE
40 | bus_LV_6645-11_1_5_node_220 | 0.4 | n |  | TRUE
41 | bus_LV_6645-11_1_5_node_221 | 0.4 | n |  | TRUE
42 | bus_LV_6645-11_1_5_node_223 | 0.4 | n |  | TRUE
43 | bus_LV_6645-11_1_5_node_224 | 0.4 | n |  | TRUE
44 | bus_LV_6645-11_1_5_node_256 | 0.4 | n |  | TRUE
45 | bus_LV_6645-11_1_5_node_257 | 0.4 | n |  | TRUE
46 | bus_LV_6645-11_1_5_node_227 | 0.4 | n |  | TRUE
47 | bus_LV_6645-11_1_5_node_278 | 0.4 | n |  | TRUE
48 | bus_LV_6645-11_1_5_node_276 | 0.4 | n |  | TRUE
49 | bus_LV_6645-11_1_5_node_232 | 0.4 | n |  | TRUE
50 | bus_LV_6645-11_1_5_node_233 | 0.4 | n |  | TRUE
51 | bus_LV_6645-11_1_5_node_296 | 0.4 | n |  | TRUE
52 | bus_LV_6645-11_1_5_node_234 | 0.4 | n |  | TRUE
53 | bus_LV_6645-11_1_5_node_241 | 0.4 | n |  | TRUE
54 | bus_LV_6645-11_1_5_node_236 | 0.4 | n |  | TRUE
55 | bus_LV_6645-11_1_5_node_237 | 0.4 | n |  | TRUE
56 | bus_LV_6645-11_1_5_node_297 | 0.4 | n |  | TRUE
57 | bus_LV_6645-11_1_5_node_267 | 0.4 | n |  | TRUE
58 | bus_LV_6645-11_1_5_node_238 | 0.4 | n |  | TRUE
59 | bus_LV_6645-11_1_5_node_239 | 0.4 | n |  | TRUE
60 | bus_LV_6645-11_1_5_node_240 | 0.4 | n |  | TRUE
61 | bus_LV_6645-11_1_5_node_286 | 0.4 | n |  | TRUE
62 | bus_LV_6645-11_1_5_node_287 | 0.4 | n |  | TRUE
63 | bus_LV_6645-11_1_5_node_284 | 0.4 | n |  | TRUE
64 | bus_LV_6645-11_1_5_node_302 | 0.4 | n |  | TRUE
65 | bus_LV_6645-11_1_5_node_242 | 0.4 | n |  | TRUE
66 | bus_LV_6645-11_1_5_node_243 | 0.4 | n |  | TRUE
67 | bus_LV_6645-11_1_5_node_245 | 0.4 | n |  | TRUE
68 | bus_LV_6645-11_1_5_node_246 | 0.4 | n |  | TRUE
69 | bus_LV_6645-11_1_5_node_247 | 0.4 | n |  | TRUE
70 | bus_LV_6645-11_1_5_node_258 | 0.4 | n |  | TRUE
71 | bus_LV_6645-11_1_5_node_249 | 0.4 | n |  | TRUE
72 | bus_LV_6645-11_1_5_node_250 | 0.4 | n |  | TRUE
73 | bus_LV_6645-11_1_5_node_251 | 0.4 | n |  | TRUE
74 | bus_LV_6645-11_1_5_node_252 | 0.4 | n |  | TRUE
75 | bus_LV_6645-11_1_5_node_253 | 0.4 | n |  | TRUE
76 | bus_LV_6645-11_1_5_node_254 | 0.4 | n |  | TRUE
77 | bus_LV_6645-11_1_5_node_255 | 0.4 | n |  | TRUE
78 | bus_LV_6645-11_1_5_node_269 | 0.4 | n |  | TRUE
79 | bus_LV_6645-11_1_5_node_289 | 0.4 | n |  | TRUE
80 | bus_LV_6645-11_1_5_node_282 | 0.4 | n |  | TRUE
81 | bus_LV_6645-11_1_5_node_259 | 0.4 | n |  | TRUE
82 | bus_LV_6645-11_1_5_node_260 | 0.4 | n |  | TRUE
83 | bus_LV_6645-11_1_5_node_262 | 0.4 | n |  | TRUE
84 | bus_LV_6645-11_1_5_node_263 | 0.4 | n |  | TRUE
85 | bus_LV_6645-11_1_5_node_265 | 0.4 | n |  | TRUE
86 | bus_LV_6645-11_1_5_node_266 | 0.4 | n |  | TRUE
87 | bus_LV_6645-11_1_5_node_271 | 0.4 | n |  | TRUE
88 | bus_LV_6645-11_1_5_node_268 | 0.4 | n |  | TRUE
89 | bus_LV_6645-11_1_5_node_270 | 0.4 | n |  | TRUE
90 | bus_LV_6645-11_1_5_node_272 | 0.4 | n |  | TRUE
91 | bus_LV_6645-11_1_5_node_273 | 0.4 | n |  | TRUE
92 | bus_LV_6645-11_1_5_node_274 | 0.4 | n |  | TRUE
93 | bus_LV_6645-11_1_5_node_288 | 0.4 | n |  | TRUE
94 | bus_LV_6645-11_1_5_node_275 | 0.4 | n |  | TRUE
95 | bus_LV_6645-11_1_5_node_277 | 0.4 | n |  | TRUE
96 | bus_LV_6645-11_1_5_node_279 | 0.4 | n |  | TRUE
97 | bus_LV_6645-11_1_5_node_300 | 0.4 | n |  | TRUE
98 | bus_LV_6645-11_1_5_node_280 | 0.4 | n |  | TRUE
99 | bus_LV_6645-11_1_5_node_281 | 0.4 | n |  | TRUE
100 | bus_LV_6645-11_1_5_node_283 | 0.4 | n |  | TRUE
101 | bus_LV_6645-11_1_5_node_285 | 0.4 | n |  | TRUE
102 | bus_LV_6645-11_1_5_node_294 | 0.4 | n |  | TRUE
103 | bus_LV_6645-11_1_5_node_290 | 0.4 | n |  | TRUE
104 | bus_LV_6645-11_1_5_node_291 | 0.4 | n |  | TRUE
105 | bus_LV_6645-11_1_5_node_292 | 0.4 | n |  | TRUE
106 | bus_LV_6645-11_1_5_node_293 | 0.4 | n |  | TRUE
107 | bus_LV_6645-11_1_5_node_298 | 0.4 | n |  | TRUE
108 | bus_LV_6645-11_1_5_node_299 | 0.4 | n |  | TRUE
109 | bus_LV_6645-11_1_5_node_301 | 0.4 | n |  | TRUE
110 | bus_MV_460_0_node_155 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6645-11_1_5_load_34 | 0 | 0.0014071 | 0.00035266 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6645-11_1_5_load_35 | 1 | 0.0012802 | 0.00032086 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6645-11_1_5_load_37 | 2 | 0.0010079 | 0.00025261 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6645-11_1_5_load_38 | 3 | 0.00082761 | 0.00020742 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6645-11_1_5_load_211 | 4 | 0.0029566 | 0.00074101 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6645-11_1_5_load_165 | 6 | 0.0013132 | 0.00032911 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6645-11_1_5_load_163 | 7 | 0.0036622 | 0.00091783 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6645-11_1_5_load_123 | 8 | 0.0056022 | 0.0014041 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6645-11_1_5_load_124 | 9 | 0.0021839 | 0.00054734 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6645-11_1_5_load_125 | 10 | 0.0055104 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6645-11_1_5_load_208 | 11 | 0.0028682 | 0.00071884 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6645-11_1_5_load_126 | 12 | 0.0012429 | 0.0003115 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6645-11_1_5_load_127 | 13 | 0.0010901 | 0.00027321 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6645-11_1_5_load_128 | 14 | 0.0023325 | 0.00058458 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6645-11_1_5_load_157 | 15 | 0.002256 | 0.00056542 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6645-11_1_5_load_133 | 16 | 0.0019426 | 0.00048685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6645-11_1_5_load_134 | 17 | 0.0019998 | 0.00050119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6645-11_1_5_load_135 | 18 | 0.0015764 | 0.00039509 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6645-11_1_5_load_136 | 19 | 0.00065448 | 0.00016403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6645-11_1_5_load_151 | 20 | 0.00096989 | 0.00024308 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6645-11_1_5_load_162 | 21 | 0.0013146 | 0.00032948 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6645-11_1_5_load_158 | 22 | 0.0022519 | 0.00056437 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6645-11_1_5_load_159 | 23 | 0.0023322 | 0.00058451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6645-11_1_5_load_160 | 25 | 0.0010572 | 0.00026495 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6645-11_1_5_load_161 | 26 | 0.0013152 | 0.00032962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6645-11_1_5_load_170 | 27 | 0.0022391 | 0.00056118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6645-11_1_5_load_171 | 28 | 0.00095849 | 0.00024022 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6645-11_1_5_load_189 | 29 | 0.00065249 | 0.00016353 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6645-11_1_5_load_190 | 30 | 0.00093708 | 0.00023485 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6645-11_1_5_load_225 | 31 | 0.00069627 | 0.0001745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6645-11_1_5_load_207 | 32 | 0.0018797 | 0.0004711 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6645-11_1_5_load_222 | 33 | 0.00085572 | 0.00021446 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6645-11_1_5_load_209 | 34 | 0.0013747 | 0.00034453 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6645-11_1_5_load_210 | 35 | 0.00070009 | 0.00017546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6645-11_1_5_load_248 | 38 | 0.0010424 | 0.00026124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6645-11_1_5_load_220 | 40 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6645-11_1_5_load_221 | 41 | 0.0016666 | 0.00041768 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6645-11_1_5_load_223 | 42 | 0.0020082 | 0.00050331 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6645-11_1_5_load_257 | 45 | 0.0013099 | 0.0003283 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6645-11_1_5_load_276 | 48 | 0.0050151 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6645-11_1_5_load_232 | 49 | 0.0055264 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6645-11_1_5_load_296 | 51 | 0.0010159 | 0.00025462 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6645-11_1_5_load_241 | 53 | 0.0068255 | 0.0017106 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6645-11_1_5_load_297 | 56 | 0.0050057 | 0.0012545 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6645-11_1_5_load_240 | 60 | 0.0057778 | 0.001448 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6645-11_1_5_load_287 | 62 | 0.0010993 | 0.0002755 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6645-11_1_5_load_284 | 63 | 0.0015373 | 0.00038528 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6645-11_1_5_load_302 | 64 | 0.0010222 | 0.00025619 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6645-11_1_5_load_242 | 65 | 0.00097922 | 0.00024542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6645-11_1_5_load_243 | 66 | 0.0035664 | 0.00089381 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6645-11_1_5_load_245 | 67 | 0.0023251 | 0.00058273 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6645-11_1_5_load_246 | 68 | 0.0019422 | 0.00048677 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6645-11_1_5_load_247 | 69 | 0.0021198 | 0.00053128 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6645-11_1_5_load_258 | 70 | 0.00093915 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6645-11_1_5_load_249 | 71 | 0.00046709 | 0.00011706 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6645-11_1_5_load_252 | 74 | 0.00018447 | 4.6232e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6645-11_1_5_load_253 | 75 | 0.00022094 | 5.5372e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6645-11_1_5_load_254 | 76 | 0.00043066 | 0.00010793 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6645-11_1_5_load_255 | 77 | 0.00011751 | 2.9451e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6645-11_1_5_load_269 | 78 | 0.00018105 | 4.5375e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6645-11_1_5_load_289 | 79 | 0.00046932 | 0.00011762 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6645-11_1_5_load_259 | 81 | 0.0011531 | 0.00028899 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6645-11_1_5_load_260 | 82 | 0.0008332 | 0.00020882 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6645-11_1_5_load_262 | 83 | 0.0036189 | 0.00090699 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6645-11_1_5_load_263 | 84 | 0.0040792 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6645-11_1_5_load_265 | 85 | 0.001081 | 0.00027093 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6645-11_1_5_load_266 | 86 | 0.0011249 | 0.00028192 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6645-11_1_5_load_271 | 87 | 0.0015425 | 0.00038659 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6645-11_1_5_load_268 | 88 | 0.0027089 | 0.00067891 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6645-11_1_5_load_270 | 89 | 0.0042122 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6645-11_1_5_load_272 | 90 | 0.0035186 | 0.00088185 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6645-11_1_5_load_273 | 91 | 0.0016318 | 0.00040896 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6645-11_1_5_load_274 | 92 | 0.0010356 | 0.00025954 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6645-11_1_5_load_288 | 93 | 0.00081407 | 0.00020402 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6645-11_1_5_load_275 | 94 | 0.00087057 | 0.00021818 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6645-11_1_5_load_277 | 95 | 0.0016737 | 0.00041948 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6645-11_1_5_load_279 | 96 | 0.00090499 | 0.00022681 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6645-11_1_5_load_300 | 97 | 0.00075073 | 0.00018815 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6645-11_1_5_load_280 | 98 | 0.0010191 | 0.00025541 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6645-11_1_5_load_281 | 99 | 0.0061914 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6645-11_1_5_load_283 | 100 | 0.0046864 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6645-11_1_5_load_285 | 101 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6645-11_1_5_load_294 | 102 | 0.0012019 | 0.00030123 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6645-11_1_5_load_290 | 103 | 0.00069908 | 0.00017521 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6645-11_1_5_load_291 | 104 | 0.00069626 | 0.0001745 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6645-11_1_5_load_292 | 105 | 0.00084553 | 0.00021191 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6645-11_1_5_load_293 | 106 | 0.0021421 | 0.00053686 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6645-11_1_5_load_298 | 107 | 0.00047797 | 0.00011979 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6645-11_1_5_load_299 | 108 | 0.00166 | 0.00041603 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6645-11_1_5_load_301 | 109 | 0.001803 | 0.00045187 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6645-11_1_5_line_0 |  | 0 | 1 | 0.030481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6645-11_1_5_line_1 |  | 1 | 2 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6645-11_1_5_line_2 |  | 2 | 3 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6645-11_1_5_line_3 |  | 3 | 4 | 0.035762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6645-11_1_5_line_4 |  | 4 | 37 | 0.03843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6645-11_1_5_line_5 |  | 5 | 6 | 0.032779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6645-11_1_5_line_6 |  | 5 | 7 | 0.030508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6645-11_1_5_line_7 |  | 6 | 24 | 0.022476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6645-11_1_5_line_8 |  | 7 | 26 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6645-11_1_5_line_9 |  | 8 | 9 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6645-11_1_5_line_10 |  | 8 | 10 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6645-11_1_5_line_11 |  | 8 | 11 | 0.057589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6645-11_1_5_line_12 |  | 9 | 12 | 0.013687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6645-11_1_5_line_13 |  | 10 | 13 | 0.004392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6645-11_1_5_line_14 |  | 11 | 32 | 0.032301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6645-11_1_5_line_15 |  | 13 | 14 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6645-11_1_5_line_16 |  | 14 | 15 | 0.030306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6645-11_1_5_line_17 |  | 15 | 22 | 0.023383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6645-11_1_5_line_18 |  | 16 | 17 | 0.039843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6645-11_1_5_line_19 |  | 17 | 18 | 0.0065898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6645-11_1_5_line_20 |  | 18 | 19 | 0.022585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6645-11_1_5_line_21 |  | 19 | 20 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6645-11_1_5_line_22 |  | 20 | 21 | 0.0073492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6645-11_1_5_line_23 |  | 21 | 25 | 0.027523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6645-11_1_5_line_24 |  | 22 | 23 | 0.0086144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6645-11_1_5_line_25 |  | 23 | 24 | 0.060903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6645-11_1_5_line_26 |  | 24 | 27 | 0.034442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6645-11_1_5_line_27 |  | 25 | 26 | 0.026367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6645-11_1_5_line_28 |  | 27 | 28 | 0.043455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6645-11_1_5_line_29 |  | 28 | 29 | 0.0078763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6645-11_1_5_line_30 |  | 29 | 30 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6645-11_1_5_line_31 |  | 30 | 31 | 0.021035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6645-11_1_5_line_32 |  | 31 | 36 | 0.04175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6645-11_1_5_line_33 |  | 32 | 33 | 0.047521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6645-11_1_5_line_34 |  | 33 | 40 | 0.019639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6645-11_1_5_line_35 |  | 34 | 35 | 0.035375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6645-11_1_5_line_36 |  | 35 | 36 | 0.023634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6645-11_1_5_line_37 |  | 36 | 46 | 0.032129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6645-11_1_5_line_38 |  | 37 | 38 | 0.026288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6645-11_1_5_line_39 |  | 37 | 39 | 0.003822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6645-11_1_5_line_40 |  | 38 | 44 | 0.019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6645-11_1_5_line_41 |  | 39 | 68 | 0.038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6645-11_1_5_line_42 |  | 39 | 65 | 0.022378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6645-11_1_5_line_43 |  | 40 | 41 | 0.030991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6645-11_1_5_line_44 |  | 41 | 42 | 0.035696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6645-11_1_5_line_45 |  | 42 | 43 | 0.023277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6645-11_1_5_line_46 |  | 43 | 44 | 0.007152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6645-11_1_5_line_47 |  | 43 | 45 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6645-11_1_5_line_48 |  | 44 | 80 | 0.052286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6645-11_1_5_line_49 |  | 45 | 61 | 0.061192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6645-11_1_5_line_50 |  | 46 | 47 | 0.039061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6645-11_1_5_line_51 |  | 46 | 48 | 0.035949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6645-11_1_5_line_52 |  | 47 | 96 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6645-11_1_5_line_53 |  | 48 | 94 | 0.026403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6645-11_1_5_line_54 |  | 49 | 50 | 0.02669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6645-11_1_5_line_55 |  | 49 | 51 | 0.037707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6645-11_1_5_line_56 |  | 50 | 52 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6645-11_1_5_line_57 |  | 51 | 54 | 0.048323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6645-11_1_5_line_58 |  | 52 | 53 | 0.0019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6645-11_1_5_line_59 |  | 53 | 64 | 0.039604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6645-11_1_5_line_60 |  | 54 | 55 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6645-11_1_5_line_61 |  | 55 | 56 | 0.039567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6645-11_1_5_line_62 |  | 55 | 57 | 0.059838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6645-11_1_5_line_63 |  | 57 | 88 | 0.063021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6645-11_1_5_line_64 |  | 58 | 59 | 0.044529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6645-11_1_5_line_65 |  | 58 | 60 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6645-11_1_5_line_66 |  | 59 | 61 | 0.054529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6645-11_1_5_line_67 |  | 59 | 62 | 0.015198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6645-11_1_5_line_68 |  | 60 | 63 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6645-11_1_5_line_69 |  | 61 | 102 | 0.022766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6645-11_1_5_line_70 |  | 62 | 103 | 0.026826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6645-11_1_5_line_71 |  | 63 | 101 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6645-11_1_5_line_72 |  | 64 | 109 | 0.066247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6645-11_1_5_line_73 |  | 65 | 66 | 0.038158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6645-11_1_5_line_74 |  | 66 | 67 | 0.048193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6645-11_1_5_line_75 |  | 68 | 69 | 0.033165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6645-11_1_5_line_76 |  | 69 | 70 | 0.032552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6645-11_1_5_line_77 |  | 70 | 81 | 0.038119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6645-11_1_5_line_78 |  | 71 | 72 | 0.0085932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6645-11_1_5_line_79 |  | 72 | 73 | 0.027492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6645-11_1_5_line_80 |  | 72 | 74 | 0.02435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6645-11_1_5_line_81 |  | 73 | 75 | 0.0070789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6645-11_1_5_line_82 |  | 73 | 76 | 0.012306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6645-11_1_5_line_83 |  | 74 | 77 | 0.0071473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6645-11_1_5_line_84 |  | 75 | 78 | 0.038082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6645-11_1_5_line_85 |  | 76 | 79 | 0.025495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6645-11_1_5_line_86 |  | 78 | 88 | 0.013767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6645-11_1_5_line_87 |  | 79 | 93 | 0.026649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6645-11_1_5_line_88 |  | 80 | 100 | 0.053882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6645-11_1_5_line_89 |  | 80 | 99 | 0.033246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6645-11_1_5_line_90 |  | 81 | 82 | 0.026164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6645-11_1_5_line_91 |  | 82 | 83 | 0.034989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6645-11_1_5_line_92 |  | 83 | 84 | 0.0080978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6645-11_1_5_line_93 |  | 85 | 86 | 0.0099257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6645-11_1_5_line_94 |  | 86 | 87 | 0.058287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6645-11_1_5_line_95 |  | 87 | 91 | 0.028431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6645-11_1_5_line_96 |  | 87 | 89 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6645-11_1_5_line_97 |  | 89 | 90 | 0.012102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6645-11_1_5_line_98 |  | 91 | 92 | 0.027178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6645-11_1_5_line_99 |  | 92 | 93 | 0.025938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6645-11_1_5_line_100 |  | 94 | 95 | 0.0013185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6645-11_1_5_line_101 |  | 96 | 97 | 0.052548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_6645-11_1_5_line_102 |  | 97 | 109 | 0.035853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_6645-11_1_5_line_103 |  | 98 | 99 | 0.01268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6645-11_1_5_line_104 |  | 102 | 107 | 0.0091813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6645-11_1_5_line_105 |  | 103 | 104 | 0.024144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6645-11_1_5_line_106 |  | 104 | 105 | 0.034313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6645-11_1_5_line_107 |  | 105 | 106 | 0.0089437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6645-11_1_5_line_108 |  | 107 | 108 | 0.023057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6645-11_1_5_trafo_286 | 0.63 MVA 20/0.4 kV | 110 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2502217.1151 | 1113458.1391 | 2502226.6522 | 1113453.8288 | 2502244.4356 | 1113444.6451
1 | 2502217.1151 | 1113458.1391 | 2502195.8745 | 1113467.7386
2 | 2502195.8745 | 1113467.7386 | 2502180.9459 | 1113474.4854
3 | 2502148.0042 | 1113488.3895 | 2502169.3498 | 1113479.7262 | 2502180.9459 | 1113474.4854
4 | 2502112.8751 | 1113503.754 | 2502117.2241 | 1113500.8819 | 2502148.0042 | 1113488.3895
5 | 2502389.7478 | 1113215.7158 | 2502358.1822 | 1113206.8789
6 | 2502389.7478 | 1113215.7158 | 2502387.6804 | 1113219.2513 | 2502374.3405 | 1113242.0477
7 | 2502336.5352 | 1113200.8314 | 2502341.5715 | 1113202.2288 | 2502358.1822 | 1113206.8789
8 | 2502374.3405 | 1113242.0477 | 2502361.3929 | 1113264.1737
9 | 2502239.3321 | 1113358.5501 | 2502231.0763 | 1113371.9449
10 | 2502255.9076 | 1113331.6569 | 2502239.3321 | 1113358.5501
11 | 2502239.3321 | 1113358.5501 | 2502190.6249 | 1113327.8247
12 | 2502223.8949 | 1113383.5964 | 2502231.0763 | 1113371.9449
13 | 2502255.9076 | 1113331.6569 | 2502258.212 | 1113327.918
14 | 2502173.3776 | 1113355.1356 | 2502190.6249 | 1113327.8247
15 | 2502258.212 | 1113327.918 | 2502271.8941 | 1113305.7192
16 | 2502287.7954 | 1113279.9198 | 2502271.8941 | 1113305.7192
17 | 2502287.7954 | 1113279.9198 | 2502300.0645 | 1113260.0136
18 | 2502285.8811 | 1113393.2148 | 2502306.0043 | 1113358.8265
19 | 2502309.3326 | 1113353.139 | 2502306.0043 | 1113358.8265
20 | 2502309.3326 | 1113353.139 | 2502320.7392 | 1113333.6464
21 | 2502320.7392 | 1113333.6464 | 2502330.4633 | 1113317.0289
22 | 2502330.4633 | 1113317.0289 | 2502334.1751 | 1113310.6859
23 | 2502348.0759 | 1113286.9309 | 2502334.1751 | 1113310.6859
24 | 2502304.5844 | 1113252.6803 | 2502300.0645 | 1113260.0136
25 | 2502336.5352 | 1113200.8314 | 2502334.3748 | 1113204.3462 | 2502304.5844 | 1113252.6803
26 | 2502336.5352 | 1113200.8314 | 2502307.9733 | 1113193.0873 | 2502303.2416 | 1113192.0294
27 | 2502348.0759 | 1113286.9309 | 2502361.3929 | 1113264.1737
28 | 2502260.2615 | 1113186.3192 | 2502262.8482 | 1113186.3003 | 2502274.9588 | 1113187.0831 | 2502279.7258 | 1113187.5954 | 2502285.8829 | 1113188.5521 | 2502295.2657 | 1113190.2462 | 2502303.2416 | 1113192.0294
29 | 2502252.3855 | 1113186.3766 | 2502260.2615 | 1113186.3192
30 | 2502239.6823 | 1113187.1482 | 2502249.0524 | 1113186.4009 | 2502252.3855 | 1113186.3766
31 | 2502239.6823 | 1113187.1482 | 2502230.6975 | 1113187.8649 | 2502218.7606 | 1113189.2921
32 | 2502177.2752 | 1113193.976 | 2502195.6459 | 1113192.0558 | 2502218.7606 | 1113189.2921
33 | 2502178.7901 | 1113402.3478 | 2502173.3776 | 1113355.1356
34 | 2502178.7901 | 1113402.3478 | 2502162.2289 | 1113412.9023
35 | 2502190.204 | 1113251.5518 | 2502182.453 | 1113217.0364
36 | 2502177.2752 | 1113193.976 | 2502178.1327 | 1113197.7979 | 2502182.453 | 1113217.0364
37 | 2502145.1369 | 1113192.4834 | 2502158.3165 | 1113193.9268 | 2502167.7996 | 1113194.1848 | 2502177.2752 | 1113193.976
38 | 2502112.8751 | 1113503.754 | 2502107.5851 | 1113497.1688 | 2502103.2389 | 1113491.1464 | 2502099.5815 | 1113485.68 | 2502097.7308 | 1113482.3181
39 | 2502112.8751 | 1113503.754 | 2502115.6067 | 1113506.4337
40 | 2502088.5346 | 1113465.6128 | 2502097.7308 | 1113482.3181
41 | 2502115.6067 | 1113506.4337 | 2502119.9077 | 1113509.6662 | 2502126.2986 | 1113514.1101 | 2502135.3339 | 1113518.7113 | 2502149.4885 | 1113525.5535
42 | 2502115.6067 | 1113506.4337 | 2502106.059 | 1113511.7025 | 2502095.5589 | 1113516.3267
43 | 2502162.2289 | 1113412.9023 | 2502136.094 | 1113429.5581
44 | 2502136.094 | 1113429.5581 | 2502132.6985 | 1113431.7221 | 2502105.3061 | 1113447.6151
45 | 2502085.1724 | 1113459.2966 | 2502105.3061 | 1113447.6151
46 | 2502088.5346 | 1113465.6128 | 2502085.1724 | 1113459.2966
47 | 2502085.1724 | 1113459.2966 | 2502075.5427 | 1113439.6461
48 | 2502039.4789 | 1113484.0956 | 2502088.5346 | 1113465.6128
49 | 2502042.0416 | 1113388.5503 | 2502059.603 | 1113412.5478 | 2502073.4208 | 1113435.3162 | 2502075.5427 | 1113439.6461
50 | 2502145.1369 | 1113192.4834 | 2502106.3309 | 1113187.1296
51 | 2502145.1369 | 1113192.4834 | 2502144.3923 | 1113200.4226 | 2502151.0523 | 1113227.5936
52 | 2502106.3309 | 1113187.1296 | 2502097.1155 | 1113186.2336 | 2502092.0587 | 1113185.9633
53 | 2502157.338 | 1113253.238 | 2502151.0523 | 1113227.5936
54 | 2501973.9626 | 1113236.1018 | 2501963.3907 | 1113239.2083 | 2501952.2451 | 1113241.7125 | 2501948.0533 | 1113242.3963
55 | 2501948.0533 | 1113242.3963 | 2501916.7507 | 1113221.374
56 | 2501989.6463 | 1113229.0324 | 2501981.0099 | 1113233.3527 | 2501973.9626 | 1113236.1018
57 | 2501916.7507 | 1113221.374 | 2501872.9862 | 1113241.8634
58 | 2501989.6463 | 1113229.0324 | 2501991.3071 | 1113228.0661
59 | 2502025.2701 | 1113207.6987 | 2502005.4501 | 1113219.8375 | 2501991.3071 | 1113228.0661
60 | 2501872.9862 | 1113241.8634 | 2501857.0454 | 1113242.1219
61 | 2501857.0454 | 1113242.1219 | 2501858.6458 | 1113239.3387 | 2501872.6004 | 1113226.171 | 2501874.0281 | 1113223.7019 | 2501873.4935 | 1113221.2201 | 2501868.5233 | 1113212.473 | 2501867.9552 | 1113210.8511
62 | 2501800.3981 | 1113247.4883 | 2501842.1395 | 1113246.6442 | 2501855.801 | 1113246.367 | 2501857.0454 | 1113242.1219
63 | 2501737.3868 | 1113248.5832 | 2501800.3981 | 1113247.4883
64 | 2502000.7935 | 1113299.1178 | 2502016.563 | 1113340.7662
65 | 2502000.7935 | 1113299.1178 | 2501990.0845 | 1113307.4412
66 | 2502016.563 | 1113340.7662 | 2502024.1614 | 1113360.6111 | 2502028.833 | 1113370.4972 | 2502042.0416 | 1113388.5503
67 | 2502016.563 | 1113340.7662 | 2502004.6395 | 1113350.1907
68 | 2501990.0845 | 1113307.4412 | 2501966.4572 | 1113325.8052
69 | 2502042.0416 | 1113388.5503 | 2502022.6395 | 1113400.4599
70 | 2501983.5935 | 1113366.8257 | 2502004.6395 | 1113350.1907
71 | 2501946.7107 | 1113341.1529 | 2501966.4572 | 1113325.8052
72 | 2502025.2701 | 1113207.6987 | 2502064.4501 | 1113261.1176
73 | 2502095.5589 | 1113516.3267 | 2502060.637 | 1113531.7062
74 | 2502060.637 | 1113531.7062 | 2502016.5318 | 1113551.1299
75 | 2502149.4885 | 1113525.5535 | 2502120.0412 | 1113540.8096
76 | 2502120.0412 | 1113540.8096 | 2502091.1379 | 1113555.784
77 | 2502091.1379 | 1113555.784 | 2502057.292 | 1113573.3191
78 | 2501652.7275 | 1113263.5286 | 2501644.8742 | 1113267.017
79 | 2501652.7275 | 1113263.5286 | 2501666.624 | 1113258.6999 | 2501678.9728 | 1113255.1304
80 | 2501652.7275 | 1113263.5286 | 2501644.2661 | 1113255.3165 | 2501635.2989 | 1113246.5241
81 | 2501678.9728 | 1113255.1304 | 2501685.8905 | 1113253.6289
82 | 2501678.9728 | 1113255.1304 | 2501682.1807 | 1113258.5805 | 2501683.3521 | 1113259.8289 | 2501687.3637 | 1113264.1325
83 | 2501630.1955 | 1113241.5202 | 2501635.2989 | 1113246.5241
84 | 2501685.8905 | 1113253.6289 | 2501693.0911 | 1113252.0659 | 2501704.0955 | 1113250.3862 | 2501716.4625 | 1113249.3626 | 2501723.6285 | 1113249.0518
85 | 2501704.5621 | 1113282.9469 | 2501700.9322 | 1113278.6885 | 2501687.3637 | 1113264.1325
86 | 2501737.3868 | 1113248.5832 | 2501731.632 | 1113248.7048 | 2501723.6285 | 1113249.0518
87 | 2501721.8494 | 1113303.2274 | 2501704.5621 | 1113282.9469
88 | 2502015.5067 | 1113435.8202 | 2502039.4789 | 1113484.0956
89 | 2502039.4789 | 1113484.0956 | 2502008.3904 | 1113495.8757
90 | 2502034.0608 | 1113585.3548 | 2502057.292 | 1113573.3191
91 | 2502034.0608 | 1113585.3548 | 2502057.5781 | 1113611.2622
92 | 2502057.5781 | 1113611.2622 | 2502065.1857 | 1113608.4873
93 | 2501804.8478 | 1113310.8998 | 2501810.3678 | 1113319.149
94 | 2501774.7507 | 1113365.2881 | 2501810.3678 | 1113319.149
95 | 2501756.3069 | 1113343.6509 | 2501774.7507 | 1113365.2881
96 | 2501793.9623 | 1113387.826 | 2501774.7507 | 1113365.2881
97 | 2501801.8132 | 1113397.0362 | 2501793.9623 | 1113387.826
98 | 2501756.3069 | 1113343.6509 | 2501738.6759 | 1113322.9672
99 | 2501738.6759 | 1113322.9672 | 2501721.8494 | 1113303.2274
100 | 2502157.338 | 1113253.238 | 2502157.6519 | 1113254.5185
101 | 2502092.0587 | 1113185.9633 | 2502092.2778 | 1113238.511
102 | 2502092.2778 | 1113238.511 | 2502064.4501 | 1113261.1176
103 | 2501996.5329 | 1113500.3687 | 2502008.3904 | 1113495.8757
104 | 2502022.6395 | 1113400.4599 | 2502014.8147 | 1113405.263
105 | 2501983.5935 | 1113366.8257 | 2501964.6522 | 1113381.7973
106 | 2501964.6522 | 1113381.7973 | 2501937.7328 | 1113403.0747
107 | 2501930.7163 | 1113408.6207 | 2501937.7328 | 1113403.0747
108 | 2502014.8147 | 1113405.263 | 2501995.1648 | 1113417.3246

## bus_geodata
| x | y | coords
0 | 2502244.4356 | 1113444.6451
1 | 2502217.1151 | 1113458.1391
2 | 2502195.8745 | 1113467.7386
3 | 2502180.9459 | 1113474.4854
4 | 2502148.0042 | 1113488.3895
5 | 2502389.7478 | 1113215.7158
6 | 2502358.1822 | 1113206.8789
7 | 2502374.3405 | 1113242.0477
8 | 2502239.3321 | 1113358.5501
9 | 2502231.0763 | 1113371.9449
10 | 2502255.9076 | 1113331.6569
11 | 2502190.6249 | 1113327.8247
12 | 2502223.8949 | 1113383.5964
13 | 2502258.212 | 1113327.918
14 | 2502271.8941 | 1113305.7192
15 | 2502287.7954 | 1113279.9198
16 | 2502285.8811 | 1113393.2148
17 | 2502306.0043 | 1113358.8265
18 | 2502309.3326 | 1113353.139
19 | 2502320.7392 | 1113333.6464
20 | 2502330.4633 | 1113317.0289
21 | 2502334.1751 | 1113310.6859
22 | 2502300.0645 | 1113260.0136
23 | 2502304.5844 | 1113252.6803
24 | 2502336.5352 | 1113200.8314
25 | 2502348.0759 | 1113286.9309
26 | 2502361.3929 | 1113264.1737
27 | 2502303.2416 | 1113192.0294
28 | 2502260.2615 | 1113186.3192
29 | 2502252.3855 | 1113186.3766
30 | 2502239.6823 | 1113187.1482
31 | 2502218.7606 | 1113189.2921
32 | 2502173.3776 | 1113355.1356
33 | 2502178.7901 | 1113402.3478
34 | 2502190.204 | 1113251.5518
35 | 2502182.453 | 1113217.0364
36 | 2502177.2752 | 1113193.976
37 | 2502112.8751 | 1113503.754
38 | 2502097.7308 | 1113482.3181
39 | 2502115.6067 | 1113506.4337
40 | 2502162.2289 | 1113412.9023
41 | 2502136.094 | 1113429.5581
42 | 2502105.3061 | 1113447.6151
43 | 2502085.1724 | 1113459.2966
44 | 2502088.5346 | 1113465.6128
45 | 2502075.5427 | 1113439.6461
46 | 2502145.1369 | 1113192.4834
47 | 2502106.3309 | 1113187.1296
48 | 2502151.0523 | 1113227.5936
49 | 2501948.0533 | 1113242.3963
50 | 2501973.9626 | 1113236.1018
51 | 2501916.7507 | 1113221.374
52 | 2501989.6463 | 1113229.0324
53 | 2501991.3071 | 1113228.0661
54 | 2501872.9862 | 1113241.8634
55 | 2501857.0454 | 1113242.1219
56 | 2501867.9552 | 1113210.8511
57 | 2501800.3981 | 1113247.4883
58 | 2502000.7935 | 1113299.1178
59 | 2502016.563 | 1113340.7662
60 | 2501990.0845 | 1113307.4412
61 | 2502042.0416 | 1113388.5503
62 | 2502004.6395 | 1113350.1907
63 | 2501966.4572 | 1113325.8052
64 | 2502025.2701 | 1113207.6987
65 | 2502095.5589 | 1113516.3267
66 | 2502060.637 | 1113531.7062
67 | 2502016.5318 | 1113551.1299
68 | 2502149.4885 | 1113525.5535
69 | 2502120.0412 | 1113540.8096
70 | 2502091.1379 | 1113555.784
71 | 2501644.8742 | 1113267.017
72 | 2501652.7275 | 1113263.5286
73 | 2501678.9728 | 1113255.1304
74 | 2501635.2989 | 1113246.5241
75 | 2501685.8905 | 1113253.6289
76 | 2501687.3637 | 1113264.1325
77 | 2501630.1955 | 1113241.5202
78 | 2501723.6285 | 1113249.0518
79 | 2501704.5621 | 1113282.9469
80 | 2502039.4789 | 1113484.0956
81 | 2502057.292 | 1113573.3191
82 | 2502034.0608 | 1113585.3548
83 | 2502057.5781 | 1113611.2622
84 | 2502065.1857 | 1113608.4873
85 | 2501804.8478 | 1113310.8998
86 | 2501810.3678 | 1113319.149
87 | 2501774.7507 | 1113365.2881
88 | 2501737.3868 | 1113248.5832
89 | 2501793.9623 | 1113387.826
90 | 2501801.8132 | 1113397.0362
91 | 2501756.3069 | 1113343.6509
92 | 2501738.6759 | 1113322.9672
93 | 2501721.8494 | 1113303.2274
94 | 2502157.338 | 1113253.238
95 | 2502157.6519 | 1113254.5185
96 | 2502092.0586 | 1113185.9633
97 | 2502092.2778 | 1113238.511
98 | 2501996.5329 | 1113500.3687
99 | 2502008.3904 | 1113495.8757
100 | 2502015.5067 | 1113435.8202
101 | 2501946.7107 | 1113341.1529
102 | 2502022.6395 | 1113400.4599
103 | 2501983.5935 | 1113366.8257
104 | 2501964.6522 | 1113381.7973
105 | 2501937.7328 | 1113403.0747
106 | 2501930.7163 | 1113408.6207
107 | 2502014.8147 | 1113405.263
108 | 2501995.1648 | 1113417.3246
109 | 2502064.4501 | 1113261.1176
110 | 2502016.563 | 1113340.7662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1