## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_69-19_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_69-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_69-19_0_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_69-19_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_69-19_0_3_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_69-19_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_69-19_0_3_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_69-19_0_3_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_69-19_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_69-19_0_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_69-19_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_69-19_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_69-19_0_3_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_69-19_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_69-19_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_69-19_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_69-19_0_3_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_69-19_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_69-19_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_69-19_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_69-19_0_3_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_69-19_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_69-19_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_69-19_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_69-19_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_69-19_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_69-19_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_69-19_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_69-19_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_69-19_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_69-19_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_69-19_0_3_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_69-19_0_3_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_69-19_0_3_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_69-19_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_69-19_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_69-19_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_69-19_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_69-19_0_3_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_69-19_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_69-19_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_69-19_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_69-19_0_3_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_69-19_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_69-19_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_69-19_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_69-19_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_69-19_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_69-19_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_69-19_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_69-19_0_3_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_69-19_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_69-19_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_69-19_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_69-19_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_69-19_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_69-19_0_3_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_69-19_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_69-19_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_69-19_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_MV_552_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-19_0_3_load_0 | 0 | 0.019187 | 0.0048087 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-19_0_3_load_22 | 5 | 0.0047069 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-19_0_3_load_53 | 6 | 0.0020597 | 0.00051621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-19_0_3_load_42 | 8 | 0.010197 | 0.0025556 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-19_0_3_load_43 | 9 | 0.017469 | 0.0043782 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-19_0_3_load_41 | 11 | 0.011153 | 0.0027951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-19_0_3_load_62 | 14 | 0.0055782 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-19_0_3_load_34 | 16 | 0.022505 | 0.0056402 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-19_0_3_load_26 | 18 | 0.0063978 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-19_0_3_load_66 | 22 | 0.0017404 | 0.00043618 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-19_0_3_load_57 | 24 | 0.004683 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-19_0_3_load_25 | 25 | 0.014015 | 0.0035124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-19_0_3_load_35 | 26 | 0.0078745 | 0.0019735 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-19_0_3_load_50 | 27 | 0.0071951 | 0.0018033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-19_0_3_load_47 | 29 | 0.0098226 | 0.0024618 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-19_0_3_load_44 | 30 | 0.0017205 | 0.00043119 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-19_0_3_load_48 | 32 | 0.0030052 | 0.00075317 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-19_0_3_load_51 | 33 | 0.0086835 | 0.0021763 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-19_0_3_load_59 | 34 | 0.0021412 | 0.00053663 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-19_0_3_load_52 | 35 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-19_0_3_load_40 | 36 | 0.01032 | 0.0025865 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-19_0_3_load_61 | 37 | 0.0075168 | 0.0018839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-19_0_3_load_24 | 39 | 0.004838 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-19_0_3_load_64 | 40 | 0.0021863 | 0.00054794 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-19_0_3_load_37 | 41 | 0.016933 | 0.0042439 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-19_0_3_load_28 | 43 | 0.0018863 | 0.00047274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-19_0_3_load_27 | 44 | 0.01368 | 0.0034284 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-19_0_3_load_55 | 45 | 0.0050315 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-19_0_3_load_23 | 46 | 0.0076083 | 0.0019068 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-19_0_3_load_36 | 47 | 0.00795 | 0.0019925 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-19_0_3_load_49 | 48 | 0.0038017 | 0.00095281 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-19_0_3_load_45 | 49 | 0.0068491 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-19_0_3_load_46 | 50 | 0.0047906 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_69-19_0_3_load_60 | 51 | 0.0021764 | 0.00054546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_69-19_0_3_load_32 | 53 | 0.0066406 | 0.0016643 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_69-19_0_3_load_31 | 55 | 0.013922 | 0.0034893 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_69-19_0_3_load_63 | 57 | 0.0059045 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_69-19_0_3_load_65 | 58 | 0.037917 | 0.0095029 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_69-19_0_3_load_54 | 59 | 0.0061701 | 0.0015464 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_69-19_0_3_load_56 | 60 | 0.009153 | 0.002294 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_69-19_0_3_load_58 | 61 | 0.0038726 | 0.00097056 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-19_0_3_line_0 |  | 0 | 1 | 0.01541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-19_0_3_line_1 |  | 1 | 2 | 0.052039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_69-19_0_3_line_2 |  | 2 | 6 | 0.01623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_69-19_0_3_line_3 |  | 2 | 3 | 0.04317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-19_0_3_line_4 |  | 3 | 4 | 0.006183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-19_0_3_line_5 |  | 3 | 5 | 0.0084303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-19_0_3_line_6 |  | 4 | 27 | 0.035713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-19_0_3_line_7 |  | 4 | 23 | 0.005155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-19_0_3_line_8 |  | 6 | 35 | 0.025527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-19_0_3_line_9 |  | 7 | 8 | 0.025849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_69-19_0_3_line_10 |  | 7 | 9 | 0.054689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-19_0_3_line_11 |  | 7 | 10 | 0.0099468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_69-19_0_3_line_12 |  | 7 | 11 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-19_0_3_line_13 |  | 8 | 36 | 0.0076149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_69-19_0_3_line_14 |  | 10 | 25 | 0.025041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_69-19_0_3_line_15 |  | 12 | 13 | 0.022898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-19_0_3_line_16 |  | 12 | 14 | 0.0089205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-19_0_3_line_17 |  | 13 | 26 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_69-19_0_3_line_18 |  | 14 | 37 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-19_0_3_line_19 |  | 15 | 16 | 0.024153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-19_0_3_line_20 |  | 15 | 17 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_69-19_0_3_line_21 |  | 15 | 18 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_69-19_0_3_line_22 |  | 16 | 38 | 0.0010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-19_0_3_line_23 |  | 17 | 20 | 0.035747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_69-19_0_3_line_24 |  | 18 | 39 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_69-19_0_3_line_25 |  | 19 | 20 | 0.004609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_69-19_0_3_line_26 |  | 19 | 21 | 0.049216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_69-19_0_3_line_27 |  | 19 | 22 | 0.03212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-19_0_3_line_28 |  | 21 | 34 | 0.043602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_69-19_0_3_line_29 |  | 22 | 40 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-19_0_3_line_30 |  | 23 | 24 | 0.0035391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-19_0_3_line_31 |  | 24 | 45 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-19_0_3_line_32 |  | 25 | 46 | 0.01926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_69-19_0_3_line_33 |  | 27 | 48 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-19_0_3_line_34 |  | 28 | 29 | 0.027662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_69-19_0_3_line_35 |  | 28 | 30 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_69-19_0_3_line_36 |  | 29 | 48 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_69-19_0_3_line_37 |  | 30 | 49 | 0.0012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-19_0_3_line_38 |  | 31 | 32 | 0.021881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-19_0_3_line_39 |  | 31 | 33 | 0.027226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-19_0_3_line_40 |  | 32 | 50 | 0.013965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-19_0_3_line_41 |  | 34 | 51 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_69-19_0_3_line_42 |  | 36 | 42 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_69-19_0_3_line_43 |  | 37 | 57 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-19_0_3_line_44 |  | 38 | 52 | 0.025763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-19_0_3_line_45 |  | 39 | 46 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_69-19_0_3_line_46 |  | 41 | 42 | 0.047769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_69-19_0_3_line_47 |  | 42 | 56 | 0.003963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_69-19_0_3_line_48 |  | 42 | 47 | 0.035289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-19_0_3_line_49 |  | 43 | 44 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-19_0_3_line_50 |  | 44 | 52 | 0.039585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-19_0_3_line_51 |  | 45 | 59 | 0.020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_69-19_0_3_line_52 |  | 49 | 50 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-19_0_3_line_53 |  | 51 | 61 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_69-19_0_3_line_54 |  | 52 | 55 | 0.012066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-19_0_3_line_55 |  | 53 | 54 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_69-19_0_3_line_56 |  | 54 | 55 | 0.0034894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-19_0_3_line_57 |  | 56 | 57 | 0.037433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_69-19_0_3_line_58 |  | 56 | 58 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_69-19_0_3_line_59 |  | 59 | 60 | 0.035592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_69-19_0_3_line_60 |  | 60 | 61 | 0.024218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-19_0_3_trafo_65 | 0.63 MVA 20/0.4 kV | 62 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687169.4616 | 1252192.8815 | 2687162.2222 | 1252179.2781
1 | 2687124.6599 | 1252218.9535 | 2687131.7736 | 1252213.0536 | 2687135.3405 | 1252211.7273 | 2687137.108 | 1252210.608 | 2687139.9958 | 1252209.2717 | 2687169.4616 | 1252192.8815
2 | 2687124.6599 | 1252218.9535 | 2687116.2015 | 1252225.9678 | 2687112.4709 | 1252229.6496
3 | 2687104.1423 | 1252183.7696 | 2687107.3444 | 1252184.6618 | 2687110.6141 | 1252187.1229 | 2687119.3473 | 1252201.451 | 2687120.1201 | 1252212.5374 | 2687124.6599 | 1252218.9535
4 | 2687101.2489 | 1252178.3007 | 2687104.1423 | 1252183.7696
5 | 2687104.1423 | 1252183.7696 | 2687100.6837 | 1252184.397 | 2687096.2639 | 1252186.5478
6 | 2687101.2489 | 1252178.3007 | 2687069.1791 | 1252194.014
7 | 2687101.2489 | 1252178.3007 | 2687098.8404 | 1252173.7396
8 | 2687094.3019 | 1252247.5807 | 2687112.4709 | 1252229.6496
9 | 2686993.218 | 1252104.9026 | 2686998.6914 | 1252113.0335 | 2687005.5664 | 1252127.5337
10 | 2686993.218 | 1252104.9026 | 2686948.1833 | 1252135.9311
11 | 2686987.6098 | 1252096.6918 | 2686990.687 | 1252100.9624 | 2686993.218 | 1252104.9026
12 | 2686993.218 | 1252104.9026 | 2687006.943 | 1252095.5528
13 | 2687008.8287 | 1252134.4144 | 2687005.5664 | 1252127.5337
14 | 2686987.6098 | 1252096.6918 | 2686966.7906 | 1252110.6062
15 | 2687084.5034 | 1252118.576 | 2687101.4009 | 1252109.9844 | 2687102.7899 | 1252112.5401 | 2687103.2822 | 1252113.4481
16 | 2687103.2822 | 1252113.4481 | 2687095.2945 | 1252117.4194
17 | 2687084.5034 | 1252118.576 | 2687077.7318 | 1252105.0165
18 | 2687073.728 | 1252128.1418 | 2687095.2945 | 1252117.4194
19 | 2686889.866 | 1252162.0184 | 2686880.3812 | 1252139.8052
20 | 2686889.866 | 1252162.0184 | 2686892.5711 | 1252165.9277 | 2686890.6716 | 1252167.3009 | 2686894.8343 | 1252172.6882
21 | 2686889.866 | 1252162.0184 | 2686918.3546 | 1252142.9782
22 | 2686879.9567 | 1252138.8111 | 2686880.3812 | 1252139.8052
23 | 2686894.8343 | 1252172.6882 | 2686899.073 | 1252180.1005 | 2686907.3638 | 1252196.3233 | 2686914.0374 | 1252202.3924
24 | 2686935.7169 | 1252131.3742 | 2686918.3546 | 1252142.9782
25 | 2686914.0374 | 1252202.3924 | 2686915.9457 | 1252206.5902
26 | 2686915.9457 | 1252206.5902 | 2686922.5702 | 1252221.1429 | 2686935.867 | 1252251.6166
27 | 2686915.9457 | 1252206.5902 | 2686944.7071 | 1252192.29
28 | 2686935.867 | 1252251.6166 | 2686975.2082 | 1252232.8174
29 | 2686958.2781 | 1252185.5424 | 2686944.7071 | 1252192.29
30 | 2687098.8404 | 1252173.7396 | 2687095.6471 | 1252175.2655
31 | 2687095.6471 | 1252175.2655 | 2687076.5447 | 1252184.3937
32 | 2686950.778 | 1252121.3082 | 2686966.7906 | 1252110.6062
33 | 2687048.7621 | 1252204.0178 | 2687069.1791 | 1252194.014
34 | 2687001.9234 | 1252226.9674 | 2687026.7643 | 1252214.7961
35 | 2687001.9234 | 1252226.9674 | 2687007.8612 | 1252238.6878
36 | 2687048.7621 | 1252204.0178 | 2687026.7643 | 1252214.7961
37 | 2687007.8612 | 1252238.6878 | 2687008.4413 | 1252239.833
38 | 2687032.4582 | 1252287.2393 | 2687022.5695 | 1252267.7202
39 | 2687032.4582 | 1252287.2393 | 2687057.2897 | 1252276.0738
40 | 2687016.2583 | 1252255.2627 | 2687022.5695 | 1252267.7202
41 | 2686975.2082 | 1252232.8174 | 2686990.0002 | 1252225.749
42 | 2687017.1033 | 1252151.8666 | 2687008.8287 | 1252134.4144
43 | 2687073.728 | 1252128.1418 | 2687052.3204 | 1252138.7851
44 | 2686869.8282 | 1252115.1113 | 2686879.9567 | 1252138.8111
45 | 2686950.778 | 1252121.3082 | 2686935.7169 | 1252131.3742
46 | 2687017.1033 | 1252151.8666 | 2686974.0814 | 1252172.6266
47 | 2687017.1033 | 1252151.8666 | 2687018.8018 | 1252155.4499
48 | 2687017.1033 | 1252151.8666 | 2687048.8863 | 1252136.5311
49 | 2686906.5347 | 1252102.773 | 2686919.1619 | 1252096.7625
50 | 2686869.8282 | 1252115.1113 | 2686883.1431 | 1252109.9248 | 2686889.4917 | 1252110.8853 | 2686906.5347 | 1252102.773
51 | 2687057.654 | 1252193.4206 | 2687076.5447 | 1252184.3937
52 | 2687016.2583 | 1252255.2627 | 2687008.4413 | 1252239.833
53 | 2686990.0002 | 1252225.749 | 2687003.6886 | 1252219.208
54 | 2686869.8282 | 1252115.1113 | 2686864.7429 | 1252104.1689
55 | 2686863.2723 | 1252101.0045 | 2686858.7988 | 1252088.2636
56 | 2686863.2723 | 1252101.0045 | 2686864.7429 | 1252104.1689
57 | 2687018.8018 | 1252155.4499 | 2687052.3204 | 1252138.7851
58 | 2687018.8018 | 1252155.4499 | 2687004.2853 | 1252162.6675
59 | 2687057.654 | 1252193.4206 | 2687025.5402 | 1252208.7662
60 | 2687003.6886 | 1252219.208 | 2687025.5402 | 1252208.7662

## bus_geodata
| x | y | coords
0 | 2687162.2222 | 1252179.2781
1 | 2687169.4616 | 1252192.8815
2 | 2687124.6599 | 1252218.9535
3 | 2687104.1423 | 1252183.7696
4 | 2687101.2489 | 1252178.3007
5 | 2687096.2639 | 1252186.5478
6 | 2687112.4709 | 1252229.6496
7 | 2686993.218 | 1252104.9026
8 | 2687005.5664 | 1252127.5337
9 | 2686948.1833 | 1252135.9311
10 | 2686987.6098 | 1252096.6918
11 | 2687006.943 | 1252095.5528
12 | 2687103.2822 | 1252113.4481
13 | 2687084.5034 | 1252118.576
14 | 2687095.2945 | 1252117.4194
15 | 2686889.866 | 1252162.0184
16 | 2686880.3812 | 1252139.8052
17 | 2686894.8343 | 1252172.6882
18 | 2686918.3546 | 1252142.9782
19 | 2686915.9457 | 1252206.5902
20 | 2686914.0374 | 1252202.3924
21 | 2686935.867 | 1252251.6166
22 | 2686944.7071 | 1252192.29
23 | 2687098.8404 | 1252173.7396
24 | 2687095.6471 | 1252175.2655
25 | 2686966.7906 | 1252110.6062
26 | 2687077.7318 | 1252105.0165
27 | 2687069.1791 | 1252194.014
28 | 2687001.9234 | 1252226.9674
29 | 2687026.7643 | 1252214.7961
30 | 2687007.8612 | 1252238.6878
31 | 2687032.4582 | 1252287.2393
32 | 2687022.5695 | 1252267.7202
33 | 2687057.2897 | 1252276.0738
34 | 2686975.2082 | 1252232.8174
35 | 2687094.3019 | 1252247.5807
36 | 2687008.8287 | 1252134.4144
37 | 2687073.728 | 1252128.1418
38 | 2686879.9567 | 1252138.8111
39 | 2686935.7169 | 1252131.3742
40 | 2686958.2781 | 1252185.5424
41 | 2686974.0814 | 1252172.6266
42 | 2687017.1033 | 1252151.8667
43 | 2686919.1619 | 1252096.7625
44 | 2686906.5347 | 1252102.773
45 | 2687076.5447 | 1252184.3937
46 | 2686950.778 | 1252121.3082
47 | 2687048.8863 | 1252136.5311
48 | 2687048.7621 | 1252204.0178
49 | 2687008.4413 | 1252239.833
50 | 2687016.2583 | 1252255.2627
51 | 2686990.0002 | 1252225.749
52 | 2686869.8282 | 1252115.1113
53 | 2686858.7988 | 1252088.2636
54 | 2686863.2723 | 1252101.0045
55 | 2686864.7429 | 1252104.1689
56 | 2687018.8018 | 1252155.4499
57 | 2687052.3204 | 1252138.7851
58 | 2687004.2853 | 1252162.6675
59 | 2687057.654 | 1252193.4206
60 | 2687025.5402 | 1252208.7662
61 | 2687003.6886 | 1252219.208
62 | 2687018.8018 | 1252155.4499

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9732 | -0.51704 | 0.019187 | 0.0048087
1 | 0.97348 | -0.5116 | 0 | 0
2 | 0.97441 | -0.49325 | 0 | 0
3 | 0.97549 | -0.47187 | 0 | 0
4 | 0.97568 | -0.46828 | 0 | 0
5 | 0.97546 | -0.47259 | 0.0047069 | 0.0011797
6 | 0.97429 | -0.49558 | 0.0020597 | 0.00051621
7 | 0.99416 | -0.11082 | 0 | 0
8 | 0.99604 | -0.075193 | 0.010197 | 0.0025556
9 | 0.99329 | -0.12768 | 0.017469 | 0.0043782
10 | 0.99353 | -0.12289 | 0 | 0
11 | 0.994 | -0.11409 | 0.011153 | 0.0027951
12 | 0.99674 | -0.062285 | 0 | 0
13 | 0.99658 | -0.065449 | 0 | 0
14 | 0.99681 | -0.061053 | 0.0055782 | 0.001398
15 | 0.98676 | -0.25273 | 0 | 0
16 | 0.98546 | -0.27812 | 0.022505 | 0.0056402
17 | 0.98627 | -0.26226 | 0 | 0
18 | 0.9886 | -0.21734 | 0.0063978 | 0.0016034
19 | 0.98483 | -0.28997 | 0 | 0
20 | 0.98499 | -0.2868 | 0 | 0
21 | 0.98314 | -0.3227 | 0 | 0
22 | 0.98471 | -0.29223 | 0.0017404 | 0.00043618
23 | 0.97605 | -0.46095 | 0 | 0
24 | 0.9763 | -0.45593 | 0.004683 | 0.0011737
25 | 0.99194 | -0.15334 | 0.014015 | 0.0035124
26 | 0.99647 | -0.067544 | 0.0078745 | 0.0019735
27 | 0.97415 | -0.49832 | 0.0071951 | 0.0018033
28 | 0.97188 | -0.54299 | 0 | 0
29 | 0.97253 | -0.53021 | 0.0098226 | 0.0024618
30 | 0.97158 | -0.54907 | 0.0017205 | 0.00043119
31 | 0.97095 | -0.56142 | 0 | 0
32 | 0.97113 | -0.5579 | 0.0030052 | 0.00075317
33 | 0.97073 | -0.56579 | 0.0086835 | 0.0021763
34 | 0.98164 | -0.35179 | 0.0021412 | 0.00053663
35 | 0.97415 | -0.49828 | 0.005761 | 0.0014438
36 | 0.99661 | -0.064269 | 0.01032 | 0.0025865
37 | 0.9971 | -0.05537 | 0.0075168 | 0.0018839
38 | 0.98542 | -0.27882 | 0 | 0
39 | 0.98976 | -0.19505 | 0.004838 | 0.0012125
40 | 0.98468 | -0.29283 | 0.0021863 | 0.00054794
41 | 0.99739 | -0.049617 | 0.016933 | 0.0042439
42 | 0.99813 | -0.035455 | 0 | 0
43 | 0.98397 | -0.3071 | 0.0018863 | 0.00047274
44 | 0.984 | -0.30663 | 0.01368 | 0.0034284
45 | 0.97793 | -0.42413 | 0.0050315 | 0.001261
46 | 0.99079 | -0.17523 | 0.0076083 | 0.0019068
47 | 0.99787 | -0.040364 | 0.00795 | 0.0019925
48 | 0.97333 | -0.51448 | 0.0038017 | 0.00095281
49 | 0.97155 | -0.54962 | 0.0068491 | 0.0017166
50 | 0.97128 | -0.55489 | 0.0047906 | 0.0012006
51 | 0.98109 | -0.36254 | 0.0021764 | 0.00054546
52 | 0.98456 | -0.29554 | 0 | 0
53 | 0.98423 | -0.30204 | 0.0066406 | 0.0016643
54 | 0.98431 | -0.30042 | 0 | 0
55 | 0.98434 | -0.30001 | 0.013922 | 0.0034893
56 | 0.99847 | -0.028978 | 0 | 0
57 | 0.99756 | -0.046584 | 0.0059045 | 0.0014798
58 | 1 | 0 | -0.31295 | -0.079618
59 | 0.97878 | -0.40749 | 0.0061701 | 0.0015464
60 | 0.97981 | -0.38733 | 0.009153 | 0.002294
61 | 0.98058 | -0.3723 | 0.0038726 | 0.00097056
62 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019187 | -0.0048087 | 0.019192 | 0.0048117 | 4.9733e-06 | 2.9914e-06 | 0.029337 | 0.029337 | 0.029337 | 0.9732 | -0.51704 | 0.97348 | -0.5116 | 8.0595
1 | -0.019192 | -0.0048117 | 0.019209 | 0.0048218 | 1.6795e-05 | 1.0101e-05 | 0.029337 | 0.029336 | 0.029337 | 0.97348 | -0.5116 | 0.97441 | -0.49325 | 8.0595
2 | 0.0078223 | 0.0019606 | -0.0078214 | -0.0019602 | 8.6847e-07 | 3.5368e-07 | 0.011945 | 0.011946 | 0.011946 | 0.97441 | -0.49325 | 0.97429 | -0.49558 | 3.2817
3 | -0.027031 | -0.0067824 | 0.027059 | 0.0067995 | 2.7588e-05 | 1.7118e-05 | 0.041282 | 0.041282 | 0.041282 | 0.97441 | -0.49325 | 0.97549 | -0.47187 | 11.3412
4 | -0.031766 | -0.0079791 | 0.031771 | 0.0079825 | 5.4454e-06 | 3.4078e-06 | 0.048462 | 0.048462 | 0.048462 | 0.97549 | -0.47187 | 0.97568 | -0.46828 | 13.3137
5 | 0.0047071 | 0.0011797 | -0.0047069 | -0.0011797 | 1.6298e-07 | -9.3168e-10 | 0.0071802 | 0.0071802 | 0.0071802 | 0.97549 | -0.47187 | 0.97546 | -0.47259 | 1.9726
6 | 0.046023 | 0.011592 | -0.045957 | -0.01155 | 6.6017e-05 | 4.1806e-05 | 0.070211 | 0.070211 | 0.070211 | 0.97568 | -0.46828 | 0.97415 | -0.49832 | 19.2887
7 | -0.077794 | -0.019574 | 0.077821 | 0.019592 | 2.7224e-05 | 1.7359e-05 | 0.11867 | 0.11867 | 0.11867 | 0.97568 | -0.46828 | 0.97605 | -0.46095 | 32.6023
8 | 0.0057618 | 0.001444 | -0.005761 | -0.0014438 | 7.4129e-07 | 1.5657e-07 | 0.0087998 | 0.0087999 | 0.0087999 | 0.97429 | -0.49558 | 0.97415 | -0.49828 | 2.4176
9 | -0.23755 | -0.060565 | 0.23796 | 0.060826 | 0.00040932 | 0.00026096 | 0.35592 | 0.35592 | 0.35592 | 0.99416 | -0.11082 | 0.99604 | -0.075193 | 32.5935
10 | 0.017483 | 0.0043865 | -0.017469 | -0.0043782 | 1.4046e-05 | 8.2807e-06 | 0.02617 | 0.02617 | 0.02617 | 0.99416 | -0.11082 | 0.99329 | -0.12768 | 7.1896
11 | 0.20891 | 0.053382 | -0.20879 | -0.053304 | 0.00012185 | 7.7599e-05 | 0.31306 | 0.31306 | 0.31306 | 0.99416 | -0.11082 | 0.99353 | -0.12289 | 28.6682
12 | 0.011154 | 0.002796 | -0.011153 | -0.0027951 | 1.7359e-06 | 8.9566e-07 | 0.016695 | 0.016695 | 0.016695 | 0.99416 | -0.11082 | 0.994 | -0.11409 | 4.5867
13 | -0.24816 | -0.063381 | 0.24829 | 0.063465 | 0.00013112 | 8.3622e-05 | 0.37115 | 0.37115 | 0.37115 | 0.99604 | -0.075193 | 0.99661 | -0.064269 | 33.9885
14 | 0.20879 | 0.053304 | -0.20849 | -0.053109 | 0.00030677 | 0.00019536 | 0.31306 | 0.31306 | 0.31306 | 0.99353 | -0.12289 | 0.99194 | -0.15334 | 28.6682
15 | 0.0078765 | 0.0019743 | -0.0078753 | -0.0019738 | 1.1873e-06 | 4.6146e-07 | 0.011759 | 0.011759 | 0.011759 | 0.99674 | -0.062285 | 0.99658 | -0.065449 | 3.2305
16 | -0.0078765 | -0.0019743 | 0.0078769 | 0.0019745 | 4.6253e-07 | 1.7974e-07 | 0.011759 | 0.011759 | 0.011759 | 0.99674 | -0.062285 | 0.99681 | -0.061053 | 3.2304
17 | 0.0078753 | 0.0019738 | -0.0078745 | -0.0019735 | 7.8588e-07 | 3.055e-07 | 0.011759 | 0.011759 | 0.011759 | 0.99658 | -0.065449 | 0.99647 | -0.067544 | 3.2305
18 | -0.013455 | -0.0033725 | 0.013459 | 0.0033745 | 3.6438e-06 | 2.0179e-06 | 0.020086 | 0.020086 | 0.020086 | 0.99681 | -0.061053 | 0.9971 | -0.05537 | 5.5181
19 | 0.058748 | 0.014766 | -0.058677 | -0.014721 | 7.1111e-05 | 4.5203e-05 | 0.088606 | 0.088606 | 0.088606 | 0.98676 | -0.25273 | 0.98546 | -0.27812 | 24.3423
20 | 0.116 | 0.02955 | -0.11595 | -0.029517 | 5.3295e-05 | 3.3576e-05 | 0.1751 | 0.1751 | 0.1751 | 0.98676 | -0.25273 | 0.98627 | -0.26226 | 16.0348
21 | -0.17475 | -0.044317 | 0.17505 | 0.044506 | 0.00029786 | 0.00018931 | 0.26371 | 0.2637 | 0.26371 | 0.98676 | -0.25273 | 0.9886 | -0.21734 | 24.1488
22 | 0.036172 | 0.0090811 | -0.036171 | -0.0090803 | 1.2095e-06 | 7.6031e-07 | 0.054625 | 0.054625 | 0.054625 | 0.98546 | -0.27812 | 0.98542 | -0.27882 | 15.0068
23 | 0.11595 | 0.029517 | -0.11581 | -0.02943 | 0.000137 | 8.6313e-05 | 0.1751 | 0.1751 | 0.1751 | 0.98627 | -0.26226 | 0.98499 | -0.2868 | 16.0348
24 | -0.18145 | -0.046109 | 0.18164 | 0.046233 | 0.00019503 | 0.00012401 | 0.27333 | 0.27333 | 0.27333 | 0.9886 | -0.21734 | 0.98976 | -0.19505 | 25.0306
25 | -0.11579 | -0.029419 | 0.11581 | 0.02943 | 1.7664e-05 | 1.1129e-05 | 0.1751 | 0.1751 | 0.1751 | 0.98483 | -0.28997 | 0.98499 | -0.2868 | 16.0348
26 | 0.11187 | 0.028435 | -0.11169 | -0.028324 | 0.00017605 | 0.0001108 | 0.16917 | 0.16917 | 0.16917 | 0.98483 | -0.28997 | 0.98314 | -0.3227 | 15.4915
27 | 0.0039272 | 0.00098384 | -0.0039268 | -0.00098397 | 4.2409e-07 | -1.3724e-07 | 0.0059336 | 0.0059337 | 0.0059337 | 0.98483 | -0.28997 | 0.98471 | -0.29223 | 1.6301
28 | 0.11169 | 0.028324 | -0.11153 | -0.028226 | 0.00015597 | 9.8167e-05 | 0.16917 | 0.16917 | 0.16917 | 0.98314 | -0.3227 | 0.98164 | -0.35179 | 15.4916
29 | 0.0021864 | 0.00054779 | -0.0021863 | -0.00054794 | 6.2037e-08 | -1.5309e-07 | 0.0033038 | 0.0033039 | 0.0033039 | 0.98471 | -0.29223 | 0.98468 | -0.29283 | 0.90766
30 | -0.077821 | -0.019592 | 0.07784 | 0.019604 | 1.869e-05 | 1.1918e-05 | 0.11867 | 0.11867 | 0.11867 | 0.97605 | -0.46095 | 0.9763 | -0.45593 | 32.6023
31 | -0.082523 | -0.020777 | 0.082648 | 0.020858 | 0.00012566 | 8.0159e-05 | 0.12581 | 0.12581 | 0.12581 | 0.9763 | -0.45593 | 0.97793 | -0.42413 | 34.5631
32 | 0.19447 | 0.049597 | -0.19427 | -0.049466 | 0.00020532 | 0.00013066 | 0.29203 | 0.29203 | 0.29203 | 0.99194 | -0.15334 | 0.99079 | -0.17523 | 26.743
33 | 0.038762 | 0.0097469 | -0.038732 | -0.009728 | 2.9901e-05 | 1.8854e-05 | 0.05922 | 0.05922 | 0.05922 | 0.97415 | -0.49832 | 0.97333 | -0.51448 | 16.2693
34 | -0.025066 | -0.0062875 | 0.025081 | 0.0062969 | 1.528e-05 | 9.436e-06 | 0.038379 | 0.038379 | 0.038379 | 0.97188 | -0.54299 | 0.97253 | -0.53021 | 10.5438
35 | 0.025066 | 0.0062875 | -0.025059 | -0.006283 | 7.2574e-06 | 4.482e-06 | 0.038379 | 0.038379 | 0.038379 | 0.97188 | -0.54299 | 0.97158 | -0.54907 | 10.5438
36 | -0.034904 | -0.0087587 | 0.03493 | 0.0087752 | 2.6203e-05 | 1.6466e-05 | 0.053408 | 0.053408 | 0.053408 | 0.97253 | -0.53021 | 0.97333 | -0.51448 | 14.6726
37 | 0.023338 | 0.0058518 | -0.023337 | -0.0058515 | 6.1507e-07 | 3.7775e-07 | 0.035744 | 0.035744 | 0.035744 | 0.97158 | -0.54907 | 0.97155 | -0.54962 | 9.8199
38 | -0.0086853 | -0.0021771 | 0.0086867 | 0.0021778 | 1.4538e-06 | 6.5973e-07 | 0.013311 | 0.013311 | 0.013311 | 0.97095 | -0.56142 | 0.97113 | -0.5579 | 3.6568
39 | 0.0086853 | 0.0021771 | -0.0086835 | -0.0021763 | 1.8089e-06 | 8.2104e-07 | 0.013311 | 0.013311 | 0.013311 | 0.97095 | -0.56142 | 0.97073 | -0.56579 | 3.6568
40 | -0.011692 | -0.0029309 | 0.011694 | 0.0029318 | 1.6808e-06 | 9.0289e-07 | 0.017915 | 0.017915 | 0.017915 | 0.97113 | -0.5579 | 0.97128 | -0.55489 | 4.9218
41 | 0.10939 | 0.02769 | -0.10934 | -0.027654 | 5.6417e-05 | 3.5485e-05 | 0.16592 | 0.16592 | 0.16592 | 0.98164 | -0.35179 | 0.98109 | -0.36254 | 15.1944
42 | -0.25861 | -0.066051 | 0.25897 | 0.066281 | 0.00036077 | 0.00023014 | 0.38656 | 0.38656 | 0.38656 | 0.99661 | -0.064269 | 0.99813 | -0.035455 | 35.3996
43 | -0.020976 | -0.0052584 | 0.020984 | 0.0052637 | 8.785e-06 | 5.3104e-06 | 0.031303 | 0.031303 | 0.031303 | 0.9971 | -0.05537 | 0.99756 | -0.046584 | 8.5998
44 | 0.036171 | 0.0090803 | -0.036142 | -0.0090622 | 2.8828e-05 | 1.8122e-05 | 0.054625 | 0.054625 | 0.054625 | 0.98542 | -0.27882 | 0.98456 | -0.29554 | 15.0068
45 | -0.18648 | -0.047446 | 0.18666 | 0.047559 | 0.0001783 | 0.00011341 | 0.28061 | 0.28061 | 0.28061 | 0.98976 | -0.19505 | 0.99079 | -0.17523 | 25.6967
46 | -0.016933 | -0.0042439 | 0.016945 | 0.0042506 | 1.1433e-05 | 6.6929e-06 | 0.025263 | 0.025263 | 0.025263 | 0.99739 | -0.049617 | 0.99813 | -0.035455 | 6.9404
47 | -0.28387 | -0.072525 | 0.28396 | 0.072582 | 8.8922e-05 | 5.6755e-05 | 0.42368 | 0.42368 | 0.42368 | 0.99813 | -0.035455 | 0.99847 | -0.028978 | 38.7985
48 | 0.0079518 | 0.0019932 | -0.00795 | -0.0019925 | 1.8598e-06 | 7.2914e-07 | 0.011855 | 0.011855 | 0.011855 | 0.99813 | -0.035455 | 0.99787 | -0.040364 | 3.2568
49 | -0.0018863 | -0.00047274 | 0.0018863 | 0.00047259 | 4.267e-08 | -1.5033e-07 | 0.0028525 | 0.0028524 | 0.0028525 | 0.98397 | -0.3071 | 0.984 | -0.30663 | 0.78365
50 | -0.015566 | -0.003901 | 0.015574 | 0.0039058 | 8.2251e-06 | 4.7609e-06 | 0.023539 | 0.023539 | 0.023539 | 0.984 | -0.30663 | 0.98456 | -0.29554 | 6.4668
51 | -0.08768 | -0.022119 | 0.08775 | 0.022163 | 6.9927e-05 | 4.4228e-05 | 0.13347 | 0.13347 | 0.13347 | 0.97793 | -0.42413 | 0.97878 | -0.40749 | 18.3332
52 | 0.016488 | 0.0041349 | -0.016484 | -0.0041325 | 4.1369e-06 | 2.4335e-06 | 0.025254 | 0.025254 | 0.025254 | 0.97155 | -0.54962 | 0.97128 | -0.55489 | 6.938
53 | 0.10716 | 0.027109 | -0.10711 | -0.027077 | 5.0151e-05 | 3.1522e-05 | 0.16262 | 0.16262 | 0.16262 | 0.98109 | -0.36254 | 0.98058 | -0.3723 | 14.8921
54 | 0.020568 | 0.0051564 | -0.020564 | -0.0051538 | 4.3726e-06 | 2.645e-06 | 0.031086 | 0.031086 | 0.031086 | 0.98456 | -0.29554 | 0.98434 | -0.30001 | 8.5401
55 | -0.0066406 | -0.0016643 | 0.0066411 | 0.0016644 | 5.104e-07 | 1.5503e-07 | 0.01004 | 0.01004 | 0.01004 | 0.98423 | -0.30204 | 0.98431 | -0.30042 | 2.7581
56 | -0.0066411 | -0.0016644 | 0.0066412 | 0.0016645 | 1.3189e-07 | 4.0055e-08 | 0.01004 | 0.01004 | 0.01004 | 0.98431 | -0.30042 | 0.98434 | -0.30001 | 2.7581
57 | 0.026911 | 0.0067575 | -0.026889 | -0.0067435 | 2.2584e-05 | 1.3965e-05 | 0.040111 | 0.040111 | 0.040111 | 0.99847 | -0.028978 | 0.99756 | -0.046584 | 11.0194
58 | -0.31087 | -0.079339 | 0.3113 | 0.079618 | 0.0004359 | 0.00027834 | 0.46379 | 0.46379 | 0.46379 | 0.99847 | -0.028978 | 1 | 0 | 42.4716
59 | -0.09392 | -0.023709 | 0.094011 | 0.023766 | 9.0781e-05 | 5.6756e-05 | 0.14285 | 0.14285 | 0.14285 | 0.97878 | -0.40749 | 0.97981 | -0.38733 | 13.0811
60 | -0.10316 | -0.02606 | 0.10324 | 0.026107 | 7.4378e-05 | 4.6686e-05 | 0.15675 | 0.15675 | 0.15675 | 0.97981 | -0.38733 | 0.98058 | -0.3723 | 14.354

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.35087 | 0.089121

## res_load
| p_mw | q_mvar
0 | 0.019187 | 0.0048087
1 | 0.0047069 | 0.0011797
2 | 0.0020597 | 0.00051621
3 | 0.010197 | 0.0025556
4 | 0.017469 | 0.0043782
5 | 0.011153 | 0.0027951
6 | 0.0055782 | 0.001398
7 | 0.022505 | 0.0056402
8 | 0.0063978 | 0.0016034
9 | 0.0017404 | 0.00043618
10 | 0.004683 | 0.0011737
11 | 0.014015 | 0.0035124
12 | 0.0078745 | 0.0019735
13 | 0.0071951 | 0.0018033
14 | 0.0098226 | 0.0024618
15 | 0.0017205 | 0.00043119
16 | 0.0030052 | 0.00075317
17 | 0.0086835 | 0.0021763
18 | 0.0021412 | 0.00053663
19 | 0.005761 | 0.0014438
20 | 0.01032 | 0.0025865
21 | 0.0075168 | 0.0018839
22 | 0.004838 | 0.0012125
23 | 0.0021863 | 0.00054794
24 | 0.016933 | 0.0042439
25 | 0.0018863 | 0.00047274
26 | 0.01368 | 0.0034284
27 | 0.0050315 | 0.001261
28 | 0.0076083 | 0.0019068
29 | 0.00795 | 0.0019925
30 | 0.0038017 | 0.00095281
31 | 0.0068491 | 0.0017166
32 | 0.0047906 | 0.0012006
33 | 0.0021764 | 0.00054546
34 | 0.0066406 | 0.0016643
35 | 0.013922 | 0.0034893
36 | 0.0059045 | 0.0014798
37 | 0.037917 | 0.0095029
38 | 0.0061701 | 0.0015464
39 | 0.009153 | 0.002294
40 | 0.0038726 | 0.00097056

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1