## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-24_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-24_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_69-24_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_69-24_0_6_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_69-24_0_6_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_69-24_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_69-24_0_6_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_69-24_0_6_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_69-24_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_69-24_0_6_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_69-24_0_6_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_69-24_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_69-24_0_6_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_69-24_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_69-24_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_69-24_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_69-24_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_69-24_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_69-24_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_69-24_0_6_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_69-24_0_6_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_69-24_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_69-24_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_69-24_0_6_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_69-24_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_69-24_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_69-24_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_69-24_0_6_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_69-24_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_69-24_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_69-24_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_69-24_0_6_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_69-24_0_6_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_69-24_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_69-24_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_69-24_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_69-24_0_6_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_69-24_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_69-24_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_69-24_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_69-24_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_69-24_0_6_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_69-24_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_69-24_0_6_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_69-24_0_6_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_69-24_0_6_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_69-24_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_69-24_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_69-24_0_6_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_69-24_0_6_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_69-24_0_6_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_69-24_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_69-24_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_69-24_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_69-24_0_6_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_69-24_0_6_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_69-24_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_69-24_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_69-24_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_69-24_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_69-24_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_MV_552_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-24_0_6_load_0 | 0 | 0.0081767 | 0.0020493 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-24_0_6_load_20 | 4 | 0.0085909 | 0.0021531 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-24_0_6_load_62 | 6 | 0.0087276 | 0.0021873 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-24_0_6_load_63 | 7 | 0.0084948 | 0.002129 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-24_0_6_load_59 | 9 | 0.01696 | 0.0042507 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-24_0_6_load_32 | 10 | 0.041462 | 0.010391 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-24_0_6_load_64 | 12 | 0.024983 | 0.0062613 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-24_0_6_load_26 | 15 | 0.028136 | 0.0070515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-24_0_6_load_38 | 19 | 0.056392 | 0.014133 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-24_0_6_load_23 | 20 | 0.06654 | 0.016676 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-24_0_6_load_27 | 23 | 0.040316 | 0.010104 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-24_0_6_load_61 | 26 | 0.015235 | 0.0038183 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-24_0_6_load_25 | 27 | 0.0058359 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-24_0_6_load_19 | 29 | 0.0055405 | 0.0013886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-24_0_6_load_40 | 32 | 0.021463 | 0.0053792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-24_0_6_load_21 | 33 | 0.012756 | 0.003197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-24_0_6_load_22 | 35 | 0.0031567 | 0.00079113 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-24_0_6_load_39 | 36 | 0.056241 | 0.014095 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-24_0_6_load_36 | 38 | 0.045091 | 0.011301 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-24_0_6_load_60 | 41 | 0.011879 | 0.0029772 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-24_0_6_load_41 | 43 | 0.001304 | 0.00032682 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-24_0_6_load_49 | 44 | 0.005392 | 0.0013514 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-24_0_6_load_34 | 47 | 0.024134 | 0.0060486 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-24_0_6_load_48 | 48 | 0.023584 | 0.0059108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-24_0_6_load_52 | 50 | 0.00069931 | 0.00017526 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-24_0_6_load_50 | 51 | 0.00064484 | 0.00016161 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-24_0_6_load_58 | 53 | 0.020637 | 0.0051722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-24_0_6_load_55 | 54 | 0.010901 | 0.002732 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-24_0_6_load_56 | 55 | 0.011026 | 0.0027633 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-24_0_6_load_43 | 56 | 0.0069231 | 0.0017351 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-24_0_6_load_45 | 58 | 0.0092011 | 0.002306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-24_0_6_load_46 | 59 | 0.0037948 | 0.00095105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-24_0_6_load_47 | 60 | 0.0022108 | 0.00055408 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-24_0_6_line_0 |  | 0 | 1 | 0.051268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-24_0_6_line_1 |  | 1 | 2 | 0.042402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_69-24_0_6_line_2 |  | 1 | 3 | 0.031643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_69-24_0_6_line_3 |  | 2 | 4 | 0.038481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-24_0_6_line_4 |  | 3 | 10 | 0.028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-24_0_6_line_5 |  | 4 | 33 | 0.024386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-24_0_6_line_6 |  | 5 | 6 | 0.007644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-24_0_6_line_7 |  | 5 | 7 | 0.007952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-24_0_6_line_8 |  | 5 | 8 | 0.046237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-24_0_6_line_9 |  | 8 | 9 | 0.048966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-24_0_6_line_10 |  | 9 | 17 | 0.026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-24_0_6_line_11 |  | 10 | 34 | 0.024373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-24_0_6_line_12 |  | 11 | 12 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-24_0_6_line_13 |  | 11 | 13 | 0.031536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_69-24_0_6_line_14 |  | 13 | 14 | 0.03995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-24_0_6_line_15 |  | 13 | 15 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-24_0_6_line_16 |  | 14 | 27 | 0.023654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-24_0_6_line_17 |  | 16 | 17 | 0.059067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_69-24_0_6_line_18 |  | 16 | 18 | 0.068082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_69-24_0_6_line_19 |  | 16 | 19 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_69-24_0_6_line_20 |  | 17 | 28 | 0.093049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-24_0_6_line_21 |  | 18 | 20 | 0.0034862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_69-24_0_6_line_22 |  | 19 | 31 | 0.03962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_69-24_0_6_line_23 |  | 20 | 35 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-24_0_6_line_24 |  | 21 | 22 | 0.048954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_69-24_0_6_line_25 |  | 21 | 23 | 0.036637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_69-24_0_6_line_26 |  | 22 | 36 | 0.01904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_69-24_0_6_line_27 |  | 22 | 32 | 0.027813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_69-24_0_6_line_28 |  | 23 | 37 | 0.001538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_69-24_0_6_line_29 |  | 24 | 25 | 0.031242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-24_0_6_line_30 |  | 24 | 26 | 0.009615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-24_0_6_line_31 |  | 25 | 27 | 0.0013063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-24_0_6_line_32 |  | 25 | 35 | 0.020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-24_0_6_line_33 |  | 28 | 29 | 0.039732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-24_0_6_line_34 |  | 30 | 31 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_69-24_0_6_line_35 |  | 30 | 32 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_69-24_0_6_line_36 |  | 31 | 38 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_69-24_0_6_line_37 |  | 34 | 47 | 0.041926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-24_0_6_line_38 |  | 36 | 46 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-24_0_6_line_39 |  | 37 | 39 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-24_0_6_line_40 |  | 37 | 40 | 0.005546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-24_0_6_line_41 |  | 39 | 41 | 0.093859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_69-24_0_6_line_42 |  | 40 | 42 | 0.08665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_69-24_0_6_line_43 |  | 40 | 43 | 0.16098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-24_0_6_line_44 |  | 42 | 44 | 0.029096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-24_0_6_line_45 |  | 42 | 45 | 0.004113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_69-24_0_6_line_46 |  | 44 | 48 | 0.0076305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_69-24_0_6_line_47 |  | 45 | 55 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_69-24_0_6_line_48 |  | 46 | 47 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-24_0_6_line_49 |  | 48 | 59 | 0.033638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-24_0_6_line_50 |  | 49 | 50 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-24_0_6_line_51 |  | 49 | 51 | 0.0080022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_69-24_0_6_line_52 |  | 50 | 60 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-24_0_6_line_53 |  | 52 | 53 | 0.024357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_69-24_0_6_line_54 |  | 52 | 54 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-24_0_6_line_55 |  | 54 | 55 | 0.0043646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_69-24_0_6_line_56 |  | 56 | 57 | 0.015127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-24_0_6_line_57 |  | 56 | 58 | 0.022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_69-24_0_6_line_58 |  | 57 | 59 | 0.0060172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_69-24_0_6_line_59 |  | 57 | 60 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-24_0_6_trafo_11 | 0.63 MVA 20/0.4 kV | 61 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2686611.5869 | 1251898.0335 | 2686611.2119 | 1251896.3268 | 2686608.2028 | 1251882.728 | 2686592.4319 | 1251850.8195
1 | 2686611.5869 | 1251898.0335 | 2686624.0746 | 1251892.6564 | 2686611.6304 | 1251866.6771
2 | 2686634.6684 | 1251899.0939 | 2686614.5219 | 1251907.4057 | 2686613.5487 | 1251904.7895 | 2686612.5144 | 1251902.228 | 2686611.5869 | 1251898.0335
3 | 2686611.6304 | 1251866.6771 | 2686609.2574 | 1251861.7164 | 2686630.532 | 1251850.0853 | 2686626.5797 | 1251842.2948
4 | 2686634.6684 | 1251899.0939 | 2686644.8942 | 1251917.2683 | 2686648.5616 | 1251923.7869
5 | 2686623.6081 | 1251822.8968 | 2686618.3239 | 1251826.0219 | 2686626.5797 | 1251842.2948
6 | 2686646.7311 | 1251864.4663 | 2686653.787 | 1251861.4783
7 | 2686661.124 | 1251858.361 | 2686653.787 | 1251861.4783
8 | 2686687.5991 | 1251865.3091 | 2686660.6412 | 1251876.9125 | 2686653.787 | 1251861.4783
9 | 2686687.5991 | 1251865.3091 | 2686719.297 | 1251851.6625 | 2686732.5742 | 1251845.9458
10 | 2686756.5858 | 1251835.6072 | 2686732.5742 | 1251845.9458
11 | 2686660.5123 | 1251945.0288 | 2686648.5616 | 1251923.7869
12 | 2686912.4958 | 1251838.9499 | 2686905.2955 | 1251822.9655
13 | 2686905.2955 | 1251822.9655 | 2686876.2995 | 1251835.561
14 | 2686847.3917 | 1251855.0187 | 2686845.4956 | 1251848.9418 | 2686876.2995 | 1251835.561
15 | 2686876.2995 | 1251835.561 | 2686875.481 | 1251833.7254 | 2686870.9273 | 1251822.9773
16 | 2686847.3917 | 1251855.0187 | 2686849.3076 | 1251861.2848 | 2686851.3101 | 1251867.8191 | 2686854.4007 | 1251877.6106
17 | 2686756.5858 | 1251835.6072 | 2686756.5369 | 1251839.9765 | 2686747.8547 | 1251843.7078 | 2686745.4076 | 1251848.4533 | 2686750.2979 | 1251852.6281 | 2686754.1397 | 1251856.7652 | 2686762.5466 | 1251875.4247 | 2686765.5731 | 1251882.1407
18 | 2686765.5731 | 1251882.1407 | 2686767.832 | 1251887.1554 | 2686769.9228 | 1251891.7895 | 2686773.3182 | 1251890.327 | 2686791.418 | 1251884.6878 | 2686795.4024 | 1251891.9628 | 2686811.9041 | 1251886.7005 | 2686820.6546 | 1251889.6309
19 | 2686765.5731 | 1251882.1407 | 2686749.891 | 1251889.5663
20 | 2686756.5858 | 1251835.6072 | 2686764.1362 | 1251832.3598 | 2686774.3834 | 1251827.9398 | 2686790.3502 | 1251821.0684 | 2686805.0562 | 1251814.7346 | 2686842.0492 | 1251798.8089
21 | 2686820.6546 | 1251889.6309 | 2686823.9755 | 1251890.6917
22 | 2686715.0937 | 1251904.1741 | 2686718.7515 | 1251902.3151 | 2686720.2344 | 1251901.5584 | 2686720.8201 | 1251901.2557 | 2686721.5875 | 1251902.9682 | 2686749.891 | 1251889.5663
23 | 2686823.9755 | 1251890.6917 | 2686826.2366 | 1251891.414 | 2686835.9116 | 1251887.1596
24 | 2686786.0816 | 1251933.6133 | 2686772.6789 | 1251933.9507 | 2686739.8592 | 1251947.9363
25 | 2686786.0816 | 1251933.6133 | 2686795.2612 | 1251969.0814
26 | 2686739.8592 | 1251947.9363 | 2686722.1492 | 1251954.9287
27 | 2686739.8592 | 1251947.9363 | 2686726.2392 | 1251923.6862
28 | 2686795.6466 | 1251970.5703 | 2686795.2612 | 1251969.0814
29 | 2686854.7939 | 1251878.8563 | 2686864.2146 | 1251908.6503
30 | 2686873.3983 | 1251905.716 | 2686864.2146 | 1251908.6503
31 | 2686854.7939 | 1251878.8563 | 2686854.4007 | 1251877.6106
32 | 2686854.7939 | 1251878.8563 | 2686835.9116 | 1251887.1596
33 | 2686842.0492 | 1251798.8089 | 2686831.5521 | 1251768.2764 | 2686838.3789 | 1251765.3054
34 | 2686715.0937 | 1251904.1741 | 2686721.3144 | 1251914.9177
35 | 2686721.3144 | 1251914.9177 | 2686726.2392 | 1251923.6862
36 | 2686715.0937 | 1251904.1741 | 2686707.262 | 1251890.6349
37 | 2686660.5123 | 1251945.0288 | 2686683.5477 | 1251931.1775 | 2686691.1583 | 1251944.1572
38 | 2686702.1126 | 1251962.8397 | 2686722.1492 | 1251954.9287
39 | 2686795.6466 | 1251970.5703 | 2686802.6129 | 1251979.8683 | 2686806.8328 | 1251984.9784 | 2686807.7914 | 1251985.4928
40 | 2686797.0397 | 1251975.9392 | 2686795.6466 | 1251970.5703
41 | 2686807.7914 | 1251985.4928 | 2686889.5759 | 1251959.5829 | 2686897.515 | 1251957.0975
42 | 2686797.0397 | 1251975.9392 | 2686794.8314 | 1251981.9003 | 2686798.0623 | 1251995.7804 | 2686806.0698 | 1252027.7552 | 2686809.8469 | 1252045.5574 | 2686813.6362 | 1252059.9571
43 | 2686797.0397 | 1251975.9392 | 2686803.0119 | 1251997.443 | 2686788.0396 | 1252001.3822 | 2686769.3067 | 1252003.8876 | 2686686.9078 | 1252012.5549 | 2686665.5155 | 1252013.7949
44 | 2686813.6362 | 1252059.9571 | 2686792.1507 | 1252066.4362 | 2686785.803 | 1252068.4353
45 | 2686813.6362 | 1252059.9571 | 2686817.5643 | 1252058.7026
46 | 2686778.5249 | 1252070.7275 | 2686785.803 | 1252068.4353
47 | 2686817.5643 | 1252058.7026 | 2686831.4388 | 1252054.3115
48 | 2686702.1126 | 1251962.8397 | 2686691.1583 | 1251944.1572
49 | 2686746.4407 | 1252080.8321 | 2686778.5249 | 1252070.7275
50 | 2686692.7557 | 1252097.7383 | 2686703.7554 | 1252094.2744
51 | 2686692.7557 | 1252097.7383 | 2686685.1243 | 1252100.1461
52 | 2686703.7554 | 1252094.2744 | 2686727.2545 | 1252086.8742
53 | 2686845.3334 | 1252049.9139 | 2686868.3121 | 1252041.8383
54 | 2686845.3334 | 1252049.9139 | 2686835.5999 | 1252052.9945
55 | 2686835.5999 | 1252052.9945 | 2686831.4388 | 1252054.3115
56 | 2686740.7014 | 1252082.6396 | 2686736.5004 | 1252068.1079
57 | 2686730.1484 | 1252046.1353 | 2686736.5004 | 1252068.1079
58 | 2686740.7014 | 1252082.6396 | 2686746.4407 | 1252080.8321
59 | 2686740.7014 | 1252082.6396 | 2686727.2545 | 1252086.8742

## bus_geodata
| x | y | coords
0 | 2686592.4319 | 1251850.8195
1 | 2686611.5869 | 1251898.0335
2 | 2686611.6304 | 1251866.6771
3 | 2686634.6684 | 1251899.0939
4 | 2686626.5797 | 1251842.2948
5 | 2686653.787 | 1251861.4783
6 | 2686646.7311 | 1251864.4663
7 | 2686661.124 | 1251858.361
8 | 2686687.5991 | 1251865.3091
9 | 2686732.5742 | 1251845.9458
10 | 2686648.5616 | 1251923.7869
11 | 2686905.2955 | 1251822.9655
12 | 2686912.4958 | 1251838.9499
13 | 2686876.2995 | 1251835.561
14 | 2686847.3917 | 1251855.0187
15 | 2686870.9273 | 1251822.9773
16 | 2686765.5731 | 1251882.1407
17 | 2686756.5858 | 1251835.6072
18 | 2686820.6546 | 1251889.6309
19 | 2686749.891 | 1251889.5663
20 | 2686823.9755 | 1251890.6917
21 | 2686786.0816 | 1251933.6133
22 | 2686739.8592 | 1251947.9363
23 | 2686795.2612 | 1251969.0814
24 | 2686864.2146 | 1251908.6503
25 | 2686854.7939 | 1251878.8563
26 | 2686873.3983 | 1251905.716
27 | 2686854.4007 | 1251877.6106
28 | 2686842.0492 | 1251798.8089
29 | 2686838.3789 | 1251765.3054
30 | 2686721.3144 | 1251914.9177
31 | 2686715.0937 | 1251904.1741
32 | 2686726.2392 | 1251923.6862
33 | 2686623.6081 | 1251822.8968
34 | 2686660.5123 | 1251945.0288
35 | 2686835.9116 | 1251887.1596
36 | 2686722.1492 | 1251954.9287
37 | 2686795.6466 | 1251970.5703
38 | 2686707.262 | 1251890.6349
39 | 2686807.7914 | 1251985.4928
40 | 2686797.0397 | 1251975.9392
41 | 2686897.515 | 1251957.0975
42 | 2686813.6362 | 1252059.9571
43 | 2686665.5155 | 1252013.7949
44 | 2686785.803 | 1252068.4353
45 | 2686817.5643 | 1252058.7026
46 | 2686702.1126 | 1251962.8397
47 | 2686691.1583 | 1251944.1572
48 | 2686778.5249 | 1252070.7275
49 | 2686692.7557 | 1252097.7383
50 | 2686703.7554 | 1252094.2744
51 | 2686685.1243 | 1252100.1461
52 | 2686845.3334 | 1252049.9139
53 | 2686868.3121 | 1252041.8383
54 | 2686835.5999 | 1252052.9945
55 | 2686831.4388 | 1252054.3115
56 | 2686736.5004 | 1252068.1079
57 | 2686740.7014 | 1252082.6396
58 | 2686730.1484 | 1252046.1353
59 | 2686746.4407 | 1252080.8321
60 | 2686727.2545 | 1252086.8742
61 | 2686790.8212 | 1251932.1038

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98338 | -0.31996 | 0.0081767 | 0.0020493
1 | 0.98377 | -0.31241 | 0 | 0
2 | 0.98294 | -0.32872 | 0 | 0
3 | 0.98463 | -0.29559 | 0 | 0
4 | 0.98218 | -0.34355 | 0.0085909 | 0.0021531
5 | 0.98399 | -0.30807 | 0 | 0
6 | 0.98393 | -0.30927 | 0.0087276 | 0.0021873
7 | 0.98393 | -0.30929 | 0.0084948 | 0.002129
8 | 0.98473 | -0.29375 | 0 | 0
9 | 0.98551 | -0.2786 | 0.01696 | 0.0042507
10 | 0.98541 | -0.28056 | 0.041462 | 0.010391
11 | 0.97973 | -0.39114 | 0 | 0
12 | 0.97932 | -0.3991 | 0.024983 | 0.0062613
13 | 0.98046 | -0.37685 | 0 | 0
14 | 0.98242 | -0.33845 | 0 | 0
15 | 0.9801 | -0.38383 | 0.028136 | 0.0070515
16 | 0.98849 | -0.22062 | 0 | 0
17 | 0.98633 | -0.26257 | 0 | 0
18 | 0.98623 | -0.2644 | 0 | 0
19 | 0.98922 | -0.20642 | 0.056392 | 0.014133
20 | 0.986 | -0.2689 | 0.06654 | 0.016676
21 | 1 | 0 | -0.61481 | -0.15626
22 | 0.99485 | -0.098196 | 0 | 0
23 | 0.99751 | -0.047542 | 0.040316 | 0.010104
24 | 0.98322 | -0.32297 | 0 | 0
25 | 0.98366 | -0.31439 | 0 | 0
26 | 0.98308 | -0.32561 | 0.015235 | 0.0038183
27 | 0.98359 | -0.31578 | 0.0058359 | 0.0014626
28 | 0.98585 | -0.27182 | 0 | 0
29 | 0.98565 | -0.27577 | 0.0055405 | 0.0013886
30 | 0.99223 | -0.1485 | 0 | 0
31 | 0.99141 | -0.16416 | 0 | 0
32 | 0.99289 | -0.13581 | 0.021463 | 0.0053792
33 | 0.98189 | -0.34918 | 0.012756 | 0.003197
34 | 0.987 | -0.24955 | 0 | 0
35 | 0.98507 | -0.28687 | 0.0031567 | 0.00079113
36 | 0.99352 | -0.12361 | 0.056241 | 0.014095
37 | 0.99736 | -0.050458 | 0 | 0
38 | 0.99077 | -0.17668 | 0.045091 | 0.011301
39 | 0.99715 | -0.054479 | 0 | 0
40 | 0.99687 | -0.059824 | 0 | 0
41 | 0.99613 | -0.074046 | 0.011879 | 0.0029772
42 | 0.9893 | -0.20534 | 0 | 0
43 | 0.99667 | -0.063514 | 0.001304 | 0.00032682
44 | 0.9879 | -0.23256 | 0.005392 | 0.0013514
45 | 0.98914 | -0.20846 | 0 | 0
46 | 0.99164 | -0.15986 | 0 | 0
47 | 0.98974 | -0.19645 | 0.024134 | 0.0060486
48 | 0.98757 | -0.23897 | 0.023584 | 0.0059108
49 | 0.98665 | -0.25684 | 0 | 0
50 | 0.98666 | -0.25671 | 0.00069931 | 0.00017526
51 | 0.98665 | -0.25693 | 0.00064484 | 0.00016161
52 | 0.98826 | -0.22571 | 0 | 0
53 | 0.98779 | -0.23469 | 0.020637 | 0.0051722
54 | 0.98845 | -0.22196 | 0.010901 | 0.002732
55 | 0.98857 | -0.2195 | 0.011026 | 0.0027633
56 | 0.98651 | -0.25959 | 0.0069231 | 0.0017351
57 | 0.98674 | -0.25522 | 0 | 0
58 | 0.98632 | -0.26336 | 0.0092011 | 0.002306
59 | 0.98685 | -0.2531 | 0.0037948 | 0.00095105
60 | 0.98669 | -0.25612 | 0.0022108 | 0.00055408
61 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0081767 | -0.0020493 | 0.0081796 | 0.0020505 | 2.943e-06 | 1.2328e-06 | 0.012373 | 0.012372 | 0.012373 | 0.98338 | -0.31996 | 0.98377 | -0.31241 | 3.3991
1 | 0.021382 | 0.0053712 | -0.021366 | -0.0053611 | 1.6637e-05 | 1.011e-05 | 0.032346 | 0.032347 | 0.032347 | 0.98377 | -0.31241 | 0.98294 | -0.32872 | 8.8864
2 | -0.029562 | -0.0074217 | 0.029586 | 0.0074365 | 2.373e-05 | 1.4785e-05 | 0.044719 | 0.044719 | 0.044719 | 0.98377 | -0.31241 | 0.98463 | -0.29559 | 12.2854
3 | 0.021366 | 0.0053611 | -0.021351 | -0.005352 | 1.5099e-05 | 9.1758e-06 | 0.032347 | 0.032347 | 0.032347 | 0.98294 | -0.32872 | 0.98218 | -0.34355 | 8.8865
4 | -0.029586 | -0.0074365 | 0.029607 | 0.0074498 | 2.1247e-05 | 1.3238e-05 | 0.044719 | 0.044718 | 0.044719 | 0.98463 | -0.29559 | 0.98541 | -0.28056 | 12.2853
5 | 0.01276 | 0.0031989 | -0.012756 | -0.003197 | 3.4175e-06 | 1.8787e-06 | 0.019331 | 0.019332 | 0.019332 | 0.98218 | -0.34355 | 0.98189 | -0.34918 | 5.3109
6 | 0.0087281 | 0.0021876 | -0.0087276 | -0.0021873 | 4.9937e-07 | 2.225e-07 | 0.013199 | 0.013199 | 0.013199 | 0.98399 | -0.30807 | 0.98393 | -0.30927 | 3.6261
7 | 0.0084953 | 0.0021292 | -0.0084948 | -0.002129 | 4.9216e-07 | 2.1397e-07 | 0.012847 | 0.012847 | 0.012847 | 0.98399 | -0.30807 | 0.98393 | -0.30929 | 3.5294
8 | -0.017223 | -0.0043168 | 0.017235 | 0.0043237 | 1.1762e-05 | 6.94e-06 | 0.026046 | 0.026045 | 0.026046 | 0.98399 | -0.30807 | 0.98473 | -0.29375 | 7.1554
9 | -0.017235 | -0.0043237 | 0.017248 | 0.0043311 | 1.2456e-05 | 7.3486e-06 | 0.026045 | 0.026045 | 0.026045 | 0.98473 | -0.29375 | 0.98551 | -0.2786 | 7.1553
10 | -0.034208 | -0.0085817 | 0.034234 | 0.0085981 | 2.6157e-05 | 1.6407e-05 | 0.051654 | 0.051654 | 0.051654 | 0.98551 | -0.2786 | 0.98633 | -0.26257 | 14.1906
11 | -0.071069 | -0.017841 | 0.071174 | 0.017908 | 0.00010529 | 6.7072e-05 | 0.10733 | 0.10733 | 0.10733 | 0.98541 | -0.28056 | 0.987 | -0.24955 | 29.4858
12 | 0.024992 | 0.0062671 | -0.024983 | -0.0062613 | 9.4686e-06 | 5.8393e-06 | 0.03796 | 0.03796 | 0.03796 | 0.97973 | -0.39114 | 0.97932 | -0.3991 | 10.4285
13 | -0.024992 | -0.0062671 | 0.025009 | 0.0062776 | 1.704e-05 | 1.0508e-05 | 0.03796 | 0.037959 | 0.03796 | 0.97973 | -0.39114 | 0.98046 | -0.37685 | 10.4285
14 | -0.053154 | -0.013335 | 0.053252 | 0.013397 | 9.7507e-05 | 6.19e-05 | 0.080676 | 0.080676 | 0.080676 | 0.98046 | -0.37685 | 0.98242 | -0.33845 | 22.1637
15 | 0.028145 | 0.0070573 | -0.028136 | -0.0070515 | 9.3626e-06 | 5.8195e-06 | 0.042716 | 0.042716 | 0.042716 | 0.98046 | -0.37685 | 0.9801 | -0.38383 | 11.7353
16 | -0.053252 | -0.013397 | 0.05331 | 0.013433 | 5.7734e-05 | 3.665e-05 | 0.080676 | 0.080676 | 0.080676 | 0.98242 | -0.33845 | 0.98359 | -0.31578 | 22.1636
17 | 0.039858 | 0.010038 | -0.039778 | -0.0099873 | 7.9786e-05 | 5.0308e-05 | 0.060017 | 0.060017 | 0.060017 | 0.98849 | -0.22062 | 0.98633 | -0.26257 | 16.4883
18 | 0.14459 | 0.036504 | -0.14428 | -0.036314 | 0.00030263 | 0.0001902 | 0.21775 | 0.21775 | 0.21775 | 0.98849 | -0.22062 | 0.98623 | -0.2644 | 14.9554
19 | -0.18445 | -0.046542 | 0.18457 | 0.046621 | 0.0001255 | 7.9433e-05 | 0.27777 | 0.27777 | 0.27777 | 0.98849 | -0.22062 | 0.98922 | -0.20642 | 19.0773
20 | 0.005544 | 0.0013891 | -0.0055416 | -0.0013887 | 2.441e-06 | 3.7523e-07 | 0.0083638 | 0.0083642 | 0.0083642 | 0.98633 | -0.26257 | 0.98585 | -0.27182 | 2.2979
21 | 0.14428 | 0.036314 | -0.14425 | -0.036294 | 3.0994e-05 | 1.9747e-05 | 0.21775 | 0.21775 | 0.21775 | 0.98623 | -0.2644 | 0.986 | -0.2689 | 29.9107
22 | -0.24096 | -0.060754 | 0.24145 | 0.061065 | 0.00048834 | 0.0003105 | 0.36259 | 0.36259 | 0.36259 | 0.98922 | -0.20642 | 0.99141 | -0.16416 | 24.9033
23 | 0.077714 | 0.019618 | -0.077647 | -0.019575 | 6.6818e-05 | 4.2599e-05 | 0.11733 | 0.11733 | 0.11733 | 0.986 | -0.2689 | 0.98507 | -0.28687 | 32.2342
24 | 0.46342 | 0.11826 | -0.46123 | -0.11686 | 0.0021871 | 0.0013972 | 0.69032 | 0.69032 | 0.69032 | 1 | 0 | 0.99485 | -0.098196 | 47.4123
25 | 0.14974 | 0.038 | -0.1494 | -0.037782 | 0.00034157 | 0.00021765 | 0.22299 | 0.22299 | 0.22299 | 1 | 0 | 0.99751 | -0.047542 | 30.6302
26 | 0.15225 | 0.038499 | -0.15206 | -0.038381 | 0.00018533 | 0.00011812 | 0.22784 | 0.22784 | 0.22784 | 0.99485 | -0.098196 | 0.99352 | -0.12361 | 31.2973
27 | 0.30898 | 0.078366 | -0.30842 | -0.07801 | 0.00055771 | 0.00035549 | 0.46248 | 0.46248 | 0.46248 | 0.99485 | -0.098196 | 0.99289 | -0.13581 | 31.7637
28 | 0.10909 | 0.027678 | -0.10907 | -0.027668 | 1.5295e-05 | 9.7687e-06 | 0.16285 | 0.16285 | 0.16285 | 0.99751 | -0.047542 | 0.99736 | -0.050458 | 44.7382
29 | -0.015237 | -0.0038194 | 0.015243 | 0.003823 | 6.23e-06 | 3.5908e-06 | 0.02306 | 0.02306 | 0.02306 | 0.98322 | -0.32297 | 0.98366 | -0.31439 | 6.3352
30 | 0.015237 | 0.0038194 | -0.015235 | -0.0038183 | 1.9174e-06 | 1.1052e-06 | 0.02306 | 0.02306 | 0.02306 | 0.98322 | -0.32297 | 0.98308 | -0.32561 | 6.3352
31 | 0.05915 | 0.014899 | -0.059146 | -0.014896 | 3.9242e-06 | 2.4949e-06 | 0.089504 | 0.089504 | 0.089504 | 0.98366 | -0.31439 | 0.98359 | -0.31578 | 24.5891
32 | -0.074393 | -0.018722 | 0.074491 | 0.018784 | 9.8011e-05 | 6.2465e-05 | 0.11256 | 0.11256 | 0.11256 | 0.98366 | -0.31439 | 0.98507 | -0.28687 | 30.9242
33 | 0.0055416 | 0.0013887 | -0.0055405 | -0.0013886 | 1.0424e-06 | 1.6062e-07 | 0.0083642 | 0.0083644 | 0.0083644 | 0.98585 | -0.27182 | 0.98565 | -0.27577 | 2.2979
34 | 0.28679 | 0.07252 | -0.28657 | -0.072383 | 0.00021536 | 0.00013719 | 0.43031 | 0.43031 | 0.43031 | 0.99223 | -0.1485 | 0.99141 | -0.16416 | 29.5545
35 | -0.28679 | -0.07252 | 0.28696 | 0.072631 | 0.00017458 | 0.00011121 | 0.43031 | 0.43031 | 0.43031 | 0.99223 | -0.1485 | 0.99289 | -0.13581 | 29.5545
36 | 0.045118 | 0.011318 | -0.045091 | -0.011301 | 2.69e-05 | 1.7015e-05 | 0.067722 | 0.067722 | 0.067722 | 0.99141 | -0.16416 | 0.99077 | -0.17668 | 18.6049
37 | -0.071174 | -0.017908 | 0.071355 | 0.018024 | 0.00018111 | 0.00011537 | 0.10733 | 0.10733 | 0.10733 | 0.987 | -0.24955 | 0.98974 | -0.19645 | 29.4858
38 | 0.095823 | 0.024285 | -0.095657 | -0.024179 | 0.00016661 | 0.00010635 | 0.14361 | 0.14361 | 0.14361 | 0.99352 | -0.12361 | 0.99164 | -0.15986 | 39.4539
39 | 0.011892 | 0.0029843 | -0.01189 | -0.0029831 | 2.28e-06 | 1.2073e-06 | 0.017744 | 0.017744 | 0.017744 | 0.99736 | -0.050458 | 0.99715 | -0.054479 | 4.8749
40 | 0.097178 | 0.024684 | -0.097135 | -0.024656 | 4.3789e-05 | 2.7952e-05 | 0.1451 | 0.1451 | 0.1451 | 0.99736 | -0.050458 | 0.99687 | -0.059824 | 39.8634
41 | 0.01189 | 0.0029831 | -0.011879 | -0.0029772 | 1.1083e-05 | 5.8698e-06 | 0.017744 | 0.017745 | 0.017745 | 0.99715 | -0.054479 | 0.99613 | -0.074046 | 4.875
42 | 0.09583 | 0.024331 | -0.095164 | -0.023906 | 0.00066592 | 0.00042507 | 0.14316 | 0.14316 | 0.14316 | 0.99687 | -0.059824 | 0.9893 | -0.20534 | 39.3289
43 | 0.0013042 | 0.00032487 | -0.001304 | -0.00032682 | 2.2873e-07 | -1.952e-06 | 0.0019461 | 0.0019469 | 0.0019469 | 0.99687 | -0.059824 | 0.99667 | -0.063514 | 0.53485
44 | 0.052556 | 0.013211 | -0.052488 | -0.013167 | 6.8205e-05 | 4.3278e-05 | 0.079063 | 0.079063 | 0.079063 | 0.9893 | -0.20534 | 0.9879 | -0.23256 | 21.7207
45 | 0.042609 | 0.010696 | -0.042602 | -0.010692 | 6.3361e-06 | 4.0023e-06 | 0.064094 | 0.064094 | 0.064094 | 0.9893 | -0.20534 | 0.98914 | -0.20846 | 17.6082
46 | 0.047095 | 0.011816 | -0.047081 | -0.011807 | 1.4401e-05 | 9.1189e-06 | 0.070942 | 0.070942 | 0.070942 | 0.9879 | -0.23256 | 0.98757 | -0.23897 | 19.4895
47 | 0.042602 | 0.010692 | -0.04258 | -0.010677 | 2.2419e-05 | 1.4161e-05 | 0.064094 | 0.064094 | 0.064094 | 0.98914 | -0.20846 | 0.98857 | -0.2195 | 17.6082
48 | 0.095657 | 0.024179 | -0.095489 | -0.024072 | 0.0001675 | 0.00010692 | 0.14361 | 0.14361 | 0.14361 | 0.99164 | -0.15986 | 0.98974 | -0.19645 | 39.4539
49 | 0.023497 | 0.0058961 | -0.023481 | -0.0058864 | 1.5813e-05 | 9.6904e-06 | 0.035406 | 0.035406 | 0.035406 | 0.98757 | -0.23897 | 0.98685 | -0.2531 | 9.727
50 | -0.00064485 | -0.00016151 | 0.00064485 | 0.00016137 | 4.0897e-09 | -1.4467e-07 | 0.00097248 | 0.00097243 | 0.00097248 | 0.98665 | -0.25684 | 0.98666 | -0.25671 | 0.26717
51 | 0.00064485 | 0.00016151 | -0.00064484 | -0.00016161 | 2.8381e-09 | -1.0038e-07 | 0.00097248 | 0.00097252 | 0.00097252 | 0.98665 | -0.25684 | 0.98665 | -0.25693 | 0.26718
52 | -0.0013442 | -0.00033663 | 0.0013442 | 0.00033634 | 3.796e-08 | -2.9037e-07 | 0.0020271 | 0.002027 | 0.0020271 | 0.98666 | -0.25671 | 0.98669 | -0.25612 | 0.55689
53 | 0.020646 | 0.0051775 | -0.020637 | -0.0051722 | 8.8273e-06 | 5.3375e-06 | 0.031088 | 0.031088 | 0.031088 | 0.98826 | -0.22571 | 0.98779 | -0.23469 | 8.5406
54 | -0.020646 | -0.0051775 | 0.02065 | 0.0051797 | 3.7e-06 | 2.2372e-06 | 0.031088 | 0.031088 | 0.031088 | 0.98826 | -0.22571 | 0.98845 | -0.22196 | 8.5406
55 | -0.03155 | -0.0079117 | 0.031554 | 0.007914 | 3.6925e-06 | 2.3073e-06 | 0.047498 | 0.047498 | 0.047498 | 0.98845 | -0.22196 | 0.98857 | -0.2195 | 13.0488
56 | -0.016126 | -0.0040419 | 0.016129 | 0.0040438 | 3.3561e-06 | 1.9547e-06 | 0.024324 | 0.024324 | 0.024324 | 0.98651 | -0.25959 | 0.98674 | -0.25522 | 6.6823
57 | 0.0092027 | 0.0023068 | -0.0092011 | -0.002306 | 1.6527e-06 | 7.6575e-07 | 0.013881 | 0.013881 | 0.013881 | 0.98651 | -0.25959 | 0.98632 | -0.26336 | 3.8135
58 | -0.019684 | -0.0049342 | 0.019686 | 0.0049353 | 1.9883e-06 | 1.1957e-06 | 0.029685 | 0.029685 | 0.029685 | 0.98674 | -0.25522 | 0.98685 | -0.2531 | 8.1551
59 | 0.0035551 | 0.00089034 | -0.003555 | -0.00089042 | 1.5194e-07 | -8.283e-08 | 0.005361 | 0.005361 | 0.005361 | 0.98674 | -0.25522 | 0.98669 | -0.25612 | 1.4728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.61481 | 0.15626

## res_load
| p_mw | q_mvar
0 | 0.0081767 | 0.0020493
1 | 0.0085909 | 0.0021531
2 | 0.0087276 | 0.0021873
3 | 0.0084948 | 0.002129
4 | 0.01696 | 0.0042507
5 | 0.041462 | 0.010391
6 | 0.024983 | 0.0062613
7 | 0.028136 | 0.0070515
8 | 0.056392 | 0.014133
9 | 0.06654 | 0.016676
10 | 0.040316 | 0.010104
11 | 0.015235 | 0.0038183
12 | 0.0058359 | 0.0014626
13 | 0.0055405 | 0.0013886
14 | 0.021463 | 0.0053792
15 | 0.012756 | 0.003197
16 | 0.0031567 | 0.00079113
17 | 0.056241 | 0.014095
18 | 0.045091 | 0.011301
19 | 0.011879 | 0.0029772
20 | 0.001304 | 0.00032682
21 | 0.005392 | 0.0013514
22 | 0.024134 | 0.0060486
23 | 0.023584 | 0.0059108
24 | 0.00069931 | 0.00017526
25 | 0.00064484 | 0.00016161
26 | 0.020637 | 0.0051722
27 | 0.010901 | 0.002732
28 | 0.011026 | 0.0027633
29 | 0.0069231 | 0.0017351
30 | 0.0092011 | 0.002306
31 | 0.0037948 | 0.00095105
32 | 0.0022108 | 0.00055408

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1