## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-28_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-28_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_69-28_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_69-28_0_5_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_69-28_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_69-28_0_5_node_90 | 0.4 | n |  | TRUE
6 | bus_LV_69-28_0_5_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_69-28_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_69-28_0_5_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_69-28_0_5_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_69-28_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_69-28_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_69-28_0_5_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_69-28_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_69-28_0_5_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_69-28_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_69-28_0_5_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_69-28_0_5_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_69-28_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_69-28_0_5_node_75 | 0.4 | n |  | TRUE
20 | bus_LV_69-28_0_5_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_69-28_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_69-28_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_69-28_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_69-28_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_69-28_0_5_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_69-28_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_69-28_0_5_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_69-28_0_5_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_69-28_0_5_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_69-28_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_69-28_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_69-28_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_69-28_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_69-28_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_69-28_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_69-28_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_69-28_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_69-28_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_69-28_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_69-28_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_69-28_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_69-28_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_69-28_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_69-28_0_5_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_69-28_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_69-28_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_69-28_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_69-28_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_69-28_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_69-28_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_69-28_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_69-28_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_69-28_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_69-28_0_5_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_69-28_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_69-28_0_5_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_69-28_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_69-28_0_5_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_69-28_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_69-28_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_69-28_0_5_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_69-28_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_69-28_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_69-28_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_69-28_0_5_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_69-28_0_5_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_69-28_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_69-28_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_69-28_0_5_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_69-28_0_5_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_69-28_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_69-28_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_69-28_0_5_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_69-28_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_69-28_0_5_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_69-28_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_69-28_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_69-28_0_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_69-28_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_69-28_0_5_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_69-28_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_69-28_0_5_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_69-28_0_5_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_69-28_0_5_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_69-28_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_MV_551_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-28_0_5_load_0 | 0 | 0.009026 | 0.0022621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-28_0_5_load_6 | 2 | 0.0090295 | 0.002263 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-28_0_5_load_7 | 3 | 0.0065413 | 0.0016394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-28_0_5_load_90 | 5 | 0.010129 | 0.0025386 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-28_0_5_load_55 | 8 | 0.0037825 | 0.00094798 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-28_0_5_load_53 | 9 | 0.0051701 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-28_0_5_load_9 | 11 | 0.0061431 | 0.0015396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-28_0_5_load_54 | 12 | 0.007403 | 0.0018554 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-28_0_5_load_91 | 14 | 0.010144 | 0.0025424 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-28_0_5_load_72 | 17 | 0.012305 | 0.003084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-28_0_5_load_52 | 20 | 0.0014841 | 0.00037196 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-28_0_5_load_11 | 22 | 0.0076086 | 0.0019069 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-28_0_5_load_13 | 23 | 0.011052 | 0.0027699 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-28_0_5_load_14 | 24 | 0.010913 | 0.0027352 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-28_0_5_load_43 | 25 | 0.012618 | 0.0031623 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-28_0_5_load_40 | 26 | 0.011054 | 0.0027703 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-28_0_5_load_57 | 28 | 0.0059601 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-28_0_5_load_61 | 29 | 0.011057 | 0.0027712 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-28_0_5_load_15 | 30 | 0.021431 | 0.0053712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-28_0_5_load_20 | 34 | 0.013017 | 0.0032623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-28_0_5_load_18 | 35 | 0.022623 | 0.0056699 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-28_0_5_load_23 | 37 | 0.0061239 | 0.0015348 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-28_0_5_load_24 | 38 | 0.0073444 | 0.0018407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-28_0_5_load_21 | 40 | 0.02244 | 0.0056241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-28_0_5_load_56 | 44 | 0.011423 | 0.0028629 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-28_0_5_load_28 | 46 | 0.012929 | 0.0032404 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-28_0_5_load_38 | 49 | 0.0092611 | 0.0023211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-28_0_5_load_36 | 50 | 0.039097 | 0.0097986 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-28_0_5_load_29 | 51 | 0.011423 | 0.0028629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-28_0_5_load_32 | 52 | 0.011575 | 0.0029009 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-28_0_5_load_64 | 55 | 0.013585 | 0.0034047 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-28_0_5_load_62 | 56 | 0.019301 | 0.0048372 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-28_0_5_load_58 | 57 | 0.011057 | 0.0027712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_69-28_0_5_load_59 | 58 | 0.011052 | 0.0027699 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_69-28_0_5_load_66 | 59 | 0.016514 | 0.0041388 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_69-28_0_5_load_49 | 61 | 0.01125 | 0.0028195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_69-28_0_5_load_79 | 62 | 0.0012082 | 0.0003028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_69-28_0_5_load_45 | 63 | 0.0029952 | 0.00075068 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_69-28_0_5_load_51 | 64 | 0.012609 | 0.0031602 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_69-28_0_5_load_46 | 65 | 0.0061203 | 0.0015339 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_69-28_0_5_load_48 | 66 | 0.0047525 | 0.0011911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_69-28_0_5_load_50 | 67 | 0.0032514 | 0.00081489 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_69-28_0_5_load_68 | 68 | 0.002417 | 0.00060576 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_69-28_0_5_load_69 | 69 | 0.0068656 | 0.0017207 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_69-28_0_5_load_74 | 71 | 0.0019045 | 0.00047732 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_69-28_0_5_load_60 | 72 | 0.011057 | 0.0027711 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_69-28_0_5_load_70 | 73 | 0.0049408 | 0.0012383 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_69-28_0_5_load_73 | 74 | 0.0021928 | 0.00054958 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_69-28_0_5_load_78 | 76 | 0.0016627 | 0.0004167 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_69-28_0_5_load_82 | 77 | 0.0022283 | 0.00055847 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_69-28_0_5_load_81 | 79 | 0.00191 | 0.00047869 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_69-28_0_5_load_83 | 80 | 0.0015215 | 0.00038132 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_69-28_0_5_load_85 | 81 | 0.0014909 | 0.00037365 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_69-28_0_5_load_88 | 84 | 0.00426 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_69-28_0_5_load_89 | 85 | 0.0042241 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-28_0_5_line_0 |  | 0 | 1 | 0.018343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-28_0_5_line_1 |  | 1 | 2 | 0.0097494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_69-28_0_5_line_2 |  | 1 | 3 | 0.01985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_69-28_0_5_line_3 |  | 2 | 13 | 0.026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_69-28_0_5_line_4 |  | 3 | 11 | 0.0073575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-28_0_5_line_5 |  | 4 | 5 | 0.004274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-28_0_5_line_6 |  | 4 | 6 | 0.04008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-28_0_5_line_7 |  | 6 | 14 | 0.0031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-28_0_5_line_8 |  | 6 | 15 | 0.02688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-28_0_5_line_9 |  | 7 | 8 | 0.024221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-28_0_5_line_10 |  | 7 | 9 | 0.026432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-28_0_5_line_11 |  | 8 | 19 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-28_0_5_line_12 |  | 9 | 20 | 0.0090261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-28_0_5_line_13 |  | 10 | 11 | 0.014897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_69-28_0_5_line_14 |  | 10 | 12 | 0.006244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-28_0_5_line_15 |  | 12 | 20 | 0.0023792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-28_0_5_line_16 |  | 13 | 21 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-28_0_5_line_17 |  | 13 | 22 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_69-28_0_5_line_18 |  | 15 | 25 | 0.003644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-28_0_5_line_19 |  | 15 | 21 | 0.019398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-28_0_5_line_20 |  | 16 | 17 | 0.0146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-28_0_5_line_21 |  | 16 | 18 | 0.019151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_69-28_0_5_line_22 |  | 18 | 26 | 0.0084398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-28_0_5_line_23 |  | 19 | 70 | 0.004075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-28_0_5_line_24 |  | 19 | 71 | 0.041424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_69-28_0_5_line_25 |  | 21 | 23 | 0.0092081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_69-28_0_5_line_26 |  | 22 | 24 | 0.018953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_69-28_0_5_line_27 |  | 23 | 26 | 0.039068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-28_0_5_line_28 |  | 24 | 27 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_69-28_0_5_line_29 |  | 27 | 28 | 0.028274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_69-28_0_5_line_30 |  | 27 | 29 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-28_0_5_line_31 |  | 28 | 37 | 0.018417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_69-28_0_5_line_32 |  | 29 | 72 | 0.019934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-28_0_5_line_33 |  | 30 | 31 | 0.036652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_69-28_0_5_line_34 |  | 30 | 32 | 0.019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_69-28_0_5_line_35 |  | 31 | 33 | 0.002585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_69-28_0_5_line_36 |  | 32 | 34 | 0.02822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_69-28_0_5_line_37 |  | 33 | 37 | 0.0068971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_69-28_0_5_line_38 |  | 33 | 38 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_69-28_0_5_line_39 |  | 34 | 39 | 0.037285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_69-28_0_5_line_40 |  | 35 | 36 | 0.021122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-28_0_5_line_41 |  | 36 | 42 | 0.006493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_69-28_0_5_line_42 |  | 36 | 43 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_69-28_0_5_line_43 |  | 38 | 44 | 0.039885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-28_0_5_line_44 |  | 39 | 45 | 0.008674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-28_0_5_line_45 |  | 39 | 46 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_69-28_0_5_line_46 |  | 40 | 41 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_69-28_0_5_line_47 |  | 41 | 43 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_69-28_0_5_line_48 |  | 41 | 47 | 0.032836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-28_0_5_line_49 |  | 41 | 48 | 0.070551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-28_0_5_line_50 |  | 42 | 49 | 0.044641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-28_0_5_line_51 |  | 43 | 50 | 0.037701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_69-28_0_5_line_52 |  | 45 | 51 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-28_0_5_line_53 |  | 46 | 52 | 0.022942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_69-28_0_5_line_54 |  | 47 | 53 | 0.040672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-28_0_5_line_55 |  | 47 | 52 | 0.035827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_69-28_0_5_line_56 |  | 48 | 54 | 0.031074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-28_0_5_line_57 |  | 48 | 55 | 0.032941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_69-28_0_5_line_58 |  | 53 | 56 | 0.0071161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_69-28_0_5_line_59 |  | 54 | 59 | 0.034204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_69-28_0_5_line_60 |  | 57 | 58 | 0.038768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_69-28_0_5_line_61 |  | 58 | 72 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_69-28_0_5_line_62 |  | 60 | 61 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_69-28_0_5_line_63 |  | 60 | 62 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_69-28_0_5_line_64 |  | 60 | 63 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_69-28_0_5_line_65 |  | 61 | 64 | 0.042004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_69-28_0_5_line_66 |  | 63 | 65 | 0.027401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_69-28_0_5_line_67 |  | 65 | 66 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_69-28_0_5_line_68 |  | 66 | 67 | 0.0026733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_69-28_0_5_line_69 |  | 67 | 68 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_69-28_0_5_line_70 |  | 68 | 69 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_69-28_0_5_line_71 |  | 69 | 73 | 0.0041704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_69-28_0_5_line_72 |  | 70 | 75 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_69-28_0_5_line_73 |  | 70 | 76 | 0.035506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_69-28_0_5_line_74 |  | 71 | 74 | 0.0037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_69-28_0_5_line_75 |  | 73 | 74 | 0.031185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_69-28_0_5_line_76 |  | 75 | 77 | 0.026968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_69-28_0_5_line_77 |  | 75 | 78 | 0.042644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_69-28_0_5_line_78 |  | 78 | 79 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_69-28_0_5_line_79 |  | 79 | 80 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_69-28_0_5_line_80 |  | 80 | 81 | 0.010184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_69-28_0_5_line_81 |  | 81 | 82 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_69-28_0_5_line_82 |  | 82 | 83 | 0.029561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_69-28_0_5_line_83 |  | 83 | 84 | 0.037831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_69-28_0_5_line_84 |  | 83 | 85 | 0.009959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-28_0_5_trafo_24 | 0.63 MVA 20/0.4 kV | 86 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2686142.1954 | 1252631.3245 | 2686132.5684 | 1252646.9386
1 | 2686142.1954 | 1252631.3245 | 2686147.312 | 1252623.0257
2 | 2686142.1954 | 1252631.3245 | 2686150.8184 | 1252634.6636 | 2686161.4178 | 1252634.9512 | 2686161.4178 | 1252634.9512
3 | 2686156.5294 | 1252599.5422 | 2686158.435 | 1252604.9851 | 2686147.312 | 1252623.0257
4 | 2686162.0232 | 1252641.6331 | 2686160.7898 | 1252640.7687 | 2686161.4178 | 1252634.9512
5 | 2686073.2292 | 1252616.3443 | 2686070.0329 | 1252613.4957
6 | 2686073.2292 | 1252616.3443 | 2686086.8971 | 1252602.3211 | 2686101.8017 | 1252616.3928
7 | 2686101.8017 | 1252616.3928 | 2686099.723 | 1252618.6977
8 | 2686101.8017 | 1252616.3928 | 2686119.8132 | 1252596.395
9 | 2686172.7749 | 1252680.1506 | 2686192.2909 | 1252694.4959
10 | 2686172.7749 | 1252680.1506 | 2686175.692 | 1252675.7342 | 2686178.797 | 1252673.9558 | 2686188.5341 | 1252659.3419 | 2686188.5341 | 1252659.3419
11 | 2686214.5654 | 1252711.0598 | 2686208.5647 | 1252706.4579 | 2686192.2909 | 1252694.4959
12 | 2686181.4881 | 1252653.7006 | 2686188.5341 | 1252659.3419
13 | 2686174.2224 | 1252650.1823 | 2686162.0232 | 1252641.6331
14 | 2686174.2224 | 1252650.1823 | 2686176.0004 | 1252651.4313 | 2686178.1795 | 1252651.0516 | 2686179.6308 | 1252652.2136
15 | 2686181.4881 | 1252653.7006 | 2686179.6308 | 1252652.2136
16 | 2686156.5294 | 1252599.5422 | 2686152.3563 | 1252600.0263 | 2686147.9966 | 1252597.2608 | 2686133.2622 | 1252582.3798
17 | 2686156.5294 | 1252599.5422 | 2686160.3746 | 1252596.1733 | 2686171.2768 | 1252585.3259
18 | 2686119.8132 | 1252596.395 | 2686117.1399 | 1252593.9098
19 | 2686133.2622 | 1252582.3798 | 2686119.8132 | 1252596.395
20 | 2686080.2117 | 1252556.0223 | 2686088.0197 | 1252564.0418 | 2686085.6888 | 1252566.5543
21 | 2686093.3656 | 1252542.0695 | 2686080.2117 | 1252556.0223
22 | 2686093.3656 | 1252542.0695 | 2686099.3025 | 1252548.068
23 | 2686217.9124 | 1252713.3991 | 2686214.5654 | 1252711.0598
24 | 2686214.5654 | 1252711.0598 | 2686237.7742 | 1252676.7484
25 | 2686133.2622 | 1252582.3798 | 2686126.7848 | 1252575.8352
26 | 2686171.2768 | 1252585.3259 | 2686184.7125 | 1252571.9578
27 | 2686126.7848 | 1252575.8352 | 2686099.3025 | 1252548.068
28 | 2686194.4758 | 1252562.2436 | 2686184.7125 | 1252571.9578
29 | 2686194.4758 | 1252562.2436 | 2686214.144 | 1252541.9315
30 | 2686194.4758 | 1252562.2436 | 2686181.1386 | 1252549.4066
31 | 2686214.144 | 1252541.9315 | 2686226.9556 | 1252528.7005
32 | 2686181.1386 | 1252549.4066 | 2686166.7764 | 1252535.583
33 | 2686233.5616 | 1252521.8928 | 2686206.5015 | 1252497.1718
34 | 2686192.4477 | 1252484.3328 | 2686206.5015 | 1252497.1718
35 | 2686231.7534 | 1252523.7457 | 2686233.5616 | 1252521.8928
36 | 2686192.4477 | 1252484.3328 | 2686171.6015 | 1252465.312
37 | 2686231.7534 | 1252523.7457 | 2686226.9556 | 1252528.7005
38 | 2686231.7534 | 1252523.7457 | 2686217.3275 | 1252510.6147
39 | 2686148.4803 | 1252437.4468 | 2686151.072 | 1252446.5803 | 2686171.6015 | 1252465.312
40 | 2686273.4714 | 1252475.7832 | 2686273.0674 | 1252479.6803 | 2686271.223 | 1252482.9893 | 2686261.8918 | 1252492.6283
41 | 2686273.4714 | 1252475.7832 | 2686279.9825 | 1252475.9337
42 | 2686273.4714 | 1252475.7832 | 2686270.6376 | 1252470.3267 | 2686253.7225 | 1252454.9021
43 | 2686187.8321 | 1252483.7669 | 2686217.3275 | 1252510.6147
44 | 2686139.9992 | 1252439.3805 | 2686148.4803 | 1252437.4468
45 | 2686148.4803 | 1252437.4468 | 2686158.6621 | 1252435.1204
46 | 2686238.9822 | 1252441.4552 | 2686225.2445 | 1252457.5058
47 | 2686238.9822 | 1252441.4552 | 2686253.7225 | 1252454.9021
48 | 2686214.8302 | 1252419.2091 | 2686228.9194 | 1252432.2796 | 2686238.9822 | 1252441.4552
49 | 2686238.9822 | 1252441.4552 | 2686228.9194 | 1252432.2796 | 2686261.2658 | 1252399.2253 | 2686269.7086 | 1252392.6766
50 | 2686279.9825 | 1252475.9337 | 2686310.169 | 1252442.9706
51 | 2686253.7225 | 1252454.9021 | 2686278.8466 | 1252426.7931
52 | 2686139.9992 | 1252439.3805 | 2686142.3333 | 1252445.9861 | 2686150.4375 | 1252449.729 | 2686156.4456 | 1252455.1978
53 | 2686181.028 | 1252430.0102 | 2686158.6621 | 1252435.1204
54 | 2686214.8302 | 1252419.2091 | 2686202.5594 | 1252407.7219 | 2686187.5188 | 1252393.6369 | 2686189.7421 | 1252391.2563
55 | 2686214.8302 | 1252419.2091 | 2686206.357 | 1252424.223 | 2686181.028 | 1252430.0102
56 | 2686269.7086 | 1252392.6766 | 2686281.434 | 1252383.5738 | 2686288.8311 | 1252377.8327 | 2686295.0547 | 1252374.9322
57 | 2686269.7086 | 1252392.6766 | 2686261.6743 | 1252382.0627 | 2686253.1873 | 1252364.363
58 | 2686189.7421 | 1252391.2563 | 2686194.5879 | 1252386.0451
59 | 2686295.0547 | 1252374.9322 | 2686290.0517 | 1252367.0979 | 2686279.793 | 1252344.4002
60 | 2686123.7942 | 1252494.213 | 2686151.7258 | 1252521.097
61 | 2686151.7258 | 1252521.097 | 2686166.7764 | 1252535.583
62 | 2686321.3573 | 1252565.4486 | 2686319.2766 | 1252561.1484 | 2686314.6671 | 1252557.4006 | 2686313.1315 | 1252554.5316 | 2686305.6664 | 1252550.4531 | 2686305.6664 | 1252550.4531
63 | 2686321.3573 | 1252565.4486 | 2686331.5831 | 1252560.9708
64 | 2686321.3573 | 1252565.4486 | 2686308.7612 | 1252579.8623
65 | 2686305.6664 | 1252550.4531 | 2686293.9911 | 1252546.3022 | 2686292.1624 | 1252542.8284 | 2686286.8858 | 1252538.2481 | 2686286.5664 | 1252529.0921 | 2686285.0177 | 1252521.9419 | 2686285.8028 | 1252519.8629
66 | 2686308.7612 | 1252579.8623 | 2686305.7076 | 1252583.3564 | 2686291.3273 | 1252600.9983
67 | 2686291.3273 | 1252600.9983 | 2686291.1608 | 1252601.2026 | 2686282.4107 | 1252612.502
68 | 2686280.7739 | 1252614.6157 | 2686282.4107 | 1252612.502
69 | 2686280.7739 | 1252614.6157 | 2686273.0926 | 1252624.5349 | 2686270.2619 | 1252628.7191 | 2686267.6097 | 1252632.64
70 | 2686259.6645 | 1252644.3861 | 2686267.6097 | 1252632.64
71 | 2686259.6645 | 1252644.3861 | 2686257.3279 | 1252647.8405
72 | 2686217.9124 | 1252713.3991 | 2686222.4556 | 1252706.6713 | 2686228.6759 | 1252696.7098
73 | 2686217.9124 | 1252713.3991 | 2686198.0757 | 1252742.8467
74 | 2686239.8554 | 1252673.6715 | 2686237.7742 | 1252676.7484
75 | 2686239.8554 | 1252673.6715 | 2686257.3279 | 1252647.8405
76 | 2686228.6759 | 1252696.7098 | 2686247.7835 | 1252715.7408
77 | 2686251.854 | 1252660.8755 | 2686228.6759 | 1252696.7098
78 | 2686251.854 | 1252660.8755 | 2686268.5617 | 1252670.8152 | 2686272.1805 | 1252671.6452
79 | 2686282.9701 | 1252673.583 | 2686279.5362 | 1252673.3324 | 2686272.1805 | 1252671.6452
80 | 2686293.1301 | 1252674.0667 | 2686290.9577 | 1252674.166 | 2686282.9701 | 1252673.583
81 | 2686317.5051 | 1252670.7501 | 2686306.9983 | 1252673.4324 | 2686293.1301 | 1252674.0667
82 | 2686317.5051 | 1252670.7501 | 2686310.5506 | 1252642.0159
83 | 2686310.5506 | 1252642.0159 | 2686315.0723 | 1252638.8349 | 2686319.2711 | 1252629.8559 | 2686322.8345 | 1252620.9789 | 2686325.8873 | 1252610.8824 | 2686323.6778 | 1252610.2386
84 | 2686310.5506 | 1252642.0159 | 2686304.6561 | 1252639.4392 | 2686303.2849 | 1252636.1723

## bus_geodata
| x | y | coords
0 | 2686132.5684 | 1252646.9386
1 | 2686142.1954 | 1252631.3245
2 | 2686147.312 | 1252623.0257
3 | 2686161.4178 | 1252634.9512
4 | 2686073.2292 | 1252616.3443
5 | 2686070.0329 | 1252613.4957
6 | 2686101.8017 | 1252616.3928
7 | 2686172.7749 | 1252680.1506
8 | 2686192.2909 | 1252694.4959
9 | 2686188.5341 | 1252659.3419
10 | 2686174.2224 | 1252650.1823
11 | 2686162.0232 | 1252641.6331
12 | 2686179.6308 | 1252652.2136
13 | 2686156.5294 | 1252599.5422
14 | 2686099.723 | 1252618.6977
15 | 2686119.8132 | 1252596.395
16 | 2686080.2117 | 1252556.0223
17 | 2686085.6888 | 1252566.5543
18 | 2686093.3656 | 1252542.0695
19 | 2686214.5654 | 1252711.0598
20 | 2686181.4881 | 1252653.7006
21 | 2686133.2622 | 1252582.3798
22 | 2686171.2768 | 1252585.3259
23 | 2686126.7848 | 1252575.8352
24 | 2686184.7125 | 1252571.9578
25 | 2686117.1399 | 1252593.9098
26 | 2686099.3025 | 1252548.068
27 | 2686194.4758 | 1252562.2436
28 | 2686214.144 | 1252541.9315
29 | 2686181.1386 | 1252549.4066
30 | 2686206.5015 | 1252497.1718
31 | 2686233.5616 | 1252521.8928
32 | 2686192.4477 | 1252484.3328
33 | 2686231.7534 | 1252523.7457
34 | 2686171.6015 | 1252465.312
35 | 2686261.8918 | 1252492.6283
36 | 2686273.4714 | 1252475.7832
37 | 2686226.9556 | 1252528.7005
38 | 2686217.3275 | 1252510.6147
39 | 2686148.4803 | 1252437.4468
40 | 2686225.2445 | 1252457.5058
41 | 2686238.9822 | 1252441.4552
42 | 2686279.9825 | 1252475.9337
43 | 2686253.7225 | 1252454.9021
44 | 2686187.8321 | 1252483.7669
45 | 2686139.9992 | 1252439.3805
46 | 2686158.6621 | 1252435.1204
47 | 2686214.8302 | 1252419.2091
48 | 2686269.7086 | 1252392.6766
49 | 2686310.169 | 1252442.9706
50 | 2686278.8466 | 1252426.7931
51 | 2686156.4456 | 1252455.1978
52 | 2686181.028 | 1252430.0102
53 | 2686189.7421 | 1252391.2563
54 | 2686295.0547 | 1252374.9322
55 | 2686253.1873 | 1252364.363
56 | 2686194.5879 | 1252386.0451
57 | 2686123.7942 | 1252494.213
58 | 2686151.7258 | 1252521.097
59 | 2686279.793 | 1252344.4002
60 | 2686321.3573 | 1252565.4486
61 | 2686305.6664 | 1252550.4531
62 | 2686331.5831 | 1252560.9708
63 | 2686308.7612 | 1252579.8623
64 | 2686285.8028 | 1252519.8629
65 | 2686291.3273 | 1252600.9983
66 | 2686282.4107 | 1252612.502
67 | 2686280.7739 | 1252614.6157
68 | 2686267.6097 | 1252632.64
69 | 2686259.6645 | 1252644.3861
70 | 2686217.9124 | 1252713.3991
71 | 2686237.7742 | 1252676.7484
72 | 2686166.7764 | 1252535.583
73 | 2686257.3279 | 1252647.8405
74 | 2686239.8554 | 1252673.6715
75 | 2686228.6759 | 1252696.7098
76 | 2686198.0757 | 1252742.8467
77 | 2686247.7835 | 1252715.7408
78 | 2686251.854 | 1252660.8755
79 | 2686272.1805 | 1252671.6452
80 | 2686282.9701 | 1252673.583
81 | 2686293.1301 | 1252674.0667
82 | 2686317.5051 | 1252670.7501
83 | 2686310.5506 | 1252642.0159
84 | 2686323.6778 | 1252610.2386
85 | 2686303.2849 | 1252636.1723
86 | 2686231.7534 | 1252523.7457

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99086 | -0.17432 | 0.009026 | 0.0022621
1 | 0.99102 | -0.17138 | 0 | 0
2 | 0.99137 | -0.16462 | 0.0090295 | 0.002263
3 | 0.98902 | -0.20963 | 0.0065413 | 0.0016394
4 | 0.98884 | -0.21392 | 0 | 0
5 | 0.9888 | -0.21469 | 0.010129 | 0.0025386
6 | 0.98921 | -0.20669 | 0 | 0
7 | 0.98351 | -0.31574 | 0 | 0
8 | 0.98167 | -0.35142 | 0.0037825 | 0.00094798
9 | 0.98552 | -0.27695 | 0.0051701 | 0.0012958
10 | 0.987 | -0.24845 | 0 | 0
11 | 0.98832 | -0.22299 | 0.0061431 | 0.0015396
12 | 0.98644 | -0.25914 | 0.007403 | 0.0018554
13 | 0.99216 | -0.14952 | 0 | 0
14 | 0.98918 | -0.20725 | 0.010144 | 0.0025424
15 | 0.98971 | -0.19699 | 0 | 0
16 | 0.98885 | -0.21357 | 0 | 0
17 | 0.98869 | -0.21677 | 0.012305 | 0.003084
18 | 0.98907 | -0.20937 | 0 | 0
19 | 0.97966 | -0.39057 | 0 | 0
20 | 0.98625 | -0.2629 | 0.0014841 | 0.00037196
21 | 0.99029 | -0.18564 | 0 | 0
22 | 0.99308 | -0.13196 | 0.0076086 | 0.0019069
23 | 0.99 | -0.19127 | 0.011052 | 0.0027699
24 | 0.99396 | -0.11512 | 0.010913 | 0.0027352
25 | 0.98967 | -0.1978 | 0.012618 | 0.0031623
26 | 0.98917 | -0.20752 | 0.011054 | 0.0027703
27 | 0.99463 | -0.10223 | 0 | 0
28 | 0.9963 | -0.070346 | 0.0059601 | 0.0014938
29 | 0.99388 | -0.11667 | 0.011057 | 0.0027712
30 | 0.99591 | -0.077727 | 0.021431 | 0.0053712
31 | 0.99771 | -0.043454 | 0 | 0
32 | 0.99507 | -0.09378 | 0 | 0
33 | 0.99784 | -0.041042 | 0 | 0
34 | 0.99383 | -0.11763 | 0.013017 | 0.0032623
35 | 0.98237 | -0.33936 | 0.022623 | 0.0056699
36 | 0.98281 | -0.33074 | 0 | 0
37 | 0.99741 | -0.049152 | 0.0061239 | 0.0015348
38 | 1 | 0 | -0.50092 | -0.12748
39 | 0.99229 | -0.14708 | 0 | 0
40 | 0.98453 | -0.29715 | 0.02244 | 0.0056241
41 | 0.98497 | -0.28863 | 0 | 0
42 | 0.98276 | -0.33182 | 0 | 0
43 | 0.98367 | -0.31407 | 0 | 0
44 | 0.99959 | -0.0079446 | 0.011423 | 0.0028629
45 | 0.9922 | -0.14883 | 0 | 0
46 | 0.99189 | -0.15482 | 0.012929 | 0.0032404
47 | 0.98871 | -0.21603 | 0 | 0
48 | 0.98301 | -0.32686 | 0 | 0
49 | 0.98238 | -0.33929 | 0.0092611 | 0.0023211
50 | 0.98231 | -0.34065 | 0.039097 | 0.0097986
51 | 0.99195 | -0.1537 | 0.011423 | 0.0028629
52 | 0.99107 | -0.17052 | 0.011575 | 0.0029009
53 | 0.98799 | -0.23004 | 0 | 0
54 | 0.98254 | -0.33612 | 0 | 0
55 | 0.9826 | -0.33494 | 0.013585 | 0.0034047
56 | 0.98787 | -0.23249 | 0.019301 | 0.0048372
57 | 0.99247 | -0.14409 | 0.011057 | 0.0027712
58 | 0.99286 | -0.1365 | 0.011052 | 0.0027699
59 | 0.98202 | -0.34632 | 0.016514 | 0.0041388
60 | 0.97209 | -0.53925 | 0 | 0
61 | 0.97159 | -0.54915 | 0.01125 | 0.0028195
62 | 0.97208 | -0.5395 | 0.0012082 | 0.0003028
63 | 0.97254 | -0.53041 | 0.0029952 | 0.00075068
64 | 0.97109 | -0.55894 | 0.012609 | 0.0031602
65 | 0.97325 | -0.51625 | 0.0061203 | 0.0015339
66 | 0.97372 | -0.50709 | 0.0047525 | 0.0011911
67 | 0.97381 | -0.50518 | 0.0032514 | 0.00081489
68 | 0.97469 | -0.48788 | 0.002417 | 0.00060576
69 | 0.97528 | -0.47628 | 0.0068656 | 0.0017207
70 | 0.9796 | -0.39185 | 0 | 0
71 | 0.97733 | -0.4362 | 0.0019045 | 0.00047732
72 | 0.99328 | -0.12834 | 0.011057 | 0.0027711
73 | 0.97548 | -0.47235 | 0.0049408 | 0.0012383
74 | 0.97712 | -0.44018 | 0.0021928 | 0.00054958
75 | 0.97931 | -0.39749 | 0 | 0
76 | 0.97954 | -0.39292 | 0.0016627 | 0.0004167
77 | 0.97925 | -0.39858 | 0.0022283 | 0.00055847
78 | 0.97878 | -0.40789 | 0 | 0
79 | 0.97849 | -0.41354 | 0.00191 | 0.00047869
80 | 0.97837 | -0.41584 | 0.0015215 | 0.00038132
81 | 0.97828 | -0.41769 | 0.0014909 | 0.00037365
82 | 0.97809 | -0.42152 | 0 | 0
83 | 0.97785 | -0.42609 | 0 | 0
84 | 0.9777 | -0.42903 | 0.00426 | 0.0010676
85 | 0.97781 | -0.42685 | 0.0042241 | 0.0010587
86 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.009026 | -0.0022621 | 0.0090272 | 0.0022627 | 1.2638e-06 | 5.7253e-07 | 0.013555 | 0.013555 | 0.013555 | 0.99086 | -0.17432 | 0.99102 | -0.17138 | 3.7238
1 | -0.1187 | -0.030263 | 0.11874 | 0.030287 | 3.879e-05 | 2.4449e-05 | 0.17841 | 0.17841 | 0.17841 | 0.99102 | -0.17138 | 0.99137 | -0.16462 | 16.3379
2 | 0.10967 | 0.028 | -0.10947 | -0.027871 | 0.0002023 | 0.00012922 | 0.16486 | 0.16486 | 0.16486 | 0.99102 | -0.17138 | 0.98902 | -0.20963 | 45.29
3 | -0.12777 | -0.03255 | 0.12786 | 0.032609 | 9.314e-05 | 5.8218e-05 | 0.19196 | 0.19196 | 0.19196 | 0.99137 | -0.16462 | 0.99216 | -0.14952 | 13.1842
4 | 0.10293 | 0.026232 | -0.10286 | -0.026189 | 6.6298e-05 | 4.2337e-05 | 0.15501 | 0.15501 | 0.15501 | 0.98902 | -0.20963 | 0.98832 | -0.22299 | 42.5862
5 | 0.010129 | 0.0025387 | -0.010129 | -0.0025386 | 3.7239e-07 | 1.835e-07 | 0.015243 | 0.015243 | 0.015243 | 0.98884 | -0.21392 | 0.9888 | -0.21469 | 4.1876
6 | -0.010129 | -0.0025387 | 0.010133 | 0.0025405 | 3.4921e-06 | 1.7206e-06 | 0.015243 | 0.015243 | 0.015243 | 0.98884 | -0.21392 | 0.98921 | -0.20669 | 4.1876
7 | 0.010144 | 0.0025425 | -0.010144 | -0.0025424 | 2.707e-07 | 1.3345e-07 | 0.01526 | 0.01526 | 0.01526 | 0.98921 | -0.20669 | 0.98918 | -0.20725 | 4.1922
8 | -0.020277 | -0.005083 | 0.020287 | 0.0050886 | 9.3783e-06 | 5.6569e-06 | 0.030502 | 0.030502 | 0.030502 | 0.98921 | -0.20669 | 0.98971 | -0.19699 | 8.3798
9 | 0.082263 | 0.020873 | -0.082122 | -0.020783 | 0.00014091 | 8.9874e-05 | 0.12455 | 0.12455 | 0.12455 | 0.98351 | -0.31574 | 0.98167 | -0.35142 | 34.2178
10 | -0.082263 | -0.020873 | 0.082417 | 0.020971 | 0.00015377 | 9.8075e-05 | 0.12455 | 0.12455 | 0.12455 | 0.98351 | -0.31574 | 0.98552 | -0.27695 | 34.2178
11 | 0.07834 | 0.019835 | -0.078193 | -0.019741 | 0.00014697 | 9.3708e-05 | 0.11882 | 0.11882 | 0.11882 | 0.98167 | -0.35142 | 0.97966 | -0.39057 | 32.6427
12 | -0.087587 | -0.022267 | 0.087646 | 0.022305 | 5.9297e-05 | 3.7835e-05 | 0.13236 | 0.13236 | 0.13236 | 0.98552 | -0.27695 | 0.98625 | -0.2629 | 36.3623
13 | -0.096599 | -0.024574 | 0.096718 | 0.02465 | 0.00011869 | 7.5773e-05 | 0.14577 | 0.14576 | 0.14577 | 0.987 | -0.24845 | 0.98832 | -0.22299 | 40.0453
14 | 0.096599 | 0.024574 | -0.09655 | -0.024542 | 4.9751e-05 | 3.1761e-05 | 0.14577 | 0.14577 | 0.14577 | 0.987 | -0.24845 | 0.98644 | -0.25914 | 40.0453
15 | 0.089147 | 0.022687 | -0.08913 | -0.022677 | 1.6164e-05 | 1.0314e-05 | 0.1346 | 0.1346 | 0.1346 | 0.98644 | -0.25914 | 0.98625 | -0.2629 | 36.9775
16 | 0.067483 | 0.01698 | -0.067367 | -0.016906 | 0.00011626 | 7.4017e-05 | 0.10123 | 0.10123 | 0.10123 | 0.99216 | -0.14952 | 0.99029 | -0.18564 | 27.8113
17 | -0.19534 | -0.049589 | 0.19551 | 0.049694 | 0.00016514 | 0.00010463 | 0.29319 | 0.29319 | 0.29319 | 0.99216 | -0.14952 | 0.99308 | -0.13196 | 20.137
18 | 0.012618 | 0.0031626 | -0.012618 | -0.0031623 | 4.9183e-07 | 2.6794e-07 | 0.018972 | 0.018972 | 0.018972 | 0.98971 | -0.19699 | 0.98967 | -0.1978 | 5.212
19 | -0.032905 | -0.0082512 | 0.032923 | 0.0082623 | 1.7805e-05 | 1.1146e-05 | 0.049474 | 0.049474 | 0.049474 | 0.98971 | -0.19699 | 0.99029 | -0.18564 | 13.5917
20 | 0.012307 | 0.0030851 | -0.012305 | -0.003084 | 1.8779e-06 | 1.0146e-06 | 0.01852 | 0.01852 | 0.01852 | 0.98885 | -0.21357 | 0.98869 | -0.21677 | 5.088
21 | -0.012307 | -0.0030851 | 0.01231 | 0.0030864 | 2.4633e-06 | 1.3308e-06 | 0.01852 | 0.01852 | 0.01852 | 0.98885 | -0.21357 | 0.98907 | -0.20937 | 5.088
22 | -0.01231 | -0.0030864 | 0.012311 | 0.003087 | 1.0855e-06 | 5.8642e-07 | 0.01852 | 0.01852 | 0.01852 | 0.98907 | -0.20937 | 0.98917 | -0.20752 | 5.0879
23 | 0.017319 | 0.0043458 | -0.017318 | -0.0043452 | 1.0577e-06 | 6.2561e-07 | 0.026309 | 0.026309 | 0.026309 | 0.97966 | -0.39057 | 0.9796 | -0.39185 | 7.2276
24 | 0.060873 | 0.015396 | -0.06074 | -0.015311 | 0.00013294 | 8.4564e-05 | 0.092511 | 0.092511 | 0.092511 | 0.97966 | -0.39057 | 0.97733 | -0.4362 | 25.4152
25 | 0.034444 | 0.0086441 | -0.034435 | -0.0086383 | 9.2509e-06 | 5.8021e-06 | 0.05176 | 0.05176 | 0.05176 | 0.99029 | -0.18564 | 0.99 | -0.19127 | 14.2197
26 | -0.20312 | -0.051601 | 0.20328 | 0.051705 | 0.00016485 | 0.00010452 | 0.3046 | 0.30459 | 0.3046 | 0.99308 | -0.13196 | 0.99396 | -0.11512 | 20.92
27 | 0.023383 | 0.0058684 | -0.023365 | -0.0058573 | 1.8099e-05 | 1.1082e-05 | 0.035148 | 0.035148 | 0.035148 | 0.99 | -0.19127 | 0.98917 | -0.20752 | 9.6561
28 | -0.21419 | -0.05444 | 0.21433 | 0.054525 | 0.00013299 | 8.44e-05 | 0.32093 | 0.32093 | 0.32093 | 0.99396 | -0.11512 | 0.99463 | -0.10223 | 22.0421
29 | -0.25861 | -0.065646 | 0.25901 | 0.065899 | 0.00039738 | 0.00025286 | 0.38719 | 0.38719 | 0.38719 | 0.99463 | -0.10223 | 0.9963 | -0.070346 | 26.5929
30 | 0.044285 | 0.011122 | -0.044254 | -0.011102 | 3.0477e-05 | 1.9265e-05 | 0.06626 | 0.06626 | 0.06626 | 0.99463 | -0.10223 | 0.99388 | -0.11667 | 18.2034
31 | -0.26497 | -0.067393 | 0.26524 | 0.067565 | 0.00027089 | 0.00017241 | 0.39609 | 0.39609 | 0.39609 | 0.9963 | -0.070346 | 0.99741 | -0.049152 | 27.2042
32 | 0.033197 | 0.0083311 | -0.033179 | -0.0083195 | 1.8469e-05 | 1.1562e-05 | 0.049706 | 0.049706 | 0.049706 | 0.99388 | -0.11667 | 0.99328 | -0.12834 | 13.6555
33 | -0.21502 | -0.054589 | 0.21538 | 0.054815 | 0.00035521 | 0.00022542 | 0.32152 | 0.32152 | 0.32152 | 0.99591 | -0.077727 | 0.99771 | -0.043454 | 22.0824
34 | 0.19359 | 0.049218 | -0.19344 | -0.049123 | 0.00014957 | 9.4732e-05 | 0.2895 | 0.2895 | 0.2895 | 0.99591 | -0.077727 | 0.99507 | -0.09378 | 19.8832
35 | -0.21538 | -0.054815 | 0.2154 | 0.05483 | 2.5052e-05 | 1.5898e-05 | 0.32152 | 0.32152 | 0.32152 | 0.99771 | -0.043454 | 0.99784 | -0.041042 | 22.0824
36 | 0.19344 | 0.049123 | -0.19322 | -0.048983 | 0.00022173 | 0.00014044 | 0.2895 | 0.2895 | 0.2895 | 0.99507 | -0.09378 | 0.99383 | -0.11763 | 19.8833
37 | 0.27147 | 0.069168 | -0.27136 | -0.0691 | 0.00010618 | 6.7594e-05 | 0.40523 | 0.40523 | 0.40523 | 0.99784 | -0.041042 | 0.99741 | -0.049152 | 27.8317
38 | -0.48688 | -0.124 | 0.48784 | 0.12462 | 0.00096591 | 0.00061716 | 0.72675 | 0.72675 | 0.72675 | 0.99784 | -0.041042 | 1 | 0 | 49.9141
39 | 0.18021 | 0.045721 | -0.17995 | -0.045559 | 0.00025484 | 0.00016117 | 0.27001 | 0.27001 | 0.27001 | 0.99383 | -0.11763 | 0.99229 | -0.14708 | 18.5448
40 | -0.022623 | -0.0056699 | 0.022633 | 0.0056756 | 9.3012e-06 | 5.6852e-06 | 0.034268 | 0.034268 | 0.034268 | 0.98237 | -0.33936 | 0.98281 | -0.33074 | 9.4143
41 | 0.0092649 | 0.0023228 | -0.0092644 | -0.0023226 | 4.7913e-07 | 2.2437e-07 | 0.014028 | 0.014028 | 0.014028 | 0.98281 | -0.33074 | 0.98276 | -0.33182 | 3.8538
42 | -0.031897 | -0.0079984 | 0.031923 | 0.0080143 | 2.5365e-05 | 1.5866e-05 | 0.048296 | 0.048295 | 0.048296 | 0.98281 | -0.33074 | 0.98367 | -0.31407 | 13.268
43 | 0.011427 | 0.0028651 | -0.011423 | -0.0028629 | 4.3248e-06 | 2.2449e-06 | 0.017005 | 0.017005 | 0.017005 | 1 | 0 | 0.99959 | -0.0079446 | 4.6716
44 | 0.011427 | 0.0028648 | -0.011426 | -0.0028643 | 9.551e-07 | 4.9922e-07 | 0.017136 | 0.017136 | 0.017136 | 0.99229 | -0.14708 | 0.9922 | -0.14883 | 4.7076
45 | 0.16852 | 0.042695 | -0.16846 | -0.042655 | 6.2613e-05 | 3.9533e-05 | 0.25288 | 0.25288 | 0.25288 | 0.99229 | -0.14708 | 0.99189 | -0.15482 | 17.3679
46 | -0.02244 | -0.0056241 | 0.02245 | 0.0056297 | 9.1135e-06 | 5.5638e-06 | 0.033916 | 0.033916 | 0.033916 | 0.98453 | -0.29715 | 0.98497 | -0.28863 | 9.3177
47 | 0.071156 | 0.017899 | -0.071069 | -0.017844 | 8.6357e-05 | 5.5016e-05 | 0.10752 | 0.10752 | 0.10752 | 0.98497 | -0.28863 | 0.98367 | -0.31407 | 29.5385
48 | -0.12378 | -0.031119 | 0.12421 | 0.031394 | 0.00043074 | 0.00027525 | 0.18703 | 0.18703 | 0.18703 | 0.98497 | -0.28863 | 0.98871 | -0.21603 | 51.3821
49 | 0.030174 | 0.0075897 | -0.030119 | -0.0075554 | 5.5e-05 | 3.4304e-05 | 0.045595 | 0.045595 | 0.045595 | 0.98497 | -0.28863 | 0.98301 | -0.32686 | 12.5261
50 | 0.0092644 | 0.0023226 | -0.0092611 | -0.0023211 | 3.2942e-06 | 1.5429e-06 | 0.014028 | 0.014028 | 0.014028 | 0.98276 | -0.33182 | 0.98238 | -0.33929 | 3.8538
51 | 0.039147 | 0.0098299 | -0.039097 | -0.0097986 | 4.9589e-05 | 3.1259e-05 | 0.059225 | 0.059225 | 0.059225 | 0.98367 | -0.31407 | 0.98231 | -0.34065 | 16.2706
52 | 0.011426 | 0.0028643 | -0.011423 | -0.0028629 | 2.6489e-06 | 1.3847e-06 | 0.017136 | 0.017136 | 0.017136 | 0.9922 | -0.14883 | 0.99195 | -0.1537 | 4.7076
53 | 0.15553 | 0.039415 | -0.15541 | -0.039341 | 0.00011725 | 7.3856e-05 | 0.23348 | 0.23348 | 0.23348 | 0.99189 | -0.15482 | 0.99107 | -0.17052 | 16.0358
54 | 0.019316 | 0.0048463 | -0.019303 | -0.0048386 | 1.2891e-05 | 7.729e-06 | 0.029072 | 0.029072 | 0.029072 | 0.98871 | -0.21603 | 0.98799 | -0.23004 | 7.9869
55 | -0.14353 | -0.03624 | 0.14384 | 0.03644 | 0.00031371 | 0.00019986 | 0.2161 | 0.2161 | 0.2161 | 0.98871 | -0.21603 | 0.99107 | -0.17052 | 29.6845
56 | 0.016529 | 0.0041478 | -0.016522 | -0.0041435 | 7.2962e-06 | 4.2758e-06 | 0.025023 | 0.025023 | 0.025023 | 0.98301 | -0.32686 | 0.98254 | -0.33612 | 6.8744
57 | 0.01359 | 0.0034076 | -0.013585 | -0.0034047 | 5.228e-06 | 2.9285e-06 | 0.020572 | 0.020572 | 0.020572 | 0.98301 | -0.32686 | 0.9826 | -0.33494 | 5.6518
58 | 0.019303 | 0.0048386 | -0.019301 | -0.0048372 | 2.2555e-06 | 1.3524e-06 | 0.029072 | 0.029072 | 0.029072 | 0.98799 | -0.23004 | 0.98787 | -0.23249 | 7.9869
59 | 0.016522 | 0.0041435 | -0.016514 | -0.0041388 | 8.0312e-06 | 4.707e-06 | 0.025023 | 0.025023 | 0.025023 | 0.98254 | -0.33612 | 0.98202 | -0.34632 | 6.8745
60 | -0.011057 | -0.0027712 | 0.011061 | 0.0027732 | 3.9955e-06 | 2.0559e-06 | 0.016578 | 0.016578 | 0.016578 | 0.99247 | -0.14409 | 0.99286 | -0.1365 | 4.5544
61 | -0.022113 | -0.0055432 | 0.022122 | 0.0055484 | 8.6043e-06 | 5.2365e-06 | 0.033142 | 0.033142 | 0.033142 | 0.99286 | -0.1365 | 0.99328 | -0.12834 | 9.105
62 | 0.023876 | 0.0059898 | -0.023865 | -0.0059829 | 1.1261e-05 | 6.9287e-06 | 0.03655 | 0.036551 | 0.036551 | 0.97209 | -0.53925 | 0.97159 | -0.54915 | 10.0413
63 | 0.0012082 | 0.00030268 | -0.0012082 | -0.0003028 | 1.4319e-08 | -1.2923e-07 | 0.0018494 | 0.0018495 | 0.0018495 | 0.97209 | -0.53925 | 0.97208 | -0.5395 | 0.5081
64 | -0.025084 | -0.0062925 | 0.025095 | 0.006299 | 1.0585e-05 | 6.5367e-06 | 0.0384 | 0.0384 | 0.0384 | 0.97209 | -0.53925 | 0.97254 | -0.53041 | 10.5494
65 | 0.012615 | 0.0031634 | -0.012609 | -0.0031602 | 5.8801e-06 | 3.2434e-06 | 0.019321 | 0.019321 | 0.019321 | 0.97159 | -0.54915 | 0.97109 | -0.55894 | 5.308
66 | -0.02809 | -0.0070497 | 0.028109 | 0.0070615 | 1.8983e-05 | 1.1809e-05 | 0.042983 | 0.042982 | 0.042983 | 0.97254 | -0.53041 | 0.97325 | -0.51625 | 11.8084
67 | -0.03423 | -0.0085954 | 0.034244 | 0.0086048 | 1.4952e-05 | 9.3884e-06 | 0.05234 | 0.05234 | 0.05234 | 0.97325 | -0.51625 | 0.97372 | -0.50709 | 14.3791
68 | -0.038997 | -0.0097959 | 0.039001 | 0.0097981 | 3.5613e-06 | 2.246e-06 | 0.059602 | 0.059602 | 0.059602 | 0.97372 | -0.50709 | 0.97381 | -0.50518 | 16.3743
69 | -0.042252 | -0.010613 | 0.042287 | 0.010635 | 3.4915e-05 | 2.2068e-05 | 0.064571 | 0.064571 | 0.064571 | 0.97381 | -0.50518 | 0.97469 | -0.48788 | 17.7392
70 | -0.044704 | -0.011241 | 0.044729 | 0.011257 | 2.4778e-05 | 1.5681e-05 | 0.068261 | 0.068261 | 0.068261 | 0.97469 | -0.48788 | 0.97528 | -0.47628 | 18.7529
71 | -0.051594 | -0.012977 | 0.051604 | 0.012983 | 9.6952e-06 | 6.1528e-06 | 0.078736 | 0.078736 | 0.078736 | 0.97528 | -0.47628 | 0.97548 | -0.47235 | 21.6307
72 | 0.015656 | 0.0039288 | -0.015651 | -0.0039264 | 4.21e-06 | 2.4446e-06 | 0.023783 | 0.023783 | 0.023783 | 0.9796 | -0.39185 | 0.97931 | -0.39749 | 6.5338
73 | 0.0016628 | 0.00041631 | -0.0016627 | -0.0004167 | 8.4934e-08 | -3.9261e-07 | 0.0025256 | 0.0025258 | 0.0025258 | 0.9796 | -0.39185 | 0.97954 | -0.39292 | 0.69389
74 | 0.058836 | 0.014834 | -0.058825 | -0.014827 | 1.1186e-05 | 7.1125e-06 | 0.089612 | 0.089612 | 0.089612 | 0.97733 | -0.4362 | 0.97712 | -0.44018 | 24.6185
75 | -0.056545 | -0.014222 | 0.056632 | 0.014277 | 8.7041e-05 | 5.5316e-05 | 0.086272 | 0.086272 | 0.086272 | 0.97548 | -0.47235 | 0.97712 | -0.44018 | 23.7012
76 | 0.0022284 | 0.00055821 | -0.0022283 | -0.00055847 | 1.1594e-07 | -2.6509e-07 | 0.0033859 | 0.003386 | 0.003386 | 0.97931 | -0.39749 | 0.97925 | -0.39858 | 0.93023
77 | 0.013423 | 0.0033682 | -0.013416 | -0.0033645 | 6.6532e-06 | 3.7218e-06 | 0.020397 | 0.020397 | 0.020397 | 0.97931 | -0.39749 | 0.97878 | -0.40789 | 5.6037
78 | 0.013416 | 0.0033645 | -0.013413 | -0.0033624 | 3.6124e-06 | 2.021e-06 | 0.020397 | 0.020397 | 0.020397 | 0.97878 | -0.40789 | 0.97849 | -0.41354 | 5.6037
79 | 0.011503 | 0.0028838 | -0.011501 | -0.0028831 | 1.2611e-06 | 6.6906e-07 | 0.017493 | 0.017493 | 0.017493 | 0.97849 | -0.41354 | 0.97837 | -0.41584 | 4.8057
80 | 0.00998 | 0.0025018 | -0.0099791 | -0.0025013 | 8.7985e-07 | 4.3523e-07 | 0.015179 | 0.015179 | 0.015179 | 0.97837 | -0.41584 | 0.97828 | -0.41769 | 4.17
81 | 0.0084882 | 0.0021277 | -0.0084867 | -0.002127 | 1.5457e-06 | 6.7887e-07 | 0.012911 | 0.012911 | 0.012911 | 0.97828 | -0.41769 | 0.97809 | -0.42152 | 3.5471
82 | 0.0084867 | 0.002127 | -0.0084849 | -0.0021262 | 1.848e-06 | 8.1178e-07 | 0.012911 | 0.012911 | 0.012911 | 0.97809 | -0.42152 | 0.97785 | -0.42609 | 3.5471
83 | 0.0042606 | 0.0010676 | -0.00426 | -0.0010676 | 5.9632e-07 | -9.2859e-08 | 0.0064833 | 0.0064834 | 0.0064834 | 0.97785 | -0.42609 | 0.9777 | -0.42903 | 1.7812
84 | 0.0042243 | 0.0010586 | -0.0042241 | -0.0010587 | 1.5432e-07 | -2.6162e-08 | 0.0064282 | 0.0064282 | 0.0064282 | 0.97785 | -0.42609 | 0.97781 | -0.42685 | 1.766

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.50826 | 0.12932

## res_load
| p_mw | q_mvar
0 | 0.009026 | 0.0022621
1 | 0.0090295 | 0.002263
2 | 0.0065413 | 0.0016394
3 | 0.010129 | 0.0025386
4 | 0.0037825 | 0.00094798
5 | 0.0051701 | 0.0012958
6 | 0.0061431 | 0.0015396
7 | 0.007403 | 0.0018554
8 | 0.010144 | 0.0025424
9 | 0.012305 | 0.003084
10 | 0.0014841 | 0.00037196
11 | 0.0076086 | 0.0019069
12 | 0.011052 | 0.0027699
13 | 0.010913 | 0.0027352
14 | 0.012618 | 0.0031623
15 | 0.011054 | 0.0027703
16 | 0.0059601 | 0.0014938
17 | 0.011057 | 0.0027712
18 | 0.021431 | 0.0053712
19 | 0.013017 | 0.0032623
20 | 0.022623 | 0.0056699
21 | 0.0061239 | 0.0015348
22 | 0.0073444 | 0.0018407
23 | 0.02244 | 0.0056241
24 | 0.011423 | 0.0028629
25 | 0.012929 | 0.0032404
26 | 0.0092611 | 0.0023211
27 | 0.039097 | 0.0097986
28 | 0.011423 | 0.0028629
29 | 0.011575 | 0.0029009
30 | 0.013585 | 0.0034047
31 | 0.019301 | 0.0048372
32 | 0.011057 | 0.0027712
33 | 0.011052 | 0.0027699
34 | 0.016514 | 0.0041388
35 | 0.01125 | 0.0028195
36 | 0.0012082 | 0.0003028
37 | 0.0029952 | 0.00075068
38 | 0.012609 | 0.0031602
39 | 0.0061203 | 0.0015339
40 | 0.0047525 | 0.0011911
41 | 0.0032514 | 0.00081489
42 | 0.002417 | 0.00060576
43 | 0.0068656 | 0.0017207
44 | 0.0019045 | 0.00047732
45 | 0.011057 | 0.0027711
46 | 0.0049408 | 0.0012383
47 | 0.0021928 | 0.00054958
48 | 0.0016627 | 0.0004167
49 | 0.0022283 | 0.00055847
50 | 0.00191 | 0.00047869
51 | 0.0015215 | 0.00038132
52 | 0.0014909 | 0.00037365
53 | 0.00426 | 0.0010676
54 | 0.0042241 | 0.0010587

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1