## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-2_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_69-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_69-2_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_69-2_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_69-2_0_4_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_69-2_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_69-2_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_69-2_0_4_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_69-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_69-2_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_69-2_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_69-2_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_69-2_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_69-2_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_69-2_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_69-2_0_4_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_69-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_69-2_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_69-2_0_4_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_69-2_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_69-2_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_69-2_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_69-2_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_69-2_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_69-2_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_69-2_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_69-2_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_69-2_0_4_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_69-2_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_69-2_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_69-2_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_69-2_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_69-2_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_69-2_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_69-2_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_69-2_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_69-2_0_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_69-2_0_4_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_69-2_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_69-2_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_69-2_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_MV_552_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-2_0_4_load_0 | 0 | 0.026367 | 0.0066082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-2_0_4_load_17 | 4 | 0.031345 | 0.0078558 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-2_0_4_load_49 | 5 | 0.034124 | 0.0085523 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-2_0_4_load_45 | 8 | 0.0025906 | 0.00064927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-2_0_4_load_18 | 11 | 0.030965 | 0.0077606 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-2_0_4_load_48 | 16 | 0.019093 | 0.0047852 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-2_0_4_load_27 | 18 | 0.013053 | 0.0032715 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-2_0_4_load_40 | 19 | 0.045799 | 0.011478 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-2_0_4_load_29 | 20 | 0.0079091 | 0.0019822 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-2_0_4_load_26 | 21 | 0.0035271 | 0.00088397 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-2_0_4_load_21 | 24 | 0.015172 | 0.0038025 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-2_0_4_load_44 | 25 | 0.0058665 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-2_0_4_load_19 | 26 | 0.0090529 | 0.0022689 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-2_0_4_load_37 | 27 | 0.0051487 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-2_0_4_load_47 | 28 | 0.012471 | 0.0031255 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-2_0_4_load_24 | 29 | 0.0035122 | 0.00088024 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-2_0_4_load_22 | 30 | 0.0041097 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-2_0_4_load_23 | 31 | 0.0011432 | 0.00028652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-2_0_4_load_25 | 32 | 0.0034784 | 0.00087176 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-2_0_4_load_30 | 33 | 0.01498 | 0.0037543 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-2_0_4_load_34 | 36 | 0.002405 | 0.00060274 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-2_0_4_load_38 | 37 | 0.001746 | 0.00043758 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-2_0_4_load_41 | 38 | 0.0028121 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-2_0_4_load_42 | 39 | 0.0022135 | 0.00055476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-2_0_4_load_46 | 41 | 0.0080586 | 0.0020197 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-2_0_4_line_0 |  | 0 | 1 | 0.0044264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-2_0_4_line_1 |  | 1 | 2 | 0.031685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_69-2_0_4_line_2 |  | 2 | 3 | 0.080828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_69-2_0_4_line_3 |  | 2 | 4 | 0.035424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-2_0_4_line_4 |  | 3 | 5 | 0.098987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-2_0_4_line_5 |  | 4 | 12 | 0.04526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-2_0_4_line_6 |  | 6 | 7 | 0.051221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-2_0_4_line_7 |  | 6 | 8 | 0.012806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-2_0_4_line_8 |  | 7 | 17 | 0.043854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-2_0_4_line_9 |  | 7 | 18 | 0.036401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-2_0_4_line_10 |  | 8 | 25 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-2_0_4_line_11 |  | 9 | 10 | 0.007214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-2_0_4_line_12 |  | 9 | 11 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-2_0_4_line_13 |  | 10 | 13 | 0.062461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_69-2_0_4_line_14 |  | 10 | 19 | 0.030236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-2_0_4_line_15 |  | 11 | 26 | 0.033679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-2_0_4_line_16 |  | 12 | 13 | 0.041127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-2_0_4_line_17 |  | 13 | 18 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_69-2_0_4_line_18 |  | 14 | 15 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-2_0_4_line_19 |  | 14 | 16 | 0.023727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-2_0_4_line_20 |  | 15 | 27 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-2_0_4_line_21 |  | 16 | 28 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_69-2_0_4_line_22 |  | 17 | 20 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-2_0_4_line_23 |  | 17 | 21 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-2_0_4_line_24 |  | 20 | 23 | 0.012796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_69-2_0_4_line_25 |  | 21 | 29 | 0.0189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_69-2_0_4_line_26 |  | 22 | 23 | 0.24747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_69-2_0_4_line_27 |  | 22 | 24 | 0.095417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-2_0_4_line_28 |  | 25 | 40 | 0.0031903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_69-2_0_4_line_29 |  | 27 | 37 | 0.0082104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-2_0_4_line_30 |  | 28 | 41 | 0.016891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-2_0_4_line_31 |  | 29 | 30 | 0.02912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-2_0_4_line_32 |  | 30 | 31 | 0.038213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-2_0_4_line_33 |  | 31 | 32 | 0.012471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-2_0_4_line_34 |  | 33 | 34 | 0.03632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_69-2_0_4_line_35 |  | 34 | 35 | 0.007041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_69-2_0_4_line_36 |  | 34 | 36 | 0.031922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_69-2_0_4_line_37 |  | 35 | 37 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-2_0_4_line_38 |  | 35 | 38 | 0.022948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-2_0_4_line_39 |  | 38 | 39 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-2_0_4_line_40 |  | 40 | 41 | 0.030641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-2_0_4_trafo_10 | 0.63 MVA 20/0.4 kV | 42 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2687634.0934 | 1251436.1823 | 2687634.4214 | 1251440.5966
1 | 2687634.0934 | 1251436.1823 | 2687638.5439 | 1251435.8924 | 2687644.0219 | 1251435.5398 | 2687653.5725 | 1251434.925 | 2687665.7261 | 1251434.3932
2 | 2687665.7261 | 1251434.3932 | 2687658.1019 | 1251423.1831 | 2687650.7377 | 1251421.4284 | 2687648.6683 | 1251417.417 | 2687659.2722 | 1251418.0632 | 2687703.5369 | 1251423.2109
3 | 2687665.7261 | 1251434.3932 | 2687667.8942 | 1251438.8732 | 2687674.2279 | 1251439.3561 | 2687698.2498 | 1251437.4846
4 | 2687703.5369 | 1251423.2109 | 2687716.1743 | 1251424.6768 | 2687781.114 | 1251436.4917 | 2687801.1201 | 1251439.6851
5 | 2687722.1689 | 1251458.2465 | 2687720.8796 | 1251435.7215 | 2687698.2498 | 1251437.4846
6 | 2687698.3632 | 1251526.8796 | 2687699.7538 | 1251534.9174 | 2687701.473 | 1251538.6123 | 2687704.5254 | 1251544.5397 | 2687710.0001 | 1251546.4444 | 2687716.7167 | 1251547.5669 | 2687725.9748 | 1251548.8494 | 2687735.9498 | 1251551.6769
7 | 2687735.9498 | 1251551.6769 | 2687748.3177 | 1251554.9968
8 | 2687697.4005 | 1251564.8719 | 2687701.1781 | 1251565.1503 | 2687701.4186 | 1251552.989 | 2687704.5254 | 1251544.5397 | 2687701.473 | 1251538.6123 | 2687699.7538 | 1251534.9174 | 2687698.3632 | 1251526.8796
9 | 2687698.3632 | 1251526.8796 | 2687712.2795 | 1251525.5623 | 2687719.2503 | 1251504.2514
10 | 2687763.6046 | 1251559.1001 | 2687748.3177 | 1251554.9968
11 | 2687762.4472 | 1251472.5871 | 2687760.074 | 1251479.4015
12 | 2687762.4472 | 1251472.5871 | 2687764.9794 | 1251474.9041 | 2687768.3429 | 1251476.6441 | 2687772.4402 | 1251478.1177
13 | 2687724.8036 | 1251487.2742 | 2687726.1171 | 1251484.2135 | 2687726.9017 | 1251480.1665 | 2687731.0471 | 1251480.5949 | 2687730.6763 | 1251474.5404 | 2687735.326 | 1251473.0303 | 2687740.8414 | 1251470.1542 | 2687743.288 | 1251462.4512 | 2687750.8783 | 1251476.452 | 2687760.074 | 1251479.4015
14 | 2687760.074 | 1251479.4015 | 2687789.0008 | 1251488.2012
15 | 2687804.4954 | 1251488.4451 | 2687773.9218 | 1251478.6505 | 2687772.4402 | 1251478.1177
16 | 2687722.1689 | 1251458.2465 | 2687726.1056 | 1251459.0054 | 2687727.2483 | 1251470.531 | 2687730.1811 | 1251469.7516 | 2687730.6763 | 1251474.5404 | 2687731.0471 | 1251480.5949 | 2687726.9017 | 1251480.1665 | 2687726.1171 | 1251484.2135 | 2687724.8036 | 1251487.2742
17 | 2687724.8036 | 1251487.2742 | 2687719.2503 | 1251504.2514
18 | 2687809.7634 | 1251636.9126 | 2687780.5621 | 1251631.0756
19 | 2687780.5621 | 1251631.0756 | 2687763.6167 | 1251614.4673
20 | 2687809.7634 | 1251636.9126 | 2687820.5048 | 1251624.9764
21 | 2687746.2919 | 1251597.487 | 2687763.6167 | 1251614.4673
22 | 2687697.4005 | 1251564.8719 | 2687696.0649 | 1251575.538 | 2687695.8354 | 1251576.4409
23 | 2687697.4005 | 1251564.8719 | 2687697.927 | 1251551.236 | 2687697.4509 | 1251547.3112
24 | 2687692.6825 | 1251588.8425 | 2687695.8354 | 1251576.4409
25 | 2687694.6701 | 1251528.6206 | 2687696.6421 | 1251540.6423 | 2687697.4509 | 1251547.3112
26 | 2687692.6825 | 1251588.8425 | 2687691.3352 | 1251591.1243 | 2687682.4719 | 1251599.8887 | 2687685.8411 | 1251603.2856 | 2687677.2819 | 1251636.8844 | 2687676.8972 | 1251638.391 | 2687677.4373 | 1251639.1329 | 2687679.4337 | 1251643.4768 | 2687680.1919 | 1251648.3473 | 2687677.2804 | 1251664.5165 | 2687676.4589 | 1251665.961 | 2687674.0086 | 1251667.2924 | 2687671.1544 | 1251667.8617 | 2687667.4431 | 1251666.6726 | 2687663.5062 | 1251673.0748 | 2687661.6265 | 1251676.1493 | 2687626.3242 | 1251733.7042 | 2687671.2892 | 1251721.4711 | 2687688.7541 | 1251717.0039 | 2687698.2104 | 1251714.5753
27 | 2687698.2104 | 1251714.5753 | 2687727.3271 | 1251705.7106 | 2687753.5114 | 1251697.6144 | 2687770.2849 | 1251689.3899 | 2687774.4206 | 1251685.3703 | 2687777.6739 | 1251679.7698 | 2687781.0155 | 1251674.0232
28 | 2687766.6858 | 1251559.9272 | 2687763.6046 | 1251559.1001
29 | 2687825.9969 | 1251618.8734 | 2687820.5048 | 1251624.9764
30 | 2687747.8566 | 1251582.054 | 2687745.6254 | 1251584.901 | 2687744.1551 | 1251589.3715 | 2687744.4936 | 1251594.0356 | 2687746.2919 | 1251597.487 | 2687746.2919 | 1251597.487
31 | 2687694.6701 | 1251528.6206 | 2687693.1388 | 1251519.2854 | 2687690.0205 | 1251499.874
32 | 2687661.7102 | 1251489.4131 | 2687678.3165 | 1251485.4293 | 2687683.484 | 1251486.1619 | 2687687.1459 | 1251489.1628 | 2687688.9435 | 1251493.1702 | 2687690.0205 | 1251499.874
33 | 2687661.7102 | 1251489.4131 | 2687649.5827 | 1251492.3223
34 | 2687839.3726 | 1251604.0487 | 2687860.1359 | 1251581.8285 | 2687864.7217 | 1251578.1022
35 | 2687839.3726 | 1251604.0487 | 2687834.6377 | 1251609.2714
36 | 2687839.3726 | 1251604.0487 | 2687812.0839 | 1251589.8669 | 2687811.0993 | 1251589.2384
37 | 2687834.6377 | 1251609.2714 | 2687825.9969 | 1251618.8734
38 | 2687834.6377 | 1251609.2714 | 2687840.8299 | 1251615.2121 | 2687846.2702 | 1251620.9527 | 2687850.1066 | 1251623.378 | 2687851.8677 | 1251624.1421
39 | 2687850.1267 | 1251641.3587 | 2687851.9029 | 1251641.196 | 2687854.1383 | 1251640.1061 | 2687855.0994 | 1251637.9075 | 2687856.4242 | 1251632.0561 | 2687856.6759 | 1251629.3355 | 2687856.0922 | 1251626.9584 | 2687853.9016 | 1251625.0244 | 2687851.8677 | 1251624.1421
40 | 2687766.6858 | 1251559.9272 | 2687762.3798 | 1251571.8725 | 2687760.6299 | 1251574.3262 | 2687747.8566 | 1251582.054 | 2687747.8566 | 1251582.054

## bus_geodata
| x | y | coords
0 | 2687634.4215 | 1251440.5966
1 | 2687634.0934 | 1251436.1823
2 | 2687665.7261 | 1251434.3932
3 | 2687703.5369 | 1251423.2109
4 | 2687698.2498 | 1251437.4846
5 | 2687801.1201 | 1251439.6851
6 | 2687735.9498 | 1251551.6769
7 | 2687698.3632 | 1251526.8796
8 | 2687748.3177 | 1251554.9968
9 | 2687762.4472 | 1251472.5871
10 | 2687760.074 | 1251479.4015
11 | 2687772.4402 | 1251478.1177
12 | 2687722.1689 | 1251458.2465
13 | 2687724.8036 | 1251487.2742
14 | 2687780.5621 | 1251631.0756
15 | 2687809.7634 | 1251636.9126
16 | 2687763.6167 | 1251614.4673
17 | 2687697.4005 | 1251564.8719
18 | 2687719.2503 | 1251504.2514
19 | 2687789.0008 | 1251488.2012
20 | 2687695.8354 | 1251576.4409
21 | 2687697.4509 | 1251547.3112
22 | 2687698.2104 | 1251714.5753
23 | 2687692.6825 | 1251588.8425
24 | 2687781.0155 | 1251674.0232
25 | 2687763.6046 | 1251559.1001
26 | 2687804.4954 | 1251488.4451
27 | 2687820.5048 | 1251624.9764
28 | 2687746.2919 | 1251597.487
29 | 2687694.6701 | 1251528.6206
30 | 2687690.0205 | 1251499.874
31 | 2687661.7102 | 1251489.4131
32 | 2687649.5827 | 1251492.3223
33 | 2687864.7217 | 1251578.1022
34 | 2687839.3726 | 1251604.0487
35 | 2687834.6377 | 1251609.2714
36 | 2687811.0993 | 1251589.2384
37 | 2687825.9969 | 1251618.8734
38 | 2687851.8677 | 1251624.1421
39 | 2687850.1267 | 1251641.3587
40 | 2687766.6858 | 1251559.9272
41 | 2687747.8566 | 1251582.0541
42 | 2687762.4472 | 1251472.5871

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98343 | -0.3179 | 0.026367 | 0.0066082
1 | 0.98353 | -0.31579 | 0 | 0
2 | 0.9843 | -0.30075 | 0 | 0
3 | 0.98175 | -0.35051 | 0 | 0
4 | 0.98629 | -0.26228 | 0.031345 | 0.0078558
5 | 0.97862 | -0.41179 | 0.034124 | 0.0085523
6 | 0.98387 | -0.30848 | 0 | 0
7 | 0.98755 | -0.23737 | 0 | 0
8 | 0.98295 | -0.32634 | 0.0025906 | 0.00064927
9 | 0.99974 | -0.0050332 | 0 | 0
10 | 1 | 0 | -0.31248 | -0.079397
11 | 0.99932 | -0.013114 | 0.030965 | 0.0077606
12 | 0.99012 | -0.18808 | 0 | 0
13 | 0.99361 | -0.12116 | 0 | 0
14 | 0.977 | -0.44275 | 0 | 0
15 | 0.97619 | -0.45866 | 0 | 0
16 | 0.97765 | -0.43006 | 0.019093 | 0.0047852
17 | 0.98598 | -0.26788 | 0 | 0
18 | 0.99147 | -0.16203 | 0.013053 | 0.0032715
19 | 0.99874 | -0.024166 | 0.045799 | 0.011478
20 | 0.98573 | -0.27272 | 0.0079091 | 0.0019822
21 | 0.98573 | -0.27286 | 0.0035271 | 0.00088397
22 | 0.98208 | -0.34384 | 0 | 0
23 | 0.98555 | -0.2762 | 0 | 0
24 | 0.98074 | -0.37004 | 0.015172 | 0.0038025
25 | 0.98186 | -0.34772 | 0.0058665 | 0.0014703
26 | 0.99904 | -0.018437 | 0.0090529 | 0.0022689
27 | 0.97575 | -0.46727 | 0.0051487 | 0.0012904
28 | 0.97874 | -0.40867 | 0.012471 | 0.0031255
29 | 0.98551 | -0.27701 | 0.0035122 | 0.00088024
30 | 0.98528 | -0.28157 | 0.0041097 | 0.00103
31 | 0.98512 | -0.28475 | 0.0011432 | 0.00028652
32 | 0.98508 | -0.28553 | 0.0034784 | 0.00087176
33 | 0.97468 | -0.48843 | 0.01498 | 0.0037543
34 | 0.97519 | -0.47845 | 0 | 0
35 | 0.9753 | -0.47621 | 0 | 0
36 | 0.97511 | -0.47986 | 0.002405 | 0.00060274
37 | 0.97557 | -0.4709 | 0.001746 | 0.00043758
38 | 0.97519 | -0.47832 | 0.0028121 | 0.00070477
39 | 0.97514 | -0.47925 | 0.0022135 | 0.00055476
40 | 0.98165 | -0.3517 | 0 | 0
41 | 0.97969 | -0.38998 | 0.0080586 | 0.0020197
42 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.026367 | -0.0066082 | 0.02637 | 0.0066099 | 2.6421e-06 | 1.6348e-06 | 0.039896 | 0.039896 | 0.039896 | 0.98343 | -0.3179 | 0.98353 | -0.31579 | 10.9604
1 | -0.02637 | -0.0066099 | 0.026389 | 0.0066216 | 1.8912e-05 | 1.1701e-05 | 0.039896 | 0.039896 | 0.039896 | 0.98353 | -0.31579 | 0.9843 | -0.30075 | 10.9604
2 | 0.034306 | 0.0086663 | -0.034224 | -0.0086151 | 8.1601e-05 | 5.12e-05 | 0.051886 | 0.051886 | 0.051886 | 0.9843 | -0.30075 | 0.98175 | -0.35051 | 14.2545
3 | -0.060694 | -0.015288 | 0.060806 | 0.015359 | 0.0001119 | 7.1166e-05 | 0.091782 | 0.091782 | 0.091782 | 0.9843 | -0.30075 | 0.98629 | -0.26228 | 25.2148
4 | 0.034224 | 0.0086151 | -0.034124 | -0.0085523 | 9.9936e-05 | 6.2711e-05 | 0.051886 | 0.051887 | 0.051887 | 0.98175 | -0.35051 | 0.97862 | -0.41179 | 14.2546
5 | -0.092151 | -0.023215 | 0.09248 | 0.023424 | 0.00032827 | 0.00020951 | 0.13907 | 0.13907 | 0.13907 | 0.98629 | -0.26228 | 0.99012 | -0.18808 | 38.2067
6 | -0.077844 | -0.019684 | 0.07811 | 0.019854 | 0.00026652 | 0.00016992 | 0.11779 | 0.11779 | 0.11779 | 0.98387 | -0.30848 | 0.98755 | -0.23737 | 32.361
7 | 0.077844 | 0.019684 | -0.077777 | -0.019642 | 6.6632e-05 | 4.2482e-05 | 0.11779 | 0.11779 | 0.11779 | 0.98387 | -0.30848 | 0.98295 | -0.32634 | 32.3611
8 | 0.038993 | 0.0098211 | -0.038936 | -0.0097853 | 5.6802e-05 | 3.5793e-05 | 0.058771 | 0.058771 | 0.058771 | 0.98755 | -0.23737 | 0.98598 | -0.26788 | 16.146
9 | -0.1171 | -0.029675 | 0.11753 | 0.029947 | 0.00042555 | 0.00027188 | 0.17657 | 0.17656 | 0.17657 | 0.98755 | -0.23737 | 0.99147 | -0.16203 | 48.5069
10 | 0.075187 | 0.018993 | -0.07511 | -0.018944 | 7.6965e-05 | 4.9057e-05 | 0.11387 | 0.11387 | 0.11387 | 0.98295 | -0.32634 | 0.98186 | -0.34772 | 31.2837
11 | -0.040036 | -0.01004 | 0.040046 | 0.010046 | 9.6069e-06 | 6.0538e-06 | 0.059592 | 0.059592 | 0.059592 | 0.99974 | -0.0050332 | 1 | 0 | 16.3714
12 | 0.040036 | 0.01004 | -0.040021 | -0.010031 | 1.5412e-05 | 9.7123e-06 | 0.059592 | 0.059592 | 0.059592 | 0.99974 | -0.0050332 | 0.99932 | -0.013114 | 16.3714
13 | 0.22493 | 0.057839 | -0.22362 | -0.056998 | 0.0013161 | 0.00084067 | 0.33523 | 0.33523 | 0.33523 | 1 | 0 | 0.99361 | -0.12116 | 46.0477
14 | 0.045852 | 0.011512 | -0.045799 | -0.011478 | 5.2792e-05 | 3.3391e-05 | 0.068235 | 0.068235 | 0.068235 | 1 | 0 | 0.99874 | -0.024166 | 18.7459
15 | 0.0090552 | 0.0022699 | -0.0090529 | -0.0022689 | 2.2962e-06 | 1.0284e-06 | 0.013484 | 0.013484 | 0.013484 | 0.99932 | -0.013114 | 0.99904 | -0.018437 | 3.7043
16 | -0.09248 | -0.023424 | 0.092778 | 0.023615 | 0.00029829 | 0.00019037 | 0.13907 | 0.13907 | 0.13907 | 0.99012 | -0.18808 | 0.99361 | -0.12116 | 38.2066
17 | 0.13084 | 0.033383 | -0.13058 | -0.033219 | 0.00025773 | 0.00016472 | 0.19616 | 0.19616 | 0.19616 | 0.99361 | -0.12116 | 0.99147 | -0.16203 | 53.8888
18 | 0.029359 | 0.0073767 | -0.029337 | -0.0073629 | 2.227e-05 | 1.3882e-05 | 0.044722 | 0.044722 | 0.044722 | 0.977 | -0.44275 | 0.97619 | -0.45866 | 12.2863
19 | -0.029359 | -0.0073767 | 0.029377 | 0.0073878 | 1.7796e-05 | 1.1092e-05 | 0.044722 | 0.044722 | 0.044722 | 0.977 | -0.44275 | 0.97765 | -0.43006 | 12.2863
20 | 0.029337 | 0.0073629 | -0.029325 | -0.0073553 | 1.2044e-05 | 7.5073e-06 | 0.044722 | 0.044722 | 0.044722 | 0.97619 | -0.45866 | 0.97575 | -0.46727 | 12.2863
21 | -0.04847 | -0.012173 | 0.04852 | 0.012204 | 4.9522e-05 | 3.139e-05 | 0.073782 | 0.073782 | 0.073782 | 0.97765 | -0.43006 | 0.97874 | -0.40867 | 20.2699
22 | 0.023157 | 0.0058286 | -0.023152 | -0.0058254 | 5.3527e-06 | 3.2768e-06 | 0.034957 | 0.034957 | 0.034957 | 0.98598 | -0.26788 | 0.98573 | -0.27272 | 9.6035
23 | 0.015779 | 0.0039567 | -0.015776 | -0.0039545 | 3.743e-06 | 2.1711e-06 | 0.023815 | 0.023815 | 0.023815 | 0.98598 | -0.26788 | 0.98573 | -0.27286 | 6.5425
24 | 0.015243 | 0.0038432 | -0.01524 | -0.0038417 | 2.5424e-06 | 1.464e-06 | 0.023018 | 0.023018 | 0.023018 | 0.98573 | -0.27272 | 0.98555 | -0.2762 | 6.3236
25 | 0.012249 | 0.0030705 | -0.012246 | -0.0030692 | 2.4232e-06 | 1.31e-06 | 0.01849 | 0.01849 | 0.01849 | 0.98573 | -0.27286 | 0.98551 | -0.27701 | 5.0798
26 | -0.015191 | -0.0038134 | 0.01524 | 0.0038417 | 4.917e-05 | 2.8326e-05 | 0.023019 | 0.023018 | 0.023019 | 0.98208 | -0.34384 | 0.98555 | -0.2762 | 6.3239
27 | 0.015191 | 0.0038134 | -0.015172 | -0.0038025 | 1.896e-05 | 1.0929e-05 | 0.023019 | 0.023019 | 0.023019 | 0.98208 | -0.34384 | 0.98074 | -0.37004 | 6.324
28 | 0.069243 | 0.017473 | -0.06923 | -0.017465 | 1.3186e-05 | 8.3984e-06 | 0.10498 | 0.10498 | 0.10498 | 0.98186 | -0.34772 | 0.98165 | -0.3517 | 28.8412
29 | 0.024176 | 0.006065 | -0.024172 | -0.0060624 | 4.1856e-06 | 2.5762e-06 | 0.036871 | 0.036871 | 0.036871 | 0.97575 | -0.46727 | 0.97557 | -0.4709 | 10.1293
30 | -0.06099 | -0.01533 | 0.061045 | 0.015365 | 5.4482e-05 | 3.4656e-05 | 0.092742 | 0.092742 | 0.092742 | 0.97874 | -0.40867 | 0.97969 | -0.38998 | 25.4786
31 | 0.008734 | 0.002189 | -0.0087321 | -0.0021882 | 1.8991e-06 | 8.4446e-07 | 0.013187 | 0.013188 | 0.013188 | 0.98551 | -0.27701 | 0.98528 | -0.28157 | 3.6229
32 | 0.0046224 | 0.0011582 | -0.0046217 | -0.0011582 | 6.9834e-07 | -3.9657e-08 | 0.0069808 | 0.006981 | 0.006981 | 0.98528 | -0.28157 | 0.98512 | -0.28475 | 1.9179
33 | 0.0034785 | 0.00087168 | -0.0034784 | -0.00087176 | 1.2911e-07 | -7.6145e-08 | 0.0052542 | 0.0052543 | 0.0052543 | 0.98512 | -0.28475 | 0.98508 | -0.28553 | 1.4435
34 | -0.01498 | -0.0037543 | 0.014987 | 0.0037584 | 7.1235e-06 | 4.1061e-06 | 0.02287 | 0.022869 | 0.02287 | 0.97468 | -0.48843 | 0.97519 | -0.47845 | 6.2828
35 | -0.017392 | -0.0043609 | 0.017394 | 0.004362 | 1.8597e-06 | 1.1023e-06 | 0.026539 | 0.026539 | 0.026539 | 0.97519 | -0.47845 | 0.9753 | -0.47621 | 7.291
36 | 0.0024051 | 0.00060245 | -0.002405 | -0.00060274 | 1.6122e-07 | -2.9505e-07 | 0.0036698 | 0.00367 | 0.00367 | 0.97519 | -0.47845 | 0.97511 | -0.47986 | 1.0082
37 | -0.02242 | -0.0056213 | 0.022426 | 0.0056248 | 5.6683e-06 | 3.4665e-06 | 0.034207 | 0.034207 | 0.034207 | 0.9753 | -0.47621 | 0.97557 | -0.4709 | 9.3977
38 | 0.0050262 | 0.0012593 | -0.0050257 | -0.0012593 | 5.0605e-07 | 3.7526e-08 | 0.0076683 | 0.0076684 | 0.0076684 | 0.9753 | -0.47621 | 0.97519 | -0.47832 | 2.1067
39 | 0.0022136 | 0.00055454 | -0.0022135 | -0.00055476 | 9.8351e-08 | -2.2386e-07 | 0.0033776 | 0.0033777 | 0.0033777 | 0.97519 | -0.47832 | 0.97514 | -0.47925 | 0.92795
40 | 0.06923 | 0.017465 | -0.069103 | -0.017384 | 0.00012664 | 8.066e-05 | 0.10498 | 0.10498 | 0.10498 | 0.98165 | -0.3517 | 0.97969 | -0.38998 | 28.8412

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.31248 | 0.079397

## res_load
| p_mw | q_mvar
0 | 0.026367 | 0.0066082
1 | 0.031345 | 0.0078558
2 | 0.034124 | 0.0085523
3 | 0.0025906 | 0.00064927
4 | 0.030965 | 0.0077606
5 | 0.019093 | 0.0047852
6 | 0.013053 | 0.0032715
7 | 0.045799 | 0.011478
8 | 0.0079091 | 0.0019822
9 | 0.0035271 | 0.00088397
10 | 0.015172 | 0.0038025
11 | 0.0058665 | 0.0014703
12 | 0.0090529 | 0.0022689
13 | 0.0051487 | 0.0012904
14 | 0.012471 | 0.0031255
15 | 0.0035122 | 0.00088024
16 | 0.0041097 | 0.00103
17 | 0.0011432 | 0.00028652
18 | 0.0034784 | 0.00087176
19 | 0.01498 | 0.0037543
20 | 0.002405 | 0.00060274
21 | 0.001746 | 0.00043758
22 | 0.0028121 | 0.00070477
23 | 0.0022135 | 0.00055476
24 | 0.0080586 | 0.0020197

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1