## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-33_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-33_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_69-33_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_69-33_0_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_69-33_0_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_69-33_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_69-33_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_69-33_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_69-33_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_69-33_0_3_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_69-33_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_69-33_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_69-33_0_3_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_69-33_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_69-33_0_3_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_69-33_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_69-33_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_69-33_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_69-33_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_69-33_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_69-33_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_69-33_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_69-33_0_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_69-33_0_3_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_69-33_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_69-33_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_69-33_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_69-33_0_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_69-33_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_69-33_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_69-33_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_69-33_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_69-33_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_69-33_0_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_69-33_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_69-33_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_69-33_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_69-33_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_69-33_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_69-33_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_69-33_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_69-33_0_3_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_69-33_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_69-33_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_69-33_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_69-33_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_69-33_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_69-33_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_69-33_0_3_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_69-33_0_3_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_69-33_0_3_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_69-33_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_69-33_0_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_69-33_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_69-33_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_69-33_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_69-33_0_3_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_69-33_0_3_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_69-33_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_69-33_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_69-33_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_69-33_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_69-33_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_69-33_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_69-33_0_3_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_69-33_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_69-33_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_69-33_0_3_node_79 | 0.4 | n |  | TRUE
68 | bus_MV_552_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-33_0_3_load_0 | 0 | 0.009435 | 0.0023646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-33_0_3_load_1 | 1 | 0.0088762 | 0.0022246 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-33_0_3_load_3 | 2 | 0.0076614 | 0.0019201 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-33_0_3_load_12 | 4 | 0.0043732 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-33_0_3_load_13 | 5 | 0.0029334 | 0.00073519 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-33_0_3_load_8 | 7 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-33_0_3_load_9 | 8 | 0.01497 | 0.0037518 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-33_0_3_load_40 | 9 | 0.0041958 | 0.0010516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-33_0_3_load_26 | 11 | 0.0084031 | 0.002106 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-33_0_3_load_32 | 12 | 0.012401 | 0.0031079 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-33_0_3_load_21 | 13 | 0.0036898 | 0.00092475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-33_0_3_load_22 | 14 | 0.0043201 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-33_0_3_load_39 | 15 | 0.0051031 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-33_0_3_load_37 | 16 | 0.010227 | 0.0025631 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-33_0_3_load_10 | 17 | 0.012064 | 0.0030235 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-33_0_3_load_15 | 18 | 0.013037 | 0.0032673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-33_0_3_load_16 | 19 | 0.016607 | 0.0041622 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-33_0_3_load_18 | 20 | 0.0058054 | 0.001455 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-33_0_3_load_28 | 21 | 0.0021007 | 0.00052649 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-33_0_3_load_41 | 22 | 0.0014322 | 0.00035895 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-33_0_3_load_42 | 23 | 0.0016634 | 0.00041689 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-33_0_3_load_27 | 25 | 0.0021982 | 0.00055092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-33_0_3_load_51 | 26 | 0.0016072 | 0.0004028 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-33_0_3_load_17 | 28 | 0.011746 | 0.0029437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-33_0_3_load_34 | 30 | 0.0032509 | 0.00081474 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-33_0_3_load_23 | 31 | 0.0027085 | 0.00067881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-33_0_3_load_25 | 32 | 0.0049598 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-33_0_3_load_57 | 33 | 0.0016293 | 0.00040833 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-33_0_3_load_52 | 34 | 0.0017034 | 0.00042692 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-33_0_3_load_35 | 35 | 0.0048099 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-33_0_3_load_36 | 36 | 0.0061849 | 0.0015501 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-33_0_3_load_38 | 37 | 0.0044458 | 0.0011142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-33_0_3_load_49 | 38 | 0.0049585 | 0.0012427 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_69-33_0_3_load_47 | 39 | 0.0060138 | 0.0015072 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_69-33_0_3_load_59 | 40 | 0.0024722 | 0.00061959 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_69-33_0_3_load_50 | 42 | 0.0018378 | 0.00046061 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_69-33_0_3_load_43 | 43 | 0.0030022 | 0.00075242 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_69-33_0_3_load_46 | 46 | 0.0025067 | 0.00062823 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_69-33_0_3_load_56 | 47 | 0.0022544 | 0.00056502 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_69-33_0_3_load_53 | 48 | 0.00316 | 0.00079197 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_69-33_0_3_load_69 | 49 | 0.0064129 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_69-33_0_3_load_67 | 50 | 0.0035468 | 0.0008889 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_69-33_0_3_load_54 | 51 | 0.0029423 | 0.0007374 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_69-33_0_3_load_48 | 53 | 0.0024069 | 0.00060322 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_69-33_0_3_load_55 | 54 | 0.0016297 | 0.00040843 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_69-33_0_3_load_68 | 55 | 0.0019805 | 0.00049636 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_69-33_0_3_load_77 | 56 | 0.0019089 | 0.00047842 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_69-33_0_3_load_78 | 57 | 0.0015393 | 0.00038579 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_69-33_0_3_load_61 | 58 | 0.002288 | 0.00057344 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_69-33_0_3_load_62 | 59 | 0.0031185 | 0.00078157 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_69-33_0_3_load_64 | 61 | 0.0039267 | 0.00098413 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_69-33_0_3_load_65 | 62 | 0.0017576 | 0.00044051 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_69-33_0_3_load_66 | 63 | 0.00168 | 0.00042104 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_69-33_0_3_load_72 | 64 | 0.001254 | 0.00031428 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_69-33_0_3_load_71 | 65 | 0.0074429 | 0.0018654 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_69-33_0_3_load_74 | 66 | 0.0040869 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_69-33_0_3_load_79 | 67 | 0.0074424 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-33_0_3_line_0 |  | 0 | 1 | 0.056317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-33_0_3_line_1 |  | 1 | 2 | 0.031231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_69-33_0_3_line_2 |  | 2 | 3 | 0.016372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_69-33_0_3_line_3 |  | 3 | 4 | 0.030273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-33_0_3_line_4 |  | 3 | 5 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-33_0_3_line_5 |  | 3 | 6 | 0.002915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-33_0_3_line_6 |  | 4 | 20 | 0.0058629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-33_0_3_line_7 |  | 5 | 21 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-33_0_3_line_8 |  | 6 | 22 | 0.029735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-33_0_3_line_9 |  | 6 | 23 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-33_0_3_line_10 |  | 6 | 9 | 0.021504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-33_0_3_line_11 |  | 7 | 8 | 0.015626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-33_0_3_line_12 |  | 8 | 17 | 0.0024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-33_0_3_line_13 |  | 10 | 11 | 0.018979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_69-33_0_3_line_14 |  | 10 | 12 | 0.04328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-33_0_3_line_15 |  | 11 | 32 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-33_0_3_line_16 |  | 12 | 29 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-33_0_3_line_17 |  | 13 | 14 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_69-33_0_3_line_18 |  | 14 | 31 | 0.0036069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-33_0_3_line_19 |  | 15 | 16 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-33_0_3_line_20 |  | 16 | 35 | 0.007288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-33_0_3_line_21 |  | 17 | 18 | 0.036733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_69-33_0_3_line_22 |  | 18 | 19 | 0.00065717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-33_0_3_line_23 |  | 19 | 28 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-33_0_3_line_24 |  | 20 | 24 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_69-33_0_3_line_25 |  | 21 | 25 | 0.022535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_69-33_0_3_line_26 |  | 22 | 26 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_69-33_0_3_line_27 |  | 23 | 27 | 0.033045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-33_0_3_line_28 |  | 24 | 29 | 0.002208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_69-33_0_3_line_29 |  | 24 | 28 | 0.018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-33_0_3_line_30 |  | 26 | 34 | 0.014253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-33_0_3_line_31 |  | 27 | 40 | 0.016412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-33_0_3_line_32 |  | 27 | 41 | 0.005732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-33_0_3_line_33 |  | 27 | 42 | 0.015783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-33_0_3_line_34 |  | 29 | 30 | 0.04087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_69-33_0_3_line_35 |  | 31 | 32 | 0.016191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_69-33_0_3_line_36 |  | 33 | 34 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_69-33_0_3_line_37 |  | 35 | 36 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-33_0_3_line_38 |  | 36 | 37 | 0.0064324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-33_0_3_line_39 |  | 37 | 38 | 0.011987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-33_0_3_line_40 |  | 38 | 39 | 0.0083839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-33_0_3_line_41 |  | 39 | 53 | 0.022514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_69-33_0_3_line_42 |  | 40 | 54 | 0.011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_69-33_0_3_line_43 |  | 41 | 56 | 0.020192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-33_0_3_line_44 |  | 42 | 53 | 0.0059826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-33_0_3_line_45 |  | 43 | 44 | 0.0090259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_69-33_0_3_line_46 |  | 44 | 45 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_69-33_0_3_line_47 |  | 44 | 46 | 0.014978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_69-33_0_3_line_48 |  | 45 | 47 | 0.014145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-33_0_3_line_49 |  | 45 | 48 | 0.0048915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-33_0_3_line_50 |  | 46 | 49 | 0.031297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-33_0_3_line_51 |  | 47 | 50 | 0.0048238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_69-33_0_3_line_52 |  | 48 | 51 | 0.021582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-33_0_3_line_53 |  | 49 | 52 | 0.040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_69-33_0_3_line_54 |  | 50 | 55 | 0.02499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-33_0_3_line_55 |  | 51 | 54 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_69-33_0_3_line_56 |  | 52 | 65 | 0.02129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-33_0_3_line_57 |  | 55 | 63 | 0.019697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_69-33_0_3_line_58 |  | 56 | 57 | 0.0024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_69-33_0_3_line_59 |  | 57 | 67 | 0.037026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_69-33_0_3_line_60 |  | 58 | 59 | 0.040148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_69-33_0_3_line_61 |  | 58 | 60 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_69-33_0_3_line_62 |  | 59 | 61 | 0.0009756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_69-33_0_3_line_63 |  | 60 | 62 | 0.011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_69-33_0_3_line_64 |  | 60 | 63 | 0.0093874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_69-33_0_3_line_65 |  | 62 | 64 | 0.012549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_69-33_0_3_line_66 |  | 65 | 66 | 0.035292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-33_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 68 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2687207.1374 | 1252109.6673 | 2687255.2085 | 1252080.329
1 | 2687281.8669 | 1252064.059 | 2687255.2085 | 1252080.329
2 | 2687295.672 | 1252055.2794 | 2687292.3681 | 1252057.6992 | 2687285.5826 | 1252061.7913 | 2687281.8669 | 1252064.059
3 | 2687295.672 | 1252055.2794 | 2687295.1467 | 1252054.0485 | 2687280.1929 | 1252029.2773
4 | 2687295.672 | 1252055.2794 | 2687298.8233 | 1252052.9685 | 2687310.5303 | 1252043.2503
5 | 2687297.1901 | 1252057.7703 | 2687295.672 | 1252055.2794
6 | 2687277.1629 | 1252024.2581 | 2687280.1929 | 1252029.2773
7 | 2687310.5303 | 1252043.2503 | 2687312.7612 | 1252041.3984 | 2687319.0873 | 1252036.7214 | 2687326.7511 | 1252031.9307 | 2687327.6867 | 1252031.3704
8 | 2687297.1901 | 1252057.7703 | 2687321.2472 | 1252040.2946
9 | 2687297.1901 | 1252057.7703 | 2687298.1032 | 1252059.3183 | 2687300.1545 | 1252062.5065 | 2687302.8763 | 1252067.548
10 | 2687297.1901 | 1252057.7703 | 2687283.0203 | 1252068.1806 | 2687279.6682 | 1252070.2147
11 | 2687187.9422 | 1252061.4934 | 2687201.5388 | 1252053.7918
12 | 2687203.6697 | 1252052.5848 | 2687201.5388 | 1252053.7918
13 | 2687241.4194 | 1251958.3624 | 2687224.4542 | 1251966.8716
14 | 2687241.4194 | 1251958.3624 | 2687263.0451 | 1251995.8518
15 | 2687224.4542 | 1251966.8716 | 2687203.6679 | 1251977.2973
16 | 2687272.6402 | 1252012.4855 | 2687263.0451 | 1251995.8518
17 | 2687185.9713 | 1251986.1733 | 2687165.6413 | 1251996.3701
18 | 2687185.9713 | 1251986.1733 | 2687189.1954 | 1251984.5562
19 | 2687220.5879 | 1252129.357 | 2687233.1865 | 1252125.2877
20 | 2687240.1218 | 1252123.0476 | 2687233.1865 | 1252125.2877
21 | 2687203.6697 | 1252052.5848 | 2687235.6311 | 1252034.4809
22 | 2687235.6311 | 1252034.4809 | 2687236.2029 | 1252034.157
23 | 2687236.2029 | 1252034.157 | 2687241.144 | 1252031.3582 | 2687254.8836 | 1252023.1269
24 | 2687270.744 | 1252013.6251 | 2687277.1629 | 1252024.2581
25 | 2687347.0203 | 1252019.7923 | 2687327.6867 | 1252031.3704
26 | 2687321.2472 | 1252040.2946 | 2687323.0696 | 1252038.9707 | 2687336.6886 | 1252030.7116
27 | 2687318.8022 | 1252096.4959 | 2687316.0391 | 1252091.9295 | 2687302.8763 | 1252067.548
28 | 2687270.744 | 1252013.6251 | 2687272.6402 | 1252012.4855
29 | 2687270.744 | 1252013.6251 | 2687254.8836 | 1252023.1269
30 | 2687348.8758 | 1252023.3208 | 2687336.6886 | 1252030.7116
31 | 2687318.8022 | 1252096.4959 | 2687334.5088 | 1252091.7355
32 | 2687321.7792 | 1252101.3991 | 2687318.8022 | 1252096.4959
33 | 2687318.8022 | 1252096.4959 | 2687303.8612 | 1252101.5811
34 | 2687272.6402 | 1252012.4855 | 2687307.6996 | 1251991.4805
35 | 2687189.1954 | 1251984.5562 | 2687203.6679 | 1251977.2973
36 | 2687362.6695 | 1252014.9557 | 2687348.8758 | 1252023.3208
37 | 2687240.1218 | 1252123.0476 | 2687251.5016 | 1252119.372
38 | 2687257.5999 | 1252117.3264 | 2687253.2302 | 1252118.8137 | 2687251.5016 | 1252119.372
39 | 2687257.5999 | 1252117.3264 | 2687268.9479 | 1252113.4641
40 | 2687276.8847 | 1252110.7627 | 2687268.9479 | 1252113.4641
41 | 2687276.8847 | 1252110.7627 | 2687298.1977 | 1252103.5087
42 | 2687334.5088 | 1252091.7355 | 2687345.4779 | 1252088.4109
43 | 2687321.7792 | 1252101.3991 | 2687325.6794 | 1252110.7414 | 2687327.8648 | 1252120.5691
44 | 2687303.8612 | 1252101.5811 | 2687298.1977 | 1252103.5087
45 | 2687400.7033 | 1252072.9743 | 2687404.9735 | 1252065.4316 | 2687405.2555 | 1252065.2105
46 | 2687382.86 | 1252077.081 | 2687400.7033 | 1252072.9743
47 | 2687400.7033 | 1252072.9743 | 2687409.363 | 1252071.2786 | 2687415.4366 | 1252070.2878
48 | 2687382.86 | 1252077.081 | 2687385.6518 | 1252090.9476
49 | 2687382.86 | 1252077.081 | 2687378.1788 | 1252078.4998
50 | 2687446.3248 | 1252065.2491 | 2687415.4366 | 1252070.2878
51 | 2687386.6038 | 1252095.6765 | 2687385.6518 | 1252090.9476
52 | 2687378.1788 | 1252078.4998 | 2687357.5243 | 1252084.7598
53 | 2687486.2977 | 1252058.026 | 2687461.2435 | 1252062.8154 | 2687446.3248 | 1252065.2491
54 | 2687386.6038 | 1252095.6765 | 2687386.9106 | 1252097.2004 | 2687389.1901 | 1252120.5249
55 | 2687357.5243 | 1252084.7598 | 2687345.4779 | 1252088.4109
56 | 2687486.2977 | 1252058.026 | 2687491.7503 | 1252078.6061
57 | 2687389.1901 | 1252120.5249 | 2687391.1058 | 1252140.1281
58 | 2687327.8648 | 1252120.5691 | 2687328.3859 | 1252122.913
59 | 2687329.1625 | 1252159.7917 | 2687329.6858 | 1252128.7586 | 2687328.3859 | 1252122.913
60 | 2687406.4619 | 1252151.3142 | 2687419.4138 | 1252152.7665 | 2687446.4999 | 1252154.0132
61 | 2687392.0189 | 1252149.471 | 2687399.6564 | 1252150.5511 | 2687406.4619 | 1252151.3142
62 | 2687447.4745 | 1252154.058 | 2687446.4999 | 1252154.0132
63 | 2687392.0189 | 1252149.471 | 2687392.5141 | 1252160.6507
64 | 2687392.0189 | 1252149.471 | 2687391.1058 | 1252140.1281
65 | 2687392.5141 | 1252160.6507 | 2687393.0694 | 1252173.187
66 | 2687500.789 | 1252112.7211 | 2687491.7503 | 1252078.6061

## bus_geodata
| x | y | coords
0 | 2687207.1374 | 1252109.6673
1 | 2687255.2085 | 1252080.329
2 | 2687281.8669 | 1252064.059
3 | 2687295.672 | 1252055.2794
4 | 2687280.1929 | 1252029.2773
5 | 2687310.5303 | 1252043.2503
6 | 2687297.1901 | 1252057.7703
7 | 2687187.9422 | 1252061.4934
8 | 2687201.5388 | 1252053.7918
9 | 2687279.6682 | 1252070.2147
10 | 2687241.4194 | 1251958.3624
11 | 2687224.4542 | 1251966.8716
12 | 2687263.0451 | 1251995.8518
13 | 2687165.6413 | 1251996.3701
14 | 2687185.9713 | 1251986.1733
15 | 2687220.5879 | 1252129.357
16 | 2687233.1865 | 1252125.2877
17 | 2687203.6697 | 1252052.5848
18 | 2687235.6311 | 1252034.4809
19 | 2687236.2029 | 1252034.157
20 | 2687277.1629 | 1252024.2581
21 | 2687327.6867 | 1252031.3704
22 | 2687321.2472 | 1252040.2946
23 | 2687302.8763 | 1252067.548
24 | 2687270.744 | 1252013.6251
25 | 2687347.0203 | 1252019.7923
26 | 2687336.6886 | 1252030.7116
27 | 2687318.8022 | 1252096.4959
28 | 2687254.8836 | 1252023.1269
29 | 2687272.6402 | 1252012.4854
30 | 2687307.6996 | 1251991.4805
31 | 2687189.1954 | 1251984.5562
32 | 2687203.6679 | 1251977.2973
33 | 2687362.6695 | 1252014.9557
34 | 2687348.8758 | 1252023.3208
35 | 2687240.1218 | 1252123.0476
36 | 2687251.5016 | 1252119.372
37 | 2687257.5999 | 1252117.3264
38 | 2687268.9479 | 1252113.4641
39 | 2687276.8847 | 1252110.7627
40 | 2687334.5088 | 1252091.7355
41 | 2687321.7792 | 1252101.3991
42 | 2687303.8612 | 1252101.5811
43 | 2687405.2555 | 1252065.2105
44 | 2687400.7033 | 1252072.9743
45 | 2687382.86 | 1252077.081
46 | 2687415.4366 | 1252070.2878
47 | 2687385.6518 | 1252090.9476
48 | 2687378.1788 | 1252078.4998
49 | 2687446.3248 | 1252065.2491
50 | 2687386.6038 | 1252095.6765
51 | 2687357.5243 | 1252084.7598
52 | 2687486.2977 | 1252058.026
53 | 2687298.1977 | 1252103.5087
54 | 2687345.4779 | 1252088.4109
55 | 2687389.1901 | 1252120.5249
56 | 2687327.8648 | 1252120.5691
57 | 2687328.3859 | 1252122.913
58 | 2687406.4619 | 1252151.3142
59 | 2687446.4999 | 1252154.0132
60 | 2687392.0189 | 1252149.471
61 | 2687447.4745 | 1252154.058
62 | 2687392.5141 | 1252160.6507
63 | 2687391.1058 | 1252140.1281
64 | 2687393.0694 | 1252173.187
65 | 2687491.7503 | 1252078.6061
66 | 2687500.789 | 1252112.7211
67 | 2687329.1625 | 1252159.7917
68 | 2687295.672 | 1252055.2794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1