## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_69-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_69-34_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_69-34_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_69-34_0_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_69-34_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_69-34_0_5_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_69-34_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_69-34_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_69-34_0_5_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_69-34_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_69-34_0_5_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_69-34_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_69-34_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_69-34_0_5_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_69-34_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_69-34_0_5_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_69-34_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_69-34_0_5_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_69-34_0_5_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_69-34_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_69-34_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_69-34_0_5_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_69-34_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_69-34_0_5_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_69-34_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_69-34_0_5_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_69-34_0_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_69-34_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_69-34_0_5_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_69-34_0_5_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_69-34_0_5_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_69-34_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_69-34_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_69-34_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_69-34_0_5_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_69-34_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_69-34_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_69-34_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_69-34_0_5_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_69-34_0_5_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_69-34_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_69-34_0_5_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_69-34_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_69-34_0_5_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_69-34_0_5_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_69-34_0_5_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_69-34_0_5_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_69-34_0_5_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_69-34_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_69-34_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_69-34_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_69-34_0_5_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_69-34_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_69-34_0_5_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_69-34_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_69-34_0_5_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_69-34_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_MV_552_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-34_0_5_load_0 | 0 | 0.016319 | 0.0040901 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-34_0_5_load_16 | 5 | 0.0065144 | 0.0016327 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-34_0_5_load_42 | 7 | 0.010484 | 0.0026276 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-34_0_5_load_56 | 10 | 0.068721 | 0.017223 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-34_0_5_load_32 | 11 | 0.039917 | 0.010004 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-34_0_5_load_62 | 12 | 0.0097775 | 0.0024505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-34_0_5_load_59 | 14 | 0.0067526 | 0.0016924 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-34_0_5_load_61 | 15 | 0.0067334 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-34_0_5_load_37 | 17 | 0.0026163 | 0.00065572 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-34_0_5_load_22 | 20 | 0.0096765 | 0.0024252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-34_0_5_load_38 | 23 | 0.016953 | 0.0042489 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-34_0_5_load_51 | 25 | 0.0079885 | 0.0020021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-34_0_5_load_49 | 26 | 0.015445 | 0.0038708 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-34_0_5_load_50 | 27 | 0.005401 | 0.0013536 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-34_0_5_load_48 | 28 | 0.0089108 | 0.0022332 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-34_0_5_load_47 | 30 | 0.0079907 | 0.0020027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-34_0_5_load_58 | 32 | 0.006843 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-34_0_5_load_41 | 35 | 0.013209 | 0.0033105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-34_0_5_load_57 | 36 | 0.051108 | 0.012809 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-34_0_5_load_30 | 37 | 0.0049885 | 0.0012502 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-34_0_5_load_34 | 38 | 0.011653 | 0.0029205 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-34_0_5_load_33 | 39 | 0.013197 | 0.0033076 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-34_0_5_load_60 | 40 | 0.034362 | 0.0086119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-34_0_5_load_63 | 41 | 0.05956 | 0.014927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-34_0_5_load_23 | 42 | 0.0025037 | 0.00062748 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-34_0_5_load_54 | 43 | 0.012106 | 0.0030341 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-34_0_5_load_17 | 45 | 0.010842 | 0.0027173 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-34_0_5_load_18 | 46 | 0.022116 | 0.0055429 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-34_0_5_load_20 | 48 | 0.0065292 | 0.0016364 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-34_0_5_load_21 | 49 | 0.01133 | 0.0028395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-34_0_5_load_46 | 51 | 0.0065279 | 0.001636 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-34_0_5_load_43 | 52 | 0.0074231 | 0.0018604 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-34_0_5_load_24 | 53 | 0.0090875 | 0.0022775 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_69-34_0_5_load_35 | 54 | 0.012128 | 0.0030396 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_69-34_0_5_load_36 | 55 | 0.013613 | 0.0034118 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_69-34_0_5_load_39 | 56 | 0.013441 | 0.0033686 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_69-34_0_5_load_40 | 57 | 0.012392 | 0.0031058 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_69-34_0_5_load_55 | 58 | 0.012172 | 0.0030507 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-34_0_5_line_0 |  | 0 | 1 | 0.052269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_69-34_0_5_line_1 |  | 0 | 2 | 0.024283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_69-34_0_5_line_2 |  | 1 | 3 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_69-34_0_5_line_3 |  | 1 | 4 | 0.023653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-34_0_5_line_4 |  | 2 | 5 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-34_0_5_line_5 |  | 2 | 6 | 0.018298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-34_0_5_line_6 |  | 3 | 8 | 0.050495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-34_0_5_line_7 |  | 3 | 9 | 0.057436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-34_0_5_line_8 |  | 3 | 10 | 0.022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_69-34_0_5_line_9 |  | 4 | 11 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-34_0_5_line_10 |  | 5 | 29 | 0.0099955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-34_0_5_line_11 |  | 6 | 7 | 0.032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-34_0_5_line_12 |  | 7 | 35 | 0.018977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-34_0_5_line_13 |  | 8 | 14 | 0.038655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_69-34_0_5_line_14 |  | 8 | 15 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-34_0_5_line_15 |  | 9 | 12 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-34_0_5_line_16 |  | 9 | 13 | 0.061892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-34_0_5_line_17 |  | 10 | 36 | 0.027336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_69-34_0_5_line_18 |  | 13 | 16 | 0.043277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-34_0_5_line_19 |  | 13 | 17 | 0.040595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-34_0_5_line_20 |  | 14 | 31 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-34_0_5_line_21 |  | 15 | 40 | 6.4037e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_69-34_0_5_line_22 |  | 16 | 41 | 0.001073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-34_0_5_line_23 |  | 17 | 33 | 0.034081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-34_0_5_line_24 |  | 18 | 19 | 0.030398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_69-34_0_5_line_25 |  | 18 | 20 | 0.087607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_69-34_0_5_line_26 |  | 19 | 23 | 0.094808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_69-34_0_5_line_27 |  | 20 | 42 | 0.00025227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-34_0_5_line_28 |  | 21 | 22 | 0.07367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_69-34_0_5_line_29 |  | 21 | 23 | 0.03275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-34_0_5_line_30 |  | 22 | 26 | 0.017884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-34_0_5_line_31 |  | 22 | 27 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-34_0_5_line_32 |  | 22 | 28 | 0.029828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-34_0_5_line_33 |  | 24 | 25 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-34_0_5_line_34 |  | 24 | 26 | 0.025388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_69-34_0_5_line_35 |  | 27 | 43 | 0.01697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_69-34_0_5_line_36 |  | 29 | 30 | 0.010738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_69-34_0_5_line_37 |  | 30 | 44 | 0.0023326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-34_0_5_line_38 |  | 31 | 32 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-34_0_5_line_39 |  | 33 | 34 | 0.00713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-34_0_5_line_40 |  | 34 | 37 | 0.009843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-34_0_5_line_41 |  | 35 | 57 | 0.028866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_69-34_0_5_line_42 |  | 36 | 58 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_69-34_0_5_line_43 |  | 38 | 39 | 0.023713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-34_0_5_line_44 |  | 39 | 54 | 0.031446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-34_0_5_line_45 |  | 42 | 53 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_69-34_0_5_line_46 |  | 43 | 58 | 0.023523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_69-34_0_5_line_47 |  | 44 | 52 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_69-34_0_5_line_48 |  | 45 | 46 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-34_0_5_line_49 |  | 45 | 47 | 0.015931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-34_0_5_line_50 |  | 47 | 48 | 0.0045451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-34_0_5_line_51 |  | 47 | 49 | 0.004199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_69-34_0_5_line_52 |  | 48 | 50 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-34_0_5_line_53 |  | 50 | 51 | 0.0024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_69-34_0_5_line_54 |  | 50 | 52 | 0.016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-34_0_5_line_55 |  | 54 | 55 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_69-34_0_5_line_56 |  | 55 | 56 | 0.028856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-34_0_5_line_57 |  | 56 | 57 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-34_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 59 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2687188.9432 | 1251841.1568 | 2687191.8766 | 1251840.3216 | 2687238.7744 | 1251825.3833
1 | 2687261.9122 | 1251818.0133 | 2687238.7744 | 1251825.3833
2 | 2687167.8087 | 1251843.1919 | 2687178.1458 | 1251842.9326 | 2687183.1446 | 1251842.8061 | 2687188.9432 | 1251841.1568
3 | 2687188.9432 | 1251841.1568 | 2687183.1446 | 1251842.8061 | 2687183.5221 | 1251844.8465 | 2687184.1867 | 1251848.4146 | 2687184.3545 | 1251849.3177 | 2687184.5276 | 1251850.3766 | 2687185.1021 | 1251853.91 | 2687185.3441 | 1251855.4147 | 2687190.0473 | 1251854.3386
4 | 2687261.9122 | 1251818.0133 | 2687260.3221 | 1251813.7422 | 2687257.4453 | 1251806.3868
5 | 2687279.4288 | 1251812.556 | 2687267.3346 | 1251816.2807 | 2687261.9122 | 1251818.0133
6 | 2687138.6106 | 1251802.287 | 2687151.5433 | 1251823.649 | 2687155.8617 | 1251829.7393 | 2687159.7733 | 1251835.2677 | 2687167.8087 | 1251843.1919
7 | 2687133.4049 | 1251802.633 | 2687137.928 | 1251809.6937 | 2687140.4441 | 1251813.6226 | 2687143.6686 | 1251818.6516 | 2687152.3311 | 1251832.1781 | 2687155.8617 | 1251829.7393 | 2687159.7733 | 1251835.2677 | 2687167.8087 | 1251843.1919
8 | 2687167.8087 | 1251843.1919 | 2687171.2893 | 1251840.0518 | 2687183.031 | 1251826.9818
9 | 2687190.0473 | 1251854.3386 | 2687190.1968 | 1251855.4639 | 2687191.1001 | 1251861.2705 | 2687196.6154 | 1251860.3373
10 | 2687253.8045 | 1251797.078 | 2687257.4453 | 1251806.3868
11 | 2687279.4288 | 1251812.556 | 2687310.8546 | 1251803.1235
12 | 2687328.8725 | 1251797.2443 | 2687325.7228 | 1251798.6608 | 2687310.8546 | 1251803.1235
13 | 2687138.6106 | 1251802.287 | 2687117.8346 | 1251769.6902
14 | 2687138.6106 | 1251802.287 | 2687144.4062 | 1251798.2803 | 2687149.8112 | 1251794.8036
15 | 2687115.1232 | 1251808.7911 | 2687133.4049 | 1251802.633
16 | 2687086.8709 | 1251825.6998 | 2687137.928 | 1251809.6937 | 2687133.4049 | 1251802.633
17 | 2687183.031 | 1251826.9818 | 2687193.4131 | 1251815.4253 | 2687201.2992 | 1251806.6457
18 | 2687073.7507 | 1251835.5589 | 2687072.2107 | 1251836.0811 | 2687065.1729 | 1251838.335 | 2687063.1856 | 1251838.9952 | 2687061.4429 | 1251833.799 | 2687086.8709 | 1251825.6998
19 | 2687086.8709 | 1251825.6998 | 2687080.3207 | 1251804.0315 | 2687080.8908 | 1251800.6818 | 2687076.5436 | 1251786.7852
20 | 2687110.5057 | 1251758.8854 | 2687117.8346 | 1251769.6902
21 | 2687149.8112 | 1251794.8036 | 2687149.865 | 1251794.7689
22 | 2687073.7507 | 1251835.5589 | 2687074.0601 | 1251836.5864
23 | 2687043.9405 | 1251796.7137 | 2687076.5436 | 1251786.7852
24 | 2687444.6403 | 1251638.4261 | 2687417.1587 | 1251651.5862
25 | 2687444.6403 | 1251638.4261 | 2687448.4715 | 1251646.8335 | 2687454.9025 | 1251660.1384 | 2687458.8513 | 1251668.7588 | 2687456.317 | 1251675.7823 | 2687448.1002 | 1251683.7337 | 2687444.9414 | 1251692.1602 | 2687438.3693 | 1251698.1233 | 2687427.6788 | 1251701.8462 | 2687422.2409 | 1251704.4157
26 | 2687417.1587 | 1251651.5862 | 2687390.2777 | 1251664.4551 | 2687332.1429 | 1251693.5409
27 | 2687422.0128 | 1251704.5235 | 2687422.2409 | 1251704.4157
28 | 2687302.6959 | 1251707.8638 | 2687297.4745 | 1251711.8232 | 2687258.2237 | 1251755.3448 | 2687251.7763 | 1251749.7901
29 | 2687302.6959 | 1251707.8638 | 2687311.8683 | 1251703.6846 | 2687332.1429 | 1251693.5409
30 | 2687251.7763 | 1251749.7901 | 2687238.5709 | 1251737.7298
31 | 2687251.7763 | 1251749.7901 | 2687247.5456 | 1251755.1652 | 2687244.0887 | 1251759.018
32 | 2687251.7763 | 1251749.7901 | 2687255.9664 | 1251745.126 | 2687265.921 | 1251734.4756 | 2687272.0529 | 1251727.9158
33 | 2687219.8242 | 1251720.6087 | 2687215.0851 | 1251725.6539 | 2687210.7528 | 1251730.4089
34 | 2687219.8242 | 1251720.6087 | 2687238.5709 | 1251737.7298
35 | 2687244.0887 | 1251759.018 | 2687240.5544 | 1251762.9571 | 2687232.7494 | 1251771.6438
36 | 2687253.8045 | 1251797.078 | 2687255.0218 | 1251796.4288 | 2687261.3111 | 1251789.4986
37 | 2687262.8787 | 1251787.7712 | 2687261.3111 | 1251789.4986
38 | 2687110.5057 | 1251758.8854 | 2687116.2873 | 1251754.8006 | 2687121.7451 | 1251751.2309
39 | 2687043.9405 | 1251796.7137 | 2687045.3985 | 1251801.2497 | 2687043.1386 | 1251801.9726
40 | 2687043.1386 | 1251801.9726 | 2687042.0067 | 1251809.6507 | 2687042.5887 | 1251811.6497
41 | 2687354.6969 | 1251784.3967 | 2687342.0977 | 1251791.2965 | 2687328.8725 | 1251797.2443
42 | 2687217.027 | 1251789.1405 | 2687209.1064 | 1251797.9541 | 2687201.2992 | 1251806.6457
43 | 2687467.0564 | 1251728.8193 | 2687445.406 | 1251738.4934
44 | 2687416.9258 | 1251751.8091 | 2687428.4525 | 1251746.0689 | 2687445.406 | 1251738.4934
45 | 2687411.3261 | 1251708.1875 | 2687416.4516 | 1251707.1512 | 2687422.0128 | 1251704.5235
46 | 2687232.7494 | 1251771.6438 | 2687224.8764 | 1251780.4062 | 2687217.027 | 1251789.1405
47 | 2687262.8787 | 1251787.7712 | 2687266.5332 | 1251790.2492 | 2687275.9593 | 1251786.7742 | 2687279.0633 | 1251785.6302
48 | 2687315.2753 | 1251733.702 | 2687308.719 | 1251737.0747 | 2687304.2804 | 1251742.2132 | 2687303.7937 | 1251742.7445
49 | 2687293.056 | 1251754.5127 | 2687297.8284 | 1251749.2568 | 2687303.7937 | 1251742.7445
50 | 2687293.056 | 1251754.5127 | 2687290.0016 | 1251757.8785
51 | 2687295.7713 | 1251757.7218 | 2687294.6803 | 1251756.4603 | 2687293.056 | 1251754.5127
52 | 2687277.1041 | 1251772.0911 | 2687290.0016 | 1251757.8785
53 | 2687277.1041 | 1251772.0911 | 2687275.231 | 1251773.6099
54 | 2687277.1041 | 1251772.0911 | 2687278.7862 | 1251773.706 | 2687279.8045 | 1251774.7773 | 2687281.7635 | 1251776.552 | 2687282.6979 | 1251778.7118 | 2687281.2444 | 1251783.0937 | 2687279.0633 | 1251785.6302
55 | 2687398.1188 | 1251761.175 | 2687416.9258 | 1251751.8091
56 | 2687398.1188 | 1251761.175 | 2687386.8807 | 1251766.7714 | 2687372.583 | 1251774.6015
57 | 2687354.6969 | 1251784.3967 | 2687372.583 | 1251774.6015

## bus_geodata
| x | y | coords
0 | 2687238.7744 | 1251825.3833
1 | 2687188.9432 | 1251841.1568
2 | 2687261.9122 | 1251818.0133
3 | 2687167.8087 | 1251843.1919
4 | 2687190.0473 | 1251854.3386
5 | 2687257.4453 | 1251806.3868
6 | 2687279.4288 | 1251812.556
7 | 2687310.8546 | 1251803.1235
8 | 2687138.6106 | 1251802.287
9 | 2687133.4049 | 1251802.633
10 | 2687183.031 | 1251826.9818
11 | 2687196.6154 | 1251860.3373
12 | 2687115.1232 | 1251808.7911
13 | 2687086.8709 | 1251825.6998
14 | 2687117.8346 | 1251769.6902
15 | 2687149.8112 | 1251794.8036
16 | 2687073.7507 | 1251835.5589
17 | 2687076.5436 | 1251786.7852
18 | 2687444.6403 | 1251638.4261
19 | 2687417.1587 | 1251651.5862
20 | 2687422.2409 | 1251704.4157
21 | 2687302.6959 | 1251707.8638
22 | 2687251.7763 | 1251749.7901
23 | 2687332.1429 | 1251693.5409
24 | 2687219.8242 | 1251720.6087
25 | 2687210.7528 | 1251730.4089
26 | 2687238.5709 | 1251737.7298
27 | 2687244.0887 | 1251759.018
28 | 2687272.0529 | 1251727.9158
29 | 2687253.8045 | 1251797.078
30 | 2687261.3111 | 1251789.4986
31 | 2687110.5057 | 1251758.8854
32 | 2687121.7451 | 1251751.2309
33 | 2687043.9405 | 1251796.7137
34 | 2687043.1386 | 1251801.9726
35 | 2687328.8725 | 1251797.2443
36 | 2687201.2992 | 1251806.6457
37 | 2687042.5887 | 1251811.6497
38 | 2687467.0564 | 1251728.8193
39 | 2687445.406 | 1251738.4934
40 | 2687149.865 | 1251794.7689
41 | 2687074.0601 | 1251836.5864
42 | 2687422.0128 | 1251704.5235
43 | 2687232.7494 | 1251771.6438
44 | 2687262.8787 | 1251787.7712
45 | 2687303.7937 | 1251742.7445
46 | 2687315.2753 | 1251733.702
47 | 2687293.056 | 1251754.5127
48 | 2687290.0016 | 1251757.8785
49 | 2687295.7713 | 1251757.7218
50 | 2687277.1041 | 1251772.0911
51 | 2687275.231 | 1251773.6099
52 | 2687279.0633 | 1251785.6302
53 | 2687411.3261 | 1251708.1875
54 | 2687416.9258 | 1251751.8091
55 | 2687398.1188 | 1251761.175
56 | 2687372.583 | 1251774.6015
57 | 2687354.6969 | 1251784.3967
58 | 2687217.027 | 1251789.1405
59 | 2687251.7763 | 1251749.7901

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1