## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_69-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_69-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_69-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_69-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_69-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_69-8_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_69-8_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_69-8_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_69-8_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_69-8_0_6_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_69-8_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_69-8_0_6_node_114 | 0.4 | n |  | TRUE
12 | bus_LV_69-8_0_6_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_69-8_0_6_node_115 | 0.4 | n |  | TRUE
14 | bus_LV_69-8_0_6_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_69-8_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_69-8_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_69-8_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_69-8_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_69-8_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_69-8_0_6_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_69-8_0_6_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_69-8_0_6_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_69-8_0_6_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_69-8_0_6_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_69-8_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_69-8_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_69-8_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_69-8_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_69-8_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_69-8_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_69-8_0_6_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_69-8_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_69-8_0_6_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_69-8_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_69-8_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_69-8_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_69-8_0_6_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_69-8_0_6_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_69-8_0_6_node_75 | 0.4 | n |  | TRUE
40 | bus_LV_69-8_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_69-8_0_6_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_69-8_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_69-8_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_69-8_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_69-8_0_6_node_117 | 0.4 | n |  | TRUE
46 | bus_LV_69-8_0_6_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_69-8_0_6_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_69-8_0_6_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_69-8_0_6_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_69-8_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_69-8_0_6_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_69-8_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_69-8_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_69-8_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_69-8_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_69-8_0_6_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_69-8_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_69-8_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_69-8_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_69-8_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_69-8_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_69-8_0_6_node_118 | 0.4 | n |  | TRUE
63 | bus_LV_69-8_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_69-8_0_6_node_44 | 0.4 | n |  | TRUE
65 | bus_LV_69-8_0_6_node_106 | 0.4 | n |  | TRUE
66 | bus_LV_69-8_0_6_node_107 | 0.4 | n |  | TRUE
67 | bus_LV_69-8_0_6_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_69-8_0_6_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_69-8_0_6_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_69-8_0_6_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_69-8_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_69-8_0_6_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_69-8_0_6_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_69-8_0_6_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_69-8_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_69-8_0_6_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_69-8_0_6_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_69-8_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_69-8_0_6_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_69-8_0_6_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_69-8_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_69-8_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_69-8_0_6_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_69-8_0_6_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_69-8_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_69-8_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_69-8_0_6_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_69-8_0_6_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_69-8_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_69-8_0_6_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_69-8_0_6_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_69-8_0_6_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_69-8_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_69-8_0_6_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_69-8_0_6_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_69-8_0_6_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_69-8_0_6_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_69-8_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_69-8_0_6_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_69-8_0_6_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_69-8_0_6_node_94 | 0.4 | n |  | TRUE
102 | bus_LV_69-8_0_6_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_69-8_0_6_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_69-8_0_6_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_69-8_0_6_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_69-8_0_6_node_112 | 0.4 | n |  | TRUE
107 | bus_LV_69-8_0_6_node_99 | 0.4 | n |  | TRUE
108 | bus_LV_69-8_0_6_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_69-8_0_6_node_116 | 0.4 | n |  | TRUE
110 | bus_MV_552_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_69-8_0_6_load_0 | 0 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_69-8_0_6_load_1 | 1 | 0.0025352 | 0.00063538 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_69-8_0_6_load_2 | 2 | 0.006323 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_69-8_0_6_load_3 | 3 | 0.0025329 | 0.00063481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_69-8_0_6_load_4 | 4 | 0.0024244 | 0.00060761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_69-8_0_6_load_13 | 6 | 0.0042994 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_69-8_0_6_load_5 | 8 | 0.0017214 | 0.00043143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_69-8_0_6_load_11 | 9 | 0.00058334 | 0.0001462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_69-8_0_6_load_12 | 10 | 0.004363 | 0.0010935 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_69-8_0_6_load_114 | 11 | 0.0047924 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_69-8_0_6_load_77 | 12 | 0.0043664 | 0.0010943 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_69-8_0_6_load_115 | 13 | 0.0046703 | 0.0011705 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_69-8_0_6_load_78 | 14 | 0.0045802 | 0.0011479 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_69-8_0_6_load_14 | 15 | 0.0053334 | 0.0013367 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_69-8_0_6_load_15 | 16 | 0.0022542 | 0.00056495 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_69-8_0_6_load_17 | 18 | 0.0039243 | 0.00098352 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_69-8_0_6_load_32 | 20 | 0.0046506 | 0.0011655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_69-8_0_6_load_59 | 21 | 0.0051903 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_69-8_0_6_load_58 | 22 | 0.0035506 | 0.00088987 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_69-8_0_6_load_65 | 24 | 0.0051902 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_69-8_0_6_load_19 | 25 | 0.0038847 | 0.00097359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_69-8_0_6_load_20 | 26 | 0.0053181 | 0.0013328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_69-8_0_6_load_22 | 28 | 0.0039752 | 0.00099627 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_69-8_0_6_load_62 | 31 | 0.022616 | 0.0056682 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_69-8_0_6_load_60 | 33 | 0.0040159 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_69-8_0_6_load_28 | 35 | 0.014853 | 0.0037225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_69-8_0_6_load_27 | 36 | 0.0050617 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_69-8_0_6_load_63 | 37 | 0.0051982 | 0.0013028 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_69-8_0_6_load_61 | 38 | 0.0064236 | 0.0016099 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_69-8_0_6_load_75 | 39 | 0.001212 | 0.00030374 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_69-8_0_6_load_30 | 40 | 0.0046289 | 0.0011601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_69-8_0_6_load_31 | 42 | 0.018249 | 0.0045737 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_69-8_0_6_load_117 | 45 | 0.0035373 | 0.00088653 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_69-8_0_6_load_76 | 48 | 0.0030027 | 0.00075254 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_69-8_0_6_load_68 | 50 | 0.005306 | 0.0013298 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_69-8_0_6_load_74 | 51 | 0.0056867 | 0.0014252 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_69-8_0_6_load_33 | 52 | 0.0048479 | 0.001215 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_69-8_0_6_load_34 | 53 | 0.0052853 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_69-8_0_6_load_35 | 54 | 0.011221 | 0.0028122 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_69-8_0_6_load_36 | 55 | 0.0050061 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_69-8_0_6_load_66 | 60 | 0.0021934 | 0.00054972 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_69-8_0_6_load_118 | 62 | 0.0051909 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_69-8_0_6_load_106 | 65 | 0.0027897 | 0.00069918 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_69-8_0_6_load_107 | 66 | 0.0084654 | 0.0021216 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_69-8_0_6_load_48 | 67 | 0.013233 | 0.0033166 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_69-8_0_6_load_47 | 68 | 0.013226 | 0.0033146 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_69-8_0_6_load_39 | 69 | 0.0052002 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_69-8_0_6_load_67 | 71 | 0.0051828 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_69-8_0_6_load_104 | 72 | 0.0027009 | 0.00067692 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_69-8_0_6_load_56 | 73 | 0.0027751 | 0.0006955 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_69-8_0_6_load_49 | 75 | 0.02132 | 0.0053433 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_69-8_0_6_load_51 | 77 | 0.018521 | 0.0046417 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_69-8_0_6_load_64 | 78 | 0.023367 | 0.0058563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_69-8_0_6_load_53 | 79 | 0.0088236 | 0.0022114 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_69-8_0_6_load_54 | 80 | 0.0088221 | 0.002211 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_69-8_0_6_load_69 | 81 | 0.0048162 | 0.001207 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_69-8_0_6_load_71 | 82 | 0.0067346 | 0.0016878 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_69-8_0_6_load_80 | 84 | 0.0084654 | 0.0021216 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_69-8_0_6_load_85 | 85 | 0.004739 | 0.0011877 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_69-8_0_6_load_83 | 86 | 0.0074841 | 0.0018757 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_69-8_0_6_load_101 | 87 | 0.0023183 | 0.00058101 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_69-8_0_6_load_100 | 88 | 0.0019749 | 0.00049495 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_69-8_0_6_load_82 | 89 | 0.007566 | 0.0018962 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_69-8_0_6_load_84 | 90 | 0.0074896 | 0.0018771 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_69-8_0_6_load_86 | 91 | 0.0075625 | 0.0018953 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_69-8_0_6_load_87 | 92 | 0.002281 | 0.00057168 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_69-8_0_6_load_88 | 93 | 0.0018591 | 0.00046592 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_69-8_0_6_load_91 | 95 | 0.0023832 | 0.0005973 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_69-8_0_6_load_92 | 96 | 0.001417 | 0.00035512 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_69-8_0_6_load_105 | 97 | 0.0038113 | 0.00095519 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_69-8_0_6_load_103 | 99 | 0.0026497 | 0.00066408 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_69-8_0_6_load_108 | 100 | 0.0015911 | 0.00039877 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_69-8_0_6_load_94 | 101 | 0.0021585 | 0.00054098 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_69-8_0_6_load_93 | 102 | 0.0022971 | 0.0005757 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_69-8_0_6_load_95 | 103 | 0.002224 | 0.00055738 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_69-8_0_6_load_97 | 104 | 0.0023757 | 0.00059541 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_69-8_0_6_load_98 | 105 | 0.0025386 | 0.00063623 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_69-8_0_6_load_112 | 106 | 0.0014773 | 0.00037025 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_69-8_0_6_load_99 | 107 | 0.0023036 | 0.00057734 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_69-8_0_6_load_102 | 108 | 0.0088137 | 0.0022089 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_69-8_0_6_load_116 | 109 | 0.0079279 | 0.0019869 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_69-8_0_6_line_0 |  | 0 | 1 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_69-8_0_6_line_1 |  | 0 | 2 | 0.0031177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_69-8_0_6_line_2 |  | 1 | 3 | 0.0014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_69-8_0_6_line_3 |  | 2 | 4 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_69-8_0_6_line_4 |  | 4 | 5 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_69-8_0_6_line_5 |  | 5 | 6 | 0.03378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_69-8_0_6_line_6 |  | 5 | 7 | 0.043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_69-8_0_6_line_7 |  | 6 | 12 | 0.010168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_69-8_0_6_line_8 |  | 7 | 9 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_69-8_0_6_line_9 |  | 7 | 10 | 0.034783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_69-8_0_6_line_10 |  | 7 | 8 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_69-8_0_6_line_11 |  | 10 | 11 | 0.058079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_69-8_0_6_line_12 |  | 11 | 13 | 0.014219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_69-8_0_6_line_13 |  | 12 | 14 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_69-8_0_6_line_14 |  | 13 | 109 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_69-8_0_6_line_15 |  | 14 | 83 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_69-8_0_6_line_16 |  | 15 | 16 | 0.0097133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_69-8_0_6_line_17 |  | 15 | 17 | 0.031336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_69-8_0_6_line_18 |  | 17 | 18 | 0.010361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_69-8_0_6_line_19 |  | 17 | 19 | 0.031362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_69-8_0_6_line_20 |  | 18 | 20 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_69-8_0_6_line_21 |  | 19 | 21 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_69-8_0_6_line_22 |  | 19 | 22 | 0.010358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_69-8_0_6_line_23 |  | 20 | 23 | 0.0075231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_69-8_0_6_line_24 |  | 21 | 24 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_69-8_0_6_line_25 |  | 23 | 40 | 0.029683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_69-8_0_6_line_26 |  | 23 | 29 | 0.007972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_69-8_0_6_line_27 |  | 24 | 69 | 0.028246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_69-8_0_6_line_28 |  | 25 | 26 | 0.01307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_69-8_0_6_line_29 |  | 25 | 27 | 0.0067902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_69-8_0_6_line_30 |  | 27 | 28 | 0.026184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_69-8_0_6_line_31 |  | 28 | 29 | 0.0039515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_69-8_0_6_line_32 |  | 29 | 36 | 0.025562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_69-8_0_6_line_33 |  | 30 | 31 | 0.023501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_69-8_0_6_line_34 |  | 30 | 32 | 0.025092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_69-8_0_6_line_35 |  | 30 | 33 | 0.018927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_69-8_0_6_line_36 |  | 31 | 37 | 0.0052118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_69-8_0_6_line_37 |  | 32 | 34 | 0.13853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_69-8_0_6_line_38 |  | 32 | 35 | 0.029154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_69-8_0_6_line_39 |  | 33 | 38 | 0.0045374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_69-8_0_6_line_40 |  | 34 | 39 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_69-8_0_6_line_41 |  | 36 | 41 | 0.0062346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_69-8_0_6_line_42 |  | 37 | 74 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_69-8_0_6_line_43 |  | 38 | 43 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_69-8_0_6_line_44 |  | 39 | 51 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_69-8_0_6_line_45 |  | 40 | 42 | 0.016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_69-8_0_6_line_46 |  | 41 | 43 | 0.008085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_69-8_0_6_line_47 |  | 44 | 45 | 0.013535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_69-8_0_6_line_48 |  | 44 | 46 | 0.14993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_69-8_0_6_line_49 |  | 46 | 49 | 0.019136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_69-8_0_6_line_50 |  | 46 | 50 | 0.028049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_69-8_0_6_line_51 |  | 47 | 48 | 0.032072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_69-8_0_6_line_52 |  | 47 | 49 | 0.12678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_69-8_0_6_line_53 |  | 49 | 51 | 0.068773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_69-8_0_6_line_54 |  | 50 | 81 | 0.0029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_69-8_0_6_line_55 |  | 52 | 53 | 0.029597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_69-8_0_6_line_56 |  | 52 | 54 | 0.021203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_69-8_0_6_line_57 |  | 53 | 55 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_69-8_0_6_line_58 |  | 54 | 56 | 0.036882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_69-8_0_6_line_59 |  | 56 | 57 | 0.027104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_69-8_0_6_line_60 |  | 56 | 58 | 0.043205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_69-8_0_6_line_61 |  | 57 | 62 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_69-8_0_6_line_62 |  | 57 | 63 | 0.004498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_69-8_0_6_line_63 |  | 58 | 67 | 0.042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_69-8_0_6_line_64 |  | 58 | 68 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_69-8_0_6_line_65 |  | 58 | 59 | 0.10179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_69-8_0_6_line_66 |  | 59 | 60 | 0.10606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_69-8_0_6_line_67 |  | 59 | 61 | 0.066471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_69-8_0_6_line_68 |  | 60 | 71 | 0.038821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_69-8_0_6_line_69 |  | 61 | 66 | 0.013597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_69-8_0_6_line_70 |  | 61 | 64 | 0.021184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_69-8_0_6_line_71 |  | 63 | 74 | 0.02703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_69-8_0_6_line_72 |  | 63 | 75 | 0.026797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_69-8_0_6_line_73 |  | 64 | 65 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_69-8_0_6_line_74 |  | 65 | 72 | 0.0086767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_69-8_0_6_line_75 |  | 66 | 70 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_69-8_0_6_line_76 |  | 67 | 73 | 0.011247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_69-8_0_6_line_77 |  | 70 | 83 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_69-8_0_6_line_78 |  | 72 | 108 | 0.020422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_69-8_0_6_line_79 |  | 73 | 76 | 0.0093203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_69-8_0_6_line_80 |  | 74 | 78 | 0.05388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_69-8_0_6_line_81 |  | 75 | 77 | 0.046769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_69-8_0_6_line_82 |  | 76 | 79 | 0.019339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_69-8_0_6_line_83 |  | 79 | 80 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_69-8_0_6_line_84 |  | 81 | 82 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_69-8_0_6_line_85 |  | 83 | 84 | 0.040329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_69-8_0_6_line_86 |  | 84 | 85 | 0.0076207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_69-8_0_6_line_87 |  | 85 | 86 | 0.028683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_69-8_0_6_line_88 |  | 86 | 89 | 0.003168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_69-8_0_6_line_89 |  | 87 | 88 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_69-8_0_6_line_90 |  | 88 | 107 | 0.0070853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_69-8_0_6_line_91 |  | 89 | 90 | 0.025609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_69-8_0_6_line_92 |  | 90 | 91 | 0.017211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_69-8_0_6_line_93 |  | 92 | 93 | 0.018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_69-8_0_6_line_94 |  | 92 | 94 | 0.021971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_69-8_0_6_line_95 |  | 94 | 95 | 0.0078399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_69-8_0_6_line_96 |  | 94 | 96 | 0.019924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_69-8_0_6_line_97 |  | 95 | 97 | 0.019048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_69-8_0_6_line_98 |  | 96 | 98 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_69-8_0_6_line_99 |  | 97 | 99 | 0.009305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_69-8_0_6_line_100 |  | 98 | 100 | 0.0059588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_69-8_0_6_line_101 |  | 98 | 101 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_69-8_0_6_line_102 |  | 99 | 108 | 0.0194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_69-8_0_6_line_103 |  | 100 | 106 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_69-8_0_6_line_104 |  | 101 | 102 | 0.0045964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_69-8_0_6_line_105 |  | 102 | 103 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_69-8_0_6_line_106 |  | 103 | 104 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_69-8_0_6_line_107 |  | 104 | 105 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_69-8_0_6_line_108 |  | 105 | 107 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_69-8_0_6_trafo_45 | 0.63 MVA 20/0.4 kV | 110 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2687949.4187 | 1251839.5446 | 2687934.6428 | 1251838.8066 | 2687929.2547 | 1251838.8429
1 | 2687949.4187 | 1251839.5446 | 2687952.5326 | 1251839.7001
2 | 2687927.8317 | 1251838.8525 | 2687929.2547 | 1251838.8429
3 | 2687972.1625 | 1251840.6806 | 2687952.5326 | 1251839.7001
4 | 2687991.7575 | 1251851.1415 | 2687987.8322 | 1251844.556 | 2687980.5844 | 1251841.1013 | 2687972.1625 | 1251840.6806
5 | 2687991.7575 | 1251851.1415 | 2688017.5203 | 1251838.8814 | 2688022.0619 | 1251836.2496
6 | 2687991.7575 | 1251851.1415 | 2687988.6152 | 1251894.4722
7 | 2688022.0619 | 1251836.2496 | 2688030.8596 | 1251831.1515 | 2688030.8596 | 1251831.1515
8 | 2687988.6152 | 1251894.4722 | 2687987.6669 | 1251911.0584
9 | 2687988.6152 | 1251894.4722 | 2688023.3973 | 1251894.165
10 | 2687988.6152 | 1251894.4722 | 2687977.5716 | 1251894.5194 | 2687972.671 | 1251894.785
11 | 2688023.3973 | 1251894.165 | 2688081.4737 | 1251893.6522
12 | 2688081.4737 | 1251893.6522 | 2688095.6925 | 1251893.5266
13 | 2688042.2002 | 1251810.0726 | 2688042.1176 | 1251814.1502 | 2688040.4873 | 1251819.7303 | 2688036.3789 | 1251825.4625 | 2688030.8596 | 1251831.1515
14 | 2688095.6925 | 1251893.5266 | 2688109.8526 | 1251893.4015
15 | 2688041.9452 | 1251786.1486 | 2688041.0867 | 1251791.5955 | 2688040.6448 | 1251794.4133 | 2688042.2313 | 1251808.5365 | 2688042.2002 | 1251810.0726
16 | 2688213.2139 | 1251535.6745 | 2688213.4258 | 1251534.8076 | 2688215.5937 | 1251526.2573
17 | 2688201.4204 | 1251562.8947 | 2688207.8997 | 1251558.6657 | 2688209.2701 | 1251552.3035 | 2688210.6445 | 1251546.186 | 2688213.2139 | 1251535.6745
18 | 2688201.4204 | 1251562.8947 | 2688191.3093 | 1251560.6312
19 | 2688193.5872 | 1251589.1092 | 2688193.8707 | 1251586.8005 | 2688203.2218 | 1251579.8011 | 2688204.25 | 1251577.1588 | 2688201.4204 | 1251562.8947
20 | 2688191.3093 | 1251560.6312 | 2688183.8608 | 1251558.9638 | 2688181.5166 | 1251556.705 | 2688173.9816 | 1251555.0042
21 | 2688193.5872 | 1251589.1092 | 2688196.725 | 1251599.9085 | 2688192.1074 | 1251608.9019
22 | 2688193.5872 | 1251589.1092 | 2688183.4963 | 1251586.7722
23 | 2688166.6432 | 1251553.3478 | 2688173.9816 | 1251555.0042
24 | 2688184.2585 | 1251627.001 | 2688189.5575 | 1251613.868 | 2688192.1074 | 1251608.9019
25 | 2688166.6432 | 1251553.3478 | 2688173.3616 | 1251524.435
26 | 2688166.6432 | 1251553.3478 | 2688158.8816 | 1251551.4309
27 | 2688184.2585 | 1251627.001 | 2688175.2772 | 1251649.2602 | 2688172.1792 | 1251652.1604
28 | 2688129.4932 | 1251536.349 | 2688129.3433 | 1251533.7448 | 2688131.271 | 1251524.9334 | 2688131.7141 | 1251523.5612
29 | 2688130.5409 | 1251543.0474 | 2688130.1061 | 1251541.3285 | 2688129.4932 | 1251536.349 | 2688129.4932 | 1251536.349
30 | 2688130.5409 | 1251543.0474 | 2688156.0949 | 1251548.7563
31 | 2688158.8816 | 1251551.4309 | 2688156.6174 | 1251548.873 | 2688156.0949 | 1251548.7563
32 | 2688158.8816 | 1251551.4309 | 2688157.9755 | 1251555.5094 | 2688154.2951 | 1251571.0108 | 2688149.0208 | 1251572.389
33 | 2688102.6966 | 1251568.7752 | 2688101.0045 | 1251576.467 | 2688097.4705 | 1251586.1996 | 2688094.4536 | 1251590.5219
34 | 2688102.6842 | 1251543.7337 | 2688103.0297 | 1251546.8968 | 2688103.4525 | 1251556.0212 | 2688102.6966 | 1251568.7752
35 | 2688102.6966 | 1251568.7752 | 2688121.2079 | 1251572.7224
36 | 2688091.4706 | 1251594.7956 | 2688094.4536 | 1251590.5219
37 | 2687998.3864 | 1251537.1125 | 2688004.3585 | 1251535.511 | 2688023.148 | 1251529.8413 | 2688048.0101 | 1251520.8927 | 2688071.4062 | 1251511.5444 | 2688078.9662 | 1251507.7316 | 2688085.7849 | 1251503.0072 | 2688093.7835 | 1251519.95 | 2688102.4489 | 1251539.7606 | 2688102.6842 | 1251543.7337
38 | 2688102.6842 | 1251543.7337 | 2688073.7327 | 1251547.1623
39 | 2688121.2079 | 1251572.7224 | 2688125.6455 | 1251573.6686
40 | 2687998.3864 | 1251537.1125 | 2687981.4094 | 1251540.7542
41 | 2688147.7147 | 1251578.4853 | 2688149.0208 | 1251572.389
42 | 2688082.3764 | 1251607.825 | 2688091.4706 | 1251594.7956
43 | 2688139.808 | 1251576.6886 | 2688125.6455 | 1251573.6686
44 | 2687954.2638 | 1251546.5773 | 2687981.4094 | 1251540.7542
45 | 2688176.9747 | 1251508.3896 | 2688175.2593 | 1251515.614 | 2688174.1439 | 1251521.0682 | 2688173.3616 | 1251524.435
46 | 2688139.808 | 1251576.6886 | 2688147.7147 | 1251578.4853
47 | 2687869.497 | 1251649.9301 | 2687878.4345 | 1251639.7438
48 | 2687869.497 | 1251649.9301 | 2687809.7634 | 1251636.9126 | 2687834.6377 | 1251609.2714 | 2687839.3726 | 1251604.0487 | 2687860.1359 | 1251581.8285 | 2687871.1154 | 1251572.9067
49 | 2687871.1154 | 1251572.9067 | 2687887.5738 | 1251563.0656
50 | 2687871.1154 | 1251572.9067 | 2687883.2145 | 1251583.1606 | 2687891.9535 | 1251591.6582
51 | 2687913.306 | 1251483.787 | 2687914.8345 | 1251486.0781 | 2687929.2486 | 1251487.3485 | 2687938.6663 | 1251488.0554 | 2687944.0552 | 1251488.454
52 | 2687887.5738 | 1251563.0656 | 2687885.8082 | 1251558.9474 | 2687886.3781 | 1251551.0609 | 2687885.9288 | 1251548.7859 | 2687884.7764 | 1251546.5782 | 2687876.1034 | 1251536.3863 | 2687872.5381 | 1251528.9167 | 2687870.4545 | 1251527.4069 | 2687865.2758 | 1251526.4182 | 2687862.4567 | 1251525.6314 | 2687860.5443 | 1251523.2679 | 2687855.8222 | 1251517.449 | 2687859.6906 | 1251515.1713 | 2687884.6032 | 1251500.2627 | 2687913.306 | 1251483.787
53 | 2687887.5738 | 1251563.0656 | 2687899.6597 | 1251558.9417 | 2687909.3775 | 1251556.206 | 2687954.2638 | 1251546.5773
54 | 2687891.9535 | 1251591.6582 | 2687894.0902 | 1251593.7359
55 | 2688134.1029 | 1251693.2719 | 2688133.4405 | 1251693.1157 | 2688123.7819 | 1251691.3707 | 2688115.979 | 1251690.7209 | 2688107.3901 | 1251689.1253 | 2688104.9101 | 1251688.5952
56 | 2688084.7149 | 1251682.5276 | 2688084.7149 | 1251682.5276 | 2688089.1083 | 1251683.527 | 2688092.3512 | 1251685.2432 | 2688096.4725 | 1251686.7723 | 2688100.3999 | 1251687.6313 | 2688104.9101 | 1251688.5952
57 | 2688134.1029 | 1251693.2719 | 2688137.3669 | 1251694.0414 | 2688140.6264 | 1251695.1463 | 2688145.0208 | 1251696.079 | 2688149.0291 | 1251696.072 | 2688155.1631 | 1251696.7638 | 2688155.2613 | 1251696.7855
58 | 2688073.0261 | 1251655.3888 | 2688071.0531 | 1251666.7459 | 2688070.562 | 1251672.8655 | 2688071.8374 | 1251676.9431 | 2688073.0706 | 1251679.2966 | 2688075.1175 | 1251680.7281 | 2688076.717 | 1251681.2856 | 2688080.8447 | 1251681.8807 | 2688084.7149 | 1251682.5276
59 | 2688067.165 | 1251635.3198 | 2688064.6321 | 1251644.2334 | 2688075.088 | 1251649.7263 | 2688073.0261 | 1251655.3888
60 | 2688046.6003 | 1251671.0525 | 2688058.1111 | 1251673.114 | 2688062.3887 | 1251652.9623 | 2688073.0261 | 1251655.3888
61 | 2688067.165 | 1251635.3198 | 2688081.7634 | 1251638.3836
62 | 2688068.6473 | 1251631.072 | 2688067.165 | 1251635.3198
63 | 2688046.6003 | 1251671.0525 | 2688040.6195 | 1251674.2661 | 2688027.5271 | 1251672.4703 | 2688023.7658 | 1251666.0206 | 2688008.6195 | 1251662.6003
64 | 2688046.6003 | 1251671.0525 | 2688033.3111 | 1251668.3985
65 | 2687999.0551 | 1251702.4146 | 2688008.2756 | 1251699.0934 | 2688042.033 | 1251707.1343 | 2688050.7 | 1251709.0645 | 2688052.7495 | 1251700.166 | 2688055.5428 | 1251685.93 | 2688058.1111 | 1251673.114 | 2688046.6003 | 1251671.0525
66 | 2687999.0551 | 1251702.4146 | 2687895.499 | 1251679.5106
67 | 2687999.0551 | 1251702.4146 | 2688003.7787 | 1251705.0645 | 2688013.7094 | 1251705.2566 | 2688016.2791 | 1251714.1793 | 2688018.3886 | 1251724.096 | 2688019.0933 | 1251726.9642 | 2688018.4778 | 1251733.838 | 2688015.1009 | 1251739.6145 | 2688014.3552 | 1251754.7482
68 | 2687895.499 | 1251679.5106 | 2687857.5942 | 1251671.127
69 | 2688014.3552 | 1251754.7482 | 2688018.9469 | 1251759.6646 | 2688022.315 | 1251765.6525
70 | 2687995.2984 | 1251746.4478 | 2688004.6404 | 1251748.666 | 2688011.1337 | 1251751.5869 | 2688014.3552 | 1251754.7482
71 | 2688068.6473 | 1251631.072 | 2688076.3295 | 1251616.4973 | 2688082.3764 | 1251607.825
72 | 2688068.6473 | 1251631.072 | 2688042.5406 | 1251625.0287
73 | 2687995.2984 | 1251746.4478 | 2687982.4605 | 1251744.6158
74 | 2687973.8709 | 1251743.39 | 2687982.4605 | 1251744.6158
75 | 2688020.9739 | 1251781.7337 | 2688022.3987 | 1251773.2262 | 2688022.9423 | 1251769.1534 | 2688022.315 | 1251765.6525
76 | 2688008.6195 | 1251662.6003 | 2687997.6491 | 1251660.1231
77 | 2688020.9739 | 1251781.7337 | 2688022.5918 | 1251782.0691 | 2688041.9452 | 1251786.1486
78 | 2687953.5996 | 1251740.9368 | 2687965.5533 | 1251742.203 | 2687973.8709 | 1251743.39
79 | 2687988.5331 | 1251658.1914 | 2687991.3486 | 1251658.7003 | 2687997.6491 | 1251660.1231
80 | 2688082.3764 | 1251607.825 | 2688077.0831 | 1251604.3993 | 2688057.6299 | 1251593.2907 | 2688056.7358 | 1251592.499 | 2688045.4456 | 1251578.1314 | 2688040.4161 | 1251575.2323
81 | 2687998.0505 | 1251614.5774 | 2688008.7026 | 1251620.0842 | 2688017.4765 | 1251621.9381 | 2688019.5081 | 1251621.8683 | 2688023.1661 | 1251620.5438 | 2688042.5406 | 1251625.0287
82 | 2687988.5331 | 1251658.1914 | 2687982.5742 | 1251661.9614 | 2687979.7924 | 1251662.2314 | 2687970.6755 | 1251660.0944 | 2687970.5491 | 1251660.0676
83 | 2687970.5491 | 1251660.0676 | 2687946.0893 | 1251654.8714
84 | 2687903.8039 | 1251603.1812 | 2687894.0902 | 1251593.7359
85 | 2688041.9452 | 1251786.1486 | 2688067.9105 | 1251791.2605 | 2688081.5158 | 1251793.9336
86 | 2688088.9935 | 1251795.4028 | 2688081.5158 | 1251793.9336
87 | 2688088.9935 | 1251795.4028 | 2688117.1382 | 1251800.9326
88 | 2688120.2468 | 1251801.5433 | 2688117.1382 | 1251800.9326
89 | 2687987.4543 | 1251775.547 | 2687999.2953 | 1251777.7325
90 | 2687980.4867 | 1251774.261 | 2687987.4543 | 1251775.547
91 | 2688120.2468 | 1251801.5433 | 2688145.3758 | 1251806.4805
92 | 2688162.264 | 1251809.7987 | 2688145.3758 | 1251806.4805
93 | 2687876.2654 | 1251739.9708 | 2687857.9504 | 1251741.9534
94 | 2687898.1515 | 1251738.3555 | 2687896.4153 | 1251738.3631 | 2687890.8518 | 1251738.3917 | 2687876.2654 | 1251739.9708
95 | 2687898.1515 | 1251738.3555 | 2687905.9914 | 1251738.3162
96 | 2687898.1515 | 1251738.3555 | 2687898.4718 | 1251745.7659 | 2687900.371 | 1251758.1272
97 | 2687905.9914 | 1251738.3162 | 2687925.039 | 1251738.2207
98 | 2687902.292 | 1251770.6304 | 2687900.371 | 1251758.1272
99 | 2687925.039 | 1251738.2207 | 2687927.826 | 1251738.2067 | 2687934.3077 | 1251738.8933
100 | 2687902.292 | 1251770.6304 | 2687900.8042 | 1251770.6861 | 2687896.3377 | 1251770.8631
101 | 2687902.292 | 1251770.6304 | 2687912.7349 | 1251770.2239
102 | 2687953.5996 | 1251740.9368 | 2687934.3077 | 1251738.8933
103 | 2687873.0739 | 1251774.3214 | 2687893.4554 | 1251770.9773 | 2687896.3377 | 1251770.8631
104 | 2687917.3279 | 1251770.0451 | 2687912.7349 | 1251770.2239
105 | 2687917.3279 | 1251770.0451 | 2687930.6218 | 1251769.5276
106 | 2687947.5586 | 1251770.7958 | 2687930.6218 | 1251769.5276 | 2687930.6218 | 1251769.5276
107 | 2687947.5586 | 1251770.7958 | 2687964.8095 | 1251772.0876
108 | 2687980.4867 | 1251774.261 | 2687971.3747 | 1251772.5792 | 2687964.8095 | 1251772.0876

## bus_geodata
| x | y | coords
0 | 2687949.4187 | 1251839.5446
1 | 2687929.2547 | 1251838.8429
2 | 2687952.5326 | 1251839.7001
3 | 2687927.8317 | 1251838.8525
4 | 2687972.1625 | 1251840.6806
5 | 2687991.7575 | 1251851.1415
6 | 2688022.0619 | 1251836.2496
7 | 2687988.6152 | 1251894.4722
8 | 2687972.671 | 1251894.785
9 | 2687987.6669 | 1251911.0583
10 | 2688023.3973 | 1251894.1651
11 | 2688081.4737 | 1251893.6522
12 | 2688030.8596 | 1251831.1515
13 | 2688095.6925 | 1251893.5266
14 | 2688042.2002 | 1251810.0726
15 | 2688213.2139 | 1251535.6745
16 | 2688215.5937 | 1251526.2573
17 | 2688201.4204 | 1251562.8947
18 | 2688191.3093 | 1251560.6312
19 | 2688193.5872 | 1251589.1092
20 | 2688173.9816 | 1251555.0042
21 | 2688192.1074 | 1251608.9019
22 | 2688183.4963 | 1251586.7722
23 | 2688166.6432 | 1251553.3478
24 | 2688184.2585 | 1251627.001
25 | 2688129.4932 | 1251536.349
26 | 2688131.7141 | 1251523.5612
27 | 2688130.5409 | 1251543.0474
28 | 2688156.0949 | 1251548.7563
29 | 2688158.8816 | 1251551.4309
30 | 2688102.6966 | 1251568.7752
31 | 2688094.4536 | 1251590.5219
32 | 2688102.6842 | 1251543.7337
33 | 2688121.2079 | 1251572.7224
34 | 2687998.3864 | 1251537.1125
35 | 2688073.7327 | 1251547.1623
36 | 2688149.0208 | 1251572.389
37 | 2688091.4706 | 1251594.7956
38 | 2688125.6455 | 1251573.6686
39 | 2687981.4094 | 1251540.7542
40 | 2688173.3616 | 1251524.435
41 | 2688147.7147 | 1251578.4853
42 | 2688176.9747 | 1251508.3896
43 | 2688139.808 | 1251576.6886
44 | 2687869.497 | 1251649.9301
45 | 2687878.4345 | 1251639.7438
46 | 2687871.1154 | 1251572.9067
47 | 2687913.306 | 1251483.787
48 | 2687944.0552 | 1251488.454
49 | 2687887.5738 | 1251563.0656
50 | 2687891.9535 | 1251591.6582
51 | 2687954.2638 | 1251546.5773
52 | 2688104.9101 | 1251688.5952
53 | 2688134.1029 | 1251693.2719
54 | 2688084.7149 | 1251682.5276
55 | 2688155.2613 | 1251696.7855
56 | 2688073.0261 | 1251655.3888
57 | 2688067.165 | 1251635.3198
58 | 2688046.6003 | 1251671.0525
59 | 2687999.0551 | 1251702.4146
60 | 2687895.499 | 1251679.5106
61 | 2688014.3552 | 1251754.7482
62 | 2688081.7634 | 1251638.3836
63 | 2688068.6473 | 1251631.072
64 | 2687995.2984 | 1251746.4478
65 | 2687982.4605 | 1251744.6158
66 | 2688022.315 | 1251765.6525
67 | 2688008.6195 | 1251662.6003
68 | 2688033.3111 | 1251668.3985
69 | 2688172.1792 | 1251652.1604
70 | 2688020.9739 | 1251781.7337
71 | 2687857.5942 | 1251671.127
72 | 2687973.8709 | 1251743.39
73 | 2687997.6491 | 1251660.1231
74 | 2688082.3764 | 1251607.825
75 | 2688042.5406 | 1251625.0287
76 | 2687988.5331 | 1251658.1914
77 | 2687998.0505 | 1251614.5774
78 | 2688040.4161 | 1251575.2323
79 | 2687970.5491 | 1251660.0676
80 | 2687946.0893 | 1251654.8714
81 | 2687894.0902 | 1251593.7359
82 | 2687903.8039 | 1251603.1812
83 | 2688041.9452 | 1251786.1486
84 | 2688081.5158 | 1251793.9336
85 | 2688088.9935 | 1251795.4028
86 | 2688117.1382 | 1251800.9326
87 | 2687999.2953 | 1251777.7325
88 | 2687987.4543 | 1251775.547
89 | 2688120.2468 | 1251801.5433
90 | 2688145.3758 | 1251806.4805
91 | 2688162.264 | 1251809.7987
92 | 2687876.2654 | 1251739.9708
93 | 2687857.9504 | 1251741.9534
94 | 2687898.1515 | 1251738.3555
95 | 2687905.9914 | 1251738.3162
96 | 2687900.371 | 1251758.1272
97 | 2687925.039 | 1251738.2207
98 | 2687902.292 | 1251770.6304
99 | 2687934.3077 | 1251738.8933
100 | 2687896.3377 | 1251770.8631
101 | 2687912.7349 | 1251770.2239
102 | 2687917.3279 | 1251770.0451
103 | 2687930.6218 | 1251769.5276
104 | 2687947.5586 | 1251770.7958
105 | 2687964.8095 | 1251772.0876
106 | 2687873.0739 | 1251774.3214
107 | 2687980.4867 | 1251774.261
108 | 2687953.5996 | 1251740.9368
109 | 2688109.8526 | 1251893.4015
110 | 2688058.1111 | 1251673.114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1