## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_72-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_72-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_72-2_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_72-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_72-2_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_72-2_0_3_node_104 | 0.4 | n |  | TRUE
6 | bus_LV_72-2_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_72-2_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_72-2_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_72-2_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_72-2_0_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_72-2_0_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_72-2_0_3_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_72-2_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_72-2_0_3_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_72-2_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_72-2_0_3_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_72-2_0_3_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_72-2_0_3_node_96 | 0.4 | n |  | TRUE
19 | bus_LV_72-2_0_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_72-2_0_3_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_72-2_0_3_node_97 | 0.4 | n |  | TRUE
22 | bus_LV_72-2_0_3_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_72-2_0_3_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_72-2_0_3_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_72-2_0_3_node_5 | 0.4 | n |  | TRUE
26 | bus_LV_72-2_0_3_node_6 | 0.4 | n |  | TRUE
27 | bus_LV_72-2_0_3_node_7 | 0.4 | n |  | TRUE
28 | bus_LV_72-2_0_3_node_8 | 0.4 | n |  | TRUE
29 | bus_LV_72-2_0_3_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_72-2_0_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_72-2_0_3_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_72-2_0_3_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_72-2_0_3_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_72-2_0_3_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_72-2_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_72-2_0_3_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_72-2_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_72-2_0_3_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_72-2_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_72-2_0_3_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_72-2_0_3_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_72-2_0_3_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_72-2_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_72-2_0_3_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_72-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_72-2_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_72-2_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_72-2_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_72-2_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_72-2_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_72-2_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_72-2_0_3_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_72-2_0_3_node_19 | 0.4 | n |  | TRUE
54 | bus_LV_72-2_0_3_node_20 | 0.4 | n |  | TRUE
55 | bus_LV_72-2_0_3_node_21 | 0.4 | n |  | TRUE
56 | bus_LV_72-2_0_3_node_22 | 0.4 | n |  | TRUE
57 | bus_LV_72-2_0_3_node_23 | 0.4 | n |  | TRUE
58 | bus_LV_72-2_0_3_node_24 | 0.4 | n |  | TRUE
59 | bus_LV_72-2_0_3_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_72-2_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_72-2_0_3_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_72-2_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_72-2_0_3_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_72-2_0_3_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_72-2_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_72-2_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_72-2_0_3_node_28 | 0.4 | n |  | TRUE
68 | bus_LV_72-2_0_3_node_29 | 0.4 | n |  | TRUE
69 | bus_LV_72-2_0_3_node_31 | 0.4 | n |  | TRUE
70 | bus_LV_72-2_0_3_node_32 | 0.4 | n |  | TRUE
71 | bus_LV_72-2_0_3_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_72-2_0_3_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_72-2_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_72-2_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_72-2_0_3_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_72-2_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_72-2_0_3_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_72-2_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_72-2_0_3_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_72-2_0_3_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_72-2_0_3_node_100 | 0.4 | n |  | TRUE
82 | bus_LV_72-2_0_3_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_72-2_0_3_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_72-2_0_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_72-2_0_3_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_72-2_0_3_node_105 | 0.4 | n |  | TRUE
87 | bus_LV_72-2_0_3_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_72-2_0_3_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_72-2_0_3_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_72-2_0_3_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_72-2_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_72-2_0_3_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_72-2_0_3_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_72-2_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_72-2_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_72-2_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_72-2_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_72-2_0_3_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_72-2_0_3_node_99 | 0.4 | n |  | TRUE
100 | bus_MV_618_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_72-2_0_3_load_0 | 0 | 0.011368 | 0.002849 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_72-2_0_3_load_3 | 2 | 0.0073373 | 0.0018389 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_72-2_0_3_load_104 | 5 | 0.0016724 | 0.00041913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_72-2_0_3_load_49 | 7 | 0.0025592 | 0.00064139 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_72-2_0_3_load_47 | 8 | 0.0010377 | 0.00026008 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_72-2_0_3_load_83 | 11 | 0.0047287 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_72-2_0_3_load_88 | 15 | 0.0023478 | 0.00058842 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_72-2_0_3_load_94 | 16 | 0.0026183 | 0.0006562 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_72-2_0_3_load_96 | 18 | 0.0062694 | 0.0015713 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_72-2_0_3_load_97 | 21 | 0.0060059 | 0.0015052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_72-2_0_3_load_102 | 24 | 0.0073436 | 0.0018405 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_72-2_0_3_load_5 | 25 | 0.0038723 | 0.0009705 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_72-2_0_3_load_6 | 26 | 0.00060592 | 0.00015186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_72-2_0_3_load_8 | 28 | 0.0045439 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_72-2_0_3_load_58 | 30 | 0.0037369 | 0.00093655 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_72-2_0_3_load_10 | 31 | 0.00083146 | 0.00020838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_72-2_0_3_load_11 | 32 | 0.0057454 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_72-2_0_3_load_12 | 33 | 0.0014577 | 0.00036534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_72-2_0_3_load_75 | 34 | 0.0018557 | 0.00046508 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_72-2_0_3_load_14 | 36 | 0.0073723 | 0.0018477 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_72-2_0_3_load_15 | 38 | 0.0095206 | 0.0023861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_72-2_0_3_load_76 | 42 | 0.0061828 | 0.0015495 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_72-2_0_3_load_45 | 43 | 0.012479 | 0.0031274 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_72-2_0_3_load_81 | 44 | 0.0073613 | 0.0018449 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_72-2_0_3_load_42 | 46 | 0.01098 | 0.0027519 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_72-2_0_3_load_36 | 48 | 0.0039403 | 0.00098753 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_72-2_0_3_load_44 | 52 | 0.005135 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_72-2_0_3_load_19 | 53 | 0.009331 | 0.0023386 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_72-2_0_3_load_22 | 56 | 0.0073982 | 0.0018542 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_72-2_0_3_load_23 | 57 | 0.0023807 | 0.00059667 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_72-2_0_3_load_35 | 60 | 0.0067695 | 0.0016966 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_72-2_0_3_load_60 | 61 | 0.0089817 | 0.002251 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_72-2_0_3_load_59 | 62 | 0.0030502 | 0.00076445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_72-2_0_3_load_34 | 63 | 0.0022543 | 0.00056498 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_72-2_0_3_load_62 | 65 | 0.0067574 | 0.0016936 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_72-2_0_3_load_61 | 66 | 0.0050581 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_72-2_0_3_load_28 | 67 | 0.003376 | 0.0008461 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_72-2_0_3_load_29 | 68 | 0.013312 | 0.0033364 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_72-2_0_3_load_32 | 70 | 0.0021011 | 0.00052659 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_72-2_0_3_load_33 | 71 | 0.0047928 | 0.0012012 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_72-2_0_3_load_80 | 74 | 0.0067457 | 0.0016906 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_72-2_0_3_load_63 | 76 | 0.0086444 | 0.0021665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_72-2_0_3_load_84 | 77 | 0.0023804 | 0.00059659 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_72-2_0_3_load_93 | 78 | 0.0022029 | 0.00055209 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_72-2_0_3_load_95 | 79 | 0.0059506 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_72-2_0_3_load_100 | 81 | 0.0019332 | 0.00048451 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_72-2_0_3_load_64 | 84 | 0.0054672 | 0.0013702 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_72-2_0_3_load_66 | 85 | 0.0076216 | 0.0019102 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_72-2_0_3_load_105 | 86 | 0.0039623 | 0.00099303 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_72-2_0_3_load_71 | 88 | 0.0035658 | 0.00089368 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_72-2_0_3_load_69 | 89 | 0.0056298 | 0.001411 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_72-2_0_3_load_68 | 90 | 0.0076204 | 0.0019099 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_72-2_0_3_load_72 | 91 | 0.0055117 | 0.0013814 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_72-2_0_3_load_79 | 93 | 0.0076935 | 0.0019282 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_72-2_0_3_load_87 | 95 | 0.0026205 | 0.00065676 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_72-2_0_3_load_89 | 96 | 0.010617 | 0.0026608 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_72-2_0_3_load_90 | 97 | 0.010193 | 0.0025547 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_72-2_0_3_load_98 | 98 | 0.001764 | 0.00044209 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_72-2_0_3_load_99 | 99 | 0.0017449 | 0.00043732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_72-2_0_3_line_0 |  | 0 | 1 | 0.026394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_72-2_0_3_line_1 |  | 1 | 2 | 0.0067268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_72-2_0_3_line_2 |  | 1 | 3 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_72-2_0_3_line_3 |  | 3 | 4 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_72-2_0_3_line_4 |  | 3 | 5 | 0.059227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_72-2_0_3_line_5 |  | 4 | 17 | 0.073044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_72-2_0_3_line_6 |  | 4 | 18 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_72-2_0_3_line_7 |  | 5 | 22 | 0.027268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_72-2_0_3_line_8 |  | 6 | 7 | 0.0056475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_72-2_0_3_line_9 |  | 6 | 8 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_72-2_0_3_line_10 |  | 7 | 14 | 0.0093774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_72-2_0_3_line_11 |  | 8 | 29 | 0.013279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_72-2_0_3_line_12 |  | 9 | 10 | 0.066105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_72-2_0_3_line_13 |  | 9 | 11 | 0.18987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_72-2_0_3_line_14 |  | 10 | 15 | 0.017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_72-2_0_3_line_15 |  | 11 | 77 | 0.26325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_72-2_0_3_line_16 |  | 12 | 13 | 0.037589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_72-2_0_3_line_17 |  | 12 | 14 | 0.006079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_72-2_0_3_line_18 |  | 13 | 16 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_72-2_0_3_line_19 |  | 14 | 35 | 0.026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_72-2_0_3_line_20 |  | 15 | 30 | 0.043982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_72-2_0_3_line_21 |  | 16 | 78 | 0.0068426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_72-2_0_3_line_22 |  | 17 | 24 | 0.042371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_72-2_0_3_line_23 |  | 18 | 79 | 0.030916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_72-2_0_3_line_24 |  | 19 | 20 | 0.026005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_72-2_0_3_line_25 |  | 19 | 21 | 0.022549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_72-2_0_3_line_26 |  | 20 | 42 | 0.041629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_72-2_0_3_line_27 |  | 21 | 80 | 0.014431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_72-2_0_3_line_28 |  | 22 | 23 | 0.12013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_72-2_0_3_line_29 |  | 23 | 81 | 0.015453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_72-2_0_3_line_30 |  | 23 | 82 | 0.007022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_72-2_0_3_line_31 |  | 25 | 26 | 0.0077975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_72-2_0_3_line_32 |  | 25 | 27 | 0.0092447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_72-2_0_3_line_33 |  | 26 | 28 | 0.035477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_72-2_0_3_line_34 |  | 27 | 29 | 0.031536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_72-2_0_3_line_35 |  | 29 | 30 | 0.01782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_72-2_0_3_line_36 |  | 31 | 32 | 0.0045918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_72-2_0_3_line_37 |  | 32 | 33 | 0.0076467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_72-2_0_3_line_38 |  | 33 | 34 | 0.0065346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_72-2_0_3_line_39 |  | 34 | 35 | 0.01876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_72-2_0_3_line_40 |  | 35 | 57 | 0.046367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_72-2_0_3_line_41 |  | 36 | 37 | 0.098016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_72-2_0_3_line_42 |  | 37 | 40 | 0.005002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_72-2_0_3_line_43 |  | 38 | 39 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_72-2_0_3_line_44 |  | 39 | 41 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_72-2_0_3_line_45 |  | 39 | 42 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_72-2_0_3_line_46 |  | 40 | 43 | 0.061943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_72-2_0_3_line_47 |  | 41 | 44 | 0.035891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_72-2_0_3_line_48 |  | 43 | 49 | 0.11049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_72-2_0_3_line_49 |  | 45 | 46 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_72-2_0_3_line_50 |  | 45 | 47 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_72-2_0_3_line_51 |  | 45 | 48 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_72-2_0_3_line_52 |  | 47 | 50 | 0.009895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_72-2_0_3_line_53 |  | 47 | 66 | 0.048115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_72-2_0_3_line_54 |  | 48 | 58 | 0.039687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_72-2_0_3_line_55 |  | 49 | 50 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_72-2_0_3_line_56 |  | 49 | 51 | 0.073166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_72-2_0_3_line_57 |  | 50 | 76 | 0.031924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_72-2_0_3_line_58 |  | 51 | 52 | 0.0058363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_72-2_0_3_line_59 |  | 53 | 54 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_72-2_0_3_line_60 |  | 53 | 55 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_72-2_0_3_line_61 |  | 54 | 56 | 0.0065208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_72-2_0_3_line_62 |  | 54 | 57 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_72-2_0_3_line_63 |  | 55 | 58 | 0.029789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_72-2_0_3_line_64 |  | 55 | 59 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_72-2_0_3_line_65 |  | 56 | 60 | 0.0060293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_72-2_0_3_line_66 |  | 59 | 61 | 0.055613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_72-2_0_3_line_67 |  | 59 | 62 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_72-2_0_3_line_68 |  | 60 | 63 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_72-2_0_3_line_69 |  | 63 | 71 | 0.0059126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_72-2_0_3_line_70 |  | 64 | 65 | 0.0067313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_72-2_0_3_line_71 |  | 64 | 66 | 0.011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_72-2_0_3_line_72 |  | 65 | 75 | 0.021726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_72-2_0_3_line_73 |  | 67 | 68 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_72-2_0_3_line_74 |  | 68 | 69 | 0.024482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_72-2_0_3_line_75 |  | 69 | 70 | 0.023789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_72-2_0_3_line_76 |  | 70 | 71 | 0.0078761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_72-2_0_3_line_77 |  | 72 | 73 | 0.005652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_72-2_0_3_line_78 |  | 72 | 74 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_72-2_0_3_line_79 |  | 73 | 86 | 0.020285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_72-2_0_3_line_80 |  | 73 | 75 | 0.037865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_72-2_0_3_line_81 |  | 74 | 92 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_72-2_0_3_line_82 |  | 75 | 83 | 0.016465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_72-2_0_3_line_83 |  | 77 | 94 | 0.09557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_72-2_0_3_line_84 |  | 78 | 79 | 0.055773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_72-2_0_3_line_85 |  | 80 | 93 | 0.016276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_72-2_0_3_line_86 |  | 81 | 98 | 0.037639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_72-2_0_3_line_87 |  | 82 | 96 | 0.019938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_72-2_0_3_line_88 |  | 83 | 85 | 0.037529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_72-2_0_3_line_89 |  | 83 | 84 | 0.010993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_72-2_0_3_line_90 |  | 87 | 88 | 0.0096974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_72-2_0_3_line_91 |  | 87 | 89 | 0.0080746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_72-2_0_3_line_92 |  | 88 | 91 | 0.0014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_72-2_0_3_line_93 |  | 89 | 90 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_72-2_0_3_line_94 |  | 91 | 92 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_72-2_0_3_line_95 |  | 92 | 93 | 0.018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_72-2_0_3_line_96 |  | 94 | 95 | 0.12555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_72-2_0_3_line_97 |  | 96 | 97 | 0.0366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_72-2_0_3_line_98 |  | 98 | 99 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_72-2_0_3_trafo_60 | 0.63 MVA 20/0.4 kV | 100 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2683673.1064 | 1260650.1802 | 2683662.0006 | 1260646.7428 | 2683648.016 | 1260641.9962
1 | 2683673.1064 | 1260650.1802 | 2683675.2177 | 1260643.7934
2 | 2683666.3862 | 1260670.7679 | 2683667.8937 | 1260665.9632 | 2683673.1064 | 1260650.1802
3 | 2683666.3862 | 1260670.7679 | 2683665.1626 | 1260674.6869 | 2683676.7212 | 1260678.609 | 2683675.3691 | 1260683.0822
4 | 2683666.3862 | 1260670.7679 | 2683686.2723 | 1260674.7299 | 2683704.4384 | 1260680.4024 | 2683716.0741 | 1260687.3946 | 2683722.1088 | 1260689.35
5 | 2683675.3691 | 1260683.0822 | 2683744.9245 | 1260706.0284
6 | 2683675.3691 | 1260683.0822 | 2683669.5869 | 1260702.2075
7 | 2683748.0488 | 1260697.7551 | 2683722.1088 | 1260689.35
8 | 2683587.9218 | 1260648.8753 | 2683585.8391 | 1260654.1248
9 | 2683587.9218 | 1260648.8753 | 2683594.3947 | 1260633.0208
10 | 2683582.3809 | 1260662.8412 | 2683585.8391 | 1260654.1248
11 | 2683599.4139 | 1260620.727 | 2683594.3947 | 1260633.0208
12 | 2683633.5033 | 1260484.2806 | 2683631.5783 | 1260491.9594 | 2683631.3616 | 1260500.3517 | 2683634.2975 | 1260515.516 | 2683635.2404 | 1260523.4578 | 2683633.8418 | 1260536.5481 | 2683631.9131 | 1260540.2237 | 2683624.8542 | 1260545.8617
13 | 2683633.5033 | 1260484.2806 | 2683634.574 | 1260479.9813 | 2683635.223 | 1260474.0637 | 2683634.4917 | 1260464.4903 | 2683610.4491 | 1260362.1157 | 2683619.4919 | 1260298.0287
14 | 2683624.8542 | 1260545.8617 | 2683622.7949 | 1260557.7084 | 2683621.3983 | 1260562.9986
15 | 2683619.4919 | 1260298.0287 | 2683629.7909 | 1260225.0383 | 2683636.9421 | 1260193.7151 | 2683648.1254 | 1260158.7016 | 2683686.9857 | 1260064.0666 | 2683696.7422 | 1260048.5292
16 | 2683588.0001 | 1260665.2002 | 2683589.8262 | 1260660.7781 | 2683592.3753 | 1260658.5235 | 2683594.6946 | 1260657.6 | 2683598.0643 | 1260657.5476 | 2683617.1795 | 1260663.8003 | 2683620.2171 | 1260665.3778
17 | 2683582.3809 | 1260662.8412 | 2683588.0001 | 1260665.2002
18 | 2683620.2171 | 1260665.3778 | 2683615.4934 | 1260681.2344
19 | 2683564.1714 | 1260671.9578 | 2683568.9855 | 1260671.5588 | 2683572.3631 | 1260672.0069 | 2683578.2977 | 1260673.9144 | 2683582.3809 | 1260662.8412
20 | 2683605.9532 | 1260604.1498 | 2683612.9061 | 1260586.5244 | 2683620.151 | 1260567.7233 | 2683621.3983 | 1260562.9986
21 | 2683611.0148 | 1260686.3123 | 2683611.0166 | 1260686.0304 | 2683615.4934 | 1260681.2344
22 | 2683744.9245 | 1260706.0284 | 2683742.339 | 1260713.5088 | 2683739.7589 | 1260721.6675 | 2683739.2168 | 1260723.2277 | 2683715.2228 | 1260726.7238
23 | 2683650.1906 | 1260712.5674 | 2683665.1456 | 1260716.8972 | 2683669.5869 | 1260702.2075
24 | 2683750.1474 | 1260810.8504 | 2683733.2369 | 1260791.0513
25 | 2683733.2369 | 1260791.0513 | 2683724.5268 | 1260789.3044 | 2683711.5448 | 1260785.0373
26 | 2683750.1474 | 1260810.8504 | 2683715.7895 | 1260834.3564
27 | 2683697.8358 | 1260780.5312 | 2683711.5448 | 1260785.0373
28 | 2683697.315 | 1260606.4776 | 2683731.4234 | 1260634.3818 | 2683759.4188 | 1260665.5021 | 2683748.0488 | 1260697.7551
29 | 2683697.315 | 1260606.4776 | 2683707.891 | 1260595.21
30 | 2683697.315 | 1260606.4776 | 2683694.0066 | 1260604.3291 | 2683691.2298 | 1260602.9666
31 | 2683575.8608 | 1260597.1692 | 2683579.3334 | 1260590.1876
32 | 2683571.7438 | 1260605.4465 | 2683575.8608 | 1260597.1692
33 | 2683579.3334 | 1260590.1876 | 2683592.51 | 1260563.6963 | 2683594.6513 | 1260558.2097
34 | 2683571.7438 | 1260605.4465 | 2683599.4139 | 1260620.727
35 | 2683599.4139 | 1260620.727 | 2683605.9532 | 1260604.1498
36 | 2683552.5495 | 1260639.7257 | 2683550.221 | 1260643.6833 | 2683550.221 | 1260643.6833
37 | 2683550.221 | 1260643.6833 | 2683549.5707 | 1260651.3023
38 | 2683549.5707 | 1260651.3023 | 2683549.5707 | 1260651.3023 | 2683553.3426 | 1260656.6384
39 | 2683564.1714 | 1260671.9578 | 2683553.3426 | 1260656.6384
40 | 2683564.1714 | 1260671.9578 | 2683556.4602 | 1260676.3079 | 2683546.1548 | 1260682.367 | 2683533.042 | 1260690.2881 | 2683525.3644 | 1260697.0627
41 | 2683482.319 | 1260995.6871 | 2683546.4325 | 1260946.9986 | 2683560.7228 | 1260936.8793
42 | 2683477.5162 | 1260994.2404 | 2683482.319 | 1260995.6871
43 | 2683699.1435 | 1260845.7447 | 2683685.3765 | 1260855.1838
44 | 2683699.1435 | 1260845.7447 | 2683685.3397 | 1260826.3567
45 | 2683699.1435 | 1260845.7447 | 2683715.7895 | 1260834.3564
46 | 2683477.5162 | 1260994.2404 | 2683479.0696 | 1260986.7009 | 2683483.8585 | 1260970.4559 | 2683489.9743 | 1260947.769 | 2683493.5321 | 1260934.423
47 | 2683685.3397 | 1260826.3567 | 2683659.3991 | 1260843.392 | 2683654.613 | 1260842.5648
48 | 2683527.0083 | 1260829.8445 | 2683526.3397 | 1260832.893 | 2683526.3778 | 1260838.1977 | 2683522.4988 | 1260851.9091 | 2683516.8144 | 1260861.6476 | 2683513.5719 | 1260868.7073 | 2683505.941 | 1260896.7436 | 2683497.5582 | 1260919.3206 | 2683493.5321 | 1260934.423
49 | 2683515.4803 | 1260805.0959 | 2683526.3912 | 1260808.9752
50 | 2683526.3912 | 1260808.9752 | 2683534.9926 | 1260812.0212 | 2683544.7787 | 1260815.4954
51 | 2683526.3912 | 1260808.9752 | 2683532.1151 | 1260790.575 | 2683534.4955 | 1260784.0982
52 | 2683541.744 | 1260824.9154 | 2683544.7787 | 1260815.4954
53 | 2683544.7787 | 1260815.4954 | 2683548.9482 | 1260802.5664 | 2683550.8585 | 1260803.3829 | 2683557.5175 | 1260799.3516 | 2683569.3691 | 1260801.1871 | 2683572.6529 | 1260799.2097 | 2683573.9298 | 1260790.4599
54 | 2683549.5321 | 1260747.3763 | 2683545.4363 | 1260757.215 | 2683541.8788 | 1260765.7714 | 2683540.529 | 1260769.0215 | 2683536.7865 | 1260777.8644 | 2683534.4955 | 1260784.0982
55 | 2683527.0083 | 1260829.8445 | 2683535.3973 | 1260829.2514 | 2683541.744 | 1260824.9154
56 | 2683460.8486 | 1260853.6295 | 2683508.7598 | 1260827.3628 | 2683512.419 | 1260827.0809 | 2683520.2251 | 1260828.8035 | 2683527.0083 | 1260829.8445
57 | 2683541.744 | 1260824.9154 | 2683550.4917 | 1260826.6736 | 2683568.2182 | 1260829.8264 | 2683573.1375 | 1260830.7003
58 | 2683460.8486 | 1260853.6295 | 2683455.5682 | 1260856.1154
59 | 2683518.4284 | 1260713.2329 | 2683533.7349 | 1260720.321
60 | 2683544.7326 | 1260725.4137 | 2683533.7349 | 1260720.321
61 | 2683518.4284 | 1260713.2329 | 2683514.5011 | 1260718.4384
62 | 2683518.4284 | 1260713.2329 | 2683525.3644 | 1260697.0627
63 | 2683544.7326 | 1260725.4137 | 2683555.6654 | 1260730.9501 | 2683549.5321 | 1260747.3763
64 | 2683544.7326 | 1260725.4137 | 2683555.6654 | 1260730.9501 | 2683557.8927 | 1260725.3328 | 2683564.541 | 1260727.9287
65 | 2683514.5011 | 1260718.4384 | 2683510.8698 | 1260723.2515
66 | 2683564.541 | 1260727.9287 | 2683571.7347 | 1260730.3321 | 2683598.1635 | 1260729.427 | 2683610.1534 | 1260732.154 | 2683619.3321 | 1260730.7348
67 | 2683564.541 | 1260727.9287 | 2683568.1513 | 1260717.2492 | 2683570.0025 | 1260712.3578
68 | 2683494.947 | 1260732.9215 | 2683498.8029 | 1260731.9149 | 2683508.1519 | 1260726.854 | 2683510.8698 | 1260723.2515
69 | 2683494.947 | 1260732.9215 | 2683489.2262 | 1260734.4151 | 2683489.2262 | 1260734.4151
70 | 2683575.5986 | 1260779.0245 | 2683582.2205 | 1260780.2335
71 | 2683575.5986 | 1260779.0245 | 2683573.9298 | 1260790.4599
72 | 2683601.4342 | 1260787.5405 | 2683598.308 | 1260783.1707 | 2683582.2205 | 1260780.2335
73 | 2683432.8978 | 1260689.4439 | 2683446.0138 | 1260713.9139
74 | 2683457.5797 | 1260735.4917 | 2683446.0138 | 1260713.9139
75 | 2683457.5797 | 1260735.4917 | 2683474.3177 | 1260735.0163 | 2683481.3564 | 1260734.7324
76 | 2683489.2262 | 1260734.4151 | 2683481.3564 | 1260734.7324
77 | 2683630.6416 | 1260765.4694 | 2683633.1252 | 1260760.3895
78 | 2683633.1252 | 1260760.3895 | 2683652.9218 | 1260766.5495
79 | 2683610.7477 | 1260766.3445 | 2683616.9757 | 1260767.7447 | 2683621.4666 | 1260767.8082 | 2683630.6416 | 1260765.4694
80 | 2683601.4342 | 1260787.5405 | 2683618.9632 | 1260778.559 | 2683624.6591 | 1260775.4815 | 2683628.391 | 1260770.0634 | 2683630.6416 | 1260765.4694
81 | 2683664.6102 | 1260770.1866 | 2683652.9218 | 1260766.5495
82 | 2683601.4342 | 1260787.5405 | 2683611.0272 | 1260800.942
83 | 2683744.9054 | 1259966.5549 | 2683744.669 | 1259969.4093 | 2683744.0453 | 1259972.4695 | 2683741.6056 | 1259977.083 | 2683696.7422 | 1260048.5292
84 | 2683611.0148 | 1260686.3123 | 2683610.9152 | 1260701.1963 | 2683650.1906 | 1260712.5674
85 | 2683697.8358 | 1260780.5312 | 2683682.2959 | 1260775.6929
86 | 2683737.0401 | 1260602.7714 | 2683723.2409 | 1260590.0316 | 2683720.1709 | 1260588.0755 | 2683718.0589 | 1260587.6675 | 2683713.775 | 1260588.9412 | 2683707.891 | 1260595.21
87 | 2683691.2298 | 1260602.9666 | 2683686.1625 | 1260600.4819 | 2683672.6039 | 1260595.956
88 | 2683619.7272 | 1260830.0542 | 2683626.6647 | 1260824.9816 | 2683626.3478 | 1260822.3418 | 2683611.0272 | 1260800.942
89 | 2683611.0272 | 1260800.942 | 2683602.3884 | 1260807.741
90 | 2683655.0685 | 1260800.0415 | 2683657.9736 | 1260790.7895
91 | 2683655.0685 | 1260800.0415 | 2683652.6485 | 1260807.7449
92 | 2683657.9736 | 1260790.7895 | 2683658.4178 | 1260789.3749
93 | 2683640.9116 | 1260818.1052 | 2683651.9906 | 1260809.839 | 2683652.6485 | 1260807.7449
94 | 2683664.6102 | 1260770.1866 | 2683662.045 | 1260777.834 | 2683660.8771 | 1260781.5426 | 2683658.4178 | 1260789.3749
95 | 2683664.6102 | 1260770.1866 | 2683682.2959 | 1260775.6929
96 | 2683744.9054 | 1259966.5549 | 2683748.3991 | 1259968.9507 | 2683749.5948 | 1259972.8706 | 2683727.3022 | 1260059.9226 | 2683721.4257 | 1260086.6409
97 | 2683672.6039 | 1260595.956 | 2683648.9406 | 1260588.0571 | 2683646.6493 | 1260585.4004 | 2683649.2552 | 1260577.6832
98 | 2683737.0401 | 1260602.7714 | 2683747.3455 | 1260612.2858

## bus_geodata
| x | y | coords
0 | 2683648.016 | 1260641.9962
1 | 2683673.1064 | 1260650.1802
2 | 2683675.2177 | 1260643.7934
3 | 2683666.3862 | 1260670.7679
4 | 2683675.3691 | 1260683.0822
5 | 2683722.1088 | 1260689.35
6 | 2683587.9218 | 1260648.8753
7 | 2683585.8391 | 1260654.1248
8 | 2683594.3947 | 1260633.0208
9 | 2683633.5033 | 1260484.2806
10 | 2683624.8542 | 1260545.8617
11 | 2683619.4919 | 1260298.0287
12 | 2683588.0001 | 1260665.2002
13 | 2683620.2171 | 1260665.3778
14 | 2683582.3809 | 1260662.8412
15 | 2683621.3983 | 1260562.9986
16 | 2683615.4934 | 1260681.2344
17 | 2683744.9245 | 1260706.0284
18 | 2683669.5869 | 1260702.2075
19 | 2683733.2369 | 1260791.0513
20 | 2683750.1474 | 1260810.8504
21 | 2683711.5448 | 1260785.0373
22 | 2683748.0488 | 1260697.7551
23 | 2683697.315 | 1260606.4776
24 | 2683715.2228 | 1260726.7238
25 | 2683575.8608 | 1260597.1692
26 | 2683579.3334 | 1260590.1876
27 | 2683571.7438 | 1260605.4465
28 | 2683594.6513 | 1260558.2097
29 | 2683599.4139 | 1260620.727
30 | 2683605.9532 | 1260604.1498
31 | 2683552.5495 | 1260639.7257
32 | 2683550.221 | 1260643.6833
33 | 2683549.5707 | 1260651.3023
34 | 2683553.3426 | 1260656.6384
35 | 2683564.1714 | 1260671.9578
36 | 2683560.7228 | 1260936.8793
37 | 2683482.319 | 1260995.6871
38 | 2683685.3765 | 1260855.1838
39 | 2683699.1435 | 1260845.7447
40 | 2683477.5162 | 1260994.2404
41 | 2683685.3397 | 1260826.3567
42 | 2683715.7895 | 1260834.3564
43 | 2683493.5321 | 1260934.423
44 | 2683654.613 | 1260842.5648
45 | 2683526.3912 | 1260808.9752
46 | 2683515.4803 | 1260805.0959
47 | 2683544.7787 | 1260815.4954
48 | 2683534.4955 | 1260784.0982
49 | 2683527.0083 | 1260829.8445
50 | 2683541.744 | 1260824.9154
51 | 2683460.8486 | 1260853.6295
52 | 2683455.5682 | 1260856.1154
53 | 2683533.7349 | 1260720.321
54 | 2683518.4284 | 1260713.2329
55 | 2683544.7326 | 1260725.4137
56 | 2683514.5011 | 1260718.4384
57 | 2683525.3644 | 1260697.0627
58 | 2683549.5321 | 1260747.3763
59 | 2683564.541 | 1260727.9287
60 | 2683510.8698 | 1260723.2515
61 | 2683619.3321 | 1260730.7348
62 | 2683570.0025 | 1260712.3578
63 | 2683494.947 | 1260732.9215
64 | 2683575.5986 | 1260779.0245
65 | 2683582.2205 | 1260780.2335
66 | 2683573.9298 | 1260790.4599
67 | 2683432.8978 | 1260689.4439
68 | 2683446.0138 | 1260713.9139
69 | 2683457.5797 | 1260735.4917
70 | 2683481.3564 | 1260734.7324
71 | 2683489.2262 | 1260734.4151
72 | 2683633.1252 | 1260760.3895
73 | 2683630.6416 | 1260765.4694
74 | 2683652.9218 | 1260766.5495
75 | 2683601.4342 | 1260787.5405
76 | 2683573.1375 | 1260830.7003
77 | 2683696.7422 | 1260048.5292
78 | 2683611.0148 | 1260686.3123
79 | 2683650.1906 | 1260712.5674
80 | 2683697.8358 | 1260780.5312
81 | 2683707.891 | 1260595.21
82 | 2683691.2298 | 1260602.9666
83 | 2683611.0272 | 1260800.942
84 | 2683602.3884 | 1260807.741
85 | 2683619.7272 | 1260830.0542
86 | 2683610.7477 | 1260766.3445
87 | 2683655.0685 | 1260800.0415
88 | 2683657.9736 | 1260790.7895
89 | 2683652.6485 | 1260807.7449
90 | 2683640.9116 | 1260818.1052
91 | 2683658.4178 | 1260789.3749
92 | 2683664.6102 | 1260770.1866
93 | 2683682.2959 | 1260775.6929
94 | 2683744.9054 | 1259966.5549
95 | 2683721.4257 | 1260086.6409
96 | 2683672.6039 | 1260595.956
97 | 2683649.2552 | 1260577.6832
98 | 2683737.0401 | 1260602.7714
99 | 2683747.3455 | 1260612.2858
100 | 2683644.2668 | 1260715.9903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1