## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_72-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_72-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_72-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_72-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_72-3_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_72-3_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_72-3_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_72-3_0_3_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_72-3_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_72-3_0_3_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_72-3_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_72-3_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_72-3_0_3_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_72-3_0_3_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_72-3_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_72-3_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_72-3_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_72-3_0_3_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_72-3_0_3_node_63 | 0.4 | n |  | TRUE
19 | bus_LV_72-3_0_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_72-3_0_3_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_72-3_0_3_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_72-3_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_72-3_0_3_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_72-3_0_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_72-3_0_3_node_60 | 0.4 | n |  | TRUE
26 | bus_LV_72-3_0_3_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_72-3_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_72-3_0_3_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_72-3_0_3_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_72-3_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_72-3_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_72-3_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_72-3_0_3_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_72-3_0_3_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_72-3_0_3_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_72-3_0_3_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_72-3_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_72-3_0_3_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_72-3_0_3_node_15 | 0.4 | n |  | TRUE
40 | bus_LV_72-3_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_72-3_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_72-3_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_72-3_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_72-3_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_72-3_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_72-3_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_72-3_0_3_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_72-3_0_3_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_72-3_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_72-3_0_3_node_131 | 0.4 | n |  | TRUE
51 | bus_LV_72-3_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_72-3_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_72-3_0_3_node_132 | 0.4 | n |  | TRUE
54 | bus_LV_72-3_0_3_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_72-3_0_3_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_72-3_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_72-3_0_3_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_72-3_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_72-3_0_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_72-3_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_72-3_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_72-3_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_72-3_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_72-3_0_3_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_72-3_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_72-3_0_3_node_106 | 0.4 | n |  | TRUE
67 | bus_LV_72-3_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_72-3_0_3_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_72-3_0_3_node_130 | 0.4 | n |  | TRUE
70 | bus_LV_72-3_0_3_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_72-3_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_72-3_0_3_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_72-3_0_3_node_105 | 0.4 | n |  | TRUE
74 | bus_LV_72-3_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_72-3_0_3_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_72-3_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_72-3_0_3_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_72-3_0_3_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_72-3_0_3_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_72-3_0_3_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_72-3_0_3_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_72-3_0_3_node_111 | 0.4 | n |  | TRUE
83 | bus_LV_72-3_0_3_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_72-3_0_3_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_72-3_0_3_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_72-3_0_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_72-3_0_3_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_72-3_0_3_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_72-3_0_3_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_72-3_0_3_node_114 | 0.4 | n |  | TRUE
91 | bus_LV_72-3_0_3_node_115 | 0.4 | n |  | TRUE
92 | bus_LV_72-3_0_3_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_72-3_0_3_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_72-3_0_3_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_72-3_0_3_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_72-3_0_3_node_113 | 0.4 | n |  | TRUE
97 | bus_LV_72-3_0_3_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_72-3_0_3_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_72-3_0_3_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_72-3_0_3_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_72-3_0_3_node_123 | 0.4 | n |  | TRUE
102 | bus_LV_72-3_0_3_node_122 | 0.4 | n |  | TRUE
103 | bus_LV_72-3_0_3_node_134 | 0.4 | n |  | TRUE
104 | bus_LV_72-3_0_3_node_119 | 0.4 | n |  | TRUE
105 | bus_LV_72-3_0_3_node_120 | 0.4 | n |  | TRUE
106 | bus_LV_72-3_0_3_node_121 | 0.4 | n |  | TRUE
107 | bus_MV_468_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_72-3_0_3_load_0 | 0 | 0.019268 | 0.004829 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_72-3_0_3_load_1 | 1 | 0.010503 | 0.0026323 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_72-3_0_3_load_3 | 3 | 0.011835 | 0.0029662 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_72-3_0_3_load_80 | 7 | 0.0050443 | 0.0012642 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_72-3_0_3_load_55 | 8 | 0.019736 | 0.0049462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_72-3_0_3_load_78 | 9 | 0.016 | 0.0040099 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_72-3_0_3_load_72 | 12 | 0.0044254 | 0.0011091 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_72-3_0_3_load_74 | 13 | 0.011608 | 0.0029093 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_72-3_0_3_load_65 | 14 | 0.015669 | 0.0039271 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_72-3_0_3_load_63 | 18 | 0.00015127 | 3.7912e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_72-3_0_3_load_79 | 21 | 0.011427 | 0.0028639 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_72-3_0_3_load_61 | 23 | 0.018821 | 0.004717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_72-3_0_3_load_60 | 25 | 0.001536 | 0.00038496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_72-3_0_3_load_56 | 26 | 0.00092028 | 0.00023064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_72-3_0_3_load_64 | 27 | 0.010584 | 0.0026526 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_72-3_0_3_load_71 | 28 | 0.0054538 | 0.0013668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_72-3_0_3_load_73 | 29 | 0.0040166 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_72-3_0_3_load_33 | 31 | 0.00067622 | 0.00016948 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_72-3_0_3_load_11 | 33 | 0.00049538 | 0.00012415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_72-3_0_3_load_28 | 37 | 0.0020107 | 0.00050392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_72-3_0_3_load_133 | 38 | 0.00018663 | 4.6775e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_72-3_0_3_load_29 | 41 | 0.0068856 | 0.0017257 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_72-3_0_3_load_19 | 44 | 0.00063335 | 0.00015873 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_72-3_0_3_load_25 | 45 | 0.0007743 | 0.00019406 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_72-3_0_3_load_70 | 48 | 0.0066381 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_72-3_0_3_load_26 | 49 | 0.00015116 | 3.7885e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_72-3_0_3_load_131 | 50 | 0.00022272 | 5.5819e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_72-3_0_3_load_32 | 52 | 0.0011631 | 0.00029151 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_72-3_0_3_load_132 | 53 | 0.00087934 | 0.00022038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_72-3_0_3_load_66 | 55 | 0.014056 | 0.0035227 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_72-3_0_3_load_82 | 57 | 0.0008525 | 0.00021366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_72-3_0_3_load_81 | 58 | 0.0055648 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_72-3_0_3_load_83 | 59 | 0.0064396 | 0.0016139 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_72-3_0_3_load_43 | 60 | 0.0054584 | 0.001368 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_72-3_0_3_load_44 | 61 | 0.0054585 | 0.001368 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_72-3_0_3_load_45 | 62 | 0.0025194 | 0.00063142 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_72-3_0_3_load_47 | 64 | 0.0027895 | 0.00069913 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_72-3_0_3_load_106 | 66 | 0.0062253 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_72-3_0_3_load_50 | 67 | 0.0019667 | 0.0004929 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_72-3_0_3_load_130 | 69 | 0.0014026 | 0.00035152 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_72-3_0_3_load_124 | 70 | 0.001189 | 0.00029799 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_72-3_0_3_load_57 | 71 | 0.00030167 | 7.5605e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_72-3_0_3_load_104 | 72 | 0.00023823 | 5.9706e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_72-3_0_3_load_105 | 73 | 0.0025907 | 0.0006493 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_72-3_0_3_load_68 | 74 | 0.014773 | 0.0037023 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_72-3_0_3_load_76 | 75 | 0.012805 | 0.0032092 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_72-3_0_3_load_75 | 76 | 0.005087 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_72-3_0_3_load_77 | 77 | 0.015963 | 0.0040007 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_72-3_0_3_load_84 | 78 | 0.0047846 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_72-3_0_3_load_85 | 79 | 0.0024667 | 0.00061821 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_72-3_0_3_load_86 | 80 | 0.00097814 | 0.00024514 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_72-3_0_3_load_111 | 82 | 0.0027204 | 0.00068181 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_72-3_0_3_load_109 | 83 | 0.0029472 | 0.00073863 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_72-3_0_3_load_92 | 84 | 0.0026796 | 0.00067156 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_72-3_0_3_load_93 | 85 | 0.0045572 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_72-3_0_3_load_96 | 88 | 0.011406 | 0.0028586 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_72-3_0_3_load_114 | 90 | 0.011418 | 0.0028616 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_72-3_0_3_load_115 | 91 | 0.0028419 | 0.00071223 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_72-3_0_3_load_101 | 93 | 0.013293 | 0.0033316 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_72-3_0_3_load_97 | 94 | 0.0061585 | 0.0015435 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_72-3_0_3_load_113 | 96 | 0.01188 | 0.0029773 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_72-3_0_3_load_112 | 98 | 0.01173 | 0.0029399 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_72-3_0_3_load_98 | 99 | 0.005214 | 0.0013067 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_72-3_0_3_load_123 | 101 | 0.0014715 | 0.0003688 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_72-3_0_3_load_134 | 103 | 0.0067618 | 0.0016947 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_72-3_0_3_load_119 | 104 | 0.0032831 | 0.00082282 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_72-3_0_3_load_120 | 105 | 0.0030765 | 0.00077105 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_72-3_0_3_load_121 | 106 | 0.0018877 | 0.0004731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_72-3_0_3_line_0 |  | 0 | 1 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_72-3_0_3_line_1 |  | 0 | 2 | 0.029864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_72-3_0_3_line_2 |  | 1 | 3 | 0.013661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_72-3_0_3_line_3 |  | 2 | 4 | 0.004163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_72-3_0_3_line_4 |  | 3 | 5 | 0.017623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_72-3_0_3_line_5 |  | 4 | 8 | 0.040296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_72-3_0_3_line_6 |  | 4 | 10 | 0.029711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_72-3_0_3_line_7 |  | 5 | 11 | 0.005527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_72-3_0_3_line_8 |  | 5 | 12 | 0.049078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_72-3_0_3_line_9 |  | 6 | 7 | 0.01636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_72-3_0_3_line_10 |  | 6 | 8 | 0.005604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_72-3_0_3_line_11 |  | 6 | 9 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_72-3_0_3_line_12 |  | 7 | 19 | 0.074769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_72-3_0_3_line_13 |  | 8 | 20 | 0.048527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_72-3_0_3_line_14 |  | 9 | 21 | 0.023731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_72-3_0_3_line_15 |  | 10 | 14 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_72-3_0_3_line_16 |  | 11 | 13 | 0.019076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_72-3_0_3_line_17 |  | 12 | 28 | 0.014707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_72-3_0_3_line_18 |  | 13 | 29 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_72-3_0_3_line_19 |  | 14 | 27 | 0.02865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_72-3_0_3_line_20 |  | 15 | 16 | 0.17968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_72-3_0_3_line_21 |  | 15 | 17 | 0.13177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_72-3_0_3_line_22 |  | 15 | 18 | 0.03976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_72-3_0_3_line_23 |  | 16 | 30 | 0.055489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_72-3_0_3_line_24 |  | 16 | 31 | 0.073199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_72-3_0_3_line_25 |  | 17 | 32 | 0.052903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_72-3_0_3_line_26 |  | 17 | 25 | 0.12471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_72-3_0_3_line_27 |  | 19 | 63 | 0.039377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_72-3_0_3_line_28 |  | 20 | 67 | 0.051788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_72-3_0_3_line_29 |  | 22 | 23 | 0.096232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_72-3_0_3_line_30 |  | 22 | 24 | 0.038142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_72-3_0_3_line_31 |  | 22 | 25 | 0.058045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_72-3_0_3_line_32 |  | 23 | 27 | 0.0060324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_72-3_0_3_line_33 |  | 24 | 26 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_72-3_0_3_line_34 |  | 26 | 71 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_72-3_0_3_line_35 |  | 28 | 48 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_72-3_0_3_line_36 |  | 30 | 50 | 0.14076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_72-3_0_3_line_37 |  | 30 | 53 | 0.0037162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_72-3_0_3_line_38 |  | 32 | 72 | 0.058521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_72-3_0_3_line_39 |  | 33 | 34 | 0.035402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_72-3_0_3_line_40 |  | 34 | 35 | 0.08106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_72-3_0_3_line_41 |  | 34 | 36 | 0.26205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_72-3_0_3_line_42 |  | 35 | 37 | 0.28665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_72-3_0_3_line_43 |  | 36 | 38 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_72-3_0_3_line_44 |  | 37 | 41 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_72-3_0_3_line_45 |  | 38 | 39 | 0.0051928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_72-3_0_3_line_46 |  | 39 | 40 | 0.089404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_72-3_0_3_line_47 |  | 40 | 43 | 0.050772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_72-3_0_3_line_48 |  | 41 | 51 | 0.11944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_72-3_0_3_line_49 |  | 42 | 43 | 0.071641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_72-3_0_3_line_50 |  | 42 | 44 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_72-3_0_3_line_51 |  | 43 | 45 | 0.0017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_72-3_0_3_line_52 |  | 45 | 49 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_72-3_0_3_line_53 |  | 46 | 47 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_72-3_0_3_line_54 |  | 46 | 48 | 0.010794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_72-3_0_3_line_55 |  | 47 | 54 | 0.051995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_72-3_0_3_line_56 |  | 47 | 55 | 0.0061844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_72-3_0_3_line_57 |  | 51 | 52 | 0.0053503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_72-3_0_3_line_58 |  | 52 | 53 | 0.046393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_72-3_0_3_line_59 |  | 54 | 75 | 0.034963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_72-3_0_3_line_60 |  | 55 | 74 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_72-3_0_3_line_61 |  | 56 | 57 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_72-3_0_3_line_62 |  | 56 | 58 | 0.026442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_72-3_0_3_line_63 |  | 57 | 59 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_72-3_0_3_line_64 |  | 59 | 78 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_72-3_0_3_line_65 |  | 60 | 61 | 0.026658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_72-3_0_3_line_66 |  | 60 | 62 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_72-3_0_3_line_67 |  | 61 | 63 | 0.018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_72-3_0_3_line_68 |  | 62 | 64 | 0.0084631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_72-3_0_3_line_69 |  | 63 | 65 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_72-3_0_3_line_70 |  | 65 | 66 | 0.035615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_72-3_0_3_line_71 |  | 66 | 68 | 0.041413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_72-3_0_3_line_72 |  | 68 | 97 | 0.039868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_72-3_0_3_line_73 |  | 69 | 70 | 0.026911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_72-3_0_3_line_74 |  | 70 | 102 | 0.025808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_72-3_0_3_line_75 |  | 72 | 73 | 0.05643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_72-3_0_3_line_76 |  | 75 | 76 | 0.0017947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_72-3_0_3_line_77 |  | 76 | 77 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_72-3_0_3_line_78 |  | 78 | 79 | 0.031054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_72-3_0_3_line_79 |  | 79 | 80 | 0.0062962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_72-3_0_3_line_80 |  | 80 | 81 | 0.046573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_72-3_0_3_line_81 |  | 81 | 82 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_72-3_0_3_line_82 |  | 81 | 83 | 0.017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_72-3_0_3_line_83 |  | 82 | 103 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_72-3_0_3_line_84 |  | 83 | 95 | 0.033396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_72-3_0_3_line_85 |  | 84 | 85 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_72-3_0_3_line_86 |  | 84 | 86 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_72-3_0_3_line_87 |  | 86 | 87 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_72-3_0_3_line_88 |  | 86 | 88 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_72-3_0_3_line_89 |  | 87 | 89 | 0.031938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_72-3_0_3_line_90 |  | 87 | 90 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_72-3_0_3_line_91 |  | 88 | 91 | 0.0068168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_72-3_0_3_line_92 |  | 89 | 95 | 0.022751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_72-3_0_3_line_93 |  | 89 | 96 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_72-3_0_3_line_94 |  | 92 | 93 | 0.0034662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_72-3_0_3_line_95 |  | 92 | 94 | 0.029372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_72-3_0_3_line_96 |  | 93 | 97 | 0.018587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_72-3_0_3_line_97 |  | 94 | 99 | 0.016568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_72-3_0_3_line_98 |  | 95 | 98 | 0.002346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_72-3_0_3_line_99 |  | 97 | 98 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_72-3_0_3_line_100 |  | 99 | 100 | 0.02175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_72-3_0_3_line_101 |  | 100 | 101 | 0.030945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_72-3_0_3_line_102 |  | 101 | 102 | 0.021476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_72-3_0_3_line_103 |  | 102 | 105 | 0.02318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_72-3_0_3_line_104 |  | 104 | 105 | 0.030907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_72-3_0_3_line_105 |  | 104 | 106 | 0.019719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_72-3_0_3_trafo_79 | 0.63 MVA 20/0.4 kV | 107 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2684107.9653 | 1259296.9742 | 2684120.26 | 1259276.7183
1 | 2684135.7553 | 1259251.1894 | 2684120.26 | 1259276.7183
2 | 2684107.9653 | 1259296.9742 | 2684096.3654 | 1259289.7589
3 | 2684137.9167 | 1259247.6284 | 2684135.7553 | 1259251.1894
4 | 2684081.4009 | 1259280.4507 | 2684096.3654 | 1259289.7589
5 | 2684173.4826 | 1259266.7711 | 2684150.8893 | 1259254.6072 | 2684137.9167 | 1259247.6284
6 | 2684137.9167 | 1259247.6284 | 2684130.6544 | 1259243.5776 | 2684112.7457 | 1259234.3604 | 2684111.6711 | 1259233.589
7 | 2684076.67 | 1259277.5702 | 2684081.4009 | 1259280.4507
8 | 2684081.4009 | 1259280.4507 | 2684063.1798 | 1259310.7153 | 2684055.8174 | 1259322.3302
9 | 2684170.5948 | 1259271.5782 | 2684175.9455 | 1259273.8116 | 2684179.7091 | 1259275.8 | 2684184.7742 | 1259279.0301 | 2684185.0226 | 1259279.1949
10 | 2684173.4826 | 1259266.7711 | 2684170.5948 | 1259271.5782
11 | 2684170.5948 | 1259271.5782 | 2684158.842 | 1259291.1875
12 | 2684243.0411 | 1259326.0177 | 2684242.0392 | 1259324.3799 | 2684235.1334 | 1259318.0657 | 2684221.1725 | 1259305.8687 | 2684208.71 | 1259295.9059 | 2684195.6476 | 1259286.2459 | 2684185.0226 | 1259279.1949
13 | 2684213.4961 | 1259294.3728 | 2684207.181 | 1259289.4569 | 2684173.4826 | 1259266.7711
14 | 2684160.6353 | 1259310.8559 | 2684157.2335 | 1259307.8163 | 2684153.2746 | 1259300.4765 | 2684158.842 | 1259291.1875
15 | 2684111.6711 | 1259233.589 | 2684124.8257 | 1259214.5279
16 | 2684076.67 | 1259277.5702 | 2684067.1595 | 1259294.1059
17 | 2684047.9435 | 1259334.7521 | 2684055.8174 | 1259322.3302
18 | 2684056.6361 | 1259312.4028 | 2684067.1595 | 1259294.1059
19 | 2684124.8257 | 1259214.5279 | 2684141.5552 | 1259191.27
20 | 2684060.4518 | 1258909.122 | 2684098.5434 | 1258835.0948 | 2684107.5263 | 1258843.3066 | 2684134.8747 | 1258863.155 | 2684178.5658 | 1258888.4179
21 | 2684178.5658 | 1258888.4179 | 2684275.7879 | 1258941.4089 | 2684288.7545 | 1258948.8437 | 2684294.3908 | 1258951.1591
22 | 2684178.5658 | 1258888.4179 | 2684196.955 | 1258853.1658
23 | 2684060.4518 | 1258909.122 | 2684051.3969 | 1258905.9799 | 2684014.8838 | 1258877.9732
24 | 2684060.4518 | 1258909.122 | 2684020.5311 | 1258970.4768
25 | 2684345.9284 | 1258963.7474 | 2684294.3908 | 1258951.1591
26 | 2684294.3908 | 1258951.1591 | 2684260.0188 | 1259004.2107 | 2684225.9949 | 1259055.4402
27 | 2684269.238 | 1259354.0011 | 2684266.2417 | 1259353.1912 | 2684243.9819 | 1259330.3567 | 2684243.0411 | 1259326.0177
28 | 2684213.4961 | 1259294.3728 | 2684243.1013 | 1259251.8813
29 | 2684196.6897 | 1259105.5433 | 2684177.9678 | 1259135.9561 | 2684171.5251 | 1259150.5869 | 2684157.9783 | 1259170.176 | 2684148.1901 | 1259182.046 | 2684145.0777 | 1259186.3729
30 | 2684196.6897 | 1259105.5433 | 2684191.025 | 1259102.5827 | 2684208.0297 | 1259075.7705
31 | 2684196.6897 | 1259105.5433 | 2684225.7512 | 1259055.8072 | 2684225.9949 | 1259055.4402
32 | 2684141.5552 | 1259191.27 | 2684145.0777 | 1259186.3729
33 | 2684208.0297 | 1259075.7705 | 2684220.3813 | 1259082.9629 | 2684223.8557 | 1259085.1299
34 | 2684223.8557 | 1259085.1299 | 2684229.7592 | 1259088.812 | 2684233.8803 | 1259091.6018
35 | 2684036.7194 | 1259352.9102 | 2684045.3666 | 1259338.8173 | 2684047.9435 | 1259334.7521
36 | 2684014.8838 | 1258877.9732 | 2684063.5174 | 1258827.1022 | 2684111.4035 | 1258775.5153
37 | 2684014.8838 | 1258877.9732 | 2684012.3158 | 1258880.6593
38 | 2684345.9284 | 1258963.7474 | 2684331.153 | 1259005.9806 | 2684326.6699 | 1259019.0087
39 | 2683734.5666 | 1259080.9577 | 2683747.7102 | 1259075.3838 | 2683762.3221 | 1259060.127
40 | 2683687.7556 | 1259147.2245 | 2683734.5666 | 1259080.9577
41 | 2683734.5666 | 1259080.9577 | 2683755.2978 | 1259051.1725 | 2683739.3751 | 1259040.5723 | 2683730.7398 | 1259040.2833 | 2683843.8412 | 1258877.7812
42 | 2683687.7556 | 1259147.2245 | 2683690.7812 | 1259148.6351 | 2683749.9303 | 1259176.2708 | 2683774.3575 | 1259186.2464 | 2683779.6994 | 1259185.9218 | 2683786.4668 | 1259181.8255 | 2683820.9123 | 1259131.1852 | 2683831.4281 | 1259115.8112 | 2683856.8867 | 1259078.5653 | 2683887.8584 | 1259035.0811
43 | 2683843.8412 | 1258877.7812 | 2683831.1612 | 1258868.664
44 | 2683887.8584 | 1259035.0811 | 2683903.8506 | 1259012.6279
45 | 2683826.945 | 1258865.6325 | 2683831.1612 | 1258868.664
46 | 2683826.945 | 1258865.6325 | 2683806.0991 | 1258850.7703 | 2683810.6356 | 1258843.996 | 2683821.7815 | 1258829.943 | 2683843.2624 | 1258798.9456
47 | 2683870.9471 | 1258756.3383 | 2683843.2624 | 1258798.9456
48 | 2683976.5592 | 1258918.0603 | 2683948.9375 | 1258949.326 | 2683903.8506 | 1259012.6279
49 | 2683870.9471 | 1258756.3383 | 2683892.6537 | 1258769.5338 | 2683901.0159 | 1258752.9729 | 2683913.1601 | 1258728.0925
50 | 2683913.1601 | 1258728.0925 | 2683897.5554 | 1258717.556
51 | 2683870.9471 | 1258756.3383 | 2683869.3231 | 1258755.7454
52 | 2683869.3231 | 1258755.7454 | 2683865.7494 | 1258754.4409 | 2683860.6146 | 1258753.4229 | 2683855.3015 | 1258752.7472 | 2683853.5094 | 1258752.9771
53 | 2684031.0745 | 1259362.1102 | 2684038.6458 | 1259367.2217 | 2684047.0812 | 1259373.5908
54 | 2684031.0745 | 1259362.1102 | 2684036.7194 | 1259352.9102
55 | 2684088.6385 | 1259405.0053 | 2684047.0812 | 1259373.5908
56 | 2684047.0812 | 1259373.5908 | 2684043.1313 | 1259378.3495
57 | 2683976.5592 | 1258918.0603 | 2683980.2565 | 1258914.193
58 | 2683980.2565 | 1258914.193 | 2684012.3158 | 1258880.6593
59 | 2684088.6385 | 1259405.0053 | 2684108.2962 | 1259376.0921
60 | 2684026.37 | 1259376.9994 | 2684025.4349 | 1259376.4968 | 2684029.6916 | 1259369.7743 | 2684043.1313 | 1259378.3495
61 | 2684161.5607 | 1259491.6199 | 2684167.5391 | 1259494.2292 | 2684176.5565 | 1259494.1129 | 2684179.4482 | 1259493.422
62 | 2684161.5607 | 1259491.6199 | 2684154.391 | 1259485.3242 | 2684146.7057 | 1259476.586 | 2684144.4436 | 1259471.8331
63 | 2684179.4482 | 1259493.422 | 2684187.9327 | 1259491.3948 | 2684200.9021 | 1259483.7206
64 | 2684200.9021 | 1259483.7206 | 2684209.9718 | 1259478.3538 | 2684215.9618 | 1259474.1297
65 | 2684250.2369 | 1259393.6622 | 2684264.3298 | 1259371.0334
66 | 2684250.2369 | 1259393.6622 | 2684241.6005 | 1259407.5294
67 | 2684269.238 | 1259354.0011 | 2684268.8191 | 1259363.825 | 2684264.3298 | 1259371.0334
68 | 2684237.1265 | 1259414.7132 | 2684241.6005 | 1259407.5294
69 | 2684279.1808 | 1259356.6781 | 2684269.238 | 1259354.0011
70 | 2684279.1808 | 1259356.6781 | 2684303.9036 | 1259382.3141
71 | 2684333.0419 | 1259411.7212 | 2684327.631 | 1259406.8515 | 2684316.7472 | 1259395.6322 | 2684303.9036 | 1259382.3141
72 | 2684333.0419 | 1259411.7212 | 2684337.0667 | 1259414.414 | 2684341.7354 | 1259416.3598 | 2684342.1901 | 1259432.0451 | 2684345.4369 | 1259445.9465
73 | 2684469.8413 | 1259385.8871 | 2684478.2448 | 1259368.514 | 2684482.6995 | 1259362.3416
74 | 2684461.2269 | 1259409.9477 | 2684462.7482 | 1259400.551 | 2684469.8413 | 1259385.8871
75 | 2684326.6699 | 1259019.0087 | 2684321.0548 | 1259035.3261 | 2684293.5483 | 1259063.2185
76 | 2684109.3052 | 1259374.6079 | 2684108.2962 | 1259376.0921
77 | 2684116.6875 | 1259363.7498 | 2684109.3052 | 1259374.6079
78 | 2684215.9618 | 1259474.1297 | 2684232.8161 | 1259462.2442 | 2684242.1749 | 1259457.639
79 | 2684247.8242 | 1259454.8591 | 2684242.1749 | 1259457.639
80 | 2684289.4105 | 1259433.8946 | 2684286.7304 | 1259435.2353 | 2684263.3871 | 1259447.201 | 2684247.8242 | 1259454.8591
81 | 2684289.4105 | 1259433.8946 | 2684282.6942 | 1259414.8361
82 | 2684289.4105 | 1259433.8946 | 2684295.1919 | 1259441.3383 | 2684301.2842 | 1259446.4702
83 | 2684280.3013 | 1259394.957 | 2684280.2379 | 1259407.8661 | 2684282.6942 | 1259414.8361
84 | 2684328.6712 | 1259451.2673 | 2684324.3953 | 1259453.497 | 2684315.2665 | 1259458.2484 | 2684301.2842 | 1259446.4702
85 | 2684379.8955 | 1259494.9947 | 2684380.2957 | 1259497.6056 | 2684377.0671 | 1259504.6317 | 2684372.9166 | 1259510.4436
86 | 2684378.0613 | 1259483.0292 | 2684379.8955 | 1259494.9947
87 | 2684368.4208 | 1259477.6765 | 2684378.0613 | 1259483.0292
88 | 2684378.0613 | 1259483.0292 | 2684391.9654 | 1259467.8569
89 | 2684345.6722 | 1259466.4435 | 2684351.8726 | 1259460.8832 | 2684360.2333 | 1259469.8203 | 2684363.5576 | 1259473.5262 | 2684368.4208 | 1259477.6765
90 | 2684368.4208 | 1259477.6765 | 2684361.325 | 1259485.2367 | 2684356.7933 | 1259490.0759 | 2684350.1618 | 1259497.1369
91 | 2684391.9654 | 1259467.8569 | 2684396.571 | 1259462.8311
92 | 2684345.6722 | 1259466.4435 | 2684328.6712 | 1259451.2673
93 | 2684345.6722 | 1259466.4435 | 2684343.2286 | 1259468.6438 | 2684337.1216 | 1259473.4716 | 2684326.6884 | 1259481.7114
94 | 2684367.4461 | 1259444.548 | 2684363.9869 | 1259444.7678
95 | 2684367.4461 | 1259444.548 | 2684375.8136 | 1259444.0225 | 2684384.6455 | 1259436.3091 | 2684393.8948 | 1259435.8181
96 | 2684345.4369 | 1259445.9465 | 2684363.9869 | 1259444.7678
97 | 2684393.8948 | 1259435.8181 | 2684410.2349 | 1259434.9507 | 2684410.2224 | 1259434.7465
98 | 2684328.6712 | 1259451.2673 | 2684330.7517 | 1259450.1833
99 | 2684345.4369 | 1259445.9465 | 2684335.028 | 1259447.9553 | 2684330.7517 | 1259450.1833
100 | 2684408.8967 | 1259413.0369 | 2684410.2224 | 1259434.7465
101 | 2684408.8967 | 1259413.0369 | 2684412.4581 | 1259412.8097 | 2684439.7879 | 1259411.2058
102 | 2684461.2269 | 1259409.9477 | 2684439.7879 | 1259411.2058
103 | 2684461.2269 | 1259409.9477 | 2684458.1884 | 1259421.0685 | 2684453.6478 | 1259431.7993
104 | 2684440.6018 | 1259459.7942 | 2684447.3988 | 1259446.5676 | 2684453.6478 | 1259431.7993
105 | 2684431.589 | 1259477.3325 | 2684440.6018 | 1259459.7942

## bus_geodata
| x | y | coords
0 | 2684120.26 | 1259276.7183
1 | 2684107.9653 | 1259296.9742
2 | 2684135.7553 | 1259251.1894
3 | 2684096.3654 | 1259289.7589
4 | 2684137.9167 | 1259247.6284
5 | 2684081.4009 | 1259280.4507
6 | 2684170.5948 | 1259271.5782
7 | 2684185.0226 | 1259279.1949
8 | 2684173.4826 | 1259266.7711
9 | 2684158.842 | 1259291.1875
10 | 2684111.6711 | 1259233.589
11 | 2684076.67 | 1259277.5702
12 | 2684055.8174 | 1259322.3302
13 | 2684067.1595 | 1259294.1059
14 | 2684124.8257 | 1259214.5279
15 | 2684178.5658 | 1258888.4179
16 | 2684060.4518 | 1258909.122
17 | 2684294.3908 | 1258951.1591
18 | 2684196.955 | 1258853.1658
19 | 2684243.0411 | 1259326.0177
20 | 2684213.4961 | 1259294.3728
21 | 2684160.6353 | 1259310.8559
22 | 2684196.6897 | 1259105.5433
23 | 2684145.0777 | 1259186.3729
24 | 2684208.0297 | 1259075.7705
25 | 2684225.9949 | 1259055.4402
26 | 2684223.8557 | 1259085.1299
27 | 2684141.5552 | 1259191.27
28 | 2684047.9435 | 1259334.7521
29 | 2684056.6361 | 1259312.4028
30 | 2684014.8838 | 1258877.9732
31 | 2684020.5311 | 1258970.4768
32 | 2684345.9284 | 1258963.7474
33 | 2683762.3221 | 1259060.127
34 | 2683734.5666 | 1259080.9577
35 | 2683687.7556 | 1259147.2245
36 | 2683843.8412 | 1258877.7812
37 | 2683887.8584 | 1259035.0811
38 | 2683831.1612 | 1258868.664
39 | 2683826.945 | 1258865.6325
40 | 2683843.2624 | 1258798.9456
41 | 2683903.8506 | 1259012.6279
42 | 2683913.1601 | 1258728.0925
43 | 2683870.9471 | 1258756.3383
44 | 2683897.5554 | 1258717.556
45 | 2683869.3231 | 1258755.7454
46 | 2684031.0745 | 1259362.1102
47 | 2684047.0812 | 1259373.5908
48 | 2684036.7194 | 1259352.9102
49 | 2683853.5094 | 1258752.9771
50 | 2684111.4035 | 1258775.5153
51 | 2683976.5592 | 1258918.0603
52 | 2683980.2565 | 1258914.193
53 | 2684012.3158 | 1258880.6593
54 | 2684088.6385 | 1259405.0053
55 | 2684043.1313 | 1259378.3495
56 | 2684161.5607 | 1259491.6199
57 | 2684179.4482 | 1259493.422
58 | 2684144.4436 | 1259471.8331
59 | 2684200.9021 | 1259483.7206
60 | 2684250.2369 | 1259393.6622
61 | 2684264.3298 | 1259371.0334
62 | 2684241.6005 | 1259407.5294
63 | 2684269.238 | 1259354.0011
64 | 2684237.1265 | 1259414.7132
65 | 2684279.1808 | 1259356.6781
66 | 2684303.9036 | 1259382.3141
67 | 2684243.1013 | 1259251.8813
68 | 2684333.0419 | 1259411.7212
69 | 2684482.6995 | 1259362.3416
70 | 2684469.8413 | 1259385.8871
71 | 2684233.8803 | 1259091.6018
72 | 2684326.6699 | 1259019.0087
73 | 2684293.5483 | 1259063.2185
74 | 2684026.37 | 1259376.9994
75 | 2684108.2962 | 1259376.0921
76 | 2684109.3052 | 1259374.6079
77 | 2684116.6875 | 1259363.7498
78 | 2684215.9618 | 1259474.1297
79 | 2684242.1749 | 1259457.639
80 | 2684247.8242 | 1259454.8591
81 | 2684289.4105 | 1259433.8946
82 | 2684282.6942 | 1259414.8361
83 | 2684301.2842 | 1259446.4702
84 | 2684379.8955 | 1259494.9947
85 | 2684372.9166 | 1259510.4436
86 | 2684378.0613 | 1259483.0292
87 | 2684368.4208 | 1259477.6765
88 | 2684391.9654 | 1259467.8569
89 | 2684345.6722 | 1259466.4435
90 | 2684350.1618 | 1259497.1369
91 | 2684396.571 | 1259462.8311
92 | 2684367.4461 | 1259444.548
93 | 2684363.9869 | 1259444.7678
94 | 2684393.8948 | 1259435.8181
95 | 2684328.6712 | 1259451.2673
96 | 2684326.6884 | 1259481.7114
97 | 2684345.4369 | 1259445.9465
98 | 2684330.7517 | 1259450.1833
99 | 2684410.2224 | 1259434.7465
100 | 2684408.8967 | 1259413.0369
101 | 2684439.7879 | 1259411.2058
102 | 2684461.2269 | 1259409.9477
103 | 2684280.3013 | 1259394.957
104 | 2684440.6018 | 1259459.7942
105 | 2684453.6478 | 1259431.7993
106 | 2684431.589 | 1259477.3325
107 | 2684170.5948 | 1259271.5782

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1