## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_72-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_72-9_0_5_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_72-9_0_5_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_72-9_0_5_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_72-9_0_5_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_72-9_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_72-9_0_5_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_72-9_0_5_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_72-9_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_72-9_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_72-9_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_72-9_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_72-9_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_72-9_0_5_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_72-9_0_5_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_72-9_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_72-9_0_5_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_72-9_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_72-9_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_72-9_0_5_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_72-9_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_72-9_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_72-9_0_5_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_72-9_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_72-9_0_5_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_72-9_0_5_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_72-9_0_5_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_72-9_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_72-9_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_72-9_0_5_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_72-9_0_5_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_72-9_0_5_node_93 | 0.4 | n |  | TRUE
32 | bus_LV_72-9_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_72-9_0_5_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_72-9_0_5_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_72-9_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_72-9_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_72-9_0_5_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_72-9_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_72-9_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_72-9_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_72-9_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_72-9_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_72-9_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_72-9_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_72-9_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_72-9_0_5_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_72-9_0_5_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_72-9_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_72-9_0_5_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_72-9_0_5_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_72-9_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_72-9_0_5_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_72-9_0_5_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_72-9_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_72-9_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_72-9_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_72-9_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_72-9_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_72-9_0_5_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_72-9_0_5_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_72-9_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_72-9_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_72-9_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_72-9_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_72-9_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_72-9_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_72-9_0_5_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_72-9_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_72-9_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_72-9_0_5_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_72-9_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_72-9_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_72-9_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_72-9_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_72-9_0_5_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_72-9_0_5_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_72-9_0_5_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_72-9_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_72-9_0_5_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_72-9_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_72-9_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_72-9_0_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_72-9_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_72-9_0_5_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_72-9_0_5_node_154 | 0.4 | n |  | TRUE
86 | bus_LV_72-9_0_5_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_72-9_0_5_node_155 | 0.4 | n |  | TRUE
88 | bus_LV_72-9_0_5_node_152 | 0.4 | n |  | TRUE
89 | bus_LV_72-9_0_5_node_153 | 0.4 | n |  | TRUE
90 | bus_LV_72-9_0_5_node_156 | 0.4 | n |  | TRUE
91 | bus_LV_72-9_0_5_node_157 | 0.4 | n |  | TRUE
92 | bus_LV_72-9_0_5_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_72-9_0_5_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_72-9_0_5_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_72-9_0_5_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_72-9_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_72-9_0_5_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_72-9_0_5_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_72-9_0_5_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_72-9_0_5_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_72-9_0_5_node_132 | 0.4 | n |  | TRUE
102 | bus_LV_72-9_0_5_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_72-9_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_72-9_0_5_node_82 | 0.4 | n |  | TRUE
105 | bus_LV_72-9_0_5_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_72-9_0_5_node_101 | 0.4 | n |  | TRUE
107 | bus_LV_72-9_0_5_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_72-9_0_5_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_72-9_0_5_node_112 | 0.4 | n |  | TRUE
110 | bus_LV_72-9_0_5_node_133 | 0.4 | n |  | TRUE
111 | bus_LV_72-9_0_5_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_72-9_0_5_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_72-9_0_5_node_121 | 0.4 | n |  | TRUE
114 | bus_LV_72-9_0_5_node_122 | 0.4 | n |  | TRUE
115 | bus_LV_72-9_0_5_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_72-9_0_5_node_106 | 0.4 | n |  | TRUE
117 | bus_LV_72-9_0_5_node_107 | 0.4 | n |  | TRUE
118 | bus_LV_72-9_0_5_node_110 | 0.4 | n |  | TRUE
119 | bus_LV_72-9_0_5_node_108 | 0.4 | n |  | TRUE
120 | bus_LV_72-9_0_5_node_109 | 0.4 | n |  | TRUE
121 | bus_LV_72-9_0_5_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_72-9_0_5_node_144 | 0.4 | n |  | TRUE
123 | bus_LV_72-9_0_5_node_130 | 0.4 | n |  | TRUE
124 | bus_LV_72-9_0_5_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_72-9_0_5_node_136 | 0.4 | n |  | TRUE
126 | bus_LV_72-9_0_5_node_139 | 0.4 | n |  | TRUE
127 | bus_LV_72-9_0_5_node_115 | 0.4 | n |  | TRUE
128 | bus_LV_72-9_0_5_node_117 | 0.4 | n |  | TRUE
129 | bus_LV_72-9_0_5_node_116 | 0.4 | n |  | TRUE
130 | bus_LV_72-9_0_5_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_72-9_0_5_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_72-9_0_5_node_120 | 0.4 | n |  | TRUE
133 | bus_LV_72-9_0_5_node_140 | 0.4 | n |  | TRUE
134 | bus_LV_72-9_0_5_node_143 | 0.4 | n |  | TRUE
135 | bus_LV_72-9_0_5_node_145 | 0.4 | n |  | TRUE
136 | bus_LV_72-9_0_5_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_72-9_0_5_node_142 | 0.4 | n |  | TRUE
138 | bus_LV_72-9_0_5_node_146 | 0.4 | n |  | TRUE
139 | bus_LV_72-9_0_5_node_128 | 0.4 | n |  | TRUE
140 | bus_LV_72-9_0_5_node_123 | 0.4 | n |  | TRUE
141 | bus_LV_72-9_0_5_node_124 | 0.4 | n |  | TRUE
142 | bus_LV_72-9_0_5_node_125 | 0.4 | n |  | TRUE
143 | bus_LV_72-9_0_5_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_72-9_0_5_node_126 | 0.4 | n |  | TRUE
145 | bus_LV_72-9_0_5_node_127 | 0.4 | n |  | TRUE
146 | bus_LV_72-9_0_5_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_72-9_0_5_node_135 | 0.4 | n |  | TRUE
148 | bus_LV_72-9_0_5_node_137 | 0.4 | n |  | TRUE
149 | bus_LV_72-9_0_5_node_138 | 0.4 | n |  | TRUE
150 | bus_LV_72-9_0_5_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_72-9_0_5_node_148 | 0.4 | n |  | TRUE
152 | bus_LV_72-9_0_5_node_147 | 0.4 | n |  | TRUE
153 | bus_LV_72-9_0_5_node_149 | 0.4 | n |  | TRUE
154 | bus_LV_72-9_0_5_node_150 | 0.4 | n |  | TRUE
155 | bus_MV_372_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_72-9_0_5_load_0 | 0 | 0.0020119 | 0.00050422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_72-9_0_5_load_4 | 1 | 0.0013223 | 0.00033139 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_72-9_0_5_load_5 | 2 | 0.0017986 | 0.00045077 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_72-9_0_5_load_3 | 5 | 0.0022315 | 0.00055927 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_72-9_0_5_load_19 | 6 | 0.0040805 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_72-9_0_5_load_16 | 7 | 0.0016056 | 0.0004024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_72-9_0_5_load_27 | 8 | 0.0035583 | 0.00089181 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_72-9_0_5_load_17 | 9 | 0.0085929 | 0.0021536 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_72-9_0_5_load_6 | 10 | 0.0080055 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_72-9_0_5_load_72 | 13 | 0.0017003 | 0.00042615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_72-9_0_5_load_70 | 14 | 0.0015448 | 0.00038716 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_72-9_0_5_load_14 | 15 | 0.003742 | 0.00093783 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_72-9_0_5_load_20 | 16 | 0.0047286 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_72-9_0_5_load_46 | 19 | 0.0021019 | 0.00052679 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_72-9_0_5_load_47 | 22 | 0.0031967 | 0.00080118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_72-9_0_5_load_22 | 24 | 0.0033067 | 0.00082873 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_72-9_0_5_load_10 | 25 | 0.0080074 | 0.0020068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_72-9_0_5_load_11 | 26 | 0.0032539 | 0.00081549 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_72-9_0_5_load_12 | 27 | 0.008008 | 0.002007 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_72-9_0_5_load_15 | 28 | 0.002845 | 0.00071302 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_72-9_0_5_load_92 | 30 | 0.0109 | 0.0027318 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_72-9_0_5_load_93 | 31 | 0.0064118 | 0.001607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_72-9_0_5_load_18 | 32 | 0.00051394 | 0.00012881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_72-9_0_5_load_44 | 33 | 0.0038113 | 0.0009552 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_72-9_0_5_load_45 | 34 | 0.0022705 | 0.00056904 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_72-9_0_5_load_25 | 35 | 0.0027654 | 0.00069306 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_72-9_0_5_load_26 | 36 | 0.0016981 | 0.00042559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_72-9_0_5_load_48 | 37 | 0.0016063 | 0.00040258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_72-9_0_5_load_28 | 38 | 0.0036767 | 0.00092147 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_72-9_0_5_load_29 | 39 | 0.0080051 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_72-9_0_5_load_33 | 40 | 0.022561 | 0.0056543 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_72-9_0_5_load_34 | 41 | 0.019113 | 0.0047903 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_72-9_0_5_load_81 | 46 | 0.00902 | 0.0022606 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_72-9_0_5_load_80 | 47 | 0.0042779 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_72-9_0_5_load_64 | 48 | 0.0066415 | 0.0016645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_72-9_0_5_load_63 | 49 | 0.0097922 | 0.0024541 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_72-9_0_5_load_87 | 50 | 0.0041564 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_72-9_0_5_load_37 | 52 | 0.0081698 | 0.0020475 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_72-9_0_5_load_38 | 53 | 0.0081409 | 0.0020403 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_72-9_0_5_load_40 | 56 | 0.01125 | 0.0028194 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_72-9_0_5_load_53 | 59 | 0.0047164 | 0.001182 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_72-9_0_5_load_79 | 60 | 0.0033158 | 0.00083102 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_72-9_0_5_load_49 | 63 | 0.0015463 | 0.00038753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_72-9_0_5_load_50 | 64 | 0.0053028 | 0.001329 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_72-9_0_5_load_51 | 65 | 0.0015601 | 0.000391 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_72-9_0_5_load_54 | 66 | 0.004208 | 0.0010546 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_72-9_0_5_load_55 | 67 | 0.0065772 | 0.0016484 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_72-9_0_5_load_57 | 69 | 0.002042 | 0.00051177 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_72-9_0_5_load_59 | 70 | 0.0028362 | 0.00071083 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_72-9_0_5_load_65 | 71 | 0.0041907 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_72-9_0_5_load_60 | 72 | 0.0043616 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_72-9_0_5_load_66 | 73 | 0.0025316 | 0.00063447 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_72-9_0_5_load_96 | 76 | 0.0025266 | 0.00063322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_72-9_0_5_load_83 | 77 | 0.00089317 | 0.00022385 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_72-9_0_5_load_67 | 78 | 0.0018265 | 0.00045777 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_72-9_0_5_load_68 | 79 | 0.0052804 | 0.0013234 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_72-9_0_5_load_69 | 80 | 0.0046778 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_72-9_0_5_load_71 | 81 | 0.0032319 | 0.00081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_72-9_0_5_load_88 | 82 | 0.0039556 | 0.00099136 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_72-9_0_5_load_154 | 85 | 0.0063146 | 0.0015826 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_72-9_0_5_load_95 | 86 | 0.0036021 | 0.00090277 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_72-9_0_5_load_155 | 87 | 0.0036566 | 0.00091644 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_72-9_0_5_load_152 | 88 | 0.0026322 | 0.0006597 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_72-9_0_5_load_153 | 89 | 0.0025833 | 0.00064744 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_72-9_0_5_load_156 | 90 | 0.0025763 | 0.00064569 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_72-9_0_5_load_157 | 91 | 0.002658 | 0.00066615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_72-9_0_5_load_73 | 92 | 0.0015473 | 0.00038778 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_72-9_0_5_load_74 | 93 | 0.001547 | 0.0003877 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_72-9_0_5_load_77 | 96 | 0.0025542 | 0.00064015 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_72-9_0_5_load_78 | 97 | 0.0012919 | 0.00032377 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_72-9_0_5_load_99 | 98 | 0.0015187 | 0.00038062 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_72-9_0_5_load_90 | 99 | 0.0028059 | 0.00070323 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_72-9_0_5_load_97 | 100 | 0.0019096 | 0.00047858 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_72-9_0_5_load_132 | 101 | 0.00277 | 0.00069423 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_72-9_0_5_load_89 | 102 | 0.0035813 | 0.00089756 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_72-9_0_5_load_98 | 103 | 0.0012597 | 0.00031571 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_72-9_0_5_load_82 | 104 | 0.0028741 | 0.00072033 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_72-9_0_5_load_84 | 105 | 0.00096596 | 0.00024209 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_72-9_0_5_load_101 | 106 | 0.001133 | 0.00028396 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_72-9_0_5_load_102 | 107 | 0.0015437 | 0.00038688 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_72-9_0_5_load_100 | 108 | 0.0026004 | 0.00065172 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_72-9_0_5_load_112 | 109 | 0.0018064 | 0.00045272 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_72-9_0_5_load_133 | 110 | 0.0027502 | 0.00068927 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_72-9_0_5_load_113 | 111 | 0.0039478 | 0.00098942 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_72-9_0_5_load_103 | 112 | 0.0011301 | 0.00028323 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_72-9_0_5_load_121 | 113 | 0.0018471 | 0.00046292 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_72-9_0_5_load_104 | 115 | 0.0064453 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_72-9_0_5_load_107 | 117 | 0.0057262 | 0.0014351 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_72-9_0_5_load_110 | 118 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_72-9_0_5_load_108 | 119 | 0.0026832 | 0.00067248 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_72-9_0_5_load_109 | 120 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_72-9_0_5_load_130 | 123 | 0.00082823 | 0.00020757 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_72-9_0_5_load_114 | 124 | 0.0045652 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_72-9_0_5_load_136 | 125 | 0.0026801 | 0.00067169 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_72-9_0_5_load_139 | 126 | 0.0015925 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_72-9_0_5_load_115 | 127 | 0.0015871 | 0.00039775 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_72-9_0_5_load_119 | 131 | 0.0019984 | 0.00050084 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_72-9_0_5_load_140 | 133 | 0.002361 | 0.00059173 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_72-9_0_5_load_143 | 134 | 0.0014165 | 0.00035502 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_72-9_0_5_load_145 | 135 | 0.0023741 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_72-9_0_5_load_129 | 136 | 0.0018765 | 0.0004703 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_72-9_0_5_load_142 | 137 | 0.002101 | 0.00052657 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_72-9_0_5_load_146 | 138 | 0.0025702 | 0.00064416 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_72-9_0_5_load_128 | 139 | 0.0046884 | 0.001175 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_72-9_0_5_load_123 | 140 | 0.0029008 | 0.00072701 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_72-9_0_5_load_124 | 141 | 0.0028883 | 0.00072387 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_72-9_0_5_load_125 | 142 | 0.0026893 | 0.000674 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_72-9_0_5_load_131 | 143 | 0.0087424 | 0.0021911 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_72-9_0_5_load_126 | 144 | 0.0041767 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_72-9_0_5_load_127 | 145 | 0.0024792 | 0.00062136 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_72-9_0_5_load_134 | 146 | 0.004489 | 0.001125 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_72-9_0_5_load_137 | 148 | 0.0043027 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_72-9_0_5_load_138 | 149 | 0.0018235 | 0.00045701 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_72-9_0_5_load_141 | 150 | 0.0022056 | 0.00055278 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_72-9_0_5_load_148 | 151 | 0.0018245 | 0.00045727 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_72-9_0_5_load_147 | 152 | 0.004193 | 0.0010509 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_72-9_0_5_load_149 | 153 | 0.0027563 | 0.0006908 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_72-9_0_5_load_150 | 154 | 0.0038591 | 0.00096718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_72-9_0_5_line_0 |  | 0 | 1 | 0.056905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_72-9_0_5_line_1 |  | 1 | 2 | 0.02246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_72-9_0_5_line_2 |  | 2 | 5 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_72-9_0_5_line_3 |  | 3 | 4 | 0.015921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_72-9_0_5_line_4 |  | 3 | 5 | 0.018783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_72-9_0_5_line_5 |  | 4 | 6 | 0.010175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_72-9_0_5_line_6 |  | 4 | 7 | 0.033382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_72-9_0_5_line_7 |  | 6 | 8 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_72-9_0_5_line_8 |  | 7 | 9 | 0.015457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_72-9_0_5_line_9 |  | 8 | 23 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_72-9_0_5_line_10 |  | 9 | 32 | 0.030605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_72-9_0_5_line_11 |  | 10 | 11 | 0.03133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_72-9_0_5_line_12 |  | 11 | 12 | 0.004022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_72-9_0_5_line_13 |  | 12 | 15 | 0.017507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_72-9_0_5_line_14 |  | 12 | 16 | 0.0064107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_72-9_0_5_line_15 |  | 13 | 14 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_72-9_0_5_line_16 |  | 14 | 79 | 0.022939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_72-9_0_5_line_17 |  | 15 | 20 | 0.021845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_72-9_0_5_line_18 |  | 16 | 21 | 0.031792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_72-9_0_5_line_19 |  | 17 | 18 | 0.0095537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_72-9_0_5_line_20 |  | 17 | 19 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_72-9_0_5_line_21 |  | 18 | 22 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_72-9_0_5_line_22 |  | 18 | 23 | 0.050572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_72-9_0_5_line_23 |  | 18 | 21 | 0.040868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_72-9_0_5_line_24 |  | 20 | 28 | 0.012736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_72-9_0_5_line_25 |  | 20 | 27 | 0.034171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_72-9_0_5_line_26 |  | 21 | 24 | 0.021854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_72-9_0_5_line_27 |  | 22 | 37 | 0.022995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_72-9_0_5_line_28 |  | 24 | 35 | 0.027298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_72-9_0_5_line_29 |  | 25 | 26 | 0.032895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_72-9_0_5_line_30 |  | 25 | 27 | 0.026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_72-9_0_5_line_31 |  | 28 | 29 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_72-9_0_5_line_32 |  | 29 | 30 | 0.010026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_72-9_0_5_line_33 |  | 29 | 31 | 0.038461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_72-9_0_5_line_34 |  | 30 | 84 | 0.028237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_72-9_0_5_line_35 |  | 31 | 85 | 0.022131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_72-9_0_5_line_36 |  | 32 | 33 | 0.32716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_72-9_0_5_line_37 |  | 33 | 34 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_72-9_0_5_line_38 |  | 35 | 36 | 0.040331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_72-9_0_5_line_39 |  | 36 | 38 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_72-9_0_5_line_40 |  | 37 | 63 | 0.0016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_72-9_0_5_line_41 |  | 38 | 39 | 0.042448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_72-9_0_5_line_42 |  | 39 | 40 | 0.04138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_72-9_0_5_line_43 |  | 40 | 41 | 0.033556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_72-9_0_5_line_44 |  | 41 | 45 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_72-9_0_5_line_45 |  | 42 | 43 | 0.013343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_72-9_0_5_line_46 |  | 42 | 44 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_72-9_0_5_line_47 |  | 43 | 45 | 0.031323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_72-9_0_5_line_48 |  | 43 | 46 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_72-9_0_5_line_49 |  | 44 | 47 | 0.034315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_72-9_0_5_line_50 |  | 44 | 48 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_72-9_0_5_line_51 |  | 45 | 49 | 0.015972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_72-9_0_5_line_52 |  | 47 | 50 | 0.00020992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_72-9_0_5_line_53 |  | 48 | 51 | 0.023359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_72-9_0_5_line_54 |  | 50 | 83 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_72-9_0_5_line_55 |  | 51 | 72 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_72-9_0_5_line_56 |  | 51 | 68 | 0.034098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_72-9_0_5_line_57 |  | 52 | 53 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_72-9_0_5_line_58 |  | 52 | 54 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_72-9_0_5_line_59 |  | 53 | 55 | 0.073841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_72-9_0_5_line_60 |  | 54 | 56 | 0.035051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_72-9_0_5_line_61 |  | 55 | 57 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_72-9_0_5_line_62 |  | 55 | 58 | 0.023172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_72-9_0_5_line_63 |  | 57 | 59 | 0.035673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_72-9_0_5_line_64 |  | 58 | 60 | 0.059526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_72-9_0_5_line_65 |  | 59 | 61 | 0.051179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_72-9_0_5_line_66 |  | 60 | 62 | 0.0033937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_72-9_0_5_line_67 |  | 61 | 65 | 0.025232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_72-9_0_5_line_68 |  | 62 | 74 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_72-9_0_5_line_69 |  | 64 | 65 | 0.028936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_72-9_0_5_line_70 |  | 66 | 67 | 0.038428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_72-9_0_5_line_71 |  | 66 | 68 | 0.0050088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_72-9_0_5_line_72 |  | 67 | 69 | 0.021324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_72-9_0_5_line_73 |  | 68 | 70 | 0.021434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_72-9_0_5_line_74 |  | 69 | 71 | 0.0080443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_72-9_0_5_line_75 |  | 71 | 73 | 0.022135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_72-9_0_5_line_76 |  | 72 | 74 | 0.028933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_72-9_0_5_line_77 |  | 73 | 78 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_72-9_0_5_line_78 |  | 75 | 76 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_72-9_0_5_line_79 |  | 75 | 77 | 0.01995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_72-9_0_5_line_80 |  | 76 | 106 | 0.0052349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_72-9_0_5_line_81 |  | 77 | 104 | 0.0098784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_72-9_0_5_line_82 |  | 79 | 80 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_72-9_0_5_line_83 |  | 80 | 81 | 0.019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_72-9_0_5_line_84 |  | 81 | 82 | 0.0029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_72-9_0_5_line_85 |  | 82 | 83 | 0.040115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_72-9_0_5_line_86 |  | 83 | 102 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_72-9_0_5_line_87 |  | 83 | 105 | 0.022425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_72-9_0_5_line_88 |  | 84 | 86 | 0.040667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_72-9_0_5_line_89 |  | 85 | 89 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_72-9_0_5_line_90 |  | 86 | 87 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_72-9_0_5_line_91 |  | 87 | 90 | 0.022169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_72-9_0_5_line_92 |  | 88 | 89 | 0.022247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_72-9_0_5_line_93 |  | 90 | 91 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_72-9_0_5_line_94 |  | 92 | 93 | 0.031093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_72-9_0_5_line_95 |  | 92 | 94 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_72-9_0_5_line_96 |  | 93 | 95 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_72-9_0_5_line_97 |  | 94 | 96 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_72-9_0_5_line_98 |  | 94 | 97 | 0.039842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_72-9_0_5_line_99 |  | 95 | 98 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_72-9_0_5_line_100 |  | 96 | 99 | 0.03622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_72-9_0_5_line_101 |  | 97 | 100 | 0.003001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_72-9_0_5_line_102 |  | 98 | 101 | 0.028624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_72-9_0_5_line_103 |  | 99 | 102 | 0.00021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_72-9_0_5_line_104 |  | 100 | 103 | 0.02436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_72-9_0_5_line_105 |  | 101 | 110 | 0.025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_72-9_0_5_line_106 |  | 103 | 108 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_72-9_0_5_line_107 |  | 104 | 105 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_72-9_0_5_line_108 |  | 106 | 107 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_72-9_0_5_line_109 |  | 107 | 112 | 0.0032302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_72-9_0_5_line_110 |  | 108 | 109 | 0.0087084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_72-9_0_5_line_111 |  | 109 | 111 | 0.027723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_72-9_0_5_line_112 |  | 110 | 146 | 0.028004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_72-9_0_5_line_113 |  | 111 | 124 | 0.00075975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_72-9_0_5_line_114 |  | 112 | 113 | 0.030775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_72-9_0_5_line_115 |  | 113 | 114 | 0.0053088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_72-9_0_5_line_116 |  | 114 | 140 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_72-9_0_5_line_117 |  | 114 | 141 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_72-9_0_5_line_118 |  | 115 | 116 | 0.032411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_72-9_0_5_line_119 |  | 116 | 117 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_72-9_0_5_line_120 |  | 117 | 118 | 0.0092618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_72-9_0_5_line_121 |  | 118 | 119 | 0.0069733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_72-9_0_5_line_122 |  | 119 | 120 | 0.031773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_72-9_0_5_line_123 |  | 120 | 121 | 0.0031653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_72-9_0_5_line_124 |  | 121 | 122 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_72-9_0_5_line_125 |  | 122 | 123 | 0.038868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_72-9_0_5_line_126 |  | 123 | 132 | 0.033759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_72-9_0_5_line_127 |  | 124 | 125 | 0.033202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_72-9_0_5_line_128 |  | 125 | 126 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_72-9_0_5_line_129 |  | 126 | 133 | 0.022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_72-9_0_5_line_130 |  | 127 | 128 | 0.031879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_72-9_0_5_line_131 |  | 128 | 132 | 0.01432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_72-9_0_5_line_132 |  | 129 | 130 | 0.006757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_72-9_0_5_line_133 |  | 129 | 131 | 0.030951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_72-9_0_5_line_134 |  | 130 | 133 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_72-9_0_5_line_135 |  | 130 | 134 | 0.025328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_72-9_0_5_line_136 |  | 131 | 135 | 0.028595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_72-9_0_5_line_137 |  | 132 | 136 | 0.02718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_72-9_0_5_line_138 |  | 134 | 137 | 0.0014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_72-9_0_5_line_139 |  | 135 | 138 | 0.022018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_72-9_0_5_line_140 |  | 136 | 139 | 0.035727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_72-9_0_5_line_141 |  | 137 | 150 | 0.032122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_72-9_0_5_line_142 |  | 138 | 152 | 0.058278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_72-9_0_5_line_143 |  | 139 | 145 | 0.0032475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_72-9_0_5_line_144 |  | 140 | 142 | 0.0045778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_72-9_0_5_line_145 |  | 141 | 143 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_72-9_0_5_line_146 |  | 142 | 144 | 0.019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_72-9_0_5_line_147 |  | 144 | 145 | 0.0055754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_72-9_0_5_line_148 |  | 147 | 148 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_72-9_0_5_line_149 |  | 147 | 149 | 0.045237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_72-9_0_5_line_150 |  | 148 | 150 | 0.00080942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_72-9_0_5_line_151 |  | 149 | 151 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_72-9_0_5_line_152 |  | 152 | 153 | 0.07071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_72-9_0_5_line_153 |  | 153 | 154 | 0.029756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_72-9_0_5_trafo_88 | 0.63 MVA 20/0.4 kV | 155 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2684436.4054 | 1259698.1209 | 2684394.8325 | 1259736.9778
1 | 2684436.4054 | 1259698.1209 | 2684458.8438 | 1259699.111
2 | 2684481.916 | 1259700.1291 | 2684458.8438 | 1259699.111
3 | 2684500.4591 | 1259702.5788 | 2684516.0111 | 1259706.1925
4 | 2684500.4591 | 1259702.5788 | 2684491.7815 | 1259700.5644 | 2684481.916 | 1259700.1291
5 | 2684516.0111 | 1259706.1925 | 2684526.0801 | 1259707.6538
6 | 2684516.0111 | 1259706.1925 | 2684499.3195 | 1259735.1022
7 | 2684541.4319 | 1259710.4031 | 2684537.0888 | 1259709.2515 | 2684526.0801 | 1259707.6538
8 | 2684491.3212 | 1259748.3122 | 2684493.0938 | 1259745.885 | 2684499.3195 | 1259735.1022
9 | 2684563.1725 | 1259718.0532 | 2684550.7861 | 1259712.8833 | 2684541.4319 | 1259710.4031
10 | 2684471.8033 | 1259771.8487 | 2684485.2902 | 1259756.5707 | 2684491.3212 | 1259748.3122
11 | 2684644.5481 | 1259728.3689 | 2684641.4155 | 1259746.0489 | 2684633.0604 | 1259756.4929
12 | 2684645.253 | 1259724.4092 | 2684644.5481 | 1259728.3689
13 | 2684645.253 | 1259724.4092 | 2684662.3885 | 1259727.9987
14 | 2684645.253 | 1259724.4092 | 2684638.9445 | 1259723.2691
15 | 2684673.0548 | 1259644.9673 | 2684689.7975 | 1259627.0933
16 | 2684707.7904 | 1259612.9287 | 2684691.8531 | 1259624.8987 | 2684689.7975 | 1259627.0933
17 | 2684683.7696 | 1259732.4776 | 2684662.3885 | 1259727.9987
18 | 2684607.5942 | 1259718.0214 | 2684617.3893 | 1259719.3735 | 2684638.9445 | 1259723.2691
19 | 2684586.7104 | 1259746.734 | 2684590.7164 | 1259749.6602 | 2684594.424 | 1259752.3708
20 | 2684594.424 | 1259752.3708 | 2684588.569 | 1259760.1376 | 2684579.5813 | 1259775.5989
21 | 2684586.7104 | 1259746.734 | 2684582.5305 | 1259752.2786 | 2684579.5072 | 1259755.4823 | 2684576.319 | 1259758.1896
22 | 2684586.7104 | 1259746.734 | 2684590.5573 | 1259741.2847 | 2684595.1351 | 1259735.3345 | 2684578.5085 | 1259725.1667 | 2684563.1725 | 1259718.0532
23 | 2684586.7104 | 1259746.734 | 2684590.5573 | 1259741.2847 | 2684595.1351 | 1259735.3345 | 2684599.3944 | 1259737.9418 | 2684603.0639 | 1259731.7228 | 2684605.6528 | 1259725.6884 | 2684607.5942 | 1259718.0214
24 | 2684683.7696 | 1259732.4776 | 2684696.3358 | 1259734.5479
25 | 2684683.7696 | 1259732.4776 | 2684680.1633 | 1259751.1182 | 2684670.414 | 1259762.7592
26 | 2684607.5942 | 1259718.0214 | 2684608.8187 | 1259708.3091 | 2684608.7523 | 1259698.7229 | 2684608.5636 | 1259696.2513
27 | 2684576.319 | 1259758.1896 | 2684573.5706 | 1259760.5236 | 2684570.3061 | 1259763.7238 | 2684561.0574 | 1259775.3007 | 2684561.0574 | 1259775.3007
28 | 2684608.1729 | 1259668.9992 | 2684607.5924 | 1259680.2142 | 2684608.0095 | 1259688.9937 | 2684608.5636 | 1259696.2513
29 | 2684653.3178 | 1259783.1724 | 2684632.1967 | 1259808.3915
30 | 2684653.3178 | 1259783.1724 | 2684670.414 | 1259762.7592
31 | 2684715.7418 | 1259741.1641 | 2684696.3358 | 1259734.5479
32 | 2684715.7418 | 1259741.1641 | 2684724.5737 | 1259745.9088
33 | 2684715.7418 | 1259741.1641 | 2684711.8337 | 1259753.5066 | 2684695.7557 | 1259773.3183
34 | 2684749.4483 | 1259759.2718 | 2684724.5737 | 1259745.9088
35 | 2684681.8097 | 1259790.5028 | 2684695.7557 | 1259773.3183
36 | 2684471.8033 | 1259771.8487 | 2684443.4846 | 1260097.7771
37 | 2684443.4846 | 1260097.7771 | 2684453.6743 | 1260097.1281 | 2684461.2246 | 1260100.0794
38 | 2684608.1729 | 1259668.9992 | 2684608.2487 | 1259667.536 | 2684610.1719 | 1259655.8767 | 2684614.2905 | 1259642.503 | 2684620.3396 | 1259630.9336
39 | 2684620.3396 | 1259630.9336 | 2684620.9789 | 1259629.7109 | 2684629.4715 | 1259617.1946
40 | 2684560.175 | 1259776.7099 | 2684561.0574 | 1259775.3007
41 | 2684629.4715 | 1259617.1946 | 2684629.5573 | 1259617.0682 | 2684637.1135 | 1259609.4815 | 2684645.0632 | 1259602.8456 | 2684662.1845 | 1259590.2898
42 | 2684655.3209 | 1259549.4831 | 2684662.1845 | 1259590.2898
43 | 2684655.3209 | 1259549.4831 | 2684682.3814 | 1259529.6411
44 | 2684698.9317 | 1259517.5057 | 2684682.3814 | 1259529.6411
45 | 2684727.3521 | 1259542.6764 | 2684723.6602 | 1259537.8087 | 2684722.2827 | 1259538.723 | 2684719.9718 | 1259539.5461 | 2684716.8728 | 1259540.1244
46 | 2684744.0196 | 1259530.539 | 2684727.3521 | 1259542.6764
47 | 2684716.8728 | 1259540.1244 | 2684714.9382 | 1259529.4107 | 2684704.0979 | 1259524.1737 | 2684698.9317 | 1259517.5057
48 | 2684716.8728 | 1259540.1244 | 2684711.2418 | 1259541.178 | 2684701.5755 | 1259548.308
49 | 2684744.0196 | 1259530.539 | 2684760.9214 | 1259533.6167 | 2684768.9084 | 1259548.7773
50 | 2684744.0196 | 1259530.539 | 2684758.1728 | 1259519.8473
51 | 2684698.9317 | 1259517.5057 | 2684708.005 | 1259510.8526 | 2684711.7989 | 1259508.0426
52 | 2684768.9084 | 1259548.7773 | 2684769.0062 | 1259548.963
53 | 2684776.8116 | 1259505.7672 | 2684758.1728 | 1259519.8473
54 | 2684776.6699 | 1259563.5099 | 2684769.0062 | 1259548.963
55 | 2684776.8116 | 1259505.7672 | 2684765.2783 | 1259491.4565
56 | 2684804.8548 | 1259486.2538 | 2684776.8116 | 1259505.7672
57 | 2684583.1981 | 1259402.5563 | 2684611.9582 | 1259400.7091
58 | 2684557.9523 | 1259404.102 | 2684579.0253 | 1259402.8244 | 2684583.1981 | 1259402.5563
59 | 2684685.7533 | 1259398.1135 | 2684611.9582 | 1259400.7091
60 | 2684557.9523 | 1259404.102 | 2684558.639 | 1259429.8874 | 2684560.1065 | 1259439.0265
61 | 2684699.2495 | 1259397.9398 | 2684693.0289 | 1259398.0398 | 2684685.7533 | 1259398.1135
62 | 2684694.7435 | 1259418.8582 | 2684691.2204 | 1259415.3606 | 2684688.8565 | 1259410.4007 | 2684687.6093 | 1259407.4806 | 2684685.7533 | 1259398.1135
63 | 2684699.2495 | 1259397.9398 | 2684734.9123 | 1259398.7808
64 | 2684694.7435 | 1259418.8582 | 2684708.9024 | 1259432.9384 | 2684736.1302 | 1259461.635
65 | 2684786.0188 | 1259401.4515 | 2684756.9215 | 1259399.8113 | 2684741.2995 | 1259398.9314 | 2684734.9123 | 1259398.7808
66 | 2684738.4661 | 1259464.0968 | 2684736.1302 | 1259461.635
67 | 2684786.0188 | 1259401.4515 | 2684794.675 | 1259424.4378 | 2684794.8374 | 1259425.0878
68 | 2684738.4661 | 1259464.0968 | 2684742.1816 | 1259469.4208 | 2684743.1361 | 1259473.8268 | 2684742.8573 | 1259479.0824
69 | 2684777.4816 | 1259442.4931 | 2684792.4009 | 1259436.8815 | 2684796.1864 | 1259430.4864 | 2684794.8374 | 1259425.0878
70 | 2684808.9759 | 1259483.4068 | 2684840.5926 | 1259461.5651
71 | 2684804.8548 | 1259486.2538 | 2684808.9759 | 1259483.4068
72 | 2684840.5926 | 1259461.5651 | 2684858.1374 | 1259449.4447
73 | 2684804.8548 | 1259486.2538 | 2684817.8636 | 1259503.2884
74 | 2684864.756 | 1259444.8724 | 2684858.1374 | 1259449.4447
75 | 2684864.756 | 1259444.8724 | 2684882.9681 | 1259432.2909
76 | 2684742.8573 | 1259479.0824 | 2684754.3994 | 1259477.958 | 2684765.2783 | 1259491.4565
77 | 2684882.9681 | 1259432.2909 | 2684883.1625 | 1259432.1566 | 2684887.9595 | 1259428.3002 | 2684891.7998 | 1259424.9193
78 | 2684841.7994 | 1259534.6319 | 2684853.1655 | 1259531.9264
79 | 2684841.7994 | 1259534.6319 | 2684823.3002 | 1259542.1016
80 | 2684853.1655 | 1259531.9264 | 2684858.2582 | 1259530.7142
81 | 2684814.1403 | 1259545.8002 | 2684823.3002 | 1259542.1016
82 | 2684707.7904 | 1259612.9287 | 2684725.4774 | 1259599.6445
83 | 2684741.183 | 1259587.8484 | 2684725.4774 | 1259599.6445
84 | 2684741.183 | 1259587.8484 | 2684743.5332 | 1259586.0833
85 | 2684776.6699 | 1259563.5099 | 2684753.8733 | 1259578.3171 | 2684743.5332 | 1259586.0833
86 | 2684776.6699 | 1259563.5099 | 2684783.9248 | 1259578.2502
87 | 2684776.6699 | 1259563.5099 | 2684796.7553 | 1259553.5371
88 | 2684749.4483 | 1259759.2718 | 2684723.5234 | 1259790.6044
89 | 2684667.9957 | 1259807.5247 | 2684681.8097 | 1259790.5028
90 | 2684723.5234 | 1259790.6044 | 2684709.5809 | 1259807.4552
91 | 2684709.5809 | 1259807.4552 | 2684695.4484 | 1259824.5355
92 | 2684653.9771 | 1259824.7987 | 2684667.9957 | 1259807.5247
93 | 2684695.4484 | 1259824.5355 | 2684681.2729 | 1259841.6679
94 | 2684816.9946 | 1259644.51 | 2684831.2846 | 1259672.1251
95 | 2684807.6243 | 1259626.4021 | 2684816.9946 | 1259644.51
96 | 2684838.3203 | 1259685.7214 | 2684831.2846 | 1259672.1251
97 | 2684807.6243 | 1259626.4021 | 2684800.0142 | 1259610.9401
98 | 2684807.6243 | 1259626.4021 | 2684812.7041 | 1259624.3622 | 2684839.2326 | 1259613.7231 | 2684844.9341 | 1259612.7391
99 | 2684838.3203 | 1259685.7214 | 2684854.0014 | 1259676.1277 | 2684867.4203 | 1259674.2226
100 | 2684784.0195 | 1259578.4426 | 2684800.0142 | 1259610.9401
101 | 2684844.9341 | 1259612.7391 | 2684847.8914 | 1259612.2287
102 | 2684867.4203 | 1259674.2226 | 2684875.9819 | 1259673.0071 | 2684895.8884 | 1259674.6749
103 | 2684784.0195 | 1259578.4426 | 2684783.9248 | 1259578.2502
104 | 2684847.8914 | 1259612.2287 | 2684871.8964 | 1259608.0858
105 | 2684895.8884 | 1259674.6749 | 2684921.2413 | 1259676.7989
106 | 2684871.8964 | 1259608.0858 | 2684885.5711 | 1259605.7257 | 2684889.3629 | 1259605.7723
107 | 2684796.7553 | 1259553.5371 | 2684804.4878 | 1259549.6977 | 2684814.1403 | 1259545.8002
108 | 2684858.2582 | 1259530.7142 | 2684882.9534 | 1259524.836
109 | 2684886.0958 | 1259524.088 | 2684882.9534 | 1259524.836
110 | 2684898.0706 | 1259605.8794 | 2684889.3629 | 1259605.7723
111 | 2684898.0706 | 1259605.8794 | 2684925.7917 | 1259606.22
112 | 2684921.2413 | 1259676.7989 | 2684924.5137 | 1259677.0731 | 2684948.8379 | 1259681.4769
113 | 2684926.5514 | 1259606.2294 | 2684925.7917 | 1259606.22
114 | 2684886.0958 | 1259524.088 | 2684894.3621 | 1259522.1203 | 2684916.6152 | 1259521.0659
115 | 2684921.9181 | 1259520.8146 | 2684916.6152 | 1259521.0659
116 | 2684921.9181 | 1259520.8146 | 2684940.9397 | 1259519.9141
117 | 2684921.9181 | 1259520.8146 | 2684920.7465 | 1259504.9321
118 | 2684973.2925 | 1259412.6459 | 2684968.3768 | 1259411.6412 | 2684957.2596 | 1259407.8342 | 2684950.1834 | 1259405.5754 | 2684944.5549 | 1259404.3381 | 2684942.1126 | 1259404.1228
119 | 2684973.2925 | 1259412.6459 | 2684976.0036 | 1259425.9507 | 2684979.0203 | 1259433.1996 | 2684985.3654 | 1259437.5497 | 2684985.3654 | 1259437.5497
120 | 2684985.3654 | 1259437.5497 | 2684994.4448 | 1259439.3788
121 | 2685001.2808 | 1259440.7559 | 2684994.4448 | 1259439.3788
122 | 2685001.2808 | 1259440.7559 | 2685032.428 | 1259447.0307
123 | 2685035.531 | 1259447.6558 | 2685032.428 | 1259447.0307
124 | 2685053.2775 | 1259451.2358 | 2685035.531 | 1259447.6558
125 | 2685053.2775 | 1259451.2358 | 2685044.4226 | 1259489.082
126 | 2685036.7317 | 1259521.9529 | 2685044.4226 | 1259489.082
127 | 2684959.0726 | 1259612.7333 | 2684928.5836 | 1259606.2543 | 2684926.5514 | 1259606.2294
128 | 2684959.0726 | 1259612.7333 | 2684964.2206 | 1259613.8272 | 2684981.782 | 1259614.3267
129 | 2684981.782 | 1259614.3267 | 2685004.5499 | 1259614.9742
130 | 2685034.5833 | 1259536.1108 | 2685027.5328 | 1259567.2003
131 | 2685036.7317 | 1259521.9529 | 2685034.5833 | 1259536.1108
132 | 2685024.4284 | 1259612.7244 | 2685017.7623 | 1259613.9407
133 | 2685024.4284 | 1259612.7244 | 2685055.2876 | 1259610.3426
134 | 2685017.7623 | 1259613.9407 | 2685009.2727 | 1259615.1085 | 2685004.5499 | 1259614.9742
135 | 2685017.7623 | 1259613.9407 | 2685018.1765 | 1259639.2657
136 | 2685055.2876 | 1259610.3426 | 2685080.7782 | 1259608.3752 | 2685083.8053 | 1259608.4596
137 | 2685036.7317 | 1259521.9529 | 2685009.5927 | 1259520.4578
138 | 2685018.1996 | 1259640.6799 | 2685018.1765 | 1259639.2657
139 | 2685083.8053 | 1259608.4596 | 2685105.8148 | 1259609.073
140 | 2685009.5927 | 1259520.4578 | 2684973.9197 | 1259518.4924
141 | 2685014.0005 | 1259668.3658 | 2685013.5091 | 1259654.4332 | 2685018.4162 | 1259653.9255 | 2685018.1996 | 1259640.6799
142 | 2685164.0705 | 1259610.6966 | 2685105.8148 | 1259609.073
143 | 2684970.6764 | 1259518.5064 | 2684972.5567 | 1259518.4174 | 2684973.9197 | 1259518.4924
144 | 2684945.5124 | 1259519.6977 | 2684940.9397 | 1259519.9141
145 | 2684918.9587 | 1259480.6966 | 2684920.7465 | 1259504.9321
146 | 2684945.5124 | 1259519.6977 | 2684965.1073 | 1259518.77
147 | 2684970.6764 | 1259518.5064 | 2684965.1073 | 1259518.77
148 | 2685014.6551 | 1259686.9304 | 2685014.029 | 1259669.1748
149 | 2685014.6551 | 1259686.9304 | 2685059.5385 | 1259681.2873
150 | 2685014.0005 | 1259668.3658 | 2685014.029 | 1259669.1748
151 | 2685059.5385 | 1259681.2873 | 2685072.7503 | 1259679.6262 | 2685082.6473 | 1259679.4758
152 | 2685164.0705 | 1259610.6966 | 2685166.0372 | 1259681.3795
153 | 2685166.0372 | 1259681.3795 | 2685180.1141 | 1259682.2837 | 2685195.7476 | 1259681.5707

## bus_geodata
| x | y | coords
0 | 2684394.8325 | 1259736.9778
1 | 2684436.4054 | 1259698.1209
2 | 2684458.8438 | 1259699.1111
3 | 2684500.4591 | 1259702.5788
4 | 2684516.0111 | 1259706.1925
5 | 2684481.916 | 1259700.1291
6 | 2684526.0801 | 1259707.6538
7 | 2684499.3195 | 1259735.1022
8 | 2684541.4319 | 1259710.4031
9 | 2684491.3212 | 1259748.3122
10 | 2684633.0604 | 1259756.4929
11 | 2684644.5481 | 1259728.3689
12 | 2684645.253 | 1259724.4092
13 | 2684673.0548 | 1259644.9673
14 | 2684689.7975 | 1259627.0933
15 | 2684662.3885 | 1259727.9987
16 | 2684638.9445 | 1259723.2691
17 | 2684594.424 | 1259752.3708
18 | 2684586.7104 | 1259746.734
19 | 2684579.5813 | 1259775.5989
20 | 2684683.7696 | 1259732.4776
21 | 2684607.5942 | 1259718.0214
22 | 2684576.319 | 1259758.1896
23 | 2684563.1725 | 1259718.0532
24 | 2684608.5636 | 1259696.2513
25 | 2684653.3178 | 1259783.1724
26 | 2684632.1967 | 1259808.3915
27 | 2684670.414 | 1259762.7592
28 | 2684696.3358 | 1259734.5479
29 | 2684715.7418 | 1259741.1641
30 | 2684724.5737 | 1259745.9088
31 | 2684695.7557 | 1259773.3183
32 | 2684471.8033 | 1259771.8487
33 | 2684443.4846 | 1260097.7771
34 | 2684461.2246 | 1260100.0794
35 | 2684608.1729 | 1259668.9992
36 | 2684620.3396 | 1259630.9336
37 | 2684561.0574 | 1259775.3007
38 | 2684629.4715 | 1259617.1946
39 | 2684662.1846 | 1259590.2898
40 | 2684655.3209 | 1259549.4831
41 | 2684682.3814 | 1259529.6411
42 | 2684727.3521 | 1259542.6764
43 | 2684716.8728 | 1259540.1244
44 | 2684744.0196 | 1259530.539
45 | 2684698.9317 | 1259517.5057
46 | 2684701.5755 | 1259548.308
47 | 2684768.9084 | 1259548.7773
48 | 2684758.1728 | 1259519.8473
49 | 2684711.7989 | 1259508.0426
50 | 2684769.0062 | 1259548.963
51 | 2684776.8116 | 1259505.7672
52 | 2684583.1981 | 1259402.5563
53 | 2684611.9582 | 1259400.7091
54 | 2684557.9523 | 1259404.102
55 | 2684685.7533 | 1259398.1135
56 | 2684560.1065 | 1259439.0265
57 | 2684699.2495 | 1259397.9398
58 | 2684694.7435 | 1259418.8582
59 | 2684734.9123 | 1259398.7808
60 | 2684736.1302 | 1259461.635
61 | 2684786.0188 | 1259401.4515
62 | 2684738.4661 | 1259464.0968
63 | 2684560.175 | 1259776.7099
64 | 2684777.4816 | 1259442.4931
65 | 2684794.8374 | 1259425.0878
66 | 2684808.9759 | 1259483.4068
67 | 2684840.5926 | 1259461.5651
68 | 2684804.8548 | 1259486.2538
69 | 2684858.1374 | 1259449.4447
70 | 2684817.8636 | 1259503.2884
71 | 2684864.756 | 1259444.8724
72 | 2684765.2783 | 1259491.4565
73 | 2684882.9681 | 1259432.2909
74 | 2684742.8573 | 1259479.0824
75 | 2684841.7994 | 1259534.6319
76 | 2684853.1655 | 1259531.9264
77 | 2684823.3002 | 1259542.1016
78 | 2684891.7998 | 1259424.9193
79 | 2684707.7904 | 1259612.9287
80 | 2684725.4774 | 1259599.6445
81 | 2684741.183 | 1259587.8484
82 | 2684743.5332 | 1259586.0833
83 | 2684776.6699 | 1259563.5099
84 | 2684749.4483 | 1259759.2718
85 | 2684681.8097 | 1259790.5028
86 | 2684723.5234 | 1259790.6044
87 | 2684709.5809 | 1259807.4552
88 | 2684653.9771 | 1259824.7987
89 | 2684667.9957 | 1259807.5247
90 | 2684695.4484 | 1259824.5355
91 | 2684681.2729 | 1259841.6679
92 | 2684816.9946 | 1259644.51
93 | 2684831.2846 | 1259672.1251
94 | 2684807.6243 | 1259626.4021
95 | 2684838.3203 | 1259685.7214
96 | 2684800.0142 | 1259610.9401
97 | 2684844.9341 | 1259612.7391
98 | 2684867.4203 | 1259674.2226
99 | 2684784.0195 | 1259578.4426
100 | 2684847.8914 | 1259612.2287
101 | 2684895.8884 | 1259674.6749
102 | 2684783.9248 | 1259578.2502
103 | 2684871.8964 | 1259608.0858
104 | 2684814.1403 | 1259545.8002
105 | 2684796.7553 | 1259553.5371
106 | 2684858.2582 | 1259530.7142
107 | 2684882.9534 | 1259524.836
108 | 2684889.3629 | 1259605.7723
109 | 2684898.0706 | 1259605.8794
110 | 2684921.2413 | 1259676.7989
111 | 2684925.7917 | 1259606.22
112 | 2684886.0958 | 1259524.088
113 | 2684916.6152 | 1259521.0659
114 | 2684921.9181 | 1259520.8146
115 | 2684942.1126 | 1259404.1228
116 | 2684973.2925 | 1259412.6459
117 | 2684985.3654 | 1259437.5497
118 | 2684994.4448 | 1259439.3788
119 | 2685001.2808 | 1259440.7559
120 | 2685032.428 | 1259447.0307
121 | 2685035.531 | 1259447.6558
122 | 2685053.2775 | 1259451.2358
123 | 2685044.4226 | 1259489.082
124 | 2684926.5514 | 1259606.2294
125 | 2684959.0726 | 1259612.7333
126 | 2684981.782 | 1259614.3267
127 | 2685027.5328 | 1259567.2003
128 | 2685034.5833 | 1259536.1108
129 | 2685024.4284 | 1259612.7244
130 | 2685017.7623 | 1259613.9407
131 | 2685055.2876 | 1259610.3426
132 | 2685036.7317 | 1259521.9529
133 | 2685004.5499 | 1259614.9742
134 | 2685018.1765 | 1259639.2657
135 | 2685083.8053 | 1259608.4596
136 | 2685009.5927 | 1259520.4578
137 | 2685018.1996 | 1259640.6799
138 | 2685105.8148 | 1259609.073
139 | 2684973.9197 | 1259518.4924
140 | 2684940.9397 | 1259519.9141
141 | 2684920.7465 | 1259504.9321
142 | 2684945.5124 | 1259519.6977
143 | 2684918.9587 | 1259480.6966
144 | 2684965.1073 | 1259518.77
145 | 2684970.6764 | 1259518.5064
146 | 2684948.8379 | 1259681.4769
147 | 2685014.6551 | 1259686.9304
148 | 2685014.029 | 1259669.1748
149 | 2685059.5385 | 1259681.2873
150 | 2685014.0005 | 1259668.3658
151 | 2685082.6473 | 1259679.4758
152 | 2685164.0705 | 1259610.6966
153 | 2685166.0372 | 1259681.3795
154 | 2685195.7476 | 1259681.5707
155 | 2684776.6699 | 1259563.5099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1