## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_731-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_731-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_731-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_731-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_731-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_731-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_731-2_0_3_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_731-2_0_3_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_731-2_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_731-2_0_3_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_731-2_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_731-2_0_3_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_731-2_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_731-2_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_731-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_731-2_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_731-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_731-2_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_731-2_0_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_731-2_0_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_731-2_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_731-2_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_731-2_0_3_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_731-2_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_731-2_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_731-2_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_731-2_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_731-2_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_731-2_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_731-2_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_731-2_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_731-2_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_731-2_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_731-2_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_731-2_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_731-2_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_731-2_0_3_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_731-2_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_731-2_0_3_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_731-2_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_731-2_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_731-2_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_731-2_0_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_731-2_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_731-2_0_3_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_731-2_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_731-2_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_731-2_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_731-2_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_731-2_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_731-2_0_3_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_731-2_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_731-2_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_731-2_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_731-2_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_731-2_0_3_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_731-2_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_731-2_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_731-2_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_731-2_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_731-2_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_731-2_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_731-2_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_731-2_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_731-2_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_731-2_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_731-2_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_731-2_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_731-2_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_731-2_0_3_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_731-2_0_3_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_731-2_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_731-2_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_731-2_0_3_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_731-2_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_731-2_0_3_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_731-2_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_731-2_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_731-2_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_731-2_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_731-2_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_731-2_0_3_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_731-2_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_731-2_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_731-2_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_MV_609_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_731-2_0_3_load_0 | 0 | 0.011282 | 0.0028275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_731-2_0_3_load_1 | 1 | 0.015419 | 0.0038644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_731-2_0_3_load_5 | 5 | 0.0041497 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_731-2_0_3_load_58 | 7 | 0.0044199 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_731-2_0_3_load_84 | 9 | 0.0033276 | 0.00083397 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_731-2_0_3_load_59 | 10 | 0.0034981 | 0.0008767 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_731-2_0_3_load_6 | 12 | 0.035525 | 0.0089034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_731-2_0_3_load_7 | 13 | 0.0026223 | 0.00065722 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_731-2_0_3_load_9 | 15 | 0.0036246 | 0.00090841 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_731-2_0_3_load_10 | 16 | 0.006211 | 0.0015566 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_731-2_0_3_load_11 | 17 | 0.0024112 | 0.00060429 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_731-2_0_3_load_40 | 21 | 0.0036791 | 0.00092207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_731-2_0_3_load_67 | 22 | 0.00097455 | 0.00024424 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_731-2_0_3_load_12 | 23 | 0.0017219 | 0.00043156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_731-2_0_3_load_13 | 24 | 0.001001 | 0.00025088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_731-2_0_3_load_16 | 27 | 0.0048519 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_731-2_0_3_load_17 | 28 | 0.00094933 | 0.00023792 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_731-2_0_3_load_18 | 29 | 0.0041087 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_731-2_0_3_load_39 | 33 | 0.0059672 | 0.0014955 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_731-2_0_3_load_38 | 34 | 0.0017124 | 0.00042917 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_731-2_0_3_load_76 | 36 | 0.0022415 | 0.00056177 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_731-2_0_3_load_49 | 37 | 0.010025 | 0.0025125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_731-2_0_3_load_83 | 38 | 0.0055492 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_731-2_0_3_load_47 | 39 | 0.0037352 | 0.00093614 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_731-2_0_3_load_37 | 40 | 0.0040402 | 0.0010126 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_731-2_0_3_load_21 | 41 | 0.0043313 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_731-2_0_3_load_75 | 42 | 0.0012408 | 0.00031097 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_731-2_0_3_load_85 | 44 | 0.0027261 | 0.00068323 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_731-2_0_3_load_27 | 45 | 0.0013425 | 0.00033647 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_731-2_0_3_load_28 | 46 | 0.001959 | 0.00049098 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_731-2_0_3_load_30 | 48 | 0.0023839 | 0.00059746 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_731-2_0_3_load_32 | 50 | 0.00092423 | 0.00023163 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_731-2_0_3_load_60 | 51 | 0.0018509 | 0.00046387 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_731-2_0_3_load_57 | 52 | 0.0019409 | 0.00048643 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_731-2_0_3_load_54 | 53 | 0.0013552 | 0.00033964 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_731-2_0_3_load_33 | 54 | 0.0023141 | 0.00057996 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_731-2_0_3_load_34 | 55 | 0.006114 | 0.0015323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_731-2_0_3_load_35 | 56 | 0.0028025 | 0.00070238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_731-2_0_3_load_36 | 57 | 0.0039691 | 0.00099474 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_731-2_0_3_load_48 | 58 | 0.0086802 | 0.0021755 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_731-2_0_3_load_74 | 59 | 0.0011697 | 0.00029315 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_731-2_0_3_load_43 | 60 | 0.0035538 | 0.00089066 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_731-2_0_3_load_44 | 61 | 0.0086952 | 0.0021792 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_731-2_0_3_load_45 | 62 | 0.003432 | 0.00086013 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_731-2_0_3_load_46 | 63 | 0.0015345 | 0.00038459 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_731-2_0_3_load_52 | 64 | 0.0018054 | 0.00045247 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_731-2_0_3_load_65 | 65 | 0.0010181 | 0.00025515 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_731-2_0_3_load_51 | 66 | 0.0086818 | 0.0021759 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_731-2_0_3_load_55 | 67 | 0.0032658 | 0.0008185 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_731-2_0_3_load_56 | 68 | 0.0036271 | 0.00090904 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_731-2_0_3_load_53 | 69 | 0.0045586 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_731-2_0_3_load_82 | 70 | 0.001825 | 0.00045739 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_731-2_0_3_load_62 | 71 | 0.0051069 | 0.0012799 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_731-2_0_3_load_64 | 73 | 0.008093 | 0.0020283 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_731-2_0_3_load_79 | 74 | 0.010428 | 0.0026136 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_731-2_0_3_load_81 | 75 | 0.0088848 | 0.0022267 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_731-2_0_3_load_68 | 77 | 0.0053535 | 0.0013417 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_731-2_0_3_load_77 | 78 | 0.0079529 | 0.0019932 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_731-2_0_3_load_78 | 80 | 0.00090487 | 0.00022678 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_731-2_0_3_load_73 | 82 | 0.0023097 | 0.00057888 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_731-2_0_3_load_72 | 83 | 0.0053632 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_731-2_0_3_load_71 | 84 | 0.0047776 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_731-2_0_3_line_0 |  | 0 | 1 | 0.0065084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_731-2_0_3_line_1 |  | 0 | 2 | 0.042216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_731-2_0_3_line_2 |  | 1 | 3 | 0.026362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_731-2_0_3_line_3 |  | 2 | 4 | 0.008486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_731-2_0_3_line_4 |  | 3 | 5 | 0.0059911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_731-2_0_3_line_5 |  | 4 | 6 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_731-2_0_3_line_6 |  | 4 | 7 | 0.014592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_731-2_0_3_line_7 |  | 5 | 8 | 0.035264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_731-2_0_3_line_8 |  | 6 | 9 | 0.001727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_731-2_0_3_line_9 |  | 7 | 10 | 0.0072162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_731-2_0_3_line_10 |  | 8 | 11 | 0.007401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_731-2_0_3_line_11 |  | 10 | 51 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_731-2_0_3_line_12 |  | 11 | 43 | 0.070776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_731-2_0_3_line_13 |  | 12 | 13 | 0.034415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_731-2_0_3_line_14 |  | 12 | 14 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_731-2_0_3_line_15 |  | 13 | 15 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_731-2_0_3_line_16 |  | 14 | 16 | 0.031223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_731-2_0_3_line_17 |  | 14 | 17 | 0.068602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_731-2_0_3_line_18 |  | 16 | 18 | 0.032514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_731-2_0_3_line_19 |  | 17 | 19 | 0.019303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_731-2_0_3_line_20 |  | 18 | 20 | 0.062213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_731-2_0_3_line_21 |  | 18 | 21 | 0.025745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_731-2_0_3_line_22 |  | 19 | 22 | 0.027026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_731-2_0_3_line_23 |  | 20 | 59 | 0.021442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_731-2_0_3_line_24 |  | 21 | 27 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_731-2_0_3_line_25 |  | 22 | 76 | 0.00096078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_731-2_0_3_line_26 |  | 23 | 24 | 0.021229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_731-2_0_3_line_27 |  | 23 | 25 | 0.0094755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_731-2_0_3_line_28 |  | 24 | 26 | 0.0079625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_731-2_0_3_line_29 |  | 25 | 27 | 0.027992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_731-2_0_3_line_30 |  | 25 | 28 | 0.009302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_731-2_0_3_line_31 |  | 26 | 29 | 0.023021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_731-2_0_3_line_32 |  | 26 | 30 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_731-2_0_3_line_33 |  | 29 | 31 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_731-2_0_3_line_34 |  | 30 | 35 | 0.012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_731-2_0_3_line_35 |  | 30 | 36 | 0.044576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_731-2_0_3_line_36 |  | 30 | 32 | 0.01818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_731-2_0_3_line_37 |  | 31 | 38 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_731-2_0_3_line_38 |  | 31 | 37 | 0.0096475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_731-2_0_3_line_39 |  | 32 | 33 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_731-2_0_3_line_40 |  | 32 | 34 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_731-2_0_3_line_41 |  | 33 | 39 | 0.028187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_731-2_0_3_line_42 |  | 34 | 40 | 0.031213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_731-2_0_3_line_43 |  | 35 | 41 | 0.060148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_731-2_0_3_line_44 |  | 36 | 42 | 0.008573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_731-2_0_3_line_45 |  | 39 | 58 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_731-2_0_3_line_46 |  | 40 | 56 | 0.0087254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_731-2_0_3_line_47 |  | 42 | 48 | 0.016719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_731-2_0_3_line_48 |  | 43 | 44 | 0.028645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_731-2_0_3_line_49 |  | 45 | 46 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_731-2_0_3_line_50 |  | 45 | 47 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_731-2_0_3_line_51 |  | 46 | 48 | 0.003407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_731-2_0_3_line_52 |  | 47 | 49 | 0.020413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_731-2_0_3_line_53 |  | 47 | 50 | 0.036529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_731-2_0_3_line_54 |  | 49 | 51 | 0.0064126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_731-2_0_3_line_55 |  | 50 | 52 | 0.014218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_731-2_0_3_line_56 |  | 52 | 53 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_731-2_0_3_line_57 |  | 53 | 69 | 0.0029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_731-2_0_3_line_58 |  | 54 | 55 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_731-2_0_3_line_59 |  | 54 | 56 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_731-2_0_3_line_60 |  | 55 | 57 | 0.0021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_731-2_0_3_line_61 |  | 58 | 67 | 0.0075222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_731-2_0_3_line_62 |  | 60 | 61 | 0.037178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_731-2_0_3_line_63 |  | 60 | 62 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_731-2_0_3_line_64 |  | 61 | 63 | 0.018505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_731-2_0_3_line_65 |  | 63 | 64 | 0.016599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_731-2_0_3_line_66 |  | 63 | 65 | 0.022761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_731-2_0_3_line_67 |  | 64 | 66 | 0.0084541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_731-2_0_3_line_68 |  | 66 | 69 | 0.04751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_731-2_0_3_line_69 |  | 67 | 68 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_731-2_0_3_line_70 |  | 69 | 70 | 0.15617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_731-2_0_3_line_71 |  | 71 | 72 | 0.062286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_731-2_0_3_line_72 |  | 72 | 73 | 0.05541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_731-2_0_3_line_73 |  | 72 | 74 | 0.064546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_731-2_0_3_line_74 |  | 73 | 77 | 0.028896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_731-2_0_3_line_75 |  | 74 | 78 | 0.009957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_731-2_0_3_line_76 |  | 75 | 76 | 0.071573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_731-2_0_3_line_77 |  | 76 | 80 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_731-2_0_3_line_78 |  | 77 | 79 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_731-2_0_3_line_79 |  | 78 | 80 | 0.0023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_731-2_0_3_line_80 |  | 79 | 81 | 0.086154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_731-2_0_3_line_81 |  | 81 | 82 | 0.030337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_731-2_0_3_line_82 |  | 82 | 83 | 0.042372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_731-2_0_3_line_83 |  | 83 | 84 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_731-2_0_3_trafo_56 | 0.63 MVA 20/0.4 kV | 85 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2588416.465 | 1218748.9538 | 2588421.4637 | 1218753.1218
1 | 2588385.6363 | 1218720.2992 | 2588394.6115 | 1218730.732 | 2588416.465 | 1218748.9538
2 | 2588441.7081 | 1218770.0067 | 2588434.1982 | 1218763.74 | 2588421.4637 | 1218753.1218
3 | 2588385.6363 | 1218720.2992 | 2588377.1288 | 1218720.0713
4 | 2588441.7081 | 1218770.0067 | 2588443.4264 | 1218775.7461
5 | 2588379.6294 | 1218737.4986 | 2588379.1801 | 1218732.8301 | 2588377.3347 | 1218728.2645 | 2588376.6126 | 1218723.8078 | 2588377.1288 | 1218720.0713
6 | 2588377.1288 | 1218720.0713 | 2588367.9308 | 1218719.8337 | 2588364.8056 | 1218720.518 | 2588363.05 | 1218721.8295
7 | 2588453.5401 | 1218809.5284 | 2588443.4264 | 1218775.7461
8 | 2588379.9894 | 1218739.1877 | 2588379.6294 | 1218737.4986
9 | 2588363.05 | 1218721.8295 | 2588362.3883 | 1218722.3238 | 2588360.2523 | 1218724.3403 | 2588359.3931 | 1218727.3437 | 2588359.3634 | 1218727.6712
10 | 2588456.2248 | 1218816.4271 | 2588453.5401 | 1218809.5284
11 | 2588359.3634 | 1218727.6712 | 2588357.8246 | 1218744.6749
12 | 2588456.2248 | 1218816.4271 | 2588468.9643 | 1218834.9573 | 2588457.6199 | 1218881.8952
13 | 2588315.2987 | 1219052.6907 | 2588291.9414 | 1219043.958 | 2588283.2731 | 1219040.1222
14 | 2588249.4473 | 1219025.1537 | 2588283.2731 | 1219040.1222
15 | 2588315.2987 | 1219052.6907 | 2588337.6988 | 1219061.0654
16 | 2588249.4473 | 1219025.1537 | 2588260.3034 | 1219019.8958 | 2588278.885 | 1219015.2189
17 | 2588249.4473 | 1219025.1537 | 2588185.9811 | 1218999.1109
18 | 2588311.0135 | 1219010.7235 | 2588287.6837 | 1219013.0043 | 2588278.885 | 1219015.2189
19 | 2588168.487 | 1218990.9955 | 2588177.4581 | 1218995.6136 | 2588185.9811 | 1218999.1109
20 | 2588311.0135 | 1219010.7235 | 2588321.6335 | 1219020.3747 | 2588329.472 | 1219016.3458 | 2588338.9588 | 1219013.2031 | 2588349.5634 | 1219011.2144 | 2588364.4738 | 1219010.8071 | 2588367.8206 | 1219010.9561
21 | 2588311.0135 | 1219010.7235 | 2588316.2855 | 1218985.5246
22 | 2588168.487 | 1218990.9955 | 2588173.3729 | 1218964.4146
23 | 2588367.8206 | 1219010.9561 | 2588362.5347 | 1219031.7368
24 | 2588318.3841 | 1218975.4941 | 2588316.2855 | 1218985.5246
25 | 2588173.5465 | 1218963.4696 | 2588173.3729 | 1218964.4146
26 | 2588326.0562 | 1218938.8203 | 2588330.4023 | 1218918.0405
27 | 2588324.1164 | 1218948.0951 | 2588326.0562 | 1218938.8203
28 | 2588332.0323 | 1218910.2467 | 2588330.4023 | 1218918.0405
29 | 2588324.1164 | 1218948.0951 | 2588318.3841 | 1218975.4941
30 | 2588324.1164 | 1218948.0951 | 2588333.2108 | 1218950.0493
31 | 2588332.0323 | 1218910.2467 | 2588354.5185 | 1218915.1804
32 | 2588337.5819 | 1218884.5321 | 2588335.8062 | 1218892.2178 | 2588332.0323 | 1218910.2467
33 | 2588370.4999 | 1218918.6869 | 2588354.5185 | 1218915.1804
34 | 2588337.5819 | 1218884.5321 | 2588348.9628 | 1218879.7181
35 | 2588337.5819 | 1218884.5321 | 2588345.7788 | 1218840.7167
36 | 2588337.5819 | 1218884.5321 | 2588335.8062 | 1218892.2178 | 2588325.8629 | 1218894.8723
37 | 2588370.4999 | 1218918.6869 | 2588374.0074 | 1218902.4666
38 | 2588370.4999 | 1218918.6869 | 2588368.4608 | 1218928.1165
39 | 2588325.8629 | 1218894.8723 | 2588320.9733 | 1218882.0413 | 2588319.1342 | 1218881.622
40 | 2588325.8629 | 1218894.8723 | 2588304.7947 | 1218900.5092
41 | 2588319.1342 | 1218881.622 | 2588301.3936 | 1218877.5774 | 2588291.4039 | 1218877.7718
42 | 2588304.7947 | 1218900.5092 | 2588274.6421 | 1218908.5766
43 | 2588348.9628 | 1218879.7181 | 2588357.5841 | 1218876.1769 | 2588371.3451 | 1218866.1107 | 2588383.399 | 1218856.1924 | 2588400.1784 | 1218849.2257
44 | 2588347.3552 | 1218832.2899 | 2588345.7788 | 1218840.7167
45 | 2588291.4039 | 1218877.7718 | 2588276.19 | 1218878.0678
46 | 2588274.6421 | 1218908.5766 | 2588266.2132 | 1218910.8318
47 | 2588347.3552 | 1218832.2899 | 2588350.4297 | 1218815.8555
48 | 2588457.6199 | 1218881.8952 | 2588429.2902 | 1218877.1367
49 | 2588351.0562 | 1218812.5066 | 2588352.5934 | 1218804.29 | 2588353.7975 | 1218790.1975
50 | 2588355.4047 | 1218771.3878 | 2588353.7975 | 1218790.1975
51 | 2588351.0562 | 1218812.5066 | 2588350.4297 | 1218815.8555
52 | 2588355.4047 | 1218771.3878 | 2588357.2466 | 1218751.0615
53 | 2588355.4047 | 1218771.3878 | 2588318.9324 | 1218769.3477
54 | 2588357.2466 | 1218751.0615 | 2588357.8246 | 1218744.6749
55 | 2588304.8282 | 1218767.7185 | 2588312.5922 | 1218768.9931 | 2588318.9324 | 1218769.3477
56 | 2588304.8282 | 1218767.7185 | 2588292.7432 | 1218765.7344
57 | 2588292.7432 | 1218765.7344 | 2588289.8815 | 1218765.2646
58 | 2588244.2702 | 1218916.7027 | 2588230.1841 | 1218920.4715
59 | 2588244.2702 | 1218916.7027 | 2588266.2132 | 1218910.8318
60 | 2588228.114 | 1218921.0254 | 2588230.1841 | 1218920.4715
61 | 2588268.6692 | 1218878.2141 | 2588276.19 | 1218878.0678
62 | 2588196.7436 | 1218846.341 | 2588222.4166 | 1218819.4501
63 | 2588183.3724 | 1218860.3465 | 2588196.7436 | 1218846.341
64 | 2588235.1949 | 1218806.0657 | 2588222.4166 | 1218819.4501
65 | 2588246.6569 | 1218794.06 | 2588235.1949 | 1218806.0657
66 | 2588235.1949 | 1218806.0657 | 2588216.9456 | 1218792.4629
67 | 2588252.4948 | 1218787.9452 | 2588246.6569 | 1218794.06
68 | 2588252.4948 | 1218787.9452 | 2588259.7898 | 1218780.3041 | 2588277.9992 | 1218763.3138 | 2588289.8815 | 1218765.2646
69 | 2588254.9535 | 1218878.481 | 2588268.6692 | 1218878.2141
70 | 2588289.8815 | 1218765.2646 | 2588226.6503 | 1218622.4693
71 | 2588073.3285 | 1218934.6209 | 2588092.5746 | 1218912.8586 | 2588096.2979 | 1218904.0127 | 2588099.3789 | 1218880.5783
72 | 2588073.3285 | 1218934.6209 | 2588044.6053 | 1218911.6658 | 2588037.0273 | 1218905.6109 | 2588029.9062 | 1218900.2036
73 | 2588137.4806 | 1218941.7405 | 2588073.3285 | 1218934.6209
74 | 2588006.8929 | 1218882.7285 | 2588029.9062 | 1218900.2036
75 | 2588137.4806 | 1218941.7405 | 2588146.0093 | 1218946.8789
76 | 2588173.5465 | 1218963.4696 | 2588175.2956 | 1218953.9496 | 2588177.278 | 1218905.5068 | 2588169.8222 | 1218894.3607
77 | 2588173.5465 | 1218963.4696 | 2588148.0386 | 1218948.1015
78 | 2587997.9089 | 1218875.9065 | 2588006.8929 | 1218882.7285
79 | 2588146.0093 | 1218946.8789 | 2588148.0386 | 1218948.1015
80 | 2587928.8309 | 1218824.1618 | 2587993.8276 | 1218872.8575 | 2587997.9089 | 1218875.9065
81 | 2587928.8309 | 1218824.1618 | 2587905.3949 | 1218804.8975
82 | 2587872.6622 | 1218777.9912 | 2587905.3949 | 1218804.8975
83 | 2587850.5653 | 1218759.8277 | 2587872.6622 | 1218777.9912

## bus_geodata
| x | y | coords
0 | 2588416.465 | 1218748.9538
1 | 2588421.4637 | 1218753.1218
2 | 2588385.6363 | 1218720.2992
3 | 2588441.7081 | 1218770.0067
4 | 2588377.1288 | 1218720.0713
5 | 2588443.4264 | 1218775.7461
6 | 2588379.6294 | 1218737.4986
7 | 2588363.05 | 1218721.8295
8 | 2588453.5401 | 1218809.5284
9 | 2588379.9894 | 1218739.1877
10 | 2588359.3634 | 1218727.6712
11 | 2588456.2248 | 1218816.4271
12 | 2588283.2731 | 1219040.1222
13 | 2588315.2987 | 1219052.6907
14 | 2588249.4473 | 1219025.1537
15 | 2588337.6988 | 1219061.0654
16 | 2588278.885 | 1219015.2189
17 | 2588185.9811 | 1218999.1109
18 | 2588311.0135 | 1219010.7235
19 | 2588168.487 | 1218990.9955
20 | 2588367.8206 | 1219010.9561
21 | 2588316.2855 | 1218985.5246
22 | 2588173.3729 | 1218964.4146
23 | 2588326.0562 | 1218938.8203
24 | 2588330.4023 | 1218918.0405
25 | 2588324.1164 | 1218948.0951
26 | 2588332.0323 | 1218910.2467
27 | 2588318.3841 | 1218975.4941
28 | 2588333.2108 | 1218950.0493
29 | 2588354.5185 | 1218915.1804
30 | 2588337.5819 | 1218884.5321
31 | 2588370.4999 | 1218918.6869
32 | 2588325.8629 | 1218894.8723
33 | 2588319.1342 | 1218881.622
34 | 2588304.7947 | 1218900.5092
35 | 2588348.9628 | 1218879.7181
36 | 2588345.7788 | 1218840.7167
37 | 2588368.4608 | 1218928.1165
38 | 2588374.0074 | 1218902.4666
39 | 2588291.4039 | 1218877.7718
40 | 2588274.6421 | 1218908.5766
41 | 2588400.1784 | 1218849.2257
42 | 2588347.3552 | 1218832.2899
43 | 2588457.6199 | 1218881.8952
44 | 2588429.2902 | 1218877.1367
45 | 2588353.7975 | 1218790.1975
46 | 2588351.0562 | 1218812.5066
47 | 2588355.4047 | 1218771.3878
48 | 2588350.4297 | 1218815.8555
49 | 2588357.2466 | 1218751.0615
50 | 2588318.9324 | 1218769.3477
51 | 2588357.8246 | 1218744.6749
52 | 2588304.8282 | 1218767.7185
53 | 2588292.7432 | 1218765.7344
54 | 2588244.2702 | 1218916.7027
55 | 2588230.1841 | 1218920.4715
56 | 2588266.2132 | 1218910.8318
57 | 2588228.114 | 1218921.0254
58 | 2588276.19 | 1218878.0678
59 | 2588362.5347 | 1219031.7368
60 | 2588196.7436 | 1218846.341
61 | 2588222.4166 | 1218819.4501
62 | 2588183.3724 | 1218860.3465
63 | 2588235.1949 | 1218806.0657
64 | 2588246.6569 | 1218794.06
65 | 2588216.9456 | 1218792.4629
66 | 2588252.4948 | 1218787.9452
67 | 2588268.6692 | 1218878.2141
68 | 2588254.9535 | 1218878.481
69 | 2588289.8815 | 1218765.2646
70 | 2588226.6503 | 1218622.4693
71 | 2588099.3789 | 1218880.5783
72 | 2588073.3285 | 1218934.6209
73 | 2588029.9062 | 1218900.2036
74 | 2588137.4806 | 1218941.7405
75 | 2588169.8222 | 1218894.3607
76 | 2588173.5465 | 1218963.4696
77 | 2588006.8929 | 1218882.7285
78 | 2588146.0093 | 1218946.8789
79 | 2587997.9089 | 1218875.9065
80 | 2588148.0386 | 1218948.1015
81 | 2587928.8309 | 1218824.1618
82 | 2587905.3949 | 1218804.8975
83 | 2587872.6622 | 1218777.9912
84 | 2587850.5653 | 1218759.8277
85 | 2588325.8629 | 1218894.8723

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1