## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_731-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_731-4_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_731-4_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_731-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_731-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_731-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_731-4_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_731-4_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_731-4_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_731-4_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_731-4_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_731-4_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_731-4_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_731-4_0_4_node_110 | 0.4 | n |  | TRUE
14 | bus_LV_731-4_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_731-4_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_731-4_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_731-4_0_4_node_59 | 0.4 | n |  | TRUE
18 | bus_LV_731-4_0_4_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_731-4_0_4_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_731-4_0_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_731-4_0_4_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_731-4_0_4_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_731-4_0_4_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_731-4_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_731-4_0_4_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_731-4_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_731-4_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_731-4_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_731-4_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_731-4_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_731-4_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_731-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_731-4_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_731-4_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_731-4_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_731-4_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_731-4_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_731-4_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_731-4_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_731-4_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_731-4_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_731-4_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_731-4_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_731-4_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_731-4_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_731-4_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_731-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_731-4_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_731-4_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_731-4_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_731-4_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_731-4_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_731-4_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_731-4_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_731-4_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_731-4_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_731-4_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_731-4_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_731-4_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_731-4_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_731-4_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_731-4_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_731-4_0_4_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_731-4_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_731-4_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_731-4_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_731-4_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_731-4_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_731-4_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_731-4_0_4_node_109 | 0.4 | n |  | TRUE
71 | bus_LV_731-4_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_731-4_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_731-4_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_731-4_0_4_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_731-4_0_4_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_731-4_0_4_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_731-4_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_731-4_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_731-4_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_731-4_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_731-4_0_4_node_107 | 0.4 | n |  | TRUE
82 | bus_LV_731-4_0_4_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_731-4_0_4_node_106 | 0.4 | n |  | TRUE
84 | bus_LV_731-4_0_4_node_108 | 0.4 | n |  | TRUE
85 | bus_LV_731-4_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_731-4_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_731-4_0_4_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_731-4_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_731-4_0_4_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_731-4_0_4_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_731-4_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_731-4_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_731-4_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_731-4_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_731-4_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_731-4_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_731-4_0_4_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_731-4_0_4_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_731-4_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_731-4_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_731-4_0_4_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_731-4_0_4_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_731-4_0_4_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_731-4_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_731-4_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_LV_731-4_0_4_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_731-4_0_4_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_731-4_0_4_node_113 | 0.4 | n |  | TRUE
109 | bus_LV_731-4_0_4_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_731-4_0_4_node_101 | 0.4 | n |  | TRUE
111 | bus_MV_609_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_731-4_0_4_load_0 | 0 | 0.025499 | 0.0063907 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_731-4_0_4_load_1 | 2 | 0.0068494 | 0.0017166 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_731-4_0_4_load_4 | 4 | 0.015844 | 0.0039708 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_731-4_0_4_load_8 | 8 | 0.003021 | 0.00075713 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_731-4_0_4_load_6 | 9 | 0.0031864 | 0.00079858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_731-4_0_4_load_55 | 10 | 0.0016407 | 0.00041119 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_731-4_0_4_load_16 | 11 | 0.0024894 | 0.0006239 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_731-4_0_4_load_13 | 12 | 0.0042019 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_731-4_0_4_load_9 | 15 | 0.0017529 | 0.00043931 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_731-4_0_4_load_10 | 16 | 0.0030098 | 0.00075433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_731-4_0_4_load_41 | 18 | 0.0033172 | 0.00083136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_731-4_0_4_load_70 | 19 | 0.0023416 | 0.00058687 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_731-4_0_4_load_78 | 23 | 0.0046253 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_731-4_0_4_load_75 | 24 | 0.0034733 | 0.0008705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_731-4_0_4_load_21 | 26 | 0.0039988 | 0.0010022 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_731-4_0_4_load_14 | 27 | 0.0024996 | 0.00062646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_731-4_0_4_load_15 | 28 | 0.0012392 | 0.00031058 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_731-4_0_4_load_17 | 30 | 0.0021656 | 0.00054276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_731-4_0_4_load_19 | 31 | 0.0016821 | 0.00042159 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_731-4_0_4_load_20 | 32 | 0.0022555 | 0.00056528 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_731-4_0_4_load_33 | 33 | 0.00224 | 0.00056139 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_731-4_0_4_load_25 | 34 | 0.0019233 | 0.00048202 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_731-4_0_4_load_22 | 35 | 0.0036037 | 0.00090316 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_731-4_0_4_load_23 | 36 | 0.0025274 | 0.00063342 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_731-4_0_4_load_26 | 38 | 0.0027538 | 0.00069016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_731-4_0_4_load_27 | 39 | 0.0052889 | 0.0013255 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_731-4_0_4_load_38 | 40 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_731-4_0_4_load_39 | 41 | 0.0053396 | 0.0013382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_731-4_0_4_load_28 | 42 | 0.012449 | 0.0031199 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_731-4_0_4_load_29 | 43 | 0.0024673 | 0.00061836 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_731-4_0_4_load_30 | 44 | 0.014255 | 0.0035727 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_731-4_0_4_load_32 | 46 | 0.0031193 | 0.00078176 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_731-4_0_4_load_37 | 47 | 0.0022365 | 0.00056053 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_731-4_0_4_load_34 | 48 | 0.011905 | 0.0029837 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_731-4_0_4_load_53 | 49 | 0.0078791 | 0.0019747 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_731-4_0_4_load_35 | 50 | 0.0058197 | 0.0014586 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_731-4_0_4_load_36 | 51 | 0.012711 | 0.0031857 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_731-4_0_4_load_49 | 52 | 0.010831 | 0.0027145 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_731-4_0_4_load_47 | 53 | 0.0089072 | 0.0022324 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_731-4_0_4_load_40 | 55 | 0.0041495 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_731-4_0_4_load_79 | 56 | 0.0026721 | 0.0006697 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_731-4_0_4_load_42 | 58 | 0.0027304 | 0.0006843 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_731-4_0_4_load_43 | 59 | 0.0067788 | 0.0016989 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_731-4_0_4_load_44 | 60 | 0.0023321 | 0.00058447 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_731-4_0_4_load_46 | 61 | 0.0043422 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_731-4_0_4_load_51 | 62 | 0.0029463 | 0.0007384 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_731-4_0_4_load_48 | 65 | 0.0036264 | 0.00090887 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_731-4_0_4_load_50 | 66 | 0.0024646 | 0.00061769 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_731-4_0_4_load_71 | 67 | 0.0051036 | 0.0012791 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_731-4_0_4_load_73 | 69 | 0.0033166 | 0.00083121 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_731-4_0_4_load_109 | 70 | 0.0015168 | 0.00038016 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_731-4_0_4_load_65 | 71 | 0.0030756 | 0.00077082 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_731-4_0_4_load_57 | 72 | 0.00059457 | 0.00014901 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_731-4_0_4_load_58 | 73 | 0.00044321 | 0.00011108 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_731-4_0_4_load_111 | 74 | 0.0058157 | 0.0014576 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_731-4_0_4_load_97 | 75 | 0.0082749 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_731-4_0_4_load_62 | 77 | 0.0057207 | 0.0014337 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_731-4_0_4_load_63 | 78 | 0.0026783 | 0.00067125 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_731-4_0_4_load_107 | 81 | 0.0059018 | 0.0014791 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_731-4_0_4_load_105 | 82 | 0.0014754 | 0.00036976 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_731-4_0_4_load_106 | 83 | 0.0066799 | 0.0016742 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_731-4_0_4_load_108 | 84 | 0.0016864 | 0.00042266 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_731-4_0_4_load_67 | 85 | 0.0031067 | 0.00077861 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_731-4_0_4_load_68 | 86 | 0.0019032 | 0.00047699 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_731-4_0_4_load_69 | 87 | 0.0044109 | 0.0011055 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_731-4_0_4_load_74 | 88 | 0.0028915 | 0.00072468 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_731-4_0_4_load_102 | 89 | 0.0027345 | 0.00068534 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_731-4_0_4_load_90 | 91 | 0.0047946 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_731-4_0_4_load_88 | 92 | 0.0031008 | 0.00077714 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_731-4_0_4_load_93 | 93 | 0.0036252 | 0.00090855 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_731-4_0_4_load_89 | 94 | 0.0028664 | 0.00071838 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_731-4_0_4_load_81 | 95 | 0.0034103 | 0.00085469 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_731-4_0_4_load_87 | 98 | 0.0035142 | 0.00088075 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_731-4_0_4_load_84 | 99 | 0.00092565 | 0.00023199 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_731-4_0_4_load_99 | 100 | 0.0023946 | 0.00060013 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_731-4_0_4_load_85 | 101 | 0.0012031 | 0.00030153 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_731-4_0_4_load_86 | 102 | 0.013412 | 0.0033613 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_731-4_0_4_load_100 | 103 | 0.0041573 | 0.0010419 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_731-4_0_4_load_91 | 104 | 0.0066157 | 0.001658 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_731-4_0_4_load_92 | 105 | 0.011944 | 0.0029936 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_731-4_0_4_load_94 | 106 | 0.0062798 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_731-4_0_4_load_95 | 107 | 0.011083 | 0.0027776 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_731-4_0_4_load_113 | 108 | 0.0089832 | 0.0022514 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_731-4_0_4_load_104 | 109 | 0.0039569 | 0.00099169 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_731-4_0_4_load_101 | 110 | 0.0033743 | 0.00084568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_731-4_0_4_line_0 |  | 0 | 1 | 0.040647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_731-4_0_4_line_1 |  | 1 | 4 | 0.056174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_731-4_0_4_line_2 |  | 1 | 5 | 0.045549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_731-4_0_4_line_3 |  | 2 | 3 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_731-4_0_4_line_4 |  | 3 | 6 | 0.03954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_731-4_0_4_line_5 |  | 3 | 7 | 0.051742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_731-4_0_4_line_6 |  | 5 | 8 | 0.0084964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_731-4_0_4_line_7 |  | 5 | 9 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_731-4_0_4_line_8 |  | 6 | 10 | 0.051126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_731-4_0_4_line_9 |  | 7 | 11 | 0.0091888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_731-4_0_4_line_10 |  | 7 | 12 | 0.0012938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_731-4_0_4_line_11 |  | 8 | 13 | 0.0391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_731-4_0_4_line_12 |  | 9 | 14 | 0.017074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_731-4_0_4_line_13 |  | 10 | 25 | 0.027111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_731-4_0_4_line_14 |  | 11 | 26 | 0.022698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_731-4_0_4_line_15 |  | 13 | 18 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_731-4_0_4_line_16 |  | 13 | 19 | 0.016623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_731-4_0_4_line_17 |  | 14 | 15 | 0.031054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_731-4_0_4_line_18 |  | 14 | 16 | 0.0016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_731-4_0_4_line_19 |  | 15 | 17 | 0.0078428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_731-4_0_4_line_20 |  | 17 | 20 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_731-4_0_4_line_21 |  | 18 | 28 | 0.0038464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_731-4_0_4_line_22 |  | 19 | 86 | 0.00092208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_731-4_0_4_line_23 |  | 20 | 74 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_731-4_0_4_line_24 |  | 20 | 75 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_731-4_0_4_line_25 |  | 21 | 22 | 0.026468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_731-4_0_4_line_26 |  | 21 | 23 | 0.03521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_731-4_0_4_line_27 |  | 21 | 24 | 0.036213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_731-4_0_4_line_28 |  | 22 | 91 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_731-4_0_4_line_29 |  | 22 | 92 | 0.018688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_731-4_0_4_line_30 |  | 23 | 76 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_731-4_0_4_line_31 |  | 24 | 46 | 0.030973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_731-4_0_4_line_32 |  | 25 | 72 | 0.018034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_731-4_0_4_line_33 |  | 25 | 73 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_731-4_0_4_line_34 |  | 26 | 29 | 0.016403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_731-4_0_4_line_35 |  | 27 | 28 | 0.014546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_731-4_0_4_line_36 |  | 29 | 32 | 0.011645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_731-4_0_4_line_37 |  | 29 | 30 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_731-4_0_4_line_38 |  | 30 | 31 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_731-4_0_4_line_39 |  | 32 | 33 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_731-4_0_4_line_40 |  | 33 | 34 | 0.017608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_731-4_0_4_line_41 |  | 34 | 36 | 0.010675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_731-4_0_4_line_42 |  | 35 | 36 | 0.009038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_731-4_0_4_line_43 |  | 35 | 37 | 0.0028221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_731-4_0_4_line_44 |  | 37 | 38 | 0.0076962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_731-4_0_4_line_45 |  | 37 | 39 | 0.026705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_731-4_0_4_line_46 |  | 38 | 40 | 0.0076096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_731-4_0_4_line_47 |  | 40 | 41 | 0.048062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_731-4_0_4_line_48 |  | 41 | 55 | 0.00043127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_731-4_0_4_line_49 |  | 42 | 43 | 0.0031566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_731-4_0_4_line_50 |  | 42 | 44 | 0.0023199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_731-4_0_4_line_51 |  | 43 | 45 | 0.025599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_731-4_0_4_line_52 |  | 44 | 46 | 0.014763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_731-4_0_4_line_53 |  | 45 | 47 | 0.0064781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_731-4_0_4_line_54 |  | 45 | 48 | 0.02835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_731-4_0_4_line_55 |  | 47 | 49 | 0.014184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_731-4_0_4_line_56 |  | 48 | 50 | 0.018897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_731-4_0_4_line_57 |  | 49 | 54 | 0.037821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_731-4_0_4_line_58 |  | 50 | 51 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_731-4_0_4_line_59 |  | 51 | 52 | 0.0071768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_731-4_0_4_line_60 |  | 52 | 53 | 0.0059944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_731-4_0_4_line_61 |  | 53 | 65 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_731-4_0_4_line_62 |  | 54 | 57 | 0.003044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_731-4_0_4_line_63 |  | 54 | 59 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_731-4_0_4_line_64 |  | 55 | 56 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_731-4_0_4_line_65 |  | 56 | 57 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_731-4_0_4_line_66 |  | 57 | 63 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_731-4_0_4_line_67 |  | 58 | 59 | 0.006508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_731-4_0_4_line_68 |  | 58 | 60 | 0.017913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_731-4_0_4_line_69 |  | 60 | 61 | 0.024634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_731-4_0_4_line_70 |  | 61 | 62 | 0.0091563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_731-4_0_4_line_71 |  | 62 | 64 | 0.009679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_731-4_0_4_line_72 |  | 63 | 70 | 0.045272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_731-4_0_4_line_73 |  | 63 | 71 | 0.0015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_731-4_0_4_line_74 |  | 64 | 69 | 0.029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_731-4_0_4_line_75 |  | 65 | 66 | 0.0018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_731-4_0_4_line_76 |  | 66 | 67 | 0.0039246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_731-4_0_4_line_77 |  | 67 | 68 | 0.022187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_731-4_0_4_line_78 |  | 68 | 88 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_731-4_0_4_line_79 |  | 71 | 78 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_731-4_0_4_line_80 |  | 75 | 76 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_731-4_0_4_line_81 |  | 77 | 78 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_731-4_0_4_line_82 |  | 77 | 79 | 0.030195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_731-4_0_4_line_83 |  | 79 | 80 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_731-4_0_4_line_84 |  | 80 | 81 | 0.017981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_731-4_0_4_line_85 |  | 80 | 82 | 0.041169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_731-4_0_4_line_86 |  | 82 | 83 | 0.0094051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_731-4_0_4_line_87 |  | 82 | 84 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_731-4_0_4_line_88 |  | 85 | 86 | 0.028504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_731-4_0_4_line_89 |  | 85 | 87 | 0.0098511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_731-4_0_4_line_90 |  | 88 | 89 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_731-4_0_4_line_91 |  | 89 | 90 | 0.014152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_731-4_0_4_line_92 |  | 90 | 109 | 0.013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_731-4_0_4_line_93 |  | 91 | 93 | 0.038316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_731-4_0_4_line_94 |  | 92 | 94 | 0.0063293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_731-4_0_4_line_95 |  | 93 | 104 | 0.0026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_731-4_0_4_line_96 |  | 94 | 102 | 0.0075861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_731-4_0_4_line_97 |  | 95 | 96 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_731-4_0_4_line_98 |  | 96 | 97 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_731-4_0_4_line_99 |  | 97 | 98 | 0.010038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_731-4_0_4_line_100 |  | 97 | 99 | 0.025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_731-4_0_4_line_101 |  | 98 | 100 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_731-4_0_4_line_102 |  | 99 | 101 | 0.0029685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_731-4_0_4_line_103 |  | 100 | 103 | 0.010207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_731-4_0_4_line_104 |  | 101 | 102 | 0.001847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_731-4_0_4_line_105 |  | 103 | 110 | 0.0096381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_731-4_0_4_line_106 |  | 104 | 105 | 0.042904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_731-4_0_4_line_107 |  | 105 | 106 | 0.00043274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_731-4_0_4_line_108 |  | 106 | 107 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_731-4_0_4_line_109 |  | 107 | 108 | 0.045615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_731-4_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 111 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2588562.8309 | 1218875.843 | 2588537.9292 | 1218862.1945 | 2588527.1325 | 1218856.4066
1 | 2588581.6546 | 1218822.9319 | 2588566.9856 | 1218862.0493 | 2588562.8309 | 1218875.843
2 | 2588560.0253 | 1218920.0848 | 2588556.559 | 1218909.1742 | 2588557.5023 | 1218894.6863 | 2588562.8309 | 1218875.843
3 | 2588473.7527 | 1218803.7857 | 2588481.4546 | 1218799.6239 | 2588497.5208 | 1218800.1374
4 | 2588472.0593 | 1218764.2886 | 2588473.7527 | 1218803.7857
5 | 2588473.7527 | 1218803.7857 | 2588464.3161 | 1218809.5852 | 2588453.5401 | 1218809.5284 | 2588456.2248 | 1218816.4271 | 2588468.9643 | 1218834.9573
6 | 2588560.0253 | 1218920.0848 | 2588551.6544 | 1218918.6302
7 | 2588560.0253 | 1218920.0848 | 2588570.291 | 1218923.2223 | 2588572.5936 | 1218924.4057
8 | 2588472.0593 | 1218764.2886 | 2588512.4777 | 1218753.0925 | 2588521.3302 | 1218750.6416
9 | 2588468.9643 | 1218834.9573 | 2588466.8056 | 1218843.889
10 | 2588468.9643 | 1218834.9573 | 2588469.7525 | 1218835.9833
11 | 2588515.4083 | 1218906.1522 | 2588528.3251 | 1218914.5764 | 2588551.6544 | 1218918.6302
12 | 2588587.0055 | 1218933.4959 | 2588577.8339 | 1218927.0989 | 2588572.5936 | 1218924.4057
13 | 2588547.458 | 1218743.408 | 2588521.3302 | 1218750.6416
14 | 2588466.8056 | 1218843.889 | 2588461.4733 | 1218865.9515
15 | 2588515.4083 | 1218906.1522 | 2588507.952 | 1218896.4125
16 | 2588515.4083 | 1218906.1522 | 2588511.7802 | 1218917.4657 | 2588510.7812 | 1218922.1017
17 | 2588587.0055 | 1218933.4959 | 2588600.2253 | 1218905.3961
18 | 2588587.0055 | 1218933.4959 | 2588588.3894 | 1218934.4596
19 | 2588603.564 | 1218898.2994 | 2588600.2253 | 1218905.3961
20 | 2588603.564 | 1218898.2994 | 2588609.9791 | 1218887.9145
21 | 2588507.952 | 1218896.4125 | 2588505.6139 | 1218893.3583
22 | 2588510.5869 | 1218923.0031 | 2588510.7812 | 1218922.1017
23 | 2588609.9791 | 1218887.9145 | 2588614.9842 | 1218882.246 | 2588619.829 | 1218875.429
24 | 2588609.9791 | 1218887.9145 | 2588630.4827 | 1218898.7418
25 | 2588637.357 | 1218973.9666 | 2588627.2985 | 1218964.0803 | 2588618.4488 | 1218955.3923
26 | 2588618.4488 | 1218955.3923 | 2588628.8674 | 1218943.3765 | 2588640.4275 | 1218927.914
27 | 2588618.4488 | 1218955.3923 | 2588612.5855 | 1218960.6511 | 2588601.5888 | 1218968.0098 | 2588588.5753 | 1218975.6784
28 | 2588637.357 | 1218973.9666 | 2588631.2434 | 1218995.6666
29 | 2588637.357 | 1218973.9666 | 2588654.7335 | 1218980.8433
30 | 2588652.9814 | 1218910.6226 | 2588642.7263 | 1218924.8393 | 2588640.4275 | 1218927.914
31 | 2588561.891 | 1218991.403 | 2588588.5753 | 1218975.6784
32 | 2588547.458 | 1218743.408 | 2588565.4373 | 1218742.01
33 | 2588547.458 | 1218743.408 | 2588544.5953 | 1218716.0276
34 | 2588457.6199 | 1218881.8952 | 2588461.4733 | 1218865.9515
35 | 2588498.3961 | 1218880.7716 | 2588503.6465 | 1218890.7885 | 2588505.6139 | 1218893.3583
36 | 2588457.6199 | 1218881.8952 | 2588454.8959 | 1218893.217
37 | 2588457.6199 | 1218881.8952 | 2588446.4105 | 1218880.0124
38 | 2588429.2902 | 1218877.1367 | 2588446.4105 | 1218880.0124
39 | 2588452.3693 | 1218903.7188 | 2588454.8959 | 1218893.217
40 | 2588452.3693 | 1218903.7188 | 2588448.2505 | 1218920.838
41 | 2588445.7535 | 1218931.2165 | 2588448.2505 | 1218920.838
42 | 2588445.7535 | 1218931.2165 | 2588443.6393 | 1218940.0037
43 | 2588442.9791 | 1218942.7475 | 2588443.6393 | 1218940.0037
44 | 2588442.9791 | 1218942.7475 | 2588441.1355 | 1218950.2196
45 | 2588416.6903 | 1218937.6405 | 2588442.9791 | 1218942.7475
46 | 2588439.3126 | 1218957.6076 | 2588441.1355 | 1218950.2196
47 | 2588439.3126 | 1218957.6076 | 2588439.3126 | 1218957.6076 | 2588444.2895 | 1218964.802 | 2588466.7125 | 1218979.9225 | 2588468.3364 | 1218983.8104 | 2588467.0499 | 1218991.7631
48 | 2588466.9811 | 1218992.1888 | 2588467.0499 | 1218991.7631
49 | 2588544.4541 | 1219001.6783 | 2588547.1736 | 1219000.0757
50 | 2588549.1723 | 1218998.898 | 2588547.1736 | 1219000.0757
51 | 2588522.0223 | 1219014.0011 | 2588529.2315 | 1219010.1961 | 2588537.3275 | 1219005.8779 | 2588544.4541 | 1219001.6783
52 | 2588561.891 | 1218991.403 | 2588549.1723 | 1218998.898
53 | 2588522.0223 | 1219014.0011 | 2588516.0524 | 1219016.5161
54 | 2588522.0223 | 1219014.0011 | 2588522.3847 | 1219042.3489
55 | 2588516.0524 | 1219016.5161 | 2588514.2279 | 1219017.2848 | 2588505.5374 | 1219020.27 | 2588502.5873 | 1219020.8935
56 | 2588522.3847 | 1219042.3489 | 2588522.6262 | 1219061.2446
57 | 2588464.9916 | 1219023.5397 | 2588469.5529 | 1219023.8977 | 2588477.892 | 1219023.6369 | 2588486.2689 | 1219023.3315 | 2588495.9269 | 1219022.301 | 2588502.5873 | 1219020.8935
58 | 2588522.6262 | 1219061.2446 | 2588522.7724 | 1219072.6863
59 | 2588522.7724 | 1219072.6863 | 2588522.8641 | 1219079.8624
60 | 2588522.9407 | 1219085.8563 | 2588522.8641 | 1219079.8624
61 | 2588522.9407 | 1219085.8563 | 2588523.1946 | 1219105.7202
62 | 2588461.9482 | 1219023.3011 | 2588464.9916 | 1219023.5397
63 | 2588464.9916 | 1219023.5397 | 2588465.0273 | 1219037.9227
64 | 2588464.901 | 1219005.0472 | 2588466.9811 | 1218992.1888
65 | 2588461.9482 | 1219023.3011 | 2588464.901 | 1219005.0472
66 | 2588461.9482 | 1219023.3011 | 2588448.5191 | 1219020.6369 | 2588441.9526 | 1219019.3267
67 | 2588465.0435 | 1219044.4306 | 2588465.0273 | 1219037.9227
68 | 2588465.0435 | 1219044.4306 | 2588465.0621 | 1219051.9003 | 2588463.0288 | 1219062.1442
69 | 2588458.2558 | 1219086.311 | 2588459.0355 | 1219082.2628 | 2588463.0288 | 1219062.1442
70 | 2588458.2558 | 1219086.311 | 2588456.5241 | 1219095.302
71 | 2588454.6935 | 1219104.8064 | 2588456.5241 | 1219095.302
72 | 2588431.8706 | 1219063.4606 | 2588441.9526 | 1219019.3267
73 | 2588441.9526 | 1219019.3267 | 2588440.4355 | 1219019.0221
74 | 2588454.6935 | 1219104.8064 | 2588481.6516 | 1219116.1225
75 | 2588523.1946 | 1219105.7202 | 2588523.2186 | 1219107.6013
76 | 2588523.2688 | 1219111.5255 | 2588523.2186 | 1219107.6013
77 | 2588523.5523 | 1219133.7112 | 2588523.2688 | 1219111.5255
78 | 2588523.5523 | 1219133.7112 | 2588556.9176 | 1219145.1844
79 | 2588440.4355 | 1219019.0221 | 2588423.1413 | 1219015.5502 | 2588418.4535 | 1219014.7192
80 | 2588652.9814 | 1218910.6226 | 2588630.4827 | 1218898.7418
81 | 2588397.9947 | 1219012.0527 | 2588400.248 | 1219012.1153 | 2588410.4263 | 1219013.2961 | 2588418.4535 | 1219014.7192
82 | 2588367.8206 | 1219010.9561 | 2588384.9414 | 1219011.6896 | 2588397.9947 | 1219012.0527
83 | 2588361.548 | 1219035.6159 | 2588367.8206 | 1219010.9561
84 | 2588361.548 | 1219035.6159 | 2588378.9195 | 1219040.2561
85 | 2588361.548 | 1219035.6159 | 2588358.4757 | 1219047.6955 | 2588385.5977 | 1219057.0963
86 | 2588394.4841 | 1219060.1764 | 2588385.5977 | 1219057.0963
87 | 2588385.5977 | 1219057.0963 | 2588359.4727 | 1219069.206
88 | 2588504.5824 | 1218950.8672 | 2588510.5869 | 1218923.0031
89 | 2588502.5072 | 1218960.4973 | 2588504.5824 | 1218950.8672
90 | 2588572.829 | 1219150.6558 | 2588556.9176 | 1219145.1844
91 | 2588586.212 | 1219155.2578 | 2588572.829 | 1219150.6558
92 | 2588586.212 | 1219155.2578 | 2588591.5289 | 1219142.9831
93 | 2588620.853 | 1219032.5469 | 2588631.2434 | 1218995.6666
94 | 2588654.7335 | 1218980.8433 | 2588660.6187 | 1218983.1723
95 | 2588620.1307 | 1219035.1105 | 2588620.853 | 1219032.5469
96 | 2588660.6187 | 1218983.1723 | 2588665.258 | 1218985.0083 | 2588667.4384 | 1218986.4185
97 | 2588697.6963 | 1219015.6193 | 2588712.8279 | 1218993.9856
98 | 2588697.6963 | 1219015.6193 | 2588689.5058 | 1219006.3074
99 | 2588689.5058 | 1219006.3074 | 2588685.2867 | 1219015.4158
100 | 2588689.5058 | 1219006.3074 | 2588678.0604 | 1218993.2885 | 2588671.4819 | 1218989.0337
101 | 2588679.2035 | 1219028.5482 | 2588685.2867 | 1219015.4158
102 | 2588671.4819 | 1218989.0337 | 2588668.9893 | 1218987.4216
103 | 2588679.2035 | 1219028.5482 | 2588674.9134 | 1219037.8096
104 | 2588668.9893 | 1218987.4216 | 2588667.4384 | 1218986.4185
105 | 2588670.8624 | 1219046.555 | 2588674.9134 | 1219037.8096
106 | 2588620.1307 | 1219035.1105 | 2588618.9518 | 1219039.295 | 2588620.7846 | 1219049.2749 | 2588622.2634 | 1219060.5786 | 2588619.5363 | 1219070.9231 | 2588617.5063 | 1219076.8994
107 | 2588617.3671 | 1219077.3091 | 2588617.5063 | 1219076.8994
108 | 2588617.3671 | 1219077.3091 | 2588610.3922 | 1219097.8429
109 | 2588610.3922 | 1219097.8429 | 2588642.385 | 1219130.3577

## bus_geodata
| x | y | coords
0 | 2588527.1325 | 1218856.4066
1 | 2588562.8309 | 1218875.843
2 | 2588497.5208 | 1218800.1374
3 | 2588473.7527 | 1218803.7857
4 | 2588581.6546 | 1218822.9319
5 | 2588560.0253 | 1218920.0848
6 | 2588472.0593 | 1218764.2886
7 | 2588468.9643 | 1218834.9573
8 | 2588551.6544 | 1218918.6302
9 | 2588572.5936 | 1218924.4057
10 | 2588521.3302 | 1218750.6416
11 | 2588466.8056 | 1218843.889
12 | 2588469.7525 | 1218835.9833
13 | 2588515.4083 | 1218906.1522
14 | 2588587.0055 | 1218933.4959
15 | 2588600.2253 | 1218905.3961
16 | 2588588.3894 | 1218934.4596
17 | 2588603.564 | 1218898.2994
18 | 2588507.952 | 1218896.4125
19 | 2588510.7812 | 1218922.1017
20 | 2588609.9791 | 1218887.9145
21 | 2588618.4488 | 1218955.3923
22 | 2588637.357 | 1218973.9666
23 | 2588640.4275 | 1218927.914
24 | 2588588.5753 | 1218975.6784
25 | 2588547.458 | 1218743.408
26 | 2588461.4733 | 1218865.9515
27 | 2588498.3961 | 1218880.7716
28 | 2588505.6139 | 1218893.3583
29 | 2588457.6199 | 1218881.8952
30 | 2588446.4105 | 1218880.0124
31 | 2588429.2902 | 1218877.1367
32 | 2588454.8959 | 1218893.217
33 | 2588452.3693 | 1218903.7188
34 | 2588448.2505 | 1218920.838
35 | 2588443.6393 | 1218940.0037
36 | 2588445.7535 | 1218931.2165
37 | 2588442.9791 | 1218942.7475
38 | 2588441.1355 | 1218950.2196
39 | 2588416.6903 | 1218937.6405
40 | 2588439.3126 | 1218957.6076
41 | 2588467.0499 | 1218991.7631
42 | 2588547.1736 | 1219000.0757
43 | 2588544.4541 | 1219001.6783
44 | 2588549.1723 | 1218998.898
45 | 2588522.0223 | 1219014.0011
46 | 2588561.891 | 1218991.403
47 | 2588516.0524 | 1219016.5161
48 | 2588522.3847 | 1219042.3489
49 | 2588502.5873 | 1219020.8935
50 | 2588522.6262 | 1219061.2446
51 | 2588522.7724 | 1219072.6863
52 | 2588522.8641 | 1219079.8624
53 | 2588522.9407 | 1219085.8563
54 | 2588464.9916 | 1219023.5397
55 | 2588466.9811 | 1218992.1888
56 | 2588464.901 | 1219005.0472
57 | 2588461.9482 | 1219023.3011
58 | 2588465.0435 | 1219044.4306
59 | 2588465.0273 | 1219037.9227
60 | 2588463.0288 | 1219062.1442
61 | 2588458.2558 | 1219086.311
62 | 2588456.5241 | 1219095.302
63 | 2588441.9526 | 1219019.3267
64 | 2588454.6935 | 1219104.8064
65 | 2588523.1946 | 1219105.7202
66 | 2588523.2186 | 1219107.6013
67 | 2588523.2688 | 1219111.5255
68 | 2588523.5523 | 1219133.7112
69 | 2588481.6516 | 1219116.1225
70 | 2588431.8706 | 1219063.4606
71 | 2588440.4355 | 1219019.0221
72 | 2588565.4373 | 1218742.01
73 | 2588544.5953 | 1218716.0276
74 | 2588619.829 | 1218875.429
75 | 2588630.4827 | 1218898.7418
76 | 2588652.9814 | 1218910.6226
77 | 2588397.9947 | 1219012.0527
78 | 2588418.4535 | 1219014.7192
79 | 2588367.8206 | 1219010.9561
80 | 2588361.548 | 1219035.6159
81 | 2588378.9195 | 1219040.2561
82 | 2588385.5977 | 1219057.0963
83 | 2588394.4841 | 1219060.1764
84 | 2588359.4727 | 1219069.206
85 | 2588504.5824 | 1218950.8672
86 | 2588510.5869 | 1218923.0031
87 | 2588502.5072 | 1218960.4973
88 | 2588556.9176 | 1219145.1844
89 | 2588572.829 | 1219150.6558
90 | 2588586.212 | 1219155.2578
91 | 2588631.2434 | 1218995.6666
92 | 2588654.7335 | 1218980.8433
93 | 2588620.853 | 1219032.5469
94 | 2588660.6187 | 1218983.1723
95 | 2588712.8279 | 1218993.9856
96 | 2588697.6963 | 1219015.6193
97 | 2588689.5058 | 1219006.3074
98 | 2588685.2867 | 1219015.4158
99 | 2588671.4819 | 1218989.0337
100 | 2588679.2035 | 1219028.5482
101 | 2588668.9893 | 1218987.4216
102 | 2588667.4384 | 1218986.4185
103 | 2588674.9134 | 1219037.8096
104 | 2588620.1307 | 1219035.1105
105 | 2588617.5063 | 1219076.8994
106 | 2588617.3671 | 1219077.3091
107 | 2588610.3921 | 1219097.8429
108 | 2588642.385 | 1219130.3577
109 | 2588591.5289 | 1219142.9831
110 | 2588670.8624 | 1219046.555
111 | 2588522.0223 | 1219014.0011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1