## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_732-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_732-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_732-3_0_5_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_732-3_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_732-3_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_732-3_0_5_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_732-3_0_5_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_732-3_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_732-3_0_5_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_732-3_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_732-3_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_732-3_0_5_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_732-3_0_5_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_732-3_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_732-3_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_732-3_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_732-3_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_732-3_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_732-3_0_5_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_732-3_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_732-3_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_732-3_0_5_node_123 | 0.4 | n |  | TRUE
22 | bus_LV_732-3_0_5_node_147 | 0.4 | n |  | TRUE
23 | bus_LV_732-3_0_5_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_732-3_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_732-3_0_5_node_91 | 0.4 | n |  | TRUE
26 | bus_LV_732-3_0_5_node_127 | 0.4 | n |  | TRUE
27 | bus_LV_732-3_0_5_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_732-3_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_732-3_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_732-3_0_5_node_148 | 0.4 | n |  | TRUE
31 | bus_LV_732-3_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_732-3_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_732-3_0_5_node_149 | 0.4 | n |  | TRUE
34 | bus_LV_732-3_0_5_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_732-3_0_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_732-3_0_5_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_732-3_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_732-3_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_732-3_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_732-3_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_732-3_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_732-3_0_5_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_732-3_0_5_node_146 | 0.4 | n |  | TRUE
44 | bus_LV_732-3_0_5_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_732-3_0_5_node_145 | 0.4 | n |  | TRUE
46 | bus_LV_732-3_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_732-3_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_732-3_0_5_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_732-3_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_732-3_0_5_node_161 | 0.4 | n |  | TRUE
51 | bus_LV_732-3_0_5_node_110 | 0.4 | n |  | TRUE
52 | bus_LV_732-3_0_5_node_162 | 0.4 | n |  | TRUE
53 | bus_LV_732-3_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_732-3_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_732-3_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_732-3_0_5_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_732-3_0_5_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_732-3_0_5_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_732-3_0_5_node_157 | 0.4 | n |  | TRUE
60 | bus_LV_732-3_0_5_node_156 | 0.4 | n |  | TRUE
61 | bus_LV_732-3_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_732-3_0_5_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_732-3_0_5_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_732-3_0_5_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_732-3_0_5_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_732-3_0_5_node_131 | 0.4 | n |  | TRUE
67 | bus_LV_732-3_0_5_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_732-3_0_5_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_732-3_0_5_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_732-3_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_732-3_0_5_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_732-3_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_732-3_0_5_node_144 | 0.4 | n |  | TRUE
74 | bus_LV_732-3_0_5_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_732-3_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_732-3_0_5_node_128 | 0.4 | n |  | TRUE
77 | bus_LV_732-3_0_5_node_129 | 0.4 | n |  | TRUE
78 | bus_LV_732-3_0_5_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_732-3_0_5_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_732-3_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_732-3_0_5_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_732-3_0_5_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_732-3_0_5_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_732-3_0_5_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_732-3_0_5_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_732-3_0_5_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_732-3_0_5_node_96 | 0.4 | n |  | TRUE
88 | bus_LV_732-3_0_5_node_103 | 0.4 | n |  | TRUE
89 | bus_LV_732-3_0_5_node_50 | 0.4 | n |  | TRUE
90 | bus_LV_732-3_0_5_node_51 | 0.4 | n |  | TRUE
91 | bus_LV_732-3_0_5_node_154 | 0.4 | n |  | TRUE
92 | bus_LV_732-3_0_5_node_53 | 0.4 | n |  | TRUE
93 | bus_LV_732-3_0_5_node_126 | 0.4 | n |  | TRUE
94 | bus_LV_732-3_0_5_node_125 | 0.4 | n |  | TRUE
95 | bus_LV_732-3_0_5_node_57 | 0.4 | n |  | TRUE
96 | bus_LV_732-3_0_5_node_58 | 0.4 | n |  | TRUE
97 | bus_LV_732-3_0_5_node_59 | 0.4 | n |  | TRUE
98 | bus_LV_732-3_0_5_node_60 | 0.4 | n |  | TRUE
99 | bus_LV_732-3_0_5_node_61 | 0.4 | n |  | TRUE
100 | bus_LV_732-3_0_5_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_732-3_0_5_node_80 | 0.4 | n |  | TRUE
102 | bus_LV_732-3_0_5_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_732-3_0_5_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_732-3_0_5_node_114 | 0.4 | n |  | TRUE
105 | bus_LV_732-3_0_5_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_732-3_0_5_node_62 | 0.4 | n |  | TRUE
107 | bus_LV_732-3_0_5_node_63 | 0.4 | n |  | TRUE
108 | bus_LV_732-3_0_5_node_64 | 0.4 | n |  | TRUE
109 | bus_LV_732-3_0_5_node_65 | 0.4 | n |  | TRUE
110 | bus_LV_732-3_0_5_node_83 | 0.4 | n |  | TRUE
111 | bus_LV_732-3_0_5_node_66 | 0.4 | n |  | TRUE
112 | bus_LV_732-3_0_5_node_159 | 0.4 | n |  | TRUE
113 | bus_LV_732-3_0_5_node_69 | 0.4 | n |  | TRUE
114 | bus_LV_732-3_0_5_node_70 | 0.4 | n |  | TRUE
115 | bus_LV_732-3_0_5_node_71 | 0.4 | n |  | TRUE
116 | bus_LV_732-3_0_5_node_72 | 0.4 | n |  | TRUE
117 | bus_LV_732-3_0_5_node_73 | 0.4 | n |  | TRUE
118 | bus_LV_732-3_0_5_node_141 | 0.4 | n |  | TRUE
119 | bus_LV_732-3_0_5_node_142 | 0.4 | n |  | TRUE
120 | bus_LV_732-3_0_5_node_81 | 0.4 | n |  | TRUE
121 | bus_LV_732-3_0_5_node_155 | 0.4 | n |  | TRUE
122 | bus_LV_732-3_0_5_node_99 | 0.4 | n |  | TRUE
123 | bus_LV_732-3_0_5_node_75 | 0.4 | n |  | TRUE
124 | bus_LV_732-3_0_5_node_77 | 0.4 | n |  | TRUE
125 | bus_LV_732-3_0_5_node_87 | 0.4 | n |  | TRUE
126 | bus_LV_732-3_0_5_node_86 | 0.4 | n |  | TRUE
127 | bus_LV_732-3_0_5_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_732-3_0_5_node_97 | 0.4 | n |  | TRUE
129 | bus_LV_732-3_0_5_node_98 | 0.4 | n |  | TRUE
130 | bus_LV_732-3_0_5_node_100 | 0.4 | n |  | TRUE
131 | bus_LV_732-3_0_5_node_101 | 0.4 | n |  | TRUE
132 | bus_LV_732-3_0_5_node_102 | 0.4 | n |  | TRUE
133 | bus_LV_732-3_0_5_node_109 | 0.4 | n |  | TRUE
134 | bus_LV_732-3_0_5_node_158 | 0.4 | n |  | TRUE
135 | bus_LV_732-3_0_5_node_160 | 0.4 | n |  | TRUE
136 | bus_LV_732-3_0_5_node_133 | 0.4 | n |  | TRUE
137 | bus_LV_732-3_0_5_node_88 | 0.4 | n |  | TRUE
138 | bus_LV_732-3_0_5_node_89 | 0.4 | n |  | TRUE
139 | bus_LV_732-3_0_5_node_90 | 0.4 | n |  | TRUE
140 | bus_LV_732-3_0_5_node_112 | 0.4 | n |  | TRUE
141 | bus_LV_732-3_0_5_node_150 | 0.4 | n |  | TRUE
142 | bus_LV_732-3_0_5_node_151 | 0.4 | n |  | TRUE
143 | bus_LV_732-3_0_5_node_115 | 0.4 | n |  | TRUE
144 | bus_LV_732-3_0_5_node_116 | 0.4 | n |  | TRUE
145 | bus_LV_732-3_0_5_node_108 | 0.4 | n |  | TRUE
146 | bus_LV_732-3_0_5_node_132 | 0.4 | n |  | TRUE
147 | bus_LV_732-3_0_5_node_117 | 0.4 | n |  | TRUE
148 | bus_LV_732-3_0_5_node_118 | 0.4 | n |  | TRUE
149 | bus_LV_732-3_0_5_node_139 | 0.4 | n |  | TRUE
150 | bus_LV_732-3_0_5_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_732-3_0_5_node_119 | 0.4 | n |  | TRUE
152 | bus_LV_732-3_0_5_node_120 | 0.4 | n |  | TRUE
153 | bus_LV_732-3_0_5_node_122 | 0.4 | n |  | TRUE
154 | bus_LV_732-3_0_5_node_143 | 0.4 | n |  | TRUE
155 | bus_LV_732-3_0_5_node_124 | 0.4 | n |  | TRUE
156 | bus_LV_732-3_0_5_node_134 | 0.4 | n |  | TRUE
157 | bus_LV_732-3_0_5_node_135 | 0.4 | n |  | TRUE
158 | bus_LV_732-3_0_5_node_136 | 0.4 | n |  | TRUE
159 | bus_LV_732-3_0_5_node_137 | 0.4 | n |  | TRUE
160 | bus_LV_732-3_0_5_node_152 | 0.4 | n |  | TRUE
161 | bus_MV_465_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_732-3_0_5_load_0 | 0 | 0.015538 | 0.0038941 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_732-3_0_5_load_16 | 2 | 0.002944 | 0.00073783 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_732-3_0_5_load_12 | 5 | 0.0071088 | 0.0017816 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_732-3_0_5_load_13 | 6 | 0.0021821 | 0.0005469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_732-3_0_5_load_14 | 7 | 0.0025022 | 0.00062712 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_732-3_0_5_load_15 | 8 | 0.0094853 | 0.0023772 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_732-3_0_5_load_6 | 9 | 0.0032369 | 0.00081124 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_732-3_0_5_load_5 | 10 | 0.011142 | 0.0027923 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_732-3_0_5_load_21 | 11 | 0.011757 | 0.0029467 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_732-3_0_5_load_8 | 14 | 0.00743 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_732-3_0_5_load_22 | 15 | 0.0089817 | 0.002251 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_732-3_0_5_load_17 | 16 | 0.011171 | 0.0027997 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_732-3_0_5_load_10 | 19 | 0.0033019 | 0.00082754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_732-3_0_5_load_11 | 20 | 0.0037238 | 0.00093326 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_732-3_0_5_load_123 | 21 | 0.0043329 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_732-3_0_5_load_147 | 22 | 0.0026721 | 0.00066968 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_732-3_0_5_load_127 | 26 | 0.0040414 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_732-3_0_5_load_52 | 27 | 0.025663 | 0.0064318 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_732-3_0_5_load_148 | 30 | 0.010136 | 0.0025403 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_732-3_0_5_load_149 | 33 | 0.011794 | 0.0029558 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_732-3_0_5_load_44 | 34 | 0.0077528 | 0.001943 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_732-3_0_5_load_36 | 36 | 0.0022884 | 0.00057352 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_732-3_0_5_load_23 | 37 | 0.0017299 | 0.00043355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_732-3_0_5_load_24 | 38 | 0.0052525 | 0.0013164 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_732-3_0_5_load_25 | 39 | 0.0021943 | 0.00054995 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_732-3_0_5_load_26 | 40 | 0.00084413 | 0.00021156 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_732-3_0_5_load_27 | 41 | 0.0014585 | 0.00036553 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_732-3_0_5_load_107 | 42 | 0.0051942 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_732-3_0_5_load_146 | 43 | 0.0010331 | 0.00025891 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_732-3_0_5_load_106 | 44 | 0.00085009 | 0.00021305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_732-3_0_5_load_145 | 45 | 0.003999 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_732-3_0_5_load_31 | 47 | 0.0011033 | 0.0002765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_732-3_0_5_load_111 | 48 | 0.0038363 | 0.00096147 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_732-3_0_5_load_33 | 49 | 0.00043635 | 0.00010936 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_732-3_0_5_load_161 | 50 | 0.00053896 | 0.00013508 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_732-3_0_5_load_110 | 51 | 0.0030534 | 0.00076525 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_732-3_0_5_load_162 | 52 | 0.00053951 | 0.00013521 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_732-3_0_5_load_28 | 53 | 0.0045311 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_732-3_0_5_load_29 | 54 | 0.0037698 | 0.00094479 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_732-3_0_5_load_30 | 55 | 0.0090256 | 0.002262 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_732-3_0_5_load_85 | 57 | 0.0030443 | 0.00076298 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_732-3_0_5_load_67 | 58 | 0.0015255 | 0.00038233 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_732-3_0_5_load_157 | 59 | 0.0039544 | 0.00099107 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_732-3_0_5_load_34 | 61 | 0.0022283 | 0.00055847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_732-3_0_5_load_35 | 62 | 0.0022628 | 0.00056711 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_732-3_0_5_load_37 | 63 | 0.00307 | 0.00076942 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_732-3_0_5_load_76 | 64 | 0.0022001 | 0.00055139 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_732-3_0_5_load_74 | 65 | 0.0026008 | 0.00065181 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_732-3_0_5_load_131 | 66 | 0.0015009 | 0.00037616 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_732-3_0_5_load_130 | 67 | 0.0016907 | 0.00042373 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_732-3_0_5_load_39 | 68 | 0.008643 | 0.0021661 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_732-3_0_5_load_41 | 69 | 0.011489 | 0.0028794 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_732-3_0_5_load_43 | 70 | 0.0043484 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_732-3_0_5_load_45 | 72 | 0.0057618 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_732-3_0_5_load_144 | 73 | 0.0018106 | 0.00045378 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_732-3_0_5_load_46 | 75 | 0.0056895 | 0.0014259 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_732-3_0_5_load_128 | 76 | 0.0037127 | 0.0009305 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_732-3_0_5_load_129 | 77 | 0.0033978 | 0.00085156 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_732-3_0_5_load_47 | 78 | 0.025609 | 0.0064181 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_732-3_0_5_load_48 | 79 | 0.025612 | 0.0064189 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_732-3_0_5_load_54 | 80 | 0.0023742 | 0.00059503 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_732-3_0_5_load_92 | 84 | 0.0016754 | 0.00041989 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_732-3_0_5_load_93 | 85 | 0.0022989 | 0.00057616 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_732-3_0_5_load_95 | 86 | 0.0026232 | 0.00065743 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_732-3_0_5_load_96 | 87 | 0.0023769 | 0.00059571 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_732-3_0_5_load_103 | 88 | 0.0024475 | 0.0006134 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_732-3_0_5_load_50 | 89 | 0.0048284 | 0.0012101 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_732-3_0_5_load_51 | 90 | 0.0043576 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_732-3_0_5_load_154 | 91 | 0.0050972 | 0.0012775 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_732-3_0_5_load_53 | 92 | 0.0061302 | 0.0015364 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_732-3_0_5_load_126 | 93 | 0.0020233 | 0.00050708 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_732-3_0_5_load_125 | 94 | 0.0015339 | 0.00038444 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_732-3_0_5_load_57 | 95 | 0.0039605 | 0.00099259 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_732-3_0_5_load_58 | 96 | 0.0015725 | 0.00039412 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_732-3_0_5_load_59 | 97 | 0.0030448 | 0.00076311 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_732-3_0_5_load_60 | 98 | 0.002181 | 0.0005466 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_732-3_0_5_load_104 | 100 | 0.0036368 | 0.00091146 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_732-3_0_5_load_80 | 101 | 0.0027344 | 0.00068532 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_732-3_0_5_load_78 | 102 | 0.0023988 | 0.0006012 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_732-3_0_5_load_105 | 103 | 0.003277 | 0.00082129 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_732-3_0_5_load_114 | 104 | 0.0020752 | 0.0005201 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_732-3_0_5_load_79 | 105 | 0.0050982 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_732-3_0_5_load_62 | 106 | 0.0040462 | 0.0010141 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_732-3_0_5_load_63 | 107 | 0.0039256 | 0.00098384 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_732-3_0_5_load_64 | 108 | 0.0062005 | 0.001554 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_732-3_0_5_load_65 | 109 | 0.0040407 | 0.0010127 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_732-3_0_5_load_66 | 111 | 0.001735 | 0.00043483 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_732-3_0_5_load_159 | 112 | 0.0019478 | 0.00048816 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_732-3_0_5_load_69 | 113 | 0.0021379 | 0.00053581 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_732-3_0_5_load_70 | 114 | 0.0035689 | 0.00089444 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_732-3_0_5_load_71 | 115 | 0.0035743 | 0.00089581 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_732-3_0_5_load_73 | 117 | 0.0027529 | 0.00068994 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_732-3_0_5_load_141 | 118 | 0.0081107 | 0.0020327 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_732-3_0_5_load_142 | 119 | 0.0032007 | 0.00080216 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_732-3_0_5_load_81 | 120 | 0.011218 | 0.0028116 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_732-3_0_5_load_155 | 121 | 0.00517 | 0.0012957 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_732-3_0_5_load_99 | 122 | 0.0075892 | 0.001902 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_732-3_0_5_load_75 | 123 | 0.0021965 | 0.00055049 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_732-3_0_5_load_87 | 125 | 0.0026281 | 0.00065867 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_732-3_0_5_load_86 | 126 | 0.0026183 | 0.0006562 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_732-3_0_5_load_113 | 127 | 0.0032448 | 0.00081323 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_732-3_0_5_load_97 | 128 | 0.0017268 | 0.00043278 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_732-3_0_5_load_98 | 129 | 0.0015193 | 0.00038076 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_732-3_0_5_load_100 | 130 | 0.0014365 | 0.00036002 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_732-3_0_5_load_101 | 131 | 0.0021623 | 0.00054191 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_732-3_0_5_load_102 | 132 | 0.0014429 | 0.00036163 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_732-3_0_5_load_109 | 133 | 0.0018939 | 0.00047466 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_732-3_0_5_load_158 | 134 | 0.001897 | 0.00047543 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_732-3_0_5_load_160 | 135 | 0.0018427 | 0.00046183 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_732-3_0_5_load_89 | 138 | 0.0027114 | 0.00067954 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_732-3_0_5_load_90 | 139 | 0.0025606 | 0.00064175 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_732-3_0_5_load_112 | 140 | 0.0025839 | 0.0006476 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_732-3_0_5_load_150 | 141 | 0.0049754 | 0.0012469 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_732-3_0_5_load_151 | 142 | 0.002537 | 0.00063583 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_732-3_0_5_load_115 | 143 | 0.0040169 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_732-3_0_5_load_108 | 145 | 0.0022077 | 0.00055331 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_732-3_0_5_load_117 | 147 | 0.0016954 | 0.0004249 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_732-3_0_5_load_118 | 148 | 0.0020885 | 0.00052343 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_732-3_0_5_load_139 | 149 | 0.0039483 | 0.00098953 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_732-3_0_5_load_140 | 150 | 0.0057658 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_732-3_0_5_load_119 | 151 | 0.0033014 | 0.00082742 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_732-3_0_5_load_120 | 152 | 0.0031122 | 0.00077998 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_732-3_0_5_load_122 | 153 | 0.0045824 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_732-3_0_5_load_143 | 154 | 0.0023858 | 0.00059795 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_732-3_0_5_load_124 | 155 | 0.002297 | 0.00057569 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_732-3_0_5_load_134 | 156 | 0.003518 | 0.00088169 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_732-3_0_5_load_135 | 157 | 0.0035192 | 0.000882 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_732-3_0_5_load_136 | 158 | 0.0028607 | 0.00071696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_732-3_0_5_line_0 |  | 0 | 1 | 0.024125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_732-3_0_5_line_1 |  | 0 | 2 | 0.034774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_732-3_0_5_line_2 |  | 1 | 3 | 0.034656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_732-3_0_5_line_3 |  | 1 | 4 | 0.046063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_732-3_0_5_line_4 |  | 2 | 7 | 0.013283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_732-3_0_5_line_5 |  | 3 | 9 | 0.0019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_732-3_0_5_line_6 |  | 3 | 10 | 0.016635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_732-3_0_5_line_7 |  | 4 | 11 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_732-3_0_5_line_8 |  | 5 | 6 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_732-3_0_5_line_9 |  | 5 | 7 | 0.00042176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_732-3_0_5_line_10 |  | 6 | 8 | 0.010245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_732-3_0_5_line_11 |  | 9 | 14 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_732-3_0_5_line_12 |  | 10 | 12 | 0.016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_732-3_0_5_line_13 |  | 11 | 15 | 0.026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_732-3_0_5_line_14 |  | 12 | 13 | 0.004243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_732-3_0_5_line_15 |  | 13 | 16 | 0.017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_732-3_0_5_line_16 |  | 14 | 17 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_732-3_0_5_line_17 |  | 16 | 18 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_732-3_0_5_line_18 |  | 17 | 19 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_732-3_0_5_line_19 |  | 17 | 20 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_732-3_0_5_line_20 |  | 18 | 28 | 0.033533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_732-3_0_5_line_21 |  | 19 | 21 | 0.0016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_732-3_0_5_line_22 |  | 20 | 22 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_732-3_0_5_line_23 |  | 21 | 23 | 0.0086024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_732-3_0_5_line_24 |  | 22 | 24 | 0.0090324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_732-3_0_5_line_25 |  | 23 | 153 | 0.018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_732-3_0_5_line_26 |  | 23 | 151 | 0.0087909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_732-3_0_5_line_27 |  | 24 | 92 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_732-3_0_5_line_28 |  | 24 | 90 | 0.024842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_732-3_0_5_line_29 |  | 25 | 26 | 0.049219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_732-3_0_5_line_30 |  | 25 | 27 | 0.024389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_732-3_0_5_line_31 |  | 26 | 93 | 0.020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_732-3_0_5_line_32 |  | 27 | 92 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_732-3_0_5_line_33 |  | 28 | 29 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_732-3_0_5_line_34 |  | 28 | 30 | 0.022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_732-3_0_5_line_35 |  | 29 | 34 | 0.040929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_732-3_0_5_line_36 |  | 29 | 35 | 0.018194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_732-3_0_5_line_37 |  | 30 | 33 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_732-3_0_5_line_38 |  | 31 | 32 | 0.034253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_732-3_0_5_line_39 |  | 31 | 33 | 0.030581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_732-3_0_5_line_40 |  | 32 | 36 | 0.029941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_732-3_0_5_line_41 |  | 34 | 72 | 0.0019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_732-3_0_5_line_42 |  | 35 | 70 | 0.020145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_732-3_0_5_line_43 |  | 35 | 68 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_732-3_0_5_line_44 |  | 36 | 61 | 0.0010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_732-3_0_5_line_45 |  | 37 | 38 | 0.032927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_732-3_0_5_line_46 |  | 37 | 39 | 0.0072113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_732-3_0_5_line_47 |  | 38 | 40 | 0.016574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_732-3_0_5_line_48 |  | 39 | 41 | 0.027935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_732-3_0_5_line_49 |  | 40 | 45 | 0.032646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_732-3_0_5_line_50 |  | 41 | 46 | 0.073071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_732-3_0_5_line_51 |  | 42 | 43 | 0.37974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_732-3_0_5_line_52 |  | 42 | 44 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_732-3_0_5_line_53 |  | 43 | 45 | 0.005324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_732-3_0_5_line_54 |  | 44 | 110 | 0.0098771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_732-3_0_5_line_55 |  | 46 | 49 | 0.00063219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_732-3_0_5_line_56 |  | 46 | 47 | 0.035383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_732-3_0_5_line_57 |  | 47 | 48 | 0.12703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_732-3_0_5_line_58 |  | 48 | 51 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_732-3_0_5_line_59 |  | 49 | 50 | 0.0024318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_732-3_0_5_line_60 |  | 50 | 52 | 9.1242e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_732-3_0_5_line_61 |  | 53 | 54 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_732-3_0_5_line_62 |  | 54 | 55 | 0.0066689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_732-3_0_5_line_63 |  | 55 | 56 | 0.025625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_732-3_0_5_line_64 |  | 56 | 57 | 0.015691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_732-3_0_5_line_65 |  | 56 | 58 | 0.036045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_732-3_0_5_line_66 |  | 57 | 112 | 0.0040569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_732-3_0_5_line_67 |  | 58 | 111 | 0.00011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_732-3_0_5_line_68 |  | 59 | 60 | 0.0222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_732-3_0_5_line_69 |  | 60 | 121 | 0.025292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_732-3_0_5_line_70 |  | 60 | 134 | 0.0038461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_732-3_0_5_line_71 |  | 61 | 62 | 0.0010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_732-3_0_5_line_72 |  | 62 | 63 | 0.06755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_732-3_0_5_line_73 |  | 63 | 64 | 0.02143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_732-3_0_5_line_74 |  | 64 | 65 | 0.00077568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_732-3_0_5_line_75 |  | 65 | 123 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_732-3_0_5_line_76 |  | 66 | 67 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_732-3_0_5_line_77 |  | 67 | 146 | 0.03524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_732-3_0_5_line_78 |  | 68 | 69 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_732-3_0_5_line_79 |  | 70 | 71 | 0.0016535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_732-3_0_5_line_80 |  | 71 | 73 | 0.01996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_732-3_0_5_line_81 |  | 71 | 74 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_732-3_0_5_line_82 |  | 72 | 75 | 0.018061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_732-3_0_5_line_83 |  | 73 | 135 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_732-3_0_5_line_84 |  | 74 | 110 | 0.025556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_732-3_0_5_line_85 |  | 74 | 109 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_732-3_0_5_line_86 |  | 75 | 76 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_732-3_0_5_line_87 |  | 76 | 77 | 0.0020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_732-3_0_5_line_88 |  | 78 | 79 | 0.042788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_732-3_0_5_line_89 |  | 78 | 80 | 0.044901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_732-3_0_5_line_90 |  | 79 | 81 | 0.020837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_732-3_0_5_line_91 |  | 80 | 82 | 0.032365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_732-3_0_5_line_92 |  | 81 | 89 | 0.0031049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_732-3_0_5_line_93 |  | 81 | 90 | 0.023492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_732-3_0_5_line_94 |  | 82 | 83 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_732-3_0_5_line_95 |  | 83 | 87 | 0.016169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_732-3_0_5_line_96 |  | 84 | 85 | 0.0083543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_732-3_0_5_line_97 |  | 85 | 86 | 0.010346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_732-3_0_5_line_98 |  | 86 | 88 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_732-3_0_5_line_99 |  | 88 | 132 | 0.0063751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_732-3_0_5_line_100 |  | 89 | 91 | 0.0004446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_732-3_0_5_line_101 |  | 93 | 94 | 0.010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_732-3_0_5_line_102 |  | 95 | 96 | 0.00030205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_732-3_0_5_line_103 |  | 95 | 97 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_732-3_0_5_line_104 |  | 96 | 98 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_732-3_0_5_line_105 |  | 97 | 99 | 0.010969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_732-3_0_5_line_106 |  | 98 | 100 | 0.0016148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_732-3_0_5_line_107 |  | 99 | 101 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_732-3_0_5_line_108 |  | 99 | 102 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_732-3_0_5_line_109 |  | 100 | 103 | 0.0066236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_732-3_0_5_line_110 |  | 101 | 104 | 0.022548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_732-3_0_5_line_111 |  | 102 | 105 | 0.028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_732-3_0_5_line_112 |  | 103 | 143 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_732-3_0_5_line_113 |  | 104 | 127 | 0.0099161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
114 | LV_732-3_0_5_line_114 |  | 106 | 107 | 0.0027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_732-3_0_5_line_115 |  | 106 | 108 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_732-3_0_5_line_116 |  | 107 | 109 | 0.025927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_732-3_0_5_line_117 |  | 110 | 133 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_732-3_0_5_line_118 |  | 112 | 136 | 0.026433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_732-3_0_5_line_119 |  | 113 | 114 | 0.002327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_732-3_0_5_line_120 |  | 113 | 115 | 0.018139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_732-3_0_5_line_121 |  | 114 | 116 | 0.038825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_732-3_0_5_line_122 |  | 115 | 117 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_732-3_0_5_line_123 |  | 116 | 118 | 0.025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_732-3_0_5_line_124 |  | 116 | 119 | 0.0023553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_732-3_0_5_line_125 |  | 117 | 120 | 0.01203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_732-3_0_5_line_126 |  | 119 | 121 | 0.027726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_732-3_0_5_line_127 |  | 120 | 122 | 0.040798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_732-3_0_5_line_128 |  | 122 | 128 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_732-3_0_5_line_129 |  | 123 | 124 | 0.014313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_732-3_0_5_line_130 |  | 124 | 125 | 0.023263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_732-3_0_5_line_131 |  | 125 | 126 | 0.0018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_732-3_0_5_line_132 |  | 126 | 137 | 0.047581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_732-3_0_5_line_133 |  | 127 | 140 | 0.011258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_732-3_0_5_line_134 |  | 128 | 129 | 0.0019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_732-3_0_5_line_135 |  | 129 | 130 | 0.014753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_732-3_0_5_line_136 |  | 130 | 131 | 0.0082262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_732-3_0_5_line_137 |  | 131 | 132 | 0.0022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_732-3_0_5_line_138 |  | 133 | 134 | 0.029274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_732-3_0_5_line_139 |  | 136 | 146 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_732-3_0_5_line_140 |  | 136 | 148 | 0.049563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_732-3_0_5_line_141 |  | 137 | 138 | 0.0066651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_732-3_0_5_line_142 |  | 137 | 139 | 0.018394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_732-3_0_5_line_143 |  | 138 | 140 | 0.012895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_732-3_0_5_line_144 |  | 139 | 141 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_732-3_0_5_line_145 |  | 141 | 142 | 0.0034458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_732-3_0_5_line_146 |  | 142 | 160 | 0.018483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_732-3_0_5_line_147 |  | 143 | 144 | 0.045141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_732-3_0_5_line_148 |  | 144 | 147 | 0.045019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_732-3_0_5_line_149 |  | 144 | 148 | 0.017618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_732-3_0_5_line_150 |  | 145 | 146 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_732-3_0_5_line_151 |  | 147 | 149 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_732-3_0_5_line_152 |  | 149 | 150 | 0.0030638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_732-3_0_5_line_153 |  | 151 | 152 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_732-3_0_5_line_154 |  | 153 | 154 | 0.002536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_732-3_0_5_line_155 |  | 154 | 155 | 0.0087487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_732-3_0_5_line_156 |  | 156 | 157 | 0.033501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_732-3_0_5_line_157 |  | 156 | 158 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_732-3_0_5_line_158 |  | 157 | 159 | 0.020079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_732-3_0_5_line_159 |  | 159 | 160 | 0.029155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_732-3_0_5_trafo_45 | 0.63 MVA 20/0.4 kV | 161 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2585388.4198 | 1216798.5508 | 2585366.3382 | 1216788.8333
1 | 2585366.3382 | 1216788.8333 | 2585337.6074 | 1216808.423
2 | 2585420.216 | 1216812.5471 | 2585388.4198 | 1216798.5508
3 | 2585388.4198 | 1216798.5508 | 2585401.9252 | 1216768.0001 | 2585390.3511 | 1216762.8701
4 | 2585338.996 | 1216821.6332 | 2585337.6074 | 1216808.423
5 | 2585420.216 | 1216812.5471 | 2585419.4382 | 1216814.3441
6 | 2585420.216 | 1216812.5471 | 2585423.3866 | 1216805.3908 | 2585426.9841 | 1216797.3511
7 | 2585390.3511 | 1216762.8701 | 2585373.5984 | 1216755.4346
8 | 2585339.0401 | 1216822.0527 | 2585340.9666 | 1216840.3803
9 | 2585339.0401 | 1216822.0527 | 2585338.996 | 1216821.6332
10 | 2585342.0377 | 1216850.5696 | 2585340.9666 | 1216840.3803
11 | 2585412.9837 | 1216829.257 | 2585419.4382 | 1216814.3441
12 | 2585433.7901 | 1216782.1408 | 2585426.9841 | 1216797.3511
13 | 2585373.5984 | 1216755.4346 | 2585348.9553 | 1216744.497
14 | 2585433.7901 | 1216782.1408 | 2585435.5266 | 1216778.2677
15 | 2585435.5266 | 1216778.2677 | 2585442.4906 | 1216762.7004
16 | 2585408.4483 | 1216839.736 | 2585412.9837 | 1216829.257
17 | 2585448.9048 | 1216748.3622 | 2585442.4906 | 1216762.7004
18 | 2585408.4483 | 1216839.736 | 2585427.9928 | 1216847.606
19 | 2585408.4483 | 1216839.736 | 2585393.6784 | 1216873.6496
20 | 2585479.6449 | 1216761.9612 | 2585448.9048 | 1216748.3622
21 | 2585427.9928 | 1216847.606 | 2585429.5563 | 1216848.2356
22 | 2585387.9603 | 1216886.7791 | 2585393.6784 | 1216873.6496
23 | 2585437.536 | 1216851.4489 | 2585429.5563 | 1216848.2356
24 | 2585384.3538 | 1216895.0602 | 2585387.9603 | 1216886.7791
25 | 2585437.536 | 1216851.4489 | 2585443.5694 | 1216838.46 | 2585447.1548 | 1216839.8466
26 | 2585437.536 | 1216851.4489 | 2585444.7244 | 1216854.344 | 2585445.758 | 1216854.2164
27 | 2585384.3538 | 1216895.0602 | 2585378.7807 | 1216906.2121
28 | 2585384.3538 | 1216895.0602 | 2585384.642 | 1216901.1185 | 2585395.7129 | 1216908.5287 | 2585400.7405 | 1216910.6448
29 | 2585348.6063 | 1216913.0587 | 2585345.0701 | 1216910.4771 | 2585308.8387 | 1216884.0578
30 | 2585372.1152 | 1216919.5501 | 2585348.6063 | 1216913.0587
31 | 2585308.8387 | 1216884.0578 | 2585292.033 | 1216871.8034
32 | 2585378.7807 | 1216906.2121 | 2585372.1152 | 1216919.5501
33 | 2585507.2007 | 1216774.1563 | 2585479.6449 | 1216761.9612
34 | 2585479.6449 | 1216761.9612 | 2585488.5877 | 1216741.4505
35 | 2585507.2007 | 1216774.1563 | 2585494.4341 | 1216799.7354 | 2585491.091 | 1216801.6447 | 2585485.8427 | 1216800.4791 | 2585483.0388 | 1216799.1233
36 | 2585507.2007 | 1216774.1563 | 2585523.8815 | 1216781.5308
37 | 2585488.5877 | 1216741.4505 | 2585493.6782 | 1216729.7752 | 2585491.0237 | 1216728.5943
38 | 2585476.4947 | 1216684.636 | 2585463.0822 | 1216716.1647
39 | 2585463.0822 | 1216716.1647 | 2585491.0237 | 1216728.5943
40 | 2585476.4947 | 1216684.636 | 2585472.4455 | 1216680.3435 | 2585450.5003 | 1216670.5289
41 | 2585481.2397 | 1216798.2534 | 2585483.0388 | 1216799.1233
42 | 2585523.8815 | 1216781.5308 | 2585542.3028 | 1216789.6846
43 | 2585523.8815 | 1216781.5308 | 2585530.6917 | 1216764.035
44 | 2585449.5445 | 1216670.1014 | 2585450.5003 | 1216670.5289
45 | 2586031.5364 | 1216900.2054 | 2586028.778 | 1216895.5169 | 2586009.7902 | 1216875.6417
46 | 2586035.1932 | 1216906.4208 | 2586031.5364 | 1216900.2054
47 | 2585998.0137 | 1216863.981 | 2586007.4778 | 1216873.2212 | 2586009.7902 | 1216875.6417
48 | 2586035.1932 | 1216906.4208 | 2586035.4012 | 1216906.7744 | 2586046.2666 | 1216917.5549 | 2586055.4073 | 1216925.6624
49 | 2585998.0137 | 1216863.981 | 2585993.7898 | 1216859.857 | 2585984.5319 | 1216854.8427 | 2585968.5447 | 1216852.1425
50 | 2586055.4073 | 1216925.6624 | 2586019.0925 | 1216989.0708
51 | 2585590.9032 | 1216776.9073 | 2585963.2951 | 1216851.2558
52 | 2585582.8656 | 1216797.1848 | 2585590.9032 | 1216776.9073
53 | 2585963.2951 | 1216851.2558 | 2585968.5447 | 1216852.1425
54 | 2585576.6899 | 1216804.8931 | 2585582.8656 | 1216797.1848
55 | 2586019.5726 | 1216989.4821 | 2586019.0925 | 1216989.0708
56 | 2586019.0925 | 1216989.0708 | 2586013.6954 | 1216989.1281 | 2585991.1121 | 1216969.402
57 | 2585991.1121 | 1216969.402 | 2585913.0154 | 1217069.5852
58 | 2585913.0154 | 1217069.5852 | 2585904.0708 | 1217076.1213
59 | 2586021.4195 | 1216991.064 | 2586019.5726 | 1216989.4821
60 | 2586021.4888 | 1216991.1234 | 2586021.4195 | 1216991.064
61 | 2585608.996 | 1216613.1826 | 2585613.153 | 1216602.8228
62 | 2585606.5125 | 1216619.3718 | 2585608.996 | 1216613.1826
63 | 2585598.0995 | 1216643.5714 | 2585605.1243 | 1216622.8314 | 2585606.5125 | 1216619.3718
64 | 2585598.0995 | 1216643.5714 | 2585593.2221 | 1216658.4853
65 | 2585598.0995 | 1216643.5714 | 2585608.2354 | 1216647.2489 | 2585632.3493 | 1216654.781
66 | 2585591.9611 | 1216662.3412 | 2585593.2221 | 1216658.4853
67 | 2585632.4581 | 1216654.815 | 2585632.3493 | 1216654.781
68 | 2585549.9427 | 1216850.1618 | 2585560.9451 | 1216860.6966 | 2585566.4742 | 1216864.9367
69 | 2585549.9427 | 1216850.1618 | 2585544.5746 | 1216859.0244 | 2585535.68 | 1216871.0166
70 | 2585549.9427 | 1216850.1618 | 2585552.0683 | 1216846.9565
71 | 2585449.5445 | 1216670.1014 | 2585448.5851 | 1216669.6723
72 | 2585448.5851 | 1216669.6723 | 2585442.1606 | 1216666.799 | 2585386.9027 | 1216642.1364
73 | 2585386.9027 | 1216642.1364 | 2585367.3334 | 1216633.4023
74 | 2585366.6251 | 1216633.0862 | 2585367.3334 | 1216633.4023
75 | 2585366.6251 | 1216633.0862 | 2585348.8341 | 1216625.1457
76 | 2585561.2325 | 1216705.218 | 2585540.087 | 1216692.8716
77 | 2585587.9753 | 1216697.7046 | 2585573.9753 | 1216712.6583 | 2585561.2325 | 1216705.218
78 | 2585538.4789 | 1216744.0294 | 2585530.6917 | 1216764.035
79 | 2585543.8148 | 1216790.3538 | 2585542.3028 | 1216789.6846
80 | 2585543.8148 | 1216790.3538 | 2585532.5204 | 1216806.8106
81 | 2585553.2609 | 1216794.5332 | 2585543.8148 | 1216790.3538
82 | 2585481.2397 | 1216798.2534 | 2585464.98 | 1216790.3912 | 2585464.98 | 1216790.3912
83 | 2585516.8197 | 1216824.2168 | 2585523.3692 | 1216814.2062 | 2585529.8209 | 1216810.744 | 2585532.5204 | 1216806.8106
84 | 2585553.2609 | 1216794.5332 | 2585576.6899 | 1216804.8931
85 | 2585553.2609 | 1216794.5332 | 2585557.9135 | 1216783.639
86 | 2585464.98 | 1216790.3912 | 2585459.9511 | 1216799.7589
87 | 2585458.98 | 1216801.5678 | 2585459.9511 | 1216799.7589
88 | 2585396.0461 | 1216977.6721 | 2585413.7645 | 1216938.7247
89 | 2585396.0461 | 1216977.6721 | 2585382.7424 | 1217020.5568
90 | 2585422.3928 | 1216919.7583 | 2585413.7645 | 1216938.7247
91 | 2585392.7024 | 1217051.3509 | 2585382.7424 | 1217020.5568
92 | 2585422.3928 | 1216919.7583 | 2585425.2549 | 1216920.9621
93 | 2585422.3928 | 1216919.7583 | 2585400.7405 | 1216910.6448
94 | 2585392.7024 | 1217051.3509 | 2585405.2782 | 1217044.2714
95 | 2585405.2782 | 1217044.2714 | 2585416.9232 | 1217033.0536
96 | 2585435.8596 | 1217063.5898 | 2585441.0748 | 1217057.0633
97 | 2585441.0748 | 1217057.0633 | 2585447.5332 | 1217048.9813 | 2585447.5332 | 1217048.9813
98 | 2585461.2938 | 1217042.1214 | 2585461.2938 | 1217042.1214 | 2585447.5332 | 1217048.9813
99 | 2585464.8243 | 1217036.8131 | 2585461.2938 | 1217042.1214
100 | 2585425.2549 | 1216920.9621 | 2585425.6647 | 1216921.1345
101 | 2585283.4551 | 1216865.5486 | 2585292.033 | 1216871.8034
102 | 2585463.054 | 1216594.5114 | 2585463.2988 | 1216594.6882
103 | 2585463.054 | 1216594.5114 | 2585460.6385 | 1216592.7671 | 2585448.8152 | 1216584.7755
104 | 2585478.1224 | 1216605.3928 | 2585463.2988 | 1216594.6882
105 | 2585439.7272 | 1216578.6326 | 2585448.8152 | 1216584.7755
106 | 2585479.4315 | 1216606.3382 | 2585478.1224 | 1216605.3928
107 | 2585439.7272 | 1216578.6326 | 2585428.7436 | 1216574.8247
108 | 2585439.7272 | 1216578.6326 | 2585440.9875 | 1216567.1467
109 | 2585479.4315 | 1216606.3382 | 2585484.8014 | 1216610.2159
110 | 2585407.4394 | 1216567.4386 | 2585428.7436 | 1216574.8247
111 | 2585444.0932 | 1216538.8437 | 2585440.9875 | 1216567.1467
112 | 2585495.7947 | 1216618.1546 | 2585484.8014 | 1216610.2159
113 | 2585398.0704 | 1216564.1905 | 2585407.4394 | 1216567.4386
114 | 2585569.193 | 1216757.2274 | 2585568.0963 | 1216759.7955
115 | 2585574.8864 | 1216743.8961 | 2585569.193 | 1216757.2274
116 | 2585557.9135 | 1216783.639 | 2585568.0963 | 1216759.7955
117 | 2585576.6899 | 1216804.8931 | 2585568.0789 | 1216822.463
118 | 2585583.7447 | 1216687.4646 | 2585591.9611 | 1216662.3412
119 | 2585524.2459 | 1216929.2438 | 2585525.4044 | 1216927.2257
120 | 2585524.2459 | 1216929.2438 | 2585515.2153 | 1216944.9751
121 | 2585517.76 | 1216895.1771 | 2585532.4817 | 1216914.8969 | 2585525.4044 | 1216927.2257
122 | 2585509.4752 | 1216954.9744 | 2585515.2153 | 1216944.9751
123 | 2585517.76 | 1216895.1771 | 2585500.8204 | 1216914.3153
124 | 2585517.76 | 1216895.1771 | 2585519.1631 | 1216893.2854
125 | 2585503.4861 | 1216965.4076 | 2585509.4752 | 1216954.9744
126 | 2585519.1631 | 1216893.2854 | 2585535.68 | 1216871.0166
127 | 2585503.4861 | 1216965.4076 | 2585480.7658 | 1216999.2937
128 | 2585480.7658 | 1216999.2937 | 2585476.0456 | 1217012.261
129 | 2585335.7636 | 1216619.3121 | 2585348.8341 | 1216625.1457
130 | 2585335.7636 | 1216619.3121 | 2585345.3418 | 1216598.1123
131 | 2585346.1127 | 1216596.4062 | 2585345.3418 | 1216598.1123
132 | 2585368.7483 | 1216554.7161 | 2585356.4661 | 1216573.4904 | 2585346.1127 | 1216596.4062
133 | 2585398.0704 | 1216564.1905 | 2585389.1321 | 1216561.0916 | 2585387.4161 | 1216560.5549
134 | 2585476.0456 | 1217012.261 | 2585475.3833 | 1217014.0805
135 | 2585470.3372 | 1217027.9434 | 2585475.3833 | 1217014.0805
136 | 2585466.0707 | 1217034.9391 | 2585469.8703 | 1217029.2263 | 2585470.3372 | 1217027.9434
137 | 2585466.0707 | 1217034.9391 | 2585464.8243 | 1217036.8131
138 | 2585552.0683 | 1216846.9565 | 2585567.4216 | 1216823.8042 | 2585568.0789 | 1216822.463
139 | 2585583.7447 | 1216687.4646 | 2585587.9753 | 1216697.7046
140 | 2585583.7447 | 1216687.4646 | 2585554.1443 | 1216658.7537 | 2585547.3086 | 1216654.0001
141 | 2585368.7483 | 1216554.7161 | 2585375.1095 | 1216556.7057
142 | 2585368.7483 | 1216554.7161 | 2585350.8345 | 1216550.5392
143 | 2585375.1095 | 1216556.7057 | 2585387.4161 | 1216560.5549
144 | 2585350.8345 | 1216550.5392 | 2585331.3851 | 1216546.0043
145 | 2585328.0293 | 1216545.2219 | 2585331.3851 | 1216546.0043
146 | 2585309.9567 | 1216541.3539 | 2585321.8511 | 1216543.7814 | 2585328.0293 | 1216545.2219
147 | 2585532.8446 | 1216643.9417 | 2585496.5262 | 1216618.6828 | 2585495.7947 | 1216618.1546
148 | 2585532.8446 | 1216643.9417 | 2585545.3769 | 1216600.7019
149 | 2585532.8446 | 1216643.9417 | 2585547.3086 | 1216654.0001
150 | 2585587.9753 | 1216697.7046 | 2585593.8953 | 1216709.6971 | 2585593.8953 | 1216709.6971
151 | 2585549.1105 | 1216587.8201 | 2585545.3769 | 1216600.7019
152 | 2585549.9634 | 1216584.8774 | 2585549.1105 | 1216587.8201
153 | 2585457.0006 | 1216854.8919 | 2585457.0006 | 1216854.8919 | 2585452.3512 | 1216853.4025 | 2585445.758 | 1216854.2164
154 | 2585447.1548 | 1216839.8466 | 2585449.52 | 1216840.7614
155 | 2585457.6796 | 1216843.9173 | 2585449.52 | 1216840.7614
156 | 2585365.4716 | 1216524.1601 | 2585332.7901 | 1216516.7976
157 | 2585376.5135 | 1216526.6476 | 2585365.4716 | 1216524.1601
158 | 2585313.2024 | 1216512.3849 | 2585332.7901 | 1216516.7976
159 | 2585313.2024 | 1216512.3849 | 2585311.8159 | 1216525.7293 | 2585309.9567 | 1216541.3539

## bus_geodata
| x | y | coords
0 | 2585366.3382 | 1216788.8333
1 | 2585388.4198 | 1216798.5508
2 | 2585337.6074 | 1216808.423
3 | 2585420.216 | 1216812.5471
4 | 2585390.3511 | 1216762.8701
5 | 2585339.0401 | 1216822.0527
6 | 2585340.9666 | 1216840.3803
7 | 2585338.996 | 1216821.6332
8 | 2585342.0377 | 1216850.5696
9 | 2585419.4382 | 1216814.3441
10 | 2585426.9841 | 1216797.3511
11 | 2585373.5984 | 1216755.4346
12 | 2585433.7901 | 1216782.1408
13 | 2585435.5266 | 1216778.2677
14 | 2585412.9837 | 1216829.257
15 | 2585348.9553 | 1216744.497
16 | 2585442.4906 | 1216762.7004
17 | 2585408.4483 | 1216839.736
18 | 2585448.9048 | 1216748.3622
19 | 2585427.9928 | 1216847.606
20 | 2585393.6784 | 1216873.6496
21 | 2585429.5563 | 1216848.2356
22 | 2585387.9603 | 1216886.7791
23 | 2585437.536 | 1216851.4489
24 | 2585384.3538 | 1216895.0602
25 | 2585348.6063 | 1216913.0587
26 | 2585308.8387 | 1216884.0578
27 | 2585372.1152 | 1216919.5501
28 | 2585479.6449 | 1216761.9612
29 | 2585507.2007 | 1216774.1563
30 | 2585488.5877 | 1216741.4505
31 | 2585463.0822 | 1216716.1647
32 | 2585476.4947 | 1216684.636
33 | 2585491.0237 | 1216728.5943
34 | 2585483.0388 | 1216799.1233
35 | 2585523.8815 | 1216781.5308
36 | 2585450.5003 | 1216670.5289
37 | 2586031.5364 | 1216900.2054
38 | 2586009.7902 | 1216875.6417
39 | 2586035.1932 | 1216906.4208
40 | 2585998.0137 | 1216863.981
41 | 2586055.4073 | 1216925.6624
42 | 2585590.9032 | 1216776.9073
43 | 2585963.2951 | 1216851.2558
44 | 2585582.8656 | 1216797.1848
45 | 2585968.5447 | 1216852.1425
46 | 2586019.0925 | 1216989.0708
47 | 2585991.1121 | 1216969.402
48 | 2585913.0154 | 1217069.5852
49 | 2586019.5726 | 1216989.4821
50 | 2586021.4195 | 1216991.064
51 | 2585904.0708 | 1217076.1213
52 | 2586021.4888 | 1216991.1234
53 | 2585613.153 | 1216602.8228
54 | 2585608.996 | 1216613.1826
55 | 2585606.5125 | 1216619.3718
56 | 2585598.0995 | 1216643.5714
57 | 2585593.2221 | 1216658.4853
58 | 2585632.3493 | 1216654.781
59 | 2585566.4742 | 1216864.9367
60 | 2585549.9427 | 1216850.1618
61 | 2585449.5445 | 1216670.1014
62 | 2585448.5851 | 1216669.6723
63 | 2585386.9027 | 1216642.1364
64 | 2585367.3334 | 1216633.4023
65 | 2585366.6251 | 1216633.0862
66 | 2585540.087 | 1216692.8716
67 | 2585561.2325 | 1216705.218
68 | 2585530.6917 | 1216764.035
69 | 2585538.4789 | 1216744.0294
70 | 2585542.3028 | 1216789.6846
71 | 2585543.8148 | 1216790.3538
72 | 2585481.2397 | 1216798.2534
73 | 2585532.5204 | 1216806.8106
74 | 2585553.2609 | 1216794.5332
75 | 2585464.98 | 1216790.3912
76 | 2585459.9511 | 1216799.7589
77 | 2585458.98 | 1216801.5678
78 | 2585396.0461 | 1216977.6721
79 | 2585413.7645 | 1216938.7247
80 | 2585382.7424 | 1217020.5568
81 | 2585422.3928 | 1216919.7583
82 | 2585392.7024 | 1217051.3509
83 | 2585405.2782 | 1217044.2714
84 | 2585435.8596 | 1217063.5898
85 | 2585441.0748 | 1217057.0633
86 | 2585447.5332 | 1217048.9813
87 | 2585416.9232 | 1217033.0536
88 | 2585461.2938 | 1217042.1214
89 | 2585425.2549 | 1216920.9621
90 | 2585400.7405 | 1216910.6448
91 | 2585425.6647 | 1216921.1345
92 | 2585378.7807 | 1216906.2121
93 | 2585292.033 | 1216871.8034
94 | 2585283.4551 | 1216865.5486
95 | 2585463.054 | 1216594.5114
96 | 2585463.2988 | 1216594.6882
97 | 2585448.8152 | 1216584.7755
98 | 2585478.1224 | 1216605.3928
99 | 2585439.7272 | 1216578.6326
100 | 2585479.4315 | 1216606.3382
101 | 2585428.7436 | 1216574.8247
102 | 2585440.9875 | 1216567.1467
103 | 2585484.8014 | 1216610.2159
104 | 2585407.4394 | 1216567.4386
105 | 2585444.0932 | 1216538.8437
106 | 2585569.193 | 1216757.2274
107 | 2585568.0963 | 1216759.7955
108 | 2585574.8864 | 1216743.8961
109 | 2585557.9135 | 1216783.639
110 | 2585576.6899 | 1216804.8931
111 | 2585632.4581 | 1216654.815
112 | 2585591.9611 | 1216662.3412
113 | 2585524.2459 | 1216929.2438
114 | 2585525.4044 | 1216927.2257
115 | 2585515.2153 | 1216944.9751
116 | 2585517.76 | 1216895.1771
117 | 2585509.4752 | 1216954.9744
118 | 2585500.8204 | 1216914.3153
119 | 2585519.1631 | 1216893.2854
120 | 2585503.4861 | 1216965.4076
121 | 2585535.68 | 1216871.0166
122 | 2585480.7658 | 1216999.2937
123 | 2585348.8341 | 1216625.1457
124 | 2585335.7636 | 1216619.3121
125 | 2585345.3418 | 1216598.1123
126 | 2585346.1127 | 1216596.4062
127 | 2585398.0704 | 1216564.1905
128 | 2585476.0456 | 1217012.261
129 | 2585475.3833 | 1217014.0805
130 | 2585470.3372 | 1217027.9434
131 | 2585466.0707 | 1217034.9391
132 | 2585464.8243 | 1217036.8131
133 | 2585568.0789 | 1216822.463
134 | 2585552.0683 | 1216846.9565
135 | 2585516.8197 | 1216824.2168
136 | 2585583.7447 | 1216687.4646
137 | 2585368.7483 | 1216554.7161
138 | 2585375.1095 | 1216556.7057
139 | 2585350.8345 | 1216550.5392
140 | 2585387.4161 | 1216560.5549
141 | 2585331.3851 | 1216546.0043
142 | 2585328.0293 | 1216545.2219
143 | 2585495.7947 | 1216618.1546
144 | 2585532.8446 | 1216643.9417
145 | 2585593.8953 | 1216709.6971
146 | 2585587.9753 | 1216697.7046
147 | 2585545.3769 | 1216600.7019
148 | 2585547.3086 | 1216654.0001
149 | 2585549.1105 | 1216587.8201
150 | 2585549.9634 | 1216584.8774
151 | 2585445.758 | 1216854.2164
152 | 2585457.0006 | 1216854.8919
153 | 2585447.1548 | 1216839.8466
154 | 2585449.52 | 1216840.7614
155 | 2585457.6796 | 1216843.9173
156 | 2585365.4716 | 1216524.1601
157 | 2585332.7901 | 1216516.7976
158 | 2585376.5135 | 1216526.6476
159 | 2585313.2024 | 1216512.3849
160 | 2585309.9567 | 1216541.3539
161 | 2585458.98 | 1216801.5678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1