## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_733-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_733-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_733-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_733-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_733-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_733-9_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_733-9_0_6_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_733-9_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_733-9_0_6_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_733-9_0_6_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_733-9_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_733-9_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_733-9_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_733-9_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_733-9_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_733-9_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_733-9_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_733-9_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_733-9_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_733-9_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_733-9_0_6_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_733-9_0_6_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_733-9_0_6_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_733-9_0_6_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_733-9_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_733-9_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_733-9_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_733-9_0_6_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_733-9_0_6_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_733-9_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_733-9_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_733-9_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_733-9_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_733-9_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_733-9_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_733-9_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_733-9_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_733-9_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_733-9_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_733-9_0_6_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_733-9_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_733-9_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_733-9_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_733-9_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_733-9_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_733-9_0_6_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_733-9_0_6_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_733-9_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_733-9_0_6_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_733-9_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_733-9_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_733-9_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_733-9_0_6_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_733-9_0_6_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_733-9_0_6_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_733-9_0_6_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_733-9_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_733-9_0_6_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_733-9_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_733-9_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_733-9_0_6_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_733-9_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_733-9_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_733-9_0_6_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_733-9_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_733-9_0_6_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_733-9_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_733-9_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_733-9_0_6_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_733-9_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_733-9_0_6_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_733-9_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_733-9_0_6_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_733-9_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_733-9_0_6_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_733-9_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_733-9_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_733-9_0_6_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_733-9_0_6_node_89 | 0.4 | n |  | TRUE
79 | bus_LV_733-9_0_6_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_733-9_0_6_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_733-9_0_6_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_733-9_0_6_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_733-9_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_733-9_0_6_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_733-9_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_733-9_0_6_node_87 | 0.4 | n |  | TRUE
87 | bus_MV_609_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_733-9_0_6_load_0 | 0 | 0.029909 | 0.007496 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_733-9_0_6_load_1 | 1 | 0.0063639 | 0.001595 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_733-9_0_6_load_4 | 4 | 0.008115 | 0.0020338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_733-9_0_6_load_17 | 5 | 0.0030414 | 0.00076225 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_733-9_0_6_load_15 | 7 | 0.00065022 | 0.00016296 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_733-9_0_6_load_83 | 8 | 0.0059893 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_733-9_0_6_load_84 | 9 | 0.001459 | 0.00036566 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_733-9_0_6_load_5 | 10 | 0.0047108 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_733-9_0_6_load_6 | 11 | 0.00042842 | 0.00010737 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_733-9_0_6_load_7 | 12 | 0.00039369 | 9.8667e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_733-9_0_6_load_16 | 14 | 0.0023729 | 0.00059471 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_733-9_0_6_load_12 | 15 | 0.00092334 | 0.00023141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_733-9_0_6_load_19 | 16 | 0.0016761 | 0.00042006 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_733-9_0_6_load_9 | 17 | 0.0024358 | 0.00061046 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_733-9_0_6_load_40 | 20 | 0.0040789 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_733-9_0_6_load_44 | 22 | 0.010269 | 0.0025736 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_733-9_0_6_load_13 | 24 | 0.0093207 | 0.002336 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_733-9_0_6_load_14 | 25 | 0.0033431 | 0.00083786 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_733-9_0_6_load_34 | 27 | 0.0075145 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_733-9_0_6_load_18 | 29 | 0.0067042 | 0.0016802 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_733-9_0_6_load_20 | 30 | 0.0070934 | 0.0017778 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_733-9_0_6_load_32 | 34 | 0.0077301 | 0.0019373 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_733-9_0_6_load_25 | 35 | 0.0058075 | 0.0014555 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_733-9_0_6_load_29 | 36 | 0.0072881 | 0.0018266 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_733-9_0_6_load_24 | 37 | 0.0035419 | 0.00088767 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_733-9_0_6_load_30 | 38 | 0.010479 | 0.0026263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_733-9_0_6_load_28 | 39 | 0.0070266 | 0.001761 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_733-9_0_6_load_39 | 40 | 0.0057008 | 0.0014287 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_733-9_0_6_load_81 | 41 | 0.0035911 | 0.00090002 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_733-9_0_6_load_37 | 42 | 0.0010275 | 0.00025752 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_733-9_0_6_load_31 | 43 | 0.039525 | 0.0099058 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_733-9_0_6_load_33 | 44 | 0.02899 | 0.0072655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_733-9_0_6_load_51 | 46 | 0.030829 | 0.0077265 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_733-9_0_6_load_47 | 47 | 0.0057226 | 0.0014342 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_733-9_0_6_load_43 | 48 | 0.0032733 | 0.00082036 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_733-9_0_6_load_35 | 49 | 0.008062 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_733-9_0_6_load_36 | 50 | 0.0018158 | 0.00045508 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_733-9_0_6_load_72 | 52 | 0.0026994 | 0.00067654 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_733-9_0_6_load_69 | 53 | 0.0062472 | 0.0015657 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_733-9_0_6_load_76 | 54 | 0.0033826 | 0.00084776 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_733-9_0_6_load_70 | 55 | 0.0027916 | 0.00069964 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_733-9_0_6_load_46 | 56 | 0.007192 | 0.0018025 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_733-9_0_6_load_71 | 57 | 0.0025332 | 0.00063487 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_733-9_0_6_load_48 | 58 | 0.0018192 | 0.00045595 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_733-9_0_6_load_91 | 60 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_733-9_0_6_load_62 | 61 | 0.044409 | 0.01113 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_733-9_0_6_load_56 | 62 | 0.0090957 | 0.0022796 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_733-9_0_6_load_52 | 63 | 0.012566 | 0.0031494 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_733-9_0_6_load_53 | 64 | 0.032275 | 0.0080889 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_733-9_0_6_load_55 | 66 | 0.0051784 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_733-9_0_6_load_59 | 69 | 0.014017 | 0.0035129 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_733-9_0_6_load_79 | 70 | 0.0029921 | 0.0007499 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_733-9_0_6_load_60 | 71 | 0.005939 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_733-9_0_6_load_90 | 72 | 0.0035488 | 0.00088942 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_733-9_0_6_load_63 | 74 | 0.070997 | 0.017793 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_733-9_0_6_load_64 | 75 | 0.00097394 | 0.00024409 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_733-9_0_6_load_68 | 77 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_733-9_0_6_load_89 | 78 | 0.0012019 | 0.00030123 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_733-9_0_6_load_88 | 79 | 0.0014568 | 0.0003651 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_733-9_0_6_load_74 | 80 | 0.0009577 | 0.00024002 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_733-9_0_6_load_73 | 81 | 0.0040866 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_733-9_0_6_load_77 | 83 | 0.039509 | 0.0099019 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_733-9_0_6_load_85 | 84 | 0.0014691 | 0.0003682 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_733-9_0_6_load_86 | 85 | 0.001821 | 0.00045638 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_733-9_0_6_load_87 | 86 | 0.0015523 | 0.00038904 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_733-9_0_6_line_0 |  | 0 | 1 | 0.016917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_733-9_0_6_line_1 |  | 0 | 2 | 0.033213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_733-9_0_6_line_2 |  | 1 | 3 | 0.031911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_733-9_0_6_line_3 |  | 2 | 4 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_733-9_0_6_line_4 |  | 3 | 5 | 0.0097814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_733-9_0_6_line_5 |  | 4 | 6 | 0.03149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_733-9_0_6_line_6 |  | 5 | 7 | 0.0096954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_733-9_0_6_line_7 |  | 6 | 8 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_733-9_0_6_line_8 |  | 6 | 9 | 0.032889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_733-9_0_6_line_9 |  | 7 | 13 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_733-9_0_6_line_10 |  | 8 | 84 | 0.0040032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_733-9_0_6_line_11 |  | 9 | 79 | 0.016745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_733-9_0_6_line_12 |  | 10 | 11 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_733-9_0_6_line_13 |  | 10 | 12 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_733-9_0_6_line_14 |  | 12 | 13 | 0.027682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_733-9_0_6_line_15 |  | 13 | 14 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_733-9_0_6_line_16 |  | 13 | 15 | 0.038045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_733-9_0_6_line_17 |  | 14 | 16 | 0.0066198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_733-9_0_6_line_18 |  | 16 | 29 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_733-9_0_6_line_19 |  | 17 | 18 | 0.031985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_733-9_0_6_line_20 |  | 18 | 19 | 0.062455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_733-9_0_6_line_21 |  | 19 | 20 | 0.0070345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_733-9_0_6_line_22 |  | 20 | 23 | 0.006397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_733-9_0_6_line_23 |  | 21 | 22 | 0.017024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_733-9_0_6_line_24 |  | 21 | 23 | 0.009812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_733-9_0_6_line_25 |  | 23 | 48 | 0.03654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_733-9_0_6_line_26 |  | 24 | 25 | 0.0056254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_733-9_0_6_line_27 |  | 25 | 26 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_733-9_0_6_line_28 |  | 26 | 27 | 0.016111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_733-9_0_6_line_29 |  | 26 | 28 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_733-9_0_6_line_30 |  | 27 | 41 | 0.0062876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_733-9_0_6_line_31 |  | 28 | 39 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_733-9_0_6_line_32 |  | 28 | 37 | 0.036857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_733-9_0_6_line_33 |  | 29 | 30 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_733-9_0_6_line_34 |  | 30 | 31 | 0.027959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_733-9_0_6_line_35 |  | 31 | 32 | 0.010989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_733-9_0_6_line_36 |  | 32 | 34 | 0.0074976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_733-9_0_6_line_37 |  | 32 | 36 | 0.012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_733-9_0_6_line_38 |  | 33 | 34 | 0.0075129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_733-9_0_6_line_39 |  | 33 | 35 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_733-9_0_6_line_40 |  | 35 | 37 | 0.0042151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_733-9_0_6_line_41 |  | 36 | 38 | 0.014708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_733-9_0_6_line_42 |  | 38 | 43 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_733-9_0_6_line_43 |  | 39 | 40 | 0.002744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_733-9_0_6_line_44 |  | 40 | 42 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_733-9_0_6_line_45 |  | 41 | 48 | 0.012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_733-9_0_6_line_46 |  | 42 | 49 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_733-9_0_6_line_47 |  | 43 | 44 | 0.0018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_733-9_0_6_line_48 |  | 44 | 45 | 0.028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_733-9_0_6_line_49 |  | 45 | 46 | 0.0047277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_733-9_0_6_line_50 |  | 45 | 47 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_733-9_0_6_line_51 |  | 46 | 61 | 0.016118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_733-9_0_6_line_52 |  | 47 | 58 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_733-9_0_6_line_53 |  | 49 | 50 | 0.0048701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_733-9_0_6_line_54 |  | 50 | 51 | 0.011569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_733-9_0_6_line_55 |  | 51 | 52 | 0.025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_733-9_0_6_line_56 |  | 51 | 53 | 0.023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_733-9_0_6_line_57 |  | 52 | 54 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_733-9_0_6_line_58 |  | 53 | 55 | 0.032416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_733-9_0_6_line_59 |  | 54 | 80 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_733-9_0_6_line_60 |  | 55 | 57 | 0.008966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_733-9_0_6_line_61 |  | 56 | 57 | 0.0080476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_733-9_0_6_line_62 |  | 58 | 59 | 0.018537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_733-9_0_6_line_63 |  | 59 | 60 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_733-9_0_6_line_64 |  | 61 | 62 | 0.0019308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_733-9_0_6_line_65 |  | 62 | 65 | 0.022202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_733-9_0_6_line_66 |  | 63 | 64 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_733-9_0_6_line_67 |  | 63 | 65 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_733-9_0_6_line_68 |  | 64 | 66 | 0.0094401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_733-9_0_6_line_69 |  | 65 | 67 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_733-9_0_6_line_70 |  | 66 | 68 | 0.021661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_733-9_0_6_line_71 |  | 67 | 69 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_733-9_0_6_line_72 |  | 68 | 70 | 0.026064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_733-9_0_6_line_73 |  | 69 | 71 | 0.021786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_733-9_0_6_line_74 |  | 71 | 74 | 0.0694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_733-9_0_6_line_75 |  | 72 | 73 | 0.0092172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_733-9_0_6_line_76 |  | 73 | 76 | 0.006208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_733-9_0_6_line_77 |  | 74 | 75 | 0.047426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_733-9_0_6_line_78 |  | 76 | 77 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_733-9_0_6_line_79 |  | 77 | 78 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_733-9_0_6_line_80 |  | 78 | 79 | 0.024255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_733-9_0_6_line_81 |  | 80 | 81 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_733-9_0_6_line_82 |  | 81 | 82 | 0.047048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_733-9_0_6_line_83 |  | 82 | 83 | 0.0070668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_733-9_0_6_line_84 |  | 84 | 85 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_733-9_0_6_line_85 |  | 85 | 86 | 0.0072791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_733-9_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 87 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2588043.3361 | 1219075.499 | 2588037.7942 | 1219085.946 | 2588033.1241 | 1219087.973
1 | 2588058.9004 | 1219046.1584 | 2588043.3361 | 1219075.499
2 | 2588005.6031 | 1219103.8548 | 2588021.4786 | 1219093.0275 | 2588033.1241 | 1219087.973
3 | 2588058.9004 | 1219046.1584 | 2588079.9305 | 1219058.6053
4 | 2588005.6031 | 1219103.8548 | 2588004.2364 | 1219110.9061 | 2588003.4916 | 1219113.396
5 | 2588107.0298 | 1219074.6444 | 2588079.9305 | 1219058.6053
6 | 2588000.3889 | 1219122.5753 | 2588002.1335 | 1219117.9366 | 2588003.4916 | 1219113.396
7 | 2588107.0298 | 1219074.6444 | 2588100.7727 | 1219089.8553
8 | 2588107.0298 | 1219074.6444 | 2588137.0524 | 1219088.074
9 | 2587996.0578 | 1219134.0915 | 2588000.3889 | 1219122.5753
10 | 2588100.7727 | 1219089.8553 | 2588099.2498 | 1219093.5575
11 | 2588137.0524 | 1219088.074 | 2588151.8637 | 1219094.6993 | 2588152.3425 | 1219094.9007
12 | 2587952.1287 | 1219139.5214 | 2587937.0789 | 1219143.0958
13 | 2587952.1287 | 1219139.5214 | 2587968.9452 | 1219135.5275
14 | 2587996.0578 | 1219134.0915 | 2587988.4734 | 1219132.2503 | 2587981.1363 | 1219132.6321 | 2587968.9452 | 1219135.5275
15 | 2587996.0578 | 1219134.0915 | 2588005.0272 | 1219137.9088 | 2588012.5851 | 1219143.4755
16 | 2587996.0578 | 1219134.0915 | 2587985.2609 | 1219160.8398 | 2587986.0522 | 1219170.0053
17 | 2588012.5851 | 1219143.4755 | 2588017.9151 | 1219147.4012
18 | 2588028.2 | 1219154.8206 | 2588025.3636 | 1219152.8873 | 2588017.9151 | 1219147.4012
19 | 2587864.036 | 1219203.4783 | 2587864.1863 | 1219199.0644 | 2587865.2507 | 1219196.3384 | 2587872.1642 | 1219185.6181 | 2587876.2962 | 1219180.1398 | 2587879.3213 | 1219176.1283
20 | 2587864.036 | 1219203.4783 | 2587865.6198 | 1219209.8121 | 2587868.3768 | 1219214.7648 | 2587872.3839 | 1219218.7255 | 2587880.9086 | 1219224.0111 | 2587891.6671 | 1219230.704 | 2587897.2906 | 1219234.7726 | 2587901.1847 | 1219239.1561 | 2587903.4323 | 1219243.6207 | 2587905.0261 | 1219247.5085
21 | 2587905.0261 | 1219247.5085 | 2587907.1417 | 1219246.7705 | 2587909.3801 | 1219246.7214 | 2587911.5364 | 1219247.3396 | 2587911.7965 | 1219247.5115
22 | 2587915.6139 | 1219252.4008 | 2587914.7977 | 1219250.3124 | 2587913.398 | 1219248.5698 | 2587911.7965 | 1219247.5115
23 | 2587911.5559 | 1219260.5805 | 2587916.7401 | 1219276.7957
24 | 2587915.6139 | 1219252.4008 | 2587915.7252 | 1219254.8465 | 2587915.0243 | 1219257.2048 | 2587913.579 | 1219259.1867 | 2587911.5559 | 1219260.5805
25 | 2587915.6139 | 1219252.4008 | 2587921.1605 | 1219252.2339 | 2587929.239 | 1219250.8833 | 2587943.4023 | 1219249.0756 | 2587951.8315 | 1219247.8198
26 | 2587979.5138 | 1219225.3233 | 2587977.4618 | 1219220.0854
27 | 2587985.8421 | 1219241.4849 | 2587982.2114 | 1219232.2092 | 2587979.5138 | 1219225.3233
28 | 2587985.8421 | 1219241.4849 | 2587972.0228 | 1219244.5258 | 2587970.0893 | 1219244.8527
29 | 2587985.8421 | 1219241.4849 | 2587994.0396 | 1219238.9112 | 2588002.1604 | 1219235.9264
30 | 2587970.0893 | 1219244.8527 | 2587963.8897 | 1219245.9007
31 | 2588002.1604 | 1219235.9264 | 2588005.8628 | 1219256.3271
32 | 2588002.1604 | 1219235.9264 | 2588008.4681 | 1219233.1787 | 2588015.6462 | 1219229.2841 | 2588025.6551 | 1219221.9041 | 2588033.3058 | 1219216.4867
33 | 2588028.2 | 1219154.8206 | 2588031.5109 | 1219157.0773 | 2588036.429 | 1219161.2809 | 2588040.2731 | 1219167.2432 | 2588041.4336 | 1219169.2261
34 | 2588054.2364 | 1219194.0414 | 2588049.1625 | 1219184.046 | 2588046.1928 | 1219178.9824 | 2588043.8214 | 1219173.3061 | 2588041.4336 | 1219169.2261
35 | 2588054.2364 | 1219194.0414 | 2588056.0417 | 1219193.7154 | 2588057.8633 | 1219193.9341 | 2588059.5493 | 1219194.6644 | 2588060.9404 | 1219195.8623 | 2588061.93 | 1219197.4056 | 2588062.4192 | 1219199.1723
36 | 2588062.4192 | 1219199.1723 | 2588062.3698 | 1219201.0401 | 2588061.7664 | 1219202.8202 | 2588060.6615 | 1219204.3344 | 2588059.1538 | 1219205.4492
37 | 2588062.4192 | 1219199.1723 | 2588071.273 | 1219198.4207 | 2588074.9527 | 1219197.8105
38 | 2588052.1028 | 1219204.6407 | 2588053.6907 | 1219205.6492 | 2588055.5053 | 1219206.1347 | 2588057.3794 | 1219206.0642 | 2588059.1538 | 1219205.4492 | 2588059.1538 | 1219205.4492
39 | 2588052.1028 | 1219204.6407 | 2588040.1284 | 1219212.0247 | 2588036.8144 | 1219214.1526
40 | 2588033.3058 | 1219216.4867 | 2588034.5357 | 1219215.6158 | 2588036.8144 | 1219214.1526
41 | 2588074.9527 | 1219197.8105 | 2588086.5428 | 1219195.8885 | 2588089.3307 | 1219194.8937
42 | 2588089.3307 | 1219194.8937 | 2588101.0182 | 1219190.723 | 2588110.3165 | 1219188.3474 | 2588115.722 | 1219187.3899
43 | 2588005.8628 | 1219256.3271 | 2588006.3528 | 1219259.027
44 | 2588006.3528 | 1219259.027 | 2588009.3621 | 1219275.6089
45 | 2587951.8315 | 1219247.8198 | 2587957.7773 | 1219246.934 | 2587963.8897 | 1219245.9007
46 | 2588012.1169 | 1219290.788 | 2588009.3621 | 1219275.6089
47 | 2588115.722 | 1219187.3899 | 2588117.5451 | 1219187.0669
48 | 2588146.213 | 1219186.8412 | 2588142.456 | 1219186.3707 | 2588134.7153 | 1219185.9749 | 2588126.6796 | 1219186.0577 | 2588118.7591 | 1219186.8518 | 2588117.5451 | 1219187.0669
49 | 2588146.213 | 1219186.8412 | 2588150.2282 | 1219187.3557 | 2588150.9007 | 1219187.4548
50 | 2588146.213 | 1219186.8412 | 2588150.2225 | 1219170.9371
51 | 2588166.8466 | 1219189.804 | 2588150.9007 | 1219187.4548
52 | 2588150.2225 | 1219170.9371 | 2588152.7552 | 1219160.891
53 | 2588012.1169 | 1219290.788 | 2588012.9865 | 1219295.5798
54 | 2588015.0524 | 1219306.9632 | 2588012.9865 | 1219295.5798
55 | 2588015.0524 | 1219306.9632 | 2588040.4604 | 1219308.5402
56 | 2588015.0524 | 1219306.9632 | 2587991.6108 | 1219309.4386
57 | 2588050.6107 | 1219309.1702 | 2588040.4604 | 1219308.5402
58 | 2587991.6108 | 1219309.4386 | 2587959.3745 | 1219312.8427
59 | 2588050.6107 | 1219309.1702 | 2588063.7939 | 1219309.9885
60 | 2587950.4581 | 1219313.7843 | 2587959.3745 | 1219312.8427
61 | 2587950.4581 | 1219313.7843 | 2587942.455 | 1219314.6294
62 | 2588170.9361 | 1219164.5011 | 2588161.5455 | 1219162.5188 | 2588152.7552 | 1219160.891 | 2588152.7552 | 1219160.891
63 | 2588170.9361 | 1219164.5011 | 2588176.3253 | 1219138.7312
64 | 2588166.8466 | 1219189.804 | 2588168.7568 | 1219190.0855
65 | 2588190.7443 | 1219192.5999 | 2588187.5653 | 1219192.862 | 2588177.0299 | 1219191.3043 | 2588168.7568 | 1219190.0855
66 | 2588195.2919 | 1219210.4748 | 2588197.1305 | 1219217.7015 | 2588199.3442 | 1219223.8907
67 | 2588190.7443 | 1219192.5999 | 2588195.2919 | 1219210.4748
68 | 2588202.5234 | 1219232.7793 | 2588199.3442 | 1219223.8907
69 | 2588190.7443 | 1219192.5999 | 2588196.5303 | 1219190.754 | 2588199.9797 | 1219189.1462 | 2588204.311 | 1219184.5682 | 2588205.8534 | 1219185.5546 | 2588207.6073 | 1219186.0625 | 2588209.436 | 1219186.07 | 2588211.1879 | 1219185.5551 | 2588212.7339 | 1219184.5737 | 2588213.9301 | 1219183.1927
70 | 2588207.8258 | 1219253.7676 | 2588203.3571 | 1219235.1102 | 2588202.5234 | 1219232.7793
71 | 2588213.9301 | 1219183.1927 | 2588219.7095 | 1219185.6048 | 2588230.6198 | 1219189.5682
72 | 2588207.8258 | 1219253.7676 | 2588229.1682 | 1219238.8063
73 | 2588230.6198 | 1219189.5682 | 2588249.1728 | 1219196.3079 | 2588251.0277 | 1219197.1727
74 | 2588251.0277 | 1219197.1727 | 2588298.3261 | 1219146.3861
75 | 2588218.2695 | 1219129.3532 | 2588215.2248 | 1219138.0531
76 | 2588220.3142 | 1219123.4902 | 2588218.2695 | 1219129.3532
77 | 2588298.3261 | 1219146.3861 | 2588343.1049 | 1219162.0085
78 | 2588220.3142 | 1219123.4902 | 2588198.2615 | 1219114.2147
79 | 2588174.7 | 1219104.3045 | 2588198.2615 | 1219114.2147
80 | 2588152.3425 | 1219094.9007 | 2588174.7 | 1219104.3045
81 | 2588080.5095 | 1219311.026 | 2588063.7939 | 1219309.9885
82 | 2588127.4675 | 1219313.9406 | 2588080.5095 | 1219311.026
83 | 2588127.4675 | 1219313.9406 | 2588134.4752 | 1219313.0287
84 | 2588099.2498 | 1219093.5575 | 2588089.0328 | 1219118.3945
85 | 2588086.2637 | 1219125.1262 | 2588089.0328 | 1219118.3945

## bus_geodata
| x | y | coords
0 | 2588043.3361 | 1219075.499
1 | 2588033.1241 | 1219087.973
2 | 2588058.9004 | 1219046.1584
3 | 2588005.6031 | 1219103.8548
4 | 2588079.9305 | 1219058.6053
5 | 2588003.4916 | 1219113.396
6 | 2588107.0298 | 1219074.6444
7 | 2588000.3889 | 1219122.5753
8 | 2588100.7727 | 1219089.8553
9 | 2588137.0524 | 1219088.074
10 | 2587952.1287 | 1219139.5214
11 | 2587937.0789 | 1219143.0958
12 | 2587968.9452 | 1219135.5275
13 | 2587996.0578 | 1219134.0915
14 | 2588012.5851 | 1219143.4755
15 | 2587986.0522 | 1219170.0053
16 | 2588017.9151 | 1219147.4012
17 | 2587879.3213 | 1219176.1283
18 | 2587864.036 | 1219203.4783
19 | 2587905.0261 | 1219247.5086
20 | 2587911.7965 | 1219247.5115
21 | 2587911.5559 | 1219260.5805
22 | 2587916.7401 | 1219276.7957
23 | 2587915.6139 | 1219252.4008
24 | 2587977.4618 | 1219220.0854
25 | 2587979.5138 | 1219225.3233
26 | 2587985.8421 | 1219241.4849
27 | 2587970.0893 | 1219244.8527
28 | 2588002.1604 | 1219235.9264
29 | 2588028.2 | 1219154.8206
30 | 2588041.4336 | 1219169.2261
31 | 2588054.2364 | 1219194.0414
32 | 2588062.4192 | 1219199.1723
33 | 2588052.1028 | 1219204.6407
34 | 2588059.1538 | 1219205.4492
35 | 2588036.8144 | 1219214.1526
36 | 2588074.9527 | 1219197.8105
37 | 2588033.3058 | 1219216.4867
38 | 2588089.3307 | 1219194.8937
39 | 2588005.8628 | 1219256.3271
40 | 2588006.3528 | 1219259.027
41 | 2587963.8897 | 1219245.9007
42 | 2588009.3621 | 1219275.6089
43 | 2588115.722 | 1219187.3899
44 | 2588117.5451 | 1219187.0669
45 | 2588146.213 | 1219186.8412
46 | 2588150.9007 | 1219187.4548
47 | 2588150.2225 | 1219170.9371
48 | 2587951.8315 | 1219247.8198
49 | 2588012.1169 | 1219290.788
50 | 2588012.9865 | 1219295.5798
51 | 2588015.0524 | 1219306.9632
52 | 2588040.4604 | 1219308.5402
53 | 2587991.6108 | 1219309.4386
54 | 2588050.6107 | 1219309.1702
55 | 2587959.3745 | 1219312.8427
56 | 2587942.455 | 1219314.6294
57 | 2587950.4581 | 1219313.7843
58 | 2588152.7552 | 1219160.891
59 | 2588170.9361 | 1219164.5011
60 | 2588176.3253 | 1219138.7312
61 | 2588166.8466 | 1219189.804
62 | 2588168.7568 | 1219190.0855
63 | 2588195.2919 | 1219210.4748
64 | 2588199.3442 | 1219223.8907
65 | 2588190.7443 | 1219192.5999
66 | 2588202.5234 | 1219232.7793
67 | 2588213.9301 | 1219183.1927
68 | 2588207.8258 | 1219253.7676
69 | 2588230.6198 | 1219189.5682
70 | 2588229.1682 | 1219238.8063
71 | 2588251.0277 | 1219197.1727
72 | 2588215.2248 | 1219138.0531
73 | 2588218.2695 | 1219129.3532
74 | 2588298.3261 | 1219146.3861
75 | 2588343.1049 | 1219162.0085
76 | 2588220.3142 | 1219123.4902
77 | 2588198.2615 | 1219114.2147
78 | 2588174.7 | 1219104.3045
79 | 2588152.3425 | 1219094.9007
80 | 2588063.7939 | 1219309.9885
81 | 2588080.5095 | 1219311.026
82 | 2588127.4675 | 1219313.9406
83 | 2588134.4752 | 1219313.0287
84 | 2588099.2498 | 1219093.5575
85 | 2588089.0328 | 1219118.3945
86 | 2588086.2637 | 1219125.1263
87 | 2588146.213 | 1219186.8412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1