## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_739-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_739-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_739-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_739-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_739-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_739-9_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_739-9_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_739-9_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_739-9_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_739-9_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_739-9_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_739-9_0_4_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_739-9_0_4_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_739-9_0_4_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_739-9_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_739-9_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_739-9_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_739-9_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_739-9_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_739-9_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_739-9_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_739-9_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_739-9_0_4_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_739-9_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_739-9_0_4_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_739-9_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_739-9_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_739-9_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_739-9_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_739-9_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_739-9_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_739-9_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_739-9_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_739-9_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_739-9_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_739-9_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_739-9_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_739-9_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_739-9_0_4_node_83 | 0.4 | n |  | TRUE
39 | bus_LV_739-9_0_4_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_739-9_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_739-9_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_739-9_0_4_node_81 | 0.4 | n |  | TRUE
43 | bus_LV_739-9_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_739-9_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_739-9_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_739-9_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_739-9_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_739-9_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_739-9_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_739-9_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_739-9_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_739-9_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_739-9_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_739-9_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_739-9_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_739-9_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_739-9_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_739-9_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_739-9_0_4_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_739-9_0_4_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_739-9_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_739-9_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_739-9_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_739-9_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_739-9_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_739-9_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_739-9_0_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_739-9_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_739-9_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_739-9_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_739-9_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_739-9_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_739-9_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_739-9_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_739-9_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_739-9_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_739-9_0_4_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_739-9_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_739-9_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_739-9_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_739-9_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_739-9_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_739-9_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_739-9_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_739-9_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_MV_465_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_739-9_0_4_load_0 | 0 | 0.013021 | 0.0032634 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_739-9_0_4_load_1 | 1 | 0.0025752 | 0.00064541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_739-9_0_4_load_2 | 2 | 0.0016679 | 0.000418 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_739-9_0_4_load_3 | 3 | 0.002111 | 0.00052907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_739-9_0_4_load_4 | 4 | 0.0017259 | 0.00043256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_739-9_0_4_load_8 | 5 | 0.012333 | 0.0030909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_739-9_0_4_load_6 | 8 | 0.0056929 | 0.0014268 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_739-9_0_4_load_7 | 9 | 0.0018311 | 0.00045892 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_739-9_0_4_load_36 | 10 | 0.0035884 | 0.00089933 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_739-9_0_4_load_74 | 11 | 0.0034455 | 0.00086351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_739-9_0_4_load_72 | 13 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_739-9_0_4_load_10 | 14 | 0.0027582 | 0.00069127 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_739-9_0_4_load_60 | 15 | 0.0021138 | 0.00052977 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_739-9_0_4_load_61 | 16 | 0.0037491 | 0.00093961 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_739-9_0_4_load_11 | 17 | 0.023025 | 0.0057707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_739-9_0_4_load_12 | 18 | 0.021327 | 0.0053449 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_739-9_0_4_load_13 | 19 | 0.021268 | 0.0053304 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_739-9_0_4_load_14 | 20 | 0.007533 | 0.001888 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_739-9_0_4_load_15 | 21 | 0.024943 | 0.0062514 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_739-9_0_4_load_25 | 22 | 0.014229 | 0.0035662 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_739-9_0_4_load_31 | 23 | 0.0073574 | 0.0018439 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_739-9_0_4_load_38 | 24 | 0.0079077 | 0.0019819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_739-9_0_4_load_32 | 25 | 0.0075345 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_739-9_0_4_load_16 | 26 | 0.0027151 | 0.00068047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_739-9_0_4_load_18 | 28 | 0.0024097 | 0.00060394 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_739-9_0_4_load_30 | 30 | 0.0025185 | 0.0006312 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_739-9_0_4_load_19 | 31 | 0.0047258 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_739-9_0_4_load_37 | 37 | 0.034629 | 0.0086789 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_739-9_0_4_load_83 | 38 | 0.0055938 | 0.0014019 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_739-9_0_4_load_82 | 39 | 0.0079286 | 0.0019871 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_739-9_0_4_load_35 | 40 | 0.012039 | 0.0030173 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_739-9_0_4_load_81 | 42 | 0.0032871 | 0.00082383 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_739-9_0_4_load_48 | 43 | 0.0026397 | 0.00066156 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_739-9_0_4_load_33 | 44 | 0.0070472 | 0.0017662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_739-9_0_4_load_26 | 45 | 0.0039282 | 0.00098451 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_739-9_0_4_load_27 | 46 | 0.0056262 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_739-9_0_4_load_28 | 47 | 0.018736 | 0.0046957 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_739-9_0_4_load_39 | 48 | 0.0034283 | 0.00085922 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_739-9_0_4_load_45 | 49 | 0.0034529 | 0.00086538 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_739-9_0_4_load_40 | 51 | 0.00090602 | 0.00022707 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_739-9_0_4_load_41 | 52 | 0.0012667 | 0.00031747 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_739-9_0_4_load_44 | 54 | 0.003517 | 0.00088145 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_739-9_0_4_load_51 | 55 | 0.0020483 | 0.00051334 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_739-9_0_4_load_58 | 57 | 0.0030378 | 0.00076134 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_739-9_0_4_load_71 | 58 | 0.0031883 | 0.00079907 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_739-9_0_4_load_88 | 59 | 0.0026307 | 0.00065932 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_739-9_0_4_load_59 | 60 | 0.0031226 | 0.00078259 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_739-9_0_4_load_46 | 61 | 0.0029213 | 0.00073216 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_739-9_0_4_load_47 | 62 | 0.0032374 | 0.00081136 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_739-9_0_4_load_49 | 63 | 0.0023379 | 0.00058593 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_739-9_0_4_load_76 | 64 | 0.0099379 | 0.0024907 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_739-9_0_4_load_65 | 65 | 0.0029355 | 0.0007357 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_739-9_0_4_load_69 | 66 | 0.0040463 | 0.0010141 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_739-9_0_4_load_86 | 67 | 0.0013125 | 0.00032896 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_739-9_0_4_load_53 | 68 | 0.0023458 | 0.00058791 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_739-9_0_4_load_54 | 69 | 0.0024138 | 0.00060495 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_739-9_0_4_load_55 | 70 | 0.0022721 | 0.00056945 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_739-9_0_4_load_56 | 71 | 0.0052629 | 0.001319 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_739-9_0_4_load_57 | 72 | 0.0026168 | 0.00065584 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_739-9_0_4_load_78 | 73 | 0.0052024 | 0.0013038 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_739-9_0_4_load_70 | 74 | 0.0031513 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_739-9_0_4_load_68 | 75 | 0.0024881 | 0.00062359 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_739-9_0_4_load_66 | 76 | 0.0036378 | 0.00091173 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_739-9_0_4_load_64 | 77 | 0.0021785 | 0.000546 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_739-9_0_4_load_62 | 78 | 0.0023759 | 0.00059546 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_739-9_0_4_load_63 | 79 | 0.0023033 | 0.00057727 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_739-9_0_4_load_67 | 80 | 0.0032319 | 0.00080999 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_739-9_0_4_load_73 | 81 | 0.0044732 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_739-9_0_4_load_75 | 82 | 0.0021768 | 0.00054557 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_739-9_0_4_load_77 | 83 | 0.0047575 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_739-9_0_4_load_85 | 84 | 0.0039338 | 0.00098591 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_739-9_0_4_load_87 | 85 | 0.0039856 | 0.00099888 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_739-9_0_4_line_0 |  | 0 | 1 | 0.026102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_739-9_0_4_line_1 |  | 0 | 2 | 0.0016781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_739-9_0_4_line_2 |  | 1 | 3 | 0.0017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_739-9_0_4_line_3 |  | 2 | 4 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_739-9_0_4_line_4 |  | 3 | 5 | 0.0085869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_739-9_0_4_line_5 |  | 4 | 6 | 0.0052936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_739-9_0_4_line_6 |  | 5 | 7 | 0.0072433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_739-9_0_4_line_7 |  | 6 | 8 | 0.020022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_739-9_0_4_line_8 |  | 6 | 9 | 0.021264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_739-9_0_4_line_9 |  | 7 | 14 | 0.03564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_739-9_0_4_line_10 |  | 8 | 10 | 0.00023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_739-9_0_4_line_11 |  | 9 | 11 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_739-9_0_4_line_12 |  | 10 | 12 | 0.049395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_739-9_0_4_line_13 |  | 11 | 13 | 0.003812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_739-9_0_4_line_14 |  | 12 | 48 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_739-9_0_4_line_15 |  | 12 | 24 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_739-9_0_4_line_16 |  | 12 | 46 | 0.014253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_739-9_0_4_line_17 |  | 13 | 81 | 0.022854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_739-9_0_4_line_18 |  | 14 | 15 | 0.020498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_739-9_0_4_line_19 |  | 15 | 16 | 0.009624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_739-9_0_4_line_20 |  | 17 | 18 | 0.00016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_739-9_0_4_line_21 |  | 17 | 19 | 0.034391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_739-9_0_4_line_22 |  | 18 | 20 | 0.031483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_739-9_0_4_line_23 |  | 19 | 21 | 1.7488e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_739-9_0_4_line_24 |  | 20 | 22 | 0.0092823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_739-9_0_4_line_25 |  | 21 | 23 | 0.033889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_739-9_0_4_line_26 |  | 22 | 24 | 0.022707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_739-9_0_4_line_27 |  | 23 | 25 | 0.0024567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_739-9_0_4_line_28 |  | 25 | 44 | 0.00048497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_739-9_0_4_line_29 |  | 26 | 27 | 0.018548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_739-9_0_4_line_30 |  | 27 | 28 | 0.0019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_739-9_0_4_line_31 |  | 28 | 29 | 0.035096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_739-9_0_4_line_32 |  | 29 | 30 | 0.027373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_739-9_0_4_line_33 |  | 30 | 47 | 0.0027359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_739-9_0_4_line_34 |  | 31 | 32 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_739-9_0_4_line_35 |  | 31 | 33 | 0.03105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_739-9_0_4_line_36 |  | 32 | 34 | 0.008155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_739-9_0_4_line_37 |  | 33 | 35 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_739-9_0_4_line_38 |  | 34 | 36 | 0.008885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_739-9_0_4_line_39 |  | 34 | 37 | 0.042754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_739-9_0_4_line_40 |  | 35 | 39 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_739-9_0_4_line_41 |  | 36 | 38 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_739-9_0_4_line_42 |  | 37 | 40 | 0.034401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_739-9_0_4_line_43 |  | 39 | 44 | 0.0017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_739-9_0_4_line_44 |  | 41 | 42 | 0.012051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_739-9_0_4_line_45 |  | 41 | 43 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_739-9_0_4_line_46 |  | 43 | 61 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_739-9_0_4_line_47 |  | 45 | 46 | 0.035154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_739-9_0_4_line_48 |  | 45 | 47 | 0.027046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_739-9_0_4_line_49 |  | 48 | 49 | 0.029983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_739-9_0_4_line_50 |  | 49 | 50 | 0.01029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_739-9_0_4_line_51 |  | 50 | 54 | 0.013209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_739-9_0_4_line_52 |  | 50 | 51 | 0.010835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_739-9_0_4_line_53 |  | 51 | 52 | 0.02886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_739-9_0_4_line_54 |  | 52 | 53 | 0.0026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_739-9_0_4_line_55 |  | 53 | 55 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_739-9_0_4_line_56 |  | 53 | 56 | 0.059852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_739-9_0_4_line_57 |  | 54 | 57 | 0.0096538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_739-9_0_4_line_58 |  | 55 | 58 | 0.021521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_739-9_0_4_line_59 |  | 56 | 59 | 0.0031469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_739-9_0_4_line_60 |  | 57 | 60 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_739-9_0_4_line_61 |  | 58 | 66 | 0.0047417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_739-9_0_4_line_62 |  | 59 | 67 | 0.0021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_739-9_0_4_line_63 |  | 60 | 76 | 0.0056571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_739-9_0_4_line_64 |  | 61 | 62 | 0.0074079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_739-9_0_4_line_65 |  | 62 | 63 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_739-9_0_4_line_66 |  | 63 | 64 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_739-9_0_4_line_67 |  | 64 | 65 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_739-9_0_4_line_68 |  | 65 | 79 | 0.020754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_739-9_0_4_line_69 |  | 66 | 80 | 0.0098341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_739-9_0_4_line_70 |  | 67 | 84 | 0.023404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_739-9_0_4_line_71 |  | 68 | 69 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_739-9_0_4_line_72 |  | 68 | 70 | 0.015644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_739-9_0_4_line_73 |  | 69 | 71 | 0.0059813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_739-9_0_4_line_74 |  | 70 | 72 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_739-9_0_4_line_75 |  | 71 | 73 | 0.030787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_739-9_0_4_line_76 |  | 72 | 74 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_739-9_0_4_line_77 |  | 74 | 75 | 0.0073697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_739-9_0_4_line_78 |  | 75 | 80 | 0.024953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_739-9_0_4_line_79 |  | 76 | 77 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_739-9_0_4_line_80 |  | 77 | 78 | 0.016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_739-9_0_4_line_81 |  | 78 | 79 | 0.0091542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_739-9_0_4_line_82 |  | 81 | 82 | 0.0011761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_739-9_0_4_line_83 |  | 82 | 83 | 0.011132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_739-9_0_4_line_84 |  | 84 | 85 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_739-9_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 86 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2584123.3477 | 1217797.1968 | 2584104.537 | 1217779.1011
1 | 2584123.3477 | 1217797.1968 | 2584124.5571 | 1217798.3602
2 | 2584103.2646 | 1217777.8771 | 2584104.537 | 1217779.1011
3 | 2584132.164 | 1217805.6779 | 2584124.5571 | 1217798.3602
4 | 2584097.6059 | 1217771.4236 | 2584102.5805 | 1217777.219 | 2584103.2646 | 1217777.8771
5 | 2584135.979 | 1217809.3479 | 2584132.164 | 1217805.6779
6 | 2584092.8882 | 1217765.9274 | 2584097.6059 | 1217771.4236
7 | 2584135.979 | 1217809.3479 | 2584140.5555 | 1217814.95 | 2584149.7643 | 1217823.824
8 | 2584135.979 | 1217809.3479 | 2584149.0029 | 1217792.5388
9 | 2584092.8882 | 1217765.9274 | 2584116.0813 | 1217738.8664
10 | 2584149.7643 | 1217823.824 | 2584149.9368 | 1217823.9902
11 | 2584158.9964 | 1217779.641 | 2584149.0029 | 1217792.5388
12 | 2584185.5049 | 1217858.2657 | 2584149.9368 | 1217823.9902
13 | 2584161.3311 | 1217776.6277 | 2584158.9964 | 1217779.641
14 | 2584185.5049 | 1217858.2657 | 2584189.8069 | 1217849.1824 | 2584194.3395 | 1217843.0843
15 | 2584185.5049 | 1217858.2657 | 2584196.6322 | 1217873.0454
16 | 2584185.5049 | 1217858.2657 | 2584183.5066 | 1217865.9866 | 2584180.2141 | 1217871.332
17 | 2584161.3311 | 1217776.6277 | 2584175.3287 | 1217758.5622
18 | 2584129.4205 | 1217723.3027 | 2584116.0813 | 1217738.8664
19 | 2584135.6834 | 1217715.9953 | 2584129.4205 | 1217723.3027
20 | 2584234.6388 | 1217923.8805 | 2584234.7388 | 1217924.0159
21 | 2584255.1766 | 1217951.6756 | 2584234.7388 | 1217924.0159
22 | 2584215.8729 | 1217898.6018 | 2584220.5804 | 1217904.8545 | 2584234.6388 | 1217923.8805
23 | 2584255.1766 | 1217951.6756 | 2584255.1777 | 1217951.677
24 | 2584210.2899 | 1217891.1862 | 2584215.8729 | 1217898.6018
25 | 2584255.1777 | 1217951.677 | 2584264.0822 | 1217963.728 | 2584275.0992 | 1217979.0908
26 | 2584210.2899 | 1217891.1862 | 2584196.6322 | 1217873.0454
27 | 2584276.5309 | 1217981.0873 | 2584275.0992 | 1217979.0908
28 | 2584276.5309 | 1217981.0873 | 2584276.8135 | 1217981.4814
29 | 2584100.3479 | 1217918.1723 | 2584087.8606 | 1217904.4573
30 | 2584100.3479 | 1217918.1723 | 2584101.653 | 1217919.5852
31 | 2584125.4671 | 1217945.365 | 2584101.653 | 1217919.5852
32 | 2584125.4671 | 1217945.365 | 2584143.0273 | 1217924.3663
33 | 2584143.0273 | 1217924.3663 | 2584144.7824 | 1217922.2676
34 | 2584232.0138 | 1218037.1887 | 2584236.6736 | 1218034.2412 | 2584246.645 | 1218027.6119
35 | 2584272.5018 | 1218010.4213 | 2584246.645 | 1218027.6119
36 | 2584224.5384 | 1218037.342 | 2584225.3335 | 1218036.6506 | 2584226.9862 | 1218035.9791 | 2584228.7619 | 1218035.8521 | 2584230.4934 | 1218036.27 | 2584232.0138 | 1218037.1887
37 | 2584288.9014 | 1217998.3376 | 2584272.5018 | 1218010.4213
38 | 2584224.5384 | 1218037.342 | 2584223.8342 | 1218037.9553 | 2584222.8674 | 1218039.6922 | 2584222.5462 | 1218041.6497 | 2584222.9233 | 1218043.6054 | 2584223.9449 | 1218045.3148
39 | 2584224.5384 | 1218037.342 | 2584215.0784 | 1218030.4076 | 2584192.494 | 1218009.1363
40 | 2584288.9014 | 1217998.3376 | 2584277.856 | 1217982.9351
41 | 2584223.9449 | 1218045.3148 | 2584220.9688 | 1218050.6702 | 2584213.9237 | 1218057.1645
42 | 2584167.4516 | 1217985.5498 | 2584192.494 | 1218009.1363
43 | 2584277.856 | 1217982.9351 | 2584276.8135 | 1217981.4814
44 | 2584338.7106 | 1217971.7461 | 2584349.1879 | 1217965.7923
45 | 2584338.7106 | 1217971.7461 | 2584328.032 | 1217957.4616
46 | 2584318.5856 | 1217944.8255 | 2584328.032 | 1217957.4616
47 | 2584180.2141 | 1217871.332 | 2584161.7774 | 1217901.264
48 | 2584144.7824 | 1217922.2676 | 2584160.1855 | 1217903.8483 | 2584161.7774 | 1217901.264
49 | 2584212.2256 | 1217819.0205 | 2584194.3395 | 1217843.0843
50 | 2584218.3639 | 1217810.7621 | 2584212.2256 | 1217819.0205
51 | 2584218.3639 | 1217810.7621 | 2584226.2731 | 1217821.3419
52 | 2584218.3639 | 1217810.7621 | 2584224.4664 | 1217801.8093
53 | 2584224.4664 | 1217801.8093 | 2584240.7212 | 1217777.9619
54 | 2584242.2398 | 1217775.7341 | 2584240.7212 | 1217777.9619
55 | 2584242.2398 | 1217775.7341 | 2584262.8134 | 1217798.0184
56 | 2584242.2398 | 1217775.7341 | 2584272.3391 | 1217740.4895 | 2584279.063 | 1217728.7094
57 | 2584226.2731 | 1217821.3419 | 2584232.0533 | 1217829.0739
58 | 2584277.412 | 1217813.8308 | 2584262.8134 | 1217798.0184
59 | 2584279.063 | 1217728.7094 | 2584276.9418 | 1217726.3848
60 | 2584245.2092 | 1217846.6721 | 2584232.0533 | 1217829.0739
61 | 2584277.412 | 1217813.8308 | 2584277.8405 | 1217814.2949 | 2584280.3894 | 1217817.5191
62 | 2584275.5141 | 1217724.8202 | 2584276.9418 | 1217726.3848
63 | 2584248.5964 | 1217851.2031 | 2584245.2092 | 1217846.6721
64 | 2584318.5856 | 1217944.8255 | 2584314.15 | 1217938.8922
65 | 2584304.1147 | 1217925.4683 | 2584314.15 | 1217938.8922
66 | 2584304.1147 | 1217925.4683 | 2584297.119 | 1217916.1103
67 | 2584297.119 | 1217916.1103 | 2584289.3801 | 1217905.7582
68 | 2584276.9533 | 1217889.1353 | 2584289.3801 | 1217905.7582
69 | 2584286.4882 | 1217825.2336 | 2584280.3894 | 1217817.5191
70 | 2584257.1712 | 1217710.5499 | 2584270.3394 | 1217719.1493 | 2584275.5141 | 1217724.8202
71 | 2584336.7269 | 1217888.7897 | 2584347.2776 | 1217902.1392 | 2584349.1593 | 1217904.582
72 | 2584336.7269 | 1217888.7897 | 2584327.0265 | 1217876.5159
73 | 2584352.8094 | 1217909.3205 | 2584349.1593 | 1217904.582
74 | 2584327.0265 | 1217876.5159 | 2584320.1299 | 1217867.7898
75 | 2584352.8094 | 1217909.3205 | 2584367.0028 | 1217927.7462 | 2584371.2606 | 1217933.9547
76 | 2584320.1299 | 1217867.7898 | 2584314.2651 | 1217860.3692 | 2584306.5338 | 1217850.5898
77 | 2584301.9634 | 1217844.8085 | 2584306.5338 | 1217850.5898
78 | 2584286.4882 | 1217825.2336 | 2584301.9634 | 1217844.8085
79 | 2584261.3919 | 1217868.3192 | 2584248.5964 | 1217851.2031
80 | 2584271.4722 | 1217881.8034 | 2584261.3919 | 1217868.3192
81 | 2584271.4722 | 1217881.8034 | 2584276.9533 | 1217889.1353
82 | 2584176.049 | 1217757.6324 | 2584175.3287 | 1217758.5622
83 | 2584182.8674 | 1217748.8324 | 2584176.049 | 1217757.6324
84 | 2584257.1712 | 1217710.5499 | 2584248.0046 | 1217704.5636

## bus_geodata
| x | y | coords
0 | 2584123.3477 | 1217797.1968
1 | 2584104.537 | 1217779.1011
2 | 2584124.5571 | 1217798.3602
3 | 2584103.2646 | 1217777.8771
4 | 2584132.164 | 1217805.6779
5 | 2584097.6059 | 1217771.4236
6 | 2584135.979 | 1217809.3479
7 | 2584092.8882 | 1217765.9274
8 | 2584149.7643 | 1217823.824
9 | 2584149.0029 | 1217792.5388
10 | 2584149.9368 | 1217823.9902
11 | 2584158.9964 | 1217779.641
12 | 2584185.5049 | 1217858.2657
13 | 2584161.3311 | 1217776.6277
14 | 2584116.0813 | 1217738.8664
15 | 2584129.4205 | 1217723.3027
16 | 2584135.6834 | 1217715.9953
17 | 2584234.7388 | 1217924.0159
18 | 2584234.6388 | 1217923.8805
19 | 2584255.1766 | 1217951.6756
20 | 2584215.8729 | 1217898.6018
21 | 2584255.1777 | 1217951.677
22 | 2584210.2899 | 1217891.1862
23 | 2584275.0992 | 1217979.0908
24 | 2584196.6322 | 1217873.0454
25 | 2584276.5309 | 1217981.0873
26 | 2584087.8606 | 1217904.4573
27 | 2584100.3479 | 1217918.1723
28 | 2584101.653 | 1217919.5852
29 | 2584125.4671 | 1217945.365
30 | 2584143.0273 | 1217924.3663
31 | 2584246.645 | 1218027.6119
32 | 2584232.0138 | 1218037.1887
33 | 2584272.5018 | 1218010.4213
34 | 2584224.5384 | 1218037.342
35 | 2584288.9014 | 1217998.3376
36 | 2584223.9449 | 1218045.3148
37 | 2584192.494 | 1218009.1363
38 | 2584213.9237 | 1218057.1645
39 | 2584277.856 | 1217982.9351
40 | 2584167.4516 | 1217985.5498
41 | 2584338.7106 | 1217971.7461
42 | 2584349.1879 | 1217965.7923
43 | 2584328.032 | 1217957.4617
44 | 2584276.8135 | 1217981.4814
45 | 2584161.7774 | 1217901.264
46 | 2584180.2141 | 1217871.332
47 | 2584144.7824 | 1217922.2676
48 | 2584194.3395 | 1217843.0842
49 | 2584212.2256 | 1217819.0205
50 | 2584218.3639 | 1217810.7621
51 | 2584224.4664 | 1217801.8093
52 | 2584240.7212 | 1217777.9619
53 | 2584242.2398 | 1217775.7341
54 | 2584226.2731 | 1217821.3419
55 | 2584262.8134 | 1217798.0184
56 | 2584279.063 | 1217728.7094
57 | 2584232.0533 | 1217829.0739
58 | 2584277.412 | 1217813.8308
59 | 2584276.9418 | 1217726.3848
60 | 2584245.2092 | 1217846.6721
61 | 2584318.5856 | 1217944.8255
62 | 2584314.15 | 1217938.8922
63 | 2584304.1147 | 1217925.4683
64 | 2584297.119 | 1217916.1103
65 | 2584289.3801 | 1217905.7582
66 | 2584280.3894 | 1217817.5191
67 | 2584275.5141 | 1217724.8202
68 | 2584336.7269 | 1217888.7897
69 | 2584349.1593 | 1217904.582
70 | 2584327.0265 | 1217876.5159
71 | 2584352.8094 | 1217909.3205
72 | 2584320.1299 | 1217867.7898
73 | 2584371.2606 | 1217933.9547
74 | 2584306.5338 | 1217850.5898
75 | 2584301.9634 | 1217844.8085
76 | 2584248.5964 | 1217851.2031
77 | 2584261.3919 | 1217868.3192
78 | 2584271.4722 | 1217881.8034
79 | 2584276.9533 | 1217889.1353
80 | 2584286.4882 | 1217825.2336
81 | 2584175.3287 | 1217758.5622
82 | 2584176.049 | 1217757.6324
83 | 2584182.8674 | 1217748.8324
84 | 2584257.1712 | 1217710.5499
85 | 2584248.0046 | 1217704.5636
86 | 2584185.5049 | 1217858.2657

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1