## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_743-8_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_743-8_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_743-8_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_743-8_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_743-8_0_4_node_77 | 0.4 | n |  | TRUE
5 | bus_LV_743-8_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_743-8_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_743-8_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_743-8_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_743-8_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_743-8_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_743-8_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_743-8_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_743-8_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_743-8_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_743-8_0_4_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_743-8_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_743-8_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_743-8_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_743-8_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_743-8_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_743-8_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_743-8_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_743-8_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_743-8_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_743-8_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_743-8_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_743-8_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_743-8_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_743-8_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_743-8_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_743-8_0_4_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_743-8_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_743-8_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_743-8_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_743-8_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_743-8_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_743-8_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_743-8_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_743-8_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_743-8_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_743-8_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_743-8_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_743-8_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_743-8_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_743-8_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_743-8_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_743-8_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_743-8_0_4_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_743-8_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_743-8_0_4_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_743-8_0_4_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_743-8_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_743-8_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_743-8_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_743-8_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_743-8_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_743-8_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_743-8_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_743-8_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_743-8_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_743-8_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_743-8_0_4_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_743-8_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_743-8_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_743-8_0_4_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_743-8_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_743-8_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_743-8_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_743-8_0_4_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_743-8_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_743-8_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_743-8_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_743-8_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_743-8_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_743-8_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_743-8_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_743-8_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_743-8_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_743-8_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_743-8_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_743-8_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_743-8_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_743-8_0_4_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_743-8_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_743-8_0_4_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_743-8_0_4_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_743-8_0_4_node_94 | 0.4 | n |  | TRUE
88 | bus_LV_743-8_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_743-8_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_743-8_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_743-8_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_743-8_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_743-8_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_743-8_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_MV_465_1_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_743-8_0_4_load_0 | 0 | 0.0013579 | 0.00034031 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_743-8_0_4_load_1 | 1 | 0.0037703 | 0.00094492 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_743-8_0_4_load_77 | 4 | 0.0026954 | 0.00067552 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_743-8_0_4_load_17 | 5 | 0.0029905 | 0.00074948 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_743-8_0_4_load_16 | 6 | 0.0048048 | 0.0012042 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_743-8_0_4_load_4 | 7 | 0.0013774 | 0.00034522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_743-8_0_4_load_5 | 8 | 0.0052963 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_743-8_0_4_load_7 | 10 | 0.0089248 | 0.0022368 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_743-8_0_4_load_8 | 11 | 0.004253 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_743-8_0_4_load_9 | 12 | 0.005966 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_743-8_0_4_load_10 | 13 | 0.0035154 | 0.00088103 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_743-8_0_4_load_18 | 14 | 0.0052136 | 0.0013067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_743-8_0_4_load_73 | 15 | 0.020299 | 0.0050873 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_743-8_0_4_load_11 | 16 | 0.0023754 | 0.00059533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_743-8_0_4_load_19 | 17 | 0.0081026 | 0.0020307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_743-8_0_4_load_72 | 18 | 0.0069616 | 0.0017447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_743-8_0_4_load_12 | 19 | 0.002983 | 0.00074761 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_743-8_0_4_load_13 | 20 | 0.060939 | 0.015273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_743-8_0_4_load_14 | 21 | 0.0034714 | 0.00087001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_743-8_0_4_load_15 | 22 | 0.0058662 | 0.0014702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_743-8_0_4_load_20 | 23 | 0.03316 | 0.0083108 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_743-8_0_4_load_21 | 24 | 0.0046147 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_743-8_0_4_load_22 | 25 | 0.0039204 | 0.00098253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_743-8_0_4_load_23 | 26 | 0.0038089 | 0.0009546 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_743-8_0_4_load_25 | 28 | 0.0052242 | 0.0013093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_743-8_0_4_load_26 | 29 | 0.011159 | 0.0027966 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_743-8_0_4_load_46 | 31 | 0.0047037 | 0.0011789 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_743-8_0_4_load_28 | 32 | 0.0024286 | 0.00060867 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_743-8_0_4_load_30 | 33 | 0.0024255 | 0.0006079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_743-8_0_4_load_29 | 34 | 0.0088508 | 0.0022182 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_743-8_0_4_load_31 | 36 | 0.0041118 | 0.0010305 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_743-8_0_4_load_45 | 37 | 0.001379 | 0.0003456 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_743-8_0_4_load_32 | 38 | 0.010591 | 0.0026544 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_743-8_0_4_load_33 | 39 | 0.0097008 | 0.0024312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_743-8_0_4_load_34 | 40 | 0.0063165 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_743-8_0_4_load_35 | 41 | 0.0049506 | 0.0012407 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_743-8_0_4_load_79 | 45 | 0.0020368 | 0.00051048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_743-8_0_4_load_43 | 46 | 0.0022364 | 0.00056049 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_743-8_0_4_load_39 | 47 | 0.0029276 | 0.00073373 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_743-8_0_4_load_80 | 48 | 0.002039 | 0.00051102 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_743-8_0_4_load_40 | 49 | 0.0022348 | 0.0005601 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_743-8_0_4_load_82 | 50 | 0.0021848 | 0.00054756 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_743-8_0_4_load_83 | 51 | 0.0021879 | 0.00054834 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_743-8_0_4_load_52 | 52 | 0.0020944 | 0.0005249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_743-8_0_4_load_47 | 54 | 0.0028897 | 0.00072423 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_743-8_0_4_load_48 | 55 | 0.015824 | 0.0039659 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_743-8_0_4_load_49 | 56 | 0.002308 | 0.00057844 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_743-8_0_4_load_51 | 58 | 0.0024972 | 0.00062586 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_743-8_0_4_load_98 | 62 | 0.0073168 | 0.0018338 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_743-8_0_4_load_78 | 63 | 0.012598 | 0.0031572 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_743-8_0_4_load_58 | 64 | 0.01816 | 0.0045513 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_743-8_0_4_load_91 | 65 | 0.013807 | 0.0034604 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_743-8_0_4_load_55 | 66 | 0.013611 | 0.0034113 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_743-8_0_4_load_59 | 67 | 0.011513 | 0.0028853 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_743-8_0_4_load_60 | 68 | 0.0049277 | 0.001235 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_743-8_0_4_load_81 | 69 | 0.0036327 | 0.00091043 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_743-8_0_4_load_61 | 70 | 0.0027803 | 0.00069681 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_743-8_0_4_load_62 | 71 | 0.003391 | 0.00084986 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_743-8_0_4_load_63 | 72 | 0.00064094 | 0.00016064 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_743-8_0_4_load_64 | 73 | 0.00084353 | 0.00021141 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_743-8_0_4_load_65 | 74 | 0.0075163 | 0.0018838 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_743-8_0_4_load_66 | 75 | 0.008475 | 0.002124 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_743-8_0_4_load_69 | 78 | 0.0055015 | 0.0013788 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_743-8_0_4_load_74 | 79 | 0.0095297 | 0.0023884 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_743-8_0_4_load_70 | 80 | 0.010201 | 0.0025567 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_743-8_0_4_load_75 | 81 | 0.0019728 | 0.00049444 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_743-8_0_4_load_71 | 82 | 0.02286 | 0.0057292 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_743-8_0_4_load_84 | 83 | 0.0034911 | 0.00087496 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_743-8_0_4_load_85 | 84 | 0.0021861 | 0.00054789 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_743-8_0_4_load_86 | 85 | 0.0021848 | 0.00054756 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_743-8_0_4_load_93 | 86 | 0.0024338 | 0.00060996 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_743-8_0_4_load_94 | 87 | 0.0021879 | 0.00054834 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_743-8_0_4_load_87 | 88 | 0.0017009 | 0.00042629 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_743-8_0_4_load_88 | 89 | 0.0024826 | 0.0006222 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_743-8_0_4_load_89 | 90 | 0.0016995 | 0.00042593 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_743-8_0_4_load_90 | 91 | 0.0017009 | 0.00042629 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_743-8_0_4_load_97 | 92 | 0.0021848 | 0.00054757 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_743-8_0_4_load_96 | 94 | 0.001702 | 0.00042655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_743-8_0_4_line_0 |  | 0 | 1 | 0.0067706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_743-8_0_4_line_1 |  | 1 | 2 | 0.0081212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_743-8_0_4_line_2 |  | 2 | 3 | 0.006651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_743-8_0_4_line_3 |  | 3 | 4 | 0.008593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_743-8_0_4_line_4 |  | 3 | 5 | 0.0089197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_743-8_0_4_line_5 |  | 5 | 6 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_743-8_0_4_line_6 |  | 6 | 22 | 0.0024337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_743-8_0_4_line_7 |  | 7 | 8 | 0.0098505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_743-8_0_4_line_8 |  | 7 | 9 | 0.0064561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_743-8_0_4_line_9 |  | 8 | 10 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_743-8_0_4_line_10 |  | 9 | 11 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_743-8_0_4_line_11 |  | 9 | 12 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_743-8_0_4_line_12 |  | 10 | 13 | 0.00063613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_743-8_0_4_line_13 |  | 11 | 14 | 0.018083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_743-8_0_4_line_14 |  | 12 | 15 | 0.0070799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_743-8_0_4_line_15 |  | 13 | 16 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_743-8_0_4_line_16 |  | 14 | 17 | 0.0036204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_743-8_0_4_line_17 |  | 15 | 18 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_743-8_0_4_line_18 |  | 16 | 19 | 0.0021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_743-8_0_4_line_19 |  | 17 | 23 | 0.0038304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_743-8_0_4_line_20 |  | 18 | 82 | 0.016482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_743-8_0_4_line_21 |  | 19 | 20 | 0.0082962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_743-8_0_4_line_22 |  | 20 | 21 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_743-8_0_4_line_23 |  | 21 | 22 | 0.012226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_743-8_0_4_line_24 |  | 23 | 24 | 0.014322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_743-8_0_4_line_25 |  | 24 | 25 | 0.0053385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_743-8_0_4_line_26 |  | 25 | 26 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_743-8_0_4_line_27 |  | 26 | 27 | 0.0086249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_743-8_0_4_line_28 |  | 27 | 28 | 0.012446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_743-8_0_4_line_29 |  | 27 | 29 | 0.027621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_743-8_0_4_line_30 |  | 28 | 30 | 0.014376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_743-8_0_4_line_31 |  | 29 | 31 | 0.015114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_743-8_0_4_line_32 |  | 30 | 32 | 0.0019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_743-8_0_4_line_33 |  | 32 | 33 | 0.0090671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_743-8_0_4_line_34 |  | 33 | 36 | 0.024162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_743-8_0_4_line_35 |  | 34 | 35 | 0.026762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_743-8_0_4_line_36 |  | 35 | 37 | 0.0044915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_743-8_0_4_line_37 |  | 36 | 38 | 0.025158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_743-8_0_4_line_38 |  | 37 | 52 | 0.004804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_743-8_0_4_line_39 |  | 38 | 39 | 0.0071933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_743-8_0_4_line_40 |  | 39 | 40 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_743-8_0_4_line_41 |  | 40 | 41 | 0.013339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_743-8_0_4_line_42 |  | 41 | 42 | 0.026028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_743-8_0_4_line_43 |  | 42 | 43 | 0.019947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_743-8_0_4_line_44 |  | 43 | 44 | 0.004779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_743-8_0_4_line_45 |  | 43 | 45 | 0.020707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_743-8_0_4_line_46 |  | 44 | 46 | 0.025935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_743-8_0_4_line_47 |  | 44 | 47 | 0.013964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_743-8_0_4_line_48 |  | 45 | 48 | 0.0054187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_743-8_0_4_line_49 |  | 46 | 50 | 0.0096518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_743-8_0_4_line_50 |  | 47 | 49 | 0.0032148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_743-8_0_4_line_51 |  | 50 | 51 | 0.0066466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_743-8_0_4_line_52 |  | 51 | 83 | 0.0058799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_743-8_0_4_line_53 |  | 52 | 53 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_743-8_0_4_line_54 |  | 53 | 66 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_743-8_0_4_line_55 |  | 53 | 60 | 0.027633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_743-8_0_4_line_56 |  | 54 | 55 | 0.040313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_743-8_0_4_line_57 |  | 54 | 56 | 0.0043764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_743-8_0_4_line_58 |  | 55 | 57 | 0.042218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_743-8_0_4_line_59 |  | 56 | 58 | 0.0085263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_743-8_0_4_line_60 |  | 57 | 59 | 0.023245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_743-8_0_4_line_61 |  | 57 | 60 | 0.044594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_743-8_0_4_line_62 |  | 57 | 61 | 0.033173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_743-8_0_4_line_63 |  | 58 | 62 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_743-8_0_4_line_64 |  | 59 | 63 | 0.049374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_743-8_0_4_line_65 |  | 60 | 64 | 0.024961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_743-8_0_4_line_66 |  | 61 | 65 | 0.05453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_743-8_0_4_line_67 |  | 65 | 69 | 0.039255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_743-8_0_4_line_68 |  | 66 | 67 | 0.0015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_743-8_0_4_line_69 |  | 67 | 68 | 0.025615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_743-8_0_4_line_70 |  | 68 | 70 | 0.001305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_743-8_0_4_line_71 |  | 70 | 71 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_743-8_0_4_line_72 |  | 71 | 72 | 0.0003837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_743-8_0_4_line_73 |  | 72 | 73 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_743-8_0_4_line_74 |  | 73 | 74 | 0.0025521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_743-8_0_4_line_75 |  | 74 | 75 | 0.013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_743-8_0_4_line_76 |  | 75 | 76 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_743-8_0_4_line_77 |  | 76 | 77 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_743-8_0_4_line_78 |  | 76 | 78 | 0.0017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_743-8_0_4_line_79 |  | 77 | 79 | 0.05771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_743-8_0_4_line_80 |  | 78 | 80 | 0.018738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_743-8_0_4_line_81 |  | 79 | 81 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_743-8_0_4_line_82 |  | 80 | 82 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_743-8_0_4_line_83 |  | 83 | 84 | 0.0015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_743-8_0_4_line_84 |  | 84 | 85 | 0.0066469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_743-8_0_4_line_85 |  | 85 | 86 | 0.0018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_743-8_0_4_line_86 |  | 86 | 87 | 0.0048437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_743-8_0_4_line_87 |  | 87 | 93 | 0.017175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_743-8_0_4_line_88 |  | 88 | 89 | 0.0011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_743-8_0_4_line_89 |  | 88 | 90 | 0.0076045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_743-8_0_4_line_90 |  | 90 | 91 | 0.0076055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_743-8_0_4_line_91 |  | 91 | 92 | 0.0036679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_743-8_0_4_line_92 |  | 92 | 93 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_743-8_0_4_line_93 |  | 93 | 94 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_743-8_0_4_trafo_46 | 0.63 MVA 20/0.4 kV | 95 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2585384.4746 | 1219886.1394 | 2585388.3244 | 1219880.5698
1 | 2585392.9421 | 1219873.8892 | 2585388.3244 | 1219880.5698
2 | 2585392.9421 | 1219873.8892 | 2585396.7223 | 1219868.4101
3 | 2585396.7223 | 1219868.4101 | 2585403.1832 | 1219874.0755
4 | 2585396.7223 | 1219868.4101 | 2585389.6823 | 1219862.9329
5 | 2585389.6823 | 1219862.9329 | 2585371.8919 | 1219849.0919
6 | 2585371.8919 | 1219849.0919 | 2585369.9711 | 1219847.5974 | 2585369.9711 | 1219847.5974
7 | 2585303.4384 | 1219792.3435 | 2585304.5701 | 1219793.2836 | 2585311.0163 | 1219798.6371
8 | 2585298.4724 | 1219788.2181 | 2585303.4384 | 1219792.3435
9 | 2585311.0163 | 1219798.6371 | 2585326.2413 | 1219811.281
10 | 2585298.4724 | 1219788.2181 | 2585290.8521 | 1219784.1458 | 2585288.5456 | 1219782.913
11 | 2585298.4724 | 1219788.2181 | 2585303.8619 | 1219780.0556 | 2585306.9628 | 1219775.6477
12 | 2585326.2413 | 1219811.281 | 2585326.7307 | 1219811.6874
13 | 2585288.5456 | 1219782.913 | 2585272.5976 | 1219774.3887
14 | 2585311.0365 | 1219769.8571 | 2585306.9628 | 1219775.6477
15 | 2585326.7307 | 1219811.6874 | 2585341.0418 | 1219823.5725
16 | 2585269.4047 | 1219772.6821 | 2585272.5976 | 1219774.3887
17 | 2585311.0365 | 1219769.8571 | 2585318.2253 | 1219759.6382
18 | 2585341.0418 | 1219823.5725 | 2585342.7289 | 1219824.9735
19 | 2585266.0266 | 1219770.8765 | 2585269.4047 | 1219772.6821
20 | 2585327.7085 | 1219746.158 | 2585318.2253 | 1219759.6382
21 | 2585349.1112 | 1219830.2738 | 2585342.7289 | 1219824.9735
22 | 2585349.1112 | 1219830.2738 | 2585360.5659 | 1219839.7867
23 | 2585369.9711 | 1219847.5974 | 2585360.5659 | 1219839.7867
24 | 2585266.0266 | 1219770.8765 | 2585253.3958 | 1219764.1253
25 | 2585248.6876 | 1219761.6088 | 2585253.3958 | 1219764.1253
26 | 2585234.6924 | 1219754.1283 | 2585248.6876 | 1219761.6088
27 | 2585227.0859 | 1219750.0626 | 2585234.6924 | 1219754.1283
28 | 2585227.0859 | 1219750.0626 | 2585216.3181 | 1219743.8217
29 | 2585227.0859 | 1219750.0626 | 2585241.2104 | 1219726.326
30 | 2585203.8802 | 1219736.6128 | 2585216.3181 | 1219743.8217
31 | 2585241.2104 | 1219726.326 | 2585248.9391 | 1219713.3377
32 | 2585203.8802 | 1219736.6128 | 2585202.2075 | 1219735.5867
33 | 2585202.2075 | 1219735.5867 | 2585194.4788 | 1219730.8454
34 | 2585173.8833 | 1219718.2108 | 2585194.4788 | 1219730.8454
35 | 2585234.6971 | 1219689.5977 | 2585231.8775 | 1219693.8406 | 2585220.0106 | 1219711.9699
36 | 2585234.6971 | 1219689.5977 | 2585237.1813 | 1219685.8559
37 | 2585173.8833 | 1219718.2108 | 2585165.0029 | 1219712.763 | 2585152.6313 | 1219704.7506
38 | 2585239.8385 | 1219681.8536 | 2585237.1813 | 1219685.8559
39 | 2585146.5937 | 1219700.8403 | 2585152.6313 | 1219704.7506
40 | 2585146.5937 | 1219700.8403 | 2585129.7233 | 1219689.9143
41 | 2585118.5277 | 1219682.6635 | 2585129.7233 | 1219689.9143
42 | 2585099.1916 | 1219665.6122 | 2585108.3686 | 1219676.084 | 2585118.5277 | 1219682.6635
43 | 2585087.651 | 1219659.5933 | 2585089.0881 | 1219663.8143 | 2585091.1595 | 1219669.8682 | 2585099.1916 | 1219665.6122
44 | 2585086.0993 | 1219655.0724 | 2585087.651 | 1219659.5933
45 | 2585087.651 | 1219659.5933 | 2585092.0428 | 1219659.0375 | 2585107.2023 | 1219653.1006
46 | 2585086.0993 | 1219655.0724 | 2585099.0147 | 1219632.5825
47 | 2585086.0993 | 1219655.0724 | 2585075.8642 | 1219645.5731
48 | 2585107.2023 | 1219653.1006 | 2585112.2479 | 1219651.1246
49 | 2585099.0147 | 1219632.5825 | 2585103.8213 | 1219624.2128
50 | 2585075.8642 | 1219645.5731 | 2585073.5079 | 1219643.3862
51 | 2585103.8213 | 1219624.2128 | 2585107.1312 | 1219618.449
52 | 2585110.209 | 1219613.4411 | 2585108.3624 | 1219616.3052 | 2585107.1312 | 1219618.449
53 | 2585253.2397 | 1219661.6688 | 2585239.8385 | 1219681.8536
54 | 2585253.2397 | 1219661.6688 | 2585267.1101 | 1219669.8823
55 | 2585267.696 | 1219638.0971 | 2585253.2397 | 1219661.6688
56 | 2585200.6088 | 1219633.1958 | 2585213.352 | 1219628.3269 | 2585238.4203 | 1219619.2189
57 | 2585200.6088 | 1219633.1958 | 2585196.5206 | 1219634.7579
58 | 2585278.405 | 1219605.674 | 2585261.5288 | 1219611.2525 | 2585240.1575 | 1219618.5877 | 2585238.4203 | 1219619.2189
59 | 2585188.5558 | 1219637.8011 | 2585196.5206 | 1219634.7579
60 | 2585278.405 | 1219605.674 | 2585283.0663 | 1219603.639 | 2585285.1203 | 1219602.7445 | 2585291.7139 | 1219599.6597 | 2585293.8739 | 1219598.6426 | 2585299.2684 | 1219595.483
61 | 2585267.696 | 1219638.0971 | 2585277.2006 | 1219621.7529 | 2585284.8253 | 1219609.2045 | 2585284.2554 | 1219605.804 | 2585283.0663 | 1219603.639 | 2585278.405 | 1219605.674
62 | 2585269.4764 | 1219579.0587 | 2585276.4504 | 1219591.6597 | 2585280.1319 | 1219598.321 | 2585283.0663 | 1219603.639 | 2585278.405 | 1219605.674
63 | 2585169.9166 | 1219644.9228 | 2585188.5558 | 1219637.8011
64 | 2585299.2684 | 1219595.483 | 2585306.2689 | 1219606.5275 | 2585325.4092 | 1219637.3692
65 | 2585267.696 | 1219638.0971 | 2585289.8631 | 1219649.5718
66 | 2585269.4764 | 1219579.0587 | 2585266.4768 | 1219581.1118 | 2585238.2938 | 1219598.4252 | 2585222.4604 | 1219606.5995
67 | 2585186.4098 | 1219622.0809 | 2585192.8132 | 1219619.5731 | 2585216.8712 | 1219609.485 | 2585222.4604 | 1219606.5995
68 | 2585268.465 | 1219670.6846 | 2585267.1101 | 1219669.8823
69 | 2585268.465 | 1219670.6846 | 2585290.5056 | 1219683.7361
70 | 2585290.5056 | 1219683.7361 | 2585291.6284 | 1219684.401
71 | 2585291.6284 | 1219684.401 | 2585306.0706 | 1219692.953
72 | 2585306.0706 | 1219692.953 | 2585306.4007 | 1219693.1485
73 | 2585306.4007 | 1219693.1485 | 2585321.3231 | 1219701.9849
74 | 2585321.3231 | 1219701.9849 | 2585323.5191 | 1219703.2853
75 | 2585335.4471 | 1219710.3486 | 2585323.5191 | 1219703.2853
76 | 2585347.7676 | 1219717.6442 | 2585335.4471 | 1219710.3486
77 | 2585347.7676 | 1219717.6442 | 2585356.582 | 1219704.4593 | 2585359.4013 | 1219700.0831
78 | 2585347.7676 | 1219717.6442 | 2585346.7533 | 1219719.0859
79 | 2585359.4013 | 1219700.0831 | 2585391.8634 | 1219747.7981
80 | 2585335.9721 | 1219734.4113 | 2585346.7533 | 1219719.0859
81 | 2585403.9388 | 1219758.051 | 2585399.9836 | 1219757.1824 | 2585396.1139 | 1219754.0457 | 2585391.8634 | 1219747.7981
82 | 2585335.9721 | 1219734.4113 | 2585327.7085 | 1219746.158
83 | 2585110.209 | 1219613.4411 | 2585111.0484 | 1219612.1391
84 | 2585114.6501 | 1219606.5526 | 2585111.0484 | 1219612.1391
85 | 2585115.6286 | 1219605.035 | 2585114.6501 | 1219606.5526
86 | 2585115.6286 | 1219605.035 | 2585118.2533 | 1219600.964
87 | 2585127.5601 | 1219586.5287 | 2585118.2533 | 1219600.964
88 | 2585155.1783 | 1219606.7025 | 2585156.131 | 1219607.3984
89 | 2585155.1783 | 1219606.7025 | 2585149.0375 | 1219602.217
90 | 2585142.896 | 1219597.7308 | 2585149.0375 | 1219602.217
91 | 2585142.896 | 1219597.7308 | 2585139.9342 | 1219595.5674
92 | 2585127.5601 | 1219586.5287 | 2585139.9342 | 1219595.5674
93 | 2585127.5601 | 1219586.5287 | 2585133.7307 | 1219576.9545

## bus_geodata
| x | y | coords
0 | 2585384.4746 | 1219886.1394
1 | 2585388.3244 | 1219880.5698
2 | 2585392.9421 | 1219873.8892
3 | 2585396.7223 | 1219868.4101
4 | 2585403.1832 | 1219874.0755
5 | 2585389.6823 | 1219862.9329
6 | 2585371.8919 | 1219849.0919
7 | 2585303.4384 | 1219792.3435
8 | 2585311.0163 | 1219798.6371
9 | 2585298.4724 | 1219788.2181
10 | 2585326.2413 | 1219811.281
11 | 2585288.5456 | 1219782.913
12 | 2585306.9628 | 1219775.6477
13 | 2585326.7307 | 1219811.6874
14 | 2585272.5976 | 1219774.3887
15 | 2585311.0365 | 1219769.8571
16 | 2585341.0418 | 1219823.5725
17 | 2585269.4047 | 1219772.6821
18 | 2585318.2253 | 1219759.6382
19 | 2585342.7289 | 1219824.9735
20 | 2585349.1112 | 1219830.2738
21 | 2585360.5659 | 1219839.7867
22 | 2585369.9711 | 1219847.5974
23 | 2585266.0266 | 1219770.8765
24 | 2585253.3958 | 1219764.1253
25 | 2585248.6876 | 1219761.6088
26 | 2585234.6924 | 1219754.1283
27 | 2585227.0859 | 1219750.0626
28 | 2585216.3181 | 1219743.8217
29 | 2585241.2104 | 1219726.326
30 | 2585203.8802 | 1219736.6128
31 | 2585248.9391 | 1219713.3377
32 | 2585202.2075 | 1219735.5867
33 | 2585194.4788 | 1219730.8454
34 | 2585220.0106 | 1219711.9699
35 | 2585234.6971 | 1219689.5977
36 | 2585173.8833 | 1219718.2108
37 | 2585237.1813 | 1219685.8559
38 | 2585152.6313 | 1219704.7506
39 | 2585146.5937 | 1219700.8403
40 | 2585129.7233 | 1219689.9143
41 | 2585118.5277 | 1219682.6635
42 | 2585099.1916 | 1219665.6122
43 | 2585087.651 | 1219659.5933
44 | 2585086.0993 | 1219655.0724
45 | 2585107.2023 | 1219653.1006
46 | 2585099.0147 | 1219632.5825
47 | 2585075.8642 | 1219645.5731
48 | 2585112.2479 | 1219651.1246
49 | 2585073.5079 | 1219643.3862
50 | 2585103.8212 | 1219624.2128
51 | 2585107.1312 | 1219618.449
52 | 2585239.8385 | 1219681.8536
53 | 2585253.2397 | 1219661.6688
54 | 2585200.6088 | 1219633.1958
55 | 2585238.4203 | 1219619.2189
56 | 2585196.5206 | 1219634.7579
57 | 2585278.405 | 1219605.674
58 | 2585188.5558 | 1219637.8011
59 | 2585299.2684 | 1219595.483
60 | 2585267.696 | 1219638.0971
61 | 2585269.4764 | 1219579.0587
62 | 2585169.9166 | 1219644.9228
63 | 2585325.4092 | 1219637.3692
64 | 2585289.8631 | 1219649.5718
65 | 2585222.4604 | 1219606.5995
66 | 2585267.1101 | 1219669.8823
67 | 2585268.465 | 1219670.6846
68 | 2585290.5056 | 1219683.7361
69 | 2585186.4098 | 1219622.0809
70 | 2585291.6284 | 1219684.401
71 | 2585306.0706 | 1219692.953
72 | 2585306.4007 | 1219693.1485
73 | 2585321.3231 | 1219701.9849
74 | 2585323.5191 | 1219703.2853
75 | 2585335.4471 | 1219710.3486
76 | 2585347.7676 | 1219717.6442
77 | 2585359.4013 | 1219700.0831
78 | 2585346.7533 | 1219719.0859
79 | 2585391.8634 | 1219747.7981
80 | 2585335.9721 | 1219734.4113
81 | 2585403.9388 | 1219758.051
82 | 2585327.7085 | 1219746.158
83 | 2585110.209 | 1219613.4411
84 | 2585111.0484 | 1219612.1391
85 | 2585114.6501 | 1219606.5526
86 | 2585115.6286 | 1219605.035
87 | 2585118.2533 | 1219600.964
88 | 2585155.1783 | 1219606.7025
89 | 2585156.131 | 1219607.3984
90 | 2585149.0375 | 1219602.217
91 | 2585142.896 | 1219597.7308
92 | 2585139.9342 | 1219595.5674
93 | 2585127.5601 | 1219586.5287
94 | 2585133.7307 | 1219576.9545
95 | 2585234.6971 | 1219689.5977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1