## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_745-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_745-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_745-6_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_745-6_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_745-6_0_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_745-6_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_745-6_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_745-6_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_745-6_0_5_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_745-6_0_5_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_745-6_0_5_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_745-6_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_745-6_0_5_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_745-6_0_5_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_745-6_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_745-6_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_745-6_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_745-6_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_745-6_0_5_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_745-6_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_745-6_0_5_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_745-6_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_745-6_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_745-6_0_5_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_745-6_0_5_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_745-6_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_745-6_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_745-6_0_5_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_745-6_0_5_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_745-6_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_745-6_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_745-6_0_5_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_745-6_0_5_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_745-6_0_5_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_745-6_0_5_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_745-6_0_5_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_745-6_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_745-6_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_745-6_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_745-6_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_745-6_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_745-6_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_745-6_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_745-6_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_745-6_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_745-6_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_745-6_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_745-6_0_5_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_745-6_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_745-6_0_5_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_745-6_0_5_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_745-6_0_5_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_745-6_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_745-6_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_745-6_0_5_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_745-6_0_5_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_745-6_0_5_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_745-6_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_745-6_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_745-6_0_5_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_745-6_0_5_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_745-6_0_5_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_745-6_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_745-6_0_5_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_745-6_0_5_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_745-6_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_745-6_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_745-6_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_745-6_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_745-6_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_745-6_0_5_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_745-6_0_5_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_745-6_0_5_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_745-6_0_5_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_745-6_0_5_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_745-6_0_5_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_745-6_0_5_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_745-6_0_5_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_745-6_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_745-6_0_5_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_745-6_0_5_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_745-6_0_5_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_745-6_0_5_node_90 | 0.4 | n |  | TRUE
83 | bus_LV_745-6_0_5_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_745-6_0_5_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_745-6_0_5_node_88 | 0.4 | n |  | TRUE
86 | bus_MV_465_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_745-6_0_5_load_0 | 0 | 0.018238 | 0.0045708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_745-6_0_5_load_3 | 2 | 0.0079348 | 0.0019886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_745-6_0_5_load_4 | 3 | 0.0031992 | 0.00080179 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_745-6_0_5_load_15 | 5 | 0.0079925 | 0.0020031 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_745-6_0_5_load_54 | 8 | 0.002311 | 0.0005792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_745-6_0_5_load_36 | 9 | 0.0017734 | 0.00044447 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_745-6_0_5_load_35 | 12 | 0.035667 | 0.008939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_745-6_0_5_load_33 | 13 | 0.02052 | 0.0051429 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_745-6_0_5_load_53 | 16 | 0.014603 | 0.0036598 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_745-6_0_5_load_45 | 18 | 0.001916 | 0.00048019 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_745-6_0_5_load_42 | 19 | 0.0023798 | 0.00059643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_745-6_0_5_load_55 | 22 | 0.014636 | 0.0036681 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_745-6_0_5_load_40 | 23 | 0.00797 | 0.0019975 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_745-6_0_5_load_64 | 24 | 0.0053779 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_745-6_0_5_load_37 | 26 | 0.020019 | 0.0050172 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_745-6_0_5_load_41 | 27 | 0.020019 | 0.0050171 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_745-6_0_5_load_38 | 28 | 0.018247 | 0.0045731 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_745-6_0_5_load_57 | 31 | 0.010006 | 0.0025077 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_745-6_0_5_load_75 | 32 | 0.0052737 | 0.0013217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_745-6_0_5_load_47 | 34 | 0.007032 | 0.0017624 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_745-6_0_5_load_44 | 35 | 0.0079509 | 0.0019927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_745-6_0_5_load_16 | 36 | 0.014998 | 0.0037589 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_745-6_0_5_load_19 | 39 | 0.0066903 | 0.0016768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_745-6_0_5_load_20 | 40 | 0.0035389 | 0.00088693 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_745-6_0_5_load_24 | 42 | 0.0067165 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_745-6_0_5_load_27 | 43 | 0.020436 | 0.0051218 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_745-6_0_5_load_31 | 44 | 0.003513 | 0.00088044 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_745-6_0_5_load_25 | 45 | 0.018236 | 0.0045704 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_745-6_0_5_load_30 | 47 | 0.0084594 | 0.0021201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_745-6_0_5_load_66 | 48 | 0.0020181 | 0.00050579 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_745-6_0_5_load_65 | 49 | 0.0015033 | 0.00037676 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_745-6_0_5_load_32 | 50 | 0.0083964 | 0.0021043 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_745-6_0_5_load_63 | 51 | 0.0053777 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_745-6_0_5_load_46 | 52 | 0.0027941 | 0.00070026 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_745-6_0_5_load_48 | 53 | 0.0052479 | 0.0013152 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_745-6_0_5_load_69 | 54 | 0.0019048 | 0.0004774 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_745-6_0_5_load_49 | 55 | 0.0047704 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_745-6_0_5_load_70 | 56 | 0.0069119 | 0.0017323 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_745-6_0_5_load_50 | 57 | 0.016385 | 0.0041064 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_745-6_0_5_load_51 | 58 | 0.018572 | 0.0046547 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_745-6_0_5_load_52 | 59 | 0.020222 | 0.0050681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_745-6_0_5_load_77 | 60 | 0.001786 | 0.0004476 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_745-6_0_5_load_78 | 61 | 0.0011189 | 0.00028043 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_745-6_0_5_load_58 | 62 | 0.021362 | 0.0053538 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_745-6_0_5_load_59 | 65 | 0.0055992 | 0.0014033 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_745-6_0_5_load_60 | 66 | 0.009977 | 0.0025005 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_745-6_0_5_load_61 | 67 | 0.012822 | 0.0032136 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_745-6_0_5_load_62 | 68 | 0.016405 | 0.0041115 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_745-6_0_5_load_71 | 69 | 0.004563 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_745-6_0_5_load_73 | 71 | 0.011822 | 0.0029628 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_745-6_0_5_load_76 | 72 | 0.0029592 | 0.00074165 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_745-6_0_5_load_81 | 73 | 0.016396 | 0.0041093 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_745-6_0_5_load_79 | 74 | 0.0077688 | 0.001947 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_745-6_0_5_load_80 | 75 | 0.0032624 | 0.00081762 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_745-6_0_5_load_82 | 76 | 0.0015425 | 0.00038659 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_745-6_0_5_load_83 | 77 | 0.0077897 | 0.0019523 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_745-6_0_5_load_84 | 78 | 0.0013926 | 0.00034901 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_745-6_0_5_load_85 | 79 | 0.0035175 | 0.00088157 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_745-6_0_5_load_91 | 81 | 0.0015331 | 0.00038424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_745-6_0_5_load_90 | 82 | 0.0016157 | 0.00040492 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_745-6_0_5_load_89 | 83 | 0.012695 | 0.0031817 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_745-6_0_5_load_87 | 84 | 0.0035341 | 0.00088573 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_745-6_0_5_load_88 | 85 | 0.0037197 | 0.00093225 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_745-6_0_5_line_0 |  | 0 | 1 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_745-6_0_5_line_1 |  | 1 | 2 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_745-6_0_5_line_2 |  | 1 | 3 | 0.0010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_745-6_0_5_line_3 |  | 2 | 4 | 0.029451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_745-6_0_5_line_4 |  | 3 | 5 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_745-6_0_5_line_5 |  | 4 | 20 | 0.035862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_745-6_0_5_line_6 |  | 5 | 23 | 5.8997e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_745-6_0_5_line_7 |  | 6 | 7 | 0.032236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_745-6_0_5_line_8 |  | 6 | 8 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_745-6_0_5_line_9 |  | 7 | 9 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_745-6_0_5_line_10 |  | 7 | 10 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_745-6_0_5_line_11 |  | 8 | 21 | 0.044719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_745-6_0_5_line_12 |  | 9 | 24 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_745-6_0_5_line_13 |  | 10 | 13 | 0.0051535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_745-6_0_5_line_14 |  | 11 | 12 | 0.024768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_745-6_0_5_line_15 |  | 11 | 13 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_745-6_0_5_line_16 |  | 12 | 26 | 0.0062332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_745-6_0_5_line_17 |  | 14 | 15 | 0.00935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_745-6_0_5_line_18 |  | 14 | 16 | 0.010957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_745-6_0_5_line_19 |  | 15 | 22 | 0.0062654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_745-6_0_5_line_20 |  | 16 | 21 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_745-6_0_5_line_21 |  | 17 | 18 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_745-6_0_5_line_22 |  | 17 | 19 | 0.039416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_745-6_0_5_line_23 |  | 18 | 34 | 0.024743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_745-6_0_5_line_24 |  | 19 | 20 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_745-6_0_5_line_25 |  | 20 | 35 | 0.0037145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_745-6_0_5_line_26 |  | 22 | 30 | 0.026123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_745-6_0_5_line_27 |  | 23 | 29 | 0.012261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_745-6_0_5_line_28 |  | 24 | 51 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_745-6_0_5_line_29 |  | 25 | 26 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_745-6_0_5_line_30 |  | 25 | 27 | 0.01428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_745-6_0_5_line_31 |  | 27 | 43 | 0.0026542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_745-6_0_5_line_32 |  | 28 | 29 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_745-6_0_5_line_33 |  | 29 | 50 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_745-6_0_5_line_34 |  | 30 | 31 | 0.056896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_745-6_0_5_line_35 |  | 31 | 62 | 0.0015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_745-6_0_5_line_36 |  | 32 | 33 | 0.02033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_745-6_0_5_line_37 |  | 33 | 72 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_745-6_0_5_line_38 |  | 33 | 70 | 0.037319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_745-6_0_5_line_39 |  | 34 | 54 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_745-6_0_5_line_40 |  | 35 | 52 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_745-6_0_5_line_41 |  | 36 | 37 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_745-6_0_5_line_42 |  | 36 | 38 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_745-6_0_5_line_43 |  | 37 | 39 | 0.0058375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_745-6_0_5_line_44 |  | 37 | 40 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_745-6_0_5_line_45 |  | 38 | 41 | 0.036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_745-6_0_5_line_46 |  | 39 | 42 | 0.00027198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_745-6_0_5_line_47 |  | 41 | 43 | 0.034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_745-6_0_5_line_48 |  | 42 | 44 | 0.013438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_745-6_0_5_line_49 |  | 44 | 46 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_745-6_0_5_line_50 |  | 45 | 46 | 0.025474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_745-6_0_5_line_51 |  | 46 | 47 | 0.010552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_745-6_0_5_line_52 |  | 47 | 50 | 0.00029264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_745-6_0_5_line_53 |  | 48 | 49 | 0.00065981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_745-6_0_5_line_54 |  | 49 | 51 | 0.013363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_745-6_0_5_line_55 |  | 52 | 53 | 0.00099696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_745-6_0_5_line_56 |  | 53 | 55 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_745-6_0_5_line_57 |  | 54 | 56 | 0.007121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_745-6_0_5_line_58 |  | 55 | 57 | 0.0046909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_745-6_0_5_line_59 |  | 56 | 69 | 0.0066335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_745-6_0_5_line_60 |  | 57 | 58 | 0.077604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_745-6_0_5_line_61 |  | 58 | 59 | 0.0076758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_745-6_0_5_line_62 |  | 59 | 60 | 0.013039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_745-6_0_5_line_63 |  | 60 | 61 | 0.012468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_745-6_0_5_line_64 |  | 61 | 73 | 0.0018373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_745-6_0_5_line_65 |  | 62 | 63 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_745-6_0_5_line_66 |  | 63 | 64 | 0.03176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_745-6_0_5_line_67 |  | 64 | 68 | 0.019133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_745-6_0_5_line_68 |  | 65 | 66 | 0.0046095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_745-6_0_5_line_69 |  | 66 | 67 | 0.0027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_745-6_0_5_line_70 |  | 67 | 68 | 0.0023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_745-6_0_5_line_71 |  | 69 | 70 | 0.0067802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_745-6_0_5_line_72 |  | 70 | 71 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_745-6_0_5_line_73 |  | 73 | 74 | 0.003149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_745-6_0_5_line_74 |  | 74 | 75 | 0.00043682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_745-6_0_5_line_75 |  | 75 | 76 | 0.031158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_745-6_0_5_line_76 |  | 76 | 77 | 0.0044623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_745-6_0_5_line_77 |  | 77 | 78 | 0.0098608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_745-6_0_5_line_78 |  | 78 | 79 | 0.015707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_745-6_0_5_line_79 |  | 79 | 80 | 0.0087967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_745-6_0_5_line_80 |  | 80 | 81 | 0.006386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_745-6_0_5_line_81 |  | 80 | 82 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_745-6_0_5_line_82 |  | 82 | 83 | 0.024966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_745-6_0_5_line_83 |  | 83 | 84 | 0.0015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_745-6_0_5_line_84 |  | 84 | 85 | 0.025806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_745-6_0_5_trafo_0 | 0.63 MVA 20/0.4 kV | 86 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2585332.5059 | 1218561.6738 | 2585327.2352 | 1218587.4858
1 | 2585332.5059 | 1218561.6738 | 2585320.7514 | 1218559.4584
2 | 2585332.5059 | 1218561.6738 | 2585333.5731 | 1218561.876
3 | 2585291.8099 | 1218554.0036 | 2585320.7514 | 1218559.4584
4 | 2585354.2546 | 1218565.7952 | 2585333.5731 | 1218561.876
5 | 2585303.6102 | 1218520.1327 | 2585291.8099 | 1218554.0036
6 | 2585354.3125 | 1218565.8062 | 2585354.2546 | 1218565.7952
7 | 2585268.1551 | 1218636.3652 | 2585282.5656 | 1218636.0514 | 2585285.9861 | 1218653.5418
8 | 2585268.1551 | 1218636.3652 | 2585254.246 | 1218632.7098
9 | 2585285.9861 | 1218653.5418 | 2585286.8534 | 1218664.3923
10 | 2585285.9861 | 1218653.5418 | 2585303.4949 | 1218654.0764
11 | 2585210.9961 | 1218621.3434 | 2585254.246 | 1218632.7098
12 | 2585287.9268 | 1218677.8222 | 2585286.8534 | 1218664.3923
13 | 2585303.4949 | 1218654.0764 | 2585308.6434 | 1218654.304
14 | 2585325.1635 | 1218655.0344 | 2585349.8966 | 1218656.3439
15 | 2585325.1635 | 1218655.0344 | 2585308.6434 | 1218654.304
16 | 2585349.8966 | 1218656.3439 | 2585356.121 | 1218656.6735
17 | 2585173.2295 | 1218610.5539 | 2585182.2591 | 1218613.0772
18 | 2585182.2591 | 1218613.0772 | 2585192.7894 | 1218616.1062
19 | 2585173.2295 | 1218610.5539 | 2585167.1946 | 1218608.87
20 | 2585210.9961 | 1218621.3434 | 2585192.7894 | 1218616.1062
21 | 2585251.2313 | 1218502.0748 | 2585235.0868 | 1218496.1273
22 | 2585251.2313 | 1218502.0748 | 2585288.4952 | 1218514.9217
23 | 2585235.0868 | 1218496.1273 | 2585220.0268 | 1218490.5793 | 2585212.0633 | 1218487.0914
24 | 2585303.6102 | 1218520.1327 | 2585288.4952 | 1218514.9217
25 | 2585303.6102 | 1218520.1327 | 2585304.8128 | 1218516.6182
26 | 2585142.0324 | 1218601.8493 | 2585167.1946 | 1218608.87
27 | 2585366.3534 | 1218568.116 | 2585363.4302 | 1218567.534 | 2585354.3125 | 1218565.8062
28 | 2585288.9338 | 1218690.4205 | 2585287.9268 | 1218677.8222
29 | 2585374.1104 | 1218657.6259 | 2585356.121 | 1218656.6735
30 | 2585374.1104 | 1218657.6259 | 2585388.3806 | 1218658.1405
31 | 2585391.0331 | 1218658.2362 | 2585388.3806 | 1218658.1405
32 | 2585366.3534 | 1218568.116 | 2585361.3546 | 1218593.7198
33 | 2585366.3534 | 1218568.116 | 2585390.0399 | 1218572.8686
34 | 2585142.0324 | 1218601.8493 | 2585142.2706 | 1218609.0528 | 2585143.8941 | 1218658.7151
35 | 2585143.9446 | 1218660.2607 | 2585143.8941 | 1218658.7151
36 | 2585138.99 | 1218463.044 | 2585139.4364 | 1218483.3693
37 | 2585138.99 | 1218463.044 | 2585139.489 | 1218441.1538
38 | 2585138.99 | 1218463.044 | 2585143.7869 | 1218463.2766 | 2585157.1846 | 1218464.4548 | 2585167.3241 | 1218467.6757 | 2585175.2022 | 1218470.9467
39 | 2585194.0118 | 1218479.185 | 2585212.0633 | 1218487.0914
40 | 2585304.8128 | 1218516.6182 | 2585312.1264 | 1218495.245
41 | 2585435.5154 | 1218581.998 | 2585430.8649 | 1218606.5722
42 | 2585427.462 | 1218624.5533 | 2585430.8649 | 1218606.5722
43 | 2585435.5154 | 1218581.998 | 2585429.7922 | 1218580.8488
44 | 2585435.5154 | 1218581.998 | 2585454.5199 | 1218585.0717
45 | 2585425.4762 | 1218659.4782 | 2585429.5583 | 1218646.8275 | 2585425.3698 | 1218634.7309 | 2585427.462 | 1218624.5533
46 | 2585429.5255 | 1218580.7953 | 2585429.7922 | 1218580.8488
47 | 2585425.4762 | 1218659.4782 | 2585391.0331 | 1218658.2362
48 | 2585429.5255 | 1218580.7953 | 2585416.3503 | 1218578.1498
49 | 2585400.6725 | 1218575.0019 | 2585416.3503 | 1218578.1498
50 | 2585400.6725 | 1218575.0019 | 2585396.0031 | 1218600.0439
51 | 2585400.6725 | 1218575.0019 | 2585390.3269 | 1218572.9261
52 | 2585390.0399 | 1218572.8686 | 2585390.3269 | 1218572.9261
53 | 2585290.051 | 1218704.3987 | 2585289.9985 | 1218703.741
54 | 2585288.9338 | 1218690.4205 | 2585289.9985 | 1218703.741
55 | 2585312.1264 | 1218495.245 | 2585312.4492 | 1218494.3018
56 | 2585318.6722 | 1218476.1156 | 2585312.4492 | 1218494.3018
57 | 2585194.0118 | 1218479.185 | 2585187.489 | 1218476.3282
58 | 2585318.6722 | 1218476.1156 | 2585319.6435 | 1218473.2772 | 2585320.2967 | 1218471.7175
59 | 2585181.4128 | 1218473.6669 | 2585187.489 | 1218476.3282
60 | 2585383.1572 | 1218439.5609 | 2585380.3317 | 1218438.8074 | 2585373.2034 | 1218437.9579 | 2585363.3014 | 1218438.6716 | 2585355.2218 | 1218439.8256 | 2585343.7046 | 1218444.1232 | 2585332.6431 | 1218451.6326 | 2585323.7778 | 1218463.4058 | 2585320.2967 | 1218471.7175
61 | 2585383.1572 | 1218439.5609 | 2585387.1057 | 1218440.614 | 2585390.5599 | 1218441.5893
62 | 2585390.5599 | 1218441.5893 | 2585393.5457 | 1218442.4325 | 2585402.8924 | 1218445.8035
63 | 2585414.6207 | 1218450.0335 | 2585402.8924 | 1218445.8035
64 | 2585414.6207 | 1218450.0335 | 2585416.349 | 1218450.6569
65 | 2585144.4078 | 1218674.4293 | 2585143.9446 | 1218660.2607
66 | 2585145.5953 | 1218706.1668 | 2585144.612 | 1218680.221 | 2585144.4078 | 1218674.4293
67 | 2585145.5953 | 1218706.1668 | 2585156.1579 | 1218705.7734 | 2585164.715 | 1218705.4533
68 | 2585169.9608 | 1218709.8693 | 2585169.8544 | 1218705.261 | 2585169.8544 | 1218705.261
69 | 2585169.8544 | 1218705.261 | 2585167.0831 | 1218705.3647
70 | 2585164.715 | 1218705.4533 | 2585167.0831 | 1218705.3647
71 | 2585175.2022 | 1218470.9467 | 2585181.4128 | 1218473.6669
72 | 2585175.2022 | 1218470.9467 | 2585168.2577 | 1218491.965
73 | 2585419.3112 | 1218451.7252 | 2585416.349 | 1218450.6569
74 | 2585419.3112 | 1218451.7252 | 2585419.7221 | 1218451.8734
75 | 2585419.7221 | 1218451.8734 | 2585449.032 | 1218462.4445
76 | 2585453.2296 | 1218463.9584 | 2585449.032 | 1218462.4445
77 | 2585453.2296 | 1218463.9584 | 2585454.5936 | 1218464.4504 | 2585462.3412 | 1218467.724
78 | 2585462.3412 | 1218467.724 | 2585476.81 | 1218473.8374
79 | 2585484.9131 | 1218477.2612 | 2585476.81 | 1218473.8374
80 | 2585484.9131 | 1218477.2612 | 2585490.8177 | 1218479.6935
81 | 2585484.9131 | 1218477.2612 | 2585481.5209 | 1218495.6017
82 | 2585481.5209 | 1218495.6017 | 2585476.9804 | 1218520.1512
83 | 2585476.6997 | 1218521.6693 | 2585476.9804 | 1218520.1512
84 | 2585476.6997 | 1218521.6693 | 2585472.0063 | 1218547.0449

## bus_geodata
| x | y | coords
0 | 2585327.2352 | 1218587.4858
1 | 2585332.5059 | 1218561.6738
2 | 2585320.7514 | 1218559.4584
3 | 2585333.5731 | 1218561.876
4 | 2585291.8099 | 1218554.0036
5 | 2585354.2546 | 1218565.7952
6 | 2585268.1551 | 1218636.3652
7 | 2585285.9861 | 1218653.5418
8 | 2585254.246 | 1218632.7098
9 | 2585286.8534 | 1218664.3923
10 | 2585303.4949 | 1218654.0764
11 | 2585325.1635 | 1218655.0344
12 | 2585349.8966 | 1218656.3439
13 | 2585308.6434 | 1218654.304
14 | 2585182.2591 | 1218613.0772
15 | 2585173.2295 | 1218610.5539
16 | 2585192.7894 | 1218616.1062
17 | 2585251.2313 | 1218502.0748
18 | 2585235.0868 | 1218496.1273
19 | 2585288.4952 | 1218514.9217
20 | 2585303.6102 | 1218520.1327
21 | 2585210.9961 | 1218621.3434
22 | 2585167.1946 | 1218608.87
23 | 2585354.3125 | 1218565.8062
24 | 2585287.9268 | 1218677.8222
25 | 2585374.1104 | 1218657.6259
26 | 2585356.121 | 1218656.6735
27 | 2585388.3806 | 1218658.1405
28 | 2585361.3546 | 1218593.7198
29 | 2585366.3534 | 1218568.116
30 | 2585142.0324 | 1218601.8493
31 | 2585143.8941 | 1218658.7151
32 | 2585139.4364 | 1218483.3693
33 | 2585138.99 | 1218463.044
34 | 2585212.0633 | 1218487.0914
35 | 2585304.8128 | 1218516.6182
36 | 2585430.8649 | 1218606.5722
37 | 2585435.5154 | 1218581.998
38 | 2585427.462 | 1218624.5533
39 | 2585429.7922 | 1218580.8488
40 | 2585454.5199 | 1218585.0717
41 | 2585425.4762 | 1218659.4782
42 | 2585429.5255 | 1218580.7953
43 | 2585391.0331 | 1218658.2362
44 | 2585416.3503 | 1218578.1498
45 | 2585396.0031 | 1218600.0439
46 | 2585400.6725 | 1218575.0019
47 | 2585390.3269 | 1218572.9261
48 | 2585290.051 | 1218704.3987
49 | 2585289.9985 | 1218703.741
50 | 2585390.0399 | 1218572.8686
51 | 2585288.9338 | 1218690.4204
52 | 2585312.1264 | 1218495.245
53 | 2585312.4492 | 1218494.3018
54 | 2585194.0118 | 1218479.185
55 | 2585318.6722 | 1218476.1156
56 | 2585187.489 | 1218476.3282
57 | 2585320.2967 | 1218471.7175
58 | 2585383.1572 | 1218439.5609
59 | 2585390.5599 | 1218441.5893
60 | 2585402.8924 | 1218445.8035
61 | 2585414.6207 | 1218450.0335
62 | 2585143.9446 | 1218660.2607
63 | 2585144.4078 | 1218674.4293
64 | 2585145.5953 | 1218706.1668
65 | 2585169.9608 | 1218709.8693
66 | 2585169.8544 | 1218705.261
67 | 2585167.0831 | 1218705.3647
68 | 2585164.715 | 1218705.4533
69 | 2585181.4128 | 1218473.6669
70 | 2585175.2022 | 1218470.9467
71 | 2585168.2577 | 1218491.965
72 | 2585139.489 | 1218441.1538
73 | 2585416.349 | 1218450.6569
74 | 2585419.3112 | 1218451.7252
75 | 2585419.7221 | 1218451.8734
76 | 2585449.032 | 1218462.4445
77 | 2585453.2296 | 1218463.9584
78 | 2585462.3412 | 1218467.724
79 | 2585476.81 | 1218473.8374
80 | 2585484.9131 | 1218477.2612
81 | 2585490.8177 | 1218479.6935
82 | 2585481.5209 | 1218495.6017
83 | 2585476.9804 | 1218520.1512
84 | 2585476.6997 | 1218521.6693
85 | 2585472.0063 | 1218547.0449
86 | 2585332.5059 | 1218561.6738

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1