## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_745-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_745-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_745-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_745-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_745-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_745-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_745-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_745-9_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_745-9_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_745-9_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_745-9_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_745-9_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_745-9_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_745-9_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_745-9_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_745-9_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_745-9_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_745-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_745-9_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_745-9_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_745-9_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_745-9_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_745-9_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_745-9_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_745-9_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_745-9_0_3_node_45 | 0.4 | n |  | TRUE
26 | bus_LV_745-9_0_3_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_745-9_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_745-9_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_745-9_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_745-9_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_745-9_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_745-9_0_3_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_745-9_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_745-9_0_3_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_745-9_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_745-9_0_3_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_745-9_0_3_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_745-9_0_3_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_745-9_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_745-9_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_745-9_0_3_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_745-9_0_3_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_745-9_0_3_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_745-9_0_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_745-9_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_745-9_0_3_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_745-9_0_3_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_745-9_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_745-9_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_745-9_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_745-9_0_3_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_745-9_0_3_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_745-9_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_745-9_0_3_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_745-9_0_3_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_745-9_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_745-9_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_745-9_0_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_745-9_0_3_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_745-9_0_3_node_76 | 0.4 | n |  | TRUE
61 | bus_LV_745-9_0_3_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_745-9_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_745-9_0_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_745-9_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_745-9_0_3_node_160 | 0.4 | n |  | TRUE
66 | bus_LV_745-9_0_3_node_83 | 0.4 | n |  | TRUE
67 | bus_LV_745-9_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_745-9_0_3_node_181 | 0.4 | n |  | TRUE
69 | bus_LV_745-9_0_3_node_179 | 0.4 | n |  | TRUE
70 | bus_LV_745-9_0_3_node_149 | 0.4 | n |  | TRUE
71 | bus_LV_745-9_0_3_node_158 | 0.4 | n |  | TRUE
72 | bus_LV_745-9_0_3_node_150 | 0.4 | n |  | TRUE
73 | bus_LV_745-9_0_3_node_152 | 0.4 | n |  | TRUE
74 | bus_LV_745-9_0_3_node_154 | 0.4 | n |  | TRUE
75 | bus_LV_745-9_0_3_node_156 | 0.4 | n |  | TRUE
76 | bus_LV_745-9_0_3_node_173 | 0.4 | n |  | TRUE
77 | bus_LV_745-9_0_3_node_174 | 0.4 | n |  | TRUE
78 | bus_LV_745-9_0_3_node_157 | 0.4 | n |  | TRUE
79 | bus_LV_745-9_0_3_node_159 | 0.4 | n |  | TRUE
80 | bus_LV_745-9_0_3_node_161 | 0.4 | n |  | TRUE
81 | bus_LV_745-9_0_3_node_180 | 0.4 | n |  | TRUE
82 | bus_LV_745-9_0_3_node_182 | 0.4 | n |  | TRUE
83 | bus_MV_465_1_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_745-9_0_3_load_0 | 0 | 0.030782 | 0.0077147 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_745-9_0_3_load_1 | 1 | 0.0067905 | 0.0017018 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_745-9_0_3_load_5 | 5 | 0.0050908 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_745-9_0_3_load_6 | 6 | 0.0051976 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_745-9_0_3_load_7 | 7 | 0.0020623 | 0.00051686 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_745-9_0_3_load_8 | 8 | 0.0026215 | 0.00065701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_745-9_0_3_load_9 | 9 | 0.007329 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_745-9_0_3_load_10 | 10 | 0.0030773 | 0.00077125 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_745-9_0_3_load_11 | 12 | 0.0054914 | 0.0013763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_745-9_0_3_load_21 | 13 | 0.002801 | 0.000702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_745-9_0_3_load_12 | 14 | 0.006432 | 0.001612 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_745-9_0_3_load_13 | 15 | 0.0054172 | 0.0013577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_745-9_0_3_load_17 | 16 | 0.0028214 | 0.0007071 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_745-9_0_3_load_14 | 17 | 0.0046676 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_745-9_0_3_load_15 | 18 | 0.0026364 | 0.00066075 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_745-9_0_3_load_22 | 19 | 0.0021795 | 0.00054622 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_745-9_0_3_load_29 | 20 | 0.0033286 | 0.00083423 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_745-9_0_3_load_24 | 21 | 0.0012137 | 0.00030418 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_745-9_0_3_load_25 | 22 | 0.0035763 | 0.00089632 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_745-9_0_3_load_27 | 24 | 0.0018094 | 0.00045348 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_745-9_0_3_load_45 | 25 | 0.022606 | 0.0056655 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_745-9_0_3_load_81 | 26 | 0.0018325 | 0.00045926 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_745-9_0_3_load_30 | 27 | 0.0024187 | 0.00060619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_745-9_0_3_load_34 | 28 | 0.0026369 | 0.00066086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_745-9_0_3_load_39 | 31 | 0.0012836 | 0.00032169 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_745-9_0_3_load_44 | 32 | 0.00674 | 0.0016892 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_745-9_0_3_load_46 | 33 | 0.00109 | 0.00027319 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_745-9_0_3_load_47 | 34 | 0.00099745 | 0.00024998 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_745-9_0_3_load_48 | 35 | 0.00091356 | 0.00022896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_745-9_0_3_load_50 | 37 | 0.0010025 | 0.00025124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_745-9_0_3_load_51 | 38 | 0.00079129 | 0.00019832 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_745-9_0_3_load_53 | 40 | 0.0006205 | 0.00015551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_745-9_0_3_load_62 | 41 | 0.00089214 | 0.00022359 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_745-9_0_3_load_77 | 42 | 0.00065157 | 0.0001633 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_745-9_0_3_load_74 | 43 | 0.0011231 | 0.00028147 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_745-9_0_3_load_66 | 44 | 0.00059872 | 0.00015005 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_745-9_0_3_load_55 | 45 | 0.00091824 | 0.00023013 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_745-9_0_3_load_56 | 46 | 0.00071214 | 0.00017848 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_745-9_0_3_load_57 | 47 | 0.0015246 | 0.00038211 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_745-9_0_3_load_59 | 49 | 0.00092967 | 0.000233 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_745-9_0_3_load_61 | 51 | 0.0010935 | 0.00027404 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_745-9_0_3_load_63 | 52 | 0.0010493 | 0.00026297 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_745-9_0_3_load_64 | 53 | 0.00087412 | 0.00021908 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_745-9_0_3_load_65 | 54 | 0.00098496 | 0.00024685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_745-9_0_3_load_67 | 55 | 0.0012625 | 0.0003164 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_745-9_0_3_load_68 | 56 | 0.00098997 | 0.00024811 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_745-9_0_3_load_72 | 57 | 0.0039406 | 0.0009876 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_745-9_0_3_load_73 | 58 | 0.003751 | 0.00094008 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_745-9_0_3_load_75 | 59 | 0.00098461 | 0.00024677 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_745-9_0_3_load_78 | 61 | 0.0015354 | 0.00038482 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_745-9_0_3_load_79 | 62 | 0.0016673 | 0.00041786 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_745-9_0_3_load_80 | 63 | 0.00082703 | 0.00020727 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_745-9_0_3_load_86 | 64 | 0.0015017 | 0.00037636 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_745-9_0_3_load_83 | 66 | 0.00080018 | 0.00020055 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_745-9_0_3_load_84 | 67 | 0.0024556 | 0.00061544 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_745-9_0_3_load_181 | 68 | 0.0024093 | 0.00060382 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_745-9_0_3_load_149 | 70 | 0.0046689 | 0.0011701 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_745-9_0_3_load_158 | 71 | 0.0010248 | 0.00025684 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_745-9_0_3_load_150 | 72 | 0.0033655 | 0.00084347 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_745-9_0_3_load_152 | 73 | 0.0012353 | 0.00030961 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_745-9_0_3_load_154 | 74 | 0.001428 | 0.0003579 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_745-9_0_3_load_173 | 76 | 0.00051158 | 0.00012821 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_745-9_0_3_load_174 | 77 | 0.00045657 | 0.00011443 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_745-9_0_3_load_157 | 78 | 0.00097859 | 0.00024526 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_745-9_0_3_load_159 | 79 | 0.0011906 | 0.00029838 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_745-9_0_3_load_161 | 80 | 0.0033755 | 0.00084598 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_745-9_0_3_load_182 | 82 | 0.0006423 | 0.00016098 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_745-9_0_3_line_0 |  | 0 | 1 | 0.039708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_745-9_0_3_line_1 |  | 0 | 2 | 0.00074681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_745-9_0_3_line_2 |  | 1 | 3 | 0.028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_745-9_0_3_line_3 |  | 2 | 4 | 0.040477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_745-9_0_3_line_4 |  | 2 | 5 | 0.020049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_745-9_0_3_line_5 |  | 3 | 6 | 0.0093613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_745-9_0_3_line_6 |  | 4 | 7 | 0.029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_745-9_0_3_line_7 |  | 4 | 8 | 0.037208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_745-9_0_3_line_8 |  | 5 | 9 | 0.0081345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_745-9_0_3_line_9 |  | 6 | 10 | 0.0070019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_745-9_0_3_line_10 |  | 8 | 11 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_745-9_0_3_line_11 |  | 9 | 12 | 0.0036867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_745-9_0_3_line_12 |  | 10 | 13 | 0.023667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_745-9_0_3_line_13 |  | 11 | 21 | 0.01585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_745-9_0_3_line_14 |  | 11 | 22 | 0.0061055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_745-9_0_3_line_15 |  | 12 | 14 | 0.017677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_745-9_0_3_line_16 |  | 13 | 19 | 0.0062666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_745-9_0_3_line_17 |  | 14 | 15 | 0.021041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_745-9_0_3_line_18 |  | 15 | 16 | 0.034294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_745-9_0_3_line_19 |  | 16 | 18 | 0.021607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_745-9_0_3_line_20 |  | 17 | 18 | 0.023613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_745-9_0_3_line_21 |  | 19 | 20 | 0.017388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_745-9_0_3_line_22 |  | 20 | 27 | 0.0072144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_745-9_0_3_line_23 |  | 21 | 23 | 0.037428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_745-9_0_3_line_24 |  | 22 | 24 | 0.026535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_745-9_0_3_line_25 |  | 23 | 25 | 0.039377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_745-9_0_3_line_26 |  | 24 | 26 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_745-9_0_3_line_27 |  | 25 | 32 | 0.055844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_745-9_0_3_line_28 |  | 26 | 50 | 0.02963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_745-9_0_3_line_29 |  | 28 | 29 | 0.0047889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_745-9_0_3_line_30 |  | 29 | 30 | 0.008971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_745-9_0_3_line_31 |  | 30 | 31 | 0.029768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_745-9_0_3_line_32 |  | 31 | 32 | 0.0072534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_745-9_0_3_line_33 |  | 33 | 34 | 0.020341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_745-9_0_3_line_34 |  | 33 | 35 | 0.00096757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_745-9_0_3_line_35 |  | 34 | 36 | 0.0081446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_745-9_0_3_line_36 |  | 35 | 37 | 0.027106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_745-9_0_3_line_37 |  | 36 | 38 | 0.0016438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_745-9_0_3_line_38 |  | 36 | 39 | 0.021528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_745-9_0_3_line_39 |  | 37 | 40 | 0.0032752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_745-9_0_3_line_40 |  | 38 | 41 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_745-9_0_3_line_41 |  | 39 | 42 | 0.020527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_745-9_0_3_line_42 |  | 39 | 43 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_745-9_0_3_line_43 |  | 40 | 44 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_745-9_0_3_line_44 |  | 41 | 49 | 0.0059266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_745-9_0_3_line_45 |  | 42 | 63 | 0.028006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_745-9_0_3_line_46 |  | 43 | 59 | 0.0096639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_745-9_0_3_line_47 |  | 44 | 53 | 0.010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_745-9_0_3_line_48 |  | 45 | 46 | 0.0045035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_745-9_0_3_line_49 |  | 45 | 47 | 0.029308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_745-9_0_3_line_50 |  | 46 | 48 | 0.037093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_745-9_0_3_line_51 |  | 47 | 49 | 0.0057045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_745-9_0_3_line_52 |  | 48 | 50 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_745-9_0_3_line_53 |  | 48 | 51 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_745-9_0_3_line_54 |  | 52 | 53 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_745-9_0_3_line_55 |  | 52 | 54 | 4.3181e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_745-9_0_3_line_56 |  | 54 | 55 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_745-9_0_3_line_57 |  | 55 | 56 | 0.0009811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_745-9_0_3_line_58 |  | 56 | 57 | 0.016131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_745-9_0_3_line_59 |  | 57 | 58 | 0.0041962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_745-9_0_3_line_60 |  | 59 | 60 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_745-9_0_3_line_61 |  | 60 | 61 | 0.022793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_745-9_0_3_line_62 |  | 60 | 62 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_745-9_0_3_line_63 |  | 62 | 64 | 0.028739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_745-9_0_3_line_64 |  | 63 | 65 | 0.01723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_745-9_0_3_line_65 |  | 64 | 69 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_745-9_0_3_line_66 |  | 65 | 80 | 0.019951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_745-9_0_3_line_67 |  | 65 | 79 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_745-9_0_3_line_68 |  | 66 | 67 | 0.026385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_745-9_0_3_line_69 |  | 67 | 68 | 0.035648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_745-9_0_3_line_70 |  | 68 | 69 | 0.011359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_745-9_0_3_line_71 |  | 69 | 81 | 0.027713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_745-9_0_3_line_72 |  | 70 | 71 | 0.022977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_745-9_0_3_line_73 |  | 71 | 78 | 0.042645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_745-9_0_3_line_74 |  | 72 | 73 | 0.0086246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_745-9_0_3_line_75 |  | 73 | 74 | 0.024593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_745-9_0_3_line_76 |  | 74 | 75 | 0.0095104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_745-9_0_3_line_77 |  | 75 | 76 | 0.035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_745-9_0_3_line_78 |  | 75 | 77 | 0.0051266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_745-9_0_3_line_79 |  | 77 | 80 | 0.018345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_745-9_0_3_line_80 |  | 78 | 79 | 0.0014691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_745-9_0_3_line_81 |  | 81 | 82 | 0.015559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_745-9_0_3_trafo_45 | 0.63 MVA 20/0.4 kV | 83 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2585784.8027 | 1218262.0496 | 2585745.6647 | 1218255.3438
1 | 2585785.5387 | 1218262.1757 | 2585784.8027 | 1218262.0496
2 | 2585717.7137 | 1218249.9985 | 2585719.8865 | 1218250.9271 | 2585745.6647 | 1218255.3438
3 | 2585825.008 | 1218270.4747 | 2585820.927 | 1218268.1387 | 2585785.5387 | 1218262.1757
4 | 2585785.5387 | 1218262.1757 | 2585773.2897 | 1218278.0475 | 2585773.2897 | 1218278.0475
5 | 2585717.7137 | 1218249.9985 | 2585708.6491 | 1218247.6602
6 | 2585825.008 | 1218270.4747 | 2585820.9202 | 1218299.9116
7 | 2585825.008 | 1218270.4747 | 2585831.1428 | 1218233.7764
8 | 2585766.2111 | 1218281.5518 | 2585767.2954 | 1218281.7307 | 2585773.2897 | 1218278.0475
9 | 2585701.8692 | 1218245.9113 | 2585708.6491 | 1218247.6602
10 | 2585834.2037 | 1218215.4657 | 2585831.1428 | 1218233.7764
11 | 2585766.2111 | 1218281.5518 | 2585762.5736 | 1218280.9517
12 | 2585701.8692 | 1218245.9113 | 2585678.9519 | 1218239.9996
13 | 2585834.2037 | 1218215.4657 | 2585818.5498 | 1218212.982
14 | 2585834.2037 | 1218215.4657 | 2585840.3004 | 1218215.7942
15 | 2585745.1322 | 1218278.0742 | 2585762.5736 | 1218280.9517
16 | 2585672.884 | 1218238.4343 | 2585678.9519 | 1218239.9996
17 | 2585745.1322 | 1218278.0742 | 2585724.3717 | 1218274.6492
18 | 2585724.3717 | 1218274.6492 | 2585696.1414 | 1218294.1199
19 | 2585696.1414 | 1218294.1199 | 2585674.8847 | 1218290.2455
20 | 2585651.6542 | 1218286.0113 | 2585674.8847 | 1218290.2455
21 | 2585656.0473 | 1218234.0911 | 2585672.884 | 1218238.4343
22 | 2585656.0473 | 1218234.0911 | 2585649.0616 | 1218232.2891
23 | 2585790.022 | 1218226.5556 | 2585801.0709 | 1218210.2087 | 2585818.5498 | 1218212.982
24 | 2585840.3004 | 1218215.7942 | 2585866.7968 | 1218217.2222
25 | 2585790.022 | 1218226.5556 | 2585758.4503 | 1218220.2945 | 2585754.9365 | 1218214.0216 | 2585754.9365 | 1218214.0216
26 | 2585866.7968 | 1218217.2222 | 2585866.7968 | 1218217.2222 | 2585885.3632 | 1218219.2931
27 | 2585754.9365 | 1218214.0216 | 2585726.0523 | 1218208.1989 | 2585715.9083 | 1218193.7485 | 2585707.4546 | 1218191.5982
28 | 2585912.7059 | 1218214.3445 | 2585909.6014 | 1218217.3536 | 2585902.4158 | 1218221.1951 | 2585885.3632 | 1218219.2931
29 | 2585666.1951 | 1218189.6329 | 2585663.3233 | 1218193.4651
30 | 2585666.1951 | 1218189.6329 | 2585669.3952 | 1218185.3671 | 2585671.5814 | 1218182.4491
31 | 2585671.5814 | 1218182.4491 | 2585675.9026 | 1218183.5726 | 2585700.425 | 1218189.8101
32 | 2585707.4546 | 1218191.5982 | 2585700.425 | 1218189.8101
33 | 2585795.1916 | 1218136.9909 | 2585815.4757 | 1218135.4701
34 | 2585794.2267 | 1218137.0633 | 2585795.1916 | 1218136.9909
35 | 2585822.4518 | 1218131.5903 | 2585820.0044 | 1218133.2638 | 2585816.928 | 1218135.3612 | 2585815.4757 | 1218135.4701
36 | 2585794.2267 | 1218137.0633 | 2585777.5608 | 1218138.3128 | 2585767.6354 | 1218135.2284
37 | 2585822.4518 | 1218131.5903 | 2585823.689 | 1218132.6725
38 | 2585822.4518 | 1218131.5903 | 2585809.1371 | 1218114.6458
39 | 2585767.6354 | 1218135.2284 | 2585764.5078 | 1218134.2565
40 | 2585839.4503 | 1218146.4585 | 2585823.689 | 1218132.6725
41 | 2585809.1371 | 1218114.6458 | 2585796.1169 | 1218098.7766
42 | 2585809.1371 | 1218114.6458 | 2585812.7301 | 1218103.2974 | 2585813.706 | 1218093.7369
43 | 2585754.8485 | 1218131.2547 | 2585764.5078 | 1218134.2565
44 | 2585839.4503 | 1218146.4585 | 2585843.9112 | 1218150.3604
45 | 2585778.353 | 1218077.1258 | 2585796.1169 | 1218098.7766
46 | 2585813.706 | 1218093.7369 | 2585814.6873 | 1218084.1229
47 | 2585744.8334 | 1218128.1423 | 2585754.8485 | 1218131.2547
48 | 2585869.9929 | 1218173.7097 | 2585873.256 | 1218176.8136
49 | 2585869.9929 | 1218173.7097 | 2585862.9886 | 1218167.047 | 2585848.205 | 1218154.1161
50 | 2585900.1321 | 1218202.3787 | 2585873.256 | 1218176.8136
51 | 2585843.9112 | 1218150.3604 | 2585848.205 | 1218154.1161
52 | 2585900.1321 | 1218202.3787 | 2585912.7059 | 1218214.3445
53 | 2585900.1321 | 1218202.3787 | 2585909.2334 | 1218190.2834 | 2585910.6646 | 1218184.0934
54 | 2585727.2567 | 1218122.6801 | 2585744.8334 | 1218128.1423
55 | 2585727.2154 | 1218122.6673 | 2585727.2567 | 1218122.6801
56 | 2585708.6966 | 1218118.0065 | 2585717.4599 | 1218119.6357 | 2585727.2154 | 1218122.6673
57 | 2585707.7321 | 1218117.8272 | 2585708.6966 | 1218118.0065
58 | 2585691.8731 | 1218114.8788 | 2585707.7321 | 1218117.8272
59 | 2585691.8731 | 1218114.8788 | 2585687.7476 | 1218114.1118
60 | 2585815.8743 | 1218072.4945 | 2585814.6873 | 1218084.1229
61 | 2585815.8743 | 1218072.4945 | 2585817.7915 | 1218052.2672 | 2585818.1797 | 1218049.8225
62 | 2585815.8743 | 1218072.4945 | 2585833.8209 | 1218076.4029
63 | 2585833.8209 | 1218076.4029 | 2585861.9017 | 1218082.5185
64 | 2585767.4242 | 1218063.8057 | 2585778.353 | 1218077.1258
65 | 2585874.0351 | 1218085.952 | 2585862.1265 | 1218082.5674 | 2585861.9017 | 1218082.5185
66 | 2585767.4242 | 1218063.8057 | 2585753.9286 | 1218049.1118
67 | 2585767.4242 | 1218063.8057 | 2585764.333 | 1218066.0144 | 2585754.1799 | 1218075.4714
68 | 2585920.2995 | 1218132.4473 | 2585897.7263 | 1218118.7861
69 | 2585897.7263 | 1218118.7861 | 2585875.7058 | 1218105.4592 | 2585872.4412 | 1218101.8205 | 2585871.2076 | 1218096.954 | 2585871.2076 | 1218096.954
70 | 2585874.0351 | 1218085.952 | 2585871.2076 | 1218096.954
71 | 2585900.7609 | 1218093.5594 | 2585874.0351 | 1218085.952
72 | 2585695.1469 | 1218081.4444 | 2585717.352 | 1218087.35
73 | 2585753.1049 | 1218076.4727 | 2585736.0796 | 1218092.3307 | 2585717.352 | 1218087.35
74 | 2585705.3797 | 1218028.2933 | 2585697.0736 | 1218025.9713
75 | 2585705.3797 | 1218028.2933 | 2585729.065 | 1218034.9148 | 2585729.065 | 1218034.9148
76 | 2585738.0513 | 1218031.8247 | 2585732.3026 | 1218033.6062 | 2585729.065 | 1218034.9148
77 | 2585738.0513 | 1218031.8247 | 2585719.1377 | 1218001.6826
78 | 2585738.0513 | 1218031.8247 | 2585741.5191 | 1218035.6004
79 | 2585741.5191 | 1218035.6004 | 2585753.9286 | 1218049.1118
80 | 2585754.1799 | 1218075.4714 | 2585753.1049 | 1218076.4727
81 | 2585900.7609 | 1218093.5594 | 2585904.2723 | 1218078.402

## bus_geodata
| x | y | coords
0 | 2585784.8027 | 1218262.0496
1 | 2585745.6647 | 1218255.3438
2 | 2585785.5387 | 1218262.1757
3 | 2585717.7137 | 1218249.9985
4 | 2585825.008 | 1218270.4747
5 | 2585773.2897 | 1218278.0475
6 | 2585708.6491 | 1218247.6602
7 | 2585820.9202 | 1218299.9116
8 | 2585831.1428 | 1218233.7764
9 | 2585766.2111 | 1218281.5518
10 | 2585701.8692 | 1218245.9113
11 | 2585834.2037 | 1218215.4657
12 | 2585762.5736 | 1218280.9517
13 | 2585678.9519 | 1218239.9996
14 | 2585745.1322 | 1218278.0742
15 | 2585724.3717 | 1218274.6492
16 | 2585696.1414 | 1218294.1199
17 | 2585651.6542 | 1218286.0113
18 | 2585674.8847 | 1218290.2455
19 | 2585672.884 | 1218238.4343
20 | 2585656.0473 | 1218234.0911
21 | 2585818.5498 | 1218212.982
22 | 2585840.3004 | 1218215.7942
23 | 2585790.022 | 1218226.5556
24 | 2585866.7968 | 1218217.2222
25 | 2585754.9365 | 1218214.0216
26 | 2585885.3632 | 1218219.2931
27 | 2585649.0616 | 1218232.2891
28 | 2585663.3233 | 1218193.4651
29 | 2585666.1951 | 1218189.6329
30 | 2585671.5814 | 1218182.4491
31 | 2585700.425 | 1218189.8101
32 | 2585707.4546 | 1218191.5982
33 | 2585795.1916 | 1218136.9909
34 | 2585815.4757 | 1218135.4701
35 | 2585794.2267 | 1218137.0633
36 | 2585822.4518 | 1218131.5903
37 | 2585767.6354 | 1218135.2284
38 | 2585823.689 | 1218132.6725
39 | 2585809.1371 | 1218114.6458
40 | 2585764.5078 | 1218134.2565
41 | 2585839.4503 | 1218146.4585
42 | 2585796.1169 | 1218098.7766
43 | 2585813.706 | 1218093.7369
44 | 2585754.8485 | 1218131.2547
45 | 2585869.9929 | 1218173.7097
46 | 2585873.256 | 1218176.8136
47 | 2585848.205 | 1218154.1161
48 | 2585900.1321 | 1218202.3787
49 | 2585843.9112 | 1218150.3604
50 | 2585912.7059 | 1218214.3445
51 | 2585910.6646 | 1218184.0934
52 | 2585727.2567 | 1218122.6801
53 | 2585744.8334 | 1218128.1423
54 | 2585727.2154 | 1218122.6673
55 | 2585708.6966 | 1218118.0065
56 | 2585707.7321 | 1218117.8272
57 | 2585691.8731 | 1218114.8788
58 | 2585687.7476 | 1218114.1118
59 | 2585814.6873 | 1218084.1229
60 | 2585815.8743 | 1218072.4945
61 | 2585818.1797 | 1218049.8225
62 | 2585833.8209 | 1218076.4029
63 | 2585778.353 | 1218077.1258
64 | 2585861.9017 | 1218082.5185
65 | 2585767.4242 | 1218063.8057
66 | 2585920.2995 | 1218132.4473
67 | 2585897.7263 | 1218118.7861
68 | 2585871.2076 | 1218096.954
69 | 2585874.0351 | 1218085.952
70 | 2585695.1469 | 1218081.4444
71 | 2585717.352 | 1218087.35
72 | 2585697.0736 | 1218025.9713
73 | 2585705.3797 | 1218028.2933
74 | 2585729.065 | 1218034.9148
75 | 2585738.0513 | 1218031.8247
76 | 2585719.1377 | 1218001.6826
77 | 2585741.5191 | 1218035.6004
78 | 2585753.1049 | 1218076.4727
79 | 2585754.1799 | 1218075.4714
80 | 2585753.9286 | 1218049.1118
81 | 2585900.7609 | 1218093.5594
82 | 2585904.2723 | 1218078.402
83 | 2585790.022 | 1218226.5556

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1