## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_749-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_749-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_749-1_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_749-1_0_8_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_749-1_0_8_node_96 | 0.4 | n |  | TRUE
5 | bus_LV_749-1_0_8_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_749-1_0_8_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_749-1_0_8_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_749-1_0_8_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_749-1_0_8_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_749-1_0_8_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_749-1_0_8_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_749-1_0_8_node_90 | 0.4 | n |  | TRUE
13 | bus_LV_749-1_0_8_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_749-1_0_8_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_749-1_0_8_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_749-1_0_8_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_749-1_0_8_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_749-1_0_8_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_749-1_0_8_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_749-1_0_8_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_749-1_0_8_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_749-1_0_8_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_749-1_0_8_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_749-1_0_8_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_749-1_0_8_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_749-1_0_8_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_749-1_0_8_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_749-1_0_8_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_749-1_0_8_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_749-1_0_8_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_749-1_0_8_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_749-1_0_8_node_101 | 0.4 | n |  | TRUE
33 | bus_LV_749-1_0_8_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_749-1_0_8_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_749-1_0_8_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_749-1_0_8_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_749-1_0_8_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_749-1_0_8_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_749-1_0_8_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_749-1_0_8_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_749-1_0_8_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_749-1_0_8_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_749-1_0_8_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_749-1_0_8_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_749-1_0_8_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_749-1_0_8_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_749-1_0_8_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_749-1_0_8_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_749-1_0_8_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_749-1_0_8_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_749-1_0_8_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_749-1_0_8_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_749-1_0_8_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_749-1_0_8_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_749-1_0_8_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_749-1_0_8_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_749-1_0_8_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_749-1_0_8_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_749-1_0_8_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_749-1_0_8_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_749-1_0_8_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_749-1_0_8_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_749-1_0_8_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_749-1_0_8_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_749-1_0_8_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_749-1_0_8_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_749-1_0_8_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_749-1_0_8_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_749-1_0_8_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_749-1_0_8_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_749-1_0_8_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_749-1_0_8_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_749-1_0_8_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_749-1_0_8_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_749-1_0_8_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_749-1_0_8_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_749-1_0_8_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_749-1_0_8_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_749-1_0_8_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_749-1_0_8_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_749-1_0_8_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_749-1_0_8_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_749-1_0_8_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_749-1_0_8_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_749-1_0_8_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_749-1_0_8_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_749-1_0_8_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_749-1_0_8_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_749-1_0_8_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_749-1_0_8_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_749-1_0_8_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_749-1_0_8_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_749-1_0_8_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_749-1_0_8_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_749-1_0_8_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_749-1_0_8_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_749-1_0_8_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_749-1_0_8_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_749-1_0_8_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_749-1_0_8_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_749-1_0_8_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_749-1_0_8_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_749-1_0_8_node_98 | 0.4 | n |  | TRUE
104 | bus_MV_416_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_749-1_0_8_load_0 | 0 | 0.022012 | 0.0055167 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_749-1_0_8_load_1 | 1 | 0.013635 | 0.0034172 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_749-1_0_8_load_94 | 3 | 0.004873 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_749-1_0_8_load_96 | 4 | 0.0016179 | 0.00040549 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_749-1_0_8_load_91 | 5 | 0.010039 | 0.002516 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_749-1_0_8_load_93 | 6 | 0.0029993 | 0.00075169 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_749-1_0_8_load_5 | 9 | 0.0025219 | 0.00063204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_749-1_0_8_load_60 | 11 | 0.0024369 | 0.00061073 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_749-1_0_8_load_90 | 12 | 0.002941 | 0.00073708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_749-1_0_8_load_59 | 13 | 0.00324 | 0.00081201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_749-1_0_8_load_6 | 15 | 0.0041341 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_749-1_0_8_load_7 | 16 | 0.0061282 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_749-1_0_8_load_31 | 20 | 0.0075567 | 0.0018939 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_749-1_0_8_load_34 | 21 | 0.0020365 | 0.0005104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_749-1_0_8_load_11 | 24 | 0.013455 | 0.0033721 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_749-1_0_8_load_13 | 25 | 0.0036946 | 0.00092596 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_749-1_0_8_load_12 | 26 | 0.0036504 | 0.00091488 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_749-1_0_8_load_16 | 29 | 0.0077287 | 0.001937 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_749-1_0_8_load_17 | 30 | 0.0040544 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_749-1_0_8_load_18 | 31 | 0.00071069 | 0.00017812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_749-1_0_8_load_101 | 32 | 0.0061296 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_749-1_0_8_load_20 | 34 | 0.0090662 | 0.0022722 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_749-1_0_8_load_21 | 35 | 0.0036192 | 0.00090705 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_749-1_0_8_load_29 | 37 | 0.0059212 | 0.001484 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_749-1_0_8_load_22 | 38 | 0.013431 | 0.003366 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_749-1_0_8_load_23 | 39 | 0.0034398 | 0.00086211 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_749-1_0_8_load_25 | 41 | 0.0021743 | 0.00054492 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_749-1_0_8_load_26 | 42 | 0.00033483 | 8.3917e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_749-1_0_8_load_49 | 44 | 0.0037068 | 0.00092901 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_749-1_0_8_load_52 | 47 | 0.056802 | 0.014236 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_749-1_0_8_load_53 | 48 | 0.031303 | 0.0078454 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_749-1_0_8_load_54 | 49 | 0.0010975 | 0.00027507 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_749-1_0_8_load_55 | 50 | 0.0037733 | 0.00094567 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_749-1_0_8_load_62 | 51 | 0.0028846 | 0.00072296 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_749-1_0_8_load_57 | 53 | 0.08599 | 0.021551 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_749-1_0_8_load_103 | 54 | 0.017205 | 0.0043121 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_749-1_0_8_load_104 | 55 | 0.0033754 | 0.00084595 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_749-1_0_8_load_74 | 56 | 0.0033297 | 0.0008345 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_749-1_0_8_load_47 | 57 | 0.0025373 | 0.00063591 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_749-1_0_8_load_28 | 58 | 0.0097459 | 0.0024426 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_749-1_0_8_load_33 | 59 | 0.0043158 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_749-1_0_8_load_35 | 60 | 0.010643 | 0.0026673 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_749-1_0_8_load_36 | 61 | 0.011295 | 0.0028309 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_749-1_0_8_load_37 | 62 | 0.011169 | 0.0027993 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_749-1_0_8_load_38 | 63 | 0.010547 | 0.0026432 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_749-1_0_8_load_39 | 64 | 0.010533 | 0.0026399 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_749-1_0_8_load_41 | 66 | 0.0030859 | 0.00077339 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_749-1_0_8_load_43 | 68 | 0.0054066 | 0.001355 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_749-1_0_8_load_44 | 69 | 0.025238 | 0.0063253 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_749-1_0_8_load_72 | 71 | 0.0033954 | 0.00085097 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_749-1_0_8_load_70 | 72 | 0.0019437 | 0.00048713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_749-1_0_8_load_64 | 73 | 0.0069843 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_749-1_0_8_load_69 | 74 | 0.0031761 | 0.00079602 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_749-1_0_8_load_76 | 75 | 0.0016264 | 0.00040762 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_749-1_0_8_load_63 | 76 | 0.0056577 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_749-1_0_8_load_71 | 77 | 0.0015851 | 0.00039726 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_749-1_0_8_load_77 | 78 | 0.0016011 | 0.00040128 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_749-1_0_8_load_45 | 79 | 0.0029093 | 0.00072915 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_749-1_0_8_load_46 | 80 | 0.00098141 | 0.00024596 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_749-1_0_8_load_65 | 82 | 0.0031602 | 0.00079202 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_749-1_0_8_load_68 | 84 | 0.0073404 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_749-1_0_8_load_75 | 85 | 0.0032125 | 0.00080513 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_749-1_0_8_load_87 | 86 | 0.0044479 | 0.0011147 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_749-1_0_8_load_78 | 88 | 0.0015599 | 0.00039095 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_749-1_0_8_load_79 | 89 | 0.0016887 | 0.00042324 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_749-1_0_8_load_80 | 90 | 0.0076518 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_749-1_0_8_load_81 | 91 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_749-1_0_8_load_82 | 92 | 0.0052162 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_749-1_0_8_load_83 | 93 | 0.0043954 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_749-1_0_8_load_84 | 94 | 0.0047052 | 0.0011792 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_749-1_0_8_load_86 | 95 | 0.0051332 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_749-1_0_8_load_88 | 96 | 0.0018291 | 0.00045841 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_749-1_0_8_load_89 | 97 | 0.001285 | 0.00032204 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_749-1_0_8_load_92 | 98 | 0.0060954 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_749-1_0_8_load_99 | 99 | 0.0025374 | 0.00063593 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_749-1_0_8_load_100 | 100 | 0.0030679 | 0.00076889 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_749-1_0_8_load_95 | 101 | 0.0016323 | 0.00040908 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_749-1_0_8_load_97 | 102 | 0.0018668 | 0.00046785 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_749-1_0_8_load_98 | 103 | 0.0018596 | 0.00046607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_749-1_0_8_line_0 |  | 0 | 1 | 0.075693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_749-1_0_8_line_1 |  | 1 | 2 | 0.055781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_749-1_0_8_line_2 |  | 2 | 7 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_749-1_0_8_line_3 |  | 3 | 4 | 0.0031347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_749-1_0_8_line_4 |  | 3 | 5 | 0.076951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_749-1_0_8_line_5 |  | 3 | 6 | 0.0061985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_749-1_0_8_line_6 |  | 4 | 90 | 0.016896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_749-1_0_8_line_7 |  | 5 | 12 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_749-1_0_8_line_8 |  | 6 | 101 | 0.00026019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_749-1_0_8_line_9 |  | 7 | 8 | 0.038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_749-1_0_8_line_10 |  | 7 | 9 | 0.033716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_749-1_0_8_line_11 |  | 8 | 10 | 0.008119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_749-1_0_8_line_12 |  | 8 | 11 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_749-1_0_8_line_13 |  | 9 | 12 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_749-1_0_8_line_14 |  | 10 | 13 | 0.03437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_749-1_0_8_line_15 |  | 10 | 14 | 0.07237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_749-1_0_8_line_16 |  | 13 | 49 | 0.027668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_749-1_0_8_line_17 |  | 14 | 53 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_749-1_0_8_line_18 |  | 15 | 16 | 0.025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_749-1_0_8_line_19 |  | 16 | 17 | 0.043466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_749-1_0_8_line_20 |  | 17 | 18 | 0.064869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_749-1_0_8_line_21 |  | 18 | 19 | 0.099507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_749-1_0_8_line_22 |  | 18 | 20 | 0.050422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_749-1_0_8_line_23 |  | 19 | 21 | 0.02022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_749-1_0_8_line_24 |  | 19 | 22 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_749-1_0_8_line_25 |  | 20 | 23 | 0.0080383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_749-1_0_8_line_26 |  | 21 | 32 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_749-1_0_8_line_27 |  | 22 | 43 | 0.067347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_749-1_0_8_line_28 |  | 22 | 41 | 0.045229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_749-1_0_8_line_29 |  | 23 | 59 | 0.040688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_749-1_0_8_line_30 |  | 24 | 25 | 0.0057564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_749-1_0_8_line_31 |  | 25 | 28 | 0.020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_749-1_0_8_line_32 |  | 26 | 27 | 0.047699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_749-1_0_8_line_33 |  | 27 | 28 | 0.039746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_749-1_0_8_line_34 |  | 27 | 29 | 0.084817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_749-1_0_8_line_35 |  | 28 | 30 | 0.01951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_749-1_0_8_line_36 |  | 29 | 31 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_749-1_0_8_line_37 |  | 30 | 32 | 0.024571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_749-1_0_8_line_38 |  | 31 | 33 | 0.0095801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_749-1_0_8_line_39 |  | 33 | 34 | 0.048098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_749-1_0_8_line_40 |  | 33 | 35 | 0.035379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_749-1_0_8_line_41 |  | 35 | 36 | 0.027762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_749-1_0_8_line_42 |  | 36 | 37 | 0.054193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_749-1_0_8_line_43 |  | 37 | 58 | 0.012545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_749-1_0_8_line_44 |  | 38 | 39 | 0.033538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_749-1_0_8_line_45 |  | 38 | 40 | 0.1073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_749-1_0_8_line_46 |  | 39 | 41 | 0.048039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_749-1_0_8_line_47 |  | 40 | 42 | 0.03755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_749-1_0_8_line_48 |  | 43 | 56 | 0.076495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_749-1_0_8_line_49 |  | 43 | 57 | 0.027126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_749-1_0_8_line_50 |  | 44 | 45 | 0.05113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_749-1_0_8_line_51 |  | 44 | 46 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_749-1_0_8_line_52 |  | 45 | 47 | 0.02634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_749-1_0_8_line_53 |  | 45 | 48 | 0.037062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_749-1_0_8_line_54 |  | 46 | 49 | 0.003006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_749-1_0_8_line_55 |  | 48 | 50 | 0.01221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_749-1_0_8_line_56 |  | 50 | 51 | 0.034454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_749-1_0_8_line_57 |  | 52 | 53 | 0.065146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_749-1_0_8_line_58 |  | 52 | 54 | 0.035972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_749-1_0_8_line_59 |  | 52 | 55 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_749-1_0_8_line_60 |  | 56 | 81 | 0.018752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_749-1_0_8_line_61 |  | 57 | 80 | 0.0085066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_749-1_0_8_line_62 |  | 60 | 61 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_749-1_0_8_line_63 |  | 60 | 62 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_749-1_0_8_line_64 |  | 61 | 63 | 0.017316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_749-1_0_8_line_65 |  | 62 | 64 | 0.01387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_749-1_0_8_line_66 |  | 64 | 65 | 0.057389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_749-1_0_8_line_67 |  | 65 | 66 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_749-1_0_8_line_68 |  | 65 | 67 | 0.005776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_749-1_0_8_line_69 |  | 66 | 68 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_749-1_0_8_line_70 |  | 67 | 69 | 0.02806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_749-1_0_8_line_71 |  | 67 | 70 | 0.066147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_749-1_0_8_line_72 |  | 68 | 73 | 0.03018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_749-1_0_8_line_73 |  | 69 | 75 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_749-1_0_8_line_74 |  | 70 | 71 | 0.0182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_749-1_0_8_line_75 |  | 71 | 72 | 0.0073782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_749-1_0_8_line_76 |  | 72 | 74 | 0.026588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_749-1_0_8_line_77 |  | 73 | 76 | 0.028921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_749-1_0_8_line_78 |  | 74 | 77 | 0.0086466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_749-1_0_8_line_79 |  | 75 | 78 | 0.0045053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_749-1_0_8_line_80 |  | 76 | 82 | 0.031068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_749-1_0_8_line_81 |  | 78 | 88 | 0.003424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_749-1_0_8_line_82 |  | 79 | 80 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_749-1_0_8_line_83 |  | 81 | 85 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_749-1_0_8_line_84 |  | 81 | 83 | 0.028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_749-1_0_8_line_85 |  | 82 | 83 | 0.0028314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_749-1_0_8_line_86 |  | 83 | 84 | 0.061578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_749-1_0_8_line_87 |  | 85 | 86 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_749-1_0_8_line_88 |  | 86 | 87 | 0.016204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_749-1_0_8_line_89 |  | 87 | 96 | 0.015191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_749-1_0_8_line_90 |  | 87 | 97 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_749-1_0_8_line_91 |  | 87 | 93 | 0.032515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_749-1_0_8_line_92 |  | 88 | 89 | 0.0046189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_749-1_0_8_line_93 |  | 89 | 90 | 0.00132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_749-1_0_8_line_94 |  | 91 | 92 | 0.0046125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_749-1_0_8_line_95 |  | 91 | 93 | 0.00044263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_749-1_0_8_line_96 |  | 92 | 94 | 0.016063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_749-1_0_8_line_97 |  | 94 | 95 | 0.003824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_749-1_0_8_line_98 |  | 97 | 98 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_749-1_0_8_line_99 |  | 98 | 99 | 0.0093571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_749-1_0_8_line_100 |  | 99 | 100 | 0.011693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_749-1_0_8_line_101 |  | 101 | 102 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_749-1_0_8_line_102 |  | 102 | 103 | 0.012586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_749-1_0_8_trafo_91 | 0.63 MVA 20/0.4 kV | 104 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2589828.6709 | 1217551.145 | 2589875.8719 | 1217610.3185
1 | 2589910.6559 | 1217653.9255 | 2589875.8719 | 1217610.3185
2 | 2589910.6559 | 1217653.9255 | 2589921.3474 | 1217643.2678
3 | 2589992.0418 | 1217765.36 | 2589992.7367 | 1217762.3032 | 2589992.7367 | 1217762.3032
4 | 2589992.7367 | 1217762.3032 | 2589969.4628 | 1217688.9565
5 | 2589998.9273 | 1217761.9894 | 2589992.7367 | 1217762.3032
6 | 2589992.0418 | 1217765.36 | 2589988.2961 | 1217781.8359
7 | 2589969.4628 | 1217688.9565 | 2589960.6634 | 1217680.6009
8 | 2589999.1871 | 1217761.9762 | 2589998.9273 | 1217761.9894
9 | 2589921.3474 | 1217643.2678 | 2589948.3375 | 1217616.3176
10 | 2589921.3474 | 1217643.2678 | 2589945.7964 | 1217666.4838
11 | 2589954.0886 | 1217610.5713 | 2589948.3375 | 1217616.3176
12 | 2589948.3375 | 1217616.3176 | 2589960.2493 | 1217626.8763
13 | 2589945.7964 | 1217666.4838 | 2589960.6634 | 1217680.6009
14 | 2589954.0886 | 1217610.5713 | 2589960.3323 | 1217604.3349 | 2589974.2619 | 1217582.9213
15 | 2589954.0886 | 1217610.5713 | 2589908.6487 | 1217554.1499
16 | 2589974.2619 | 1217582.9213 | 2589974.2619 | 1217582.9213 | 2589987.9755 | 1217558.8911
17 | 2589908.6487 | 1217554.1499 | 2589917.2108 | 1217545.4748 | 2589920.1504 | 1217537.8543
18 | 2590477.1973 | 1217772.2196 | 2590477.1973 | 1217772.2196 | 2590477.2098 | 1217779.9684 | 2590479.4353 | 1217797.7156
19 | 2590483.0308 | 1217840.9271 | 2590483.4069 | 1217829.3866 | 2590479.4353 | 1217797.7156
20 | 2590483.0308 | 1217840.9271 | 2590418.0415 | 1217837.9193
21 | 2590318.3049 | 1217834.4132 | 2590418.0415 | 1217837.9193
22 | 2590418.0415 | 1217837.9193 | 2590417.7561 | 1217830.4044 | 2590407.429 | 1217788.7647
23 | 2590318.3049 | 1217834.4132 | 2590316.9133 | 1217814.2416
24 | 2590318.3049 | 1217834.4132 | 2590300.4761 | 1217834.2868
25 | 2590405.494 | 1217780.9627 | 2590407.429 | 1217788.7647
26 | 2590316.9133 | 1217814.2416 | 2590315.6246 | 1217795.5627
27 | 2590233.1732 | 1217836.7101 | 2590236.0419 | 1217836.5942 | 2590283.8781 | 1217834.9033 | 2590300.4761 | 1217834.2868
28 | 2590300.4761 | 1217834.2868 | 2590293.3519 | 1217822.0471 | 2590279.4995 | 1217794.2394
29 | 2590405.494 | 1217780.9627 | 2590365.2633 | 1217787.7765
30 | 2590332.6973 | 1217748.2793 | 2590338.3774 | 1217747.345
31 | 2590312.5905 | 1217751.5865 | 2590332.6973 | 1217748.2793
32 | 2590306.4769 | 1217712.3186 | 2590353.6083 | 1217704.9812
33 | 2590312.5905 | 1217751.5865 | 2590306.4769 | 1217712.3186
34 | 2590306.4769 | 1217712.3186 | 2590301.1464 | 1217683.1663 | 2590291.9108 | 1217628.7633
35 | 2590312.5905 | 1217751.5865 | 2590313.9334 | 1217771.0499
36 | 2590291.9108 | 1217628.7633 | 2590288.3102 | 1217607.5531
37 | 2590313.9334 | 1217771.0499 | 2590315.6246 | 1217795.5627
38 | 2590286.7068 | 1217598.1082 | 2590288.3102 | 1217607.5531
39 | 2590286.7068 | 1217598.1082 | 2590294.6202 | 1217596.2052 | 2590330.8604 | 1217579.3709
40 | 2590286.7068 | 1217598.1082 | 2590280.2915 | 1217563.3159
41 | 2590275.2573 | 1217536.0139 | 2590280.2915 | 1217563.3159
42 | 2590275.2573 | 1217536.0139 | 2590246.2532 | 1217548.7912 | 2590225.7254 | 1217558.0002
43 | 2590214.2797 | 1217563.1349 | 2590225.7254 | 1217558.0002
44 | 2590230.8119 | 1217728.9676 | 2590251.4016 | 1217755.4415
45 | 2590164.9386 | 1217644.2692 | 2590230.8119 | 1217728.9676
46 | 2590279.4995 | 1217794.2394 | 2590275.7992 | 1217786.8114 | 2590251.4016 | 1217755.4415
47 | 2590164.9386 | 1217644.2692 | 2590141.2468 | 1217615.1365
48 | 2590233.1732 | 1217836.7101 | 2590185.7486 | 1217839.4124 | 2590156.7589 | 1217839.859
49 | 2590233.1732 | 1217836.7101 | 2590231.9222 | 1217809.6131
50 | 2590037.8068 | 1217506.3036 | 2590032.6436 | 1217509.692 | 2590016.7747 | 1217520.1024 | 2590003.3123 | 1217535.1782 | 2590000.1748 | 1217540.0129
51 | 2589989.4655 | 1217556.2803 | 2589994.0384 | 1217549.4687 | 2590000.1748 | 1217540.0129
52 | 2590037.8068 | 1217506.3036 | 2590049.0563 | 1217497.7019 | 2590059.3377 | 1217491.0809
53 | 2590037.8068 | 1217506.3036 | 2590015.0561 | 1217477.0467
54 | 2589989.4655 | 1217556.2803 | 2589987.9755 | 1217558.8911
55 | 2590015.0561 | 1217477.0467 | 2590007.5607 | 1217467.4077
56 | 2589986.4104 | 1217440.2089 | 2590007.5607 | 1217467.4077
57 | 2589879.6222 | 1217486.8501 | 2589920.1504 | 1217537.8543
58 | 2589879.6222 | 1217486.8501 | 2589888.061 | 1217451.8818
59 | 2589879.6222 | 1217486.8501 | 2589854.2238 | 1217476.2375
60 | 2590138.0095 | 1217840.1479 | 2590156.7589 | 1217839.859
61 | 2590231.5299 | 1217801.1156 | 2590231.9222 | 1217809.6131
62 | 2590041.0904 | 1217806.3172 | 2590054.7582 | 1217805.9596
63 | 2590041.0904 | 1217806.3172 | 2590023.6084 | 1217806.7745
64 | 2590072.0685 | 1217805.5067 | 2590054.7582 | 1217805.9596
65 | 2590009.7433 | 1217807.1372 | 2590023.6084 | 1217806.7745
66 | 2589982.1494 | 1217847.7921 | 2589994.4527 | 1217807.5372 | 2590009.7433 | 1217807.1372
67 | 2589982.1494 | 1217847.7921 | 2589994.4894 | 1217847.1503
68 | 2589982.1494 | 1217847.7921 | 2589976.3587 | 1217847.9576
69 | 2589994.4894 | 1217847.1503 | 2590016.2952 | 1217846.0161
70 | 2589976.3587 | 1217847.9576 | 2589980.3006 | 1217822.7699 | 2589980.7777 | 1217820.249
71 | 2589976.3587 | 1217847.9576 | 2589971.7953 | 1217913.9474
72 | 2590046.4346 | 1217844.4485 | 2590016.2952 | 1217846.0161
73 | 2589980.7777 | 1217820.249 | 2589985.4785 | 1217795.4125
74 | 2589971.7953 | 1217913.9474 | 2589988.0679 | 1217922.098
75 | 2589988.0679 | 1217922.098 | 2589994.6648 | 1217925.4023
76 | 2590018.4379 | 1217937.3097 | 2589994.6648 | 1217925.4023
77 | 2590075.3164 | 1217842.9463 | 2590046.4346 | 1217844.4485
78 | 2590026.1689 | 1217941.182 | 2590018.4379 | 1217937.3097
79 | 2589986.3163 | 1217790.9859 | 2589985.4785 | 1217795.4125
80 | 2590075.3164 | 1217842.9463 | 2590106.3422 | 1217841.3326
81 | 2589986.3163 | 1217790.9859 | 2589986.8151 | 1217788.3503 | 2589986.9795 | 1217787.6271
82 | 2590225.8638 | 1217790.0719 | 2590231.0084 | 1217789.8203 | 2590231.5299 | 1217801.1156
83 | 2590138.0095 | 1217840.1479 | 2590137.2389 | 1217821.853
84 | 2590138.0095 | 1217840.1479 | 2590120.7663 | 1217840.7326 | 2590109.1698 | 1217841.1856
85 | 2590109.1698 | 1217841.1856 | 2590106.3422 | 1217841.3326
86 | 2590109.1698 | 1217841.1856 | 2590109.9334 | 1217848.4662 | 2590120.909 | 1217898.8321 | 2590120.9907 | 1217901.5403
87 | 2590137.2389 | 1217821.853 | 2590136.5576 | 1217805.6787
88 | 2590135.8757 | 1217789.4892 | 2590136.5576 | 1217805.6787
89 | 2590135.8757 | 1217789.4892 | 2590135.3508 | 1217774.3076
90 | 2590135.8757 | 1217789.4892 | 2590152.8584 | 1217789.1301
91 | 2590135.8757 | 1217789.4892 | 2590103.3711 | 1217790.3238
92 | 2589988.0035 | 1217783.1231 | 2589986.9795 | 1217787.6271
93 | 2589988.0035 | 1217783.1231 | 2589988.2961 | 1217781.8359
94 | 2590102.9286 | 1217790.3352 | 2590098.3176 | 1217790.4536
95 | 2590102.9286 | 1217790.3352 | 2590103.3711 | 1217790.3238
96 | 2590098.3176 | 1217790.4536 | 2590082.2603 | 1217790.8658
97 | 2590078.4376 | 1217790.964 | 2590082.2603 | 1217790.8658
98 | 2590165.6132 | 1217788.8603 | 2590152.8584 | 1217789.1301
99 | 2590165.6132 | 1217788.8603 | 2590174.9682 | 1217788.6624
100 | 2590186.6581 | 1217788.4152 | 2590174.9682 | 1217788.6624
101 | 2590012.7148 | 1217761.2904 | 2589999.1871 | 1217761.9762
102 | 2590025.2848 | 1217760.6531 | 2590012.7148 | 1217761.2904

## bus_geodata
| x | y | coords
0 | 2589828.6709 | 1217551.145
1 | 2589875.8719 | 1217610.3185
2 | 2589910.6559 | 1217653.9255
3 | 2589992.7367 | 1217762.3032
4 | 2589992.0418 | 1217765.36
5 | 2589969.4628 | 1217688.9565
6 | 2589998.9273 | 1217761.9894
7 | 2589921.3474 | 1217643.2678
8 | 2589948.3375 | 1217616.3176
9 | 2589945.7964 | 1217666.4838
10 | 2589954.0886 | 1217610.5713
11 | 2589960.2493 | 1217626.8763
12 | 2589960.6634 | 1217680.6009
13 | 2589974.2619 | 1217582.9213
14 | 2589908.6487 | 1217554.1499
15 | 2590477.1973 | 1217772.2196
16 | 2590479.4353 | 1217797.7156
17 | 2590483.0308 | 1217840.9271
18 | 2590418.0415 | 1217837.9193
19 | 2590318.3049 | 1217834.4132
20 | 2590407.429 | 1217788.7647
21 | 2590316.9133 | 1217814.2416
22 | 2590300.4761 | 1217834.2868
23 | 2590405.494 | 1217780.9628
24 | 2590338.3774 | 1217747.345
25 | 2590332.6973 | 1217748.2793
26 | 2590353.6083 | 1217704.9812
27 | 2590306.4769 | 1217712.3186
28 | 2590312.5905 | 1217751.5865
29 | 2590291.9108 | 1217628.7632
30 | 2590313.9334 | 1217771.0499
31 | 2590288.3102 | 1217607.5531
32 | 2590315.6246 | 1217795.5627
33 | 2590286.7068 | 1217598.1082
34 | 2590330.8604 | 1217579.3709
35 | 2590280.2915 | 1217563.3159
36 | 2590275.2573 | 1217536.0139
37 | 2590225.7254 | 1217558.0002
38 | 2590230.8119 | 1217728.9676
39 | 2590251.4016 | 1217755.4415
40 | 2590164.9386 | 1217644.2692
41 | 2590279.4995 | 1217794.2394
42 | 2590141.2468 | 1217615.1365
43 | 2590233.1732 | 1217836.7101
44 | 2590000.1748 | 1217540.0129
45 | 2590037.8068 | 1217506.3036
46 | 2589989.4655 | 1217556.2803
47 | 2590059.3377 | 1217491.0809
48 | 2590015.0561 | 1217477.0467
49 | 2589987.9755 | 1217558.8911
50 | 2590007.5607 | 1217467.4077
51 | 2589986.4104 | 1217440.2089
52 | 2589879.6222 | 1217486.8501
53 | 2589920.1504 | 1217537.8543
54 | 2589888.061 | 1217451.8818
55 | 2589854.2238 | 1217476.2375
56 | 2590156.7589 | 1217839.859
57 | 2590231.9222 | 1217809.6131
58 | 2590214.2797 | 1217563.1349
59 | 2590365.2633 | 1217787.7765
60 | 2590041.0904 | 1217806.3172
61 | 2590054.7582 | 1217805.9596
62 | 2590023.6084 | 1217806.7745
63 | 2590072.0685 | 1217805.5067
64 | 2590009.7433 | 1217807.1372
65 | 2589982.1494 | 1217847.7921
66 | 2589994.4894 | 1217847.1503
67 | 2589976.3587 | 1217847.9576
68 | 2590016.2952 | 1217846.0161
69 | 2589980.7777 | 1217820.249
70 | 2589971.7953 | 1217913.9474
71 | 2589988.0679 | 1217922.098
72 | 2589994.6648 | 1217925.4023
73 | 2590046.4346 | 1217844.4485
74 | 2590018.4379 | 1217937.3097
75 | 2589985.4785 | 1217795.4125
76 | 2590075.3164 | 1217842.9463
77 | 2590026.1689 | 1217941.182
78 | 2589986.3163 | 1217790.9859
79 | 2590225.8638 | 1217790.0719
80 | 2590231.5299 | 1217801.1156
81 | 2590138.0095 | 1217840.1479
82 | 2590106.3422 | 1217841.3326
83 | 2590109.1698 | 1217841.1856
84 | 2590120.9907 | 1217901.5403
85 | 2590137.2389 | 1217821.853
86 | 2590136.5576 | 1217805.6787
87 | 2590135.8757 | 1217789.4892
88 | 2589986.9795 | 1217787.6271
89 | 2589988.0035 | 1217783.1231
90 | 2589988.2961 | 1217781.8359
91 | 2590102.9286 | 1217790.3352
92 | 2590098.3176 | 1217790.4536
93 | 2590103.3711 | 1217790.3238
94 | 2590082.2603 | 1217790.8658
95 | 2590078.4376 | 1217790.964
96 | 2590135.3508 | 1217774.3076
97 | 2590152.8584 | 1217789.1301
98 | 2590165.6132 | 1217788.8603
99 | 2590174.9682 | 1217788.6624
100 | 2590186.6581 | 1217788.4152
101 | 2589999.1871 | 1217761.9762
102 | 2590012.7148 | 1217761.2904
103 | 2590025.2848 | 1217760.6531
104 | 2589921.3474 | 1217643.2678

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1