## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_755-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_755-7_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_755-7_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_755-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_755-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_755-7_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_755-7_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_755-7_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_755-7_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_755-7_0_4_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_755-7_0_4_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_755-7_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_755-7_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_755-7_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_755-7_0_4_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_755-7_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_755-7_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_755-7_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_755-7_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_755-7_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_755-7_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_755-7_0_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_755-7_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_755-7_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_755-7_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_755-7_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_755-7_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_755-7_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_755-7_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_755-7_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_755-7_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_755-7_0_4_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_755-7_0_4_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_755-7_0_4_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_755-7_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_755-7_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_755-7_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_755-7_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_755-7_0_4_node_75 | 0.4 | n |  | TRUE
39 | bus_LV_755-7_0_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_755-7_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_755-7_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_755-7_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_755-7_0_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_755-7_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_755-7_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_755-7_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_755-7_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_755-7_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_755-7_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_755-7_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_755-7_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_755-7_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_755-7_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_755-7_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_755-7_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_755-7_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_755-7_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_755-7_0_4_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_755-7_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_755-7_0_4_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_755-7_0_4_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_755-7_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_755-7_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_755-7_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_755-7_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_755-7_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_755-7_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_755-7_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_755-7_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_755-7_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_755-7_0_4_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_755-7_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_755-7_0_4_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_755-7_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_755-7_0_4_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_755-7_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_755-7_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_755-7_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_755-7_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_755-7_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_755-7_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_755-7_0_4_node_120 | 0.4 | n |  | TRUE
83 | bus_LV_755-7_0_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_755-7_0_4_node_121 | 0.4 | n |  | TRUE
85 | bus_LV_755-7_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_755-7_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_755-7_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_755-7_0_4_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_755-7_0_4_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_755-7_0_4_node_116 | 0.4 | n |  | TRUE
91 | bus_LV_755-7_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_755-7_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_755-7_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_755-7_0_4_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_755-7_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_755-7_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_755-7_0_4_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_755-7_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_755-7_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_755-7_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_755-7_0_4_node_108 | 0.4 | n |  | TRUE
102 | bus_LV_755-7_0_4_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_755-7_0_4_node_101 | 0.4 | n |  | TRUE
104 | bus_LV_755-7_0_4_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_755-7_0_4_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_755-7_0_4_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_755-7_0_4_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_755-7_0_4_node_103 | 0.4 | n |  | TRUE
109 | bus_LV_755-7_0_4_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_755-7_0_4_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_755-7_0_4_node_106 | 0.4 | n |  | TRUE
112 | bus_LV_755-7_0_4_node_114 | 0.4 | n |  | TRUE
113 | bus_LV_755-7_0_4_node_123 | 0.4 | n |  | TRUE
114 | bus_LV_755-7_0_4_node_113 | 0.4 | n |  | TRUE
115 | bus_LV_755-7_0_4_node_124 | 0.4 | n |  | TRUE
116 | bus_LV_755-7_0_4_node_118 | 0.4 | n |  | TRUE
117 | bus_LV_755-7_0_4_node_110 | 0.4 | n |  | TRUE
118 | bus_LV_755-7_0_4_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_755-7_0_4_node_112 | 0.4 | n |  | TRUE
120 | bus_LV_755-7_0_4_node_117 | 0.4 | n |  | TRUE
121 | bus_LV_755-7_0_4_node_122 | 0.4 | n |  | TRUE
122 | bus_MV_416_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_755-7_0_4_load_0 | 0 | 0.0048372 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_755-7_0_4_load_1 | 1 | 0.0049536 | 0.0012415 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_755-7_0_4_load_3 | 3 | 0.002296 | 0.00057543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_755-7_0_4_load_4 | 5 | 0.0061999 | 0.0015538 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_755-7_0_4_load_8 | 7 | 0.00040901 | 0.00010251 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_755-7_0_4_load_9 | 8 | 0.0051348 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_755-7_0_4_load_57 | 9 | 0.0064439 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_755-7_0_4_load_58 | 10 | 0.0019876 | 0.00049814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_755-7_0_4_load_11 | 11 | 0.0011749 | 0.00029447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_755-7_0_4_load_16 | 12 | 0.0022641 | 0.00056744 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_755-7_0_4_load_59 | 13 | 0.011875 | 0.0029762 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_755-7_0_4_load_60 | 14 | 0.0019837 | 0.00049717 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_755-7_0_4_load_10 | 15 | 0.0015622 | 0.00039152 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_755-7_0_4_load_15 | 16 | 0.0022831 | 0.0005722 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_755-7_0_4_load_12 | 17 | 0.0011557 | 0.00028965 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_755-7_0_4_load_13 | 18 | 0.0068334 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_755-7_0_4_load_14 | 19 | 0.00028993 | 7.2663e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_755-7_0_4_load_56 | 20 | 0.00025904 | 6.4921e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_755-7_0_4_load_17 | 22 | 0.012724 | 0.0031889 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_755-7_0_4_load_18 | 23 | 0.00034635 | 8.6802e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_755-7_0_4_load_24 | 27 | 0.014474 | 0.0036274 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_755-7_0_4_load_20 | 28 | 0.011074 | 0.0027754 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_755-7_0_4_load_31 | 29 | 0.0034393 | 0.00086197 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_755-7_0_4_load_28 | 30 | 0.011122 | 0.0027874 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_755-7_0_4_load_81 | 32 | 0.0029929 | 0.00075009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_755-7_0_4_load_79 | 33 | 0.0021082 | 0.00052836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_755-7_0_4_load_21 | 34 | 0.0014703 | 0.0003685 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_755-7_0_4_load_23 | 35 | 0.0051717 | 0.0012962 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_755-7_0_4_load_26 | 36 | 0.0013829 | 0.00034659 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_755-7_0_4_load_27 | 37 | 0.0044513 | 0.0011156 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_755-7_0_4_load_75 | 38 | 0.0013359 | 0.0003348 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_755-7_0_4_load_73 | 39 | 0.0019642 | 0.00049226 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_755-7_0_4_load_33 | 40 | 0.0048883 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_755-7_0_4_load_29 | 41 | 0.0043715 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_755-7_0_4_load_74 | 42 | 0.0085335 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_755-7_0_4_load_72 | 43 | 0.0019764 | 0.00049533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_755-7_0_4_load_30 | 44 | 0.0017441 | 0.00043712 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_755-7_0_4_load_32 | 45 | 0.0030829 | 0.00077265 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_755-7_0_4_load_42 | 46 | 0.0072765 | 0.0018237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_755-7_0_4_load_40 | 47 | 0.0076603 | 0.0019198 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_755-7_0_4_load_34 | 48 | 0.0041122 | 0.0010306 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_755-7_0_4_load_35 | 49 | 0.0067004 | 0.0016793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_755-7_0_4_load_36 | 50 | 0.0033738 | 0.00084554 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_755-7_0_4_load_38 | 52 | 0.0053789 | 0.0013481 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_755-7_0_4_load_39 | 53 | 0.003317 | 0.00083132 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_755-7_0_4_load_43 | 55 | 0.010357 | 0.0025958 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_755-7_0_4_load_48 | 56 | 0.0026432 | 0.00066245 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_755-7_0_4_load_52 | 57 | 0.011378 | 0.0028515 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_755-7_0_4_load_98 | 60 | 0.0019813 | 0.00049656 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_755-7_0_4_load_95 | 61 | 0.0017354 | 0.00043494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_755-7_0_4_load_44 | 62 | 0.0041284 | 0.0010347 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_755-7_0_4_load_45 | 63 | 0.0051919 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_755-7_0_4_load_47 | 64 | 0.0059746 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_755-7_0_4_load_49 | 65 | 0.0016178 | 0.00040546 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_755-7_0_4_load_50 | 66 | 0.0008514 | 0.00021338 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_755-7_0_4_load_51 | 67 | 0.011156 | 0.0027958 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_755-7_0_4_load_53 | 68 | 0.0019568 | 0.00049043 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_755-7_0_4_load_54 | 69 | 0.0012962 | 0.00032485 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_755-7_0_4_load_55 | 70 | 0.0023123 | 0.00057951 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_755-7_0_4_load_107 | 71 | 0.0015037 | 0.00037686 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_755-7_0_4_load_82 | 72 | 0.011759 | 0.0029472 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_755-7_0_4_load_71 | 74 | 0.0022084 | 0.00055349 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_755-7_0_4_load_61 | 76 | 0.0031092 | 0.00077924 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_755-7_0_4_load_62 | 77 | 0.0017594 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_755-7_0_4_load_64 | 79 | 0.0019876 | 0.00049815 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_755-7_0_4_load_67 | 80 | 0.0024113 | 0.00060433 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_755-7_0_4_load_120 | 82 | 0.0023094 | 0.00057879 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_755-7_0_4_load_68 | 83 | 0.0090805 | 0.0022758 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_755-7_0_4_load_121 | 84 | 0.0099888 | 0.0025034 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_755-7_0_4_load_69 | 85 | 0.0090614 | 0.002271 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_755-7_0_4_load_76 | 86 | 0.0031948 | 0.00080069 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_755-7_0_4_load_77 | 87 | 0.00031494 | 7.8932e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_755-7_0_4_load_78 | 88 | 0.00031371 | 7.8623e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_755-7_0_4_load_115 | 89 | 0.00031336 | 7.8535e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_755-7_0_4_load_116 | 90 | 0.0071806 | 0.0017996 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_755-7_0_4_load_85 | 91 | 0.0016125 | 0.00040413 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_755-7_0_4_load_86 | 92 | 0.0016466 | 0.00041267 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_755-7_0_4_load_87 | 93 | 0.0022675 | 0.0005683 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_755-7_0_4_load_89 | 95 | 0.0018779 | 0.00047064 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_755-7_0_4_load_90 | 96 | 0.0034913 | 0.000875 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_755-7_0_4_load_91 | 97 | 0.0029097 | 0.00072924 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_755-7_0_4_load_92 | 98 | 0.0021508 | 0.00053904 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_755-7_0_4_load_93 | 99 | 0.0039641 | 0.00099349 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_755-7_0_4_load_108 | 101 | 0.0049468 | 0.0012398 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_755-7_0_4_load_101 | 103 | 0.0013105 | 0.00032844 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_755-7_0_4_load_109 | 104 | 0.0030943 | 0.00077551 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_755-7_0_4_load_94 | 105 | 0.0030466 | 0.00076354 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_755-7_0_4_load_96 | 106 | 0.0029297 | 0.00073426 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_755-7_0_4_load_105 | 107 | 0.0043429 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_755-7_0_4_load_103 | 108 | 0.00066622 | 0.00016697 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_755-7_0_4_load_102 | 109 | 0.0014806 | 0.00037108 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_755-7_0_4_load_104 | 110 | 0.0015782 | 0.00039554 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_755-7_0_4_load_106 | 111 | 0.0017616 | 0.0004415 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_755-7_0_4_load_114 | 112 | 0.001377 | 0.00034511 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_755-7_0_4_load_123 | 113 | 0.0023758 | 0.00059543 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_755-7_0_4_load_113 | 114 | 0.0013756 | 0.00034476 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_755-7_0_4_load_124 | 115 | 0.0049394 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_755-7_0_4_load_118 | 116 | 0.0030905 | 0.00077455 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_755-7_0_4_load_110 | 117 | 0.0014552 | 0.00036472 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_755-7_0_4_load_111 | 118 | 0.0018229 | 0.00045687 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_755-7_0_4_load_112 | 119 | 0.0041057 | 0.001029 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_755-7_0_4_load_117 | 120 | 0.0075056 | 0.0018811 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_755-7_0_4_load_122 | 121 | 0.0044024 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_755-7_0_4_line_0 |  | 0 | 1 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_755-7_0_4_line_1 |  | 0 | 2 | 0.0077636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_755-7_0_4_line_2 |  | 1 | 3 | 0.035982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_755-7_0_4_line_3 |  | 2 | 4 | 0.016941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_755-7_0_4_line_4 |  | 4 | 7 | 0.042055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_755-7_0_4_line_5 |  | 4 | 8 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_755-7_0_4_line_6 |  | 5 | 6 | 0.017332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_755-7_0_4_line_7 |  | 6 | 9 | 0.022521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_755-7_0_4_line_8 |  | 6 | 10 | 0.0038942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_755-7_0_4_line_9 |  | 7 | 11 | 0.0048681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_755-7_0_4_line_10 |  | 8 | 12 | 0.0207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_755-7_0_4_line_11 |  | 9 | 13 | 0.014235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_755-7_0_4_line_12 |  | 10 | 14 | 0.0082439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_755-7_0_4_line_13 |  | 11 | 15 | 0.00043138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_755-7_0_4_line_14 |  | 12 | 16 | 0.00070176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_755-7_0_4_line_15 |  | 14 | 74 | 0.03008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_755-7_0_4_line_16 |  | 15 | 17 | 0.038034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_755-7_0_4_line_17 |  | 16 | 22 | 0.039249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_755-7_0_4_line_18 |  | 17 | 18 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_755-7_0_4_line_19 |  | 18 | 19 | 0.0062751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_755-7_0_4_line_20 |  | 19 | 20 | 0.023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_755-7_0_4_line_21 |  | 20 | 21 | 0.14767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_755-7_0_4_line_22 |  | 21 | 73 | 0.068139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_755-7_0_4_line_23 |  | 22 | 23 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_755-7_0_4_line_24 |  | 23 | 24 | 0.045742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_755-7_0_4_line_25 |  | 24 | 25 | 0.036038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_755-7_0_4_line_26 |  | 25 | 29 | 0.020058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_755-7_0_4_line_27 |  | 25 | 30 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_755-7_0_4_line_28 |  | 25 | 26 | 0.054907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_755-7_0_4_line_29 |  | 26 | 27 | 0.01392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_755-7_0_4_line_30 |  | 26 | 28 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_755-7_0_4_line_31 |  | 27 | 37 | 0.013595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_755-7_0_4_line_32 |  | 28 | 34 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_755-7_0_4_line_33 |  | 29 | 40 | 0.01756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_755-7_0_4_line_34 |  | 30 | 41 | 0.0028253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_755-7_0_4_line_35 |  | 31 | 32 | 0.015836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_755-7_0_4_line_36 |  | 31 | 33 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_755-7_0_4_line_37 |  | 32 | 91 | 0.004092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_755-7_0_4_line_38 |  | 33 | 40 | 0.014869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_755-7_0_4_line_39 |  | 34 | 35 | 0.0085077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_755-7_0_4_line_40 |  | 35 | 36 | 0.0071034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_755-7_0_4_line_41 |  | 36 | 38 | 0.0073373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_755-7_0_4_line_42 |  | 37 | 39 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_755-7_0_4_line_43 |  | 38 | 42 | 0.0043518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_755-7_0_4_line_44 |  | 39 | 43 | 0.0065989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_755-7_0_4_line_45 |  | 41 | 44 | 0.034714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_755-7_0_4_line_46 |  | 42 | 86 | 0.0056792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_755-7_0_4_line_47 |  | 43 | 80 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_755-7_0_4_line_48 |  | 44 | 45 | 0.0097495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_755-7_0_4_line_49 |  | 45 | 46 | 0.0027849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_755-7_0_4_line_50 |  | 46 | 47 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_755-7_0_4_line_51 |  | 47 | 51 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_755-7_0_4_line_52 |  | 48 | 49 | 0.0056126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_755-7_0_4_line_53 |  | 48 | 50 | 0.0077587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_755-7_0_4_line_54 |  | 49 | 51 | 0.028042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_755-7_0_4_line_55 |  | 50 | 52 | 0.025684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_755-7_0_4_line_56 |  | 51 | 53 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_755-7_0_4_line_57 |  | 52 | 54 | 0.0061167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_755-7_0_4_line_58 |  | 53 | 55 | 0.0010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_755-7_0_4_line_59 |  | 54 | 56 | 0.013157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_755-7_0_4_line_60 |  | 54 | 57 | 0.063725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_755-7_0_4_line_61 |  | 55 | 58 | 0.019285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_755-7_0_4_line_62 |  | 56 | 59 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_755-7_0_4_line_63 |  | 58 | 60 | 0.042418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_755-7_0_4_line_64 |  | 58 | 61 | 0.07681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_755-7_0_4_line_65 |  | 59 | 65 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_755-7_0_4_line_66 |  | 59 | 62 | 0.0059223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_755-7_0_4_line_67 |  | 60 | 107 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_755-7_0_4_line_68 |  | 61 | 105 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_755-7_0_4_line_69 |  | 62 | 63 | 0.032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_755-7_0_4_line_70 |  | 63 | 64 | 0.026163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_755-7_0_4_line_71 |  | 64 | 66 | 0.0077403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_755-7_0_4_line_72 |  | 65 | 67 | 0.026181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_755-7_0_4_line_73 |  | 67 | 68 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_755-7_0_4_line_74 |  | 68 | 69 | 0.00043681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_755-7_0_4_line_75 |  | 69 | 70 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_755-7_0_4_line_76 |  | 70 | 71 | 0.0013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_755-7_0_4_line_77 |  | 72 | 73 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_755-7_0_4_line_78 |  | 74 | 75 | 0.011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_755-7_0_4_line_79 |  | 75 | 83 | 0.041057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_755-7_0_4_line_80 |  | 75 | 78 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_755-7_0_4_line_81 |  | 75 | 81 | 0.055972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_755-7_0_4_line_82 |  | 76 | 77 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_755-7_0_4_line_83 |  | 76 | 78 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_755-7_0_4_line_84 |  | 77 | 79 | 0.00081853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_755-7_0_4_line_85 |  | 79 | 80 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_755-7_0_4_line_86 |  | 81 | 82 | 0.022856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_755-7_0_4_line_87 |  | 82 | 84 | 0.0069078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_755-7_0_4_line_88 |  | 83 | 85 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_755-7_0_4_line_89 |  | 84 | 121 | 0.0066857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_755-7_0_4_line_90 |  | 86 | 87 | 0.0066687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_755-7_0_4_line_91 |  | 87 | 88 | 0.0090241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_755-7_0_4_line_92 |  | 88 | 89 | 0.00078277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_755-7_0_4_line_93 |  | 89 | 90 | 0.0054439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_755-7_0_4_line_94 |  | 90 | 120 | 0.00042433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_755-7_0_4_line_95 |  | 92 | 93 | 0.013746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_755-7_0_4_line_96 |  | 92 | 94 | 0.0098966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_755-7_0_4_line_97 |  | 93 | 95 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_755-7_0_4_line_98 |  | 94 | 96 | 0.0057701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_755-7_0_4_line_99 |  | 94 | 97 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_755-7_0_4_line_100 |  | 96 | 98 | 0.036236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_755-7_0_4_line_101 |  | 97 | 99 | 0.0017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_755-7_0_4_line_102 |  | 98 | 100 | 0.0035042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_755-7_0_4_line_103 |  | 99 | 101 | 0.0050529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_755-7_0_4_line_104 |  | 100 | 102 | 0.015023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_755-7_0_4_line_105 |  | 100 | 103 | 0.011086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_755-7_0_4_line_106 |  | 101 | 104 | 0.012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_755-7_0_4_line_107 |  | 102 | 109 | 0.037951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_755-7_0_4_line_108 |  | 102 | 108 | 0.044374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_755-7_0_4_line_109 |  | 103 | 110 | 0.025793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_755-7_0_4_line_110 |  | 104 | 116 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_755-7_0_4_line_111 |  | 105 | 106 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_755-7_0_4_line_112 |  | 107 | 108 | 0.0070469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_755-7_0_4_line_113 |  | 109 | 111 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_755-7_0_4_line_114 |  | 110 | 112 | 0.0045766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_755-7_0_4_line_115 |  | 111 | 113 | 0.093275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_755-7_0_4_line_116 |  | 112 | 114 | 0.0080035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_755-7_0_4_line_117 |  | 113 | 115 | 0.0020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_755-7_0_4_line_118 |  | 114 | 118 | 0.01588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_755-7_0_4_line_119 |  | 117 | 118 | 0.0060128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_755-7_0_4_line_120 |  | 117 | 119 | 0.0080861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_755-7_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 122 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2588830.4415 | 1216513.1477 | 2588837.2702 | 1216523.3268
1 | 2588826.1164 | 1216506.7005 | 2588830.4415 | 1216513.1477
2 | 2588837.2702 | 1216523.3268 | 2588842.3396 | 1216530.8836 | 2588859.1243 | 1216551.8821
3 | 2588817.0856 | 1216492.3539 | 2588826.1164 | 1216506.7005
4 | 2588817.0856 | 1216492.3539 | 2588790.5411 | 1216510.0808 | 2588780.4142 | 1216509.6568
5 | 2588817.0856 | 1216492.3539 | 2588809.7138 | 1216480.1164 | 2588805.5776 | 1216473.2527
6 | 2588869.7939 | 1216447.9182 | 2588858.9424 | 1216461.4326
7 | 2588869.7939 | 1216447.9182 | 2588890.5747 | 1216456.5983
8 | 2588869.7939 | 1216447.9182 | 2588872.0509 | 1216444.7447
9 | 2588780.4142 | 1216509.6568 | 2588775.5503 | 1216509.4531
10 | 2588795.245 | 1216455.3354 | 2588796.9121 | 1216458.873 | 2588805.5776 | 1216473.2527
11 | 2588903.7096 | 1216462.0847 | 2588890.5747 | 1216456.5983
12 | 2588876.829 | 1216438.0267 | 2588872.0509 | 1216444.7447
13 | 2588775.1193 | 1216509.4351 | 2588775.5503 | 1216509.4531
14 | 2588794.9458 | 1216454.7006 | 2588795.245 | 1216455.3354
15 | 2588876.829 | 1216438.0267 | 2588894.2631 | 1216413.5144
16 | 2588775.1193 | 1216509.4351 | 2588770.475 | 1216509.2406 | 2588760.1991 | 1216506.9032 | 2588744.923 | 1216501.9183 | 2588738.1655 | 1216501.3865 | 2588738.1655 | 1216501.3865
17 | 2588778.2145 | 1216419.1969 | 2588794.9458 | 1216454.7006
18 | 2588728.7424 | 1216509.8415 | 2588729.9341 | 1216508.2505 | 2588738.1655 | 1216501.3865
19 | 2588728.7424 | 1216509.8415 | 2588724.9804 | 1216514.8639
20 | 2588724.9804 | 1216514.8639 | 2588724.0883 | 1216516.0549 | 2588714.4615 | 1216531.5821 | 2588712.4803 | 1216535.104
21 | 2588712.4803 | 1216535.104 | 2588636.8379 | 1216661.9269
22 | 2588636.8379 | 1216661.9269 | 2588692.9063 | 1216700.8749
23 | 2588778.2145 | 1216419.1969 | 2588773.0857 | 1216408.3137
24 | 2588753.5864 | 1216366.9364 | 2588773.0857 | 1216408.3137
25 | 2588736.6875 | 1216335.2172 | 2588742.953 | 1216344.366 | 2588753.5864 | 1216366.9364
26 | 2588736.6875 | 1216335.2172 | 2588724.0237 | 1216350.7724
27 | 2588736.6875 | 1216335.2172 | 2588730.3775 | 1216325.9998
28 | 2588736.6875 | 1216335.2172 | 2588742.953 | 1216344.366 | 2588785.9235 | 1216352.9449
29 | 2588785.9235 | 1216352.9449 | 2588798.9299 | 1216357.9059
30 | 2588785.9235 | 1216352.9449 | 2588790.8276 | 1216332.4057
31 | 2588798.9299 | 1216357.9059 | 2588811.6322 | 1216362.7511
32 | 2588790.8276 | 1216332.4057 | 2588794.1349 | 1216318.5544
33 | 2588711.3766 | 1216361.8863 | 2588720.5551 | 1216351.2348 | 2588724.0237 | 1216350.7724
34 | 2588728.7815 | 1216323.6684 | 2588730.3775 | 1216325.9998
35 | 2588715.7822 | 1216384.2737 | 2588707.3437 | 1216397.6742
36 | 2588715.7822 | 1216384.2737 | 2588701.6707 | 1216373.1499
37 | 2588705.1632 | 1216401.1369 | 2588707.3437 | 1216397.6742
38 | 2588711.3766 | 1216361.8863 | 2588701.6707 | 1216373.1499 | 2588701.6707 | 1216373.1499
39 | 2588794.1349 | 1216318.5544 | 2588796.1107 | 1216310.2793
40 | 2588796.1107 | 1216310.2793 | 2588797.7604 | 1216303.3702
41 | 2588799.4644 | 1216296.2334 | 2588797.7604 | 1216303.3702
42 | 2588811.6322 | 1216362.7511 | 2588825.2373 | 1216367.9406
43 | 2588800.4751 | 1216292.0006 | 2588799.4644 | 1216296.2334
44 | 2588831.4029 | 1216370.2924 | 2588825.2373 | 1216367.9406
45 | 2588728.7815 | 1216323.6684 | 2588727.1941 | 1216321.3496 | 2588708.8927 | 1216295.2165
46 | 2588800.4751 | 1216292.0006 | 2588801.794 | 1216286.4767
47 | 2588845.0247 | 1216375.6554 | 2588838.9978 | 1216373.1893 | 2588831.4029 | 1216370.2924
48 | 2588708.8927 | 1216295.2165 | 2588703.3001 | 1216287.2306
49 | 2588701.7025 | 1216284.9495 | 2588703.3001 | 1216287.2306
50 | 2588701.7025 | 1216284.9495 | 2588694.2708 | 1216274.3375
51 | 2588687.1747 | 1216264.2047 | 2588694.2708 | 1216274.3375
52 | 2588676.8016 | 1216232.1887 | 2588678.5325 | 1216237.5278
53 | 2588676.8016 | 1216232.1887 | 2588676.1697 | 1216230.2398 | 2588675.2714 | 1216224.601
54 | 2588687.1747 | 1216264.2047 | 2588683.2263 | 1216252.0053 | 2588678.5325 | 1216237.5278
55 | 2588671.2305 | 1216199.2373 | 2588675.2714 | 1216224.601
56 | 2588687.1747 | 1216264.2047 | 2588667.828 | 1216268.3682
57 | 2588670.2682 | 1216193.1968 | 2588671.2305 | 1216199.2373
58 | 2588666.7795 | 1216268.5939 | 2588667.828 | 1216268.3682
59 | 2588670.2682 | 1216193.1968 | 2588669.7308 | 1216180.0503
60 | 2588670.2682 | 1216193.1968 | 2588733.5327 | 1216200.8428
61 | 2588647.9257 | 1216272.6513 | 2588666.7795 | 1216268.5939
62 | 2588669.2327 | 1216167.8622 | 2588669.7308 | 1216180.0503
63 | 2588647.9257 | 1216272.6513 | 2588624.501 | 1216274.6752 | 2588606.4444 | 1216269.0735
64 | 2588647.9257 | 1216272.6513 | 2588634.1546 | 1216300.6381 | 2588618.2935 | 1216327.3059 | 2588629.3935 | 1216336.7759
65 | 2588669.2327 | 1216167.8622 | 2588648.9388 | 1216162.7704
66 | 2588669.2327 | 1216167.8622 | 2588670.3344 | 1216162.0433
67 | 2588606.4444 | 1216269.0735 | 2588584.6051 | 1216257.1394
68 | 2588645.6871 | 1216350.6767 | 2588629.3935 | 1216336.7759
69 | 2588670.3344 | 1216162.0433 | 2588674.9749 | 1216137.534 | 2588675.2819 | 1216135.321 | 2588676.3116 | 1216130.0793
70 | 2588681.3547 | 1216104.4073 | 2588676.3116 | 1216130.0793
71 | 2588681.3547 | 1216104.4073 | 2588682.8467 | 1216096.8122
72 | 2588648.9388 | 1216162.7704 | 2588623.5447 | 1216156.3989
73 | 2588623.5447 | 1216156.3989 | 2588623.5447 | 1216156.3989 | 2588615.2552 | 1216168.7329 | 2588614.0974 | 1216171.3611
74 | 2588613.9213 | 1216171.7608 | 2588614.0974 | 1216171.3611
75 | 2588613.9213 | 1216171.7608 | 2588605.5972 | 1216190.6553
76 | 2588605.0431 | 1216191.913 | 2588605.5972 | 1216190.6553
77 | 2588692.9063 | 1216700.8749 | 2588676.5054 | 1216725.9462
78 | 2588900.8074 | 1216404.3129 | 2588894.2631 | 1216413.5144
79 | 2588900.8074 | 1216404.3129 | 2588911.2795 | 1216410.041 | 2588937.5521 | 1216422.6004
80 | 2588890.6551 | 1216395.049 | 2588903.2072 | 1216400.6842 | 2588900.8074 | 1216404.3129
81 | 2588900.8074 | 1216404.3129 | 2588903.2072 | 1216400.6842 | 2588914.9234 | 1216405.8874 | 2588950.3833 | 1216421.6411
82 | 2588877.9552 | 1216389.3766 | 2588871.3711 | 1216386.4359 | 2588862.914 | 1216382.9754
83 | 2588890.6551 | 1216395.049 | 2588877.9552 | 1216389.3766
84 | 2588862.914 | 1216382.9754 | 2588862.1564 | 1216382.6654
85 | 2588845.0247 | 1216375.6554 | 2588862.1564 | 1216382.6654
86 | 2588950.3833 | 1216421.6411 | 2588955.1531 | 1216406.6125 | 2588957.5137 | 1216399.9285
87 | 2588957.5137 | 1216399.9285 | 2588959.814 | 1216393.4149
88 | 2588937.5521 | 1216422.6004 | 2588941.7419 | 1216424.6034 | 2588959.9834 | 1216432.0735 | 2588960.1568 | 1216432.1242
89 | 2588962.0404 | 1216387.1108 | 2588959.814 | 1216393.4149
90 | 2588801.794 | 1216286.4767 | 2588803.3428 | 1216279.9903
91 | 2588805.4385 | 1216271.213 | 2588803.3428 | 1216279.9903
92 | 2588805.6203 | 1216270.4516 | 2588805.4385 | 1216271.213
93 | 2588805.6203 | 1216270.4516 | 2588806.8846 | 1216265.1566
94 | 2588806.9832 | 1216264.7438 | 2588806.8846 | 1216265.1566
95 | 2588481.1646 | 1216198.1101 | 2588473.3852 | 1216186.7769
96 | 2588486.7653 | 1216206.2694 | 2588481.1646 | 1216198.1101
97 | 2588465.2402 | 1216176.2372 | 2588471.1574 | 1216183.5314 | 2588473.3852 | 1216186.7769
98 | 2588486.7653 | 1216206.2694 | 2588492.4649 | 1216207.1682
99 | 2588486.7653 | 1216206.2694 | 2588466.1185 | 1216211.9017 | 2588465.3732 | 1216212.1627
100 | 2588526.7664 | 1216218.0568 | 2588505.9181 | 1216209.2895 | 2588492.4649 | 1216207.1682
101 | 2588465.3732 | 1216212.1627 | 2588463.723 | 1216212.7406
102 | 2588529.9966 | 1216219.4152 | 2588526.7664 | 1216218.0568
103 | 2588458.9541 | 1216214.4106 | 2588463.723 | 1216212.7406
104 | 2588529.9966 | 1216219.4152 | 2588541.8504 | 1216228.6864
105 | 2588529.9966 | 1216219.4152 | 2588534.4534 | 1216209.2642
106 | 2588447.443 | 1216218.4415 | 2588458.9541 | 1216214.4106
107 | 2588541.8504 | 1216228.6864 | 2588526.8457 | 1216263.545
108 | 2588541.8504 | 1216228.6864 | 2588552.8293 | 1216237.0588 | 2588576.3184 | 1216252.6111 | 2588578.4213 | 1216253.7602
109 | 2588544.8226 | 1216185.6473 | 2588534.4534 | 1216209.2642
110 | 2588447.443 | 1216218.4415 | 2588435.9309 | 1216222.4727
111 | 2588660.9913 | 1216363.7335 | 2588645.6871 | 1216350.6767
112 | 2588578.4213 | 1216253.7602 | 2588584.6051 | 1216257.1394
113 | 2588515.8805 | 1216284.9568 | 2588525.3364 | 1216267.0512 | 2588526.8457 | 1216263.545
114 | 2588546.6624 | 1216181.4568 | 2588544.8226 | 1216185.6473
115 | 2588515.8805 | 1216284.9568 | 2588498.8245 | 1216317.2534 | 2588457.6132 | 1216356.2703
116 | 2588546.6624 | 1216181.4568 | 2588549.8799 | 1216174.1285
117 | 2588456.1396 | 1216357.6654 | 2588457.6132 | 1216356.2703
118 | 2588556.2639 | 1216159.5882 | 2588549.8799 | 1216174.1285
119 | 2588558.6811 | 1216154.0827 | 2588556.2639 | 1216159.5882
120 | 2588561.9319 | 1216146.6788 | 2588558.6811 | 1216154.0827

## bus_geodata
| x | y | coords
0 | 2588830.4415 | 1216513.1477
1 | 2588837.2702 | 1216523.3268
2 | 2588826.1164 | 1216506.7005
3 | 2588859.1243 | 1216551.8821
4 | 2588817.0856 | 1216492.3539
5 | 2588858.9424 | 1216461.4326
6 | 2588869.7939 | 1216447.9182
7 | 2588780.4142 | 1216509.6568
8 | 2588805.5776 | 1216473.2527
9 | 2588890.5747 | 1216456.5983
10 | 2588872.0509 | 1216444.7447
11 | 2588775.5503 | 1216509.4531
12 | 2588795.245 | 1216455.3354
13 | 2588903.7096 | 1216462.0847
14 | 2588876.829 | 1216438.0267
15 | 2588775.1193 | 1216509.4351
16 | 2588794.9458 | 1216454.7006
17 | 2588738.1655 | 1216501.3865
18 | 2588728.7424 | 1216509.8415
19 | 2588724.9804 | 1216514.8639
20 | 2588712.4803 | 1216535.104
21 | 2588636.8379 | 1216661.9269
22 | 2588778.2145 | 1216419.1969
23 | 2588773.0857 | 1216408.3137
24 | 2588753.5864 | 1216366.9364
25 | 2588736.6875 | 1216335.2172
26 | 2588785.9235 | 1216352.9449
27 | 2588798.9299 | 1216357.9059
28 | 2588790.8276 | 1216332.4057
29 | 2588724.0237 | 1216350.7724
30 | 2588730.3775 | 1216325.9998
31 | 2588715.7822 | 1216384.2737
32 | 2588707.3437 | 1216397.6742
33 | 2588701.6707 | 1216373.1499
34 | 2588794.1349 | 1216318.5544
35 | 2588796.1107 | 1216310.2793
36 | 2588797.7604 | 1216303.3702
37 | 2588811.6322 | 1216362.7511
38 | 2588799.4644 | 1216296.2334
39 | 2588825.2373 | 1216367.9406
40 | 2588711.3766 | 1216361.8863
41 | 2588728.7815 | 1216323.6684
42 | 2588800.4751 | 1216292.0006
43 | 2588831.4029 | 1216370.2924
44 | 2588708.8927 | 1216295.2165
45 | 2588703.3001 | 1216287.2306
46 | 2588701.7025 | 1216284.9495
47 | 2588694.2708 | 1216274.3375
48 | 2588676.8016 | 1216232.1887
49 | 2588678.5325 | 1216237.5278
50 | 2588675.2714 | 1216224.601
51 | 2588687.1747 | 1216264.2047
52 | 2588671.2305 | 1216199.2373
53 | 2588667.828 | 1216268.3682
54 | 2588670.2682 | 1216193.1968
55 | 2588666.7795 | 1216268.5939
56 | 2588669.7308 | 1216180.0503
57 | 2588733.5327 | 1216200.8428
58 | 2588647.9257 | 1216272.6513
59 | 2588669.2327 | 1216167.8622
60 | 2588606.4444 | 1216269.0735
61 | 2588629.3935 | 1216336.7759
62 | 2588670.3344 | 1216162.0433
63 | 2588676.3116 | 1216130.0793
64 | 2588681.3547 | 1216104.4073
65 | 2588648.9388 | 1216162.7704
66 | 2588682.8467 | 1216096.8122
67 | 2588623.5447 | 1216156.3989
68 | 2588614.0974 | 1216171.3611
69 | 2588613.9213 | 1216171.7608
70 | 2588605.5972 | 1216190.6553
71 | 2588605.0431 | 1216191.913
72 | 2588676.5054 | 1216725.9462
73 | 2588692.9063 | 1216700.8749
74 | 2588894.2631 | 1216413.5144
75 | 2588900.8074 | 1216404.3129
76 | 2588877.9552 | 1216389.3766
77 | 2588862.914 | 1216382.9754
78 | 2588890.6551 | 1216395.049
79 | 2588862.1564 | 1216382.6654
80 | 2588845.0247 | 1216375.6554
81 | 2588950.3833 | 1216421.6411
82 | 2588957.5137 | 1216399.9285
83 | 2588937.5521 | 1216422.6004
84 | 2588959.814 | 1216393.4149
85 | 2588960.1568 | 1216432.1242
86 | 2588801.794 | 1216286.4767
87 | 2588803.3428 | 1216279.9903
88 | 2588805.4385 | 1216271.213
89 | 2588805.6203 | 1216270.4516
90 | 2588806.8846 | 1216265.1566
91 | 2588705.1632 | 1216401.1369
92 | 2588481.1646 | 1216198.1101
93 | 2588473.3852 | 1216186.7769
94 | 2588486.7653 | 1216206.2694
95 | 2588465.2402 | 1216176.2372
96 | 2588492.4649 | 1216207.1682
97 | 2588465.3732 | 1216212.1627
98 | 2588526.7664 | 1216218.0568
99 | 2588463.723 | 1216212.7406
100 | 2588529.9966 | 1216219.4152
101 | 2588458.9541 | 1216214.4106
102 | 2588541.8504 | 1216228.6864
103 | 2588534.4534 | 1216209.2642
104 | 2588447.443 | 1216218.4415
105 | 2588645.6871 | 1216350.6767
106 | 2588660.9913 | 1216363.7335
107 | 2588584.6051 | 1216257.1394
108 | 2588578.4213 | 1216253.7602
109 | 2588526.8457 | 1216263.545
110 | 2588544.8226 | 1216185.6473
111 | 2588515.8805 | 1216284.9568
112 | 2588546.6624 | 1216181.4568
113 | 2588457.6132 | 1216356.2703
114 | 2588549.8799 | 1216174.1285
115 | 2588456.1396 | 1216357.6654
116 | 2588435.9309 | 1216222.4727
117 | 2588558.6811 | 1216154.0827
118 | 2588556.2639 | 1216159.5882
119 | 2588561.9319 | 1216146.6788
120 | 2588806.9831 | 1216264.7438
121 | 2588962.0404 | 1216387.1108
122 | 2588736.6875 | 1216335.2172

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1